

SECTION 08410PRIVATE 






ALUMINUM ENTRANCES AND STOREFRONTS
1 PART 1 GENERAL


.1

SECTION INCLUDES



A.
Aluminum doors and frames.



B.
Vision glass and glass in-fill panels.



C.
Door hardware.



D.
Integral air and vapor barrier.



E.
Perimeter sealant.


.2
seq level2 \h \r0 
PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION



A.
Section 08710 – Door Hardware: Hardware items other than specified in this section.


 .3seq level2 \h \r0 
RELATED SECTIONS



A.
Section 07900 ‑ Sealants: System perimeter sealant and back‑up materials.


B.
Section 08800 ‑ Glazing.

.3
seq level2 \h \r0 
REFERENCES



A.
AAMA 603.8 ‑ Performance Requirements and Test Procedures for Pigmented Organic Coatings on Extruded Aluminum.


B.
AAMA 605.2 ‑ Specification for High Performance Organic Coatings on Architectural Extrusions and Panels.


C.
AAMA 606.1 ‑ Specifications and Inspection Methods for Integral        
Color Anodic Finishes for Architectural Aluminum.


D.
AAMA 607.1 ‑ Specifications and Inspection Methods for Clear Anodic Finishes for Architectural Aluminum.


E.
AAMA SFM‑1 ‑ Aluminum Storefront and Entrance Manual.


F.
ANSI A117.1 ‑ Safety Standards for the Handicapped.


G.
ANSI/ASTM A36 ‑ Structural Steel.


H.
ANSI/ASTM A386 ‑ Zinc Coating (Hot Dip) on Assembled Steel Products.


I.
ANSI/ASTM A446 ‑ Steel Sheet, Zinc‑Coated (Galvanized) by the         
Hot‑Dip Process, Structural (Physical) Quality.


J.
ANSI/ASTM B209 ‑ Aluminum and Aluminum‑Alloy Sheet and 




Plate.


K.
ANSI/ASTM B221 ‑ Aluminum‑Alloy Extruded Bar, Rod, Wire, Shape, and Tube.


L.
ANSI/ASTM E283 ‑ Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors.


M.
ANSI/ASTM E330 ‑ Structural Performance of Exterior Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference.


N.
ANSI/ASTM E331 ‑ Test Method for Water Penetration of Exterior Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference.


O.
SSPC ‑ Steel Structures Painting Council.

.4
seq level2 \h \r0 
SYSTEM DESCRIPTION



A.
Aluminum entrances and storefront system includes tubular aluminum sections with supplementary internal support framing, shop fabricated, factory pre‑finished, vision glass, glass insulated related flashings, anchorage and attachment devices.


.5
seq level2 \h \r0 
PERFORMANCE REQUIREMENTS



A.
Design and size components to withstand dead and live loads caused by positive and negative wind pressure acting normal to plane of wall as calculated in accordance with Southern Building code and as measured in accordance with ANSI/ASTM E330.



B.
Limit mullion deflection to flexure limit of glass 3/4 inch (19 mm)] with full recovery of glazing materials.



C.
System to accommodate, without damage to components or deterioration of seals, movement within system, movement between system and peripheral construction, dynamic loading and release of loads, deflection of structural support framing.



D.
Limit air leakage through assembly to 0.06  cfm/min/sq ft (0.0003 cu m/s/sq m) of wall area, measured at a reference differential pressure across assembly of 1.57 psf (75 Pa) as measured in accordance with ANSI/ASTM E283.



E.
Vapor Seal with Interior Atmospheric Pressure of 1 inch (25 mm) sp, 72 degrees F (22 degrees C), 40 Percent RH:  No failure.


F.
Maintain continuous air and vapor barrier throughout assembly, primarily in line with inside pane of glass and heel bead of glazing compound.



G.
System to provide for expansion and contraction within system components caused by a cycling temperature range of 170 degrees F (95 degrees C) over a 12 hour period without causing detrimental affect to system components.



H.
Drain water entering joints, condensation occurring in glazing channels, or migrating moisture occurring within system, to the exterior by a weep drainage network.


.6
seq level2 \h \r0 
SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Shop Drawings: Indicate system dimensions, framed opening requirements and tolerances, affected related Work and expansion and contraction joint location and details.



C.
Product Data: Provide component dimensions, describe components within assembly, anchorage and fasteners, glass and infill, door hardware, internal drainage details.



D.
Submit two samples illustrating pre‑finished aluminum surface, glass units, glazing materials.



E.
Manufacturer's Certificate: Certify that Products meet or exceed specified requirements.


.7
seq level2 \h \r0 
QUALITY ASSURANCE



A.
Perform Work in accordance with AAMA SFM‑1 and AAMA‑Metal Curtain Wall, Window, storefront and Entrance -Guide Specifications Manual.



B.
Conform to requirements of ANSI A117.1.


.8
seq level2 \h \r0 
QUALIFICATIONS



A.
Manufacturer and Installer: Company specializing in manufacturing aluminum glazing systems with minimum three years experience.


.9
seq level2 \h \r0 
DELIVERY, STORAGE, AND HANDLING


A.
Deliver, store, protect and handle products to site under provisions of Section 01600.



B.
Protect pre‑finished aluminum surfaces with wrapping.  Do not use adhesive papers or sprayed coatings which bond when exposed to sunlight or weather.

.10seq level2 \h \r0 
ENVIRONMENTAL REQUIREMENTS



A.
Do not install Sealants when ambient temperature is less than 40 degrees F (5 degrees C) during and 48 hours after installation.


.11seq level2 \h \r0 
FIELD MEASUREMENTS



A.
Verify that field measurements are as instructed by the manufacturer.


.12seq level2 \h \r0 
COORDINATION



A.
Coordinate Work under provisions of Section 01039.


.13seq level2 \h \r0 
WARRANTY



A.
Provide three year warranty under provisions of Section 01700. 



B.
Warranty:  Include coverage for complete system for failure to meet specified requirements.

2

seq level1 \h \r0 

seq level2 \h \r0  PART 2  PRODUCTS


.1

MANUFACTURERS



A.
Kawneer – Products – Store Front, 451 T-Thermal 400 series.



B.
Insulclad – Product – Doors, 260 Thermal.

.2
seq level2 \h \r0 
MATERIALS



A.
Extruded Aluminum: ANSI/ASTM B221; 6063 alloy, T5 temper.



B.
Fasteners:
Stainless steel.

.3
seq level2 \h \r0 
COMPONENTS



A.
Frame:  2 x 4-inch nominal dimension; flush glazing stops; drainage holes; internal weep drainage system. 

.4

seq level2 \h \r0 

GLASS AND GLAZING MATERIALS



A.
Glass and Glazing Materials:
As specified in Section 08800 of Types described below:




1.
Glass in Door Lights.



2.
Glass in Infill Panels

.5 
HARDWARE seq level2 \h \r0 

seq level3 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 


A.
Weather Stripping, Sill Sweep Strips, Thresholds, Hinges, Push/Pull Handles, Panic Device, Closer: Manufacturers standard type to suit application.seq level0 \h \r2 

seq level1 \h \r6 

seq level2 \h \r0 

seq level3 \h \r0 

seq level4 \h \r0 

seq level5 \h \r0 

seq level6 \h \r0 

seq level7 \h \r0 

.6
seq level2 \h \r0 
FABRICATION



A.
Fabricate components with minimum clearances and shim spacing around perimeter of assembly, yet enabling installation and dynamic movement of perimeter seal.



B.
Accurately fit and secure joints and corners.  Make joints flush, hairline, and weatherproof.



C.
Prepare components to receive anchor devices.  Fabricate anchors.



D.
Arrange fasteners and attachments to conceal from view.



E.
Prepare components with internal reinforcement for door hardware.


F.
Reinforce framing members for imposed loads.

.7
seq level2 \h \r0 
FINISHES



A.
Finish coatings to conform to AAMA 603.8.



B.
Exterior Exposed Aluminum Surfaces:  AAMA A41 anodized to 215‑R1  thickness, prepared with a mechanical M pre‑treatment, anodized to clear color.
3

seq level1 \h \r0 

seq level2 \h \r0  PART 3 EXECUTION


.1

EXAMINATION



A.
Verify site opening conditions under provisions of Section 01039.



B.
Verify dimensions, tolerances, and method of attachment with other work.



C.
Verify wall openings and adjoining air and vapor seal materials are ready to receive work of this Section.


.2

seq level2 \h \r0 

INSTALLATION



A.
Install wall system in accordance with manufacturer's instructions and AAMA ‑ Metal Curtain Wall, Window, 




Store Front and Entrance ‑ Guide Specifications Manual.



B.
Attach to structure to permit sufficient adjustment to accommodate construction tolerances and other irregularities.



C.
Provide alignment attachments and shims to permanently fasten system to building structure.



D.
Align assembly plumb and level, free of warp or twist.  Maintain assembly dimensional tolerances.



E.
Provide thermal isolation where components penetrate or disrupt building insulation.



F.
Install sill flashings.



G.
Coordinate attachment and seal of perimeter air and vapor barrier materials.



H.
Pack fibrous insulation in shim spaces at perimeter of assembly to maintain continuity of thermal barrier.



I.
Set thresholds in bed of mastic and secure.


J.
Install hardware using templates provided.

K.
Install glass in accordance with Section 08800, to glazing method required achieving performance criteria.


L.
Install perimeter sealant to method required achieving performance criteria.

.3
seq level2 \h \r0 
TOLERANCES



A.
Maximum Variation from Plumb: 0.06 inches every 3 ft (1.5 mm/m) non‑cumulative or 1/16 inches per 10 ft (1.5 mm/3 m), whichever is less.



B.
Maximum Misalignment of Two Adjoining Members Abutting in Plane:  1/32  inch (0.8 mm).


.4
seq level2 \h \r0 
ADJUSTING



A.
Adjust work under provisions of Section 01700.



B.
Adjust operating hardware [and sash] for smooth operation.


.5

seq level2 \h \r0 

CLEANING



A.
Clean work under provisions of 01700.



B.
Remove protective material from pre‑finished aluminum surfaces.



C.
Wash down surfaces with a solution of mild detergent in warm water, applied with soft, clean wiping cloths.  Take care to remove dirt from corners.  Wipe surfaces clean.



D.
Remove excess sealant by method acceptable to sealant manufacturer.


.6

seq level2 \h \r0 

PROTECTION OF FINISHED WORK



A.
Protect finished Work under provisions of Section 01500. 



B.
Protect finished Work from damage.


END OF SECTION
PAGE  
Section 08410 Page 1 of 6

