

SECTION 08520PRIVATE 


ALUMINUM WINDOWS

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
1 PART 1 GENERAL


.1

SECTION INCLUDES



A.
Extruded aluminum windows with fixed and operating sash; glass shop glazed.



B.
Operating hardware and insect screens.


.2

PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION



A.
Section 04300 Placement of supporting anchors.


.3

RELATED SECTIONS



A.
Section 04300 – Unit Masonry: Preparation of adjacent work to receive work of this section.



B.
Section 07900 ‑ Joint Sealers: Perimeter sealant and back‑up materials.



C.
Section 08800 ‑ Glazing.


.4

REFERENCES



A.
AAMA 101 ‑ Specifications for Aluminum Prime Windows and Sliding Glass Doors.



B.
AAMA 603.8 ‑ Performance Requirements and Test Procedures for Pigmented Organic Coatings on Extruded Aluminum.



C.
AAMA 605.2 ‑ Specification for High Performance Organic Coatings on Architectural Extrusions and Panels.



D.
AAMA 606.1 ‑ Specifications and Inspection Methods for Integral Color Anodic Finishes for Architectural Aluminum.



E.
AAMA 607.1 ‑ Specifications and Inspection Methods for Clear Anodic Finishes for Architectural Aluminum.



F.
AAMA 608.1 ‑ Specification and Inspection Methods for Electrolytically Deposited Color Anodic Finishes for Architectural Aluminum.



G.
ASTM B209 ‑ Aluminum and Aluminum‑Alloy Sheet and Plate.



H.
ASTM B221 ‑ Aluminum‑Alloy Extruded Bar, Rod, Wire, Shape, and Tube.



I.
ASTM E283 ‑ Rate of Air Leakage through Exterior Windows, Curtain Walls, and Doors.



J.
ASTM E330 ‑ Structural Performance of Exterior Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference.



K.
ASTM E331 ‑ Test Method for Water Penetration of Exterior Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference.



L.
FS L‑S‑125 ‑ Screening, Insect, Nonmetallic.

M. FS RR‑W‑365 ‑ Wire Fabric (Insect Screening).


  N.
Reference to General Conditions.


.5

SYSTEM DESCRIPTION



A.
Windows:
Single thickness aluminum sections, shop fabricated, factory pre‑finished, vision glass, related flashings, anchorage and attachment devices.



B.
Configuration: Single Hung sash.


.6

PERFORMANCE REQUIREMENTS



A.
Design and size components to withstand dead and live loads caused by positive and negative wind pressure acting normal to plane of wall as calculated in accordance with SBCC code to a design pressure of 100 mph.



B.
Limit member deflection to flexure limit of glass; with full recovery of glazing materials.



C.
System to accommodate, without damage to components or deterioration of seals, movement between window and perimeter framing, deflection of lintel.



D.
Limit air leakage through assembly to 0.10 cfm/min/sq ft of wall area for 20% of pressure resulting from design wind as measured in accordance with ASTM E283.



E.
Water Leakage: None, when measured in accordance with ASTM E331 with a test pressure difference of 6.24 lbf/sq ft.



F.
Maintain continuous air and vapor barrier throughout assembly, primarily in line with inside pane of glass and inner sheet of infill panel and heel bead of glazing compound.



G.
Drain water entering joints, condensation occurring in glazing channels, or migrating moisture occurring within system, to the exterior by a weep drainage network.


.7

SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Shop Drawings: Indicate opening dimensions, framed opening tolerances, affected related work; installation requirements.



C.
Product Data: Provide component dimensions, anchorage and fasteners, glass, internal drainage details.



D.
Manufacturer's Certificate: Certify that Products meet or exceed specified requirements.


.8

QUALITY ASSURANCE



A.
Perform Work in accordance with AAMA 101.


.9

DELIVERY, STORAGE, AND HANDLING



A.
Deliver, store, protect and handle products to site under provisions of Section 01600.



B.
Protect pre‑finished aluminum surfaces with strippable coating.  Do not use adhesive papers or sprayed coatings which bond when exposed to sunlight or weather.


.10
FIELD MEASUREMENTS




A.
Verify that field measurements are as indicated on shop drawing.


2 PART 2  PRODUCTS


.1

MANUFACTURERS



A.
General Aluminum 1900 series.



B.
Other acceptable manufacturers offering equivalent Products.




1.
Alenco.




2.
Mayfair.


.2

COMPONENTS



A.
Frames:  2 7/16 inch deep profile, thermally broken with interior portion of frame insulated from exterior portion non‑thermally broken; flush applied glass stops of snap‑on.



B.
Insect Screens: FS L‑S‑125, woven plastic mesh; 14/18 mesh size.



C.
Operable Sash Weather Stripping:
manufacturers standard; permanently resilient, profiled to effect weather seal.



.3

GLASS AND GLAZING MATERIALS



A.
Glass and Glazing Materials:
As specified in Section 08800 of Types described below:




1.
Glass in Exterior Lights: Type 1/2” insulating.


.4

HARDWARE



A.
Sash lock:  Lever handle with cam lock.


.5

FABRICATION



A.
Fabricate components with minimum clearances and shim spacing around perimeter of assembly, yet enabling installation and dynamic movement of perimeter seal.



B.
Accurately fit and secure joints and corners.  Make joints flush, hairline, and weatherproof.



C.
Prepare components to receive anchor devices.  Fabricate anchors.



D.
Arrange fasteners and attachments to ensure concealment from view.



E.
Prepare components with internal reinforcement for operating hardware.



F.
Permit internal drainage weep holes and channels to migrate moisture to exterior.  Provide internal drainage of glazing spaces to exterior through weep holes.



G.
Assemble insect screens of rolled aluminum steel rectangular tubular sections.  Miter and reinforced frame corners.  Fit mesh taught in frame into frame and secured.  Fit frame with four spring-loaded steel pin retainers.



H.
Weather-strip operable units.



I.
Shop glaze window units.


.7

FINISHES



A.
Exterior Exposed Aluminum Surfaces: AAMA A41 anodized to 215‑R1 thickness, prepared with a mechanical M pre‑treatment, anodized to clear color.



B.
Apply one coat of bituminous paint to concealed aluminum and steel surfaces in contact with cementitious or dissimilar materials.

3 PART 3 EXECUTION


.1

EXAMINATION



A.
Verify site opening conditions under provisions of Section 01039.



B.
Verify wall openings and adjoining air and vapor seal materials are ready to receive work of this Section.


.2

INSTALLATION



A.
Install window frames, glass and glazing and hardware in accordance with manufacturers instructions.



B.
Attach window frame and shims to perimeter opening to accommodate construction tolerances and other irregularities.



C.
Align window plumb and level, free of warp or twist.  Maintain dimensional tolerances, aligning with adjacent work.



D.
Install sill and sill end angles.



E.
Provide thermal isolation where components penetrate or disrupt building insulation.  Pack fibrous insulation in shim spaces at perimeter of assembly to maintain continuity of thermal barrier.



F.
Coordinate attachment and seal of perimeter air and vapor barrier materials.



G.
Install operating hardware.



H.
Install perimeter sealant to method required to achieve performance criteria, and installation criteria in accordance with Section 07900.


.3
TOLERANCES



A.
Maximum Variation from Level or Plumb:  0.06 inches every 3 ft (1.5 mm/m) non‑cumulative or 0.5 inches per 100 ft (12 mm/30 m), whichever is less.


.4

ADJUSTING



A.
Adjust work under provisions of Section 01700.



B.
Adjust operating hardware for smooth operation.


.5

CLEANING



A.
Clean work under provisions of 01700.



B.
Remove protective material from pre‑finished aluminum surfaces.



C.
Wash down surfaces with a solution of mild detergent in warm water, applied with soft, clean wiping cloths.  Take care to remove dirt from corners.  Wipe surfaces clean.



D.
Remove excess sealant by moderate use of mineral spirits or other solvent acceptable to sealant manufacturer.


END OF SECTION
1
Error! Main Document Only.
Section 08520 Page 2 of 5

