

SECTION 09650PRIVATE 


RESILIENT FLOORING

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.

PART 1
GENERAL

.1
SECTION INCLUDES


A.
Resilient tile flooring.


.2

RELATED SECTIONS



A.
Section 03300 - Cast-in-Place Concrete: Floor Stair substrate surface.

.3

REFERENCES


A.
ASTM E84 ‑ Surface Burning Characteristics of Building Materials.


B.
FS L‑F‑1641 ‑ Floor Covering Translucent or Transparent Vinyl Surface with Backing.


C.
FS L‑F‑475 ‑ Floor Covering, Vinyl Surface (Tile and Roll), with Backing.

D. FS SS ‑T‑312 –Tile, Floor: Asphalt, Rubber, Vinyl, Vinyl Composition.


E.
Reference to General Conditions.

.4

REGULATORY REQUIREMENTS


A.
Conform to applicable State code for flame/fuel/smoke rating requirements in accordance with ASTM E84.

.5

SUBMITTALS


A.
Submit shop drawings and product date under provisions of section 01300.


B.
Provide product data on specified products, describing physical and performance characteristics, sizes, patterns and colors available.


C.
Submit samples under provisions of Section 01300.


D.
Submit twos samples 1- ½ x 1-½ inches in size, illustrating color and pattern for each floor material.


E.
Submit manufacturer’s installation instruction under provisions of Section 01300. 

.6

OPERATION AND MAINTENANCE DATA

A. Submit cleaning and maintenance data under provisions of Section 01700.

B.
Include maintenance procedures, recommended maintenance      materials, and suggested schedule for cleaning, stripping,   and  re-waxing.

.7

ENVIRONMENTAL REQUIREMENTS


A.
Store materials for three days prior to installation in area of installation to achieve temperature stability.


B.
Maintain ambient temperature required by adhesive manufacturer three days prior to, during, and 24 hours after installation of materials.

.8

EXTRA MATERIALS



A.
Provide 400 sq. ft of flooring, of base, and stair materials of each material specified under provisions of Section 01700.

PART 2

PRODUCTS

.1
 
MATERIALS ‑ TILE FLOORING



Not Used

.2

TILE FLOORING MATERIALS

A. Vinyl Composition Tile: FS SS-T-312, Type IV, Composition 1; 

12 X 12 inches size, 1/8 inch thick; marbleize design.

.3

ACCESSORIES


A.
Subfloor Filler: White premix latex; type recommended by flooring material manufacturer.


B.
Primers and Adhesives: Waterproof; types recommended by flooring manufacturer.


C.
Edge Strips: Flooring material.


D.
Sealer and Wax:  Types recommended by flooring manufacturer.

PART 3

EXECUTION

.1

EXAMINATION


A.
Verify that surfaces are smooth and flat with maximum variation of 1/8 inch in 10 ft and are ready to receive work.


B.
Verify concrete floors are dry to maximum moisture content of 7 %, and exhibit negative alkalinity, carbonization, or dusting.

.2

PREPARATION


A.
Remove sub‑floor ridges and bumps.  Fill low spots, cracks, joints, holes, and other defects with sub‑floor filler.


B.
Apply, trowel, and float filler to leave a smooth, flat hard surface.


C.
Prohibit traffic until filler is cured.


D.
Vacuum clean substrate.

.3

INSTALLATION ‑ TILE MATERIAL


A.
Install in accordance with manufacturer's instructions.


B.
Mix tile from container to ensure shade variations are consistent.


C.
Spread only enough adhesive to permit installation of materials before initial set.


D.
Set flooring in place, press with heavy roller to attain full adhesion.


E.
Lay flooring with joints and seams symmetrical tile pattern.


F.
Install tile with pattern grain alternating with adjacent unit to produce basket weave pattern.  Allow minimum 1/2 full size tile width at room or area perimeter.


G.
Terminate flooring at centerline of door openings where adjacent floor finish is dissimilar.

H. Install edge strips at unprotected or exposed edges, and where flooring terminates.


I.
Scribe flooring to walls, columns, cabinets, floor outlets, and other appurtenances to produce tight joints.

I. Install flooring under movable partitions without interrupting floor pattern.

.4

PROTECTION 


A.
Prohibit traffic on floor finish for 48 hours after installation.


.5

CLEANING


A.
Remove accesses adhesive from floor, base, and wall surfaces without damage.


B.
Clean, seal, and wax floor and base surfaces in accordance with manufacturer's instructions.


END OF SECTION
PAGE  
Error! Main Document Only.
Section 09650 Page 2 of 4

