

SECTION 14215PRIVATE 

MODIFICATION TO






  ELECTRIC ELEVATORS ‑ PASSENGER

1 PART 1   GENERAL


1.01
SECTION INCLUDES



A.
Renovation to Electric elevator system.



    Modify existing elevators in buildings 3500 and buildings 3510.


1.02
REFERENCES



A.
ANSI?ASME A17.1 – Safety code for Elevators and Escalators.



B.
ANSI?ASME A17.2 – Inspectors Manual for Elevators.


1.03
QUALITY ASSURANCE



A.
Manufacturer: For each product specified, provide components by same manufacturer throughout.


1.04
SUBMITTLAS



A  Submit shop drawings and product data under provisions of section 01300.


1.05
SEQUENCING



A.
The elevators are located in each office building (3500 & 3510) and are all used daily between the hours of 7am and 9pm.



B.
Only one elevator in each building may be out of service at one time, during the above mentioned hours.  On weekends, one elevator must remain in service in each building, at any given time.

C. Schedule all elevator work 24 hours in advance, with the 

Building custodian. 



1.06
ACCEPTABLE SUPPLIERS



A.
American Crescent



B.
Dover

C. Otis



D.
Montgomery


1.07
EXECUTION 



A.
ADA Telephones.




Elevators presently have regular telephones located in the




Cab.  Remove these phones and install ADA approved 




Emergency telephone with single push button activated dial 




To pre-selected stations, with voice communications and 




Automatic location announcement at monitoring station.

  B.
Replace existing door edge re-opening device with “light screen control”, System requirements

A. Light emitting diodes:  -G4 (two per detector operating in a redundant mode.

B. Range:  Up to 8 ft, min.

C. Maximum misalignment:  12 degrees.

D. Response time:  50 Milliseconds.

E. Maximum power dissipation 12 VA.

F. Build in Defogger.

G. Power consummation 30 VA.

H. Magic edge or equal.





C. Replace the existing elevator control system

The elevator controls presently consist of dry type contact relays.  Replace these controls with new solid state controls. 



END OF SECTION

Error! Main Document Only.
Section 14215 Page 1 of 2     

