SECTION 01740PRIVATE 

WARRANTIES AND BONDS

1   GENERAL


1.01
SECTION INCLUDES



A.
Preparation and submittal.



B.
Time and schedule of submittals.


1.02
RELATED SECTIONS



A.  Invitation to Bid & Instructions to Bidders.



B.  General Conditions: Performance Bond and Labor and Material Payment Bonds, Warranty, and Correction of Work.



C.
Section 01000 – General Conditions: 1.15 Warranty



D.
Section 01700 ‑ Contract Closeout: Contract closeout procedures.



E.
Individual Specifications Sections: Warranties required for specific products or Work.



1.03
FORM OF SUBMITTALS



A.
Bind in commercial quality, 8‑1/2 x 11-inch three‑ring side binders with hardback, cleanable, plastic covers.



B.
Label cover of each binder with typed or printed title WARRANTIES AND BONDS, with title of Project; name, address and telephone number of Contractor and equipment supplier; and name of responsible principal.



C.
Table of Contents: Neatly typed, in the sequence of the Table of Contents of the Project Manual, with each item identified with the number and title of the specification Section in which specified, and the name of the product or work item.



D.
Separate each warranty or bond with index tab sheets keyed to the Table of Contents listing.  Provide full information, using separate typed sheets as necessary. List Subcontractor, supplier, and manufacturer, with name, address, and telephone number of responsible principal.

1
.04
PREPARATION OF SUBMITTALS



A.
Obtain warranties and bonds, executed in duplicate by responsible Subcontractors, suppliers, and manufacturers, within  [30] days after completion of the applicable item or work.  Except for items put into use with Owner's permission, leave date of beginning of time of warranty until the Date of Substantial Completion is determined.



B.
Verify that documents are in proper form, contain full information, and are notarized.



C.
Co‑execute submittals when required.



D.
Retain warranties and bonds until time specified for submittal.

1.05
TIME OF SUBMITTALS



A.
For equipment or component parts of equipment put into service during construction with Owner's permission, submit documents within 30 days after acceptance.



B.
Make other submittals within 30 days after Date of Substantial Completion, prior to final Application for Payment.



C.
For items of Work when acceptance is delayed beyond Date of Substantial Completion, submit within ten days after acceptance, listing the date of acceptance as the beginning of the warranty period.


END OF SECTION
1
Section 01740 Page 1 of 2

