## Table 1
CHAPTER 30 WIND LOADS -COMPONENTS AND CLADDING
MINIMUM DESIGN LOADS
h 60ft.
Enclosed Buildins I
Walls & Roofs
Walls & Roofs
Effective
Net Design Wind Pressure, Pne
(psf) (Exposure 8 at h = 30ft.)
Roof Overhang Net Design Wind Pressure , Pnet3o (psf)
(Exposure 8 at h = 30 ft)
Zone
wind area
Basic Wind Speed V (mph)
Effective Basic Wind Speed V (mph)
(sD 110 115 120 130 140 150 160 180 200
1 10 8.9 -21.8 9.7 -23.8 10.5 -25.9 12.4 -30.4 14.3 -35.3 16.5 -40.5 18.7 -46.1 23.7 -08.3 29.3 -72.0
1 20 8.3 -21.2 9.1 -23.2 9.9 -25.2 11.6 -29.6 13.4 -34.4 15.4 -39.4 17.6 -44.9 22.2 -06.8 27.4 -70.1
"..' 1 50 7.6 -20.5 8.3 -22.4 9.0 -24.4 10.6 -28.6 12.3 -33.2 14.1 -38.1 16.0 -43.3 20.3 -04.8 25.0 -67.7
e 1 100 7.0 -19.9 7.7 -21.8 8.3 -23.7 9.8 -27.8 11.4 -32.3 13.0 -37.0 14.8 -42.1 18.8 -03.3 23.2 -65.9
0>
'Mnd Aiea
Zone (sD 110 115 130 140 150 160 180 200
2 10 -31.4 -34.3 -43.8 -50.8 -58.3 -66.3 -84.0 -103.7
2 20 -30.8 -33.7 -43.0 -49.9 -57.3 -65.2 -82.5 -101.8
-o
.....
B
2 10 8.9 -38.5 9.7 -39.9 10.5 43.5 12.4 -01.0 14.3 -59.2 16.5 -67.9 18.7 -77.3 23.7 -97.8 29.3 -120.7
2 20 8.3 -32.6 9.1 -35.7 9.9 -38.8 11.6 -45.6 13.4 -52.9 15.4 -60.7 17.6 -69.0 22.2 -87.4 27.4 -107.9
"...'
2 50 -30.1 -32.9 -42.0 -48.7 -55.9 -63.6 -80.5 -99.4
-62.4 -79.0 -97.6
0 2 50 7.6 -27.5 8.3 -30.1 9.0 -32.7 10.6 -38.4 12.3 -44.5 14.1 -51.1 16.0 -08.2 20.3 -73.6 25.0 -90.9
2 100 -29.5 -32.3 -41.2 -47.8 -54.9
'0 2 100 7.0 -23.6 7.7 -25.8 8.3 -28.1 9.8 -33.0 11.4 -38.2 13.0 -43.9 14.8 -00.0 18.8 -63.2 23.2 -78.1
Q:
-o 3 10 -51.6 -56.5 -72.1
.....
-83.7 -96.0 -109.3 -138.3 -170.7
3 10 8.9 -55.0 9.7 -60.1 10.5 -65.4 12.4 -76.8 14.3 -89.0 16.5 -102.2 18.7 -116.3 23.7 -147.2 29.3 -181.7
3 20 8.3 -45.5 9.1 -49.8 9.9 -04.2 11.6 -63.6 13.4 -73.8 15.4 -84.7 17.6 -96.3 22.2 -121.9 27.4 -150.5
3 50 7.6 -33.1 8.3 -38.1 9.0 -39.3 10.6 -46.2 12.3 -53.5 14.1 -61.5 16.0 -69.9 20.3 -88.5 25.0 -109.3
3 100 7.0 -23.6 7.7 -25.8 8.3 -28.1 9.8 -33.0 11.4 -38.2 13.0 -43.9 14.8 -00.0 18.8 -63.2 23.2 -78.1
1 10 12.5 -19.9 13.7 -21.8 14.9 -23.7 17.5 -27.8 20.3 -32.3 23.3 -37.0 26.5 -42.1 33.6 -03.3 41.5 -65.9
1 20 11.4 -19.4 12.5 -21.2 13.6 -23.0 16.0 -27.0 18.5 -31.4 21.3 -38.0 24.2 -41.0 30.6 -01.9 37.8 -84.0
3 -40.5 -44.3 -56.6 -65.7 -75.4 -85.8 -108.6 -134.0
3 50 -25.9 -28.3 -36.1 -41.9 -48.1 -54.7 -69.3 -85.5
8
3 100 -14.8 -16.1 -20.6 -23.9 -27.4 -31.2 -39.5 -48.8
2 10 -40.6 -44.4 -56.7 -65.7 -75.5 -85.9 -108.7 -134. 2
2 20 -40.6 -44.4 -56.7 -65.7 -75.5 -85.9 -108.7 -134.2
"..' 1 50 10.0 -18.6 10.9 -20.4 11.9 -22.2 13.9 -26.0 16.1 -30.2 18.5 -34.6 21.1 -39.4 26.7 -49.9 32.9 -61.6
e
"Q'l 2 50
e
-40.6 -44.4 -56.7 -65.7 -75.5 -85.9 -108.7 -134.2
0.>. 1
100
8.9 -18.1 9.7 -19.8 10.5 -21.5 12.4 -25.2 14.3 -29.3 16.5 -33.6 18.7 -38.2 23.7 -48.4 29.3 -59.8
2 100 -40.6 -44.4 -56.7 -65.7 -75.5 -85.9 -108.7 -134.2
-8
-o 2 10 12.5 -34.7 13.7 -37.9 14.9 -41.3 17.5 -48.4 20.3 -56.2 23.3 -84.5 26.5 -73.4 33.6 -92.9 41.5 -114.6
.....
N
2 20 11.4 -31.9 12.5 -34.9 13.6 -38.0 16.0 -44.6 18.5 -51.7 21.3 -59.3 24.2 -67. 5 30.6 -85.4 37.8 -105.5
.....
N
3 10 -68.3 -74.6 -95. 3 -110.6 -126.9 -144.4
-182.8 -225.6
B
..... 2 50 10.0 -28.2 10.9 -30.9 11.9 -33.6 13.9 -39.4 16.1 -45.7 18.5 -52.5 21.1 -09.7 26.7 -75.6 32.9 -93.3
A
.'3 20 -61.6 -67.3 -86.0 -99.8 -114.5 -1 30.3 -164.9 -203.6
.....
A 3 50 -52.8 -57.7 -73.7 -85.5 -98.1 -111.7 -141.3 -174.5
'0 2 100 8.9 -25.5 9.7 -27.8 10.5 -30.3 12.4 -35.6 14.3 -41.2 16.5 -47.3 18.7 -53.9 23.7 -68.2 29.3 -84.2 8
-123.5 -152. 4
0 3 10 12.5 -51.3 13.7 -56.0 14.9 -61.0 17.5 -71.6 20.3 -83.1 23.3 -95.4 26.5 -108.5 33.6 -137.3 41.5 -169.5
Q: 3 100 -46.1 -50.4 -64.4 -74.7 -85.8 -97.6
3 20 11.4 -47.9 12.5 -52.4 13.6 -07.1 16.0 -67.0 18.5 -77.7 21.3 -89.2 24. 2 -101.4 30.6 -128.4 37.8 -158.5
3 50 10.0 -43.5 10.9 -47.6 11.9 -01.8 13.9 -60.8 16.1 -70.5 18.5 -81.0 21.1 -92.1 26.7 -116.6 32.9 -143.9
3 100 8.9 -40.2 9.7 -44.0 10.5 -47.9 12.4 -06.2 14.3 -65.1 16.5 -74.8 18. 7 -85.1 23.7 -107.7 29.3 -132.9
1 10 19.9 -21.8 21.8 -23.8 23.7 -25.9 27.8 -30.4 32.3 -35.3 37.0 -40.5 42.1 -46.1 53.3 -08.3 65.9 -72.0
"...'
2 10 -36.9 -40.3 -51.5 -59.8 -68.6 -78.1 -98.8 -122.0
2 20 -35.8 -39.1 -50.0 -58.0 -66.5 -75.7 -95.8 -118.3
2 50 -34.3 -37.5 -47.9 -55.6 -63.8 -72.6 -91.9 -113.4
1 20 19.4 -20.7 21.2 -22.6 23.0 -24.6 27.0 -28.9 31.4 -33.5 36.0 -38.4 41.0 -43.7 51.9 -05.3 84.0 -68.3
.s 2 100 -33.2 -36.3 -46.4 -53.8 -61.7 -70.2 -88.9 -109.8
"..' 1
50 18.6 -19.2 20.4 -21.0 22.2 -22.8 26.0 -26.8 30.2 -31.1 34.6 -35.7 39.4
-40.6 49.9
-01.4 61.6 -83.4
"' 3 10 -36.9 -40.3 -51.5 g
-59.8 -68.6 -78.1 -98.8 -122.0
e
.0>. 1
-o
100 18.1 -18.1 19.8 -19.8 21.5 -21. 5 25.2 -25.2 29.3 -29.3 33.6 -33.6 38.2 -38.2 48.4 -48.4 59.8 -59.8
..... 3 20 -35.8 -39.1 -50.0 -58.0 -66.5
N
A
3
-75.7 -95.8 -118.3
-113.4
"..'.
2 10 19.9 -25.5 21.8 -27.8 23.7 -30. 3 27.8 -35.6 32.3 -41.2 37.0 -47.3 42.1 -53.9 53.3 -68.2 65.9 -84.2
50 -34.3 -37.5 -47.9 -55.6 -63.8 -72.6 -91.9
8 -36.3 -46.4 -53.8 -61.7 -70.2 -88.9
-109.8
B 2 20 19.4 -24.3 21.2 -26.6 23.0 -29. 0 27.0 -34.0 31.4 -39.4 36.0 -45.3 41.0 -01.5 51.9 -65.2 64.0 -80.5
Q: 3 100 -33.2
..... 2 50 18.6 -22.9 20.4 -25.0 22.2 -27.2 26.0 -32.0 30.2 -37.1 34.6 -42.5 39.4 -48.4 49.9 -61.3 61.6 -75.6
A 2 100 18.1 -21.8 19.8 -23.8 21.5 -25. 9 25.2 -30.4 29.3 -35.3 33.6 -40.5 38.2 -46.1 48.4 -08.3 59.8 -72.0
'0
Adjustment Factor
0 3 10 19.9 -25.5 21.8 -27.8 23.7 -30. 3 27.8 -35.6 32.3 -41.2 37.0 -47.3 42.1 -03.9 53.3 -68.2 65.9 -84.2
Q:
3 20 19.4 -24.3 21.2 -26.6 23.0 -29.0 27.0 -34.0 31.4 -39.4 36.0 -45.3 41.0 -01.5 51.9 -65.2 64.0 -80.5
3 50 18.6 -22.9 20.4 -25.0 22.2 -27.2 26.0 -32.0 30.2 -37.1 34.6 -42.5 39.4 -48.4 49.9 -61.3 61.6 -75.6
3 100 18.1 -21.8 19.8 -23.8 21.5 -25.9 25.2 -30.4 29.3 -35.3 33.6 -40.5 38.2 -46.1 48.4 -08.3 59.8 -72.0
4 10 21.8 -23.6 23.8 -25.8 25.9 -28.1 30.4 -33.0 35.3 -38.2 40.5 -43.9 46.1 -00.0 58.3 -63.2 72.0 -78.1
4 20 20.8 -22.6 22.7 -24.7 24.7 -26. 9 29.0 -31.6 33.7 -36.7 38.7 -42.1 44.0 -47.9 55.7 -60.6 68.7 -74.8
4 50 19.5 -21.3 21.3 -23.3 23.2 -25.4 27.2 -29.8 31.6 -34.6 36.2 -39.7 41.2 -45.1 52.2 -07.1 64.4 -70.5
4 100 18.5 -20.4 20.2 -22.2 22.0 -24.2 25.9 -28.4 30.0 -33.0 34.4 -37.8 39.2 -43.1 49.6 -04.5 61.2 -67.3
c;; 4 500 16.2 -18.1 17.7 -19.8 19.3 -21.5 22.7 -25.2 26.3 -29.3 30.2 -33.6 34.3 -38.2 43.5 -48.4 53.7 -59.8
s: 5 10 21.8 -29.1 23.8 -31.9 25.9 -34.7 30.4 -40.7 35.3 -47.2 40.5 -54.2 46.1 -61. 7 58.3 -78.0 72.0 -96.3
5 20 20.8 -27.2 22.7 -29.7 24.7 -32.4 29.0 -38.0 33.7 -44.0 38.7 -50.5 44.0 -07.5 55.7 -72.8 68.7 -89.9
5 50 19.5 -24.6 21.3 -26.9 23.2 -29.3 27.2 -34.3 31.6 -39.8 36.2 -45.7 41.2 -02. 0 52.2 -65.8 64.4 -81.3
5 100 18.5 -22.6 20.2 -24.7 22.0 -26.9 25.9 -31.6 30.0 -36.7 34.4 -42.1 39.2 -47.9 49.6 -60.6 61.2 -74.8
5 500 16.2 -18.1 17.7 -19.8 19.3 -21.5 22.7 -25.2 26.3 -29.3 30.2 -33.6 34.3 -38.2 43.5 -48.4 53.7 -59.8
Note: For effective areas between the those given above the load may be interpolated, otherwise use the load associated with the lower effective area.
The final value, including all permitted reductions, used in the design shll not be less than that required by Section 30.2.2.
for Building Height and Exposure, 'A
Mean roof heiaht lftl | Exposure
| B | c |  | D
15 | 1 | 1.21 |  | 1.47
20 | 1 .00 | 1.29 |  | 1.55
25 | 1 | 1.35 |  | 1.61
30 | 1 | 1.4 |  | 1.66
35 | 1.05 | 1.45 |  | 1.7
40 | 1.09 |  | 1.49 1.53 | 1.74
45 | 1 .12 |  |  | 1.78
50 | 1.16 | 1.56 |  | 1.81
55 | 1.19 | 1.59 |  | 1.84
60 | 1.22 | 1.62 |  | 1.87
2 2
Unit Conversions -1.0 ft = 0.3048 m; 1.0 sf = 0.0929 m ; 1.0 psf = 0.0479 kN/m
2 2
Unit Conversions -1.0 ft = 0.3048 m· 1.0 sf = 0.0929 m ; 1.0 psf = 0.0479 kN/m
346
347