### State of Louisiana

Department of Health and Hospitals

Office of Public Health

Swimming Pool Project Application

| SWIMMING POOL PROJECT |  |  |
| --- | --- | --- |
| Terra Bella Pool |  |  |
| Terra Bella Community | St. Tammany |  |
| Public Pool Class1: Class A (competition) □ Class B (Public Recreation) XX Class C (semi/public use for lodgings) □ Class D (all other public uses) |  |  |
| Estimated Project Cost: |  |  |
| In what type of facility will the pool be located (i.e. hotel, condominium, etc.)? Condominium |  |  |
| Public Water System (Source of Water): City |  | Is this an approved water source: X Yes □ No |
| Wastewater Disposed Into (Sewer System): City |  |  |
| Type of Disinfection at Swimming Pool: Chlorine □ Cyanuric Acid □ Bromine X □ Other: _Hypochlorite Solution |  |  |
| Type of Disinfection at Public Water System (Source Water): : X Chlorine □ Chloramines |  |  |

| PROJECT OWNER INFORMATION |  |  |  |
| --- | --- | --- | --- |
| Terrra Bella HOA |  |  |  |
|  | La |  |  |

| DESIGN ENGINEER INFORMATION |  |  |  |
| --- | --- | --- | --- |
| David Dammon / Brian Mistich |  |  |  |
| Dammon Engineering |  |  |  |
| 554 Old Spanish Trail | Slidell |  | LA 70458 |
| info@dammomengineering |  |  |  |

| POOL DIMENSIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Main Pool Shape: Rectangle |  |  |  |  |  |
|  |  |  | Area (ft2): |  | Perimeter (ft3): |
| Volume (ft3): |  |  | Volume (gallons): |  |  |
| Swimming Pool Depth |  | Minimum Depth (ft): |  | Maximum Depth (ft): |  |
| Pool Turnover (hours): |  |  |  |  |  |

| POOL CONSTRUCTION MATERIALS |  |
| --- | --- |
| Material: | Material Color: White |
| Impervious: X Yes □ No | Smooth Surface: X Yes □ No |

| POOL DECK |  |
| --- | --- |
| Pool Deck Area (ft2): n/a | Deck Material: Concrete |
| Minimum Tread Depth (in): n/a | Minimum Deck Width (ft): |
| Deck Drains to: X Perimeter Area Deck Drains |  |

Swimming Pool Specifications

Project Description:	River House Apartments Pool

MAXIMUM USER LOAD CALCULATIONS

Maximum Users in Shallow, Instruction, or Wading Areas (persons): n/a

Maximum Users in Deep Area, not including Diving Areas (persons): n/a

Maximum Users in Diving Area, per each diving board (persons): n/a

Total Maximum User Load (persons): n/a

| CIRCULATION SYSTEMS |  |  |
| --- | --- | --- |
| Recirculating Pump: | TDH (ft): | Maximum Pump Capacity (GPM): |
| Backwash Pump: | TDH (ft): | Maximum Pump Capacity (GPM): |
| Maximum Water Velocity for: Discharge Piping (ft/sec): Suction Piping (ft/sec): |  |  |
| Number of Inlets: |  |  |
| Number of Outlets/Drains: |  |  |

POOL APPURTENANCES

Diving Board (if none, write n/a): n/a

Diving Equipment (if none, write n/a): n/a

Recessed Treads (if none, write n/a):

Surface Skimmer System: □ Automatic Surface Skimmer □ Perimeter-Type X Overflow Gutter

Heaters (if none, write n/a):

Lighting (if none, write n/a):

Ventilation (for indoor pools) (if none, write n/a):

Lifesaving Equipment: Yes

Security/Barriers: No

Sunning or Tanning Shelves (if none, write n/a): Tanning Shelf

Underwater Seat Bench (if none, write n/a): Yes

| PLUMBING FIXTURES |  |  |
| --- | --- | --- |
| Maximum User Load (persons): |  |  |
|  | Males (assume 50% of users) | Females (assume 50% of users) |
| Water Closets |  |  |
| Urinals |  |  |
| Lavatories |  |  |
| Showers |  |  |
| Drinking Fountains (number): |  |  |