## Section 11: Time of Concentration

Time of concentration (tc) is the time required for an entire watershed to contribute to runoff at the point of interest for hydraulic design; this time is calculated as the time for runoff to flow from the most hydraulically remote point of the drainage area to the point under investigation. Travel time and tc are functions of length and velocity for a particular watercourse. A long but steep flow path with a high velocity may actually have a shorter travel time than a short but relatively flat flow path. There may be multiple paths to consider in determining the longest travel time. The designer must identify the flow path along which the longest travel time is likely to occur.

In watersheds with low (flat) topographic slope, the calculation of tc using commonly accepted equations with slope in the denominator often results in unreasonably large values. That is, as the slope approaches zero, the travel time approaches infinity. In addition, since intensity is a function of depth divided by tc, a long tc produces a very small intensity and thus small flowrate. Cleveland et al. 2012 recommends an adjustment of 0.0005 to the slope in both the Kerby and Kirpich methods to allow more realistic results for low topographic slope watersheds.

- The adjusted slope becomes Slow slope = S0 + 0.0005 (dimensionless)

- If the slope is less than 0.002 ft/ft (0.2%), a low slope condition exists and the adjusted slope should be used.

- If the slope is between 0.002 ft/ft (0.2%) and 0.003 ft/ft (0.3%), the situation is transitional and the user must use judgment on whether or not to use the low slope adjustment.

When runoff is computed using the rational method, tc is the appropriate storm duration and in turn determines the appropriate precipitation intensity.

When peak discharge and streamflow timing are computed using the hydrograph method, tc is used to compute certain rainfall-runoff parameters for the watershed. The value of tc is used as an input to define the appropriate storm duration and appropriate precipitation depth.

When applicable, the Kerby-Kirpich method (Roussel et al. 2005) can be used for estimating tc. The National Resources Conservation Service (1986) method is also commonly used and acceptable. Both of these methods estimate tc as the sum of travel times for discrete flow regimes. One good practice is to run both methods concurrently and compare results. Another good practice is to compare tc values against either watershed length or area for multiple basins across each project to assess reasonableness of results.

### Kerby-Kirpich Method

Roussel et al. 2005 conclude that, in general, Kirpich-inclusive approaches, [and particularly] the Kerby-Kirpich approach, for estimating watershed time of concentration are preferable. The Kerby-Kirpich approach requires comparatively few input parameters, is straightforward to apply, and produces readily interpretable results. The Kerby-Kirpich approach produces time of concentration estimates consistent with watershed time values independently derived from real-world storms and runoff hydrographs. Similar to other methods for calculation of tc, the total time of concentration is obtained by adding the overland flow time (Kerby) and the channel flow time (Kirpich):

Equation 4-13.

Where:

tov = overland flow time

tch = channel flow time

The Kerby-Kirpich method for estimating tc is applicable to watersheds ranging from 0.25 square miles to 150 square miles, main channel lengths between 1 and 50 miles, and main channel slopes between 0.002 and 0.02 (ft/ft) (Roussel et al. 2005).

Main channel slope is computed as the change in elevation from the watershed divide to the watershed outlet divided by the curvilinear distance of the main channel (primary flow path) between the watershed divide and the outlet.

No watersheds with low topographic slopes are available in the underlying database. Therefore, the Kerby and Kerpich methods are not usually applicable to watersheds with limited topographic slope. However, Cleveland et al. 2012 makes recommendations for adjustments to the method to allow more realistic results for low topographic slope watersheds. See Time of Concentration.

### The Kerby Method

For small watersheds where overland flow is an important component of overall travel time, the Kerby method can be used. The Kerby equation is

Equation 4-14.

Where:

- tov = overland flow time of concentration, in minutes

- K = a units conversion coefficient, in which K = 0.828 for traditional units and K = 1.44 for SI units

- L = the overland-flow length, in feet or meters as dictated by K

- N = a dimensionless retardance coefficient

- S = the dimensionless slope of terrain conveying the overland flow

In the development of the Kerby equation, the length of overland flow was as much as 1,200 feet (366 meters). Hence, this length is considered an upper limit and shorter values in practice generally are expected. The dimensionless retardance coefficient used is similar in concept to the well-known Manning's roughness coefficient; however, for a given type of surface, the retardance coefficient for overland flow will be considerably larger than for open-channel flow. Typical values for the retardance coefficient are listed in Table 4-5. Roussel et al. 2005 recommends that the user should not interpolate the retardance coefficients in Table 4-5. If it is determined that a low slope condition or a transitional slope condition exists, the user should consider using an adjusted slope in calculating the time of concentration. See Time of Concentration.

| Table 4-5: Kerby Equation Retardance Coefficient Values |  |
| --- | --- |
| Generalized terrain description | Dimensionless retardance coefficient (N) |
| Pavement | 0.02 |
| Smooth, bare, packed soil | 0.10 |
| Poor grass, cultivated row crops, or moderately rough packed surfaces | 0.20 |
| Pasture, average grass | 0.40 |
| Deciduous forest | 0.60 |
| Dense grass, coniferous forest, or deciduous forest with deep litter | 0.80 |

### The Kirpich Method

For channel-flow component of runoff, the Kirpich equation is:

Equation 4-15.

Where:

- tch = the time of concentration, in minutes

- K = a units conversion coefficient, in which K = 0.0078 for traditional units and K = 0.0195 for SI units

- L = the channel flow length, in feet or meters as dictated by K

- S = the dimensionless main-channel slope

If it is determined that a low slope condition or a transitional slope condition exists, the user should consider using an adjusted slope in calculating the time of concentration. See Time of Concentration.

### Application of the Kerby-Kirpich Method

An example (shown below) illustrating application of the Kerby-Kirpich method is informative. For example, suppose a hydraulic design is needed to convey runoff from a small watershed with a drainage area of 0.5 square miles. On the basis of field examination and topographic maps, the length of the main channel from the watershed outlet (the design point) to the watershed divide is 5,280 feet. Elevation of the watershed at the outlet is 700 feet. From a topographic map, elevation along the main channel at the watershed divide is estimated to be 750 feet. The analyst assumes that overland flow will have an appreciable contribution to the time of concentration for the watershed. The analyst estimates that the length of overland flow is about 500 feet and that the slope for the overland-flow component is 2 percent (S = 0.02). The area representing overland flow is average grass (N = 0.40). For the overland-flow tc, the analyst applies the Kerby equation,

from which tov is about 25 minutes. For the channel tch, the analyst applies the Kirpich equation, but first dimensionless main-channel slope is required,

or about 1 percent. The value for slope and the channel length are used in the Kirpich equation,

from which tch is about 32 minutes. Because the overland flow tov is used for this watershed, the subtraction of the overland flow length from the overall main-channel length (watershed divide to outlet) is necessary and reflected in the calculation. Adding the overland flow and channel flow components gives total time of concentration for a watershed of about 57 minutes. Finally, as a quick check, the analyst can evaluate the tc by using an ad hoc method representing tc, in hours, as the square root of drainage area, in square miles. For the example, the square root of the drainage area yields a tc estimate of about 0.71 hours or about 42 minutes, which is reasonably close to 57 minutes. However, 57 minutes is preferable. This example is shown in Figure 4-7.

Figure 4-7. Example application of Kerby-Kirpich method