MWFRS Wind Load Calculations

ASCE 7-10 Chapter 28

Volunteer Fire Department Building located at E Sixth St, Gramercy, LA 70052, USA

Tbl 28.5-1	Enclosed Simple Diaphragm Low-Rise Buildings

- Risk Category Tbl 1.5-1		Cat IV Essential Facility

- Basic Wind Speed, by website at council.org		143mph

- Wind load parameters:

  - Surface Roughness, Sec 26.7.2:		Roughness C

  - Exposure Cat, Sec 26.7.3:		Exposure C

  - Topographic Factor, Sec 26.8.2:	Kzt = 1

- Wind Pressures Fig 28.6-1 	Load Case 1 for roof slope 0º - 5º

| Interpolating Wind Speeds |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Basic Wind Speed | Roof Angle | Horizontal Pressures, Ps30 (psf) |  |  |  | Vertical Pressures, Ps30 (psf) |  |  |  | Overhangs |  |
|  |  | A | B | C | D | E | F | G | H | Eoh | Goh |
| 140 mph | 5º | 31.1 | -16.1 | 20.6 | -9.6 | -37.3 | -21.2 | -26.0 | -16.4 | -52.3 | -40.9 |
| 150 mph | 5º | 35.7 | -18.5 | 23.7 | -11.0 | -42.9 | -24.4 | -29.8 | -18.9 | -60.0 | -47.0 |
| 143 mph | 5º | 32.5 | -16.8 | 21.5 | -10.0 | -39.0 | -22.2 | -27.1 | -17.2 | -54.6 | -42.7 |

- Building mean height (h) = 25ft		λ for Exposure C – 1.35

- Adjusted wind pressure Ps	Equation 28.6-1	Ps = λ Kzt Ps30

| Adjusted Wind Pressure Ps |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Basic Wind Speed | Roof Angle | Horizontal Pressures, Ps (psf) |  |  |  | Vertical Pressures, Ps (psf) |  |  |  | Overhangs |  |
|  |  | A | B | C | D | E | F | G | H | Eoh | Goh |
| 143 mph | 5º | 43.8 | -22.7 | 29.1 | -13.5 | -52.6 | -29.9 | -36.6 | -23.2 | -73.7 | -57.7 |

- D1.1 One and Two Story Building with h ≤ 30ft are exempt from torsional load cases.