Treat the cause, not the symptom: Most of the problems associated with historic masonry buildings don't begin with the masonry itself. They are the result of the failure of some other component of the structure. Ninety-nine times out of a hundred, the problems seen are related to water.

Without getting into the whys and wherefores of historic bricks, let it just be said that water absorption is a characteristic of the material. Because of the methods of brick construction a hundred years ago, it was not a problem then, and it is not a problem now. But Waterproofing Is!