
PART VII -- INCIDENTAL CONSTRUCTION
Section No.







Page No.

701
Culverts and Storm Drains

361

702
Manholes, Junction Boxes, Catch Basins, and End 



Treatments

371

703
Underdrain Systems

375

704
Guard Rail

380

705
Fences


383

706
Concrete Walks, Drives and Incidental Paving

387
707
Curbs and Gutters

390

708
Right-of-Way Monuments

394
709
Steel Cattle Guards

396
710
Flowable Fill

398
711
Riprap


400

712
Revetments

404

713
Temporary Signs, Barricades, Barriers and Pavement 



Markings

408

714
Slab Sodding

416
715
Topsoil


418

716
Vegetative and Fiber Mulch

419

717
Seeding


422
718
Fertilizer and Agricultural Lime

425

719
Landscaping

427

720
Erosion Control Systems 

437

721
Asphalt Mulch 

439

722
Field Laboratories

440

723
Granular Material

442

724
Pavement Patching, Widening and Joint Repair

444

725
Temporary Detour Roads and Bridges

448

726
Bedding Material

451

727
Mobilization

453

728
Jacked or Bored Pipe

454

729
Traffic Signs and Devices

457

730
Electrical Systems

468

731
Raised Pavement Markers

475

732
Plastic Pavement Markings

478

Section No.







Page No.

733
Concrete Roadway Barriers

486

734
Rubblizing Portland Cement Concrete Pavement

488

735
Mailboxes and Mailbox Supports

491

736
Traffic Signals 

493

737
Painted Traffic Striping 

505

738
Mulch Sodding 

508

739
Hydro-Seeding 

510

740
Construction Layout 

512

Section 701

Culverts and Storm Drains
701.01

DESCRIPTION.  This work consists of furnishing, installing, and cleaning pipe culverts, pipe arch culverts, storm drains and sewers, also referred to as conduit, in accordance with these specifications and in conformity with lines and grades shown on the plans or established.

701.02

MATERIALS.  Materials shall comply with the following:



Usable Soil






203.06(a)



Selected Soil





203.06(b)



Plastic Soil Blanket




203.10



Flowable Fill





710



Mortar







702.02



Portland Cement Concrete



901



Granular Material





1003.07



Bedding Material





1003.08



Concrete Sewer Pipe




1006.02



Reinforced Concrete Pipe



1006.03



Reinforced Concrete Pipe Arch



1006.04



Gasket Materials





1006.06



Plastic Culvert Pipe




1006.07



Sewer Pipe






1006.07



Split Plastic Coupling Bands



1006.07(d)(4)



Plastic Yard Drain Pipe




1006.09



Bituminous Coated Corrugated Steel Pipe and





Pipe Arch





1007.02



Structural Plate for Pipe and Pipe Arch

1007.04



Corrugated Aluminum Pipe and Pipe Arch

1007.05



Polymer Coated Corrugated Steel or 





Aluminum Pipe and Pipe Arch


1007.07



Coupling Bands





1007.09



Reinforcing Steel





1009



Geotextile Fabric





1019


(a)

Quality Assurance:  Manufacturing plants will be periodically inspected for compliance with specified manufacturing methods, and material 

samples will be obtained for laboratory testing for acceptance of manufacturing lots.  Materials approved at the manufacturing plant will be subject to visual acceptance inspections at the jobsite or point of delivery.


(b)

Side Drain Pipe or Side Drain Pipe Arch:  When the item for Side Drain Pipe or Side Drain Pipe Arch is included in the contract, the contractor has the option of furnishing reinforced concrete pipe, corrugated metal pipe or plastic culvert pipe, unless otherwise specified.


(c)

Cross Drain Pipe or Cross Drain Pipe Arch:  When the item for Cross Drain Pipe or Cross Drain Pipe Arch is included in the contract, the contractor has the option of furnishing reinforced concrete pipe, corrugated metal pipe or plastic culvert pipe, unless otherwise specified.


(d)

Storm Drain Pipe or Storm Drain Pipe Arch:  When the item for Storm Drain Pipe or Storm Drain Pipe Arch is included in the contract, the contractor has the option of furnishing reinforced concrete pipe or plastic culvert pipe, unless otherwise specified.


(e)

Material Type Abbreviations:


(1)

Reinforced Concrete Pipe:



RCP



Reinforced Concrete Pipe


RCPA


Reinforced Concrete Pipe Arch



(2)

Corrugated Metal Pipe:



CAP


Corrugated Aluminum Pipe




CAPA


Corrugated Aluminum Pipe Arch




CMP


Corrugated Metal Pipe




PCCAP


Polymer Coated Corrugated Aluminum Pipe




PCCAPA

Polymer Coated Corrugated Aluminum Pipe Arch




BCCSP


Bituminous Coated Corrugated Steel Pipe




BCCSPA

Bituminous Coated Corrugated Steel Pipe Arch




PCCSP


Polymer Coated Corrugated Steel Pipe




PCCSPA

Polymer Coated Corrugated Steel Pipe Arch



(3)

Plastic Culvert Pipe:



PCP



Plastic Culvert Pipe




PVC


Polyvinyl Chloride Plastic Pipe




RPVCCP

Ribbed Polyvinyl Chloride Culvert Pipe




PVCCP


Polyvinyl Chloride Culvert Pipe (Closed Profile)




PE




Polyethylene Plastic Pipe




CPECP


Corrugated Polyethylene Culvert Pipe (Double 











Wall)




RPECP


Ribbed Polyethylene Culvert Pipe




PECP


Polyethylene Culvert Pipe (Smooth Wall)


(f)

Joint Type Abbreviations:



T1




Type 1 Joint




T2




Type 2 Joint




T3




Type 3 Joint


(g)

Yard Drain Pipe:  When the item for Yard Drain Pipe is included in the contract, the contractor has the option of furnishing concrete sewer pipe, plastic yard drain pipe or plastic culvert pipe in accordance with Section 1006 unless otherwise specified.

701.03

EXCAVATION.  The bottom of the trench shall be excavated to a minimum width of 18 inches (450 mm) on each side of the pipe.  Surplus material or excavated material that does not conform to the requirements of Subsection 203.06(a) shall be satisfactorily disposed of in accordance with Subsection 202.02.

701.04

FORMING PIPE BED.  When rock is encountered, it shall be removed below grade and replaced with material complying with Subsection 203.06.  This replacement material shall be compacted to at least the density of the surrounding soil.  The compacted earth cushion shall have a thickness under the pipe of at least 1/2 inch per foot (40 mm/m) of fill height over the top of the pipe with a minimum thickness of 8 inches (200 mm).


When pipe is not laid in a trench, a uniformly firm bed shall be made as specified for the bottom of a trench.


When bedding material is specified, additional excavation shall be performed below established grade and bedding material placed.


When a suitable foundation cannot be obtained, unstable soil below established grade shall be removed and replaced with granular material or bedding material constructed in accordance with Section 726.

701.05

LAYING PIPE.  Pipe laying shall begin at the downstream end of the line.  The pipe shall be in contact with the foundation throughout its length.  Bell or groove ends of pipe and outside circumferential laps of riveted metal pipe shall be placed facing upstream.  Riveted seam metal pipe shall be placed with longitudinal laps at sides.  Pipes in each continuous line shall have the same wall thickness.  Metal pipes provided with lifting lugs shall be handled only by these lugs.


After pipe has been laid and before backfill is placed, the engineer will inspect the pipe for alignment, grade, integrity of joints, and coating damage.

701.06

JOINING PIPE.

(a)

Joint Usage:


(1)

Type 1 (T1) joints shall be used for side drains under drives and similar installations.



(2)

Type 2 (T2) joints shall be used for cross drains under roadways, including turnouts.



(3)

Type 3 (T3) joints shall be used for closed storm drain systems, flumes and siphons.


(b)

Concrete Pipe:  Concrete pipe may be either bell and spigot, or tongue and groove.  The method of joining pipe sections shall be such that ends are fully entered and inner surfaces are flush and even.


An approved mechanical pipe puller shall be used for joining pipes over 36 inches (900 mm) in diameter.  For pipe less than 36 inches (900 mm) in diameter, any approved method for joining pipe may be used which does not damage the pipe.


Joints shall comply with Subsection 1006.05, and shall be sealed with gasket material installed in accordance with the manufacturer's recommendations.


Types 2 and 3 joints shall be wrapped with geotextile fabric for a minimum of 12 inches (300 mm) on each side of joint for pipe 36 inches (900 mm) in diameter or less and a minimum of 18 inches (450 mm) on each side of the joint for pipe greater than 36 inches (900 mm) in diameter.  Ends of the fabric shall be lapped at least 10 inches (250 mm).  The edges and ends of fabric shall be suitably secured for the entire circumference of the pipe.


(c)

Metal Pipe:  Metal pipe shall be firmly joined by coupling bands.  Bands shall be centered over the joint.


For Type 1 joints, approved gasket material shall be placed in one corrugation recess on each side of the joint at the coupling band and on each band connection in such manner to prevent leakage.


When Type 2 or 3 joints are specified, joining of metal pipe sections shall conform to the following provisions:



(1)

General:  Band joints shall be sealed with gasket material.  Gasket material shall be placed in accordance with the plan details.  The joint shall be wrapped with geotextile fabric for a minimum of 12 inches (300 mm) on each side of the connecting band for pipe diameters 36 inches (900 mm) or less and a minimum of 18 inches (450 mm) on each side of the connecting band for pipe diameters greater than 36 inches (900 mm).  Ends of fabric shall be lapped at least 10 inches (250 mm). The edges and ends of fabric shall be suitably secured for the entire circumference of the pipe.



(2)

Circular Section:  Connecting bands shall be of an approved design and shall be installed in accordance with plan details.



(3)

Arch Section:  Connecting bands shall be a minimum of 12 inches (300 mm) wide for pipe arch less than 36 inches (900 mm) round equivalent diameter, and a minimum of 21 inches (525 mm) wide for 36 inches (900 mm) round equivalent diameter pipe arch and greater.  Bands shall be connected at the ends by approved angle or strap connections.  Connecting bands used for 36 inches (900 mm) round equivalent diameter pipe arch and above shall be 2-piece bands.


(d)

Plastic Culvert Pipe:  Joints for plastic culvert pipe shall be either bell and spigot or split coupling bands.

Types 2 and 3 joints shall be wrapped with geotextile fabric for a minimum of 12 inches (300 mm) on each side of the joint for pipes 36 inches (900 mm) or less in diameter and for a minimum of 18 inches (450 mm) on each side of the joint for pipes greater than 36 inches (900 mm) in diameter.  The ends of the fabric shall be lapped at least 10 inches (250 mm).  The edges and ends of the fabric shall be suitably secured for the entire circumference of the pipe.



(1)

Bell and Spigot Type Joint System:  The method of joining pipe sections shall be such that ends are fully entered and inner surfaces are reasonably flush and even.


An approved mechanical pipe puller shall be used for joining pipes over 36 inches (900 mm) in diameter.  For pipe less than 36 inches (900 mm) in diameter, any approved method for joining pipe may be used which does not damage the pipe.


Joints shall be approved and shall be sealed with a gasket system utilizing gasket material complying with Subsection 1006.06(a).



(2)

Split Coupling Type Joint System:  Split coupling bands shall comply with all dimensional and material requirements of Subsection 1006.07.  The bands shall be centered over the joint.  The split coupling band shall be secured to the pipe with a minimum of five stainless steel or other approved corrosion resistant bands.


Joints shall be approved and shall be sealed with gasket material.  Gasket material shall be placed in the first two corrugation recesses on each side of the pipe connections.  Gasket material shall also be placed on each band connection to prevent leakage.  When flexible plastic gasket material is used it shall be a minimum of 1/2 inch (13 mm) in size.  The bands shall be tightened to create overlap of the band and shall adequately compress the gasket material.


(e)

Connections:  Approved connections shall be used when joining new pipes to existing pipes, and at no direct pay. When concrete collars are 

required in order to extend the ends of existing pipes that have been damaged or to join different types or sizes of pipes, the concrete collars shall be constructed in accordance with plan details, the applicable requirements of Section 901, and as directed.

701.07

RELAYING PIPE.  If specified or directed, existing pipes shall be removed and suitable sections relaid as specified for new pipes.

701.08

BACKFILLING.

(a)

General:  Pipes found to be damaged or out of alignment or grade shall be removed and reinstalled, or replaced, at no direct pay.


(b)

Side Drain Pipes:  Backfill for side drain pipes for drives, field roads and similar installations shall conform to the following.



(1)

Nonpaved Areas:  Pipe backfill material, except for plastic culvert pipe, shall be usable soil placed by approved methods and compacted to the density of surrounding soil.  Plastic culvert pipe shall be backfilled with granular material.



(2)

Paved Areas:  Pipe backfill material, placement and compaction shall be as specified in Heading (c).



(c)

Pipes other than Side Drains:  Backfill material for pipes, except for plastic culvert pipe, other than side drains for drives, field roads and similar installations shall be selected soil or granular materials.  Plastic culvert pipe shall be backfilled with granular material at no direct pay.


When corrugated metal pipe is used, the backfill material shall be tested and shall have a resistivity greater than 1500 ohm-cm and a pH greater than 5 when tested in accordance with DOTD TR 429 and DOTD TR 430 respectively.


If the top of pipe is even with or below the top of the trench, backfill material shall be brought up evenly on both sides of pipe for its full length to an elevation of 12 inches (300 mm) above the top of pipe [or to subgrade if less than 12 inches (300 mm)] or to natural ground elevation, whichever is greater.


When the top of the pipe is above the top of the trench, backfill material shall be brought up evenly on both sides of pipe for its full length to 12 inches (300 mm) above the top of pipe or to subgrade if less than 12 inches (300 mm).  Material in the trench and above the top of the trench for a distance on each side of the pipe equal to the horizontal outside diameter for corrugated metal or plastic pipe and 18 inches (450 mm) for concrete pipe, and to 12 inches (300 mm) above the top of pipe or to subgrade if less than 12 inches (300 mm) shall be backfill material.


The embankment shall be constructed to a minimum of 24 inches (600 mm) over the pipe before heavy construction equipment is allowed to cross the installation.  Where practical, installations with less than 24 inches (600 mm) of cover over the top of the pipe shall be constructed after heavy hauling is completed over the pipe location.  After completion of hauling operations, the contractor shall remove excess cover material.  Pipe damaged by hauling and backfilling operations shall be removed and reinstalled, or replaced, at no direct pay.



(1)

Backfill Methods:




a.
General:  Compaction by flooding will not be allowed.  When plastic culvert pipe is used, the backfill shall be granular materials.





b.
Selected Soils:  Backfill shall be placed at or near optimum moisture content determined in accordance with DOTD TR 418 in layers not exceeding 8 inches (200 mm) compacted thickness.  Backfill material shall be thoroughly compacted under the haunches.  Each layer shall be compacted by approved methods to at least 95 percent of maximum density prior to placement of a subsequent layer.  Density tests will be made for each 100 feet (30 m) of pipe, or per location for shorter lengths, at 1/3 the pipe height and then every 3 feet (1 m) of backfill.





c.
Granular Material:  Backfill shall be placed at or near optimum moisture content determined in accordance with DOTD TR 418.  Backfill material shall be thoroughly compacted under haunches and then compacted in layers not exceeding 12 inches (300 mm) compacted thickness.  Each layer shall be compacted by approved methods to at least 95 percent of maximum density prior to placement of a subsequent layer.  Exposed slopes at the pipe ends shall be covered by at least 12 inches (300 mm) compacted thickness of plastic soil blanket.





d.
Flowable Fill: Flowable fill shall be in accordance with Section 710.



(2)

Density Requirements:  Maximum density will be determined in accordance with DOTD TR 418 and in-place density determined in accordance with DOTD TR 401.

701.09

INSPECTION OF PIPES.  After completion of embankment and prior to roadway surfacing, the engineer shall inspect pipes for proper alignment and integrity of joints.  Any misaligned pipe or defective joints shall be corrected by the contractor at no direct pay.


(a)

Plastic Pipe:  Installed plastic pipe shall be tested to ensure that vertical deflections do not exceed 5.0 percent.  Maximum allowable deflections shall be governed by the mandrel requirements stated herein.


Deflection tests shall be performed no sooner than 30 calendar days after installation and compaction of backfill.  The pipe shall be cleaned and inspected for offsets and obstructions prior to testing.


For pipe 36 inches (900 mm) and less in diameter, a mandrel shall be pulled through the pipe by hand to ensure that maximum allowable deflections have not been exceeded.  The mandrel shall be approved by the engineer prior to use.  Use of an unapproved mandrel or a mandrel altered or modified after approval will invalidate the test.  If the mandrel fails to pass, the pipe is overdeflected.


Unless otherwise permitted, overdeflected pipe shall be uncovered and, if not damaged, reinstalled.  Damaged pipe shall not be reinstalled, but shall be removed and replaced with new pipe.  Any pipe subjected to any method or process other than removal, which attempts, even successfully, to reduce or cure any overdeflection, shall be removed and replaced with new pipe.


The mandrel shall be a rigid, nonadjustable, odd-numbered legged (minimum 9 legs) mandrel having a length not less than its nominal diameter. The minimum diameter at any point shall be 5.0 percent less than the nominal diameter of the pipe being tested.  The mandrel shall be fabricated of steel, fitted with pulling rings at each end, stamped or engraved on some segment other than a runner with the nominal pipe size and mandrel outside diameter, and furnished in a suitable carrying case.


For pipe larger than 36 inches (900 mm) in diameter, deflection shall be determined by a method approved by the engineer.  If a mandrel is selected, the minimum diameter, length, and other requirements shall conform to the above requirements.


Mandrel testing shall be conducted by the contractor in the presence of the engineer.  Mandrel testing shall be at no direct pay.


(b)

Metal Pipe:  If the inside diameter of metal pipe or rise dimension of metal pipe arch deflects more than 5.0 percent from original dimensions, they shall be removed and reinstalled, unless they do not rebound or are damaged.  Pipe or pipe arch which are damaged or do not rebound shall be removed and replaced at no direct pay.  Measurement of deflection will be made by the engineer away from rerolled ends.

701.10

CLEANING PIPES.

(a)

Existing Pipes:  Pipes designated to be cleaned shall be cleaned of soil, debris and other materials to the invert of the pipe.  Designated pipes shall be cleaned by approved methods that will not damage the pipes. Any damage caused by the contractor's operations shall be satisfactorily repaired at no direct pay.


Removed soil, debris and other materials shall be disposed of in accordance with Subsection 202.02 or as otherwise approved in writing.


(b)

Contractor Installed Pipes: Prior to final acceptance, pipes shall be cleaned of all debris and soil to the invert of the pipe at no direct pay.  


Removed soil, debris and other materials shall be disposed of in accordance with Subsection 202.02 or as otherwise approved in writing.
701.11

STUBBING AND PLUGGING PIPES.  When it is required that pipes be plugged, such plugs shall be constructed of Class R concrete complying with Section 901.  Thickness of plug and method of construction shall be as directed.


When new pipes are to be stubbed into new or existing pipes or other structures, the connection shall be made with approved mortar complying with Subsection 702.02.

701.12

MEASUREMENT.  Pipe, both new and relaid, will be measured in linear feet (lin m) as follows unless stated otherwise. 


(a)

Pipe not confined by fixed structures will be measured by the number of joints at the nominal length of each joint.


(b)

Pipe confined by fixed structures will be measured along the pipe between the termini of pipe in structure walls.


(c)

Pipe confined by a fixed structure on one end and unconfined at the other end will be measured along the pipe from the terminus of pipe in the structure wall to the unconfined end of pipe.


(d)

Fabricating of pipe tees, elbows and other fittings will be measured per each fitting. The length of pipe in such fittings will be included in the pay length measurement of pipes of which they form a part.


(e)

Excavation required for installation of pipes will not be measured for payment, except as otherwise specified in Subsection 203.15.


(f)

Furnishing and placing backfill material for pipes will not be measured for payment.  Backfill material needed to complete backfill above natural ground and around pipes that extend above natural ground will be measured and payment will be made under applicable earthwork items.  When specified, flowable fill will be measured and paid for in accordance with Section 710.


(g)

Plugging and stubbing of pipes will not be measured for payment.


(h)

Cleaning existing pipes will be measured by the length of pipe cleaned and accepted.


(i)

Concrete collars will be measured per each.

701.13

PAYMENT.


(a)

Payment for pipe will be made at the contract unit price per linear foot (lin m) of the types and sizes specified.


(b)

Payment for fabricating pipe tees, elbows and other fittings will be made at the contract unit price per each fitting.


(c)

When unstable conditions are encountered the additional excavation will not be measured for payment; however, the additional materials furnished and placed for the pipe foundation will be measured and paid for as follows:



(1)

Granular Materials:  Payment will be made under the embankment item.  The net section volume of the materials will be multiplied by 3 to determine the pay volume.  When the contract does not include a pay item for embankment, payment will be made in accordance with Subsection 104.02.



(2)

Bedding Material:  Measurement and payment will be made in accordance with Section 726.  When the contract does not include a pay item for bedding material, payment will be made in accordance with Subsection 104.02.


(d)

Payment for cleaning existing pipes will be made at the contract unit price per linear foot (lin m).


(e)

Payment for concrete collars will be made at the contract unit price per each.


Payment will be made under:

Item No.




Pay Item


Pay Unit


701-01


Cross Drain Pipe (Size & Type)

Linear Foot (Lin m)

701-02


Cross Drain Pipe Arch (Size & Type)
Linear Foot (Lin m)

701-03


Storm Drain Pipe (Size & Type)

Linear Foot (Lin m)

701-04


Storm Drain Pipe Arch (Size & Type)
Linear Foot (Lin m)

701-05


Side Drain Pipe (Size)


Linear Foot (Lin m)

701-06


Side Drain Pipe Arch (Size)

Linear Foot (Lin m)

701-07


Yard Drain Pipe (Size)


Linear Foot (Lin m)

701-08


Relaying Pipe




Linear Foot (Lin m)

701-09


Fabricating Pipe Fittings


Each

701-10


Reinforced Concrete Pipe (Extension)
Linear Foot (Lin m)

701-11


Reinforced Concrete Pipe Arch 







(Extension)




Linear Foot (Lin m)

701-12


Corrugated Metal Pipe (Extension)
Linear Foot (Lin m)

701-13


Corrugated Metal Pipe Arch (Extension)
Linear Foot (Lin m)

701-14


Cleaning Existing Pipes


Linear Foot (Lin m)
701-15


Concrete Collar



Each

Section 702

Manholes, Junction Boxes, Catch Basins,

and End Treatments
702.01

DESCRIPTION.  This work consists of the construction, installation, and adjustment of manholes, junction boxes, catch basins, culvert end treatments and safety ends in accordance with these specifications, and in conformity with lines and grades shown on the plans or established.

702.02

MATERIALS.  Materials shall comply with the following Sections or Subsections:



Cast-in-Place Concrete (Class M)


901



Portland Cement





1001.01



Mortar Sand






1003.02(a)



Sewer Brick






1004.01



Asphaltic Varnish





1008.03



Reinforcing Steel





1009.01



Precast Reinforced Concrete Drainage Units

1016



Manhole Frames, Grates and Covers


1018.04



Geotextile Fabric





1019

The contractor may furnish structures of either cast-in-place concrete or precast concrete units.  For precast structures which are not covered by the plans, design and installation procedures will be submitted for approval.


Mortar shall consist of one part portland cement, two parts mortar sand, and water as required for proper consistency.  Mortar shall be used within 30 minutes after mixing.

702.03

QUALITY ASSURANCE.  Manufacturing plants will be inspected periodically for compliance with specified manufacturing methods. Material samples will be obtained for laboratory testing for acceptance of manufacturing lots.


Materials will be subject to inspection at any time during the work.

702.04

CONSTRUCTION REQUIREMENTS.  All cast-in-place structures shall be constructed in dry or dewatered areas, unless otherwise directed.  Logs, stumps and other undesirable material shall be removed.


(a)

Manholes, Junction Boxes, and Catch Basins: Concrete construction shall conform to Section 805.  Joints shall be full mortar joints not more than 1/2 inch (13 mm) wide.  When specified, outside faces of structures shall be plastered with 1/2 inch (13 mm) thick cement-sand mortar. Exposed surfaces of concrete and masonry shall be cured in accordance with Subsection 805.10 for at least 48 hours.


Precast concrete units shall be cast with the specified number and size of pipe openings required for the drainage system; however, if additional pipe is required during construction for which no openings have been provided, the contractor may make such openings provided any damaged units are replaced or satisfactorily repaired.  Precast units shall be set to established grade within ±1/2 inch (±13 mm).  Joints for sectional precast units shall be sealed with flexible plastic gasket material complying with Subsection 1006.06(b) installed as to form a watertight seal.  The joints of precast units shall be wrapped with geotextile fabric a minimum of 18 inches (450 mm) on each side of the joint.  Ends of the fabric shall be lapped at least 10 inches (250 mm).  The edges and ends of the cloth shall be suitably secured.


Metal frames shall be set in a full mortar bed.  Conduit sections shall be flush on the inside of structure wall and project outside sufficiently for proper connection with the next conduit section.  Masonry shall fit neatly and tightly around conduit.


When grade adjustments of existing structures are specified, frames, covers and gratings shall be removed and walls reconstructed as required.  Cleaned frames shall be reset at required elevation.  Metal parts shall be thoroughly cleaned and placed in good repair.  In lieu of adjusting structures, the contractor may adjust structures by means of approved metal adjustment rings.


New structures shall be cleaned of silt, debris or other foreign matter, and nongalvanized metal parts of new or adjusted structures shall be coated with asphaltic varnish meeting the requirements of Subsection 1008.03 or a jet black metal work paint satisfactory to the engineer.


The structure shall be backfilled in accordance with Subsection 701.08(c)(1).


Excavated material not satisfactory for backfill and surplus material shall be disposed of in accordance with Subsection 202.02.


(b)

Culvert End Treatments:  Culvert end treatments to control erosion at the ends of cross drains and side drains shall be constructed in accordance with these specifications, the plans, and as directed.  Designs other than those shown on the plans shall be submitted for approval.



(1)

Concrete Toe Wall Placement:  Cast-in-place toe walls shall conform to Subsection 805.03 and plan details.



(2)

Geotextile Fabric Placement:  Geotextile fabric shall be placed in accordance with Subsection 712.03.



(3)

Sacked Concrete (Wet-Batched) Placement:




a.
Revetment:  Wet-batched sacked concrete revetments shall conform to the requirements of Section 712.  Placement of sacked concrete shall begin at the toe of the revetment and progress to the end of the pipe  





b.
Toewall:  Sacks shall be stacked as indicated on the plans.



(4)

Sacked Concrete (Dry-Batched) Placement:




a.
Revetment:  Dry-batched sacked concrete revetments shall conform to the requirements of Section 712.  Placement shall begin at the toe of the revetment and progress to the end of the pipe.





b.
Toewall:  Sacks shall be stacked as indicated on the plans.



(5)

Stone Placement: Stone revetment shall conform to the requirements of Section 712. 


(c)

Culvert Safety Ends:  Safety ends shall be furnished and installed on cross drains and side drains in accordance with these specifications, the plans and as directed.  Designs other than those given on the plans shall be submitted for approval.



(1)

Reinforcing steel shall be fabricated and placed in accordance with Section 806.



(2)

Cast-in-place or precast concrete shall comply with Section 805.



(3)

Pipe runners shall be bolted in place as shown on the plans.  Bolts shall either be cast into the plastic concrete or placed in approximately 1-inch (25 mm) diameter holes and epoxied in place using an approved anchor system listed in QPL 32 or 52 as directed.

702.05

SAMPLING.  Concrete, geotextile fabric, reinforcing steel, sacks and water will be sampled in accordance with the Materials Sampling Manual.


Sacked Concrete (Dry-Batched) will be sampled by taking a minimum of 1 sack of prepacked materials per 1000 sacks for acceptance.  The contents of the package shall be mixed with water as required to produce a slump of 4 to 6 inches (100 to 150 mm).  Compressive strength specimens will be made by the engineer in accordance with DOTD TR 226 and tested in accordance with DOTD TR 230.  The compressive strength shall comply with the requirements of Section 901 for Class R concrete.  The supplier of the dry batched revetment shall submit a certificate of compliance with each 

shipment showing the proportions of cement and sand (or other approved aggregates used).


Steel pipe runners and hardware will be accepted by Certificate of Analysis from the manufacturer.

702.06

MEASUREMENT.  New and adjusted junction boxes, manholes, catch basins, culvert end treatments and safety ends will be measured per each.


Excavation and backfill required for installation of these units will not be measured for payment.

702.07

PAYMENT.  Payment for new and adjusted junction boxes, manholes, catch basins, culvert end treatments and safety ends will be made at the contract unit price per each which shall include all materials, tools, equipment, labor and incidentals necessary to complete the work.


The concrete in cast-in-place manholes, junction boxes, catch basins, and culvert end treatments and safety ends will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-4 and Note 2 therein.  Acceptance for each precast concrete manhole, junction box, and catch basin lot will be in accordance with the requirements of Standard Plan PC-01.  Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual.


Payment will be made under:

Item No.





Pay Item


Pay Unit

702-01




Junction Boxes




Each

702-02




Manholes





Each

702-03




Catch Basins




Each

702-04




Adjusting                  



Each

702-05




Cross Drain End Treatment (Type)

Each

702-06




Side Drain End Treatment (Type)

Each

702-07




Cross Drain Safety End (Type)

Each

702-08




Side Drain Safety End (Type)

Each

Section 703

Underdrain Systems

703.01

DESCRIPTION.  This work consists of constructing pipe underdrain systems in accordance with these specifications and in conformity with lines and grades shown on the plans or established.

703.02

MATERIALS.  Materials shall comply with the following Sections and Subsections:



Asphaltic Concrete 





501, 502



Portland Cement Concrete (Class M)



901



Aggregate Backfill (Size 3)(Crushed or Uncrushed)
1003.05



Granular Material (Backfill)




1003.07



Perforated and Nonperforated Underdrain Plastic Pipe
1006.08



Perforated Bituminous Coated Corrugated Steel Pipe
1007.03



Perforated Corrugated Aluminum Pipe


1007.06



Reinforcing Steel






1009.01



Precast Concrete Headwalls




1016.04



Hardware Cloth Rodent Screen




1018.22



Geotextile Fabric






1019.01



Geocomposite Wall Drains




1019.02


When an item for "Shoulder Outlet Underdrains" is included in the contract, plastic pipe shall be furnished.


When an item for "Perforated Pipe Underdrains" is included in the contract, the contractor will be permitted to furnish any of the perforated plastic pipe types, unless otherwise specified.


When an item for "Nonperforated Pipe Underdrains" is included in the contract, the contractor will be permitted to furnish any of the nonperforated plastic pipe types, unless otherwise specified.


At the Department's discretion, plants will be inspected periodically for compliance with specified manufacturing methods.  Material samples will be obtained for laboratory testing for acceptance of manufacturing lots.

703.03

CONSTRUCTION REQUIREMENTS.

(a)

Plastic Pipe Shoulder Underdrains:  Installation of plastic pipe underdrains, aggregate backfill and replacement of shoulder base and 

surfacing shall follow immediately behind trenching operations.  When traffic is permitted on the roadway, operations shall be conducted so that no trench will be open at the end of the day.  Operations shall be performed in such a manner that existing pavement, shoulder surfacing and base course outside the limits of underdrain trenches are not damaged.



(1)

Trenching:  When existing surfaced shoulders are not to be overlaid with asphaltic concrete under the contract, existing shoulder surfacing shall be cut full depth along the edges of the proposed trench prior to beginning trenching operations.  Excess excavated materials may be spread on embankment slopes when permitted.  The contractor shall dispose of removed materials considered unacceptable for spreading on slopes in accordance with Subsection 202.02.



(2)

Geotextile Fabric:  Completed trenches for perforated plastic pipe shall be lined with geotextile fabric.  Adjoining sheets of fabric shall be spliced by lapping a minimum of 18 inches (450 mm) and satisfactorily securing; or by use of sewn or heat-bonded splices.  A sufficient width of fabric shall be placed in the trench to permit the cloth to lap over the top of the trench for the full width of trench.  Care shall be taken during placement of geotextile fabric, pipe and backfill to avoid damaging geotextile fabric.  The contractor shall satisfactorily repair or replace any damaged geotextile fabric at no direct pay.



(3)

Plastic Pipe Installation:  Plastic pipe underdrain shall be placed in the trench immediately adjacent to the pavement or shoulder edge as shown on the plans.  Fittings and materials necessary to make splices of the plastic pipe underdrain and to make connections of the plastic pipe underdrain to the nonperforated pipe shall be from the same manufacturer as the pipe.  Fittings shall be designed to prevent soil or aggregate intrusion into the underdrain or outlet piping.  When the underdrain is terminated without an outlet, a fitting or other approved method shall be provided to prevent soil or aggregate intrusion into the end of the underdrain.



(4)

Aggregate Backfill:  After pipe installation, the trench shall be backfilled in a manner that will not displace or damage the pipe.  Aggregate backfill for perforated pipe shall be uniformly compacted with approved vibratory equipment to the satisfaction of the engineer, after which geotextile fabric shall be lapped over the full width of the trench and secured by an approved method.  Aggregate backfill shall be placed in lifts no greater than 10 inches (250 mm) uncompacted thickness.  The backfilled and compacted trench shall be left in a condition ready to receive surfacing.



(5)

Replacement of Base Course and Surfacing:  Asphaltic concrete shall be used for replacement of removed shoulder base course and 

surfacing as shown on the plans and shall be constructed in accordance with Section 724.


(b)

Shoulder Outlet Underdrain:  Installation of the nonperforated plastic pipe, backfill, and replacement of shoulder base and surfacing shall follow immediately behind trenching operations.  When traffic is permitted on the roadway, operations shall be conducted so that no trench will be open at the end of the day.  Operations shall be performed in such a manner that the existing pavement, shoulder surfacing and base course outside the limits of the trenches are not damaged.



(1)

Trenching:  When existing surfaced shoulders are not to be overlaid with asphaltic concrete under the contract, existing shoulder surfacing shall be cut full depth along the edges of the proposed trench prior to beginning trenching operations.  Excess excavated materials may be spread on embankment slopes when permitted.  The contractor shall dispose of removed materials considered unacceptable for spreading on slopes outside the right-of-way in accordance with Section 202.02.



(2)

Nonperforated Plastic Pipe Installation:  Nonperforated plastic pipe shall be placed in the trench and connected to plastic pipe in accordance with manufacturer's recommendations.  The pipe shall comply with the requirements of Subsection 1006.08(b).



(3)

Backfill:  After pipe installation, the trench shall be backfilled in a manner that will not displace or damage the pipe.  Backfill material shall be excavated trench material that meets the requirements for granular material.  When additional material is required, the contractor shall provide granular material at no direct pay.  The backfill material shall be placed in lifts no greater than 6 inches (150 mm) of uncompacted material.  Backfill material shall be uniformly compacted by approved methods to the satisfaction of the engineer.  The backfilled and compacted trench shall be left in a condition ready to receive surfacing.



(4)

Replacement of Base Course and Surfacing:  Asphaltic concrete shall be used for replacement of removed shoulder base course and surfacing as shown on the plans and shall be constructed in accordance with Section 724.



(5)

Headwalls:  Portland cement concrete headwalls for non-perforated pipe shall be cast-in-place or precast constructed in accordance with Section 702.  Each outlet pipe shall be furnished with a rodent screen as shown on the plans.


(c)

Perforated or Nonperforated Pipe Underdrain:  Perforated or nonperforated pipe underdrain shall be used as shown on the plans to drain 

wet areas.  Installation of the underdrains and backfill shall follow immediately behind trenching operations.



(1)

Trenching:  Trenches shall be excavated to the specified dimensions and grade or as directed.  When specified, a minimum 3 inches (75 mm) bedding layer of specified material shall be placed and compacted in the bottom of the trench for its full width and length.  The contractor shall dispose of excess excavated material in accordance with Subsection 202.02.



(2)

Underdrain Pipe:  Underdrain pipe shall be embedded firmly in the bedding material and shall be joined securely with appropriate coupling fittings or bands.  When specified, perforated pipe shall be wrapped with geotextile fabric in accordance with plan details or as directed.  Upgrade ends of pipe shall be capped to prevent soil intrusion.



(3)

Backfill:  Specified backfill shall be placed as shown on the plans or as directed.


(d)

Geocomposite Wall Drains:  Geocomposite wall drains shall be placed against the structure as shown on the plans before structural backfilling.  The drains shall be placed such that drainage of the backfill is accomplished without soil intrusion into the drainage product core or outlet piping. The backfill shall be placed and compacted in accordance with Section 802 in a manner that will not displace or damage the geocomposite wall drain.


Fittings and material necessary to make splices and to make connections of the drainage product core to outlet piping shall be from the same manufacturer.  When the sides of the product are terminated, the fabric shall be folded under to prevent soil intrusion into the end of the drainage product. The fabric shall overlap a minimum of 6 inches (150 mm) at all seams.

703.04

MEASUREMENT.

(a)

Shoulder Underdrains:


(1)

Shoulder Underdrains:  Shoulder underdrains will be measured by the linear foot (lin m) long the pavement or shoulder edge.  Required excavation, geotextile fabric, restoration of shoulder base course and surfacing, and disposal of excavated materials will not be measured for payment.



(2)

Shoulder Outlet Underdrains:  Shoulder outlet underdrains will be measured per each outlet underdrain installation.  Required excavation, plastic pipe and fittings, backfill, replacement of shoulder base course and surfacing, concrete headwalls, rodent screens, and disposal of excavated materials will not be measured for payment.


(b)

Perforated or Nonperforated Pipe Underdrains:  Perforated and nonperforated pipe underdrains will be measured by the linear foot (lin m) of underdrain pipe.  Required excavation, bedding, backfill and geotextile fabric will not be measured for payment.


(c)

Geocomposite Wall Drains:  Geocomposite wall drains will be measured by the square yard (sq m) of geocomposite wall drain.

703.05

PAYMENT.  Payment for underdrains will be made at the contract unit prices.  Pay adjustments for portland cement concrete of Section 901 will not apply.


Payment will be made under:

Item No.





Pay Item

Pay Unit

703-01



Shoulder Underdrains


Linear Foot (Lin m)

703-02



Shoulder Outlet Underdrains

Each

703-03



Perforated Pipe Underdrains

Linear Foot (Lin m)

703-04



Nonperforated Pipe Underdrains
Linear Foot (Lin m)

703-05



Geocomposite Wall Drains

Square Yard (Sq m)

Section 704

Guard Rail
704.01

DESCRIPTION.  This work consists of furnishing and constructing beam type highway guard rail in accordance with these specifications, plan details, the manufacturer's recommended procedures and other requirements as directed by the engineer. 

704.02

MATERIALS.  Materials shall comply with the following Section or Subsections.



Cast-in-Place Concrete (Class M)


901



Reinforcing Steel





1009



Metal Beam Guard Rail




1010.08



Posts and Spacer Blocks




1010.09



Hardware






1010.10



Wire Rope and Fittings




1010.11


Welding shall comply with Section 815.

704.03

GENERAL CONSTRUCTION REQUIREMENTS.

(a)

Posts:  Posts shall be aligned and set plumb.  When driving of posts is permitted, the manner of driving shall not damage posts. Post holes shall be backfilled with acceptable material placed and compacted as directed.  When posts are to be placed within existing surfaced areas, surface material shall be replaced in kind or with Class M concrete.


(b)

Rail Elements:  Rail elements shall be erected in a manner resulting in a smooth, continuous installation.  All bolts, except adjustment bolts, shall be drawn tight.  Bolts shall be of sufficient length to extend beyond nuts.  Holes for special details may be field drilled or punched when approved.  Damaged galvanized surfaces and drilled holes shall be repaired in accordance with Subsection 811.12.


(c)

Anchor Blocks:  Reinforced concrete blocks for anchoring guard rail to existing bridge ends shall meet the requirements of Sections 805 and 806. Concrete shall be Class M complying with Section 901.  Required removal of portions of existing bridge railings and drilling of holes into existing railings shall be performed in such manner that will not damage the railings that are to remain.  The contractor shall satisfactorily repair damage 

to the existing bridge due to operations at no additional cost to the Department.  Removed materials shall be disposed of in accordance with Subsection 202.02.


(d)

Guard Rail End Treatments:  All guard rail end treatments must have been successfully crash tested and shall comply with the crash test requirements of the National Cooperative Highway Research Program (NCHRP) Report 350. End treatment systems not in compliance with this requirement will not be allowed on any federal or state funded projects.


The Bridge Design Engineer has pre-approved a list of end treatment systems for selection by the contractor.  The contractor shall provide the project engineer with a copy of the most recent working drawing/shop drawing of the selected guard rail end treatment system prior to installation.  The drawings shall provide the details of all components of the guard rail end treatment system and shall state that all details are in compliance with the NCHRP Report 350 requirements as approved by the FHWA.


The contractor may select any end treatment, which meets the above criteria, but shall not use a combination of such end treatments on the same project.  The contractor shall submit to the Bridge Design Section the system name, the manufacturer of the end treatment system, and the necessary documentation to substantiate that the end treatment is in compliance with the NCHRP 350 requirement.


The contractor shall install all components of the guard rail end treatment system such as posts, blocks, and hardware in accordance with the drawings and the manufacturer's recommendations.  Under no circumstances shall any component of the guard rail end treatment system be modified without written approval. 


All end treatments shall be furnished with a retroreflective sheeting at the terminal end as shown in the plans.


When necessary, the guard rail length may be adjusted to provide the same "length of need" as specified in the plans. This adjustment shall be made at no additional cost to the Department.

704.04

MEASUREMENT.  Quantities of guard rail, anchor sections, end treatments, and transitions for payment will be the design quantities as specified on the plans and adjustments thereto.  Design quantities will be adjusted if the engineer makes changes to adjust to field conditions, if plan errors are proven, or if design changes are made.


Design quantities of single faced guard rail are based on plan length along the face of rail between end posts, exclusive of openings, and plan length of end sections.  Design quantities of double faced guard rail are based on plan 

length between end posts along centerline of posts, exclusive of openings, and plan length of end sections.  Design quantities of trailing end and breakaway cable terminal (BCT) anchor sections are based on plan length along the face of rail.


Guard rail anchor blocks and end treatments will be measured per each unit furnished and installed.

704.05

PAYMENT.  Payment for guard rail, anchor sections, anchor blocks, end treatments, and transitions will be made at the contract unit prices which include all required removal of portions of existing railings, disposal of removed materials, drilling of holes in existing concrete for reinforcing steel dowels, concrete and reinforcing steel. Payment adjustments for portland cement concrete of Section 901 will not apply.


Payment will be made under:

Item No.




Pay Item


Pay Unit

704-01


Guard Rail





Linear Foot (Lin m)

704-02


Guard Rail (Double Faced)

Linear Foot (Lin m)

704-03


Blocked Out Guard Rail


Linear Foot (Lin m)

704-04


Blocked Out Guard Rail (Double Faced)
Linear Foot (Lin m)

704-05


Guard Rail Anchor Sections (BCT)
Linear Foot (Lin m)

704-06


Guard Rail Anchor Sections 







(Trailing End)




Linear Foot (Lin m)

704-07


Guard Rail Bridge Attachments

Linear Foot (Lin m)

704-08


Guard Rail Transitions


Linear Foot (Lin m)

704-09


Guard Rail Anchor Sections 







(Turndown)





Linear Foot (Lin m)

704-10


Guard Rail Anchor Blocks


Each

704-11


Guard Rail End Treatment (Type)
Each

Section 705

Fences

705.01

DESCRIPTION.  This work consists of constructing fences and gates in accordance with these specifications and in conformity with lines and grades shown on the plans or established by the engineer.

705.02

MATERIALS.  Materials shall comply with the following Section or Subsections:



Portland Cement Concrete (Class R)


901



Barbed Wire






1010.01



Woven Wire






1010.02



Posts and Braces for Field and Line Type Fence
1010.03



Staples and Nails





1010.04



Metal Fasteners for Steel Posts



1010.05



Gates for Field and Line Type Fence


1010.06



Chain Link Fence, Gates and Appurtenances

1010.07



Timber Preservatives




1014.03



Ground Rod Assemblies




1018.05


The same type chain link fencing shall be used throughout the project.  The same type, shape and treatment of posts shall be used throughout a section of fence.

705.03

GENERAL CONSTRUCTION REQUIREMENTS.  Clearing and grubbing for fence installation shall conform to Section 201.


The contractor's operations shall be confined to the area adjacent to right-of-way lines and within the right-of-way.


Where breaks in a run of fencing are required, and at intersections with existing fences, appropriate adjustment in post spacing shall be made for the type closure indicated.


Wood posts shall be placed with small end up.  When posts, braces or anchors are to be embedded in concrete, the contractor shall install temporary braces as required to hold posts in proper position until concrete has set sufficiently to hold posts.  No material shall be installed on posts or strain placed on bracing set in concrete for 72 hours after concrete has been placed.


Tops of posts shall be set to required grade and alignment.  Cutting of wood post tops will be allowed only when approved.  Cut ends shall be treated with 2 applications of the same type preservative used for post treatment.  Wire shall be stretched taut.


Ground rods shall be installed along each segment of new or rebuilt fence, regardless of type fence post used, at maximum 500-foot (150 m) intervals.  Ground rods and connections shall conform to plan details.

705.04

REBUILT FENCE.  When specified, the contractor shall take down, move back and rebuild existing fence.  Fence shall be rebuilt in the same manner as specified for new fence.  Rebuilt ornamental fence, picket fence or other special type fence shall be equal in all respects to existing fence.

705.05

GATES.  Gates of a different design from that shown on the plans may be furnished with prior approval.  Gates shall be of rigid construction, and after erection shall not show sag or warp.

705.06

CHAIN LINK FENCE AND GATES.

(a)

Concrete Post Anchorage:  Posts shall be anchored in Class R concrete footings.  Portable mixing of concrete in accordance with Subsection 901.11(h) will be permitted for small quantities of concrete.


Tops of footings shall extend slightly above ground and shall be steel troweled to a smooth finish sloped to drain away from posts.  Posts, braces and other units shall be centered in footings.


Concrete operations shall be in accordance with Section 901.  The contractor shall consolidate concrete by tamping or vibrating.  Excess excavation from footings shall be disposed of satisfactorily.


(b)

Fence Erection:  Pull posts shall be placed not more than 200 feet (60 m) apart in straight runs and at each vertical angle greater than 20 degrees.  Corner posts shall be placed at each horizontal angle greater than 20 degrees.  Corner and pull posts shall have a horizontal brace and tie rod on each side of posts.  The horizontal brace and tie rod shall be connected to adjacent line posts.


Posts shall be permanently positioned, anchorages firmly set, and top rail or tension wires satisfactorily secured to posts before fabric is placed.  Ends of fabric shall be secured by stretcher bars threaded through loops of fabric and secured to posts by clamps with bolts and nuts.


Fabric shall be placed by securing one end and applying sufficient tension to remove all slack before making attachments elsewhere.  Degree of 

tensioning shall be commensurate with air temperatures at time of installation to prevent undue sagging or tensioning of fabric due to changing temperatures.  Fabric shall be fastened to line posts at approximately equal spaces and to top rail (or top tension wire) and bottom tension wire with tie wires or bands as specified.


(c)

Gate Erection:  Gate installation shall include gate frames, stretcher bars, filler fabric, latches, stops, locking device, padlocks, hinges, gate posts with braces, tie rods, turnbuckles, caps and other fittings as specified or required for complete installation.


Clamps for attaching hardware shall be tightened.  Bottom of gates shall clear the ground at least 3 inches (75 mm) at all points in its swing.  The contractor shall grade the area if necessary to meet this requirement.  Stops with latches or other approved means for holding the gate open shall be provided, placed to prevent damage to gate or fence by overswing.  Unless otherwise directed, stops shall be provided at the centerline of fence to arrest the swing of a closed gate.


(d)

Repair of Protective Coatings:  After completion of fence and gate installation, any damaged protective coatings shall be satisfactorily repaired in accordance with Subsection 811.12.

705.07

MEASUREMENT.

(a)

New Fence and Gates:  New fence will be measured by the linear foot (lin m) between outside of end posts for each continuous run of fence, exclusive of gates.  Gates for new fence will be measured per each for single swinging gates, and per double gate for double swinging gates.


(b)

Rebuilt Fence:  Rebuilt fence will be measured by the linear foot (lin m) between outside of end posts for each continuous run of fence, including gates.


(c)

Intersecting Fences:  Sections of new fence required for connections of existing intersecting fences to new or rebuilt fence will be included in the measurement of the new or rebuilt fence.


(d)

Ground Rod:  Ground rod placement will not be measured for payment.

705.08

PAYMENT.  Payment for fence and gates will be made at the contract unit prices.  Payment adjustments for portland cement concrete of Section 901 will not apply.


Payment will be made under:

Item No.




Pay Item


Pay Unit

705-01


Barbed Wire Fence



Linear Foot (Lin m)

705-02


Combination Mesh and Barbed Wire 







Fence






Linear Foot (Lin m)

705-03


Single Swinging Walk Gates

Each

705-04


Single Swinging Driveway Gates

Each

705-05


Double Swinging Driveway Gates
Double Gate

705-06


Chain Link Fence 







(    -Foot (m) Height)


Linear Foot (Lin m)

705-07 

    -Foot (m) Single Gates for Chain Link 







Fence (    -Foot (m) Height)

Each

705-08


    -Foot (m) Double Gates for Chain Link 







Fence (    -Foot (m) Height)

Double Gate

705-09


Rebuilt Fence





Linear Foot (Lin m)

Section 706

Concrete Walks, Drives and Incidental Paving

706.01

DESCRIPTION.  This work consists of furnishing and constructing portland cement concrete walks, drives and incidental paving slabs in accordance with these specifications and in conformity with lines and grades shown on the plans or established.

706.02

MATERIALS.  Materials shall comply with the following Section or Subsections.



Portland Cement Concrete (Class M)


901



Joint Filler
 





1005.01(c)



Reinforcing Steel





1009.01



Curing Materials





1011.01

706.03

CONSTRUCTION REQUIREMENTS.

(a)

Excavation:  Excavation shall be made to required depth and width. The top of the subgrade shall be shaped and compacted to a firm, even surface conforming to the section shown on the plans.  Unsuitable material shall be removed and disposed of in accordance with Subsection 202.02 and replaced with approved material at no direct pay.


(b)

Forms:  Forms shall be of wood or metal and shall extend the full depth of concrete.  Forms shall be straight, clean and of sufficient strength to resist the pressure of concrete.  Bracing of forms shall be such that forms remain in horizontal and vertical alignment until their removal.


Concrete may be placed by slip-form methods.  Slip-formed concrete shall be placed with an approved machine designed to spread, vibrate, consolidate and finish concrete in one pass of the machine in such manner that minimum hand finishing is necessary.  Sliding forms shall be rigidly held together to prevent spreading of forms.  After the passing of the side forms there shall be no noticeable slumping of concrete.


(c)

Subgrade:  The subgrade shall be thoroughly moistened immediately prior to placing concrete.


(d)

Placing and Finishing:  Concrete shall be placed on the subgrade, struck off to required thickness and tamped sufficiently to bring the mortar to the surface.  The surface shall be finished with a wood float or steel trowel 

followed by brushing to a slightly rough finish.  Joints and edges shall be rounded with an edging tool having a 1/4-inch (6 mm) radius.


(e)

Joints:


(1)

Expansion Joints:  Expansion joints shall be filled with 1/2 inch (13 mm) thick preformed expansion joint filler.  Expansion joints shall be installed at maximum 100-foot (30 m) intervals, and between intersecting paving and any fixed structure such as a building, bridge or curbing.  Expansion joint material shall extend for the full width and depth of paving.



(2)

Weakened Plane:  Weakened planes shall be formed by a jointing tool or other acceptable means.  Weakened planes shall extend into concrete for at least 1/4 of the depth and shall be approximately 1/8 inch (3 mm) wide.





a.
Walks:  Spacing of weakened planes for walks shall be equal to the width of walk.





b.
Drives:  A longitudinal weakened plane shall be formed along the centerline of drives more than 16 feet (5 m) wide, and transverse weakened planes shall be formed at not more than 16-foot (5 m) intervals.





c.
Incidental Paving:  Weakened planes for incidental paving shall be formed at intervals not exceeding 30 times the thickness of the concrete in length or width.  Incidental paving poured adjacent to jointed concrete shall be jointed to match existing joints, with intermediate joints formed as necessary not to exceed the maximum joint spacing.



(3)

Construction Joints:  Construction joints shall be formed around manholes, utility poles, etc., extending into paving and 1/4 inch (6 mm) thick preformed expansion joint filler shall be installed in these joints.



(4)

Tie-ins:  Tie-ins of existing concrete shall be made by full depth sawing at no direct pay.


(f)

Curing:  Concrete shall be cured in accordance with Subsection 601.10.

706.04

MEASUREMENT.  Quantities of concrete walks, drives and incidental paving slabs for payment will be the design quantities as specified on the plans and adjustments thereto.  Design quantities will be adjusted if the engineer makes changes to adjust to field conditions, if design errors are proven or if design changes are made.  Design areas are based on the horizontal dimensions shown on the plans.  Excavation, backfill, reinforcing steel and joint materials will not be measured for payment.

706.05

PAYMENT.  Payment for concrete walks, drives and incidental paving will be made on a lot basis at the contract unit price per square yard 

(sq m), adjusted in accordance with the following provisions.  Payment for each lot will be made in accordance with Table 901-4.  Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual. 


Payment will be made under:

Item No.




Pay Item


Pay Unit

706-01


Concrete Walk (    inch (mm) Thick)
Square Yard (Sq m)

706-02


Concrete Drive (    inch (mm) Thick)
Square Yard (Sq m)

706-03


Incidental Concrete Paving 







(    inch (mm) Thick)


Square Yard (Sq m)

Section 707

Curbs and Gutters
707.01

DESCRIPTION.  This work consists of furnishing and constructing curbs and gutters in accordance with these specifications and in conformity with lines, grades, dimensions and typical sections shown on the plans or established.

707.02

MATERIALS.  Materials shall comply with the following Sections or Subsections:



Usable Soil






203.06(a)



Asphaltic Concrete





501, 502



Portland Cement Concrete (Class M)


901



Asphalt Cement





1002



Aggregates






1003



Joint Fillers






1005.01



Joint Sealant






1005.02



Joint Seals






1005.03



Curing Materials





1011.01



Form Release Agent




1018.25


(a)

Concrete Curbs and Gutters:  When slip-formed methods are used, concrete shall have not more than a 1 1/2 inch (40 mm) slump.


(b)

Asphaltic Curbs:  Mixtures for these curbs shall be Asphaltic Concrete Incidental Paving Wearing Course.

707.03

SUBGRADE.  The subgrade shall be shaped and compacted to a firm, even surface.  When possible, the subgrade shall be shaped and compacted at the same time and in the same manner as the subgrade for the pavement.  Unsuitable material shall be removed and replaced with approved material at no direct pay.

707.04

CONCRETE FORMS.  Forms for combination curb and gutter shall conform to Subsections 601.03(c) and 601.05.  Forms for other curbs or gutters shall be wood or metal, straight, and of sufficient strength to resist pressure of the concrete without deforming.  Forms shall be cleaned and coated with form release agent before concrete is placed against them.  Forms 

which have become excessively worn, bent or broken shall not be used.  An approved mechanical curb forming machine conforming to Subsection 707.06(c) may be used without forms.

707.05

CONCRETE JOINTS.  Joints shall be formed in integral curbing to correspond with transverse joints in the pavement slab.  Joints shall extend under and through the curb and shall be finished and filled with the specified filler.


Other types of curbing shall be provided with 1/4 inch (6 mm) joints at maximum intervals of 20 feet (6 m) formed by using steel plates 1/4 inch (6 mm) thick, cut to section and set vertically in forms until concrete has set sufficiently to permit removal of plates.

707.06

PLACING CONCRETE.

(a)

Integral Types:  After concrete pavement has been struck off, curb forms shall be clamped or otherwise securely fastened in place on the slab form.  Concrete for curbing shall be placed and thoroughly tamped within 30 minutes after pavement has been finished.  Concrete shall be spaded or vibrated sufficiently to eliminate voids and shall be tamped to bring mortar to the surface.  The concrete shall be finished smooth and even with a wooden float.  Edges shall be rounded with an approved finishing tool to the specified radius.  Care shall be taken to secure monolithic construction.


Integral type curb may be placed after completion of pavement, provided reinforcing steel is placed in the pavement of the size, type and spacing shown on the plans at no direct pay.


(b)

Non-Integral Types:  Concrete shall be placed on the prepared subgrade, struck off and consolidated to required thickness.  Concrete shall be spaded or vibrated sufficiently to eliminate voids and shall be tamped to bring mortar to the surface, after which it shall be finished smooth and even with a wooden float.  Edges shall be rounded to the specified radius.


(c)

Slip-formed Concrete:  Slip-formed concrete shall have uniform consistency and shall be placed with an approved extrusion machine designed to spread, consolidate and finish concrete in one pass of the machine such that minimum hand finishing is necessary.  Sliding forms shall be rigidly held together to prevent spreading of forms.  After the passing of the forms there shall be no noticeable slumping of concrete.  Finished concrete shall be free from voids. Any additional finishing required shall be performed immediately after placement.


(d)

Tolerances:  Grade of combination curb and gutter shall not exceed the theoretical grade and shall not be more than 1/2 inch (13 mm) low.

707.07

FINISHING.  Forms shall be removed within 24 hours after concrete has been placed.  Honeycombed areas and other minor defects shall be filled with mortar composed of portland cement and sand complying with Subsection 702.02.  Plastering will not be permitted on faces of curb or gutter.  Rejected curb or gutter shall be removed and replaced.  The top and face of curb or gutter shall be finished prior to initial set with a wood float, brush, and water.

707.08

ASPHALTIC CURB.  Asphaltic curb shall be placed by an approved extruding machine.  Prior to placing curb, the contractor shall apply asphaltic tack coat complying with Section 504.

707.09

CURING CONCRETE CURB OR GUTTERS.  After finishing, curb or gutter shall be cured in accordance with Subsection 601.10.

707.10

BACKFILLING.  After curb or gutter has set sufficiently, the contractor shall backfill adjacent to curb or gutter with usable soil compacted to the density of surrounding soil.

707.11

MEASUREMENT.  Quantities of curbs and/or gutters for payment will be the design lengths as specified on the plans and adjustments thereto.  Design quantities will be adjusted if the engineer makes changes to adjust to field conditions, if design errors are proven, or if design changes are made.  Excavation, backfill, joint materials, asphaltic tack coat and steel tie bars will not be measured for payment.  When combination curb and gutter is specified, gutters required at catch basins will be included in design quantities for combination curb and gutter.

707.12

PAYMENT.  Payment for curbs and/or gutters will be made at the contract unit price per linear foot (lin m), subject to the following provisions:


(a)

Asphaltic Mixtures:  Asphaltic curbs will be subject to the payment adjustment provisions of Sections 501 or 502 and 1002.  The Materials and Testing Section will provide the payment adjustment percentage for properties of asphalt cement.


(b)

Portland Cement Concrete:  The concrete in curbs and/or gutters will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-4 and Note 2 therein.  Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual.


Payment will be made under:

Item No.




Pay Item


Pay Unit

707-01


Concrete Curb




Linear Foot (Lin m)

707-02


Concrete Gutter




Linear Foot (Lin m)

707-03


Combination Concrete Curb and Gutter
Linear Foot (Lin m)

707-04


Asphaltic Curb




Linear Foot (Lin m)

Section 708

Right-of-Way Monuments
708.01

DESCRIPTION.  This work consists of installing contractor furnished right-of-way monuments and right-of-way monument witness posts at various locations in accordance with these specifications, the project right-of-way map, the plan details or as directed. 

708.02

MATERIALS.

(a)

Right-of-Way Monuments: Right-of-way monuments shall be the type shown on the plans or an approved equal.  Substitutions must be approved by the Location and Survey Section Administrator, Baton Rouge, LA.

The steel stakes shall be 3/4 inch x 3/4 inch x 2 feet (19 mm x 19 mm x 0.6 m) with stainless steel identification caps, also furnished by the contractor. 


(b)

Right-of-Way Monument Witness Posts:  Witness posts shall be standard orange color, 6 feet (1.8 m) in length as shown on the plans or an approved equal.  Substitutions must be approved by the Location and Survey Section Administrator, Baton Rouge, Louisiana.  The standard DOTD decal logo as shown on the plans shall be attached to each post by the supplier.

708.03

GENERAL CONSTRUCTION REQUIREMENTS.  Right-of-way monuments shall be located and set by, or under the direct supervision of a Louisiana licensed professional land surveyor.  A reproducible final plat reflecting the surveyor's location of the monuments in accordance with the right-of-way map shall be prepared on standard size Department plan sheet(s) and submitted to the project engineer for forwarding to the Location and Survey Section Administrator, Baton Rouge, Louisiana.  The contractor shall record the final plat in the appropriate parish courthouse(s) and a copy of the filing receipt(s) shall be furnished to the project engineer.  A copy of the final plat shall also be furnished to the appropriate parish engineer(s) and Planning Commission(s) if applicable.

708.04

MEASUREMENT.  Right-of-way monuments will be measured per each. Right-of-way monument witness posts will be measured per each.

708.05

PAYMENT.  Payment for right-of-way monuments and right-of-way monument witness posts will be made at the contract unit price per each.


Payment will be made under:

Item No.




Pay Item



Pay Unit

708-01



Right-of-Way Monument



Each

708-02



Right-of-Way Monument Witness Post
Each

Section 709

Steel Cattle Guards
709.01

DESCRIPTION.  This work consists of constructing, furnishing and installing welded steel cattle guards at the locations shown on the plans and conforming to plan details and these specifications.


Cattle guards of types different from those shown on the plans may be furnished with prior approval.

709.02

MATERIALS.  Materials shall comply with the following Sections and Subsections:



Concrete (Class M)




901



Steel Pipe (Wingwalls)




1007.12



Reinforcing Steel





1009.01



Bolts, Nuts and Washers




1010.10



Treated Timber





1014


Steel shall be at least the minimum size specified and fabricated in accordance with Section 815.  Pipe wings shall be 2-inch (50 mm) diameter standard strength steel pipe.  Steel shall be painted in accordance with Section 811.  Galvanized pipe will not require painting. Damaged galvanized steel shall be repaired in accordance with Subsection 811.12.

709.03

CONSTRUCTION REQUIREMENTS.  Excavation shall extend a minimum of 12 inches (300 mm) outside neat lines of concrete walls or footings.  Backfill shall be deposited in layers not exceeding 6 inches (150 mm) compacted thickness and each layer shall be compacted to the density of adjacent soil with mechanical tampers.  When the cattle guard is placed in the roadway, the compaction requirements shall conform to Subsection 203.07.


Concrete and reinforcing steel shall be placed in accordance with Sections 805 and 806.

709.04

MEASUREMENT.  Steel cattle guards will be measured as a unit. Excavation, backfill, concrete and reinforcing steel will not be measured for payment.

709.05

PAYMENT.  Payment for steel cattle guards will be made at the contract unit price per each.  The concrete placed in cattle guards will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-4 and Note 2 therein.  Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual.


Payment will be made under:

Item No.





Pay Item


Pay Unit
709-01






Steel Cattle Guard


Each

Section 710

Flowable Fill
710.01

DESCRIPTION.  This work consists of furnishing, placing, and consolidating a flowable fill for backfilling drainage structures in accordance with these specifications, plan details and as directed.  The flowable fill shall be a cementitious mixture of portland cement, fly ash, concrete sand, and water.

710.02

MATERIALS.  Materials shall comply with the following Sections and Subsections.



Portland Cement





1001.01



Sand








1003.02



Water








1018.01



Fly Ash







1018.15


Flowable fill shall be proportioned as shown in Table 710-1. 

Table 710-1

Flowable Fill Mix Design
	Material
	Quantity Per

Cubic Yard (Cu m)

	Portland Cement
	100 lb (60 kg)

	Fly Ash
	250 lb (150 kg)

	Sand
	2800 lb (1660 kg)

	Water
	60 gal. (300 L) (max)



The mix design of Table 710-1 may be modified to conform to field conditions with the approval of a new mix design.  Other mix designs and materials will be approved on the basis of compressive strengths and flowability as determined by trial batches.  Compressive strengths for trial batches at 28 days shall range from a minimum of 500 psi (3500 kPa) to a maximum of 1000 psi (7000 kPa).  Mix designs shall yield 1.0 cubic yard (cu m) absolute volume.

710.03

CONSTRUCTION REQUIREMENTS.  Before placement, temporary enddams or soil berms shall be placed as directed to confine the flowable fill.  Flowable fill shall be placed continuously after the drainage structure has been installed to the proper grade.  Flowable fill shall be placed to the lines and grades shown on the plans and as directed.


Flowable fill will not require sampling and testing other than the approved mix design unless otherwise directed by the project engineer.

710.04

MEASUREMENT.  Flowable fill will be measured by the cubic yard (cu m) by batch tickets as adjusted by the project engineer.

710.05

PAYMENT.  Payment for flowable fill will be made at the contract unit price per cubic yard (cu m). 


Payment will be made under:

Item No.




Pay Item



Pay Unit
710-01






Flowable Fill



Cubic Yard (Cu m)

Section 711

Riprap
711.01

DESCRIPTION.  This work consists of furnishing and placing riprap in accordance with these specifications and in conformity to lines, grades and thickness shown on the plans or as directed.

711.02

MATERIALS.  Stone riprap shall be from an approved source listed in QPL 2.  Stone riprap shall not disintegrate upon exposure to the elements or be easily broken from handling, and shall be reasonably free from earth and other foreign materials.  When tested in accordance with AASHTO T 85, the solid weight of stone shall be at least 155 pounds per cubic foot (2490 kg/cu m) (based on bulk specific gravity).  The least dimension of any individual stone shall be at least 1/3 its maximum dimension.  Each shipment of stone shall be reasonably well graded within the specified limits.


Recycled concrete may be used as riprap unless otherwise indicated in Heading (a), provided its solid weight is at least 155 pounds per cubic foot (2490 kg/cu m) (based on bulk specific gravity) and it is free of protruding reinforcement.


Stockpiles of recycled concrete shall be source approved prior to use and kept separate from other materials.  Stockpiles shall be uniform and free of soil, debris, excessive amounts of asphaltic materials, and foreign matter.  Once a stockpile has been approved as an acceptable source of material, no material shall be added without prior approval.


Control of gradation will be by visual inspection at the source, project site or both.


Any difference of opinion between the engineer and contractor will be resolved by checking the gradation of two random truckloads (or equivalent size samples).  Equipment, labor and sorting site shall be furnished by the contractor at no direct pay.


(a)

Riprap:  Riprap shall be reasonably well graded and shall comply with Table 711-1.

Table 711-1

Riprap
	Riprap Class 1
	Stone Size

lb (kg)
	Spherical Diameter,

ft (mm) 2
	Percent of Stone Smaller Than

	2 lb (1 kg) 
	10 (4.5)

4 (2)

2 (1)

0.75 (0.30)
	0.50 (150)

0.37 (115)

0.29 (90)

0.21 (60)
	100

40-100

15-50

0-15

	10 lb (5 kg)
	50 (23)

20 (9)

10 (5)

5 (2.5)
	0.83 (260)

0.63 (190)

0.50 (160)

0.40 (125)
	100

50-100

15-50

0-15

	30 lb (15 kg)
	140 (64)

60 (27)

30 (15)

10 (4.5)
	1.17 (365)

0.90 (275)

0.72 (225)

0.50 (150)
	100

42-100

15-50

0-15

	55 lb (25 kg) 3
	275 (125)

110 (50)

55 (25)

20 (9)
	1.50 (460)

1.11 (335)

0.88 (270)

0.63 (190)
	100

42-100

15-50

0-15

	130 lb (60 kg) 3
	650 (295)

260 (120)

130 (60)

40 (18)
	2.00 (610)

1.46 (450)

1.17 (360)

0.79 (240)
	100

45-100

15-50

0-15

	250 lb (115 kg) 3
	1250 (570)

500 (225)

250 (115)

80 (35)
	2.50 (760)

1.83 (560)

1.46 (445)

1.00 (300)
	100

45-100

15-50

0-15

	440 lb (200 kg) 3
	2200 (1000)

900 (410)

440 (200)

130 (60)
	3.00 (915)

2.23 (680)

1.76 (535)

1.17 (360)
	100

40-100

14-50

0-15

	1000 lb (455 kg) 3
	5000 (2270)

2000 (910)

1000 (455)

300 (135)
	4.00 (1205)

2.91 (885)

2.31 (705)

1.55 (470)
	100

45-100

10-50

0-15


1The stone size used to define the Riprap Class is the minimum median stone size for the stone class.  The minimum thickness of a riprap layer shall be no less than the spherical diameter of the maximum stone size in the Riprap Class.

2Spherical Diameter based on a solid weight of 155 lb/cu ft (2490 kg/cu m).

3Recycled portland cement concrete may not be used in these riprap classes.

(b)

Geotextile Fabric:  Geotextile Fabric shall comply with Section 1019.01.

711.03

CONSTRUCTION REQUIREMENTS.

(a)

Riprap:  Areas on which riprap is to be placed shall be graded to the required section.  Riprap shall be placed on the prepared slope or area in a manner which will produce a reasonably well-graded mass of stone with a minimum practicable percentage of voids.  The entire mass of stone will be placed to be in conformance with the lines, grades, and thickness at one operation and to avoid displacing underlying material.  Placing of riprap in layers, or dumping into chutes, or by similar methods likely to cause segregation, will not be permitted.


When placement in water currents is required, the contractor shall make drift checks and place riprap in such manner as to compensate for drift.  The contractor shall furnish necessary facilities and personnel for checking riprap depth and distribution.


(b)

Filter Stone:  When specified, filter stone shall be placed on the prepared slope or area before placement of riprap.  When filter stone is placed under water, free dumping will not be permitted.  Underwater placement shall be by controlled methods using bottom dump buckets or wire rope baskets lowered through the water to the point of placement. If placement in strong water currents is required, placement of riprap will follow soon after placement of filter stone.  Unless shown otherwise on the plans or directed, filter stone shall be Riprap Class 10 lb (5 kg) or less.


(c)

Geotextile Fabric:  When specified, geotextile fabric shall be placed on the prepared slope or area in accordance with Subsection 203.11(c) before placement of riprap.  Care shall be taken not to damage the geotextile fabric when placing riprap.  Placing riprap by rolling riprap down slope, or dropping riprap from extreme heights, or by similar methods likely to damage geotextile fabric, will not be permitted.  Damaged geotextile fabric shall be repaired in accordance with Subsection 203.11(c) or replaced as directed.

711.04

MEASUREMENT.  Riprap and filter stone may be measured on either a square yard (sq m), cubic yard (cu m), or weight (mass) basis as specified.


When measured on a square yard (sq m) basis, the quantity measured will be that actually placed to the limiting dimensions shown on the plans or as directed by the engineer.


When measured on a cubic yard (cu m) basis, measurement will be made 

in vehicles at the point of delivery on the project in accordance with Subsection 109.01.


When measured on a weight (mass) basis the pay unit will be per ton (2000 pounds) [Mg (1000 kg)]. When riprap is delivered by vehicles or railroad cars, measurement will be based on certified weight (mass) tickets furnished by the contractor.  When riprap is delivered by barge, measurement will be made by calculation from barge displacement, based on water weighing 62.4 pounds per cubic foot (1000 kg/cu m).


Geotextile fabric will be measured by the square yard (sq m) of covered area in place. 


No measurement will be made for excavation or backfilling.

711.05

PAYMENT.  Payment for riprap and geotextile fabric will be made at the contract unit prices.  Filter stone will be paid for as riprap.


Payment will be made under:

Item No.




Pay Item


Pay Unit
711-01





Riprap (class & thickness)
Square Yard (Sq m) 

711-02





Riprap (class)


Cubic Yard (Cu m)

711-03





Riprap (class)


Ton (Mg)

711-04





Geotextile Fabric


Square Yard (Sq m)

Section 712

Revetments
712.01

DESCRIPTION.  This work consists of furnishing and constructing revetments for protection of embankment slopes, stream channels, culvert end treatments and other areas.  Revetments shall be constructed in accordance with these specifications and in conformity with the details shown on the plans or as directed.


When an item for Flexible Revetments is included in the contract, the contractor has the option of furnishing revetments of either stone, recycled portland cement concrete, wet-batched sacked concrete or dry-batched prepackaged sacked concrete.


When an item for Stone Revetment is included in the contract, the contractor has the option of furnishing revetments of either stone or recycled portland cement concrete.


When an item for Sacked Concrete Revetment is included in the contract, the contractor has the option of furnishing revetments of either wet-batched sacked concrete or dry-batched prepackaged sacked concrete.


The same type revetment shall be used at each location.  Revetment, except for cast-in-place revetment, shall be placed on geotextile fabric.

712.02

MATERIALS.

(a)

Concrete:  Concrete for cast-in-place revetment shall be Class R complying with Section 901.


(b)

Geotextile Fabric:  Geotextile fabric shall comply with Subsection 1019.01.


(c)

Wet-Batched Sacked Concrete:  Sacks shall comply with Subsection 1018.21.  Concrete shall be Class R concrete complying with Section 901.  Concrete shall be wet-batched prior to placement in sacks, and sacked concrete shall be immediately placed in the revetment after batching.  Mixing water for concrete shall be added as required to produce a slump of 4 inches to 6 inches (100 mm to 150 mm).


(d)

Stone and Recycled Portland Cement Concrete:  Stone and recycled portland cement concrete shall comply with Section 711 Riprap Class 30 lb (15 kg).


(e)

Dry-Batched Prepackaged Sacked Concrete:  Prepackaged concrete shall be an approved product listed in QPL 48 and shall consist of one part cement and a maximum of 5 parts sand by weight (mass) or other 

approved mix with the same cement content, and shall be dry mixed until uniform in color.



(1)

Cement:  Cement shall be in accordance with Subsection 901.08(a).



(2)

Aggregate:  Aggregates shall comply with the gradation requirements of Subsection 1003.02.



(3)

Sacks:  Sacks shall comply with Subsection 1018.21 and shall be capable of holding the concrete mixture without leakage during handling.



(4)

Water:  Water shall be from an approved source in accordance with Subsection 1018.01.



(5)

Sampling:  Samples shall be taken at the rate of one sack of prepackaged materials per 1000 sacks for acceptance.  The contents of the package shall be mixed by the contractor with water as required to produce a slump of 2 to 5 inches (50 to 125 mm).  Compressive strength specimens will be made by the engineer in accordance with DOTD TR 226 and tested in accordance with DOTD TR 230.  The compressive strength shall comply with the requirements of Heading (a) above.

(f)

Usable Soil: Usable soil shall be in accordance with Subsection 203.06.

712.03

CONSTRUCTION REQUIREMENTS.  Revetments shall be constructed in dry or dewatered areas, unless otherwise directed.  Logs, stumps and other undesirable material shall be removed from areas on which revetments are to be placed.  Usable soil shall be used to bring areas to grade and shall be compacted to the density of surrounding ground to the engineer's satisfaction before final grading.  The revetment areas shall be graded to required sections.


(a)

Geotextile Fabric Placement:  Ends of geotextile fabric shall be buried for anchorage as shown on the plans.  Adjacent strips of geotextile fabric shall be lapped at least 18 inches (450 mm).  The laps shall be pinned at maximum 5-foot (1.5 m) intervals.  Geotextile fabric shall not be damaged during revetment placement.  Damaged fabric shall be repaired in accordance with Subsection 203.11(c) or replaced at no direct pay.


(b)

Concrete Cast-in-Place Revetment:  Before placement, preformed 1/4 inch (6 mm) thick expansion joint filler complying with Subsection 1005.01(a) shall be placed around piles, columns, etc.


Placement of concrete revetment for slope protection shall commence at the toe of revetment and progress upslope.  Revetment for stream channels and other relatively level areas shall be placed as directed.


After placement, the revetment surface shall be cured in accordance with Subsection 601.10.


(c)

Wet-Batched Sacked Concrete Placement:  Sacks shall be uniformly filled to approximately 3/4 cubic foot (0.02 cu m).  The open end shall be folded under the bag during placement.  Sacks of wet-batched concrete shall be placed in one layer in contact with adjacent sacks and tamped into position by approved methods.  Placement of sacked concrete shall begin at the revetment toe and progress upslope.  Sacked concrete revetment for stream channels and other relatively level areas shall be placed as directed.


(d)

Dry-Batched Prepackaged Concrete Placement:  Sacks shall be uniformly filled to approximately 3/4 cubic foot (0.02 cu m) and the ends shall be sealed by tying, stitching or other approved methods.  The filled sacks shall be tightly packed against each other.  Placement shall begin at the revetment toe and progress upslope with staggered joints.  At the end of each day's operations and upon completion at a location, the sacks and contents shall be saturated with water to the satisfaction of the engineer.  The quantity of water required shall be as directed at no direct pay.


(e)

Stone Placement:  Toe and end walls shall be constructed by placing stone in the trench lined with geotextile fabric.  Placement of stone shall begin at the bottom of the slope in a layer having the specified average thickness.  Stone shall be placed by approved methods.  A tolerance of 2 inches (50 mm) above or below the specified thickness will be allowed.  Openings between stones exposing more than 4 square inches (2500 sq mm) of geotextile fabric will not be permitted.

712.04

MEASUREMENT.  Revetments will be measured by the square yard (sq m) of surface area to be revetted as shown on the plans and as directed. Site preparation, geotextile fabric, and expansion joint filler will not be measured for payment.  Design quantities will be adjusted if the engineer makes changes to adjust to field conditions, if plan errors are proven, or if design changes are made.  

712.05

PAYMENT.  Payment for revetments will be made at the contract unit price which includes furnishing and installing all materials as shown on the plan details and in accordance with this section.  Payment for concrete cast-in-place, wet-batched sacked concrete, and dry-batched prepackaged sacked concrete revetment will be made on a lot basis at the contract unit price per square yard (sq m), adjusted in accordance with the following provisions.  Payment for each lot will be made in accordance with 

Table 901‑4.  Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual. 


Payment will be made under:

Item No.




Pay Item


Pay Unit
712-01



Concrete Cast-in-Place Revetment
Square Yard (Sq m)

712-02



Sacked Concrete Revetment

Square Yard (Sq m)

712-03



Stone Revetment



Square Yard (Sq m)

712-04



Flexible Revetment


Square Yard (Sq m)

Section 713

Temporary Signs, Barricades, Barriers

and Pavement Markings
713.01

DESCRIPTION.  This work consists of furnishing, installing, maintaining, and removing temporary construction barricades, precast concrete barriers, lights, signals, pavement markings and signs; providing flaggers; and complying with all other requirements regarding the protection of the work, workers and safety of the public.  Signs, barricades, barriers, channelizing devices, pavement markings, etc., shall comply with plan details, the MUTCD and these specifications.


Signs, barricades, barriers, channelizing devices, pavement markings and arrangements thereof, as shown on the plans, are minimum requirements.  Appropriate signs for special conditions shall be furnished and installed as directed.  Requirements for proper signs, barricades, barriers, channelizing devices, or other safety precautions promulgated by the contractor's insurers are not negated by these specifications.  These specifications shall not be construed to relieve the contractor of responsibilities for the safety of the public, for liability in connection therewith, or compliance with State and local laws or ordinances.

713.02

MATERIALS.  Materials for temporary signs, barricades, barriers and related devices shall comply with the following Subsections:



Portland Cement Concrete



901



Reinforcing Steel





1009



Backing Material





1015.04(b)



Reflective Sheeting




1015.05



Temporary Pavement Markings



1015.08



Raised Pavement Markers & Adhesive

1015.09



Thermoplastic Pavement Markings


1015.10



Traffic Paint






1015.12



Barricade Warning Lights



1018.12


(a)

Temporary Pavement Markings: Temporary pavement markings shall be a minimum of 4 inches (100 mm) wide.


(b)

Reflective Sheeting: Reflective sheeting requirements for temporary signs, barricades, channelizing devices, drums and cones shall comply with the following:



(1)

Temporary Signs and Barricades:  On the mainline of interstate highways, reflective sheeting for the first four temporary advanced warning signs shall comply with the requirements of DOTD Type VII (Fluorescent Orange).  Reflective sheeting for all other temporary signs and barricades on the National Highway System (NHS) shall comply with the requirements of ASTM D 4956, Type III.


On all other highways not part of the NHS, reflective sheeting for all temporary signs and barricades shall comply with the requirements of ASTM D 4956, Type III.



(2)

Vertical Panels:  Reflective sheeting for vertical panels used to channelize or divide traffic shall meet the requirements of ASTM D 4956, Type III.



(3)

Drums:  Reflective sheeting for drums shall be a minimum of 6 inches (150 mm) wide and shall meet the requirements of ASTM D 4956, Type III, and the Supplementary Requirement S2 for Reboundable Sheeting as specified in Subsection 1015.05.



(4)

Cone Collars:  Reflective sheeting for traffic cone collars shall meet the requirements of ASTM D 4956, Type VI.

713.03

FABRICATION.  Fabrication of temporary signs, barricades and related devices shall conform to Subsection 729.04.  Fabrication of precast concrete barriers shall conform to Section 805.

713.04

TEMPORARY SIGNS AND BARRICADES.

(a)

General:  Signs, barricades and related devices will be required when the contractor's work is in progress on portions of the work covered by the Notice to Proceed, or when operations are suspended but the traveled portion of the road is not in a safe condition for the traveling public.  During such times that barricades are not in place, appropriate regulatory signs shall be erected and maintained by the contractor.


If a partial Notice to Proceed is issued, the contractor shall immediately begin erection of signs and barricades over the affected portions of the project to the extent necessary to comply with the requirements herein.  When the full Notice to Proceed is issued, barricades shall be erected at the beginning and end of the project.  Signing throughout the remainder of the project shall be completed. 


Construction work shall not begin until signs, barricades and other traffic

control devices have been erected and approved.


When signs to be furnished and erected by the contractor are in place and approved, the Department's forces will remove or cover any standard signs that are in conflict with temporary signs.


When placing signs, the contractor shall cooperate with the engineer as well as the Department's forces responsible for removing Departmental signs, so that appropriate signs are in place at all times.


Signing shall remain in place and be maintained by the contractor, supplemented by additional signs as required, throughout the life of the contract.  When previously used signs are to be erected on a project, the engineer will inspect and approve these signs before erection.  The engineer will require any sign with reduced reflectivity or excessive color fading to be removed from the work zone.  In case of a dispute over a rejected used sign, the Department at its discretion, may take such measurements or review reflectivity and color data obtained by the contractor to determine if the sign meets minimum standards for new materials.  Signs that do not meet the minimum standards for new materials shall be replaced by the contractor at no direct pay.


Rejected signs will be marked "NOT FOR USE ON STATE PROJECTS", and the date and stamp will be obliterated.


Signs placed by the contractor shall not be removed until the contract is completed and the Department's forces have erected permanent highway signs along the project.  It will be the responsibility of the Department to see that all permanent highway signs are in place upon completion and acceptance of the project.


On projects where the surface course is constructed with asphaltic concrete or portland cement concrete, permanent striping and raised pavement markers (when required) shall be completed prior to removal of barricades.


Signs, barricades and related devices furnished and placed by the contractor shall, upon removal, remain the contractor's property.


(b)

Advance Warning Area:  When specified, advance warning arrow panels for temporary traffic control shall be provided at locations shown on the plans or as directed.  Panels shall be one of the specified types complying with the Department's MUTCD.  If no type is specified, Type C panels shall be furnished.


(c)

Construction Zone:  In areas of the construction zone where construction or maintenance work has degraded the condition of the original highway, where work is in progress in the immediate vicinity of the travel-way, or where workers are in close proximity to traffic, a reduced speed limit 

of 10 mph less than the pre-existing speed limit will be used.  Speed limits should be further reduced if the engineer determines that geometrics or work conditions warrant a reduction.  Pre-existing speed limits of 35 mph or less generally do not warrant further reduction.


When SPEED ZONE AHEAD signs are required in the plans, supplemental signs with the legend HIGHER / TRAFFIC / FINES IN / WORK / ZONES signs shall also be required.  These signs shall be black legend on white background and shall be 36 inches (900 mm) wide by 48 inches (1200 mm) tall for interstate applications and 24 inches (600 mm) wide by 30 inches (750 mm) tall for non-interstate applications.  The signs shall be included in the Temporary Signs and Barricades pay item at no additional cost.

713.05

TEMPORARY PRECAST CONCRETE BARRIERS.  Barrier units will be furnished by the contractor unless specified otherwise.  Each barrier unit shall be 15-feet (4.6 m) in length.


When the barrier units are furnished by the Department the units will be furnished at no cost to the contractor.  The contractor shall load the barrier units at the location specified, deliver the units to the construction site and place them as required.


The contractor shall relocate barrier units as required during construction at no direct pay.


Connecting pins and plastic reflectors shall be furnished by the contractor at no additional cost to the Department.  Reflectors shall have 7.0 square inches (4 500 sq mm) minimum reflective area, and be installed a maximum of 15 feet (4.6 m) apart (each side) in accordance with the manufacturer's recommendations.  Damaged pins or reflectors shall be replaced as directed by the engineer.


After completion of the work, barrier units shall become the property of the Department and shall be removed and transported by the contractor to the location specified and unloaded as directed.  All costs of loading, transporting and unloading the barrier units shall be included in the price bid on this item.


Barrier units damaged shall be satisfactorily repaired or replaced at no direct pay.

713.06

PAVEMENT MARKINGS.  Color, width and type of temporary pavement markings shall be in accordance with Table 713-1 and the MUTCD.  Temporary pavement markings shall be in place at the end of each day's operation.


Temporary striping tape shall be applied by approved methods to the satisfaction of the engineer.  Thermoplastic Pavement Markings shall be applied in accordance with Subsection 732.03.  Painted Traffic Striping shall be applied in accordance with Section 737.

Table 713-1

Temporary Pavement Markings1
	
	
	Two-lane Highways
	Undivided Multilane Highways
	Divided Multilane Highways

	S

H

O

R

T

T

E

R

M
	ADT<1500; or ADT>1500 and

time<3 days
	Lane lines 4-foot (1.2 m) tape on 40-foot (12 m) centers; with "Do Not Pass" and "Pass With Care" signs as required
	N/A
	N/A

	
	ADT>1500; Time>3 days and<2 weeks
	Lane lines 4-foot (1.2 m) tape on 40-foot (12 m) centers with no passing zone markings
	N/A
	N/A

	L

O

N

G

T

E

R

M
	All ADT's with time

<2 weeks
	N/A
	Lane lines 4-foot (1.2 m) tape on 40-foot (12 m) centers; double yellow centerline
	Lane lines 4-foot (1.2 m) tape on 40-foot (12 m) centers

	
	All ADT's with time

>2 weeks
	Standard lane lines, no-passing zone markings, legends and symbols and when pavement width is 22 feet (6.7 m) or greater, edge lines
	Standard lane lines, centerlines, edge lines, and legends and symbols
	Standard lane lines, centerlines, edge lines, and legends and symbols.


1No passing zones shall be delineated as indicated whenever a project is open to traffic.

(a)

Short-term Pavement Markings:  Short-term pavement markings will be required on any pavement surface under traffic.


Centerlines on two-lane highways and lane lines on multilane highways shall be temporary striping tape a minimum of 4 feet (1.2 m) long on a maximum of 40-foot (12 m) centers.  When short-term pavement markings require no-passing zone markings or double yellow centerlines on undivided multilane highways, they shall be any of the temporary pavement markings listed in Subsection 713.02.


Removal of short-term pavement markings will only be required on the final surface.


(b)

Long-term Pavement Markings:  Long-term pavement markings will be required on any surface which is not covered by an additional surface in 2 weeks or less.  Long-term pavement markings shall include, but are not limited to, standard lane and centerline markings (i.e., 10-foot (3 m) stripes on a maximum of 40-foot (12 m) centers), edgelines, no passing zone markings on 2-lane highways, stop bars, and legend and symbol markings as shown on the permanent pavement marking details.  Layout work for exact location of markings will only be required on the final surface.


These markings shall consist of any of the pavement markings listed in Subsection 713.02.


Long-term markings do not include the installation of raised pavement markings.


(c)

Final Surface:  On the final surface (portland cement concrete pavement or asphaltic concrete pavement), temporary markings shall be placed with sufficient accuracy to avoid conflict with permanent striping where possible.  Temporary pavement markings on the final surface shall be any of the pavement markings listed in Subsection 713.02.


Placing permanent markings over traffic paint will be acceptable on final surfaces provided the temporary markings have been placed in the final configuration (proper final layout) and the painted lines are not flaking or showing signs of deterioration.


The removal of temporary pavement markings, if required, shall be in accordance with the requirements for the type of permanent marking being used.  There shall be no objectionable staining of pavement surface as a result of the removal procedure.


(d)

Temporary Reflectorized Raised Pavement Markings:  When required, temporary reflectorized raised pavement markings shall be installed in accordance with Section 731.

713.07

MEASUREMENT.

(a)

Temporary Signs and Barricades:  When the contract does not include a pay item for "Temporary Signs and Barricades," the providing of temporary construction signs, barricades and related devices will not be measured for payment.
When a pay item for "Temporary Signs and Barricades" is included in the contract, the furnishing, erecting, maintaining and subsequent removing of temporary construction signs, barricades and related devices will be measured on a lump sum basis.


(b)

Temporary Pavement Markings:  When the contract does not include an item for "Temporary Pavement Markings," the providing of these markings will not be measured for payment.


When the contract includes an item for "Temporary Pavement Markings", these markings acceptably furnished, placed, maintained and subsequently removed will be measured on a lump sum basis, or by the linear foot (lin m), or by the mile (km) as specified.


When measurement is made by the linear foot (lin m) of striping, gaps will not be measured.


When measurement is made by the mile (km) of single strip per roadway per application, no deduction will be made for the standard design gaps in broken line striping; however, deductions will be made for the length of other gaps or omitted sections.


Temporary pavement legends and symbols will be measured per each legend or symbol.


Temporary reflectorized raised pavement markers will be measured by counting the number of markers furnished, placed and accepted.  Removal of raised pavement markers will be at no direct pay.


Advance warning arrow panels will not be measured for separate payment, but will be included in the contract lump sum price for Temporary Signs and Barricades.


(c)

Temporary Precast Concrete Barriers:  Temporary precast concrete barriers will be measured per each unit.

713.08

PAYMENT.  Payment for temporary construction signs, barricades and related devices will be at the contract lump sum price in accordance with the payment schedule of Table 713-2.

Table 713-2

Payment Schedule

Temporary Signs, Barricades and Related Devices

	Percent of Total

Contract Amount Earned
	Allowable Percent of Lump Sum Price for Temporary Signs and Barricades

	Initial Erection

25

50

75

100
	20

40

40

80

100



Payment for temporary pavement markings will be made at the respective contract unit prices.  Payment for temporary precast concrete barriers will be made at the contract unit price per each.  The concrete in temporary precast barriers furnished by the contractor will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-3 and Note 3 therein.  Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual.


Payment will be made under:

Item No.




Pay Item


Pay Unit

713-01


Temporary Signs and Barricades

Lump Sum

713-02


Temporary Pavement Markings

Lump Sum

713-03


Temporary Pavement Markings 







(    inch (    mm) Width)


Linear Foot (Lin m)

713-04


Temporary Pavement Markings 







(Broken Line)(    inch (    mm) Width)







(    foot (    m) Length)


Mile (km)

713-05


Temporary Pavement Markings







(Solid Line) (    inch (    mm) Width)
Mile (km)

713-06


Temporary Pavement Legends and 







Symbols (Type)



Each

713-07


Temporary Reflectorized Raised 







Pavement Markers



Each

713-08


Temporary Precast Concrete Barrier 







(Contractor Furnished)


Each

713-09


Temporary Precast Concrete Barrier 







(Department Furnished)


Each
Section 714

Slab Sodding

714.01

DESCRIPTION.  This work consists of furnishing, hauling, planting, rolling, watering and maintaining live grass sod at locations shown on the plans or as directed.

714.02

MATERIALS.  Approved slab sod shall be either field grown grass or nursery grown grass.


Field grown grass sod shall be Bermuda grass, carpet grass, or other approved grass native to the sodded area.


Nursery grown grass sod shall be centipede, Tiffway Bermuda, Nomow Bermuda, Common Bermuda or St. Augustine grass.


Fertilizer shall comply with Subsection 1018.16 and agricultural lime shall comply with Subsection 1018.17.


Sod shall be free from noxious weeds or other vegetation.


Water may be obtained from any source.  Brackish, chemically contaminated, or oily water shall not be used.

714.03

GENERAL CONSTRUCTION REQUIREMENTS.  Slab sod shall be cut with approved sod cutters.  The designated area shall be mowed when necessary.  Sod shall be cut to a minimum soil depth of 1 1/2 inches (40 mm) for field grown grass and 1 inch (25 mm) for nursery grown grass, and to a uniform width and in convenient lengths for handling.  Soil shall be retained on roots of sod during excavating, hauling and planting. Only common Bermuda slab sod shall be used within 30 feet (9 m) of the outer edges of paved shoulders.


Sod cut more than 48 hours before placing shall not be used unless authorized.  Sod taken from areas that may produce inferior growth will not be accepted.


Watering required in connection with digging, storing or hauling sod will be at no direct pay.

714.04

HANDLING SOD.  Sod shall be placed flat, grass side up on pallets containing no more than 50 square yards (42 sq m) of sod and hauled, covered, to the planting site with soil intact.  Pallets shall be off-loaded and placed as close as practical to the planting site. 

714.05

PLANTING.  Areas to receive slab sod shall be pulverized to a depth of at least 3 inches (75 mm), graded and cleared of weeds, grass, stones and other debris.  If an item for agricultural lime is included in the contract, liming shall be done when the area is being pulverized.  When an item for fertilizer is included in the contract, approximately 90 percent shall be broadcast over the area to receive slab sodding, and the remaining 10 percent shall be broadcast over sod after placing and rolling.  Upon delivery to the planting site, slab sod shall be transferred onto the surface soil.  Areas to be sodded shall be watered as directed.  Sod shall be placed with minimum space between slabs.  Slabs shall be staggered such as to avoid a continuous seam along the line of flow.  Along the edges of such staggered areas, the offsets of individual strips shall not exceed 6 inches (150 mm). Slabs which do not fit closely shall be pulled together by hand or with suitable tools and pegged when necessary.  When directed, sod surface will be top dressed with sand to smooth-out uneven spots.

714.06

ROLLING.  Slab sod shall be rolled after planting with smooth drum steel wheel rollers or cultipackers.  Where rolling is impractical, sod shall be tamped by approved hand methods.

714.07

WATERING.  Slab sodding shall be watered as directed.  Slab sod in rest areas and multiple use areas shall be kept moist for 30 days after sodding.

714.08

MEASUREMENT.

(a)

Slab Sodding:  Slab sodding will be measured by the square yard (sq m) along the surface of completed sodding.


(b)

Water:  Water will be measured in units of 1,000 gallons or cubic meter (1000 L) in approved tanks.


(c)

Fertilizer and Agricultural Lime:  Fertilizer and agricultural lime will be measured for payment in accordance with Subsection 718.04.

714.09

PAYMENT.  Payment for slab sodding and water will be made at the contract unit prices.  Payment for fertilizer and agricultural lime will be made under Subsection 718.05.


Payment will be made under:

Item No.





Pay Item

Pay Unit

714-01






Slab Sodding

Square Yard (Sq m)

714-02






Water


M Gallons (Cu m)

Section 715

Topsoil
715.01

DESCRIPTION.  This work consists of furnishing and placing topsoil on areas designated on the plans or as directed.

715.02

MATERIALS.  Topsoil shall be workable, loamy soil, free of debris, refuse and similar foreign matter, and reasonably free of subsoil, hard lumps, gravel and other such materials.  Topsoil shall have a minimum PI of 4, a maximum PI of 12, a pH of 5.5-8.0, a minimum organic content of 3 percent, and shall be capable of supporting adequate vegetation.  Existing topsoil meeting the above requirements within construction limits may be used in accordance with Subsection 106.02.  If agricultural lime or organic matter is added to a soil to bring topsoil into conformance with these specifications, it shall be at no direct pay.

715.03

CONSTRUCTION REQUIREMENTS.  Areas to receive topsoil shall be scarified as directed.  Agricultural lime, if required, shall be spread prior to scarifying the areas.  Topsoil shall be uniformly spread over the areas to a depth of 6 inches (150 mm) and rolled to a uniform surface with a cultipacker or other suitable equipment.

715.04

MEASUREMENT.  Topsoil will be measured by the cubic yard (cu m) in approved hauling vehicles at the point of delivery in accordance with Subsection 109.01.


Preparation of the areas to receive topsoil will not be measured for payment.  Agricultural lime treatment of areas to receive topsoil will be measured in accordance with Subsection 718.04.

715.05

PAYMENT.  Payment for topsoil will be made at the contract unit price.  Payment for a agricultural lime treatment will be made in accordance with Subsection 718.05.


Payment will be made under:

Item No.





Pay Item

Pay Unit
715-01







Topsoil


Cubic Yard (Cu m)

Section 716

Vegetative and Fiber Mulch
716.01

DESCRIPTION.  This work consists of furnishing and placing either a tacked vegetative mulch or an approved fiber mulch product on seeded areas to promote seed germination and growth.

716.02

MATERIALS.  Mulching materials and tacking agents shall comply with Subsection 1018.19.  The contractor shall notify the engineer at least 7 calendar days in advance of commencing operations so that the mulch can be inspected and approved prior to use.


Vegetative mulch or fiber mulch shall be delivered in bales or bags of uniform size.  Storage of mulching materials shall be in accordance with Subsection 106.09.  Mulch stockpiles shall be protected from the weather.

716.03

GENERAL CONSTRUCTION REQUIREMENTS.  Mulching shall follow seeding operations within 48 hours.  


(a)

Tacked Vegetative Mulch: Vegetative mulch shall be distributed uniformly over the seeded area by blowing it simultaneously with an approved emulsified asphalt or tacking agent.  Jet nozzles in the muzzle of the blower shall be spaced to provide a uniform coating of the mulch as it is blown through the nozzles.


The tacked vegetative mulch shall be loose enough to allow air to circulate, but compact enough to partially shade the ground and reduce the impact of rainfall on the soil surface.  Mulching shall begin at the top of the slopes and extend downward.  Blower pipe extensions shall be used where slopes cannot be reached by the blower. During windy conditions, the contractor shall make adjustments in operations to obtain uniform spreading.


Emulsified asphalt and tacking agents shall not be sprayed on structures.  All stains resulting from the use of emulsified asphalt or tacking agent shall be removed and the surface left in an acceptable condition.

(b)

Fiber Mulch:  The application equipment shall have a built in agitation system with an operating capacity sufficient to agitate, suspend, and homogeneously mix the fiber mulch, water and any tacking agent that is part of the fiber mulch system.  The fibers shall be kept in uniform suspension throughout the mixing and distribution cycles. The slurry distribution lines shall be large enough to prevent stoppage.  Hydraulic spray nozzles in the discharge line shall provide uniform distribution of the slurry.


Damage to seeded areas shall be repaired and re-seeded at no direct pay.

716.04

SPREADING RATES.

(a)

Tacked Vegetative Mulch: Vegetative mulch shall be applied at a rate of 1 1/2 to 2 tons of mulch per acre (3.4 to 4.5 Mg/ha) simultaneously with the emulsified asphalt or tacking agent.  Emulsified asphalt shall be applied at a minimum rate of 150 gallons (625 L) of undiluted emulsion per ton (Mg) of mulch.  Final application rates of mulch and emulsified asphalt will be determined by the engineer. When required, emulsified asphalt shall be diluted with water as directed.


When an approved tacking agent is used, the application rate of the tacking agent shall be in accordance with the application rate shown in QPL 72.


(b)

Fiber Mulch: Fiber mulch shall be applied as a slurry at a rate of 1 to 1 1/2 tons per acre (2.3 to 3.4 Mg/ha) based on dry weight (mass) of the fibers.  The application rate of the tacking agent, if not pre-blended with the fibers by the manufacturer, shall be in accordance with the application rate shown in QPL 72.

716.05

MANUAL SPREADING.  In order to prevent defacing structures, mulch shall be manually spread around structures.  When manual spreading is performed, mulch shall be placed in a shredded condition, after which the emulsified asphalt or tacking agent shall be sprayed over the mulch at the specified rate.

716.06

MEASUREMENT.  Vegetative mulch and fiber mulch products will be measured for payment by the acre (ha) of seeded area mulched.  The weight (mass) of vegetative mulch to be used in determining spread rates of mulch and tacking agents will be the product of the number of bales or bags used and the average weight (mass) per bale or bag as determined on scales provided by the contractor which have been certified by a qualified independent scale service or the Weights and Measures Division, Louisiana Department of Agriculture and Forestry.


Emulsified asphalt placed and accepted will be measured by the gallon (L).  No measurement for payment will be made for water used to dilute emulsion.


Quantities of tacking agents used with vegetative mulch other than emulsified asphalt, will be measured by the pound (kg) and be determined by marked container count.


Tacking agents used with fiber mulch are considered part of the system and shall be included in the unit cost for the system.

716.07

PAYMENT.  Payment for vegetative mulch and fiber mulch products will be made at the contract unit prices per acre (ha) and includes all materials including emulsified asphalt, tacking agents, labor, equipment and other incidentals necessary to complete the work.

Payment will be made under:

Item No.





Pay Item

Pay Unit
716-01
 







Mulch


Acre (ha)

Section 717

Seeding

717.01

DESCRIPTION.  This work consists of preparing seed beds and furnishing and sowing grass seed on the areas designated on the plans or as directed.  Unless otherwise specified, seed shall be applied either mechanically in a dry condition under this section or with hydro-seeding equipment in accordance with Section 739.

717.02

MATERIALS.  Materials for seeding shall comply with the following sections:



Topsoil







715



Fertilizer







1018.16



Agricultural Lime





1018.17



Seed









1018.18


The contractor shall furnish the engineer with a copy of the laboratory test report as described in Subsection 1018.18(b).


Water may be obtained from any source, except brackish, chemically contaminated, or oily water shall not be used.

717.03

SOIL AREAS.  Seed shall be selected on the basis of five general soil areas as follows:


(1) Alluvial soils of Mississippi and Red River bottoms.

(2) Mississippi terraces and loessial hill soils.

(3) Coastal plain soils (rolling, hilly and flatwoods areas in central, northern and eastern part of the State).

(4) Coastal prairie soils.

(5) Ouachita River bottom.

717.04

PREPARATION OF SEED BED.  Seed beds shall be prepared by disking, harrowing or other approved methods.  Soil shall be thoroughly pulverized to a minimum depth of 3 inches (75 mm) and leveled as directed.  Hardpan areas shall be rototilled, if necessary, to ensure that soil is in a condition to receive and sprout seed. If the contract requires topsoil, fertilizer or agricultural lime, they shall be incorporated at this time.  Slopes shall be smoothed to grade and rolled prior to seeding.

717.05

PERMANENT SEEDING.  Seed shall be planted within the dates shown in Table 717-l, unless otherwise permitted in writing.

717.06

TEMPORARY SEEDING.  During construction, temporary seeding shall be placed as directed.  Temporary seeding may be any of the types given in Table 717-1.  Annual rye grass is the only acceptable grass for winter cover.

Table 717-1

Temporary Seeding

	Type
	Seed Mixtures1
	Pounds/

Acre
	Kilogram/

Hectare
	Soil

Area2
	Planting

Dates

	A
	Hulled Bermuda
	30
	34
	1,2,3,4,5
	March-Sept.

	B
	Hulled Bermuda

Crimson Clover3
	20

25
	22

28
	1,2,3,5
	Feb.-March

	C
	Kentucky 31 Fescue

Unhulled Bermuda
	25

20
	28

22
	1,2,3,4,5
	Sept.-Feb.

	D
	Unhulled Bermuda

Crimson Clover3
	20

40
	22

45
	1,2,3,4,5
	Sept.-Feb.

	E
	Pensacola Bahia4
	25
	28
	1,2,3,5
	March-Sept.

	F
	Bald Clover

Unhulled Bermuda
	25

20
	28

22
	1,2,3,4,5
	Feb.-March

	G
	Vetch (Common)
	40

20
	45

22
	1,2,3,4,5
	Sept.-Oct.

	H
	Lespedeza
	40
	45
	1,2,3,4,5
	March-May

	I
	Annual Rye
	30
	34
	1,2,3,4,5
	Sept.-Jan.5


1Only Hulled Bermuda or Unhulled Bermuda shall be planted in rest areas.  

2See Subsection 717.03.

3Inoculated prior to planting with proper bacterial culture.

4Type E shall be used only upon the approval of the Roadside Development Specialist.

5 Annual Rye grass shall not be planted before September 20.  Annual Rye grass may be planted as late as January 15 if climatic conditions and soil temperatures will allow germination. 

The contractor will be allowed to apply seed by use of a hydro-seeder in accordance with Section 739.

717.07

WATERING.  When deemed necessary due to dry conditions, seeded areas shall be periodically watered until final acceptance.

717.08

MEASUREMENT.  Seeding will be measured by the pound (kg).  Water, topsoil, fertilizer, and agricultural lime will be measured in accordance with Sections 714, 715, and 718.

717.09

PAYMENT.  Payment for seeding will be made at the contract unit price.  Payment for water, topsoil, fertilizer, and agricultural lime will be made in accordance with Sections 714, 715, and 718.  Temporary seeding will be paid for as seeding.


Payment will be made under:

Item No.





Pay Item

Pay Unit
717-01








Seeding


Pound (kg)

Section 718

Fertilizer and Agricultural Lime
718.01

DESCRIPTION.  This work consists of furnishing and applying commercial fertilizer and agricultural lime on the areas designated on the plans or as directed.

718.02

MATERIALS.

(a)

Fertilizer:  Fertilizer shall be an approved brand complying with requirements of the Louisiana Department of Agriculture and Forestry.  Fertilizer shall be either 

8-8-8, 12-12-12, 13-13-13 or 16-16-16, and shall comply with Subsection 1018.16.  Fertilizer shall be delivered in sack or bulk.


(b)

Agricultural Lime:  Agricultural lime shall comply with Subsection 1018.17 and shall be delivered either in sacks or bulk.

718.03

APPLICATION.

(a)

Commercial Fertilizer:  Fertilizer shall be uniformly broadcast over areas to be fertilized by either hand or machine methods.  The rate of fertilizer application shall be as shown in Table 718-1.

Table 718-1

Fertilizer Application Rates

	Type Fertilizer
	Pounds

Per Acre
	Kilogram

Per Hectare

	8-8-8
	1000
	1120

	12-12-12
	667
	748

	13-13-13
	615
	689

	16-16-16
	500
	560



Other balanced fertilizer may be used at the proportional rate.  Fertilizer applied after surface dressing shall be thoroughly incorporated into the soil by light disking, harrowing, or rototilling.  Fertilizer shall be applied before final disking, harrowing, or rototilling during surface dressing.  When the surface is dressed by hand, the fertilizer may be applied before final raking and leveling.


(b)

Agricultural Lime:  Agricultural lime shall be spread uniformly at a minimum rate of 2 tons per acre (4.5 Mg/ha) with a spreader.  Lime shall be applied prior to seeding, topsoil placement and slab sodding and may be applied in conjunction with fertilizer.  After application, the areas shall be disked, harrowed, or rototilled to incorporate lime or lime-fertilizer into the top 3 inches to 6 inches (75 mm to 150 mm) of soil.


(c)

Hydro-seeding:  If hydro-seeding methods are used, the contractor will be permitted to include fertilizer and lime in the seeding slurry.  When specified by the manufacturer, water soluble or liquid fertilizer will be allowed for hydro-seeding product applications. 

718.04

MEASUREMENT.

(a)

Fertilizer:  Fertilizer will be measured by the pound (kg).  The estimated quantity shown in the plans is based on Type 8-8-8 fertilizer.  If other types of fertilizer are used, the measured quantities will be multiplied by the factors of Table 718-2 to determine pay quantities.

Table 718-2

Fertilizer Factors
	Type
	Factor

	12-12-12

13-13-13

16-16-16
	1.5

1.625

2.0



When other balanced fertilizers are used the factor will be determined by dividing the type of fertilizer by eight.


(b)

Agricultural Lime:  Agricultural lime will be measured by the ton (Mg).

718.05

PAYMENT.  Payment for fertilizer and agricultural lime will be made at the contract unit prices under:

Item No.






Pay Item

Pay Unit
718-01







Fertilizer


Pound (kg)

718-02







Agricultural Lime

Ton (Mg)

Section 719

Landscaping
719.01

DESCRIPTION.  This work consists of furnishing and planting various plant materials in accordance with the plans and these specifications.

719.02

LANDSCAPE CONTRACTOR REQUIREMENTS. The landscape contractor shall conduct his operations in accordance with Section 107, the requirements of the Louisiana Horticulture Law and Regulations, and this section.

719.03

MATERIALS.  Materials for landscaping shall comply with the following Sections and Subsections, and the following requirements.



Mortar Sand






1003.02



Fertilizer







1018.16



Agricultural Lime





1018.17


Water may be obtained from any source, except that brackish, chemically contaminated, or oily water shall not be used.


Individual plant varieties, species, and size will be indicated on the plans.


(a)

Pine Bark for Bed Preparation and Backfilling:  The contractor shall furnish pulverized, well rotted, ground pine bark for use in preparing backfill soil and the soil in bed areas.


(b)

Backfill Soil:  Backfill soil shall be prepared as follows:



5 parts topsoil 



3 parts pine bark for bed preparation and backfilling 



1 part sand



Water Management Gel



Mycorrhizal Inoculant


Water Management Gel and Mycorrhizal Inoculant shall be added at the manufacturer's recommended rate for individual trees or plants at the time of planting.


All clods, stones, roots, gravel, and other debris shall be removed from the excavated soil.  Backfill soil shall be mixed with excavated soil from individual planting holes at a rate of three parts backfill soil to one part 

excavated soil.  This mixture shall then be used to backfill individual planting holes.


Fertilizer shall be added in accordance with Section 718 except as specified herein.


(c)

Water Management Gel: Water management gel shall consist of a polymer with the ability to retain and release available water to the root zone. The manufacturer's recommended amount of water management gel shall be mixed with the required amount of backfill soil per plant before backfilling.


(d)

Mycorrhizal Inoculant: Mycorrhizal inoculant shall consist of live spores and not root fragments or mycelium.  Inoculant shall consist of live spores of Vesicular-Arbuscular (VA) Endomycorrhizal fungi and Ectomycorrhizal fungus and beneficial bacteria which have been chosen based on their ability to survive and influence plants over a broad pH range.  Rhododendrons, Azaleas, and Laurels require ericoid Mycorrhizae.


(e)

Topsoil:  Topsoil, if called for on the plans, shall be fertile, friable, natural surface soil obtained from a well drained area free of stones, brush, weeds, shale, roots, or other litter.  Topsoil shall have a minimum of 5 percent organic matter and pH range between 5.5 to 7.0 inclusive.


(f)

Top Dressing Mulch:  Top dressing mulch shall be pine bark, pine straw, redwood chips, hardwood mulch or cypress bark.


When pine bark mulch is specified, mulch shall consist of 1/2 inch (15 mm) minimum size chipped pine bark.  Excessively "green" and/or decomposed pine bark will be rejected.  


(g)

Fertilizer Tablets: Fertilizer tablets shall be an approved brand containing nitrogen fixing and phosphorus solubilizing bacteria, slow-release nitrogen, natural organic nutrients, and humic acid complying with the requirements of Subsection 1018.16. The fertilizer tablets shall be delivered in sealed waterproof containers.

719.04

QUALITY AND EXTENT OF WORK.  The engineer shall notify the Department's Landscape Architect before work begins to coordinate the planting.  Work shall be done in accordance with accepted landscaping practices.  Plant materials approved for planting shall be container grown or balled and burlap, loaded, moved, unloaded, planted, fertilized, pruned, watered and maintained as necessary to ensure their healthy growth.

719.05

PLANT MATERIALS.  Plants will be subject to approval at the project site before planting.  Trees and other plant materials shall be inspected by the Department's Landscape Architect, with the landscape contractor present.  In the event that plant material is rejected, it shall be 

removed from the site, and the contractor shall locate acceptable plant material from other nursery sources at no direct pay.


(a)

State and Federal Regulations:  Plant material shall be free from injurious insect pests and plant diseases and subject to regulations of Federal and State Departments of Agriculture.  Shipments of plants shall comply with nursery inspection and plant quarantine regulations of the states of origin and destination.  The contractor shall obtain proper certificates for movement of nursery stock intrastate and interstate, and shall comply with all other requirements before and during movement or shipment of plants.  A copy of the Certificate of Inspection shall accompany each delivery.


(b)

Plant Names:  Scientific and common plant names shall comply with the current edition of "Hortus." Plants shall be true to name and legibly tagged.  There shall be no substitutions for the types, species, quantities or sizes of materials specified without written permission, and then only when sufficient evidence has been presented that the specified plants cannot be obtained and that the substituted plants are equal to the plants specified.


(c)

Grading Standards:  Grading of plants shall comply with the latest edition of "American Standards for Nursery Stock," as published by the American Nursery and Landscape Association, unless otherwise specified.


(d)

Plant List:  A complete list of plants will be shown on the plans including botanical name, common name, quantity, height, caliper, etc.  Sizes of stock shown are the minimum acceptable sizes.


(e)

Quality and Source of Plants:  Plants shall be nursery grown, well formed, and at least No. 1 Grade unless written permission is obtained to use selected native stock.  This permission may be granted only if native stock is better suited or superior in quality to plants obtained from a nursery.


Plants and trees shall equal or exceed the measurements specified in the Plant List.  They shall be measured before pruning, with branches in normal position.  Dimensions for height and spread refer to the main body of the plant and not from branch tip to branch tip.  The determining measurements for trees shall be caliper and/or height as described in the Plant List.  Caliper of the trunk shall be taken 6 inches (150 mm) above the ground level for sizes up to and including 4-inch (100 mm) and 12 inches (300 mm) above the ground level for larger sizes.  Trees shall have a habit of growth which is normal for the species.  Plants shall be healthy, vigorous, and free from insects, diseases and injuries.


The contractor shall not trim or cut leaders or main branches of trees.


(f)

Balled and Burlapped Plants:  Balled and burlapped plants shall be dug with firm, natural balls of soil of sufficient diameter and depth to encompass the fibrous and feeding root system necessary for full recovery of 

the plant.  Balls shall be firmly wrapped with burlap or similar material and bound with twine, cord or wire.  Balled and Burlapped plants shall be watered prior to transportation and kept moist until planted.


(g)

Container Grown Plants:  Container grown stock which has become potbound or in which the top system is out of proportion (larger) to the size of the container will not be acceptable.  The stock shall have a fibrous, cohesive root system.  Container grown plants shall not be removed from the container until just before planting, and care shall be taken to prevent root system damage.  Container grown plants shall be watered prior to transportation and shall be kept moist until planted.


(h)

Handling and Storage:  The contractor shall protect plants from drying out by covering the root system with mulch, wood chips or suitable materials and watering the root system and foliage as necessary.  Plants shall be protected from drying winds and sun as directed.


Plants shall be lifted from the bottom only, not by stems or trunks.  Plants will be rejected if the soil is cracked or loosened.


(i)

Delivery and Receipt of Plant Materials:  The contractor shall notify the engineer at least 48 hours before delivery of plant materials to the project.  Each shipment shall be accompanied by an invoice showing sizes and varieties in the shipment.


(j)

Inspection:  Plant materials shall be subject to inspection and approval at any time during the life of the contract.  Plants having any of the following deficiencies will be rejected: excessive abrasions of bark, dried out root system, excessive dead wood, dried up wood, excessive sun scald injuries, undeveloped and weak top or roots, crooked or one-sided development of tops, no straight leaders on trees normally having them, broken or removed leaders, untrue types or sizes, not complying with Federal and State Laws or regulations bearing on inspection and certificates, excessively damaged balls of soil, balls of soil dug from loose soil which will not properly ball, dead plants and plants otherwise not complying with these specifications.


Rejected material shall be replaced with new plant material of the same kind at no direct pay.

719.06

CONSTRUCTION METHODS.

(a)

Seasonal Operations:  Unless otherwise authorized in writing, the planting season is between November 1 and April 15.


Work shall be suspended when the ambient temperature falls below 32°F (0°C), wind velocity is excessive, ground is frozen or too wet, or continuation of prevailing weather would likely cause unsatisfactory results.  

The contractor shall complete planting as early as practical in the planting season.


When the only landscape work on the project consists of shrub planting at dead end road installations, planting may be performed at any time during the year, provided the ambient air temperature is above 32°F (0°C) and weather and ground conditions are suitable for planting.  Container grown plants will be required at dead end road installations.


(b)

Pruning:  If necessary, plant material shall be pruned on the project in accordance with the plan details.


Pruning shall be limited to the removal of injured twigs and branches.  The normal shape of the plant shall be left intact unless otherwise directed by the Department's Landscape Architect.  Selective pruning may be required on trees of special type or character at no direct pay.


(c)

pH Readings:  The Department will test the pH of the soil in the planting area.  The soil shall have a pH between 5.5 and 7.0 when tested in accordance with DOTD TR 230 unless otherwise specified.


(d)

Location of Plants:  Plants shall be located in accordance with plans or as directed by the project engineer or landscape architect.


(e)

Setting Individual Plants Not in Beds:  The planting hole shall be dug twice the width of the root ball of the plant.  The sides of the planting hole shall be straight and the bottom flat.  A mound shall then be built in the center of the plant hole with excavated material for the plant to sit on.  Plants shall be set plumb and at such level that, after settlement, a normal relationship of the crown of the plant with the ground surface will be established.  Each plant shall be in the center of the planting hole.  When plants are set, backfill soil shall be tamped under and around the base of each root mass to fill all voids.  Plants shall be planted in backfill soil complying with Subsection 719.03(b) thoroughly settled by watering and tamping to minimize settling and leaning of plant material.  Plants 6 feet (2 m) tall and taller, shall be staked in accordance with applicable nursery practices at no direct pay.  The contractor shall be responsible for maintaining all plant material in a vertical position for the contract period. On balled and burlapped stock, any wire or cord shall be cut or removed from the root balls and stems.  The top one-third of burlap shall be removed from the root ball.


Tree planting holes shall be loosened to a depth of 2 feet (0.6 m) below the bottom of the pit or to such depth that any hardpan has been broken and moisture is allowed to move freely.  The contractor shall notify the engineer in writing of any problems before installing the trees.


When plants are grouped together in a plant bed or in a line less than 5 feet (1.5 m) apart, the area shall be loosened and lumps broken to a minimum depth of 6 inches (150 mm) prior to excavating planting holes.


After planting has been completed, a bowl shall be formed using excavated material around each plant as shown in the planting details.  Bowls shall extend to the limits of the planting holes for trees and shrubs.  No bowls are required in areas of bed preparation.  Shrubs in lines or groups may share a common bowl around their perimeter.


(f)

Fertilizer:  The contractor shall furnish and place either granular or tablet commercial fertilizer at the specified rate in accordance with this section and Subsection 718.03(a).  Fertilizer shall be mixed with backfill soil before backfilling.  The recommended amount of fertilizer tablets shall be equally placed in the upper 2 inches (50 mm) of backfill soil 2 inches (50 mm) from the root ball or in accordance with the manufacturer's recommendations.


Fertilizer tablets shall be used in individual plant holes, separate from bed areas.  After the tree or shrub has been placed, the manufacturer's prescribed amount and spacing of tablets for the specified plant size shall be applied.


(g)

Agricultural Lime:  The contractor shall furnish and place agricultural lime in accordance with Section 718 to adjust the soil pH.


(h)

Backfilling:  Care shall be taken in placing backfill under the sides and over the root mass.  Backfill shall be placed to 3/4 the depth of the ball on the sides and watered uniformly on the sides of the root mass to allow settlement of the plant.  Plants which settle or lean before or after watering, shall be straightened, raised or replanted.


Excavated material not used as backfill or for bowls shall be spread on areas of the project as directed or disposed of in accordance with Subsection 202.02.


(i)

Water:  The contractor shall furnish and apply water in sufficient quantities for proper irrigation of the plants.  Plants shall be watered during planting operations, immediately after planting and at intervals as directed until final acceptance.


(j)

Bed Preparation:  The contractor shall remove grass, weeds, sticks, roots, stones and other debris from the planting bed.  The contractor shall treat the planting bed with an approved pre-emergence herbicide in accordance with the manufacturer's recommendations.  The contractor shall rototill the planting bed to a minimum depth of 10 inches (250 mm) and add the materials of Table 719-1.

Table 719-1
Bed Preparation Material

	Material
	Per 1000 Sq Ft
	Per 100 Sq m

	Mortar Sand
	3 Cubic Yards
	2.5 Cu m

	Pine Bark
	7 Cubic Yards
	6.0 Cu m

	Fertilizer 8-8-8 (Or Other

Balanced Equivalent

At Proportional Rates)
	25 Pounds


	12 kg



	Mycorrhizal Inoculum
	per manufacturer
	per manufacturer

	Water Management Gel
	per manufacturer
	per manufacturer



The contractor shall create a trench for drainage purposes around the entire bed.  All beds shall be built as "raised" beds.  Beds shall be raked smooth and dirt lumps, stones, sticks, grass and other foreign matter shall be removed.  Finish grades of bed trenches next to walks or buildings shall be 1 to 2 inches (25 to 50 mm) below finish grade of adjoining surfaces unless otherwise shown on the plans or as directed.


(k)

Mulching:  Mulch shall be placed uniformly to a minimum depth of 3 inches (75 mm) within the planting saucers and bed areas and watered.  When plants are planted in rows or groups not more than 5 feet (1.5 m) apart, the entire area between the saucers shall be mulched.  Avoid placing mulch directly around the trunks of trees and the stems of shrubs.


(l)

Weeding:  Weeds shall be removed from bed areas, the planting basin of each plant and groups of plants, including saucer walls.  The contractor shall mow, for a radial distance of 5 feet (1.5 m), around plant materials not planted in beds.  Use of selective herbicides will be permitted, provided it is an approved contact-type compatible with plants and provided the grass in the 10-foot (3 m) circle has been cut to a satisfactory height.  Weeding shall be performed as directed to maintain a neat appearance throughout the period of establishment and replacement.

719.07

PERIOD OF ESTABLISHMENT AND REPLACEMENT.  Upon completion of planting and providing all plants are in place, living and conforming to these specifications, this portion of the contract will be given provisional acceptance.


(a)

Period of Establishment:  The contractor shall care for planted areas for a period of establishment, which shall be one full growing season, 

after provisional acceptance is made.  A growing season shall begin April 16 and extend to October 31.  During this period of establishment, the contractor shall preserve plants in a healthy, growing condition.  Such plant establishment work shall include cultivation, weeding, watering, pruning, controlling insects, pests and disease and other work determined necessary by the engineer to ensure healthy plant growth.


The contractor shall contact the engineer every week and outline activities which will be performed on the project.  Failure to contact the engineer weekly and perform activities will result in a 1 percent reduction of the landscape contract amount, for each week of noncompliance before final payment.  The contractor shall weed in the vicinity of plants, place mulch, and water the plants as required.  During the period of establishment, the contractor shall maintain a neat and clean appearance of planting areas.


(b)

Replacement:  Plants that show signs of failure to grow at any time, or which are so injured or damaged as to render then unsuitable for the purpose intended, as determined by the engineer, shall be removed and replaced.  Unless otherwise directed by the engineer, the contractor shall complete replacement of unsuitable plants within 15 calendar days after the engineer marks or otherwise indicates that the plants shall be replaced.  Failure to comply in the time allotted will result in having the costs of these replacement plants deducted from the contract amount upon final payment, while the contractor shall remain liable for the original contract specifications.


Replacement planting shall comply with the spacing and size requirements specified for the plants being replaced.  Replacement ground cover plants shall be the same species as specified for the ground cover being replaced.  Other replacement plants shall be the same species as the plants being replaced unless the engineer, after consultation with the Department's Landscape Architect, approves the substitution of alternative species of plants in accordance with the provisions in this subsection.


Replacement plants shall be furnished and planted by the contractor at the contractor's expense.


(c)

Semifinal Inspection:  A semifinal inspection by the contractor and the engineer will be held 2 weeks prior to the end of the period of establishment to determine the acceptability of plants.  Replacement planting, as required, shall be performed in accordance with Subsections 719.06(a) and 719.07(b).


Unsatisfactory plants shall be replaced in kind, quantity and size with live, healthy plants installed as originally specified.  Substitute varieties of plants shall be used only when approved.  These replacement plantings shall be 

made at no direct pay.  Only these replacements made at this time will not require a period of establishment.  However, all plants that must be replaced at the semifinal inspection will be replaced at the contractor's expense.


Upon completion of said replacements and prior to final acceptance of the project, the contractor shall weed around plants and remove discarded materials, rubbish and equipment from areas of the right-of-way affected by operations.


(d)

Final Acceptance:  Final inspection of plant material will be held approximately 2 weeks after replacement planting has been completed.  Final acceptance will be made if all plants are in place, alive and are in conformance with plans and specifications.


Plants that are unsatisfactory at the time of final inspection of the project shall be replaced by the contractor in kind, quantity and size with live, healthy plants installed as originally specified.  Substitute varieties of plants shall be used only when approved.  These replacement plantings shall be made at no direct pay.

719.08

MEASUREMENT.  Furnishing and planting the various types and sizes of plant materials will be measured per each.  No measurement for payment will be made for plant hole preparation, backfill material, fertilizer tablets, plant maintenance or plant replacement of individual trees and shrubs either inside or outside of bed areas.


Water will be measured and paid for in accordance with Section 714.


Bed preparation and top dressing mulch will be measured by the square yard (sq m).


When an item for "Landscaping" is included in the contract, the furnishing and planting of all required plant materials under the contract will be measured on a lump sum basis.

719.09

PAYMENT.  Payment for furnishing and planting the various types and sizes of plant materials will be made at the contract unit price per each.


Payment for bed preparation and top dressing mulch will be made at the contract unit prices.  When an item for "Landscaping" is included in the contract, payment will be made at the contract lump sum price.


Partial payment during the period of establishment will be limited to 75 percent of the contract price upon provisional acceptance.  Midway through the period of establishment, if the project engineer's records show that plants have been properly maintained and replacement plantings have been completed, 15 percent of the contract price for landscaping items will be paid, minus any reduction in accordance with Subsection 719.07(b).  At the 

end of the full period of establishment, if the project engineer's records show that plants have been properly maintained and replacement plantings have been completed, the remaining 10 percent of the contract price for landscaping items will be paid, minus any reduction in accordance with Subsections 719.07(a) and (b).  Payment for adjustment of pH will be made in accordance with Subsection 109.04.


Payment will be made under:

Item No.





Pay Item


Pay Unit
719-01





Plants (Type, Size)


Each

719-02





Top Dressing Mulch










(__inch (__mm) Depth)
Square Yard (Sq m)

719-03





Bed Preparation










(__inch (__mm) Depth)
Square Yard (Sq m)

719-04





Landscaping



Lump Sum

Section 720

Erosion Control Systems
720.01

DESCRIPTION.  This work consists of furnishing and placing erosion control systems in accordance with plan requirements for use as soil retention blankets on slopes or as flexible channel liners in ditches.

720.02

MATERIALS.
(a)

General:  Erosion control systems shall comply with Subsection 1018.24.  The manufacturer's installation plan and hardware (staples, stakes, etc.) are considered part of the system and shall be the same as that used during the evaluation for source approval.

The type of erosion control system to be used shall be shown on the plans. The contractor shall have the option of substituting a higher grade system for a lower grade system within the same application (slope protection or flexible channel liners) at no additional cost to the Department. 

(b)

Acceptance:  Pretested lots of erosion control systems shall be accepted based on a Certificate of Delivery showing DOTD Lot Numbers and laboratory numbers representing the pretested material, including hardware. Erosion control systems that are not accompanied by a Certificate of Delivery shall be sampled in accordance with DOTD S 613 at the rate of 1/200 rolls for rolled type materials (or mats) or 1/200 bags for mulch systems per manufacture's lot.  The sample size shall consist of not less than 3 square yards (sq m) of rolled (or mat) material or one 50 lb (20 kg) bag of mulch.  Installation hardware, additives such as tackifiers, and any other component of the system not covered above shall be sampled at the rate of one item/type/size or one quart (L) per manufacturer's lot in accordance with DOTD S601.  All samples shall be submitted to the Materials and Testing Section.  A copy of the approved installation plan shall accompany each shipment to the project.

(c)

Packaging:  Materials shall be packaged in such a way as to maintain the quality of the product throughout handling.  Each package shall be identified with the manufacturer's name, product name, and manufacturer's lot number.  Each package that is represented by a Certificate of Delivery shall also be identified by the DOTD Lot Number corresponding to that shown on the Certificate of Delivery.

720.03

EQUIPMENT.  Equipment necessary to satisfactorily perform the 

work shall be furnished and maintained by the contractor.  Equipment for hydraulically applying fiber mulch shall be equipped to eject the thoroughly wet mulch material at a uniform rate equal to the manufacturer's recommendations or as designated by the plans to provide the mulch coverage specified.

720.04

CONSTRUCTION REQUIREMENTS.  Erosion control systems shall be installed in accordance with the approved installation plan, no later than 48 hours after completion of seeding or sodding operations.  All staples shall be installed flush to the ground and shall penetrate all layers of overlapped or adjacent rows.

(a)

Slope Protection:  Slopes shall be constructed to the required grade, fertilized, and seeded prior to application of erosion control systems.  At the time of coverage, the area to be covered shall be free of ruts, clods, stones, roots or other foreign matter that will prevent close contact of the blanket with the soil.  Rolled products or mats with netting only on one side are to be placed with the netting exposed and the fibers in contact with the soil.

(b)

Flexible Channel Liners:  Channels shall be prepared in accordance with Heading (a).  Flexible channel liners shall be placed beginning at the downstream end.

720.05

MAINTENANCE.  The contractor shall maintain the areas on which erosion control systems have been placed until final acceptance of the project. This shall consist of the repair of damage by erosion, wind, fire or other cause. Such areas are to be repaired to reestablish the condition that existed prior to placing the erosion control systems and may include fertilizing, seeding, mulching or sodding as required at no direct pay.

720.06

MEASUREMENT.  Erosion control systems, including hardware, will be measured by the square yard (sq m) of surface area covered.

720.07

PAYMENT.  Payment for erosion control systems will be made at the contract unit price and includes all materials, labor, equipment and other incidentals necessary to complete the work.  Required burial of ends and edges, overlaps and hardware will not be measured for payment.

Payment will be made under:

Item No.





Pay Item


Pay Unit
720-01




Erosion Control System (Type)
Square Yard (Sq m)

Section 721

Asphalt Mulch
721.01

DESCRIPTION.  This work consists of furnishing and placing asphalt mulch for erosion control on seeded areas as shown on plans or as directed.

721.02

MATERIALS.  Asphalt mulch shall be an approved emulsified asphalt complying with Subsection 1002.01.  Water shall comply with the requirements of Subsection 1018.01.

721.03

GENERAL CONSTRUCTION REQUIREMENTS.  Asphalt mulch shall immediately follow seeding operations.  Areas to receive asphalt mulch that have not been sufficiently moistened by rainfall shall be watered as directed.  Asphalt shall be spread with a mechanical spreader equipped with boom or hand spray nozzles.

721.04

SPREADING RATES.  Emulsified asphalt shall be spread over seeded areas at the undiluted rate of 0.4 to 0.5 gallon per square yard (1.8 to 2.3 L/sq m).  When required, asphalt shall be diluted with water as directed.

721.05

MEASUREMENT.  Asphalt mulch will be measured by the undiluted gallon (L) at application temperature.  No measurement for payment will be made for water used in the emulsion.

721.06

PAYMENT.  Payment for asphalt mulch will be made at the contract unit price, subject to the payment adjustment provisions of Section 1002 for specification deviations of asphaltic materials.  The Materials and Testing Section will provide the payment adjustment percentage for properties of asphaltic material.

Payment will be made under:

Item No.






Pay Item

Pay Unit
721-01







  Asphalt Mulch

Gallon (L)

Section 722

Field Laboratories
722.01

DESCRIPTION.  This work consists of furnishing laboratory buildings at the project sites or plant sites as specified.

These laboratories are to be provided exclusively for the use of Department and contractor personnel involved in the Department's Quality Assurance Program.

722.02

GENERAL REQUIREMENTS.  Field laboratories shall be weather tight and constructed of wood, metal, masonry or other approved material for the purpose of housing the personnel, testing equipment, records and reports as necessary for the Quality Assurance Program.

Each laboratory shall have a minimum floor space of 160 square feet (15 sq m), or other approved size, that provides sufficient space.  The laboratory shall have at least one outside door and have sufficient windows.  The laboratory buildings shall have electric lighting and power outlets as directed. Fume hoods with electric exhaust fans of such size and location to ensure continuous removal of hazardous fumes and air borne particles during testing operations shall be provided.  The building and contents shall be secured by suitable lock and catches.  The engineer shall be afforded access to the laboratory at all times and shall be provided with a set of keys as necessary.

Laboratory buildings shall be constructed, furnished, maintained and located as approved.  The contractor shall provide suitable desks, chairs and file cabinets for personnel using these facilities.  Sturdy work benches shall be constructed along at least one wall, or as directed, to provide sufficient work area for the types of tests being conducted.  Laboratory buildings shall be heated and approved sanitary facilities provided.  

The laboratories may be used for successive phases of a project without additional compensation.

722.03

PROJECT SITE LABORATORY.  Field laboratory buildings at the project site shall be movable types which can be placed near construction areas.  The building shall be moved to various locations on the project as directed.

722.04

PLANT SITE LABORATORY.  The plant site laboratory will be approved as part of the Department's Plant Certification Program.  It shall 

consist of a building or room which is air conditioned.  Appropriate sinks and running water shall be provided as directed.

722.05

MEASUREMENT.
(a)

Project Site Laboratory:  Project site laboratories furnished, satisfactorily maintained, moved as directed, and subsequently removed from the project will be measured per each building.

(b)

Plant Site Laboratory:  Plant site laboratories will not be measured for payment.

722.06

PAYMENT.  Payment for project site laboratories will be made at the contract unit price per each under:

Item No.






Pay Item
Pay Unit
722-01




Project Site Laboratory
Each

722-02




Project Site Laboratory, (Equipped)
Each

Section 723

Granular Material
723.01

DESCRIPTION.  This work consists of furnishing and placing granular material in accordance with these specifications and in conformity with the lines, grades and typical sections shown on the plans or as directed.

723.02

MATERIALS.  Granular material shall comply with Subsection 1003.07.

723.03

CONSTRUCTION REQUIREMENTS.  Materials shall be placed, properly shaped and uniformly compacted to a minimum of 95.0 percent of maximum dry weight density.  Maximum dry weight density will be determined in accordance with DOTD TR 418 and in-place density will be determined in accordance with DOTD TR 401.  Granular materials shall not be displaced during subsequent operations.

723.04

DIMENSIONAL TOLERANCES.  When net section measurement is specified, the thickness and width of completed granular material courses will be checked for determining acceptance in accordance with DOTD TR 602.  Areas with thickness and width deficiencies in excess of the following tolerances shall be corrected to plan dimensions by furnishing, placing, shaping and compacting additional materials as required at no direct pay.

(a)

Thickness:  Underthickness shall not exceed 3/4 inch (20 mm).  Overthickness will be  at no additional cost to the Department.

(b)

Width:  Underwidth shall not exceed 6 inches (150 mm).  Overwidth will be at no additional cost to the Department. 

723.05

MEASUREMENT.
(a)

Net Section:  The quantities of granular material for payment will be the design volumes as specified in the plans and adjustments thereto.  Design quantities are based on the horizontal dimensions and the compacted thickness of the granular material shown on the plans.  Design quantities will be adjusted if the engineer makes changes to adjust to field conditions, if plan errors are proven, or if design changes are necessary.

(b)

Vehicular Measurement:  Granular material will be measured by the cubic yard (cu m) in approved hauling vehicles at the point of delivery in accordance with Subsection 109.01.

723.06

PAYMENT.  Payment for granular material will be made at the contract unit price per cubic yard (cu m) under:

Item No.






Pay Item

Pay Unit
723-01




Granular Material (Net Section)
Cubic Yard (Cu m)

723-02




Granular Material









(Vehicular Measurement)
Cubic Yard (Cu m)

Section 724

Pavement Patching, Widening and

Joint Repair
724.01

DESCRIPTION.  This work consists of patching, widening and joint repair of existing pavements in accordance with these specifications and in conformity with the lines, grades and typical sections shown on the plans or as directed.

The contractor has the option of using either portland cement concrete or asphaltic concrete for patching and widening.  Joints in existing asphaltic concrete overlays shall be repaired with asphaltic concrete.

724.02

MATERIALS.  Portland cement concrete for patching and widening shall be Class A complying with Section 901.

Asphaltic concrete for patching and widening may be any type mixture listed in Section 501 or 502.  Asphaltic concrete for joint repair shall be Incidental Paving Wearing Course complying with Section 501 or 502.  Asphaltic tack coat shall comply with Section 504.

724.03

EQUIPMENT.  Equipment furnished shall meet the specification requirements for the types of material used.

724.04

GENERAL CONSTRUCTION REQUIREMENTS.  The contractor shall remove existing surfacing and base materials and perform all required excavation for patching and widening.  When through traffic is maintained, the contractor shall complete the replacing of pavement, place the widening material, or fill and compact open areas or trenches, at the end of each day's operations.

Excavation and compaction of the subgrade shall be in accordance with the plans or as directed.  The subgrade shall be compacted uniformly.

Existing surfacing and excess excavation shall be disposed of beyond the right-of-way in accordance with Subsection 202.02.

For joint repair, contact surfaces of existing pavement shall be cleaned and a thin, uniform asphaltic tack coat applied prior to placing asphaltic mixture in the joint.

724.05

PATCHING AND WIDENING WITH PORTLAND CEMENT CONCRETE.  Pavement widening with portland cement concrete shall 

conform to Section 601, except that either machine or hand finishing methods may be used.  Pavement patching shall conform to Section 602.

724.06

PATCHING, WIDENING, AND JOINT REPAIR WITH ASPHALTIC CONCRETE.  Patching and widening with asphaltic concrete shall conform to Section 501 or 502, except that priming of the subgrade will not be required.  Contact surfaces of pavement shall be cleaned and a uniform coat of asphaltic tack coat applied before asphaltic concrete is placed against them.  Patches shall not be overlayed for a minimum of 5 calendar days.

Spreading, finishing and compaction of asphaltic concrete shall leave the surface smooth and level with, or slightly above, the edge of existing pavement.  To provide lateral support, the contractor will be permitted to construct temporary berms of excavated material against the outside edge of widening strips prior to rolling.

724.07

MEASUREMENT.
(a)

Patching:  Patching of pavement will be measured by the square yard (sq m) of existing pavement designated to be removed and replaced.  Removal of existing surfacing and base course, tack coat, and required excavation will not be measured for payment.

(b)

Widening:  The quantities of widening for payment will be the design areas as specified on the plans and adjustments thereto.  Design quantities will be adjusted if the engineer makes changes to adjust to field conditions, if plan errors are proven, or if design changes are made.  Design quantities are based on the horizontal dimensions shown on the plans.  Required excavation, removal of existing pavement and base course, asphaltic tack coat and disposal of removed material will not be measured for payment. No measurement for payment will be made for widening placed outside the dimensions shown on the plans or established by the engineer.

(c)

Joint Repair:  Joint repair will be measured by the ton (Mg) of asphaltic concrete used to fill the joint.  Measurement will be made in accordance with Subsection 501.13(a) or 502.13(a).

724.08

PAYMENT.
(a)

Patching and Widening:  Payment for pavement patching and widening will be made at the contract unit prices per square yard (sq m), subject to the following provisions:

Payment adjustments for deficiencies in portland cement concrete, asphaltic concrete and asphaltic materials will be applied to 1/2 the contract unit price for pavement patching.


When the engineer orders additional thickness of patching in excess of plan thickness, payment for the additional thickness will be made as follows.  The value per inch (mm) thickness will be determined by dividing the contract unit price per square yard (sq m) by the plan thickness.  Thickness of patches will be measured from the surface that exists at the time of patching.  Payment for the additional thickness will be made at 50 percent of the value per inch (mm) thus determined.


When the engineer approves of an underthickness of patching less than plan thickness, a deduction in payment will be made.  This deduction per inch (mm) of underthickness will be made at 50 percent of the value per inch (mm).  The value per inch (mm) will be calculated by dividing the contract unit price per square yard (sq m) by the plan thickness.


Any patching that develops or is required between the time of initial patching operations and the placement of the first lift of asphaltic material will be paid for at the contract unit price.  Any patching required due to base failure after placement of the first lift of asphaltic material will be paid for at twice the contract unit price.

(1)

Portland Cement Concrete:  Portland cement concrete will be accepted for payment on a lot basis.  A lot will be a completed section or an identifiable pour completed in 1 day.

Two random batches will be sampled for each lot, and three cylinders molded for each batch.  The six specimens per lot will be tested for compressive strength in 28 to 31 days.  In the event of sudden cessation of operations, a minimum of three cylinders will represent a lot.

Acceptance and payment for each lot will be based on the compressive strengths of Table 601-1.

(2)

Asphaltic Concrete:  Asphaltic concrete will be subject to the payment adjustment provisions of Section 501 or 502 for shoulder mixes except for surface tolerance.  The Materials and Testing Section will provide the payment adjustment percentage for properties of asphaltic material.

(b)

Joint Repair:  Payment for pavement joint repair will be made at the contract unit price per ton (Mg), subject to the following provisions:

Asphaltic concrete for joint repair will be subject to the payment adjustment provisions of Section 501 or 502 except for surface tolerance and density; however, payment adjustments will be applied to 1/3 the contract unit price for joint repair.  The Materials and Testing Section will provide the payment adjustment percentage for properties of asphaltic material.


Payment will be made under:

Item No.






Pay Item

Pay Unit
724-01






Pavement Patching
Square Yard (Sq m) 

724-02






Pavement Widening
Square Yard (Sq m)

724-03






Pavement Joint Repair
Ton (Mg)

Section 725

Temporary Detour Roads and Bridges
725.01

DESCRIPTION.  This work consists of furnishing, constructing, maintaining and subsequently removing temporary detour roads and bridges.

Plan details and specified materials for temporary detour roads and bridges indicate minimum requirements.  Other approved designs and materials may be used at the option of the contractor.

725.02

MATERIALS.
(a)

Detour Roads:  Materials for detour roads, except low profile runarounds, shall comply with applicable sections of these specifications.

Temporary culvert pipe shall be one of the types listed in Section 701.  Temporary fencing shall be of a type acceptable to the engineer.

Temporary pavement markings shall comply with Subsection 1015.08.

(b)

Detour Bridges:  Timber shall be treated, either new or used.  Defects  which, in the opinion of the engineer, materially affect the strength of the timber, will not be permitted.  Timber shall comply with the species, grade and stress rating requirements of Subsection 1014.01.


Unless otherwise specified, piles for substructures shall be treated timber, either new or used.  Piles shall be reasonably straight, shall satisfactorily withstand driving and shall be satisfactory to the engineer.

When required by the plans, steel piles for substructures shall be of the size and type specified.  Painting will not be required.

Substructures shall be precast concrete spans as called for in the plans, except that the contractor will be permitted to submit drawings and calculations, stamped by a licensed engineer, for an alternate superstructure and substructure.  Concrete superstructure spans may be new or used and shall be satisfactory to the engineer.

725.03

CONSTRUCTION REQUIREMENTS.
(a)

General:  The contractor shall perform all necessary additional clearing and grubbing, and provide all necessary temporary fencing and culverts for detours.  Construction signs, warning devices and pavement markings shall be in accordance with Section 713 and shall be placed for detours prior to being opened to traffic.  The contractor shall maintain detours in a satisfactory condition.

(b)

Detour Roads:  The contractor shall furnish all embankment 

material for detours and shall compact embankments by approved methods to the satisfaction of the engineer.  When embankment is placed against slopes of existing embankments, the contractor shall remove from such slopes all grass, weeds, trash, brush and other objectionable material and shall plow slopes to form steps as directed.

Base and surfacing construction shall be performed in accordance with applicable sections of these specifications.

Temporary pavement markings complying with Section 713 shall be placed on detours surfaced with asphaltic concrete or portland cement concrete.  These markings shall be in place at the time the detour is opened to traffic.  Existing markings in tie-in areas shall be removed.  Temporary pavement markings to effect tie-ins to existing striping shall be included in the cost of these markings.

(c)

Low Profile Runaround:  Low profile runaround type detour roads shall be surfaced with approved aggregate.  Aggregate surfacing shall be placed to a minimum depth of 4 inches (100 mm) and a minimum width of 20 feet (6 m).  Alignment and grade of runaround type detour roads shall be acceptable to the engineer.  The contractor shall be responsible for drainage for low profile detours.

(d)

Detour Bridging:  Temporary bridge lengths shown on the plans are approximate, and the lengths to be constructed will be determined by the engineer.  The contractor shall construct temporary bridges to allow passage of maximum legal loads.  Temporary bridge construction shall be performed in accordance with applicable sections of these specifications.  Guard rail shall be placed as shown on the plans or as directed.

725.04

REMOVAL OF DETOURS.  Upon completion of permanent construction and diversion of traffic thereto, the contractor shall remove detour roads and bridging, temporary fencing, and culverts, eliminate construction scars and seed and fertilize to restore the area to its original condition.  When not covered under other items, permanent fencing shall be replaced in kind as directed.  Temporary markings on existing surfaces shall be removed in accordance with Section 713.

Temporary bridging shall be removed in accordance with Subsection 202.03.  Removed temporary bridge materials, fencing and culverts shall remain the property of the contractor and shall be disposed of outside the right-of-way.  Detour embankment, base and surfacing materials shall also be disposed of in accordance with Subsection 202.02 unless reuse of these materials on the project is permitted.

725.05

MEASUREMENT.
(a)

Detour Roads:  Temporary detour roads will be measured either by the linear foot (lin m) or square yard (sq m), as specified, in accordance with the following provisions:

(1)

Linear Foot (Lin m):  Measurement will be made along the centerline of detour roads unless otherwise shown on the plans.  Detours with temporary bridging will be measured between the edge of surfacing of existing pavement and temporary bridging.  Detours without temporary bridging will be measured between edges of surfacing of existing pavement.

(2)

Square Yard (Sq m):  Measurement will be made on the surface of completed detour road surfacing.

(b)

Low Profile Runaround:  Low profile runarounds will be measured per each runaround.

(c)

Detour Bridging:  Temporary detour bridging will be measured by the linear foot (lin m) along the centerline of completed bridging in accordance with the following:

(1)

When constructed in accordance with the design shown on the plans, measurement will be made from beginning to end of bridging as shown on the plans.

(2)

When constructed in accordance with an approved design other than as shown on the plans, measurement will not exceed the length required for the design shown on the plans.

(d)

Incidentals:  Additional clearing and grubbing, temporary fencing and culverts, will not be measured for payment.

When the contract includes items for "Temporary Pavement Markings", these markings will be paid for under the "Temporary Pavement Marking" items.  When the contract does not include items for "Temporary Pavement Markings", these markings will be included in the items for "Temporary Detour Roads."

725.06

PAYMENT.  Payment for temporary detour roads and bridging furnished, constructed, maintained and subsequently removed will be made at the contract unit prices under:

Item No.





Pay Item

Pay Unit
725-01





Temporary Detour Roads
Linear Foot (Lin m)

725-02





Temporary Detour Roads
Square Yard (Sq m)

725-03





Temporary Detour Bridging
Linear Foot (Lin m)

725-04





Low Profile Runaround
Each

Section 726

Bedding Material
726.01

DESCRIPTION.  This work consists of furnishing and placing aggregate bedding material on geotextile fabric for drainage structures.

726.02

MATERIALS.  Materials shall comply with the following Subsections:

Plastic Soil Blanket



203.10

Bedding Material




1003.01 & 1003.08

Geotextile Fabric




1019.01

Bedding materials shall be properly proportioned and mixed prior to being placed in the foundation.

726.03

PLACEMENT OF BEDDING.  Geotextile fabric shall be placed in accordance with plan details prior to placing bedding material.  Care shall be taken to prevent damage to geotextile fabric during placement of bedding material.  Materials shall be placed, shaped and uniformly compacted to the satisfaction of the engineer.

Adjacent rolls of fabric will be overlapped or sewn.  When rolls are overlapped, the overlap shall be a minimum of 18 inches (450 mm) , including the ends of the rolls.  The top layer of the fabric shall be parallel with adjacent rolls and in the direction of bedding materials placement.  When rolls are sewn, the contractor shall join adjacent rolls by sewing with polyester, or kevlar thread.  Field sewing shall employ the "J" seam or "Butterfly" seam with the two pieces of geotextile fabric mated together, turned in order to sew through 4 layers of fabric and sewn with 2 rows of Type 401, two-threaded locking chain stitch.  Factory seams other than specified may be submitted to the Materials and Testing Section for approval.  When the ground is covered with water or supersaturated soil, sewing of the fabric will be required.

Damaged fabric shall be either removed and replaced with new fabric or covered with a second layer of fabric extending 2 feet (0.6 m) in each direction from the damaged area.

Excavation below the established grade of the structure for placement of bedding material shall be used or disposed of in accordance with Section 203.

A plastic soil blanket in accordance with Subsection 203.10 shall be placed 

at structure ends when bedding material is exposed.

726.04

MEASUREMENT.  Bedding material, including plastic soil material, completed and accepted, will be measured by the cubic yard (cu m) (net section).  The length and width will be measured horizontally to the theoretical points established by the plans for bedding material.  The depth will be as shown on the plans or established by the engineer.

Geotextile fabric will not be measured for payment.

Necessary excavation and disposal of excess excavated materials will not be measured for payment.

726.05

PAYMENT.  Payment for bedding material will be made at the contract unit price under:

Item No.






Pay Item

Pay Unit
726-01







Bedding Material

Cubic Yard (Cu m)

Section 727

Mobilization
727.01

DESCRIPTION.  This work consists of preparatory work and operations, including those necessary for movement of personnel, equipment, supplies and incidentals to the project site; the establishment of offices, buildings and other facilities necessary for work on the project; the cost of bonds and any required insurance; and other preconstruction expenses necessary for start of the work, excluding the cost of construction materials.

727.02

PAYMENT.
(a)

When the contract does not include a pay item for mobilization, no direct payment will be made for mobilization.

(b)

When the contract contains a pay item for mobilization, payment will be made at the contract lump sum price, subject to the following provisions:

Partial payments for mobilization will be made in accordance with the schedule of Table 727-1 up to a maximum of 10 percent of the original total contract amount, including this item.  Payment of any remaining amount will be made upon completion of all work under the contract.

Table 727-1

Mobilization Payment Schedule
	Percent of Total Contract 

Amount Earned
	Allowable Percent of the Lump Sum Price for Mobilization

	1st Partial Estimate

10

25

50
	25

50

75

100


No payment adjustments will be made for this item due to changes in the work in accordance with Section 109.

Payment will be made under:

Item No.






Pay Item
Pay Unit
727-01







   Mobilization
Lump Sum

Section 728

Jacked or Bored Pipe
728.01

DESCRIPTION.  This work consists of furnishing and installing pipe in embankments at the locations shown on the plans by jacking or boring in accordance with these specifications.

728.02

MATERIALS.  Pipe and joint materials shall comply with Subsection 701.02.  Corrugated metal pipe to be jacked or bored shall have corrugated bands a minimum of 24 inches (600 mm) wide with four lines of approved gasket material.  These bands shall be secured by a minimum of four galvanized steel rods and lugs in accordance with the plans.

728.03

CONSTRUCTION REQUIREMENTS.  In general, pipes 30 inches (750 mm) diameter and greater shall be jacked, and pipes less than 30 inches (750 mm) diameter shall be bored.

The work shall begin at the outfall end of pipe when possible.  When the grade at the jacking or boring end is below ground surface, suitable pits or trenches shall be excavated for conducting operations and placing joints of pipe.  Adequate sheeting and bracing shall be provided to prevent earth caving.

For pipe with bell joints, if the outside diameter of pipe bell exceeds the outside diameter of pipe barrel by more than 1 inch (25 mm), pipe shall be either cased or pressure grouted its full length.  The casing shall be an approved type and size, and shall be furnished and installed by the contractor in accordance with these specifications.  Pressure grouting shall be performed with approved materials placed by approved methods.

The method used shall be such as not to weaken or damage the embankment.  The contractor shall furnish the engineer for approval a plan showing the proposed procedure, including backstop or jacking frame arrangement, pipe guides, position of jacks and jacking head.  Approval of this plan shall not relieve the contractor from responsibility to obtain the desired result.

(a)

Jacking:  Heavy duty jacks suitable for forcing pipe through the embankment shall be provided.  Even pressure shall be applied to all jacks and shall be transmitted to the pipe end through a jacking head.  The jacking head shall be designed so that pressure is uniformly applied around the ring of the pipe.  Backstop or jacking frame shall be adequate to resist pressure of the 

jacks under load.  Pipe shall be set on guides properly fastened together to support the pipe in the proper direction at correct grade.  Suitable cushioning material, such as plywood, shall be provided between sections of concrete pipe.

Material shall be excavated ahead of the pipe and shall be removed through the pipe.  Excavation shall not extend more than 24 inches (600 mm) beyond the forward end of pipe.  When the character of embankment material dictates, the distance shall be reduced to prevent the embankment from being damaged. Excavated material shall be disposed of in accordance with Subsection 202.02.

Excavation on the underside of pipe, for at least 1/3 the circumference of pipe, shall conform to the contour and grade of the pipe.  A clearance of not more than 2 inches (50 mm) may be provided for the upper half of pipe, tapered to zero at the point where excavation conforms to contour of pipe.

A steel cutting edge may be used around the forward end of pipe, constructed so that it will transmit pressures uniformly around the ring of the pipe.

Jacking shall continue without interruption, to prevent pipe from becoming firmly set in the embankment.

Pipe shall not vary horizontally or vertically by more than 1 inch in 10 feet (25 mm in 3 m) from established line and grade.  Any variation shall be regular, and no abrupt changes in direction will be permitted.  Any pipe damaged or misaligned in jacking operations shall be removed and replaced by the contractor at no direct pay.

(b)

Boring:  Boring shall be done mechanically, using a pilot hole approximately 2 inches (50 mm) in diameter.  The pilot hole shall extend through the embankment and shall be checked for line and grade before boring begins.  Variations from line and grade shall not exceed those specified for jacking.  The pilot hole shall serve as centerline of the larger diameter hole to be bored.

The use of water and other fluids with boring operations will be permitted only to lubricate cuttings.  Jetting will not be permitted.

In unconsolidated soil formations, a gel-forming colloidal drilling fluid consisting of at least 10 percent high-grade, bentonite may be used to consolidate cuttings of the bit, seal walls of the hole, and furnish lubrication for subsequent removal of cuttings and installation of pipe.

Overcutting in excess of 1 inch (25 mm) shall be remedied by pressure grouting the entire length of the installation.

Pipe shall be joined as specified in Section 701.

728.04

MEASUREMENT.  Quantities of jacked or bored pipe for payment will be the design lengths as specified on the plans and adjustments thereto.  Design quantities will be adjusted if the engineer makes changes to adjust to field conditions, if plan errors are proven, or if design changes are made.  Required excavation, sheeting, bracing, falsework, casing, joint materials and grouting will not be measured for payment.

728.05

PAYMENT.  Payment for jacked or bored pipe will be made at the contract unit price per linear foot (lin m) under:

Item No.





Pay Item

Pay Unit
728-01



Jacked or Bored Pipe 

(Size, Type, Class or Thickness)
Linear Foot (Lin m)

Section 729

Traffic Signs and Devices
729.01

DESCRIPTION.  This work consists of furnishing and installing traffic signs, dead end road installations, markers and delineators, with accessories, posts and overhead spans of specified materials, sizes, shapes, weights and designs.

In general, the work and materials shall comply with the MUTCD as modified by these specifications or as shown on the plans.

Signs shall be fabricated in an approved plant.

The term "legend" shall mean border strip, letters, numerals and symbols which convey the message on signs.

729.02

MATERIALS.  Materials shall be new stock conforming to the following:

(a)

Sign and Marker Sheeting:  Sheeting material for sign panels, delineators, barricades and other markers shall comply with Section 1015.  All permanent signs shall meet the requirements of ASTM D 4956, Type III, except as follows:

Reflective sheeting for the permanent signs of Table 729-1 shall meet the requirements of DOTD Type VIII.

Table 729-1

Permanent Signs for Use With DOTD Type VIII Reflective Sheeting
	Sign
	MUTCD Number

	Stop
	R1-1

	Yield
	R1-2

	4-Way
	R1-3

	All Way
	R1-4

	Do Not Enter
	R5-1

	Wrong Way
	R5-1a

	Chevrons
	W1-8

	No Passing Zone Pennants
	W14-3

	Type 3 Object Marker
	OM-3 (Right & Left)

	Type 2 Object Marker
	-------

	Guardrail End Decals
	-------



(b)

Ferrous Metal:  Ferrous metals shall comply with Subsection 1015.02(a).  Reinforcing steel shall comply with Section 1009.  Ferrous metal, except reinforcing steel, shall be galvanized in accordance with Section 811.

(c)

Aluminum:  Aluminum alloys for structural members shall comply with Subsection 1015.02(b).  Aluminum sign panels shall comply with Subsection 1015.04(a).

(d)

Fittings:  Structural bolts, nuts, washers and miscellaneous hardware shall comply with Subsection 1015.02.

(e)

Guard Rail:  Guard rail materials for dead end road installations shall comply with Section 1010.

(f)

Timber:  Treated piling and timber for barricades in dead end road installations shall comply with Section 1014.

(g)

Concrete:  Concrete shall be Class M complying with Section 901.

(h)

Flexible Sign Posts:  Flexible posts for small signs, markers and delineators shall comply with Subsection 1015.03.

(i)

Silk Screen Paste:  Silk screen paste shall be as recommended by the sheeting manufacturer.

(j)

U-Channel Posts:  U-channel posts shall comply with Subsection 1015.02(a)(3).
729.03

GENERAL REQUIREMENTS.
(a)

Sign Face Fabrication:  Signs of Types A, B, D and E, overhead signs and sign face overlay panels shall be fabricated in accordance with the MUTCD, the "Standard Highway Signs" booklet, and the signing detail sheets of the plans.

The contractor shall furnish shop drawings of sign faces for Types D and E, overhead signs and sign overlay panels and for any non-standard sign faces of Types A and B not provided by the Department.  Approval of shop drawings shall be obtained before sign face fabrication is begun.

(b)

Sign Mountings Fabrication:  The contractor shall have the option of furnishing either steel or aluminum sign supports for both post mountings and overhead mountings and either rigid steel or flexible posts for small signs, markers and delineators.  Before beginning work, the contractor shall notify the engineer in writing of signing materials he proposes to furnish. The same signing materials shall be used throughout the project.

Fabrication of sign mountings shall conform to Section 807.  The contractor shall furnish fabrication and erection drawings of all sign mountings in accordance with Subsection 801.03 with the exception of standard roadside installations.  Fabrication and erection drawings will be approved only after approval of sign face shop drawings.  Neither fabrication 

of sign mountings nor construction of sign footings will be allowed before drawings are approved and distributed.

An approved damper is required for each aluminum truss.  Dampers shall be installed during truss fabrication and shall remain in place.

Structure mounted delineator and milepost assemblies shall be installed in accordance with plan details.

Welding shall comply with Section 815.

(c)

Material Sampling and Certification:
(1)

Sign Faces:  All materials used in the fabrication of sign faces will be sampled by the Construction Fabrication Inspector in accordance with Section 729 of the Materials Sampling Manual.  Project sign faces will be accepted by the Department's sign inspection team and will be certified by the Construction Fabrication Inspector.  Incidental sign faces will bear the stamp of the Construction Fabrication Inspector.

(2)

Sign Mountings:  All materials used in the fabrication of sign mountings will be sampled by the Construction Fabrication Inspector in accordance with Section 807 of the Materials Sampling Manual.  All approved sign mountings and supports will bear the stamp of the Construction Fabrication Inspector.

(3)

U-Channel Posts:  U-channel posts will be sampled either by the Project Engineer or the Construction Fabrication Inspector in accordance with Section 729 of the Materials Sampling Manual.  U-channel posts not certified by the Construction Fabrication Inspector will be sampled by the Project Engineer. 

729.04

FABRICATION OF SIGN PANELS AND MARKERS.
(a)

General:  The completed product shall have a surface free of cracks, blisters, blemishes, and wrinkles.

Metal fabrication including shearing, cutting and punching of holes shall be completed prior to surface treatment of metal and application of sheeting.  Metal panels shall be cut to size and shape and shall be free of buckles, warps, dents, cockles, burrs and defects resulting from fabrication.  Surface of sign panels shall be flat.

Splice plates joining sign panels shall not extend behind horizontal sills.  Flat aluminum panels shall be a nominal 0.080 inch (2 mm) thick.  Extruded aluminum panels shall be 12 inches (300 mm) wide and have a nominal face thickness of 0.125 inches (3 mm).

(b)

Surface Treatment:  Surface treatment shall be as specified herein or in accordance with approved recommendations of the reflective sheeting manufacturer.

(1)

Degreasing:

a.
Vapor Degreasing:  Panels shall be immersed in a saturated vapor of organic solvent.  Trademark printing shall be removed with lacquer thinner or a controlled alkaline cleaning system.


b.
Alkaline Degreasing:  Panels shall be immersed in a tank containing alkaline solutions, controlled and titrated to the solution manufacturer's specifications.  Immersion time shall depend upon amount of contaminants present and thickness of metal.

(2)

Etching:

a.
Acid Etch:  The panels shall be etched in a 6 to 8 percent phosphoric acid solution at 100°F (38°C).  The panels shall then be rinsed thoroughly with running cold water followed by hot water tank rinse.


b.
Alkaline Etch:  Etch precleaned aluminum surface in an alkaline etching material controlled by titration, using time, temperature and concentration specified by solution manufacturer.  Rinse thoroughly.  Remove smut with an acidic, chromium compound solution specified by solution manufacturer and thoroughly rinse.

(3)

Drying Panels:  Panels shall be dried with a forced hot air drier.  Panels shall be handled with clean canvas gloves or by other approved methods between cleaning and etching operations and sheeting application.  Cleaned panels shall be protected from grease, oil or other contaminants prior to application of reflective sheeting.

(c)

Sheeting Application:  Application of reflective sheeting shall be in accordance with the approved written recommendations of the sheeting manufacturer.  Sheeting shall be applied to sign faces in an orientation that will result in optimum retroreflectance, or as directed by the engineer.

Reflective sheeting shall be applied with no horizontal splices.  Reflective sheeting applied directly to extruded panels shall have no more than two vertical splices per sign, with no more than one vertical splice per individual panel.  When splices are used in this manner, only those that occur during, and as a part of , the manufacturing process will be allowed.  Fabricated splices will not be allowed.

DOTD Type VIII reflective sheeting shall be applied with an orientation determined by the engineer to obtain the optimum entrance angle performance.  Fabricated vertical splices in DOTD Type VIII reflective sheeting will be allowed only when the horizontal dimension of the sign face or attached shield is in excess of the maximum manufactured width of the sheeting.  Fabricated vertical splices in DOTD Type VIII reflective sheeting will also be allowed when the specified orientation will create excessive sheeting waste.

Sign faces comprised of two or more pieces of reflective sheeting shall be carefully matched for color at the time of sign fabrication to provide uniform appearance and brilliance, both day and night.  Alternate, successive width sections of either sheeting or panels shall be reversed and consecutive to ensure that corresponding edges of reflective sheeting lay adjacent on the finished sign.  Reflective sheeting splices and sign edges shall be sealed in accordance with the manufacturer's recommendations.  Legend shall be of the shape, size, dimension, and stroke specified in the MUTCD and sign face shop drawings.

Legend shall be applied by one of the following methods:

(1)

Direct Applied:  Legend shall be an adhesive coated reflective sheeting as specified in Subsection 1015.05.  Legend shall be applied in such manner as to provide a wrinkle-free surface.

(2)

Demountable:  Legend shall be an adhesive coated reflective sheeting as specified in Subsection 1015.05, permanently adhered to a 0.032-inch (0.8 mm) thick flat aluminum backing, except that route marker shields shall be 0.080-inch (2.0 mm) thick aluminum.  Aluminum shall be treated in accordance with Heading (b).  Legend shall be attached to sign face in such manner as to provide a smooth, flat surface.  Sign fabrication rivets that prohibit such application shall be removed and replaced through legend, or legend may be raised by approved spacers.  Legend shall show clean cut, uniform width of stroke and have essentially a plane surface.

(3)

Screened:  Legend shall be applied to sign faces by an approved screening process in accordance with the reflective sheeting manufacturer's recommendations.  Screen pastes shall be compatible with reflective sheeting and shall not reduce reflectivity of sheeting less than the values shown in Subsection 1015.05(c).  Completed screen surface shall be uniform in color, have sharp edges, be free of bubbles and blemishes, streaks or livered areas, and show good workmanship.

(4)

Overlay Film:  Legend shall be applied to the sign faces by an approved transparent electronic cuttable overlay film that is compatible with the reflective sheeting to which it is applied.  Application shall be in accordance with the recommendations of the manufacturer(s) of both the film and the reflective sheeting.  Areas covered by film shall have sharp edges, be free of bubbles and blemishes and show good workmanship.  This material shall be in accordance with Subsection 1015.07(c).  Direct or reversed application will be permitted.

(d)

Screening Process:  Screening of sign faces shall be in accordance with Subsection 1015.07(b).  Screening shall be by direct or reverse silk screen methods accomplished in the manner specified by the sheeting 

manufacturer.  Screening on sheeting may be accomplished either before or after application of sheeting to panels.

(e)

Packaging:  Before being packed, signs shall be allowed to stand for at least 12 hours after completion of screening.  Signs shall be slipsheeted and packed in such manner as to ensure their arrival at their destination in an undamaged condition.  Packaged signs shall not be permitted to become wet during storage or shipment.

729.05

CONSTRUCTION REQUIREMENTS.  When removal of existing signs is required, the contractor's sign removal operations shall be coordinated as directed with new sign construction to provide for adequate signing to be in place at all times.

(a)

Sign Location:  Sign support locations will be as shown on the plans or as directed.  Sign locations, after initial staking by the contractor, must be approved by the engineer.  Sign locations which are obviously improper because of topography, existing appurtenances or other conflicting conditions will be adjusted to the closest desirable location.  The contractor shall then determine elevations for post length determinations at the established sign support location.  The contractor shall be responsible for orientation, elevation, offset and leveling of signs.

(b)

Sign Positioning:
(1)

Overhead Signs:  Signs shall be constructed so that the top edge of the sign face is tilted towards oncoming traffic 3 degrees (approximately 1:20) from vertical and at right angles to the road, unless otherwise directed.

(2)

Road Edge Signs:  Road edge signs shall be constructed with sign faces vertical.  Sign faces located less than 30 feet (9 m) from the edge of travel lane shall be placed at a 93 degree angle from the center of the travel lane.  Sign faces located 30 feet (9 m) or more from the edge of the travel lane shall be placed at an 87 degree angle from the center of the travel lane.  Where the lanes divide or are on curves or grades, sign faces shall be oriented to be most effective both day and night and avoid specular reflection.

(3)

Delineator, Object Marker and Milepost Assemblies:  These assemblies shall be placed at least 24 inches (600 mm) beyond the outer edge of roadway shoulder, 24 inches (600 mm) beyond the face of curb, or in the line of guard rail.

(4)

Vertical and Horizontal Clearances:  Vertical and horizontal clearances shall be in accordance with the MUTCD and/or shall be as shown on the plans.
(c)

Sign Overlay Panels:  When specified, existing signs shall be completely overlaid with new sign panels placed over the existing sign face.  

No partially overlaid signs shall be allowed to remain exposed overnight.  Only one overlay shall be placed on a sign.  When an overlay is to be placed on an existing overlaid sign, the previous overlay shall be removed prior to placement of the new overlay.  Overlay panels shall conform to Section 729.04.  Raised legends shall be removed from the existing sign face prior to placing the overlay panel.  The size of the overlay panel shall not exceed the size of existing sign panel by more than 3 inches (75 mm) on any side.  Overlay panels shall be attached to the existing sign with rivets complying with Subsection 1015.02. Rivets shall be placed on 12-inch (300 mm) centers (maximum) along the perimeter of panel and at panel splices, and on 24-inch (600 mm) centers (maximum) both vertically and horizontally in interior portions of each panel.  Rivets shall be centered horizontally on panels less than 24-inch (600 mm) wide.  A 4 by 4-inch (100 mm by 100 mm) shim with a nominal 0.080-inch (2.0 mm) thick aluminum plate shall be placed between existing panel and overlay panel at interior rivet locations.  Shims cut from salvaged sign panels may be used.  The existing sign panels shall be kept reasonably flat during installation of the overlay panels.  Splice arrangement for overlay panels shall conform to the requirements for traffic sign blanks.

(d)

Excavation and Backfill:  The contractor shall perform excavation for sign installation to levels and dimensions shown on the plans, or as directed.  Excavation and backfill shall be performed in accordance with Section 802.

(e)

Footings:  Foundation piles, concrete, reinforcing steel and anchor bolt assemblies shall comply with Sections 804, 805, 806 and 807.

Posts for ground mounted delineator, object marker and milepost assemblies may be driven; no footings will be required.

(f)

Bolt Tensioning:  Slip plates for breakaway sign posts shall be assembled in the shop with high strength bolts tightened at a minimum bolt tension in accordance with Subsection 807.21.  After field installation, high strength bolts in the breakaway base connection shall be tightened to the specified minimum bolt tension.  The bolt tension in both the slip plate connection and the breakaway base connection will be checked by the engineer.  Bolt tensioning shall be corrected as required.

(g)

Cleaning and Clearing:  Prior to erection, sign faces shall be cleaned to allow adequate visibility of the sign.  Any clearing or tree trimming required to provide for full sign visibility shall be in accordance with the plans or as directed.  Trimming of trees of significant local interest shall be performed by a licensed arborist.

(h)

U-Channel Posts:  U-channel posts for ground mounted small signs, markers and delineators shall be driven vertically to a minimum depth 

of 3 feet (1 m) below natural ground using a suitable protective driving cap.

U-channel posts may be spliced where long lengths are required.  The upper section shall overlap the lower section by at least 24 inches (600 mm).  The bottom edge of the upper section of the splice shall be a minimum of 24 inches (600 mm) above the ground.  The spliced sections shall be secured with at least four 5/16 inch (8 mm) diameter hex head bolts spaced equally along the splice.

Splicing of U-channel posts will not be allowed when break-away footings are required.

729.06

DEAD END ROAD INSTALLATIONS.  Dead end road installations shall be of the specified type and located as shown on the plans.  Timber barricade type installations shall be constructed in accordance with Section 812 and the following requirements.  Timber piling shall be set in full depth holes and backfilled as directed or driven to required depth.  Steel posts for other type installations shall be driven with a suitable protective cap.  Piles and posts shall be vertical.  Guard rail shall be constructed in accordance with Section 704.

729.07

ACCEPTANCE OF SIGNS.  After the installation of signs is complete, the engineer or an authorized representative shall perform a daytime and nighttime inspection of the signs, sign faces, mounts, installations, hardware and matters relating to the requirements of this section.

After this inspection the engineer and the Department's Sign Inspection Team shall inspect for color match and for conformance to applicable plans, standards and project specifications.

Color match, uniformity and spacing of legend, specular glare, and sign type and design will be inspected for conformance to plans and specifications. When specular reflection is apparent on any sign, its positioning shall be adjusted by the contractor to eliminate this condition.  Signs shall be clean at the time of inspection.  Reflective sheeting shall be free of cuts, scratches, breaks or other defects which might allow moisture to infiltrate and damage reflective cells.  Nonstandard or otherwise unacceptable signs and traffic control devices shall be replaced or repaired as directed.  The contractor will be required to correct damage that is discovered at the time of the sign inspection.  When the damage was obviously caused by vandalism, the contractor will be paid for corrective work in accordance with Subsection 109.04.

In lieu of removing and replacing new sign faces that have been rejected, sign overlay panels complying with Subsection 729.05(c) may be used to 

correct the deficiencies at no direct pay.

729.08

MEASUREMENT.
(a)

Sign Faces and Overlay Panels:  Quantities for payment will be the design areas in square feet (sq m) of sign faces as specified on the plans and adjustments thereto.  Design quantities will be adjusted if the engineer makes changes to adjust to field conditions, if plan errors are proven, or if design changes are made.  Material used in blanks and backing incidental to the sign face will not be measured for payment. In determining the area of sign faces, no deductions are made for corner radii or mounting holes.  The area of octagonal signs and Interstate shields is computed as the area of its smallest rectangle or square.  The area of triangular signs is computed as the area of the triangle.

(b)

Post Mountings:  Post sign mountings, including breakaway supports, will be measured per each post.

(c)

Overhead Mountings:  Overhead sign mountings will be measured per each structure.

(d)

Delineator, Object Marker and Milepost Assemblies:  Delineator, object marker and milepost assemblies will be measured per each assembly.

(e)

Dead End Road Installations:  Dead end road installations will be measured per each installation.

(f)

Footings:  Concrete footings for overhead sign mountings will be measured per each footing.  Footings and aprons for post sign mountings will not be measured for payment.

(g)

U-Channel Posts:  U-channel posts will be measured per each unit installed when not part of an assembly.

(h)

Clearing or Tree Trimming:  Any clearing or tree trimming required by this section which is not provided for elsewhere in the contract will be included in the contract unit price for signs.

729.09

PAYMENT.
(a)

Sign Faces and Overlay Panels:  Payment for sign faces and overlay panels will be made at the contract unit price per square foot (sq m), which includes furnishing, fabricating and constructing the signs and furnishing necessary attaching devices.

(b)

Post Mountings:  Payment for post sign mountings will be made at the contract unit price per each, which includes furnishing, fabricating and constructing the support complete, ready for affixing signs, and includes required excavation, concrete and reinforcement for footings and aprons, and 

the sign mounting.  Payment for sign layout will be made in accordance with Section 740.

(c)

Overhead Mountings:  Payment for overhead sign mountings, including bridge fascia mountings, will be made at the contract unit price per each, which includes furnishing, fabricating and erecting the structure complete, ready for affixing signs, and the sign mounting.

(d)

Delineator, Object Marker and Milepost Assemblies:  Payment for delineator, object marker and milepost assemblies will be made at the contract unit prices per each, which includes posts.

(e)

Dead End Road Installations:  Payment for dead end road installations will be made at the contract unit price per each, which includes piling, posts, barricades, sign materials, reflectors, and any required guard rail.

(f)

Footings:  Payment for footings for overhead sign mountings will be made at the contract unit price per each, which includes excavation, piling, concrete, reinforcing steel, anchor bolt assemblies and backfill.  The concrete in footings will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-4 and Note 2 therein.   Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual.

(g)

U-Channel Posts:  Payment for U-channel posts will be made at the contract unit price per each which shall include all labor, equipment, tools, materials, and incidentals necessary to complete the work, including splicing of posts, and when required removing and remounting of existing signs, and mounting of new signs.

Payment will be made under:

Item No.






Pay Item


Pay Unit
729-01




Sign (Type A)



Square Foot (Sq m)

729-02




Sign (Type B)



Square Foot (Sq m)

729-03




Sign (Type C)



Square Foot (Sq m)

729-04




Sign (Type D)



Square Foot (Sq m)

729-05




Sign (Type E)



Square Foot (Sq m)

729-06




Sign (Overhead Mounted)

Square Foot (Sq m)

729-07




Sign (Overlay Panel)


Square Foot (Sq m)

729-08




Mounting (_______Size Post)
Each

729-09




Mounting (Overhead Truss)









(Ground Mounted)


Each

729-10




Mounting (Overhead Truss)









(Structure Mounted)

Each

729-11




Mounting (Overhead Cantilever)









(Ground Mounted)


Each

729-12 




Mounting (Overhead Cantilever)









(Structure Mounted)

Each

729-13




Mounting (Bridge Fascia Mounted)
Each

729-14




Delineator Assembly









(Ground Mounted)


Each

729-15




Delineator Assembly









(Structure Mounted)

Each

729-16




Object Marker Assembly

Each

729-17




Milepost Assembly









(Ground Mounted)


Each

729-18




Milepost Assembly









(Structure Mounted)

Each

729-19




Dead End Road Installations (Type)
Each

729-20




Footings for Overhead Mounting









(Type)




Each

729-21 




U-Channel Post



Each

Section 730

Electrical Systems
730.01

DESCRIPTION.  This work consists of furnishing all necessary equipment and materials, performing all necessary work and making any necessary modifications or fabrications required for a complete, operational and safe system in accordance with the plan details and these specifications.  The work shall also include furnishing and installing electrical equipment and materials required for air conditioning equipment, motors, controls, pumps and other appliances.  The plans and these specifications are supplemental to the applicable codes, manufacturer's instructions, and best prevailing construction trade practices.

730.02

EQUIPMENT AND MATERIALS.  Equipment and materials shall be suitable for the intended use and shall be furnished with all necessary hardware and components.

References to a specific manufacturer's name and/or catalog number is intended to denote the quality of the equipment or material and not to specifically exclude other acceptable products.  When specified model or catalog numbers are in conflict with descriptive specifications, plans or system compatibility, the descriptive specifications, plans, or system compatibility shall govern.

Except for those products designated as fabricated or those that are no longer produced, all specified products shall be manufactured by companies that are regularly engaged in the production of the specified products.

The products specified shall be specifically designed, tested and manufactured for the purpose for which they will be used.  Modification of equipment for other than design purposes will be permitted only when no currently manufactured products meet the specifications.

All equipment and materials shall be new.  Like equipment and materials shall be made by the same manufacturer.

The item descriptions and specifications do not necessarily include or define everything necessary for a complete and operational item.  When required, the contractor shall provide any modifications, fabrications, extra hardware, and equipment necessary for the satisfactory installation and operation of the system to coordinate with other items or conditions at no direct pay.


Materials shall comply with the following Sections and Subsections:

Backfill






203.06(b) & 1003.07

Portland Cement Concrete (Class M)

901

Reinforcing Steel




1009

Timber






1014

Anchor Bolts, Nuts and Washers

1015.02(c)(1)

Stainless Steel Hardware



1018.08(c)

Conduit






1018.09

Electrical Conductors



1018.10

730.03

CONTRACTOR REVIEW.  The drawings are diagrammatic and do not show the exact location and size of equipment.  The contractor shall coordinate the work to avoid interference and conflicts.  The work shall comply with the applicable requirements of the latest National Electric Code, National Electrical Safety Code and U.L. Standards except where superseded by applicable laws.  The contractor shall check mounting space, equipment dimensions, and installation requirements before ordering equipment.  The contractor shall establish the electrical circuit requirements of all equipment to be served before ordering material.  Where circuits are to serve specific appliances, equipment or feeders, the contractor shall verify the electrical requirements and the exact location of connection before installing the service to the equipment.

730.04

DRAWINGS AND EQUIPMENT SUBMITTALS.  The contractor shall submit to the Bridge Design Engineer for approval shop drawings, working drawings and equipment brochures for all required equipment and materials.  Nine prints of each drawing shall be supplied.  Drawings submitted shall show construction details, dimensions, and ratings.  Each sheet of every submittal shall be identified with the state project number, project name, fabricator's or manufacturer's name, and contractor's name.  Drawings and submittals shall measure 8 1/2 inches x 11 inches (216 mm by 279 mm) or 22 inches x 34 inches (560 mm by 863 mm).  Corrections and/or comments made on submittals are not intended to relieve the contractor from compliance with the contract documents.  The review and approval of drawings and equipment submittals are to assure that the quality of the equipment and materials meet the requirements of the contract documents.

Approval of the brochures and drawings does not imply that the equipment described is complete, can be constructed or installed, will operate successfully, or will coordinate with existing or other equipment specified.  

The contractor shall remain responsible for confirming and correlating all quantities and dimensions; for selecting fabrication processes and construction techniques; for coordination of the work; for performing the work in a safe and satisfactory manner; and for satisfactory installation and operation of equipment.

(a)

Working Drawings:  Before beginning construction, the contractor shall submit for approval a complete set of working drawings for the project.  The intent of the working drawings is to provide the extra detail necessary to communicate the exact scope and details of construction.  The drawings are also intended to resolve all potential conflicts between subcontractors, equipment compatibilities and equipment mountings.  When the contract drawings are of sufficient detail, the contractor may request approval to use the contract drawings as working drawings.  However, any errors on the working drawings are the responsibility of the contractor.  The engineer may require the contractor to submit additional details to resolve conflicts or ambiguities which arise during construction.

(b)

As-Built Drawings:  Upon completion of the project, the contractor shall furnish one set of plans which reflect the final as-built condition of the electrical portion of the project.  The drawings shall reflect the plan or field changes and shall include a complete equipment list showing each manufacturer's name and catalog or shop drawing number for each piece of equipment furnished.  The drawings shall show the exact location of the underground wiring, light poles, junction boxes, under roadway crossings, service poles, controllers and conduits or cables.  Complete schematic and wiring diagrams shall also be required.  Light poles shall be located by station number.  Underground equipment shall be located by dimensioning to fixed objects.  Drawings shall be photographic reproductions on 0.004 inch (0.1 mm) thick translucent polyester film matte surfaces on both sides.  Film shall have a laser image of a permanent type, properly fused which will not rub or flake off.  The image shall be on the front face of the sheet and shall produce satisfactory prints.  Additions or changes shall be made with a permanent type waterproof black ink made for this purpose.  Electrostatic processes will not be acceptable.   Drawings shall measure 22 inches x 34 inches (560 mm by 863 mm) and have a title block showing project number, name, parish, contractor and date.

730.05

MAINTENANCE AND OPERATION INSTRUCTION BOOKLETS.  Maintenance and operation instruction booklets shall comply with Subsection 801.03(e)(2).

730.06

SYSTEM TESTING.  The contractor shall furnish all testing equipment and conduct the tests required by the plans and specifications.  A copy of the test results shall be provided to the engineer.

(a)

Performance Tests:  Equipment shall be given a minimum two week performance test before final acceptance.  The performance test shall allow for the normal operation of the equipment during the testing period.  When the normal operation is insufficient to adequately test the equipment, artificial cycling or continuous "on" periods will be required.  The contractor shall correct any defective equipment, materials and workmanship.

(b)

Receptacle Tests:  After completion of the electrical system, the contractor shall test each receptacle for proper polarity and continuity of the ground.

(c)

Special Tests:  The contractor shall conduct special tests when equipment or systems are suspected of improper operation, or when additional data is necessary to determine proper operation.

(d)

Insulation Tests:  The contractor shall conduct insulation resistance tests on all direct buried conductors and all other A.W.G. No. 10 and larger conductors.  Tests shall be made after the conductors are installed and before connecting equipment that may be damaged by the tests.  Readings below 50 megohms, when measured with a 1000 volt D.C. insulation tester, will be considered defective.

730.07

ELECTRICAL SERVICE.  The contractor shall make arrangements with the power company for temporary and permanent electrical service and shall verify the exact location and points of attachment before installation.

(a)

Temporary Service:  Temporary electrical service, including power usage and installation shall be at no direct pay.

(b)

Permanent Service:  The Department will pay the power company for line extensions when the charges are not the result of contractor errors or failure to verify or coordinate with the power company.

(c)

Power Usage:  Power usage during construction and testing shall be at no direct pay.

730.08

MEASUREMENT.
(a)

Trenching and Backfilling:  Trenching and backfilling will be measured by the linear foot (lin m) of trench excavated and backfilled, which will include excavation, backfilling, and any required compaction.

(b)

Conduit with Conductors:  Conduit with conductors will be measured by the linear foot (lin m) of conduit which will include furnishing 

and installing conduit, conductors, clamps, fittings, flexible metal conduit, and miscellaneous hardware required for conduit installation.

(c)

Conductors in Existing Conduit:  Conductors will be measured by the linear foot (lin m) of conductors furnished and installed, which will include connectors, terminations and wire markers.

(d)

Conduit:  Conduit will be measured by the linear foot (lin m) of conduit which will include furnishing and installing conduit, clamps, fittings, flexible metal conduit, and miscellaneous hardware required for conduit installation.

(e)

Jacked or Bored Casing:  Jacked or bored casings will be measured by the linear foot (lin m) of casing furnished and installed, which will include the casing, duct markers, fittings, and required excavation and backfill.

(f)

Light Pole:  Light poles will be measured per each pole furnished and installed which will include the pole, decals, ownership plate, wiring and connections to circuit conductors, base assembly, grout and oxide-inhibiting compound.  Measurement for ground mounted poles will also include the concrete foundation, concrete apron, underground junction boxes in apron, anchor bolts, reinforcing steel, conduits in foundation, ground rod, ground wires, ground clamp, excavation, backfill, and disposal of excess excavated material.

(g)

Relocate Light Poles:  Relocation of existing light poles will be measured per each pole, which will include disconnection of the wiring at the source; the removal or abandonment of underground wiring to the pole; the removal and storage of existing pole and luminaire; the complete removal and disposal of existing foundation and apron; the backfilling of existing foundation void; the re-installation of the existing pole and luminaire; the construction of a new foundation with apron; the installation of new ground rod, fused connectors, and pole wiring.

(h)

Removal and Storage of Light Poles:  Removal of existing light poles will be measured per each pole, which will include the disconnection of wiring at the source; the removal and transporting of the pole to the District compound; the furnishing of 6 inch by 6 inch (150 mm by 150 mm) creosote timbers, and the stacking of the standards as directed.

(i)

Removal and Disposal of Light Pole Foundations:  Removal of existing light pole foundations will be measured per each foundation, which will include the removal and disposal of the complete concrete foundation and apron; the backfilling to grade of all voids; and the removal or abandonment of underground wiring to the pole.

(j)

High Mast Poles:  High mast poles will be measured per each pole 

furnished and installed, which will include the pole, luminaire ring, lowering assembly, drive assembly, grounding, wiring, electrical connections, fuses, mounting hardware, and grout.  Measurement for ground mounted poles will also include the concrete foundation, anchor bolts, reinforcing steel, conduit in foundation, ground rod, excavation, backfilling, disposal of excess excavated material, and all hardware and appurtenances required for a complete installation.

(k)

Luminaire:  Luminaires will be measured per each which will include the luminaire, ballast, lamp, fuse, lightning arrestor, mounting, connections and hardware.

(l)

Removal and Disposal of Luminaires:  Removal and disposal of existing luminaires will be measured per each luminaire, which will include removal and the disposal of the luminaire and lamp.

(m)
Electrical Service Points:  Electrical service points will be measured per each which will include pole, controller assembly, footing, anchor bolts, ground rod, conduits in footing, rigid conduit and conductors on utility company pole connections, hardware, and all equipment as shown on the plans.

(n)

Electrical System:  Electrical system will be measured on a lump sum basis, which will include furnishing and installing all equipment and apparatus, and performing all work required for a complete and operational electrical system.

(o)

Fabricated Light Pole Supports:  Fabricated light pole supports will be measured per each, which will include fabrication and installation of the support, concrete anchors, anchor bolts and nuts, and grout.

(p)

Underground Junction Box:  Underground junction boxes will be measured per each box installed, and will include the box, cover, concrete pad, rigid steel conduits, ground rod bonding, splices, and any material and equipment required for a complete installation.

(q)

Structure Junction Box:  Structure junction boxes will be measured per each box installed, and will include the box, cover, mounting hardware, shims, terminal blocks, fittings, bonding, and any material and equipment required for a complete installation.
(r)

Service Pole:  Service poles will be measured per each, and will include the pole conduit and conductors on pole, fittings, conduit clamps, ground rod, hardware, and all equipment as shown on the plans.

(s)

Removal and Disposal of Electrical Equipment:  The removal of existing electrical equipment as indicated on the plans will be measured as a lump sum, which will include the disconnecting of wiring at the source, the removal of exposed conduit and wiring, and the removal of associated 

electrical equipment.  Measurement for outside systems will include the removal of structure mounted conduit, wire clamps, junction boxes, and underpass luminaires; the removal of service poles and equipment; the removal of conduit risers and the demolition of underground manholes to 24 inches (600 mm) below grade; the removal of underground junction boxes; the back filling to grade of all voids; and the disposal of material and equipment declared not salvageable.

730.09

PAYMENT.  Payment for electrical work will be made at the contract unit prices. The concrete in foundations for light poles, high mast poles, and other electrical equipment will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-4 and Note 2 therein. Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual. 

Payment will be made under:

Item No.





Pay Item


Pay Unit
730-01




Trenching and Backfilling

Linear Foot (Lin m)

730-02




Conduit with Conductors









(Size and Type)


Linear Foot (Lin m)

730-03




Conductors in Existing Conduit 









(Size and Type)


Linear Foot (Lin m)

730-04




Jacked or Bored Casing 









(Size and Type)


Linear Foot (Lin m)

730-05




Light Pole (Size and Type)

Each

730-06




High Mast Pole (Size and Type)
Each

730-07




Luminaire (Size and Type)

Each

730-08




Electrical Service Point (Type)
Each

730-09




Electrical System


Lump Sum

730-10




Fabricated Light Pole Support

Each

730-11




Removal and Disposal of Electrical









Equipment



Lump Sum

730-12




Removal and Storage of Light Poles
Each

730-13




Removal and Disposal of Light 









Pole Foundations


Each

730-14




Removal and Disposal of Luminaires
Each

730-15




Relocate Light Poles


Each

730-16




Underground Junction Box (Size)
Each

730-17




Structure Junction Box (Size)

Each

730-18




Service Pole



Each

Section 731

Raised Pavement Markers
731.01

DESCRIPTION.  This work consists of furnishing and placing raised pavement markers in accordance with plan details.

731.02

MATERIALS.
(a)

Markers:  Markers shall comply with Subsection 1015.09.  The same product shall be used throughout the project.  Markers shall be the specified class, type, color, size and shape.

(b)

Adhesive:  Markers shall be placed with bituminous adhesive on asphaltic surfaces and epoxy adhesive on portland cement concrete surfaces.

(1)

Epoxy Adhesive:  Epoxy adhesive shall be Type V epoxy resin system complying with Subsection 1017.02.  Epoxy components shall be mixed in equal parts by volume.  Adhesive shall be mechanically mixed and dispensed, unless hand methods are permitted.

(2)

Bituminous Adhesive:  Bituminous Adhesive shall comply with Subsection 1015.09(c)(2).

731.03

CONSTRUCTION REQUIREMENTS.
(a)

Weather Limitations:  Markers shall not be applied when there is moisture on the surface.

(1)

Epoxy Adhesive:  When a normal set adhesive is used, application of markers will not be permitted at ambient air temperatures less than 50°F (10°C).  When a rapid set adhesive is used, application of markers will be permitted at ambient air temperatures between 35°F (2°C) and 50°F (10°C), provided adhesive is adequately heated to obtain proper viscosity for mixing and application, and provided adhesive is identified as a rapid set type on container labels and Certificates of Delivery.

(2)

Bituminous Adhesive:  Markers shall be applied when the ambient air temperature is 50°F (10°C) or greater.

(b)

Cleaning of Surfaces:  Surfaces on which markers are to be applied shall be cleaned of all materials that may reduce the bond of adhesive. Surfaces shall be cleaned by blast cleaning or other approved methods which do not damage the surface; however, blast cleaning equipment shall be provided with positive cutoff controls.  Surfaces shall be maintained in a clean dry condition until placement of markers.

(c)

Application of Markers:  Surfaces on which markers are to be 

placed shall be blown dry immediately prior to marker placement.  Markers shall be applied to surfaces with adhesive in accordance with the manufacturer's recommendations.

(1)

Epoxy Adhesive:  Mixed adhesive shall have a uniformly grey color with no streaks of either black or white on the surface or within mixed adhesive.  Voids in a cured undisturbed sample approximately 1/16 inch (2 mm) thick from the extrusion nozzle shall not exceed 4 percent by volume.  Machine mixer and applicator shall be capable of accurately and uniformly proportioning the two components in a 1 to 1 ratio within 5 percent by volume of each component (i.e., within 47.5 to 52.5 percent for each component).  Periodic checks of proportioning equipment shall be made to determine the actual ratio of components.  This shall be done by placing containers in front of the mixing chamber and measuring the actual volume of each component.  Equipment shall be arranged so it is possible to bypass the mixer to perform these periodic checks.  Temperature of adhesive shall be maintained between 70°F (21°C) and 110°F (43°C) before mixing.  The temperature shall be adjusted to prevent excessive flow of epoxy from the marker when installed. The area of the epoxy adhesive bed shall be equal to the bottom area of marker.  Adhesive shall be applied in sufficient quantity to cause excess adhesive to be forced out around the perimeter of the marker.  Voids in markers with an open grid pattern on bottom shall be filled with adhesive immediately prior to placement.

(2)

Bituminous Adhesive:  The adhesive shall be heated and melted in either thermostatically controlled double boiler type units utilizing heat transfer oil or thermostatically controlled electric heating pots.  The melter/applicator unit shall be suited for both melting and pumping application through heated applicator hoses.  The adhesive shall be heated to between 375°F and 425°F (190°C and 220°C) and applied directly to the pavement surface from the melter/applicator by either pumping or pouring.  The area of the bituminous adhesive bed shall be a minimum of 6 inches (150 mm) in diameter.  Markers shall be applied to the adhesive within 10 seconds. The marker shall be placed in the adhesive bed by applying downward pressure until the marker is firmly seated.  Adhesive on exposed surfaces of markers shall be immediately removed with soft rags moistened with mineral spirits or kerosene.  Markers shall be protected against impact until the adhesive has hardened.  The adhesive may be reheated and reused; however, the pot life at application temperatures shall not be exceeded.

731.04

MEASUREMENT.  Raised pavement markers will be measured by counting the number of markers furnished, placed, and accepted.

731.05

PAYMENT.  Payment for raised pavement markers will be made at the contract unit prices per each under:

Item No.






Pay Item


Pay Unit
731-01



Nonreflectorized Raised Pavement Markers
Each

731-02



Reflectorized Raised Pavement Markers
Each

Section 732

Plastic Pavement Markings
732.01

DESCRIPTION.  This work consists of furnishing and placing reflective pavement markings of hot applied thermoplastic or preformed cold applied plastic at the locations shown on the plans or as directed, in compliance with the MUTCD, plan details and these specifications.

732.02

MATERIALS.
(a)

Thermoplastic Markings:  Thermoplastic marking material shall be a plastic compound reflectorized by internal and external application of glass beads, complying with Subsections 1015.10 and 1015.13, respectively.  Width and color of markings shall be as specified.

Thermoplastic material shall be delivered in containers of sufficient strength to permit normal handling during shipment and transportation without loss of material.  Approved heat-degradable containers that can be placed in heating kettles along with the plastic material will be permitted.  Each container shall be clearly marked to indicate color of material, process batch number, name of manufacturer and date of manufacture.  Glass beads used in drop-on application to molten plastic shall be shipped in sacks of multiply paper or burlap, both with a polyethylene liner.  The sacks shall be strong enough to permit handling without damage, and have a capacity of 50 pounds (23 kg) of beads.  Sacks shall be sufficiently water-resistant so that beads will not become wet or caked in transit.

(b)

Preformed Plastic Markings:  Preformed plastic markings shall comply with Subsection 1015.11.

732.03

CONSTRUCTION REQUIREMENTS.
(a)

Equipment for Thermoplastic Markings:  Material shall be applied to pavement by either spray or extrusion methods.  Equipment shall provide continuous mixing and agitation of material.  Conveying parts of equipment between main material reservoir and discharge mechanism shall prevent accumulation and clogging.  Parts of equipment which come in contact with the material shall be easily accessible for cleaning and maintaining.  Mixing and conveying parts shall maintain material at the application temperature.  Equipment shall be capable of producing continuous uniformity in dimensions of stripes.  Equipment shall be capable of producing various widths of traffic markings.  Glass beads shall be applied to the molten 

surface of completed stripes by an automatic bead dispenser attached to the striping machine in such manner that beads are dispensed simultaneously with the thermoplastic material at a controlled rate of flow on installed lines.  The glass bead dispenser shall be equipped with an automatic cutoff control synchronized with cutoff of thermoplastic material.  Kettles to hold a minimum of 1,000 pounds (450 kg) of material shall be provided for melting and heating thermoplastic material.  Kettles shall be equipped with automatic temperature control devices so that heating can be done by controlled heat transfer liquid rather than direct flame, to provide positive temperature control and prevent overheating of material.  Applicators and kettles shall be equipped and arranged to comply with requirements of the National Board of Fire Underwriters.  Applicators shall be maneuverable to the extent that straight lines can be followed and normal curves can be made in a true arc.  Applicator equipment shall consist of a motorized mobile unit capable of installing traffic stripes either left or right of applicating unit so that only one lane of traffic will be occupied during installation.

Applicators shall produce sharply defined lines and provide means for cleanly cutting off stripe ends and applying broken lines.  The applicator unit shall have a tachometer or other approved device to insure uniform application at the required rate.  It shall be adjustable for applying 1, 2, or 3 adjacent lines simultaneously at the specified spacing.  The ribbon extrusion die or shaping die shall not be more than 2 inches (50 mm) above the roadway surface during application.

(b)

Weather Limitations:  Application of markings will not be permitted when there is excessive pavement moisture or when the surface temperature or ambient temperature is below 50°F (10°C).  The pavement shall be considered excessively moist when it is visibly wet or when a 1 square foot (0.1 sq m) piece of polyethylene film condenses moisture after being placed on the pavement surface for 15 minutes.

(c)

Cleaning of Surfaces:  Surfaces on which markings are to be applied shall be cleaned of materials that may reduce adhesion of the thermoplastic marking materials to the pavement.  Cleaning shall be done by blast cleaning or grinding.  Surfaces shall be kept clean until placement of markings.

Existing thermoplastic markings on the roadway that are not flaking or peeling do not require removal prior to placement of new thermoplastic markings.  When thermoplastic markings will replace the existing painted markings, the existing painted markings do not require removal prior to applying new thermoplastic markings, provided the existing painted markings are not flaking or peeling.

Existing lane line pavement markings on bridges shall be removed prior to applying new markings.

When preformed plastic markings will replace any of the existing markings, the existing markings shall be removed prior to applying the preformed plastic markings.

Removal shall be accomplished by methods which will not damage the pavement or bridge deck.  Removal shall be to such extent that 75 percent of the pavement surface or bridge deck under the markings is exposed.  At the end of each day's operations, temporary pavement markings complying with Section 713 shall be placed in areas where existing markings have been removed and new markings not placed.  Temporary pavement markings shall be satisfactorily removed prior to resuming plastic striping operations.

(d)

Application of Markings:  Material shall be installed in specified widths from 4 inches to 24 inches (100 mm to 600 mm).  Finish lines shall have well defined edges and be free of waviness.  Measurements shall be taken as an average through any 36-inch (900 mm) section of line.  Longitudinal lines shall be offset approximately 2 inches (50 mm) from longitudinal joints.  A tolerance of +1/2 inch and -1/8 inch (+13 mm and -3 mm) from the specified width will be allowed, provided the variation is gradual.  Segments shall square off at each end without mist or drip.  Transverse variations from the control device up to 1 inch (25 mm) will be allowed provided the variation does not increase or decrease at the rate of more than 1/2 inch in 25 feet (15 mm in 10.0 m).  Lines not meeting these tolerances shall be removed and replaced at no direct pay.

(1)

Thermoplastic Markings:  Thickness of material, not including drop-on beads, shall be not less than 90 mils (2300 µm) for lane lines, edge lines and gore markings and not less than 125 mils (3200 µm) for crosswalks, stop lines, and word and symbol markings.  When striping over existing painted stripe, old bleached asphalt, on all portland cement concrete surfaces, or on all surfaces when ambient temperatures are below 70°F (20°C), a binder sealer shall be used and installed as recommended in writing by the thermoplastic material supplier.

Thermoplastic material shall be applied either by extrusion at 390°F and 450°F (200°C and 230°C) or by spray at 410°F and 450°F (210°C and  230°C).  Immediately after application of the markings, glass beads shall be applied at a minimum rate of 300 pounds per mile (85 kg/km).  Material shall not scorch or discolor when kept at this temperature range for 4 hours.

(2)

Preformed Plastic Markings:  Plastic material shall be applied by removing release paper and applying adequate pressure to ensure proper adhesion.  Material not adhering properly shall be satisfactorily corrected at 

no direct pay.

(e)

Construction Requirements for Inverted Profile Thermoplastic Marking Material:
(1)

Equipment:  The application equipment shall be specially designed for placing hot thermoplastic material in a hot molten state on the pavement surface utilizing a pressure type application method.  The hot thermoplastic line shall be formed by a thermoplastic die that is allowed to drag along in proximity with the road surface.  The die is pulled forward by a special linkage that will allow it to automatically level itself as to float and remain parallel with the road surface.  The traffic stripe shall be formed by reason that the hot thermoplastic is forced under pressure through four sides of the thermoplastic die onto the road surface.  The top of the die shall be enclosed and provide entry means for the hot molten thermoplastic to enter the die cavity.  The bottom of the die shall contain a movable door that is remote controlled so as to start or stop the flow of thermoplastic onto the pavement surface.  When the movable door is open, thermoplastic can flow through the die and will apply a thermoplastic line that will be formed rearward of the advancing die.  The road surface shall be at the bottom of the die enclosure.  Thermoplastic shall be fed to the die under pressure through flexible oil-jacketed stainless steel hoses.  The thermoplastic must be either pumped or fed from a pressure vessel to the die under pressure in order to obtain the proper adhesion with the road surface.

The thermoplastic extrusion die shall incorporate within the same housing a special curtain coater, low pressure drop-on type glass bead gun, (bead coat No. 1).  The pressure extrusion die and curtain coat bead gun shall be a single unit that is oil-jacketed on four (4) sides and is formed from a single solid block of steel.  This glass bead gun shall dispense glass beads onto the hot thermoplastic line from a height of approximately 1 inch (25 mm) above the road surface.  The point at which the glass beads strike the surface of the stripe shall not be more than 2 3/4 inches (70 mm) behind the strike point of the thermoplastic itself.  This reflective bead coat No. 1 shall utilize Class A glass beads as specified herein, and shall provide a surface coating of 50 percent of the thermoplastic line surface.  Of this 50 percent line coverage, at least 50 percent of the beads will be embedded to a depth of 60 percent of their diameter.  This will lock the glass beads into the hot molten thermoplastic stripe.  This coating of glass beads will provide the permanent long term reflectance of the line stripe.  Care must be taken that the rate of application for bead coat No. 1 to be as specified.  Too many beads will cause a rapid cooling of the surface of the stripe which will lead to premature bond failure of the glass beads from the in-place stripe.  Too few beads will result in 

poor initial reflectance readings.

A second curtain coater, low pressure drop-on type glass bead gun capable of applying a continuous sheet or ribbon of glass beads shall follow at an interval of approximately 10 inches (250 mm) behind the first bead gun.  This second glass bead gun shall apply bead coat No. 2 which will form a continuous drop-on coat of Class B glass beads immediately in front of the line profiling device.  This second curtain coat of glass beads shall have a low impact speed so that they are not forced into the stripe under pressure.

A special rotatable wheel line profiling device shall be located approximately 8 inches (200 mm) behind bead gun No. 2.  This rotatable wheel device shall be approximately 7 inches (175 mm) in diameter and shall have a plurality of spaced projections located around its circumference.  The line profiling device shall be wider than the line stripe being applied in order that the line shall be adequately covered.  The projections on the rotatable line profiling device shall have an angular line profiling surface set at an angle to the pavement surface.  The rotatable line profile device shall be mounted with an automatic leveling device to the same carriage assembly as the thermoplastic gun.  This is required so that a traffic stripe of accurate and uniform line definition can be obtained.  Using rollers to place grooves in the traffic stripe utilizing a separate vehicle or grooves that are not pressed within one (1) second of thermoplastic material application will not be allowed under this specification.  It is the intent of this specification that inverted profile grooves be pressed into the hot molten thermoplastic stripe within one (1) second of the thermoplastic application in order to insure proper bead adhesion to the stripe.  To insure that no hot thermoplastic adheres to the wheel as it rotates and profiles the stripe, a small air atomizer water jet shall apply a thin mist coat of water to the rotatable profile wheel.  It is the intent of this specification that a minimum amount of water be used and that no water puddles greater than 1/4 inch (6 mm) in diameter be allowed to accumulate on the pavement surface in proximity to the freshly placed stripe.  Excess water on the pavement surface can cause bond failure of the thermoplastic material.

All parts of the thermoplastic holding tank including manifolds, hoses, pipes, dies, etc., shall be oil-jacketed to insure accurate temperature control.  The thermoplastic material shall be preheated in kettles designed specifically for that purpose.  Each kettle of preheated thermoplastic material shall be properly mixed and heated to the correct application temperature.  The preheated material shall then be fed to the thermoplastic gun for application.

The striper unit shall contain enough glass beads and water to apply one full kettle of thermoplastic.

(2)

Cleaning of Pavement Surface:  All pavement areas to be 

striped shall be thoroughly cleaned using equipment capable of cleaning without damaging the surface.  This will include, but not be limited to, all vegetation, loose soil, oils, and other debris.  Striping shall follow as closely as practical after the surface has been cleaned.

(3)

Application Over Existing Striping:  Where so shown on the plans or directed, the existing traffic line stripe shall be removed by grinding.

When placing Inverted Profile Thermoplastic Stripe on existing asphalt pavement that has more than one existing light coat of striping material, the existing stripe shall be removed to the point that 80 percent of the pavement surface is visible.

When placing Inverted Profile Thermoplastic Stripe on portland cement concrete, no existing stripe or curing compound shall be striped over.  Concrete surfaces shall be ground to the point that 80 percent of the pavement surface is visible.

Removal of existing stripe will be paid for as a separate item of work.

Where unsatisfactory striping performed by the contractor must be removed and replaced in accordance with these specifications, the contractor shall use the removal method described above.  No payment will be made for removal or replacement of the contractor's unsatisfactory striping.

(4)

Surface Conditions:  When placing Inverted Profile Traffic Stripe, no striping shall be permitted when the surface temperature is less than 60°F (16°C).  A noncontact infrared pyrometer shall be supplied by the contractor for use by the engineer for temperature verification.  To prevent the rapid cooling of the freshly placed line, no striping shall be performed when there is moisture on the pavement surface or when winds exceed 12 mph (19 km/h).  After hard rains, even though no moisture is visible, portland cement concrete surfaces can hold water.  When unseen moisture is suspected to be present, a moisture test shall be performed.  The test shall be as follows:

a. Place a piece of tar paper on the pavement surface.

b. Pour 1/2 gallon (2 L) of thermoplastic onto the paper.

c. After two (2) minutes, lift the paper and inspect to see if moisture has been drawn from the pavement.

d. If moisture is present, do not proceed with striping until the surface is moisture free.

Documentation of weather and pavement conditions shall be maintained by the contractor and supplied to the engineer on the approved DOTD form.

(5)

Application:  The thermoplastic material shall be preheated and thoroughly mixed at an application temperature of between 400°F (200°C) minimum and 430°F (220°C) maximum.  A digital thermometer complete with a 24-inch (600 mm) probe shall be supplied by the contractor to the 

engineer for temperature verification.

When measured at the highest point of the profile, the cold thickness of the in place thermoplastic stripe shall be a minimum of 0.140 inch (4 mm) for Inverted Profile markings.  The thickness of the thermoplastic in the bottom of the profiles shall range from .025 - .050 inch (0.65 mm to 1.25 mm).  The individual profiles shall be located transversely across the traffic stripe at intervals of approximately 1 inch (25 mm).  The bottoms of these intervals shall be between 3/32 and 5/16 inch (2.5 mm and 8 mm) wide.  In order to drain water and to reflect light, it is normal for the top surface of the Inverted Profiles to be irregular.  The rate of thermoplastic application for Inverted Profile thermoplastic shall be a minimum of 1,800 lb per mile (507 kg/km) for a 4-inch (100 mm) solid traffic stripe.

The glass bead application rate for Class A glass beads (bead coat No. 1) shall be 200 lb per mile (56 kg/km) of 4-inch (100 mm) solid traffic stripe.

The glass bead application rate for Class B glass beads (bead coat No. 2) shall be 200 lb per mile (56 kg/km) of 4-inch (100 mm) solid traffic stripe.

The thickness of the striping materials shall be verified periodically (at least every 1/4 mile (400 m)) and any thickness more than 5 percent under the designated thickness shall be reworked.  A consistent, uncorrected underrun will not be allowed and the contractor will be required to install the specified minimum thickness of 0.140 inch (4 mm).  A wet thickness gauge and cold thickness gauge shall be supplied by the contractor to the engineer for film thickness verification.

When striping over existing painted stripe, old bleached asphalt, on all portland cement concrete surfaces, or on all surfaces when ambient temperatures are below 70°F (20°C), a two component epoxy primer sealer shall be used and installed as recommended in writing by the thermoplastic material supplier.  The epoxy primer sealer shall be EX255/EX256 as manufactured by Crown Paint Company of Oklahoma City, Oklahoma or approved equal.  The contractor shall supply certification of compatibility of the primer sealer used with the thermoplastic material applied.  If an alternate epoxy primer to the EX255/EX256 is used, the contractor shall supply a mill analysis and proof of adequate performance of the alternate epoxy primer when used with thermoplastic pavement markings.

732.04

MEASUREMENT.
(a)

Plastic Pavement Striping:  Plastic striping will be measured by the linear foot (lin m) or mile (km), as specified.

(1)

Linear Foot (Lin m):  Measurement will be made by the linear foot (lin m) of striping, exclusive of gaps.

(2)

Mile (km):  Measurement will be made by the mile (km) of single stripe.  No deduction will be made for standard 30-foot (9 m) design gaps in broken-line striping; however, deductions will be made for the length of other gaps or omitted sections.

(b)

Plastic Pavement Legends and Symbols:  Plastic legends and symbols will be measured per each legend or symbol.  Symbols shall include all letters, lines, bars or markings necessary to convey the message at each location.

(c)

Removal of Existing Markings:  Removal of existing markings will be measured by the mile (km) and will include removal of lane lines, edge lines, gore markings, symbols and raised traffic markings for the full roadway and shoulder width.

732.05

PAYMENT.  Payment for plastic pavement markings and removal of existing markings will be made at the contract unit prices under:

Item No.





Pay Item


Pay Unit
732-01


Plastic Pavement Striping 







(    inch (__mm) Width)


Linear Foot (Lin m)

732-02 


Plastic Pavement Striping (Solid Line) 







(    inch (__mm) Width)


Mile (km)

732-03 


Plastic Pavement Striping (Broken Line)







(    inch (__mm) Width)


Mile (km)

732-04


Plastic Pavement Legends and Symbols 







(Type)






Each

732-05


Removal of Existing Markings

Mile (km)

Section 733

Concrete Roadway Barriers
733.01

DESCRIPTION.  This work consists of furnishing and constructing concrete barriers for roadways.  Barriers may be precast or cast-in-place concrete, at the contractor's option.

733.02

MATERIALS.  Materials shall comply with the following Sections and Subsections.

Portland Cement Concrete



901

Joint Materials





1005

Reinforcing Steel





1009

Curing Materials





1011.01

Special Surface Finish Materials


1011.03

Cast-in-place concrete shall be Class M.  Precast concrete shall be either Class A or Class P, except that the compressive strength requirements of Class P concrete shall be the same as specified for Class A concrete.

733.03

CONSTRUCTION REQUIREMENTS.  Barriers shall be constructed in accordance with Sections 805 and 806 as modified herein.  Exposed surfaces of barriers shall be given a Class 2A finish in accordance with Subsection 805.13(b).

The contractor shall perform necessary excavation and backfilling for barriers and shall dispose of excess excavated material in accordance with Subsection 202.02.

Slip-formed concrete shall be placed with an approved slip-form placing machine designed to spread, vibrate, consolidate and finish concrete in one pass of the machine in such manner that a minimum of hand finishing will be necessary to provide a dense, homogeneous unit.  Sliding forms shall be rigidly held together to prevent spreading of forms.  After passing there shall be no noticeable slumping of concrete.  Concrete shall be held at a uniform consistency, having a slump of 1/2 inch to 1 1/2 inches (13 mm to 38 mm).

Expansion joints shall be formed in accordance with plan details and shall be located at the junction of the barrier with bridge railings, footings for sign supports and light standards, and other fixed structures.  Vertical joints in barriers shall match joints in existing underlying concrete pavement.  When 

pavement joint spacing exceeds 20 feet (6 m), intermediate joints shall be placed as required, but shall not exceed a 20 foot (6 m) spacing.  Vertical joints shall be formed to a minimum depth of 1 1/2 inches (38 mm) by an approved jointing tool or sawing the plastic concrete.

733.04

MEASUREMENT.  Quantities of concrete barriers for payment will be the design lengths as specified on the plans and adjustments thereto.  Design lengths will be adjusted if the engineer makes changes to adjust to field conditions, if plan errors are proven, or if design changes are made.

Design quantities are based on lengths of continuous sections of barrier, including joints but excluding other openings in the barrier.  Required concrete, excavation, backfill, disposal of excess excavated material, reinforcement, joint materials and admixtures will not be measured for payment.

733.05

PAYMENT.  Payment for concrete barriers for roadways will be made at the contract unit price per linear foot (lin m).  The concrete in cast-in-place roadway barriers will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-4 and Note 2 therein.  The concrete in precast roadway barriers will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-3 and Note 3 therein.

Payment will be made under:

Item No.





Pay Item



Pay Unit
733-01




Concrete Roadway Barrier (Type)

Linear Foot (Lin m)

Section 734

Rubblizing Portland Cement Concrete Pavement
734.01

DESCRIPTION.  This work consists of rubblizing and compacting the existing reinforced or non-reinforced portland cement concrete pavement.  The work shall be performed in accordance with the lines, grades, and typical sections shown in the plans and the following requirements. 

734.02

EQUIPMENT.  The existing pavement shall be rubblized with a self-contained, self-propelled, resonant frequency breaker capable of producing low amplitude 2000 pound (910 kg) force blows at a rate of not less than 44 cycles per second.

A steel wheel vibratory roller having a gross weight of not less than 10 tons (9 Mg), operated in the vibrating mode, shall be used to compact the rubblized pavement.

A pneumatic-tired roller as specified in Subsection 503.06(c) shall also be used to compact the rubblized pavement.

734.03

CONSTRUCTION REQUIREMENTS.  A joint shall be saw cut full depth or load transfer devices shall be severed prior to rubblizing at an existing joint on ramps or roadway where rubblizing abuts concrete pavement which is to remain in place.

The existing concrete pavement shall be broken into pieces ranging from sand size to pieces generally 6 inches (150 mm), with no more than approximately 10 percent of the material larger than 6 inches (150 mm) and no individual pieces larger than 8 inches (200 mm).  The majority of rubblized concrete material shall be pieces 1 to 3 inches (25 to 75 mm) in size.

The breaker shall be operated with a maximum amplitude of 1 inch (25 mm) to avoid disruption of base and prevent damage to underground structures.

At the beginning of the rubblizing operations, a 4 foot by 4 foot (1.2 m by 1.2 m) test pit shall be excavated in the middle of a lane at a location selected by the engineer to determine if the breaker is producing pieces of the specified sizes.  Additional test pits may be required if directed by the engineer.  The test pits shall be backfilled and compacted to the satisfaction of the engineer.  The backfill material shall be base course aggregates as specified in Subsection 1003.03; backfilling with the rubblized material will not be acceptable.

On projects that have a transition to a bridge or to an overpass, the test pit shall be made in the transition where the material will be totally removed.  The transition where the test pit is to be located, shall be broken with the resonant breaker; the remainder of the transition shall be broken with any other equipment that the contractor elects to use.

Prior to rubblizing the pavement, the required shoulder drain system and outlets shall be completely installed and functioning.  Care should be taken by the contractor not to damage the edge drain system.

Rubblizing shall begin at a free edge or previously broken edge and progress towards the opposite shoulder or longitudinal centerline of the road.  In areas where the roadway must be overlaid one lane at a time, initial rubblizing will extend a minimum of 6 inches (150 mm) beyond the width of pavement to be overlaid.

Reinforcement in the rubblized pavement, if any, shall be debonded from the concrete and left in place.  However, any reinforcement exposed at the surface during rubblizing or compacting operations shall be cut below the surface and removed. 

 The complete width of the rubblized pavement surface shall be compacted by vibratory steel-wheel and pneumatic-tired rollers in the following sequence as a minimum.

One pass with a vibratory steel-wheel roller

One pass with a pneumatic-tired roller

Two passes with a vibratory steel-wheel roller.

A pass shall be defined as forward and backward in the same path. The roller shall be operated at a speed not to exceed 4.5 feet per second (1.5 m/s).

Except at restricted crossover and ramp crossings, traffic will not be allowed on the rubblized pavement before the initial asphaltic concrete base and leveling courses, if required, are in place.  Rubblized material dislodged by construction traffic shall be immediately removed from the roadway in front of the paver.  In no instance shall more than 48 hours elapse between rubblizing the existing pavement and placing the initial pavement course.  However, in the event of rain, this time limitation may be waived by the engineer to allow sufficient time for the rubblized pavement to dry to the satisfaction of the engineer.  Crossover and ramp crossings shall be maintained in the same compacted state as other areas until the initial pavement course is placed.

The rubblizing operations shall not be performed until after any widening and/or shoulder work reaches the elevation of the existing pavement grade.  Shoulders and widening can then be completed in conjunction with the placement of pavement courses over the compacted rubblized pavement.

734.04

MEASUREMENT.  Rubblizing portland cement concrete pavement will be measured by the square yard (sq m).  The width will be the nominal width of the existing pavement, and the length will be measured along the centerline of each roadway or ramp. 

734.05

PAYMENT.  Payment for rubblizing portland cement concrete pavement will be made at the contract unit price per square yard (sq m) which includes furnishing all materials, labor, equipment and incidentals necessary to complete the work. 

Payment will be made under:

Item No.





Pay Item


Pay Unit
734-01





Rubblizing Portland Cement









Concrete Pavement

Square Yard (Sq m)

Section 735

Mailboxes and Mailbox Supports
735.01

DESCRIPTION.  This work consists of removing and replacing mailboxes, newspaper delivery tubes, and mailbox supports in accordance with these specifications, the plans and as directed.

Mailboxes are privately owned although placed on public right-of-way.  Coordination with the mailbox owner and the United States Postal Service (USPS) shall ensure the owner receives mail deliveries.

The contractor shall notify the property owners on a form furnished by the Department, a minimum of 10 calendar days before removal, that the mailbox and supports will be removed for construction and will be replaced using approved materials in accordance with these specifications.  The contractor shall also notify the property owners that salvageable material will be placed on the owner's property for the owner's disposal if the owner so desires.  The contractor shall give the engineer documentation that all property owners have been notified in accordance with these specifications.

735.02

MATERIALS.  Mailboxes shall be fabricated of light sheet metal or plastic complying with the requirements of the USPS.  The replacement mailbox shall be the same size as the existing mailbox.  Newspaper tubes shall be furnished by the property owner.  Names and numbers on mailboxes will be the responsibility of the property owner.

Mailbox supports shall be galvanized and shall be metal posts with a strength no greater than a 2-inch (50 mm) diameter standard-strength steel pipe or 2-pound per foot (3 kg/m) flanged channels.  Mailbox supports shall include an anti-twist device.

735.03

CONSTRUCTION REQUIREMENTS.  Mailbox supports shall be installed a maximum of 24 inches (600 mm) in the ground and shall not be set in concrete.

Existing mailboxes shall be used unless the existing mailboxes are hazardous, damaged or cannot be used as determined by the engineer.

Support-to-box attachment shall be sufficient to prevent the box from separating from the support if the support is struck by an automobile or light truck.  Newspaper tubes shall be mounted below the mailbox on the side of the mailbox support.

Disposal of materials by the contractor shall be in accordance with 

Subsection 202.02 at no direct pay.

Sampling and testing of materials will not be required.

735.04

MEASUREMENT.  Mailboxes will be measured per each and will include furnishing new mailboxes.  Mailbox supports will be measured per each and will include all materials, bolts, nuts, washers and other components, equipment, and labor necessary to remove and replace mailbox supports, install mailboxes, and install newspaper delivery tubes.

735.05

PAYMENT.  Payment will be made at the contract unit price per each.

Payment will be made under:

Item No.






Pay Item



Pay Unit
735-01





Mailboxes




Each

735-02





Mailbox Supports (Single)

Each

735-03





Mailbox Supports (Double)

Each

735-04





Mailbox Supports (Multiple)

Each

Section 736

Traffic Signals
736.01

DESCRIPTION.  This work consists of furnishing and installing necessary materials and equipment to complete new traffic signal systems or modify existing systems in accordance with plan details and these specifications.

Unless otherwise specified, all materials shall be new.

When existing systems are to be modified, the existing material shall be incorporated in the revised system, salvaged or abandoned, as specified.

Incidental parts which are not shown on the plans, specified herein or in the project specifications, and which are necessary to complete the traffic signal or other electrical systems or required for modifying existing systems, shall be furnished and installed as though such parts were shown on the plans or specified herein.  All systems shall be complete and in operation to the satisfaction of the engineer at the time of final acceptance.

736.02

MATERIALS.  Materials shall comply with the following Sections and Subsections:

Usable Soil








203.06

Portland Cement Concrete, Class M



901

Reinforcing Steel






1009

Precast Reinforced Concrete Junction Boxes and Manholes
1016

Manhole Frames and Covers





1018.04

Ground Rods







1018.05

Rigid Metal Electrical Conduit




1018.09

Electrical Conductors






1018.10

Traffic Signal Heads






1020.01

Traffic Detectors and Associated Equipment


1020.02

Traffic Signal Hardware and Equipment



1020.03

Pedestal Anchor Bolts






1020.03(c)

Support Cable







1020.03(d)

Guy Components






1020.03(e)

Traffic Signal Cable






1020.03(f)

Electrical Junction Boxes





1020.03(g)

Poles for Traffic Signal Systems




1020.04

Steel Standards and Mast Arms




1020.04(c)

Controllers shall comply with the specifications entitled "TRAFFIC SIGNAL CONTROL SYSTEM, TRAFFIC CONTROL STANDARD NUMBER 18A", contained elsewhere herein.

Traffic detectors and associated equipment shall be included in the TRAFFIC SIGNAL CONTROL SYSTEM, TRAFFIC CONTROL STANDARD NUMBER 18A, unless otherwise noted on the plans.

736.03

REGULATIONS AND CODE.  Electrical equipment shall comply with the latest standards of the NEMA or the RMA, whichever is applicable.  In addition to the requirements of these specifications, the plans, and the project specifications, material and work shall comply with the latest requirements of NFPA No. 70 National Electrical Code and ANSI C2 National Electrical Safety Code, the Standards of ASTM, ANSI, MUTCD, ITE and IMSA.  The term code as referred to in this Section shall be the NFPA No. 70, National Electrical Code, and ANSI C2, National Electrical Safety Code.  Discrepancies between codes or standards and these specifications, shall be resolved in accordance with Subsection 105.04.

736.04

GENERAL REQUIREMENTS.  The contractor shall verify the location of existing utilities prior to construction.  The contractor shall verify the practicality of the location, elevation, and orientation of foundations for poles and pedestals prior to ordering materials.

Traffic control equipment to be salvaged shall be protected during removal and delivery to the specified location.  Equipment not to be salvaged shall become the property of the contractor and shall be disposed of in accordance with Subsection 202.02.

The contractor shall use the existing equipment or provide traffic signal equipment during the period of construction for continuous operation of the signal system at no direct pay.  Traffic control operations and construction shall be in accordance with the plans or these specifications.  Operational differences shall be submitted in writing and approved in advance by the Traffic Engineer.

The contractor shall provide police supervision of traffic at any time the traffic signal system is not in operation at no direct pay.

Minimum clearances for traffic signal supports and apparatus shall be in accordance with the MUTCD.  Poles shall be located a minimum of 24 inches (600 mm) outside the shoulder or a minimum of 10 feet (3 m) outside the edge of the travelway whichever is greater.

The contractor shall provide drawings and equipment submittals in accordance with Subsection 730.04, except that the submittal shall be to the 

Traffic Services and Operations Engineer instead of the Bridge Design Engineer.  Shop drawings and submittals shall include cam breakout details and circuit identifications.

Upon completion of signal and controller work, each cabinet shall contain a plastic envelope with a completed copy of the Traffic Signal Inventory Form, LA. DOTD TSI-1 and a copy of the field wiring terminations pertaining to that intersection.  The contractor shall submit to the District Traffic Engineer related documents including equipment manuals, traffic studies, copies of wiring diagrams, and manufacturer's certification letters, for each intersection prior to the new signals or signal modifications becoming operational.

736.05

ELECTRICAL SERVICE.  The contractor shall verify the location of the power source and arrange for electrical service in accordance with Subsection 730.09.  Existing power service shall be used unless a new power source is indicated on the plans.  The traffic signal control equipment shall be in the same quadrant as the power source.  If the power source is not in the same quadrant, the contractor shall submit a detailed drawing of proposed changes for approval.

At each power source, a 1-inch (25 mm) diameter conduit with conductors shall be attached to the service pole and terminated with a threaded service entrance fitting (weatherhead) at a height designated by the power company.  The wires shall extend a minimum of 24 inches (600 mm) beyond the weatherhead.

736.06

FOUNDATIONS.  Excavation for mast arm and strain pole foundations shall be drilled with an auger.  Excavation for pedestal poles and controller foundations may be made with an approved auger or by hand.  When a cave-in occurs during excavation, the contractor may continue excavating using casing or sleeving.  Cave-ins shall be repaired before the foundation is placed.  When subsurface obstructions are encountered, the contractor shall remove the obstructions or replace the excavated material and relocate the foundation, as directed, at no direct pay.  Forms and ground which will be in contact with concrete shall be thoroughly moistened before placing concrete.

Foundations shall be cast monolithically.  The exposed portions shall be formed to present a neat appearance.  The bottom and sides of concrete foundations shall rest on firm undisturbed ground.  Pole foundations shall be placed with the bored hole as the form.  Backfill around a cast-in-place foundation will not be allowed.

Tops of foundations for poles and signal supports, except special foundations, shall be finished at grade of curb top or sidewalk or as directed.  Conduit ends and anchor bolts shall be placed in correct position and shall be held in place by a template.

Exposed surfaces of concrete shall receive a Class 1, Ordinary Surface Finish in accordance with Subsection 805.13 except when the edge of a concrete foundation is within 18 inches (450 mm) of a sidewalk, the sidewalk section shall be in accordance with Section 706.

The tops of mast arm foundations shall be level so the pole base will be in full contact and the pole will be vertical without the use of shims.  Anchor bolts shall extend a minimum of 1/4 inch (6 mm) above the nut.

Conduits which terminate in anchor base type poles and pedestals shall extend approximately 3 inches (75 mm) above the foundation and shall be aligned toward the handhole opening.

An additional 2-inch (50 mm) diameter conduit stub-out shall be installed in foundations for future use.  The foundation shall be marked as shown on the plans to indicate the location of the additional conduit and grounding conduit.

736.07

PEDESTAL POLES.  The pedestal poles shall be installed plumb within 1 inch (25 mm) at the top.  Pedestal poles not constructed within the 1 inch (25 mm) tolerance shall be removed and the foundation reconstructed at no direct pay.  Shims will not be permitted on a new pedestal foundation.  A total of 1/4 inch (6 mm) of shims will be permitted on existing foundations.  When an existing pedestal pole cannot be shimmed within tolerance through no fault of the contractor, the existing foundation shall be replaced in accordance with Subsection 109.04.

736.08

MAST ARMS.  After installation and loading, mast arm shaft shall be plumb within 1 inch (25 mm) at the top.  The end of the mast arm shall be a minimum of 5 feet (1.5 m) above the top of the shaft.  The end of the mast arm shall be a minimum of 21 feet (6.4 m) above the bottom of the transformer base.  The mast arms shall be installed with compression grommet bushing (CGB) connectors in bosses utilized for cabling.

736.09

STRAIN POLES.  Strain poles for the attachment of support cables shall be the anchor base type.  Support cable shall be attached in accordance with Subsection 736.12.  Poles shall be plumb within 6 inches (150 mm) at the top after support cable tensioning in accordance with the plans.

736.10

TIMBER POLES.  Poles shall be set in holes drilled by an auger to 

a minimum depth of 6 feet (1.8 m).  Auger diameter shall be approximately 4 inches (100 mm) greater than the pole butt diameter.  The poles shall be plumb within 6 inches (150 mm) at the top after support cable tensioning in accordance with the plans.  Backfill material shall be provided and compacted as directed.

Holes for the attachment of support cables shall be fitted with 5/8-inch (16 mm) diameter thimble-eye through-bolts and 2 1/2 inch (65 mm) square curved washers.

Each pole shall have a continuous length of No. 8 AWG copper wire along the length of the pole.  A minimum of 6 feet (1.8 m) of the copper wire shall be coiled and attached to the bottom of the pole forming a coil ground.  The copper wire shall extend a minimum of 6 inches (150 mm) above the top of the pole.  The wire shall be stapled with galvanized 1 1/2 inch (40 mm) staples at approximately 6-inch (150 mm) intervals beginning at the butt, then at approximate 12-inch (300 mm) intervals beginning at 12 feet (3.6 m) from the butt and continuing to the top of the pole.

The poles shall be embedded in the ground a minimum of 20 percent of the pole length.

Anchors shall be installed on new poles in accordance with the plans.

736.11

GUY WIRE ASSEMBLIES.  Guy wire shall be attached to the pole with a 5/8-inch (16 mm) diameter angle thimble-eye bolt of appropriate length through a lift plate fastened to the pole by two 3/8-inch (9.5 mm) diameter lag screws.  The opposite side of the pole shall have a 2 1/2 inch (65 mm) square curved washer, a square nut, and a thimble-eye nut for termination of support cable.  An additional square nut shall be used as a locking nut against the thimble-eye nut.

Hardware shall be tightened against the pole.  Excess bolt length shall be sawn to within 1/4 inch (6 mm) of the nut and the galvanized coating repaired in accordance with Subsection 811.12.

The guy assembly shall have strain insulator, thimble eye anchor rod, service sleeves, and screw-type anchors as shown on the plans.  Installed anchors shall develop holding strength and be properly aligned to provide permanent stability to the installation.

Guy assemblies shall be installed and tensioned before erection of signals so that they will resist the major portion of the horizontal loading.

736.12

SUPPORT CABLE.  Support cable with accessories shall be installed between two or more poles to provide support and attachment for traffic control equipment.  Support cables shall be grounded.  Accessories 

used with support cables shall include strain insulators and three-bolt clamps.  Long strain insulators shall be used as needed for safety clearance and shall require approval when not shown on the plans.  Attachments of the support cable shall be made with standard thimble-type hardware.

736.13

VEHICLE AND PEDESTRIAN SIGNAL HEADS.  Signals shall be vertical unless otherwise specified.  Cable suspended heads shall be fitted with a universal hanger.  Drop pipes will be allowed only when necessary to provide proper roadway clearance.  Disconnect hangers shall be required for cable suspended heads.

Mast arm mounted signals shall be installed using an approved adjustable rigid bracket.

Each bulb in the signal head shall be connected to an individual wire from the controller.  Lamp sockets shall be rotated to position the open portion of the lamp filament upward.

Each signal head shall be oriented to its lane or crosswalk and secured in place by a serrated or other locking device incorporated in signal housing and support hardware.  Supporting brackets on trunnions shall be used at the top and bottom of the section assembly to rigidly support all faces.  Openings not used for mounting purposes shall be closed with approved threaded weatherproof plugs.

A minimum of 8 feet (2.4 m) between signal heads is required, measured between imaginary lines centered on each signal head parallel to the approach. The signal head shall be aimed within 3 degrees of parallel to the approach lane to which it applies, or as directed.

Vehicular signal heads shall be covered with a sturdy opaque material until placed in service.

736.14

VEHICLE LOOP DETECTOR INSTALLATION.  Slots shall be sawed in the pavement for installation of vehicle detector loop wire in the configuration, dimensions, and combinations as shown on the plans.  An extension from the loop to the pavement edge shall be cut to permit wire routing to an adjacent pullbox or condulet through a 1/2-inch (13 mm) conduit.

Slots shall be cleaned of loose material.  The engineer shall examine and approve the depth of each loop slot for conformance with the plans before the contractor places the loop wires in the slot.  Wires shall be carefully placed in the slot.  The number of turns of wire installed for each loop shall be as required.  The wire shall be pushed carefully into the slots with a blunt tool to avoid damaging the insulation.  No splices will be permitted in the loop 

installation except in the pull-box, conduit fittings or pole.  Wires from the pavement to the controller box shall be installed inside a conduit as shown on the plans.  Wire installed from the pavement edge to the splice shall be twisted uniformly at 2 to 5 turns per foot (7 to 16 turns/m).  The loop ends shall be spliced to a lead-in cable.  The lead-in cable shall be connected inside the controller cabinet.   The wires shall be spliced using an approved connector and by soldering, then encapsulated with an approved electrically insulating waterproof epoxy as shown on the plans.  The condulet shall not be filled with the approved insulating waterproof epoxy.


The slots shall be completely filled to within 1/8 inch (3 mm) of the pavement surface with an approved sealant.

736.15

PEDESTRIAN PUSHBUTTON.  Pushbuttons shall be installed on poles or pedestals at locations where the signal head is visible from the pushbutton location.  Push-buttons mounted on steel poles shall be serviced by wiring inside the poles.  Wires shall be installed through a 3/4-inch (20 mm) diameter hole in the pole and through the back of housing and shall be installed with a rubber grommet.  Unused conduit attachment holes shall be plugged.  The housing shall be attached to the pole using machine or selftapping screws.

Pushbuttons mounted on wood poles shall be wired through conduit.  Pedestrian pushbutton signs shall be installed above the pushbutton.

736.16

ELECTRICAL.  Wires in cabinets shall be neatly laced into cables with nylon lacing or plastic straps.

Conductors shall be installed in conduit except where the run is inside poles or suspended from support cable.

After completion of field wiring, the conduit entering cabinets, pole bases, or junction boxes shall be sealed with a removable sealing material compatible with the cable jacket, insulation and conduit material.

Support cable, metallic cable sheaths, conduit, transformer cases, metal poles and pedestals shall be made mechanically and electrically secure and grounded.  Bonding and grounding jumpers shall be No. 6 AWG copper wire. Equipment on wood poles shall be grounded.

Cable from the circuit breaker at the service to the controller shall consist of a minimum of three No. 6 AWG THWN stranded copper wires.

Six feet (2 m) of spare signal, loop lead-in and communication cable shall be installed in each base-mounted cabinet.  Field wiring shall be connected to terminals by one piece, screw-tightened lugs.

Aerial signal cable shall have a drip loop extending at least 6 inches (150 

mm) below the entrance.  The aerial signal cable and drip loop shall not chafe on the equipment.

Signal cable shall be installed between signal heads and controller cabinets. When specified, interconnect and/or communication cable shall be installed between controller cabinets of different intersections.  Signal, interconnect, and/or communication cable may be lashed to support cable or installed in underground conduit as shown on the plans.  Lashing material shall be stainless steel for interconnect and aluminum for signal cable.

736.17

CONDUIT INSTALLATION.  Underground wiring shall be enclosed in conduit.  Conduit connections shall use threaded couplers and shall be sealed with a waterproof sealant.  Coupling of new conduit to existing conduit shall be with a three-piece coupling.

Threads shall be clean cut, straight and true, and of sufficient length to permit full-depth coupling.  Excessive threads will not be permitted.  Ends of conduit installed for future connections shall be threaded, reamed and capped.  Couplings shall be tightened until the conduit ends are together.  Damaged coatings in exposed threads shall be repaired in accordance with Subsection 811.12.  Exposed threaded ends of conduit shall be terminated with an insulated-throat, ground-type bushing.

Backfilling shall be with usable soil, placed and compacted to at least the density of the surrounding ground at no direct pay.  After installation, conduits shall be tested for clearance with a 2 inch (50 mm) long mandrel having a diameter 1/4 inch (6 mm) smaller than the inside diameter of the conduit.  Conduits not allowing passage of the mandrel will be rejected.

The contractor may install larger size conduit at no direct pay.  No reducing couplings will be permitted in a conduit run.

Underground conduits shall be buried a minimum of 18 inches (450 mm) below the surface.  Conduits for loop detectors shall be installed parallel to existing or proposed curbs and a maximum of 24 inches (600 mm) behind the back of curb or as directed.  Conduit shall be jacked or bored under existing pavements and within the drip line of trees in accordance with Section 728.

736.18

CONTROL EQUIPMENT.  Field wiring in controller cabinets and bases shall be neatly arranged, lashed into cables, routed to the appropriate terminal blocks, and permanently identified near the terminal.

Controller equipment programming shall be provided by the contractor.  When the information supplied by the Department is insufficient for functional operation of the installed equipment, the contractor shall notify the engineer in writing of the problem identifying discrepancies, and proposing 

specific remedies or corrections.  After programming, controller equipment operations shall be tested with the signals off, using the signal shutdown switch.

736.19

JUNCTION BOXES.  Junction boxes, when shown on the plans, are required a minimum of every 150 feet (45 m) in a conduit run.  Backfilling shall be with usable soil, shall conform to Subsection 701.08, and shall be placed and compacted to the density of the surrounding ground at no direct pay.  All metal covers and conduits shall be bonded together.

Electrical conductors shall be installed clear of the metal frames and covers.

Pull box fittings shall be used on conduit longer than 180 feet (55 m). Pull box fittings shall be installed at a minimum spacing of 90 feet (27 m).

736.20

EQUIPMENT TESTING.
(a)

Manufacturer's Tests:  When design tests are specified herein, additional tests will not be required if documentation is provided indicating that such tests have been previously completed.  Equipment shall be subject to factory demonstration tests and design approval tests at a location agreed upon by the contractor and the Department.  The Department reserves the right to have its representative witness all factory demonstration tests and design approval tests.

Performance tests may be required on equipment not previously tested or approved.  The Department will not be responsible for time lost or delays caused by sampling and testing prior to final approval of any item.

The contractor shall conduct special tests when equipment or systems are suspected of improper operation, or when additional data is necessary to determine proper operation or conformance with specifications.

A test shall be performed on the completely assembled equipment, cabinet, and control equipment by the manufacturer prior to shipment.  Malfunctions or defects shall be corrected and the equipment retested.  The complete log beginning with the first test, showing the results of the test shall be delivered with the equipment.  The test shall require the operation of the equipment with each signal circuit connected to an incandescent load of a minimum of 600 watts.  The equipment shall operate sequentially and continuously for a minimum of 48 hours as stated above in an environment having a minimum temperature of 140°F (60°C).

(b)

Insulation Tests:  Insulation tests shall be made between conductors and ground and between conductors.  Tests shall be made after the conductors are installed and before connecting equipment that may be 

damaged by the tests.  Readings below 50 megohms, when measured with a 1000 volt D.C. insulation tester, will be considered defective.

(c)

Test Documentation:  Documentation shall include a Certificate of Compliance, two sets of cabinet wiring drawings, and technical manuals for the control equipment.  Cabinet drawings shall be DOTD standard blue line copies, with the manufacturer's name, equipment model number, project number, sheet number, date and revision block.

736.21

MEASUREMENT.
(a)

Trenching and Backfilling:  Trenching and backfilling will be measured by the linear foot (lin m) of excavated trench backfilled and accepted.

(b)

Conduit with Conductors:  Conduit with conductors will be measured by the linear foot (lin m) of conduit with conductors installed and accepted.  Measurement will include conduit, conductors, clamps, fittings, above ground junction boxes, and miscellaneous hardware required for a complete conduit installation.

(c)

Jacking or Boring Conduit:  Jacking or boring conduit will be measured by the linear foot (lin m) of conduit jacked or bored.  Measurement will include fittings, excavation, backfilling and duct markers.

(d)

Signal Support:  Signal supports will be measured per each signal or strain pole installed and accepted.  Measurement will include the pole, mast arm, base assembly, guy wires and hardware, signal support cables and hardware, traffic signal cables inside pole, concrete foundation, reinforcing steel, conduits in foundation, ground rod, ground wires, ground clamp, hardware, drilled excavation, backfill, grout, electrical oxide-inhibiting compound and disposal of excess excavated material.

(e)

Signal Heads:  Signal heads will be measured per each head installed and accepted.  Measurement will include disconnect hangers, traffic signal wiring attached to overhead span, closure caps, mounting hardware, lamps, head programming, mounting connections and hardware.

(f)

Signal Service:  Signal service will be measured per each service assembly installed and accepted.  Measurement will include pole, disconnect, ground rod, wire and conduit on service pole, conduit and conductors on utility company pole, and connections and hardware required.

(g)

Traffic Signal System:  Traffic signal systems will be measured on a lump sum basis, which will include furnishing and installing all equipment and apparatus, and performing work required for a complete system.

(h)

Signal Controller:  Signal controllers will be measured per each controller installed and accepted.  Measurement will include all electronic 

control equipment specified, prewired cabinet, foundation, conduits in foundation, ground rod assembly, anchor bolts and hardware, connections, documentation, programming, and testing.

(i)

Loop Detector:  Detectors will be measured by the linear foot (lin m) of sawn slot.  Measurement will include sawing, installed wire and sealing. Measurement will be made from the edge of the pavement and once around each loop perimeter.

(j)

Underground Junction Box:  Underground junction boxes will be measured per each box installed and accepted.  Measurement will include the box, cover, excavation, backfill and any concrete patching required.

(k)

Conduit:  Conduit will be measured by the linear foot (lin m) point to point of conduit installed and accepted. Measurement will include conduit (including conduit within junction boxes), clamps, fittings, above ground junction boxes, and all miscellaneous hardware required for a complete conduit installation.

(l)

Conductors:  Conductors will be measured by the linear foot (lin m) of conductor installed and accepted. Measurement will include conductor, clamps, connectors, and all miscellaneous hardware required for a complete conductor installation.

(m)
Cable:  Cable will be measured by the linear foot (lin m) of cable installed and accepted. Measurement will include cable, clamps, connectors, and all miscellaneous hardware required for a complete cable installation.

736.22

PAYMENT.  Payment for traffic signal work will be made at the contract unit prices. 


The concrete in foundations for signal supports, signal controllers, and other signal equipment will be identified by lots and shall be subject to pay adjustments in accordance with Table 901-4 and Note 2 therein.  Size, sampling, and testing of each concrete lot shall be in accordance with the Materials Sampling Manual.

Payment will be made under:

Item No.




Pay Item



Pay Unit
736-01




Trenching and Backfilling


Linear Foot (Lin m)

736-02




Conduit with Conductors 









(Size & Type)



Linear Foot (Lin m)

736-03




Jacking or Boring Conduit 









(Size & Type)



Linear Foot (Lin m)

736-04




Signal Support (Size & Type)

Each

736-05




Signal Heads (Type)



Each

736-06




Signal Service



Each

736-07




Traffic Signal System


Lump Sum

736-08




Signal Controller



Each

736-09




Loop Detector



Linear Foot (Lin m)

736-10




Underground Junction Box


Each

736-11




Conduit (Size & Type)


Linear Foot (Lin m)

736-12




Conductor (Size & Type)


Linear Foot (Lin m)

736-13




Cable (Size & Type)



Linear Foot (Lin m)

Section 737

Painted Traffic Striping
737.01

DESCRIPTION.  This work consists of furnishing and applying reflective white or yellow paint for pavement striping in accordance with plan details, the MUTCD and these specifications.

737.02

MATERIALS.  Traffic paint shall be either quick dry alkyd or waterbased traffic paint complying with Subsection 1015.12.  Glass beads for drop-on application shall comply with Subsection 1015.13.

737.03

EQUIPMENT.  Selection of proper equipment to produce satisfactory results within the following requirements shall be the responsibility of the contractor.

(a)

Equipment shall permit traffic to pass safely within the limits of the roadway surface and shoulder while operating.

(b)

Equipment shall be designed for placement of both solid and broken line stripes of the spacing shown on the plans with square, neat stripe ends.

(c)

Equipment shall provide a method for cleaning the surface of dust immediately prior to placement of striping materials.

(d)

Equipment shall provide for drop-on application of glass beads.

(e)

The equipment shall provide accurate regulation of the application rate and shall have a tachometer or other approved device to ensure uniform paint application at the designated rate.  The equipment shall be adjustable for applying one, two or three adjacent lines simultaneously at the specified spacing and be equipped with a device capable of following a control line.  Operation of the unit shall be such that paint will not be spattered or blown on another stripe.  The unit shall be designed to properly agitate the paint while in operation.

(f)

The equipment shall be equipped with a heat exchanger to heat the paint to reduce drying time.

(g)

The operation shall include a trailing vehicle equipped with a flashing arrow board.

737.04

SURFACE PREPARATION.  Surfaces to be striped shall be cleaned of materials that may reduce adhesion of paint to pavement.  Surfaces shall be kept clean and dry at the time of application of paint.

737.05

WEATHER LIMITATIONS.  No paint striping shall be done when the pavement surface is not thoroughly dried, when the air is foggy or misty, when the air or surface temperature is below 50°F (10°C), or when wind or other condition causes a film of dust to be deposited on the surface after cleaning and before striping can be done or causes displacement of striping material.

737.06

APPLICATION.  The longitudinal joint or existing centerline stripe shall be used in determining the location of the centerline of new striping.  In the absence of a longitudinal joint or existing stripe, the location of the centerline of new striping shall be located by the contractor with the approval of the engineer.  Broken line individual intervals will not be marked.  No striping material shall be applied over a guide stringline.

(a)

Paint Preparation:  Immediately before application, paints shall be agitated and mixed thoroughly to a uniform consistency, free from lumps or agglomerates.  Paints shall be kept covered to retain volatiles.  Paints shall not be thinned without approval.

(b)

Application Rate:  Paint shall be applied at the rate required to provide striping of the specified width at a thickness of 15 wet mils (380 wet µm).

Glass beads shall be applied at the same time, but in a separate operation, at the rate of 6±1/2 pounds (0.720±0.060 kg) of beads per gallon (L) of paint.  Beads shall be applied to the paint before final set has occurred and accomplished in such manner as to provide uniform coverage of the stripe.  Beads shall be applied to the paint immediately after it has been applied to the pavement.  Beads shall be applied by compressed air of sufficient pressure to cause embedment of the beads throughout the thickness of the paint.  Guns for bead application shall be of an approved type and care shall be taken to prevent loss of beads due to side spray or nonembedment.

Paint shall be heated in heat exchangers to accelerate drying, to a temperature between 110°F and 130°F (43°C and 54°C) for waterbased paint, and between 120°F and 150°F (49°C and 66°C) of solvent based paint.

737.07

TOLERANCES.  A tolerance of +1/2 inch and -1/8 inch (+13 mm and -3 mm) from the specified width will be allowed, provided the variation is gradual.  Segments of broken line may vary ±6 inches (150 mm) from the specified length provided it is not consistently short.  Segments shall be squared off at each end without mist or drip.  Longitudinal painted lines shall not deviate from established alignment by more than 1 inch (25 mm) provided the variation does not increase or decrease at the rate of more than 1/2 inch in 

25 feet (15 mm in 10 m).  Lines not meeting these tolerances shall be removed by abrasive blasting or grinding and replaced at no direct pay.

737.08

PROTECTION OF MARKINGS.  Traffic shall be prevented from crossing a wet stripe.  The contractor shall use flaggers or other methods to prevent traffic from crossing the wet stripe or adjust the operation.  Stripes which have been marred or picked up by traffic before they have dried shall be repaired by the contractor at no direct pay.  The pavement shall be cleaned outside the stripe at no direct pay.

The contractor is not required to maintain striping which has been accepted and opened to traffic.

737.09

PROTECTION OF TRAFFIC.  The contractor shall furnish and place all necessary temporary warning and directional signs to direct and protect the traveling public during striping operations.

The pavement striping equipment shall move in the direction of normal traffic flow.  The trailing vehicle shall be equipped with an approved flashing arrowboard for directing traffic to the appropriate side during striping operation, when required.  Temporary signs, cones and equipment shall be removed from the roadway when striping equipment is not in operation.

Protective and traffic marking devices shall comply with Section 713.

737.10

MEASUREMENT.  Painted Traffic Striping will be measured by the mile (km) or linear foot (lin m) as specified.

(a)

Mile (km):  Measurement will be by the mile (km) of single stripe per roadway.  No deduction will be made for the standard 30-foot (9 m) design gaps in broken-line striping; however, deductions will be made for the length of other omitted sections.

(b)

Linear Foot (Lin m):  Measurement will be by the linear foot (lin m), exclusive of gaps.

737.11

PAYMENT.  Payment for painted traffic striping will be made at the contract unit prices.

Payment will be made under:

Item No.






Pay Item



Pay Unit
737-01



Painted Traffic Striping (Solid Line)

Mile (km)

737-02



Painted Traffic Striping 








(Broken Line)




Mile (km)

737-03



Painted Traffic Striping (Solid Line)

Linear Foot (Lin m)

Section 738

Mulch Sodding
738.01

DESCRIPTION.  This work shall consist of furnishing, hauling, spreading, fertilizing and liming (if required), rolling, watering and maintaining live bermuda grass roots and topsoil at locations shown on the plans or as directed.

738.02

MATERIALS.  Mulch sod shall consist of a combination of grass roots and topsoil.  Mulch sod shall be predominately bermuda grass or other approved grass roots reasonably free of weeds and debris.

Topsoil shall comply with Subsection 715.02.

Fertilizer and agricultural lime shall comply with Section 718.

Water may be obtained from any source except brackish, chemically contaminated, or oily water shall not be used.

738.03

EQUIPMENT.  A single or double type soil roller or cultipacker weighing not less than 500 pounds (225 kg) and not more than 1500 pounds (680 kg) will be required.

Water wagons, tanks or sprinkling devices will be required.

738.04

CONSTRUCTION REQUIREMENTS.
(a)

Digging:  The source of mulch sod approved by the Roadside Development Specialist shall be mowed and raked when necessary.  Mulch sod shall not be stockpiled for more than 48 hours.

Mulch sod shall be free of tree roots, tops, branches or other debris.  Such foreign material shall be removed prior to the sod being stockpiled or delivered.

When agricultural lime is necessary to adjust the soil pH to between 5.5 and 8.0, it shall be done on sod field prior to stockpiling and delivery at no direct pay.

(b)

Hauling:  Mulch sod shall be loaded with suitable equipment, hauled and spread on the areas designated on the plans or as directed.

(c)

Surface Preparation:  Fertilizer shall be broadcast over the entire area to be mulch sodded before mulch sodding is placed and disked.  When required, agricultural lime or other treatment to adjust pH to between 5.5 and 8.0 shall be applied to the area to be mulch sodded prior to scarifying.  Areas to receive mulch sod shall be scarified and pulverized to a depth of 

approximately 3 inches (75 mm) and dressed to grade at no direct pay.

(d)

Spreading:  The mulch sod shall be spread to a depth of approximately 6 inches (150 mm) in such a manner that a minimum amount of roots are exposed.  Spike tooth harrows or drags shall not be used to spread mulch sod.  The mulch sod shall be dressed to grade.

(e)

Rolling:  The mulch sod shall be rolled with a cultipacker or soil pulverizer as directed.  Locations inaccessible to rolling equipment shall be hand tamped.

(f)

Watering:  Mulch sod shall be watered and kept moist as directed until satisfactory growth is established.

738.05

MEASUREMENT.  Mulch sod will be measured by the cubic yard (cu m) in approved hauling vehicles at the point of delivery in accordance with Subsection 109.01.

Fertilizer will be measured and paid for in accordance with Section 718.  Agricultural lime, when specified, will be measured and paid for in accordance with Section 718.

738.06

PAYMENT.  Payment for mulch sod will be made at the contract unit price.  Payment for watering mulch sod will be made in accordance with Section 714.

Payment will be made under:

Item No.






Pay Item


Pay Unit
738-01







Mulch Sodding

Cubic Yard (Cu m)

Section 739

Hydro-Seeding
739.01

DESCRIPTION.  This work consists of preparing seed beds and sowing grass seed utilizing hydro-seeding equipment and methods in order to establish a turf grass cover to areas designated on the plans or as directed.

739.02

BED PREPARATION.  Seed beds shall be prepared in accordance with Subsection 717.04.

739.03

HYDRO-SEEDING GENERAL.  Hydro-seeding shall consist of mixing and applying seed, commercial fertilizer, water management gel, polyacrylamide tackifier, and mycorrhizal inoculum with wood fiber and water.  Seed and commercial fertilizer shall be uniformly spread over the area at the rates specified in Table 717-1 and Table 718-1.  A minimum of 535 pounds of wood fiber per acre (600 kg/ha) shall be mixed and applied with the seed.  The fiber shall be in addition to straw or mulch when straw or mulch is specified.  The contractor will be permitted to include fertilizer and lime in the seeding slurry for application during hydro-seeding operations.

The application rate for pellet-inoculated seed shall be determined using the seed mass exclusive of inoculant materials.

The materials and the quantities thereof to be mixed with water will be specified.  The quantity of water shall be as needed for application.

Mixing of materials for application with hydro-seeding equipment shall be performed in a tank with a built-in continuous agitation system of sufficient operating capacity to produce a homogeneous mixture and a discharge system which will apply the mixture at a continuous and uniform rate.  The tank shall have a minimum capacity of 962 gallons (3700 L). The engineer may authorize use of equipment of smaller capacity if it is demonstrated that the equipment is capable of performing all operations satisfactorily.

A dispersing agent may be added to the mixture provided the contractor furnishes evidence that the additive will not affect germination.  Any material considered detrimental, as determined by the engineer, shall not be used.

Any mixture containing polyacrylamide tackifier shall not be applied during any rainy weather or when soil temperatures are below 41°F (5°C) or  if the wind speed is above 20 miles per hour (32 km/h).  Pedestrian traffic or equipment shall not be permitted to enter areas where hydro-seeding has been applied.

Prior to planting, the engineer will contact the Department's roadside development personnel to select the varieties of seed to be used.

739.04

MEASUREMENT.  Quantities for hydro-seeding will be measured by the acre (ha).

739.05

PAYMENT.  Payment for hydro-seeding will be made by the acre (ha) and shall include the seed, mulch, tackifier, lime, fertilizer, water and bed preparation as a system.

Payment will be made under:


Item No.





Pay Item


Pay Unit
739-01






Hydro-Seeding

Acre (ha)

Section 740

Construction Layout
740.01

DESCRIPTION.  This section sets forth requirements for all construction layouts.  The work consists of the establishment of lines and grades, and staking out the construction work in accordance with these specifications, plan details, and as directed.  This work also includes but is not limited to, the layout of pavement striping and raised pavement markers and setting of line and grade, for construction of superelevated curves or other applicable work items.
740.02

CONSTRUCTION REQUIREMENTS.  The contractor shall establish all lines and grades and stake out all work on this project, including sufficient vertical and horizontal points for utility relocations for use by the Department and others.  The Department will provide two center line markers, one at each end of the project for horizontal control.  One center line marker will be stationed.  When required, the Department will also provide one bench mark on or near the project for vertical control.  The contractor shall verify the values of any intermediate bench marks shown on the plans, by checking against the bench mark established by the Department for vertical control.

The contractor shall employ qualified engineering and surveying personnel experienced in layout and construction of highways and bridges to correctly establish and keep complete and comprehensive notebook records (field books) of all lines and grades necessary from initial layout to final acceptance. 

The contractor shall be liable for the accuracy of the initial layout and all subsequent alignment and elevations and shall, at no additional pay, rebuild, repair or make good any portion of the work found to be incorrectly positioned either horizontally or vertically at any time before final acceptance. The contractor shall notify the engineer immediately of any apparent errors in the plans.  The contractor shall compute and provide template grades to the engineer.  In order to obtain pipe order lengths, the appropriate grades shall be provided to the engineer two weeks in advance of the work.

Numbered notebooks for recording of all lines and grades will be provided by the Department and shall be properly indexed and cross referenced by the contractor before return to the engineer for submittal with the final estimate.  Computer generated printouts will be allowed when approved.


Stationing for overlay projects shall be set using an approved measuring device that is accurate to 0.1 percent.  Stakes shall be placed every 100 linear 

feet (50 lin m) and maintained by the contractor throughout construction.

Layout of striping, raised pavement markers, and signs shall be done by methods approved by the engineer prior to placement.

740.03

MEASUREMENT.  Measurements for determination of pay quantities will be made by the Department.

No changes in the lump sum contract price for construction layout will be made for minor additions or deletions to the scope of work.
740.04

PAYMENT.  Payment for construction layout will be made at the contract lump sum price in accordance with Table 740-1.

Table 740-1

Construction Layout Payment Schedule
	Percent of Total

Contract Amount Earned
	Allowable Percent of Lump

Sum Price for Construction Layout

	Staffed
	25

	25
	50

	50
	80

	75
	95

	100
	100


Payment will be made under:
Item No.







Pay Item

Pay Unit
740-01






Construction Layout 
Lump Sum

360
438
359

