SECTION 01010

SUMMARY OF WORK
1  GENERAL 

1.01  SECTION INCLUDES

A.  Specific Projects.

1.02 SPECIFIC PROJECTS

A. The Contractor shall provide all plant, materials, labor and supervision necessary to demolish and replace the existing 500 KVA dry type 13.8 KV/208,120 volt distribution transformer located in the first floor electrical room of the (HPC) Human Performance Center, including primary switch and secondary breakers, existing distribution panel located on the second floor & being converted into a junction box, and all related conductors, etc. and to provide a new outdoor liquid cooled transformer & switch with a capacity of 500 KVA.  Provide new underground feeders, connect to existing distribution system at existing 13.8KV manhole, as located & shown on the drawings.  Provide new transformer pad, fencing, etc., all as shown on the drawings and called for in these specifications.  All work in accordance with drawing D1, S1, E1, E2, E3 by Dammon Engineering __________, dated ________; and these specifications.

B. The existing transformer, switchgear & distribution panel board removed by the above work shall at the option of UNO become the contractors property and removed from the site or if retained by UNO moved to a designated storage building by the contractor.

C. Repair all areas of the building and grounds that were damaged by work of this contract.  Prepare lawn and re-sod where equipment operation and project installation has damaged lawn as per Section 01000 General Condition 1.11 Protection.

D. Clean and paint all damaged surfaces with two coats of paint to match existing.





END OF SECTION
1
SECTION 01010

Page 1 of 1

