1.25
VINYL FLOOR TILE

1.25.1
Scope

The Contractor furnish all labor, materials, equipment and services to install the vinyl floor tile.

1.25.2
General


Vinyl floor tile shall be either a solid vinyl tile or a vinyl composition of vinyl resins and non-asbestos inorganic minerals.  Vinyl tile containing asbestos shall not be used.

1.25.3
Reference Publications, Codes and Standards


Federal Specification SS-T-312B Comp. I

1.25.4
Materials
1.25.4.1
Vinyl floor tile shall be 12" X 12" X 1/8" "Civic Center Vinyl Corlon Tile" squares by Armstrong Cork Company; Lancaster, PA.

1.25.4.2
The color of the floor tile shall be equal to Armstrong Floor colors as follows:



Factory and Associated Manufacturing Area Restrooms - #55507 Beige




Management Restrooms - #55505 Neutral

1.25.4.3
Adhesives and other application material shall be those as recommended specifically by the manufacturer of the floor tile.

1.25.5
Delivery and Storage
1.25.5.1
All floor tile shall be delivered to the job in the original packages with seals unbroken and with manufacturer's name and the brand stamped clearly thereon.  No seconds or remnants shall be used.

1.25.5.2
Floor tile, adhesives, and other application materials shall not be exposed to dampness while stored on site and shall be subjected to a constant temperature of at least 70°F for 48 hours prior to installation.

1.25.6
Installation
1.25.6.1
Surfaces on which floor tile is to be installed shall be broom clean, and free of grease, oil, and any dust or other substances which would prevent complete adherence of the material.  Any such substance shall be removed by the Contractor.  All cracks in the concrete subfloor shall be filled with crack filler.

1.25.6.2
Vinyl floor tile shall be installed in the areas listed in the "Room Finish Schedule" of the drawings.

1.25.6.3
The Contractor shall maintain a constant temperature of at least 70°F in the areas which are to receive floor tile for 48 hours prior to installation, during installation, and 48 hours after installation.

1.25.6.4
Flooring shall be laid in accordance with the tile manufacturer's instructions.

1.25.6.5
Each tile square shall be completely embedded in the adhesive.  Joints shall be closely fitted and made as inconspicuous as possible.  Finished surfaces shall be smooth, straight, and free from buckles, waves, and projecting edges.

1.25.6.6
Care shall be taken to prevent the adhesive from showing on the finish surface of the flooring or adjacent vinyl cove base.  In the event adhesive or adhesive stains show on the finish surfaces, all traces of same shall be satisfactorily removed.  If this is not possible, the damaged parts of floor shall be replaced.

1.25.7
Cleaning, Waxing, and Protecting of Newly Laid Flooring
1.25.7.1
Immediately after the installation of the flooring, the Contractor shall damp-mop and apply a light coat of floor wax taking care not to flood the floor.

1.25.7.2
After the flooring has been lightly waxed, it shall be protected by a layer of undyed, untreated building paper.

1.25.7.3
Immediately prior to final inspection by the Lockheed Martin Engineer and at least five days after installation has been completed, the floor shall be cleaned and waxed by the Contractor using procedures and products recommended by the floor tile manufacturer.

STD SPEC
1.25 - 2

