1.27
RESILIENT COVE BASE
1.27.1
Scope

The Contractor shall provide all labor, material, equipment and services necessary for the proper installation of all resilient cove base.

1.27.2
Materials
1.27.2.1
Rubber or vinyl cove base shall be four inch high by 1/8 inch thick with preformed internal and external corners as manufactured by Johnson Rubber Company, Armstrong, Robbins Floor Products.

1.27.2.2
Adhesives shall be those as recommended specifically by the manufacturer of the cove base.

1.27.3.3
The color of the cove base shall be "black."

1.27.3
Delivery and Storage
1.27.3.1
All cove base material shall be delivered to the job in the original packages with seals unbroken and manufacturer's name and brand stamped clearly thereon.  No seconds or remnants shall be used.

1.27.3.2
Adhesives shall be delivered to the job in the original sealed containers and the manufacturer's name and brand clearly stamped thereon.

1.27.3.3
Cove base, adhesives, and other application materials shall not be exposed to dampness while stored on site and shall be subject to a constant temperature of at least 70°F for 48 hours prior to installation.

1.27.4
Installation
1.27.4.1
A constant temperature of at least 70°F shall be maintained in the areas which are to receive cove base for 48 hours prior to installation, during installation, and 48 hours after installation.

1.27.4.2
Cove base shall be laid in accordance with the manufacturer's instructions.

1.27.4.3
The adhesive used shall be applied in the required thickness as recommended by the manufacturer.  Adhesive shall be spread evenly over the entire surface to ensure perfect adhesion.

1.27.4.4
Care shall be taken to prevent the adhesive from showing on the finish face of the cove base or on adjacent wall and flooring surfaces.  In the event adhesive or adhesive stain shows on the finish surfaces, all traces of same shall be satisfactorily removed.  If this is not possible, the damaged parts of cove base shall be replaced and the wall restored to its original condition at the Contractor's expense.

1.27.5
Cleaning

When installation is complete and the base has sufficiently seated, all cove bases shall be thoroughly cleaned using procedures and products recommended by the cove base manufacturer.

STD SPEC
1.27 - 1

