1.45 
PAINTING, STRIPING AND LABELING
1.45.1
Scope

The Contractor shall provide all labor, materials, equipmet and services to perform the painting, striping and labeling (letters and numerals) of roadways, walkways and parking lots.

1.45.2
General

Patterns for the marking of roadways, parking lots and walkways shall be as shown on the drawings.

1.45.3
Reference Publications and Federal Specifications


TT-P-115E
"Paint, Traffic, Highway, White, and Yellow"



TT-P-110C
"Paint, Traffic Black (Non Reflectorized)"



TT-P-1952B
"Paint, Traffic And Airfield Marking, Water Emulsion Base"

1.45.4
Materials

Paint shall conform to the requirements of Federal Specification TT-P-115E.

1.45.5
Delivery and Storage

Materials shall be delivered in their original, unopened containers bearing the manufacturer's name, product identification, and batch number.  Materials shall be stored in tightly closed containers in a covered area where they will be protected from freezing.

1.45.6
Performance Requirements
1.45.6.1
Weather Limitations

Paint shall be applied only when the air and pavement temperatures are between 50°F and 95°F, and when the anticipated relative humidity is 85°F or less for one hour after application.

1.45.6.2
Equipment and Tools
1.45.6.2.1
All machines, tools, and equipment used in the performance of the work shall be subject to the approval of the Lockheed Martin Construction Engineer and shall be maintained in satisfactory operating condition.

1.45.6.2.2
The equipment for applying paint to pavements shall a be self-propelled or mobile drawn pneumatic spraying machine with suitable arrangements of atomizing nozzles and controls to obtain the specified results.  The machine shall be capable of applying the stripe widths indicated and shall be capable of applying the paint at the coverage rate specified at an even, uniform thickness with clear-cut edges.

1.45.7
Workmanship
1.45.7.1
Surface Preparation

All pavement surfaces to be striped shall be thoroughly cleaned before the application of paint.  Dust, dirt, and other granular surface deposits shall be removed by sweeping, blowing with compressed air, rinsing with water, or a combination of these methods as required.  Rubber deposits, surface laitance, and loose, peeling, or poorly bonded paint markings adhering to the pavement shall be completely removed with scrapers, wire brushes, approved chemicals, or mechanical abrasion as directed by the Lockheed Martin Construction Engineer.

1.45.7.2
Application

Paint shall be applied evenly to the pavement surface at a rate of 105 plus or minus five square feet per gallon.  Where reflectorized paint is specified, glass beads shall be dispensed at the rate of ten pounds per gallon of paint.  The Contractor shall provide guidelines and templates as necessary to control paint application.  All edges of markings shall be sharply outlined.  The maximum drying time requirements of the paint manufacturer's specifications shall be strictly followed to prevent undue softening of bitumen and to prevent pickup, displacement, or discoloration by tires of traffic.  If there is a deficiency in drying of the markings, the painting operation shall be discontinued until the cause of slow drying is determined and corrected.  On newly constructed pavement, temporary pavement markings of striping tape with pressure sensitive adhesive shall be applied until the pavement is cured for a period of not less than 21 days.  After the new pavement is cured, the striping tape shall be removed, and the seal coat applied.  After the seal coat is cured for a period of not less than 24 hours, traffic paint shall be applied in accordance with these specifications.

1.45.7.3
Protection

Painting shall be protected from traffic in a manner and for a period, as directed by the Lockheed Martin Construction Engineer.

1.45.8
Inspection
1.45.9
Special Conditions

STD SPEC
1.45 - 2

