1.47
RUBBER FENDERS
1.47.1
Scope

The Contractor shall provide all labor, materials, equipment and services for the installation of the rubber fenders and their mounting bolts.

1.47.2
Materials
1.47.2.1
Rubber fenders shall be as manufactured by Goodyear Company.

1.47.2.2
Rubber fenders shall conform to dimensions as shown on the drawings.

1.47.3
Installation

The Contractor shall strictly adhere to the manufacturer's recommendations and instructions for installing the rubber fenders and their mounting bolts.

1.47.4
Submittals

The Contractor shall submit dimensions and performance data on rubber fenders if specified fenders are not used.

STD SPEC
1.47 - 1

