1.52
Canal Gate
1.52.1
Scope

The Contractor shall provide all labor, material, equipment and services for the installation of the canal gates.

1.52.2
General
1.52.3
Standard Specifications, Codes and Publications

The gate manufacturer's product description sheet and all other gate manufacturer supplied data shall be deemed part of this specification.

1.52.4
Materials
1.52.4.1
The canal gate shall be a Waterman Industries, Model C-20 canal gate.

1.52.4.2
The canal gate shall be finished with coal tar epoxy as per section 1.22 of these specifications.

1.52.5
Delivery and Storage
1.52.6
Constraints
1.52.7
Work to be Performed
1.52.7.1
Place the flanged pipe in position as shown on the drawings and weld in place.

1.52.7.2
Clean the back of the gate frame and flange thoroughly.  Apply a thin coat of Butal Rubber Compound on the flange.

1.52.7.3
Mount the completely assembled gate on the flange.  Place nuts on bolts and tighten uniformly until a metal to metal contact is made.  Remove excess mastic.

1.52.7.4
Check clearance between seating surfaces.  Adjust wedges until the gate seats properly.

1.52.7.5
After the gate is installed, install a manual lift per the manufacturer's instructions.

1.52.7.6
After installation, clean and lubricate the gate per the manufacturer's instructions.

STD SPEC
1.52 - 1

