1.55
COLD PLANING ASPHALTIC PAVEMENTS

1.55.1
Scope


The Contractor shall provide all labor, materials, equipment and services to perform the cold planing of existing asphaltic pavements.

1.55.2
General


The work shall consist of removing asphaltic concrete surfacing by cold planing methods to the specified depth, width, and cross-section.

1.55.3
Reference Publications



"Louisiana Standard Specifications for Roads and Bridges (LA DOTD)", State of Louisiana, Department of Transportation and Development, Office of Highways, Baton Rouge, LA (latest Edition).

1.55.4
Materials (Not Used)

1.55.5
Delivery and Storage

1.55.6
Performance Requirements--Equipment

The equipment for planing asphaltic surfacing shall be self-propelled planing machines or grinders capable of removing a thickness of asphaltic concrete necessary to provide profile and cross slope uniformly across the surface. The machine shall be equipped with means to adequately control dust by the cutting action and shall conform to the requirements of LA DOTD specifications. The equipment shall have sufficient power, traction, and stability to maintain accurate depth of cut and slope. Equipment shall be capable of accurately and automatically establishing a profile grade along each edge of the machine by referencing from existing pavements, and shall have an automatic system for controlling cross slope.

1.55.7
Workmanship

1.55.7.1
Cold Planing


The asphalt concrete pavements shall be cold planed as indicated on the drawings. Asphaltic concrete to structures that cannot be removed by the planing machine shall be removed by other acceptable methods.

1.55.7.2
Patching


All pavement patching shall be accomplished before planing. If additional areas requiring patching are exposed by planing operations, such additional patching shall be performed after planing.

1.55.7.3
Compaction


The base shall be compacted to 95 percent of maximum density. The number and type of rollers used shall be sufficient to uniformly compact the base. Compacting and finishing operations shall meet the requirements of section 301 of LA DOTD specifications.

1.55.8
Inspection
1.55.9
Special Conditions

STD SPEC
1.55 - 2

