2.8
DEMOLITION
2.8.1
Scope
2.8.1.1
Furnish all labor, materials, and equipment necessary to complete all demolition and removal of material as indicated on the drawings and specified herein.

2.8.1.2
The items of work to be performed include but are not limited to the following:



Removal of gas, water, air, sprinkler, and miscellaneous piping as indicated



Removal of duct as indicated



Removal of air conditioning equipment as indicated



Removal of cables, sheaves, motors, reducers, and other mechanical equipment (Store where directed by Lockheed Martin Construction Engineer.)

2.8.2
Description of Work

The extent of demolition work is shown on drawings.  Demolition includes the removal of and disposal of materials, as shown and specified herein.  Include in this work the shutoff, capping, and continuation of utility services as required.  When utility lines are encountered that are not indicated on the drawings, they shall be disposed of in accordance with the instructions of the Lockheed Martin Construction Engineer.

2.8.3
Dust Control

Dust resulting from demolition and removal work shall be controlled to prevent the spread of dust and avoid creation of a nuisance in surrounding areas.  Use of water will not be permitted when it will result in or create hazardous or objectionable conditions such as ice, flooding, and pollution.

2.8.4
Protection of Personnel

Where the safety of pedestrians and drivers are endangered in the area of removal work, barricades for traffic shall be used.  Advance notice shall be given to the Lockheed Martin Construction Engineer prior to beginning any such work.

2.8.5
Use of Explosives

The use of explosives will not be permitted.

2.8.6
Filling

Holes and other hazardous openings shall be filled with compacted Mississippi River sand.

2.8.7
Cleanup
2.8.7.1
Debris and Rubbish Control

Debris and rubbish shall be removed and transported in a manner that will prevent spillage on streets or adjacent areas.

2.8.7.2
Regulations


Federal, state and local regulations regarding hauling and disposal shall be complied with.

2.8.8
Refrigerant Systems

All refrigerants and oils will be removed from refrigerant systems in accordance with EPA regulation 40CFR82 Subpart F by Lockheed Martin personnel.  The Contractor shall verify refrigerants and oils have been removed with the Lockheed Martin Construction Engineer.  The Contractor shall verify the system has been depressurized prior to demolition of refrigerant systems.


To facilitate removal, the Contractor may cut refrigerant systems into parts with band saws or other mechanical cutting tools.  Torches and other flame producing tools shall not be used on refrigerant systems.

STD SPEC
2.8 - 2

