2.12
SHOP DRAWINGS, TECHNICAL DATA, AND MAINTENANCE MANUALS 

2.12.1
Shop Drawings


Shop drawings, technical data, and maintenance manuals shall be submitted to the Lockheed Martin Engineer in accordance with Exhibit "I" and the General Provisions of Contract.


Shop drawings and approval data are required for and shall include but not be limited to the following:



Air handling units, fans, coils



Dampers



Louvers



Electric motors



Ductwork (to a minimum of 1/4" = 1'0" Scale)



Diffusers, registers, and accessories



Filters



Controls (diagrams and equipment)



Thermal insulation

2.12.2
Operating and Maintenance Manuals

The Contractor shall submit six complete sets of instructions containing operating and maintenance information for each item of operating equipment he furnishes to Lockheed Martin.  Each set shall be permanently bound in a hard cover.  The following identification shall be inscribed on the covers:  the words "OPERATING AND MAINTENANCE INSTRUCTIONS", "LOCKHEED MARTIN, MICHOUD ASSEMBLY FACILITY",


                                                                        the name of the equipment manufacturer, and the contract number.  Flysheets shall be placed before the instructions covering each subject.  The instruction sheets shall be 8 1/2 X 11 inches with large sheets of drawings folded in.  The instructions shall include but not necessarily be limited to the following:



Approved wiring and control diagrams with data to explain the detailed operation and control of each component



A control sequence describing start-up, operating, and shut-down



Operating and maintenance instructions for each piece of equipment



Equipment manufacturer's bulletins, cuts, and descriptive data



Parts lists and recommended spare parts

STD SPEC
2.12 - 1

