Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
05/02 (R 05/05)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 013591 - HISTORIC TREATMENT PROCEDURES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Use this Section to establish procedures that are especially for historic treatment.  Include only procedures that are unique to historic treatment work.  Other procedures are included in other Division 01 Sections.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes special procedures for historic treatment on Project including, but not limited to, the following:

Adjust list below to suit Project.

1. Storage and protection of existing historic materials.

2. Temporary protection of historic materials during construction.

3. Protection during application of chemicals.

4. Protection during use of heat-generating equipment.

5. Historic treatment procedures.

6. Removal of bird excrement.

B. Related Sections include the following:

List below only products that the reader might expect to find in this Section but are specified elsewhere.

1. Division 01 Section "Construction Progress Documentation" for preconstruction photographs taken before historic treatment.

2. Division 01 Section "Photographic Documentation" for preconstruction photographs taken before historic treatment.

1.3 DEFINITIONS

Definitions below refer to historic treatment applied to Project or portions of Project.  Delete definitions that do not apply to Project.  If more than one type of historic treatment is required, indicate on Drawings where each treatment applies.  Historically significant portions may be classified as historic preservation or restoration; other portions may be classified as rehabilitation.  Coordinate terms below with terms used on Drawings.  See Evaluations.

A. "Preservation":  To apply measures necessary to sustain the existing form, integrity, and materials of a historic property.  Work may include preliminary measures to protect and stabilize the property.

"Renovation" has the same definition as "rehabilitation"; the term "rehabilitation" is preferred.

B. "Rehabilitation":  To make possible a compatible use for a property through repair, alterations, and additions while preserving those portions or features that convey its historical, cultural, or architectural values.

C. "Restoration":  To accurately depict the form, features, and character of a property as it appeared at a particular period of time by means of the removal of features from other periods in its history and the reconstruction of missing features from the restoration period.

D. "Reconstruction":  To reproduce in the exact form and detail a building, structure, or artifact as it appeared at a specific period in time.

Definitions below refer to procedures applied to materials or features.  Delete or revise definitions to suit Project.  Coordinate terms below with terms used on Drawings.

E. "Stabilize":  To apply measures designed to reestablish a weather-resistant enclosure and the structural reinforcement of an item or portion of the building while maintaining the essential form as it exists at present.

F. "Protect and Maintain":  To remove deteriorating corrosion, reapply protective coatings, and install protective measures such as temporary guards; to provide the least degree of intervention.

G. "Repair":  To stabilize, consolidate, or conserve; to retain existing materials and features while employing as little new material as possible.  Repair includes patching, piecing-in, splicing, consolidating, or otherwise reinforcing or upgrading materials.  Within restoration, repair also includes limited replacement in kind, rehabilitation, and reconstruction, with compatible substitute materials for deteriorated or missing parts of features when there are surviving prototypes.

H. "Replace":  To duplicate and replace entire features with new material in kind.  Replacement includes the following conditions:

Verify conditions for creating duplicated elements and materials from existing elements and materials.  Coordinate three subparagraphs below with Drawings.

1. Duplication:  Includes replacing elements damaged beyond repair or missing.  Original material is indicated as the pattern for creating new duplicated elements.

2. Replacement with New Materials:  Includes replacement with new material when original material is not available as patterns for creating new duplicated elements.

3. Replacement with Substitute Materials:  Includes replacement with compatible substitute materials.  Substitute materials are not allowed, unless otherwise indicated.

I. "Remove":  To detach items from existing construction and legally dispose of them off-site unless indicated to be removed and salvaged or removed and reinstalled.

J. "Remove and Salvage":  To detach items from existing construction and deliver them to Owner[ ready for reuse].

K. "Remove and Reinstall":  To detach items from existing construction, repair and clean them for reuse, and reinstall them where indicated.

L. "Existing to Remain" or "Retain":  Existing items of construction that are not to be removed and that are not otherwise indicated to be removed and salvaged, or removed and reinstalled.

M. "Material in Kind":  Material that matches existing materials, as much as possible, in species, cut, color, grain, and finish.

1.4 SUBMITTALS

A. Historic Treatment Program:  Submit a written plan for each phase or process including protection of surrounding materials during operations.  Describe in detail materials, methods, and equipment to be used for each phase of work.

To the greatest extent possible, establish acceptable alternative methods and materials before executing the Contract.  First paragraph below permits Contractor to suggest alternative methods and materials.  This provision is also helpful when unanticipated conditions are discovered during the work.

B. Alternative Methods and Materials:  If alternative methods and materials to those indicated are proposed for any phase of work, provide a written description including evidence of successful use on other, comparable projects, and program of testing to demonstrate effectiveness for use on this Project.

C. Qualification Data:  For historic treatment specialists and supervisory personnel.  Include list of completed projects with the scope of work and budget for each.

D. Photographs or Videotape:  Show existing conditions of adjoining construction and site improvements, including finish surfaces, that might be misconstrued as damage caused by historic treatment operations.  Submit before work begins.

E. Record Documents:  Include modifications to manufacturer's written instructions and procedures, as documented in the historic treatment preconstruction conference and as the Work progresses.

1.5 QUALITY ASSURANCE

A. Historic Treatment Specialist Qualifications:  A firm that employs personnel, including supervisory personnel, experienced and skilled in the processes and operations indicated.

B. Historic Treatment Preconstruction Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1. Review manufacturer's written instructions for precautions and effects of products and procedures on building materials, components, and vegetation.

a. Record procedures established as a result of the review and distribute to affected parties.

1.6 STORAGE AND PROTECTION OF HISTORIC MATERIALS

A. Removed and Salvaged Historic Materials:

1. Clean salvaged historic items.

2. Pack or crate items after cleaning.  Identify contents of containers.

3. Store items in a secure area until delivery to Owner.

4. Transport items to Owner's storage area [on-site] [off-site] [designated by Owner] [indicated on Drawings].

5. Protect items from damage during transport and storage.

6. Do not dispose of items removed from existing construction without prior written consent of Owner.

B. Removed and Reinstalled Historic Materials:

1. Clean and repair historic items to functional condition adequate for intended reuse.

2. Pack or crate items after cleaning and repairing.  Identify contents of containers.

3. Protect items from damage during transport and storage.

4. Reinstall items in locations indicated.  Comply with installation requirements for new materials and equipment.  Provide connections, supports, and miscellaneous materials necessary to make item functional for use indicated.

C. Existing Historic Materials to Remain:  Protect construction indicated to remain against damage and soiling during historic treatment.  When permitted by Architect, items may be removed to a suitable, protected storage location during historic treatment [and cleaned] and reinstalled in their original locations after historic treatment operations are complete.

D. Storage and Protection:  When removed from their existing location, store historic materials within a weathertight enclosure where they are protected from wetting by rain, snow, or ground water, and temperature variations.  Secure stored materials to protect from theft.

1. Identify removed items with an inconspicuous mark indicating their original location.

1.7 PROJECT-SITE CONDITIONS

Retain, revise, or delete paragraphs and subparagraphs in this Article to suit Project.  Add other limitations if necessary, such as when adjacent floors will be occupied.

A. Exterior Cleaning and Repairing:

1. Proceed with the work only when forecasted weather conditions are favorable.

a. Wet Weather:  Do not attempt repairs during rainy or foggy weather.  Do not apply primer, paint, putty, or epoxy when the relative humidity is above 80 percent.  Do not remove exterior elements of structures when rain is forecast or in progress.

b. Do not perform exterior wet work when the air temperature is below 40 deg F (5 deg C).

c. Do not begin cleaning, patching, or repairing when there is any likelihood of frost or freezing.

d. Do not begin cleaning when either the air or the surface temperature is below 45 deg F (7 deg C) unless approved means are provided for maintaining a 45 deg F (7 deg C) temperature of the air and materials during, and for 48 hours subsequent to, cleaning.

Cleaning is often performed during night hours to avoid occupants and traffic; delete subparagraph below if not required.

2. Perform cleaning and rinsing of the exterior only during daylight hours.

B. Owner will occupy portions of building immediately adjacent to historic treatment area.  Conduct historic treatment so Owner's operations will not be disrupted.  Provide not less than [72] <Insert number> hours' notice to Owner of activities that will affect Owner's operations.

PART 2 -  PRODUCTS - (Not Used)

PART 3 -  EXECUTION

3.1 PROTECTION, GENERAL

A. Comply with manufacturer's written instructions for precautions and effects of products and procedures on adjacent building materials, components, and vegetation.

B. Ensure that supervisory personnel are present when work begins and during its progress.

C. Temporary Protection of Historic Materials during Construction:

1. Protect existing materials during installation of temporary protections and construction.  Do not deface or remove existing materials.

2. Attachments of temporary protection to existing construction shall be approved by Architect prior to installation.

D. Protect landscape work adjacent to or within work areas as follows:

1. Provide barriers to protect tree trunks.

2. Bind spreading shrubs.

3. Use coverings that allow plants to breathe and remove coverings at the end of each day.  Do not cover plant material with a waterproof membrane for more than 8 hours at a time.

4. Set scaffolding and ladder legs away from plants.

E. Existing Drains:  Prior to the start of work or any cleaning operations, test drains and other water removal systems to ensure that drains and systems are functioning properly.  Notify Architect immediately of drains or systems that are stopped or blocked.  Do not begin Work of this Section until the drains are in working order.

1. Provide a method to prevent solids including stone or mortar residue from entering the drains or drain lines.  Clean out drains and drain lines that become blocked or filled by sand or any other solids because of work performed under this Contract.

2. Protect storm drains from pollutants.  Block drains or filter out sediments, allowing only clean water to pass.

Article below is an example of procedures for chemical application and cleaning; delete if no chemical application is included in Project.

3.2 PROTECTION DURING APPLICATION OF CHEMICALS

A. Protect persons, motor vehicles, surrounding surfaces of building being restored, building site, plants, and surrounding buildings from harm or damage resulting from applications of chemical cleaners and paint removers.

B. Comply with requirements in Division 01 Section "Temporary Facilities and Controls."

C. Cover adjacent surfaces with materials that are proven to resist chemical cleaners selected for Project unless chemicals being used will not damage adjacent surfaces.  Use covering materials that contain only waterproof, UV-resistant adhesives.  Apply masking agents to comply with manufacturer's written instructions.  Do not apply liquid masking agent to painted or porous surfaces.  When no longer needed, promptly remove masking to prevent adhesive staining.

D. Do not clean surfaces during winds of sufficient force to spread cleaning solutions to unprotected surfaces.

E. Neutralize and collect alkaline and acid wastes and dispose of off Owner's property.

F. Dispose of runoff from chemical operations by legal means and in a manner that prevents soil erosion, undermining of paving and foundations, damage to landscaping, and water penetration into building interiors.

3.3 PROTECTION DURING USE OF HEAT-GENERATING EQUIPMENT

A. Comply with the following procedures while performing work with heat-generating equipment, including welding, cutting, soldering, brazing, paint removal with heat, and other operations where open flames or implements utilizing heat are used:

1. Obtain Owner's approval for operations involving use of open-flame or welding equipment.

a. Notification shall be given for each occurrence and location of work with heat-generating equipment.

2. As far as practical, use heat-generating equipment in shop areas or outside the building.

3. Before work with heat-generating equipment commences, furnish personnel to serve as a fire watch (or watches) for location(s) where work is to be performed.

4. Do not perform work with heat-generating equipment in or near rooms or in areas where flammable liquids or explosive vapors are present or thought to be present.  Use a combustible gas indicator test to ensure that the area is safe.

5. Remove and keep the area free of combustibles, including, rubbish, paper, waste, etc., within area of operations.

a. If combustible material cannot be removed, provide fireproof blankets to cover such materials.

6. Where possible, furnish and use baffles of metal or gypsum board to prevent the spraying of sparks or hot slag into surrounding combustible material.

7. Prevent the extension of sparks and particles of hot metal through open windows, doors, holes, and cracks in floors, walls, ceilings, roofs, and other openings.

8. Inspect each location of the day's work not sooner than 30 minutes after completion of operations to detect hidden or smoldering fires and to ensure that proper housekeeping is maintained.

Delete paragraph below if sprinklers do not exist or are not functional.

B. Where sprinkler protection exists and is functional, maintain it without interruption while operations are being performed.  If operations are performed close to automatic sprinkler heads, shield the individual heads temporarily with guards.

3.4 HISTORIC TREATMENT PROCEDURES

Retain or revise paragraphs and subparagraphs in this Article to suit type of treatment required for Project.  It may not be feasible to identify in the Contract Documents precisely how and to what extent each feature should be treated, such as which elements are to be repaired and which elements replaced.  Refer to the "Definitions" Article in the Evaluations.  The need for stabilizing and repairing in place will be determined, in some cases, during the course of the work.  If it is discovered that stabilizing or repairing is not feasible, replacement is allowed.  This could be a piece-by-piece decision during construction.

Paragraphs in this Article establish a general decision hierarchy.  Contractor should be informed about what will be expected to prevent every minor issue from becoming a Change Order.  Compliance with these provisions may depend on the extent to which items can be repaired.

First paragraph below is a description of the principal aim of preservation work; edit to suit Project.  Note that descriptions will vary for restoration and rehabilitation.  Reconstruction is a special circumstance not requiring procedures below.

A. The principal aim of preservation work is to halt the process of deterioration and stabilize the item's condition, unless otherwise indicated.  Repair is required where specifically indicated.  The following procedures shall be followed:

1. Retain as much existing material as possible; repair and consolidate rather than replace.

2. Use additional material or structure to reinforce, strengthen, prop, tie, and support existing material or structure.

3. Use reversible processes wherever possible.

4. Use traditional replacement materials and techniques.  New work shall be distinguishable to the trained eye, on close inspection, from old work.

5. Record the work before the procedure with preconstruction photos and during the work with periodic construction photos.  Photographic documentation is specified in Division 01 Section "[Construction Progress Documentation] [Photographic Documentation]."

B. Prohibit smoking by personnel performing work on or near historic structures.

C. Obtain Architect's review and written approval in the form of a Constructive Change Directive or Supplemental Instruction before making changes or additions to construction or removing historic materials.

D. Notify Architect of visible changes in the integrity of material or components whether due to environmental causes including biological attack, UV degradation, freezing, or thawing; or due to structural defects including cracks, movement, or distortion.

1. Do not proceed with the work in question until directed by Architect.

Delete first paragraph below if no information is provided or available that allows accurate duplication.

E. Where missing features are indicated to be repaired or replaced, provide features whose designs are based on accurate duplications rather than on conjectural designs, subject to the approval of Architect and Preservation Specialist.

F. Where Work requires existing features to be removed, cleaned, and reused, perform these operations without damage to the material itself, to adjacent materials, or to the substrate.

G. Identify new or replacement materials and features with inconspicuous, permanent marks to distinguish them from original materials.  Record the legend of identification marks and the locations of these marks on Record Drawings.

H. When cleaning, match samples of existing materials that have been cleaned and identified for acceptable cleaning levels.  Avoid overcleaning to prevent damage to existing materials during cleaning.

3.5 REMOVAL OF BIRD EXCREMENT

Handling of excrement during historic preservation work requires special attention.  This Article is an example only.  Verify that appropriate procedures are identified and will be included as part of the cleaning work.

Revise first paragraph below to include specific treatment method required by authorities having jurisdiction and by hygienist.  See Evaluations for additional information.

A. General:  Before disturbing accumulated bird excrement, consult with an occupational medicine physician, industrial hygienist, and authorities having jurisdiction to determine acceptable removal procedures and appropriate protective measures for personnel.

B. Removing Bird Excrement:  Treat bird excrement before its removal as required by authorities having jurisdiction.

1. Prior to removal, dampen excrement to prevent it from becoming airborne.

2. Use only nonmetallic tools (plastic spatulas and brushes with natural fiber or nylon bristles, or their equivalent) to remove excrement.

3. Collect removed excrement and legally disposed of off site.

4. Perform bird excrement removal work from the outside of the building with windows and other openings in the building closed.

If other types of materials must be removed, insert requirements here.

END OF SECTION 013591

	HISTORIC TREATMENT PROCEDURES
	013591 - 1



