	Storm Water Pollution Prevention Plan

	

	 



[image: image1]

Storm Water Pollution Prevention Plan

(SWPPP)

Permit Number: LAR ______________
Prepared For:

_____________________________________

Development Name & Location:

Prepared by:
Date:

________________

This Storm Water Pollution Prevention Plan (SWPPP) is provided by the Louisiana Department of Environmental Quality (LDEQ) Business and Community Outreach/Small Business Assistance Division (BCO/SBA).   LDEQ BCO/SBA technical services are provided courtesy of LDEQ.  Providing this document does not certify that the information is complete or complies with all requirements. The BCO/SBA claims no responsibility for omissions or inaccuracies in values or information presented to the LDEQ Administrative Authority by businesses seeking compliance with state environmental regulations. The LDEQ Administrative Authority alone determines when compliance is achieved; and, businesses are ultimately responsible for satisfying all requirements of such Authority
CERTIFICATIONS

To Be Completed by Construction Site Operator
(Plans and Specifications Operational Control)

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for attesting to false information, including the possibility of fine and imprisonment for knowing violations.”

	
	
	

	Name and Title
	
	Telephone Number

	
	
	

	Signature


	
	Date


To Be Completed by Construction Site Operator

(Day-to-Day Operational Control)

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for attesting to false information, including the possibility of fine and imprisonment for knowing violations.”

	
	
	

	Name and Title
	
	Telephone Number

	
	
	

	Signature


	
	Date


SWPPP Revision Documentation Form
This storm water pollution prevention plan (SWPPP) should be revised and updated to address changes in site conditions, new or revised government regulations, and additional on-site storm water pollution controls.  The signature of this representative attests that the SWPPP revision information is true and accurate.  Previous authors and facility representatives are not responsible for the revisions.
	Number


	Date
	Company Representative’s

Signature

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


CONTENTS
1.0 CONTACT INFORMATION
2.0 OBJECTIVE

3.0 NON-STORM WATER DISCHARGES

4.0 SWP3 REVIEW AND AMENDMENTS

4.1 Review

4.2 Amendments

5.0 SITE OR PROJECT DESCRIPTION

5.1 Description of Construction Activity & Environmental Impacts
5.2 Construction Activity with Potential Pollutant Sources

5.3 Major Activities Schedule

5.4 Property Acreage

5.5 Construction Activity Acreage

5.6 Soil Data

5.7 General Location Map and Site Map

5.8 Erosion and Sediment Control Site Map

5.9 Industrial Discharges

5.10 Receiving Waters

5.11 LPDES Construction General Permit, 

LAR100000

5.12 Threatened and/or Endangered Species

5.13 Historical Determination

5.14 Total Maximum Daily Loading (TMDL)

6.0 EROSION AND SEDIMENT CONTROLS

6.1 Short & Long Term Goals/Criteria
6.2 Best Practicable Technology (BPT)

6.3 Site-specific Erosion and Sediment Controls

7.0 STABILIZATION PRACTICES

7.1 Deadline to Initiate Stabilization Measures
7.2 Deadline to Complete Installation of Stabilization Measures
7.3 Other Deadlines

7.4 Stabilization Records
8.0 STRUCTURAL CONTROLS

8.1 Structural Control Requirements

8.2 Site Structural Controls

9.0 STORM WATER MANAGEMENT

10.0 OTHER CONTROLS

10.1 Other Control Requirements

10.2 Other Controls at the Site

11.0 APPROVED LOCAL PLAN

12.0 MAINTENANCE

13.0 INSPECTIONS OF CONTROLS

14.0 CONTRACTORS AND SUBCONTRACTORS RESPONSIBILITIES

15.0 UTILITY COMPANIES

APPENDICES


APPENDIX A, General Location Map and Site Map

APPENDIX B, LPDES Storm Water Construction General Permit


APPENDIX C, Site Information


1.
General Description Sheet


2.
Schedule Sheet for Soil Disturbing Activities


3.
Soil Data Sheet


4.
Erosion and Sediment Control Site Map


5.
Erosion and Sediment Control Plan

6.
Stabilization Practice Schedule


7.
Structural Control Sheet


8.
Construction Site Inspection Report

1.0.
CONTACT INFORMATION

	property OWNER
	PHONE/FAX/MOBILE
	ADDreSS

	
	
	

	PROJECT CONTRACTOR
	
	

	
	
	

	PROJECT EROSION LEAD/ 24-HOUR CONTACT
	
	

	
	
	

	OTHER 
	
	

	
	
	


2.0 OBJECTIVE

A storm water pollution prevention plan must be prepared for storm water discharges that will reach Waters of Louisiana, including discharges to the Municipal Separate Storm Sewer System (MS4), and to identify and address potential sources of pollution that are reasonably expected to affect the quality of discharges from the construction site, including off-site material storage areas, overburden and stockpiles of dirt, borrow areas, equipment staging areas, vehicle repair areas, fueling areas, etc., used by the permitted project. The SWP3 must describe and ensure the implementation of practices that will be used to reduce the pollutants in storm water discharges associated with construction activity at the construction site and assure compliance with the terms and conditions of the general permit.

3.0
Non-Storm Water Discharges

The following non-storm water discharges are authorized for discharge under the LPDES storm water construction general permit LAR100000 and LAR 200000: 

· discharges from fire fighting activities;
· fire hydrant flushings;

· waters used to wash vehicles where detergents are not used;

· waters used to control dust in accordance with LAR 100000 Part 

IV.D.2.c.(2) and/or LAR 100000 Part III.D.2.c.(2);

· potable water sources including waterline flushings;

· routine external building washdown which does not use detergents;

· pavement washwaters where spills or leaks of toxic or hazardous 
materials have not occurred (unless all spilled material has been 
removed) and where detergents are not used.

· air conditioning condensate; uncontaminated groundwater or spring 
water;
· foundation or footing drains where flows are not contaminated with 
process materials such as solvents;

· uncontaminated excavation dewatering; and

· landscape irrigation.
4.0
SWP3 REVIEW AND AMMENDMENTS


4.1
Review



This SWP3 must be retained on-site at the construction site or, if 


the site is inactive or does not have an on-site location to store the 


plan, a notice must be posted describing the location of the SWP3.  

This SWP3 must be made readily available at the time of an on-site 

inspection.

4.2 Amendments



This SWP3 will be revised or updated when the following occurs:



1.
Change in design, construction, operation, or maintenance 



that has a significant effect on the discharge of pollutants 



and that has not been previously addressed in this SWP3.
2.      Results of inspections or investigations indicating this SWP3 

is proving ineffective in eliminating or significantly minimizing 
pollutants in discharges authorized under the general permit.
3.    To identify any new contractor and/or subcontractor that will 
implement a measure of the SWP3.



All other permittees implementing portions of the SWP3 that will be 


impacted by a change to the SWP3 will be notified of the change in 


a timely fashion.



The revisions to the SWP3 will be documented on the “SWPPP 


Revision Documentation Form” found in the front of this document. 


The authorized representative with regulatory authority (corporate 


officer or proprietor) to approve the SWPPP shall sign the modified 


plan certifying that the SWPPP revision information is true and 


accurate.
5.0
Site or Project Description

5.1
Description of Construction Activity & Environmental Impacts

Developer:_____________________________________________________________________________________________________________________________________________________________________________ 


Builder:_____________________________________________________________________________________________________________________________________________________________________________ 


SiteLocation:___________________________________________________________________________________________________________________________________________________________________________ 

Site/Project Description and Mitigation of Potential Environmental Impacts:_______________________________________________________________________________________________________________________________________________________________________________ 

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

5.2
Construction Activity with Potential Pollutants and Sources



The following lists the construction activities or materials that have 


the potential to contribute pollutants, including sediment, to storm 


water runoff. 
	Construction Activity and/or Material


	Potential Pollutant

	· Land clearing
	· Sediment – Total Suspended Solids (TSS), turbidity, oil and grease, Total Petroleum Hydrocarbons (TPH)

	· Excavation
	· Sediment – TSS, turbidity, oil and grease, TPH

	· Filling
	· Sediment – TSS, turbidity, oil and grease, TPH

	· Paving
	· Sediment – TSS, turbidity, oil and grease, TPH, pH

	· Install foundations, retaining walls, etc
	· Sediment – TSS, turbidity, oil and grease, TPH, pH

	· Grading
	· Sediment – TSS, turbidity, oil and grease, TPH

	· Utilities

	· Sediment – TSS, turbidity, oil and grease, TPH

	
	· 

	
	· 



5.3
Major Activities Schedule

The following schedule sheet is an intended schedule 
or sequence of major activities that will disturb the soil for major portions of the site.  Details (for complex projects) are provided as an attachment in Appendix C, if applicable.
Schedule Sheet for Soil Disturbing Activities
Estimate Construction Start Date:  ______________________
Estimate Construction End Date:   ______________________
	Activity


	Estimated Time
	Actual Time 

	Land clearing


	
	

	Excavation


	
	

	Filling


	
	

	Paving


	
	

	Install foundations, retaining walls, etc


	
	

	Grading


	
	

	Utilities


	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	



5.4 
Property Acreage

The total area of the property is ​​​​​​​______ acres.  The total anticipated area of soils to be disturbed is _______ acres.
5.5
Construction Activity Acreage 

The total number of acres of construction activities, material 
storage areas, stockpiles, and borrows areas are listed below:

	Activity or Material
	Acres

	Construction Activities (resulting in land disturbance)
	

	Off-site Material Storage Areas
	

	Overburden and Stockpiles of Dirt
	

	Borrow Areas
	



5.6
Soil Data

Soil data for each lot is listed on a “Soil Data Sheet”.  This information includes pre-construction and post-construction runoff coefficient as well as a description of the soil type.
Soil Data Sheet
Pre-construction runoff coefficient: ____________________
Post-construction runoff coefficient: ___________________


Runoff Coefficient:

High: 70-100% impervious (example: asphalt, buildings, paved surfaces)

Medium: 40-70% impervious (example: packed soils)

Low: 0-40% impervious (example: grassy areas)
Description of soil:   soil name(s), soil mapping unit, erodability, settleability, depth, texture and soil structure: 
_____________________________________


____________________________________________________________
____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________


5.7  
General Location Map and Site Map


The general location map found in Appendix A shows the location 


of the site.  A detailed site map is also attached.
5.8 Erosion and Sediment Control Site Map

The site map includes the following:
· Drainage patterns and approximate slopes anticipated after 
major grading activities.
· Areas where soil disturbance will occur and where soil will 



not be disturbed.
· Locations of all major structural and non-structural controls 



either planned or in place.
· Locations where stabilization practices are expected to be 


used.

· Locations of off-site material, waste, borrow, fill, or 



equipment storage areas.
· Surface waters (i.e. creeks, streams, or ponds including 


wetlands) either adjacent or in close proximity of site.

· Locations where storm water discharges from the site.

5.9 Industrial Discharges

This project does/does not (circle one) involve discharges associated with industrial activities other than commercial construction activities. 

For construction occurring on an industrial site, reference existing multi-sector SWPPP, if applicable.

There are/are not (circle one) dedicated concrete or asphalt plants associated with this project. 
There will be no discharge of process wastewater from concrete or asphalt plants.  A separate pollution prevention plan will be developed for concrete/asphalt plants.  Asphalt releasers will be captured by a drip pan, absorbent material, or other means and disposed of properly on a daily basis.
5.10 Receiving Waters

The first named water body that receives stormwater discharges from the site is ____________________________.  (See Appendix A:  General Site Location Map)
The Designated Uses (LAC 33:IX.1123, Table 3) for this water body are:

___________________________________________________________

5.11 LPDES Construction General Permit, LAR100000
A copy of the LPDES Construction General Permit, LAR100000/LAR200000 (circle one) is included in Appendix B.

5.12
Threatened and/or Endangered Species

To be eligible for coverage under the construction stormwater permit, facilities must provide documentation on whether a listed endangered or threatened species, or critical habitat, are found with the proximity of the project.  The facility used The Endangered Species Guidance provided in the Notice of Intent to help determine the status of the site.  The species that must be considered in the Parish where this site is located are:  __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

A visual inspection of the area indicated (Check One): 

No endangered or threatened species and/or critical habitat located within the proximity of the facility.

The following species and/or critical habitat and findings were noted:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
NOTE:  Include documentation regarding authorization under the Endangered Species Act (ESA), comprehensive site assessments, and/or BMP’s that are protective of listed endangered and threatened species and/or critical habitat, where applicable.
5.13
Historical Determination

The adverse effects on historic properties must be considered before a facility can be covered by the construction general permit.  The National Register of Historic Places web site was reviewed and revealed the following (Check One):   


None of the listed sites are located in the vicinity of the facility, or listed sites will not be affected by the facility.
The following sites are located in the vicinity of the facility (Louisiana State Historic Preservation written agreement included in Appendix A.)
_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
NOTE:  Include written agreement with the Louisiana State Historic Preservation Officer (SHPO) that outlines all measures to be undertaken to mitigate or prevent adverse effects to the historic property, where applicable.
5.14
Total Maximum Daily Loading (TMDL) 
The LDEQ-designated Sub-segment for this facility is Sub-segment Number ______________________________. (Check one):

Currently, there is no TMDL established for the receiving stream 
that would regulate potential pollutants from the construction site.

The BMP’s chosen for this site and discussed in this SWPPP are expected to ensure that storm water discharges are in compliance with the TMDL for this site.

NOTE:  Refer to most recent EPA-approved Quality Inventory Section 305(b) Integrated Report’s Appendix A for sub-segment information.

6.0
Erosion and Sediment Controls
This section includes descriptions of control measures that will be implemented to control pollutants in the storm water discharges.  The control measures shall, at a minimum, be designed to effectively minimize the discharge of pollutants by design, installation, and maintenance, in order to meet effluent limitations required by 40 CFR 450.21.  These limitations were incorporated into the reissued LAR200000, effective March 1, 2012, and the reissued LAR100000, effective October 1, 2014.

6.1
Short and Long Term Goals/Criteria
· Retain sediment on-site to the extent practicable with consideration 


for local topography, soil type, and rainfall.

· Select, install, and maintain control measures according to the 


manufacturer or designer’s specifications.

· Remove sediment accumulations if sediment escapes the site at a 


frequency to minimize further negative effects and, whenever 


feasible, prior to the next storm event.
· Remove sediment from sediment traps and sedimentation ponds 


no later than the time that design capacity has been reduced by 


50%.

· Remove sediment from silt fences before reaching 50% of fence height (above ground).

· Address off-site material storage areas in erosion and sediment control efforts (overburden and dirt stockpiles, borrow areas).
6.2
Best Practicable Technology (BPT)
The chosen controls shall include designs that are effective at minimizing pollutants, and should be installed and maintained to:

· Control storm water volume and velocity in ways that minimize soil erosion.
· Control storm water runoff during peak flow and total storm runoff volume to minimize channel and stream bank erosion and scour around discharge points.

· Minimize exposed soils generated during construction.

· Preserve topsoil where feasible.

· Minimize disturbance of steep slopes on site.

· Minimize sediment discharge with erosion and sediment controls that are designed and installed to address:

· Duration, amount, frequency and intensity of precipitation,
· Nature of resulting runoff,
· Soil characteristics:  range of particle sizes present.

· Use natural buffers around waters of the state and direct runoff to these areas, where feasible.

· Discharges to Outstanding Natural Resource Waters and impaired (Category 5 or 4a), listed in Appendix A of the most recent EPA-approved Quality Inventory Section 305(b) Integrated Report must have a 50-foot buffer zone,

· Explain alternative practices where site constraints limit buffer zones.

· Minimize soil compaction unless dictated by site development

· Utilize outlet structures that withdraw water from the surface of settling basins or impoundments.

6.3   Site-Specific Erosion and Sediment Controls

The erosion and sediment control methods used are listed in the “Erosion and Sediment Control Plan”. The plan for each lot, where applicable, is found in the “Individual Lot Information” section of the appendix.  The sediment controls should address all of the requirements in Sections 6.1 and 6.2 of this SWPPP.
7.0  
Stabilization Practices

The site stabilization practices described in this SWPPP include interim and permanent stabilization   measures that ensure that disturbed portions of the site are stabilized, and that existing vegetation is preserved when possible.  Final stabilization measures may include but are not limited to establishment of permanent self-sustaining perennial vegetation, mulching, geo-textiles, sod stabilization, vegetative buffer strips, protection of existing trees and mature vegetation, and other appropriate measures.

7.1
Deadline to Initiate Stabilization Measures
The types of activities that constitute the initiation of stabilization include, but are not limited to:

· Prepping soil for vegetative or non-vegetative stabilization

· Applying mulch or other non-vegetative product

· Seeding or planting

· Starting stabilization practices on a porting of the area to be stabilized

· Finalizing arrangements to have stabilization product fully installed.

Stabilization measures will be initiated immediately in 
portions of the site where clearing, grading, excavating, or other earth disturbing  activities have permanently ceased on any portion of the site, or temporarily ceased and will not resume for 14 days.  If earth disturbing activities will resume within 14 days, stabilization measures do not have to be initiated on that portion of the site.
7.2
Deadline to Complete Installation of Stabilization Measures
As soon as practicable, but no later than 14 days after initiation of soil stabilization measures, the site will have completed:

· Vegetative Stabilization – initial seeding or planting, and/or

· Non-Vegetative – installation or application of stabilization measures.

With extenuating circumstances like drought, stabilization measures will be completed as soon as practicable.  Routine inspections will be continued until final stabilization requirements, as defined in Part IX of the permit, are met
7.3    Other Deadlines
Where the site is affected by circumstances beyond the control of the Stormwater Permittee, and vegetative stabilization measures are proposed, the following deadlines apply:

· Immediately initiate, and within 14 days complete installation of temporary non-vegetative measures to prevent erosion.

· As soon as conditions allow, the activities required to plant and initially establish vegetation will proceed.

The circumstances that led to the inability to complete the deadlines outlined in sections 7.1 and 7.2 of this SWPPP will be documented, with the outline of a schedule for initiating and completing stabilization.
7.4
Stabilization Records
The stabilization practices implemented will be recorded on the “Stabilization Practice Schedule” found in the appendix.  If construction activities temporarily or permanently cease, then it will be noted in the Stabilization Practice Schedule.

Stabilization Practice Schedule
Address: ___________________________________________

	Stabilization Practices


	Location
	Time Frame*

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


* Time Frame: Includes dates of major grading activities, dates when construction activities temporarily or permanently ceases on a portion of the site, date when stabilization measures are initiated.
8.0 Structural Controls

8.1   Structural Control Requirements

Sediment traps and sediment basins may be used to control 
solids in storm water runoff for drainage locations serving less than ten (10) acres.  Sediment basins must utilize outlet structures that release water from the surface, unless infeasible.  
 At a minimum, silt fences, vegetative buffer strips, or equivalent 


sediment controls are required for all down slope boundaries (and 

for those side slope boundaries deemed appropriate as dictated by 

individual site conditions) of the construction.  

8.2 Site Structural Controls

The structural controls used on each lot are listed on the Structural Controls Sheet included in the Site Information Section of 
the appendix. These controls are used to divert flows away from exposed soils, to limit the contact of runoff with disturbed areas, or to lessen the off-site transport of eroded soils. 
Structural Control Sheet
Address: ______________________________________
	Structural Control Selected


	Rational

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


9.0 
Storm Water MANAGEMENT

If any permanent storm water controls (e.g. detention ponds, catch 
basin filter inserts, etc.) or velocity dissipation devices are installed during the construction process to control pollutants in storm water discharges and will remain in place after the completion of construction operations will be noted on the Structural Control Sheet found in the Site Information section of the appendix. 
10.0 
Other Controls 


10.1  
Other Control Requirements


To minimize off-site tracking of sediments and generation of dust,  
typical controls may include stabilized construction entrances, 
shoveling and sweeping, watering for dust control, etc.


All construction and waste materials that pose a potential pollutant 
source to the storm water runoff from the construction site will be 
stored in such a manner so as to prevent or minimize storm water 
contact. 


To demonstrate that all applicable state and local regulations 
governing waste disposal, 
sanitary sewer or septic systems are 
being obeyed, the following practices are in place: 

· The site will have the typical waste lumber, insulation, sheetrock, roofing, used paint 
supplies, etc. commonly found on a construction site. Either a roll off dumpster or wire fence containment will be provided for storing trash and rubbish until it can be properly disposed of. The dumpster or fence containment will be covered  when not in use to prevent storm water from coming into contact with the trash and rubbish.
· Any concrete or asphalt plants associated with the project will be permitted and operated under their appropriate stormwater pollution prevention control plans.
· Any controls required for endangered or threatened species or their habitat, and/or those required by the State Historic Preservation Officer (SHPO) will be installed properly and maintained accordingly.
10.2 Other Controls at the Site:


If any other controls will be used, it will be described on the Other Control Sheet found in the Site Information in the appendix.  For complex sites with more comprehensive controls, details are included in Appendix C.
Other Controls Sheet
	Controls

	Rationale


	Dust -

	Water as needed

	Off-site Tracking - 

	Shoveling or sweeping as needed

	Sewage - 

	Port-a-toilets for workers; POTW for residence

	Construction Litter and Trash -

	Covered dumpster to minimize waste materials contact with storm water

	
	

	
	


11.0 APPROVED LOCAL PLAN

The local requirements for an Erosion and Sediment Control Plan 


have been fulfilled and are included in the “Site Information” 
section of the appendix.
12.0
Maintenance


All erosion and sediment control measures and other protective measures 
identified in this SWP3 must be maintained in effective operating 
condition.  If through inspections the permittee determines that BMPs are 
not operating effectively, maintenance must be performed before the next 
anticipated storm event or as necessary to maintain the continued 
effectiveness of storm water controls.  If maintenance prior to the next 
anticipated storm event is impracticable, maintenance must be scheduled 
and accomplished as soon as practicable.  Erosion and sediment controls 
that have been intentionally disabled, run-over, removed, or otherwise 
rendered ineffective must be replaced or corrected immediately upon 
discovery.

13. 0
Inspections of Controls


Inspections will be performed as indicated below.

_____ Inspections of controls will occur once every seven (7) calendar 
days occurring on the same day of the week. 

_____ At least once every 14 calendar days, before anticipated storm 
events (or series of storm events such as intermittent showers over one or 
more days) and within 24 hours of the end of a storm event of 0.5 inches 
or greater. 

The inspection report will be reported using the Construction 
Site Inspection Report found in the Site Information section.


During these inspections, erosion and sediment control measures 
identified in the SWP3 shall be observed to ensure that they are operating 
correctly.  Locations where vehicles enter or exit the site shall be 
inspected for evidence of off-site sediment tracking.


Based on the results of the inspection, the site description and pollution 
prevention measures in this plan shall be revised as appropriate, but in no 
case later than seven calendar days following the inspection. Such 
modifications shall provide for timely implementation of any changes to the 
plan within seven calendar days following the inspection.


A report summarizing the scope of the inspection, name of personnel 
making the inspection, the date of the inspection, major observations 
relating to the implementation of the SWP3 (including if applicable the 
location(s) of discharges of sediment or other pollutants from the site and 
any control devise that failed to operate as designed or proved inadequate 
for a particular location), and actions taken shall be made and retained as 
part of the SWP3 for at least three years from the date that the site is 
finally stabilized. Such shall identify any incidents of non-compliance.



If the inspection indicates the site is in compliance (no non-compliance 
issues found), then the report shall certify that no non-compliance issues 
were found.

14.0 CONTRACTORS AND SUBCONTRACTORS RESPONSIBILITY
Each control measure implemented on site is identified along with the person responsible for implementing that measure in the Erosion and Sediment Control Plan found in the “Site Information” section of the appendix. 
A list of contractors and subcontractors and the control measures their operations impact is listed in the “Site Information” section of the appendix. 


All contractors and subcontractors working at the site are informed of 
the terms and conditions of the SWP3 and their obligation to follow the 
plan. 
In doing so, they agree not to perform their operations counter to 
the plan without first contacting the builder in order that the necessary 
adjustments 
to the SWP3 plan can be made to assure that pollutants are 
not discharged from the site in the storm water runoff.
15.0 UTILITY COMPANIES
Each control measure relating to the installation of utility service, and the party implementing the measure is listed in the “Erosion and 
Sediment Control Plan” found in the “Site Information” section in the appendix.
16.0 EMERGENCY NOTIFICATION

In the event of an unauthorized discharge that causes an emergency condition, the operator shall notify the hotline notify the hotline (DPS 24-hour Louisiana Emergency Hazardous materials Hotline) by telephone at (225) 925-6595 no later than one hour after learning of the discharge.  Notification will be made regardless of the amount of the discharge.   A written notification shall be provided within seven (7) calendar days after the telephone notification, in accordance with the general permit requirements.
APPENDIX A

General Location Map

AND
Site Map

APPENDIX B

LPDES Construction General Permit

LAR100000/LAR200000
(Circle One)
APPENDIX C

Site Information


Content:
1.
General Description Sheet




2.
Schedule Sheet for Soil Disturbing Activities




3.
Soil Data Sheet




4.
Erosion and Sediment Control Site Map




5.
Erosion and Sediment Control Plan




6.
Stabilization Practice Schedule




7.
Structural Control Sheet




8.
Construction Site Inspection Report



General Description Sheet

Description of Project: 
_____________________________________


____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

___________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

___________________________________________________________

Schedule Sheet for Soil Disturbing Activities
Estimate Construction Start Date:  ______________________

Estimate Construction End Date:   ______________________

	Activity


	Estimated Time
	Actual Time 

	Land clearing


	
	

	Excavation


	
	

	Filling


	
	

	Paving


	
	

	Install foundations, retaining walls, etc


	
	

	Grading


	
	

	Utilities


	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Soil Data Sheet

Pre-construction runoff coefficient: ____________________

Post-construction runoff coefficient: ___________________


Runoff Coefficient:

High: 70-100% impervious (example: asphalt, buildings, paved surfaces)

Medium: 40-70% impervious (example: packed soils)

Low: 0-40% impervious (example: grassy areas)

Description of soil type: 
_____________________________________


____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

____________________________________________________________

Insert Erosion and Sediment Control Site Map

Insert Erosion and Sediment Control Plan

Stabilization Practice Schedule
Address: ___________________________________________

	Stabilization Practices


	Location
	Time Frame*

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


* Time Frame: Includes dates of major grading activities, dates when construction activities temporarily or permanently ceases on a portion of the site, date when stabilization measures are initiated.
Structural Control Sheet

Address: ______________________________________
	Structural Control Selected


	Rational

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


INSPECTION REPORT
Address: 

____________________________________________

Date: 


____________________________________________

Inspector/Title: 
____________________________________________

	Erosion and Sediment Control Measure
	Satisfactory

Yes/No
	Comments

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Entrance(s):
Clear of Mud, Dirt, Debris, or Tracking 
Yes _____, No _____




Corrective Action________________________________________

Outfall Locations:
BMPs are in place and working.
Yes _____,
No _____



Corrective Action________________________________________

Disturbed Area(s):
BMPs are in place and working.
Yes _____,
No _____



Corrective Action________________________________________

Summary of Findings:

Non-Compliance Issues:

Site is in Compliance 
Yes _____
No _______

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I also certify that a storm water pollution prevention plan, including both construction and post construction controls, has been prepared for the site in accordance with the permit and that such plan complies with approved State, Tribal and/or local sediment and erosion plans or permits and/or storm water management plans or permits. I am aware that signature and submittal of the NOI is deemed to constitute my determination of eligibility under one or more of the requirements of Permit Part I.A.3.e(1), related to the Endangered Species Act requirements. To the best of my knowledge, I further certify that such discharges and discharge related activities will not have an effect on properties listed or eligible for listing on the National Register of Historic Places under the National Historic Preservation Act, or are otherwise eligible for coverage under Part I.A.3.f of the permit. I am also aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”
	
	
	

	Name and Title

	
	Telephone Number

	
	
	

	Signature


	
	Date


