Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications

SECTION 05511 – METAL STAIRS 
PART 1 -  GENERAL

1.1 SUMMARY
A. This Section includes the following:

Adjust list below to suit Project.

1. Preassembled steel stairs with concrete-filled treads.

2. Steel tube railings attached to metal stairs and to walls adjacent to metal stairs.

Usually retain subparagraph above for preassembled steel stairs.  Retain paragraph below for industrial-type stairs.

B. See Division 05 Section "Pipe and Tube Railings" for pipe and tube railings.

1.2 PERFORMANCE REQUIREMENTS

Delete this Article if requirements are indicated on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.

A. Structural Performance of Stairs:  Provide metal stairs capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Revise subparagraphs below to suit Project and to comply with requirements of authorities having jurisdiction.

1. Uniform Load:  100 lbf/sq. ft. (4.79 kN/sq. m).

2. Concentrated Load:  300 lbf (1.33 kN) applied on an area of 4 sq. in. (2580 sq. mm).

3. Uniform and concentrated loads need not be assumed to act concurrently.

4. Stair Framing:  Capable of withstanding stresses resulting from railing loads in addition to loads specified above.

Preassembled steel stair manufacturers usually design stairs to L/240.

5. Limit deflection of treads, platforms, and framing members to L/240  or 1/4 inch (6.4 mm), whichever is less.

B. Structural Performance of Railings:  Provide railings capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs and associated subparagraphs below are based on typical requirements of model codes.  Revise to suit Project and to comply with requirements of authorities having jurisdiction.

1. Handrails:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Top Rails of Guards:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

3. Infill of Guards:

a. Concentrated load of 50 lbf (0.22 kN) applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

Select subparagraph above or first subparagraph below.  Above applies to 1996 and 1999 BOCA Codes and 2000 International Building Code.  Below applies to 1997 Uniform Building Code.

b. Uniform load of 25 lbf/sq. ft. (1.2 kN/sq. m) applied horizontally.

c. Infill load and other loads need not be assumed to act concurrently.

1.3 SUBMITTALS
A. Product Data:  For metal stairs.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. Include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1.4 COORDINATION
A. Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

B. Coordinate locations of hanger rods and struts with other work so that they will not encroach on required stair width and will be within the fire-resistance-rated stair enclosure.

PART 2 -  PRODUCTS
2.1 METALS
A. Metal Surfaces, General:  Provide materials with smooth, flat surfaces without blemishes.

B. Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

Usually retain all three options in paragraph below unless structural engineer of record has designed railings.

C. Steel Tubing:  ASTM A 500 (cold formed) or ASTM A 513, Type 5 (mandrel drawn).

D. Rolled-Steel Floor Plate:  ASTM A 786/A 786M, rolled from plate complying with ASTM A 36/A 36M or ASTM A 283/A 283M, Grade C or D.

E. Wire Rod for Grating Crossbars:  ASTM A 510 (ASTM A 510M).

F. Iron Castings:  Either gray iron, ASTM A 48/A 48M, Class 30, or malleable iron, ASTM A 47/A 47M, unless otherwise indicated.

G. Uncoated, Cold-Rolled Steel Sheet:  ASTM A 1008/A 1008M, either commercial steel, Type B, or structural steel, Grade 25 (Grade 170).

Cold-rolled sheet has smoother surface finish than hot-rolled sheet.  Most manufacturers use hot-rolled sheet.

H. Uncoated, Hot-Rolled Steel Sheet:  ASTM A 1011/A 1011M, either commercial steel, Type B, or structural steel, Grade 30 (Grade 205).

2.2 MISCELLANEOUS MATERIALS

A. Fasteners:  Provide zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 25 for exterior use, and Class Fe/Zn 5 where built into exterior walls.

B. Universal Shop Primer:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79.

Delete first two paragraphs below if not required for prefilled stair treads.

C. Concrete Materials and Properties:  Comply with requirements in Division 03 Section "Cast-in-Place Concrete" for normal-weight, air-entrained, ready-mix concrete with a minimum 28-day compressive strength of 3000 psi (20 MPa), unless otherwise indicated.

D. Welded Wire Fabric:  ASTM A 185, 6 by 6 inches (152 by 152 mm)--W1.4 by W1.4, unless otherwise indicated.

2.3 FABRICATION
Delete first paragraph and list below if industrial-type stairs are used and can be fabricated by local ironworks.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

A. Provide complete stair assemblies, including metal framing, hangers, struts, railings, clips, brackets, bearing plates, and other components necessary to support and anchor stairs and platforms on supporting structure.

Delete first two subparagraphs below if not required.

1. Join components by welding, unless otherwise indicated.  Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.  Obtain fusion without undercut or overlap.  Remove welding flux immediately.  At exposed connections, finish exposed welds smooth and blended.

2. Use connections that maintain structural value of joined pieces.

3. Cut, drill, and punch metals cleanly and accurately.  Remove burrs and ease edges, unless otherwise indicated.  Remove sharp or rough areas on exposed surfaces.

4. Form bent-metal corners to smallest radius possible without impairing work.

5. Form exposed connections with hairline joints, flush and smooth, using concealed fasteners where possible.  Locate joints where least conspicuous.

Steel plate stringers are less expensive than channels, except for longer spans, and allow railing posts to be welded to face of stringer.

B. Stair Framing:  Fabricate stringers of steel plates or channels  Construct platforms of steel   plate or channel headers and miscellaneous framing members.

1. If using bolts, fabricate and join so bolts are not exposed on finished surfaces.

Delete subparagraph below if not required.

2. Where stairs are enclosed by gypsum-board assemblies, provide hanger rods or struts to support landings from floor construction above or below.

Delete subparagraph below if not required.

Delete paragraph and subparagraphs below if concrete-filled, epoxy-resin-filled, or precast concrete tread metal-pan stairs are not required.

C. Metal-Pan Stairs:  Form risers, subtread pans, and subplatforms to configurations shown from steel sheet of thickness needed to comply with performance requirements but not less than 0.0677 inch (1.7 mm).

Delete subparagraph below if not permitted or revise if required.

1. Provide stair assemblies with metal-pan subtreads filled with reinforced concrete.

Treads below are an alternative to prefilled concrete treads.

Delete paragraph below if not required.  Be aware that abrasive-coating-finished, formed-metal stairs are noisy.

Delete paragraph below if not required.

Revise paragraph and subparagraphs below if other types of gratings are required, or delete if not required.  See Division 05 Section "Metal Gratings" for additional grating types.

Usually retain paragraph and subparagraphs below for railings included with preassembled stairs.  For steel-framed industrial-type stairs, usually specify railings in another Section.

D. Steel Tube Railings:  Fabricate railings to comply with requirements indicated for design, dimensions, details, finish, and member sizes, including wall thickness of tube, post spacings, and anchorage, but not less than that needed to withstand indicated loads.

Select one configuration from first three subparagraphs below or revise depending on style of railing used and code requirements.  Delete all if configuration is shown on Drawings.

1. Configuration:  1-5/8-inch- (41-mm-) diameter  top and bottom rails, 1-1/2-inch- (38-mm-) square posts, and 1/2-inch- (13-mm-) square pickets spaced less than 4 inches (100 mm) clear.

2. Fabricate railings with welded connections.  Cope components at connections to provide close fit, or use fittings designed for this purpose.

3. Form changes in direction of railings by bending or by inserting prefabricated fittings.

4. Form curves by bending members in jigs to produce uniform curvature without buckling.

5. Close exposed ends of railing members with prefabricated end fittings.

6. Provide wall returns at ends of wall-mounted handrails.

7. Provide wall brackets, end closures, flanges, miscellaneous fittings, and anchors for interconnecting components and for attaching to other work.

8. Connect posts to stair framing by direct welding.

2.4 FINISHES
A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.  Finish metal stairs after assembly.

B. Hot-dip galvanize stair components below second floor level.  Comply with ASTM A 123/A 123M or ASTM A 153/A 153M as applicable.

C. Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with requirements indicated below for environmental exposure conditions of installed products:

Retain one or both subparagraphs below to suit Project service conditions of installed work.  Insert other exposures and preparation requirements where applicable.  Refer to SSPC's painting manual.

1. Interior Stairs (SSPC Zone 1A):  SSPC-SP 3, "Power Tool Cleaning."

D. Apply shop primer to uncoated surfaces of metal stair components.  Comply with SSPC-PA 1, "Paint Application Specification No. 1:  Shop, Field, and Maintenance Painting of Steel," for shop painting.

PART 3 -  EXECUTION
3.1 INSTALLATION
A. Perform cutting, drilling, and fitting required for installing metal stairs.  Set units accurately in location, alignment, and elevation, measured from established lines and levels and free of rack.

Delete first paragraph below if other fastening methods are acceptable.

B. Install metal stairs by welding stair framing to steel structure, unless otherwise indicated.

C. Fit exposed connections accurately together to form hairline joints.  Weld connections that are not to be left as exposed joints.  Do not weld, cut, or abrade surfaces of units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

Delete paragraph and subparagraph below if concrete-filled metal-pan treads are not used.

D. Place and finish concrete fill for treads and platforms to comply with Division 03 Section "Cast-in-Place Concrete."

E. Attach handrails to wall with wall brackets.

1. Use type of bracket with predrilled hole for exposed bolt anchorage.

F. Adjusting and Cleaning:

1. Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting.

END OF SECTION 05511

METAL STAIRS

05511 - 4

