Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
11/02 (05/06)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 011000 - SUMMARY
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Much of this Section consists of Project-specific data.  Examples given in the model text in the Evaluations illustrate possible Section content.  Use the model text to develop text for specific Project requirements.  See Evaluations.

This Section and others in Division 01 that deal with multiple contracts use four contracts to illustrate a typical project conducted under multiple contracts.  Revise to suit Project.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Work covered by the Contract Documents.

2. Type of the Contract.

3. Work phases.

4. Work under other contracts.

5. Products ordered in advance.

6. Owner-furnished products.

7. Use of premises.

8. Owner's occupancy requirements.

9. Work restrictions.

10. Specification formats and conventions.

B. Related Sections include the following:

1. Division 01 Section "Multiple Contract Summary" for division of responsibilities for the Work.

2. Division 01 Section "Temporary Facilities and Controls" for limitations and procedures governing temporary use of Owner's facilities.

1.3 WORK COVERED BY CONTRACT DOCUMENTS

A. Project Identification:  <Insert Project identifier such as Project name and number.>

1. Project Location:  <Insert Project location (street address, city, and state).>

B. Owner:  <Insert name and address of Owner.>

1. Owner's Representative:  <Insert name and address of Owner's representative.>

C. Architect:  <Insert name and address of Architect.>

Retain paragraph below only if Contractor is selected by negotiation and subcontracts are subsequently bid.

D. Contractor:  <Insert name and address of Contractor> has been engaged as Contractor for this Project.

Delete paragraph and subparagraphs below if Owner has not engaged a construction manager.

E. Construction Manager:  <Insert name and address of Construction Manager.>

1. Construction Manager has been engaged for this Project to serve as an advisor to Owner and to provide assistance in administering the Contract for Construction between Owner and[ each] Contractor, according to a separate contract between Owner and Construction Manager.

Select subparagraph above or below.  Above is for Construction Manager in the role as advisor when Owner directly contracts with subcontractors; below is for Construction Manager in the role of constructor who in turn subcontracts portions of the Work.

2. Construction Manager for this Project is Project's Constructor.  In Divisions 01 through 49 Sections, the terms "Construction Manager" and "Contractor" are synonymous.

Paragraph below identifies Project Coordinator for projects constructed under multiple contracts.  Revise if additional information is necessary.

F. Project Coordinator:  <Insert name and address of Project Coordinator> has been appointed by Owner to serve as Project Coordinator.

In paragraph and subparagraph below, include an abbreviated summary of the Work for Project described above.  See Evaluations.

G. The Work consists of the following:

1. The Work includes <Insert a brief listing of major products and systems included in Project>.

Insert additional paragraphs for other major items of work.  See Evaluations for model text.

1.4 TYPE OF CONTRACT

A. Project will be constructed under a single prime contract.

Select paragraph above or paragraph and subparagraph below.

B. Project will be constructed under multiple contracts.  See Division 01 Section "Multiple Contract Summary" for a description of work included under each separate contract.  Contracts for this Project include the following:

Insert text in subparagraph below to suit Project.  See Evaluations for model text.

1. <Insert name of the Contract.>

Repeat subparagraph above as often as necessary for all contracts for Project.

1.5 WORK PHASES

Delete this Article if phased construction is not required.  See Evaluations.

Revise first paragraph below to suit Project.  See Evaluations for model text.

A. The Work shall be conducted in <Insert number> phases in the following order, with each phase substantially complete before beginning the next phase:

Copy and re-edit first subparagraph below for each phase required.  Repeat subparagraph, revised as appropriate, for each separate phase.  See Evaluations for model text.

1. Phase <Insert designation>:  <Briefly describe work of this phase> Work of this phase shall be substantially complete and ready for occupancy within <Insert number of days> after [the Notice to Proceed] [commencement of construction of this phase].

2. Phase <Insert designation>:  The remaining Work shall be substantially complete and ready for occupancy at time of Substantial Completion.

B. Before commencing Work of each phase, submit a schedule showing the sequence, commencement and completion dates, and move-out and -in dates of Owner's personnel for all phases of the Work.

1.6 WORK UNDER OTHER CONTRACTS

Retain this Article if work under this Contract depends on successful completion of work performed under other contracts and vice versa.  See Evaluations.

A. General:  Cooperate fully with separate contractors so work on those contracts may be carried out smoothly, without interfering with or delaying work under this Contract.  Coordinate the Work of this Contract with work performed under separate contracts.

Retain paragraph and subparagraph below if work under other contracts is expected to be complete before work under this Contract begins.  Revise to suit Project.  See Evaluations for model text.

B. Preceding Work:  Owner [has awarded] [will award] separate contract(s) for the following construction operations at Project site.  Those operations are scheduled to be substantially complete before work under this Contract begins.

Copy and re-edit subparagraph below for each separate contract.

1. <Insert name of the Contract>:  A separate contract [has been] [will be] awarded to <Insert name of separate Contractor> [to] [for] <Insert a brief description of work performed under separate contract>.

Retain paragraph and subparagraph below if work under other contracts will be conducted concurrently with work under this Contract.  Revise to suit Project.  See Evaluations for model text.

C. Concurrent Work:  Owner [has awarded] [will award] separate contract(s) for the following construction operations at Project site.  Those operations will be conducted simultaneously with work under this Contract.

Copy and re-edit subparagraph below for each separate contract.

1. <Insert name of the Contract>:  A separate contract [has been] [will be] awarded to <Insert name of separate Contractor> [to] [for] <Insert a brief description of work performed under separate contract>.

Retain paragraph and subparagraph below if work under future contracts depend on successful completion of work performed under this Contract; revise to suit Project.  See Evaluations for model text.

D. Future Work:  Owner [has awarded] [will award] separate contract(s) for the following additional work to be performed at site after Substantial Completion.  Completion of that work will depend on successful completion of preparatory work under this Contract.

Copy and re-edit subparagraph below for each separate contract.

1. <Insert name of the Contract>:  A separate contract [has been] [will be] awarded to <Insert name of separate Contractor> [to] [for] <Insert a brief description of work performed under separate contract>.

1.7 PRODUCTS ORDERED IN ADVANCE

This Article is an example of a requirement best described in this Section.  Delete if Owner does not order products or equipment in advance.  See Evaluations.

A. General:  Owner has negotiated Purchase Orders with suppliers of material and equipment to be incorporated into the Work.  Owner will assign these Purchase Orders to Contractor.  Costs for receiving, handling, storage if required, and installation of material and equipment are included in the Contract Sum.

1. Contractor's responsibilities are same as if Contractor had negotiated Purchase Orders, including responsibility to renegotiate purchase and to execute final Purchase-Order agreements.

B. List of Products Ordered in Advance:

1. <Insert description, in separate subparagraphs, for each product ordered in advance.>

1.8 OWNER-FURNISHED PRODUCTS

This Article defines responsibilities of Owner and Contractor for Owner-furnished items.

Retain first paragraph below if Owner furnishes products for a project.  Delete option and insert text to suit Project.  Revise second sentence as appropriate, or delete entirely if not required.  See Evaluations for model text.

A. Owner will furnish products indicated.  The Work includes providing support systems to receive Owner's equipment[ and making plumbing, mechanical, and electrical connections].

Retain subparagraphs below for all projects with Owner-furnished material.

1. Owner will arrange for and deliver Shop Drawings, Product Data, and Samples to Contractor.

2. Owner will arrange and pay for delivery of Owner-furnished items according to Contractor's Construction Schedule.

3. After delivery, Owner will inspect delivered items for damage.  Contractor shall be present for and assist in Owner's inspection.

4. If Owner-furnished items are damaged, defective, or missing, Owner will arrange for replacement.

5. Owner will arrange for manufacturer's field services and for delivery of manufacturer's warranties to Contractor.

6. Owner will furnish Contractor the earliest possible delivery date for Owner-furnished products.  Using Owner-furnished earliest possible delivery dates, Contractor shall designate delivery dates of Owner-furnished items in Contractor's Construction Schedule.

7. Contractor shall review Shop Drawings, Product Data, and Samples and return them to [Architect] [Construction Manager] noting discrepancies or anticipated problems in use of product.

8. Contractor is responsible for receiving, unloading, and handling Owner-furnished items at Project site.

9. Contractor is responsible for protecting Owner-furnished items from damage during storage and handling, including damage from exposure to the elements.

10. If Owner-furnished items are damaged as a result of Contractor's operations, Contractor shall repair or replace them.

11. Contractor shall install and otherwise incorporate Owner-furnished items into the Work.

B. Owner-Furnished Products:

1. <Insert description, in separate subparagraphs, for each Owner-furnished product.>

1.9 USE OF PREMISES

Retain one of two paragraphs below.  Retain first paragraph if Project is on a vacant site or in an unoccupied building being renovated and there are no Owner-occupancy requirements.  Retain second if Owner will occupy portions of an existing site or building.  Revise to suit Project.

A. General:  [Each ]Contractor shall have full use of premises for construction operations, including use of Project site, during construction period.  [Each ]Contractor's use of premises is limited only by Owner's right to perform work or to retain other contractors on portions of Project.

B. General:  [Each ]Contractor shall have limited use of premises for construction operations as indicated on Drawings by the Contract limits.

Retain paragraph and subparagraphs below if Project site will be accessible to other parties or if parts of a building being renovated will be occupied during construction.  Revise to suit Project.  See Evaluations for model text.

C. Use of Site:  Limit use of premises to [work in areas] [areas within the Contract limits] indicated.  Do not disturb portions of Project site beyond areas in which the Work is indicated.

Retain subparagraph below on projects where necessary to describe areas of a site where work is permitted.  Expand to indicate areas of site where incursions are forbidden under any circumstances.  See Evaluations for model text.

1. Limits:  Confine constructions operations to <Insert description of areas where work is permitted>.

Retain first subparagraph below for greenfield sites if reduced site disturbance is required for LEED-NC Credit SS 5.1.  See Evaluations.

a. Limit site disturbance, including earthwork and clearing of vegetation, to 40 feet (12.2 m) beyond building perimeter; 10 feet (3 m) beyond surface walkways, patios, surface parking, and utilities less than 12 inches (300 mm) in diameter; 15 feet (4.5 m) beyond primary roadway curbs and main utility branch trenches; and 25 feet (7.6 m) beyond constructed areas with permeable surfaces (such as pervious paving areas, stormwater detention facilities, and playing fields) that require additional staging areas in order to limit compaction in the constructed area.

2. Owner Occupancy:  Allow for Owner occupancy of Project site[ and use by the public].

Subparagraph and associated subparagraphs below are examples of a special requirement appropriate to many projects.  Revise to suit Project or delete.

3. Driveways and Entrances:  Keep driveways[ parking garage,][ loading areas,] and entrances serving premises clear and available to Owner, Owner's employees, and emergency vehicles at all times.  Do not use these areas for parking or storage of materials.

a. Schedule deliveries to minimize use of driveways and entrances.

b. Schedule deliveries to minimize space and time requirements for storage of materials and equipment on-site.

Insert other paragraphs, as appropriate, describing additional limitations on use of site by construction personnel.  See Evaluations for model text.

Retain paragraph below if the Work involves existing occupied building; otherwise, delete.

D. Use of Existing Building:  Maintain existing building in a weathertight condition throughout construction period.  Repair damage caused by construction operations.  Protect building and its occupants during construction period.

Insert additional paragraphs specifying specific limitations on use of existing building.  See Evaluations for model text.

1.10 OWNER'S OCCUPANCY REQUIREMENTS

Retain first paragraph and subparagraph below if Owner will occupy all or part of premises during construction.  Revise to suit Project.  See Evaluations.

A. Full Owner Occupancy:  Owner will occupy site and [existing] [adjacent] building during entire construction period.  Cooperate with Owner during construction operations to minimize conflicts and facilitate Owner usage.  Perform the Work so as not to interfere with Owner's day-to-day operations.  Maintain existing exits, unless otherwise indicated.

1. Maintain access to existing walkways, corridors, and other adjacent occupied or used facilities.  Do not close or obstruct walkways, corridors, or other occupied or used facilities without written permission from Owner and authorities having jurisdiction.

2. Provide not less than [72] <Insert number> hours' notice to Owner of activities that will affect Owner's operations.

B. Partial Owner Occupancy:  Owner will occupy the premises during entire construction period, with the exception of areas under construction.  Cooperate with Owner during construction operations to minimize conflicts and facilitate Owner usage.  Perform the Work so as not to interfere with Owner's operations.  Maintain existing exits, unless otherwise indicated.

1. Maintain access to existing walkways, corridors, and other adjacent occupied or used facilities.  Do not close or obstruct walkways, corridors, or other occupied or used facilities without written permission from Owner and authorities having jurisdiction.

2. Provide not less than [72] <Insert number> hours' notice to Owner of activities that will affect Owner's operations.

Retain paragraph and subparagraphs below if Owner might occupy completed portions of building before Substantial Completion.  Revise to suit Project.

C. Owner Occupancy of Completed Areas of Construction:  Owner reserves the right to occupy and to place and install equipment in completed areas of building, before Substantial Completion, provided such occupancy does not interfere with completion of the Work.  Such placement of equipment and partial occupancy shall not constitute acceptance of the total Work.

Subparagraphs below describe procedures and requirements necessary before partial occupancy of portions of Project.

1. Architect will prepare a Certificate of Substantial Completion for each specific portion of the Work to be occupied before Owner occupancy.

2. Obtain a Certificate of Occupancy from authorities having jurisdiction before Owner occupancy.

3. Before partial Owner occupancy, mechanical and electrical systems shall be fully operational, and required tests and inspections shall be successfully completed.  On occupancy, Owner will operate and maintain mechanical and electrical systems serving occupied portions of building.

4. On occupancy, Owner will assume responsibility for maintenance and custodial service for occupied portions of building.

1.11 WORK RESTRICTIONS

A. On-Site Work Hours:  Work shall be generally performed inside the existing building during normal business working hours of <Insert time> a.m. to <Insert time> p.m., Monday through Friday, except otherwise indicated.

1. Weekend Hours:  <Insert restrictions on times permitted for weekend work.>

2. Early Morning Hours:  <Insert restrictions or references to regulations by authorities having jurisdiction for restrictions on noisy work.>

3. Hours for Utility Shutdowns:  <Insert Owner's restrictions.>

4. Hours for [Core Drilling] <Insert noisy activity>:  <Insert Owner's restrictions.>

Delete first paragraph and subparagraphs below if no existing utilities.  Coordinate with requirements for temporary utilities specified in Division 01 Section "Temporary Facilities and Controls."

B. Existing Utility Interruptions:  Do not interrupt utilities serving facilities occupied by Owner or others unless permitted under the following conditions and then only after arranging to provide temporary utility services according to requirements indicated:

Edit first subparagraph below to suit Project.

1. Notify [Architect] [Construction Manager] [Owner] not less than [two] <Insert number> days in advance of proposed utility interruptions.

2. Do not proceed with utility interruptions without [Architect's] [Construction Manager's] [Owner's] written permission.

Retain paragraph below if required for LEED-NC, LEED-CI, or LEED-EB Prerequisite EQ 2.

C. Nonsmoking Building:  Smoking is not permitted within the building or within 25 feet (8 m) of entrances, operable windows, or outdoor air intakes.

Insert additional paragraphs to specify restrictions on Contractor's use of premises or to specify limitations because of Owner occupancy.

1.12 SPECIFICATION FORMATS AND CONVENTIONS

Delete this Article or portions of it if unnecessary.  See Evaluations.

Revise paragraph below if a more detailed explanation of format is required.

A. Specification Format:  The Specifications are organized into Divisions and Sections using the 50-division format and CSI/CSC's "MasterFormat" numbering system.

Delete first subparagraph below unless there is a need to explain the method used to identify Sections in the Specifications.  See Evaluations.

1. Section Identification:  The Specifications use Section numbers and titles to help cross-referencing in the Contract Documents.  Sections in the Project Manual are in numeric sequence; however, the sequence is incomplete because all available Section numbers are not used.  Consult the table of contents at the beginning of the Project Manual to determine numbers and names of Sections in the Contract Documents.

2. Division 01:  Sections in Division 01 govern the execution of the Work of all Sections in the Specifications.

If necessary, insert paragraphs that explain Section-numbering and page-numbering systems used; add an explanation of line-numbering or alphanumeric paragraph-outline system used in the Specifications and the method of text subordination.

Delete paragraph and subparagraphs below if an explanation of conventions used in the Specifications is not necessary.  Revise if additional requirements are needed.

B. Specification Content:  The Specifications use certain conventions for the style of language and the intended meaning of certain terms, words, and phrases when used in particular situations.  These conventions are as follows:

1. Abbreviated Language:  Language used in the Specifications and other Contract Documents is abbreviated.  Words and meanings shall be interpreted as appropriate.  Words implied, but not stated, shall be inferred as the sense requires.  Singular words shall be interpreted as plural, and plural words shall be interpreted as singular where applicable as the context of the Contract Documents indicates.

2. Imperative mood and streamlined language are generally used in the Specifications.  Requirements expressed in the imperative mood are to be performed by Contractor.  Occasionally, the indicative or subjunctive mood may be used in the Section Text for clarity to describe responsibilities that must be fulfilled indirectly by Contractor or by others when so noted.

a. The words "shall," "shall be," or "shall comply with," depending on the context, are implied where a colon (:) is used within a sentence or phrase.

1.13 MISCELLANEOUS PROVISIONS

Retain this Article only when Project is subject to unusual general requirements that do not belong elsewhere but that affect entire Project.  See Evaluations for model text.  Delete Article if no unusual requirements.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION (Not Used)

END OF SECTION 011000

SUMMARY
011000 - 1

