Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 018113 - SUSTAINABLE DESIGN REQUIREMENTS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Review the Evaluations and the applicable LEED rating system before editing this Section.  Unless otherwise noted, references to LEED are to LEED-NC, Version 2.2, and LEED-CI, Version 2.0.

Where practical, terminology used in this Section has been made identical to or at least consistent with terminology used in the LEED rating systems; if questions arise relating to terminology, review the applicable LEED reference guide and the standards referenced by the applicable LEED rating system for possible explanations.

If Project design team does not include a LEED-Accredited Professional, consider engaging a consultant; Credit ID 2 applies if at least one principal participant of Project team is a LEED-Accredited Professional.  Note that all LEED credits are optional, so requirements for credits not sought should be deleted.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes general requirements and procedures for compliance with certain USGBC LEED prerequisites and credits needed for Project to obtain LEED [-Certified] [Silver] [Gold] [Platinum] certification based on [LEED-NC, Version 2.2] [LEED-CI, Version 2.0].

1. Other LEED prerequisites and credits needed to obtain LEED certification depend on material selections and may not be specifically identified as LEED requirements.  Compliance with requirements needed to obtain LEED prerequisites and credits may be used as one criterion to evaluate substitution requests and comparable product requests.

2. Additional LEED prerequisites and credits needed to obtain the indicated LEED certification depend on Architect's design and other aspects of Project that are not part of the Work of the Contract.

If retaining subparagraph below, attach a copy of the LEED checklist to the end of this Section as information for Contractor.

3. A copy of the LEED Project checklist is attached at the end of this Section for information only.

B. Related Sections:

Retain subparagraph below for requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Divisions 01 through 33 Sections for LEED requirements specific to the work of each of these Sections.  Requirements may or may not include reference to LEED.

1.3 DEFINITIONS

A. Chain-of-Custody Certificates:  Certificates signed by manufacturers certifying that wood used to make products was obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."  Certificates shall include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

B. LEED:  Leadership in Energy & Environmental Design.

First paragraph below is based on "Requirements" and "Potential Technologies & Strategies" paragraphs in LEED-NC and LEED-CI Credit MR-6.  LEED requirements say "made from plants" but LEED includes wool as an example.

C. Rapidly Renewable Materials:  Materials made from plants that are typically harvested within a 10-year or shorter cycle.  Rapidly renewable materials include products made from bamboo, cotton, flax, jute, straw, sunflower seed hulls, vegetable oils, or wool.

First paragraph below applies to LEED-NC.

D. Regional Materials:  Materials that have been extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.  If only a fraction of a product or material is extracted/harvested/recovered and manufactured locally, then only that percentage (by weight) shall contribute to the regional value.

First two paragraphs below apply to LEED-CI.

E. Regionally Manufactured Materials:  Materials that are manufactured within a radius of 500 miles (800 km) from Project site.  Manufacturing refers to the final assembly of components into the building product that is installed at Project site.

F. Regionally Extracted and Manufactured Materials:  Regionally manufactured materials made from raw materials that are extracted, harvested, or recovered within a radius of 500 miles (800 km) from Project site.

First paragraph below applies to LEED-NC.

Note that LEED-NC and LEED-CI use the term "pre-consumer" rather than "post-industrial."  Also note that when manufacturers and trade associations use the term "post-industrial" it often includes spills, scraps, and damaged and surplus materials that are fed back into the same manufacturing process and that these materials are not considered recycled content by the LEED rating systems.

G. Recycled Content:  The recycled content value of a material assembly shall be determined by weight.  The recycled fraction of the assembly is then multiplied by the cost of assembly to determine the recycled content value.

1. "Post-consumer" material is defined as waste material generated by households or by commercial, industrial, and institutional facilities in their role as end users of the product, which can no longer be used for its intended purpose.

2. "Pre-consumer" material is defined as material diverted from the waste stream during the manufacturing process.  Excluded is reutilization of materials such as rework, regrind, or scrap generated in a process and capable of being reclaimed within the same process that generated it.

Paragraph below applies to LEED-CI.

H. Recycled Content:  The percentage by weight of constituents that have been recovered or otherwise diverted from the solid waste stream, either during the manufacturing process (pre-consumer), or after consumer use (post-consumer).

1. Spills and scraps from the original manufacturing process that are combined with other constituents after a minimal amount of reprocessing for use in further production of the same product are not recycled materials.

2. Discarded materials from one manufacturing process that are used as constituents in another manufacturing process are pre-consumer recycled materials.

1.4 SUBMITTALS

Submittal requirements in this article assume that product data and cost information will be submitted to Architect who will then either fill out the LEED online forms or forward the submittals to Owner to fill out the forms.  Submittals include documentation needed to verify compliance with LEED requirements so that Architect or Owner can be assured when filling out the online forms that requirements have been met.  Although USGBC's "LEED-NC: Reference Guide" does not specifically identify who can certify compliance, submittals could be deleted if requirements in this Section are revised to require Contractor to fill out the online forms and to notify Architect or Owner as they are completed.

A. General:  Submit additional LEED submittals required by other Specification Sections.

Retain first paragraph below if separate LEED submittals are required.

B. LEED submittals are in addition to other submittals.  If submitted item is identical to that submitted to comply with other requirements, submit duplicate copies as a separate submittal to verify compliance with indicated LEED requirements.

Retain option in first paragraph below if 50 percent of wood-based materials must be certified for LEED-NC or LEED-CI Credit MR 7.

C. Project Materials Cost Data:  Provide statement indicating total cost for building materials used for Project, excluding mechanical, electrical, and plumbing components, and specialty items such as elevators and equipment.[ Include statement indicating total cost for wood-based materials used for Project.]

First paragraph below requires Contractor to make early submittals indicating how certain LEED requirements will be met.  This action can provide reassurance that Contractor understands the LEED requirements and can help to clear up misunderstandings before they become a bigger problem.

D. LEED Action Plans:  Provide preliminary submittals within [seven] [14] [30] [60] <Insert number> days of date established for [commencement of the Work] [the Notice to Proceed] [the Notice of Award] indicating how the following requirements will be met:

1. Credit MR 2.1[ and Credit MR 2.2]:  Waste management plan complying with Division 01 Section "Construction Waste Management and Disposal."

Retain first subparagraph below if Contractor determines how requirement for salvaged or refurbished materials will be met rather than specifying required salvaged and refurbished materials.

2. Credit MR 3.1[ and Credit MR 3.2]:  List of proposed salvaged and refurbished materials.  Identify each material that will be salvaged or refurbished, including its source and cost.

Retain first subparagraph below if Contractor determines how recycled content requirement will be met rather than specifying recycled content of various materials.

3. Credit MR 4.1[ and Credit MR 4.2]:  List of proposed materials with recycled content.  Indicate cost, post-consumer recycled content, and pre-consumer recycled content for each product having recycled content.

First subparagraph below applies to LEED-NC.

4. Credit MR 5.1[ and Credit MR 5.2]:  List of proposed regional materials.  Identify each regional material, including its source, cost, and the fraction by weight that is considered regional.

First subparagraph below applies to LEED-CI.  If retaining first option, also retain second option; if deleting one, delete both.

5. Credit MR 5.1[ and Credit MR 5.2]:  List of proposed regionally manufactured materials[ and regionally extracted and manufactured materials].

First subparagraph below applies to LEED-CI Credits MR 5.1 and 5.2.

a. Identify each regionally manufactured material, including its source and cost.

First subparagraph below applies to LEED-CI Credit MR 5.2.

b. Identify each regionally extracted and manufactured material, including its source and cost.

Retain first subparagraph below if Contractor determines which items will be made from certified wood to achieve the 50 percent requirement.  Delete if other Specification Sections designate items to be made from certified wood.

6. Credit MR 7:  List of proposed certified wood products.  Indicate each product containing certified wood, including its source and cost of certified wood products.

7. Credit EQ 3.1:  Construction indoor-air-quality management plan.

E. LEED Progress Reports:  Concurrent with each Application for Payment, submit reports comparing actual construction and purchasing activities with LEED action plans for the following:

1. Credit MR 2.1[ and Credit MR 2.2]:  Waste reduction progress reports complying with Division 01 Section "Construction Waste Management and Disposal."

Retain first subparagraph below if Contractor determines how requirement for salvaged or refurbished materials will be met rather than specifying required salvaged and refurbished materials.

2. Credit MR 3.1[ and Credit MR 3.2]:  Salvaged and refurbished materials.

Retain first subparagraph below if Contractor determines how recycled content requirement will be met rather than specifying recycled content of various materials.

3. Credit MR 4.1[ and Credit MR 4.2]:  Recycled content.

First subparagraph below applies to LEED-NC.

4. Credit MR 5.1[ and Credit MR 5.2]:  Regional materials.

First subparagraph below applies to LEED-CI.  If retaining first option, also retain second option; if deleting one, delete both.

5. Credit MR 5.1[ and Credit MR 5.2]:  Regionally manufactured materials[ and regionally extracted and manufactured materials].

Retain subparagraph below if Contractor determines which items will be made from certified wood to achieve the 50 percent requirement.  Delete if Specifications designate items to be made from certified wood.

6. Credit MR 7:  Certified wood products.

Submittals in paragraph below may be necessary to verify compliance with indicated LEED prerequisites and credits.  Additional submittals that may be required are specified in Divisions 01 through 33 Sections.

F. LEED Documentation Submittals:

Retain first option in first subparagraph below for a permanent system; retain second option for a temporary system.

1. Credit EA 5:  Product data and wiring diagrams for sensors and data collection system used to provide continuous metering of building energy-consumption performance over [time] [a period of time of not less than one year of postconstruction occupancy].

2. Credit MR 2.1[ and Credit MR 2.2]:  Comply with Division 01 Section "Construction Waste Management and Disposal."

3. Credit MR 3.1[ and Credit MR 3.2]:  Receipts for salvaged and refurbished materials used for Project, indicating sources and costs for salvaged and refurbished materials.

4. Credit MR 4.1[ and Credit MR 4.2]:  Product data and certification letter indicating percentages by weight of post-consumer and pre-consumer recycled content for products having recycled content.  Include statement indicating costs for each product having recycled content.

First subparagraph below applies to LEED-NC.

5. Credit MR 5.1[ and Credit MR 5.2]:  Product data for regional materials indicating location and distance from Project of material manufacturer and point of extraction, harvest, or recovery for each raw material.  Include statement indicating cost for each regional material and the fraction by weight that is considered regional.

First subparagraph below applies to LEED-CI.  If retaining first option, also retain second option; if deleting one, delete both.

6. Credit MR 5.1[ and Credit MR 5.2]:  Product data indicating location of material manufacturer for regionally manufactured materials.  Include statement indicating cost for each regionally manufactured material[ and for each regionally extracted and manufactured material].

First subparagraph below applies to LEED-CI Credits MR 5.1 and 5.2.

a. Include statement indicating distance from manufacturer to Project for each regionally manufactured material.

First subparagraph below applies to LEED-CI Credit MR 5.2.

b. Include statement indicating location of and distance from Project to point of extraction, harvest, or recovery for each raw material used in regionally extracted and manufactured materials.

7. Credit MR 7:  Product data and chain-of-custody certificates for products containing certified wood.  Include statement indicating cost for each certified wood product.

8. Credit EQ 3.1:

a. Construction indoor-air-quality management plan.

b. Product data for temporary filtration media.

c. Product data for filtration media used during occupancy.

d. Construction Documentation:  Six photographs at three different times during the construction period, along with a brief description of the SMACNA approach employed, documenting implementation of the indoor-air-quality management measures, such as protection of ducts and on-site stored or installed absorptive materials.

Delete first subparagraph below if using Owner-engaged indoor-air-quality testing to obtain Credit EQ 3.2.

9. Credit EQ 3.2:

Retain first two subparagraphs below if using building air flush-out procedures to obtain Credit EQ 3.2.

a. Signed statement describing the building air flush-out procedures including the dates when flush-out was begun and completed and statement that filtration media was replaced after flush-out.

b. Product data for filtration media used during flush-out and during occupancy.

Retain first subparagraph below if using Contractor-engaged indoor-air-quality testing to obtain Credit EQ 3.2.

c. Report from testing and inspecting agency indicating results of indoor-air-quality testing and documentation showing compliance with indoor-air-quality testing procedures and requirements.

10. Credit EQ 4.1:  Product data for adhesives and sealants used inside the weatherproofing system indicating VOC content of each product used.  Indicate VOC content in g/L calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Option in first subparagraph below applies to LEED-CI.

11. Credit EQ 4.2:  Product data for paints and coatings used inside the weatherproofing system indicating[ chemical composition and] VOC content of each product used.  Indicate VOC content in g/L calculated according to 40 CFR 59, Subpart D (EPA Method 24).

12. Credit EQ 4.4:  Product data for products containing composite wood or agrifiber products or wood glues indicating that they do not contain urea-formaldehyde resin.

1.5 QUALITY ASSURANCE

Requiring that Contractor engage a LEED-Accredited Professional to coordinate LEED requirements may help avoid inadvertent errors that could jeopardize Project's LEED certification, but availability of Contractors' personnel with this accreditation may be limited.

A. LEED Coordinator:  Engage an experienced LEED-Accredited Professional to coordinate LEED requirements.  LEED coordinator may also serve as waste management coordinator.

PART 2 -  PRODUCTS

2.1 SALVAGED AND REFURBISHED MATERIALS

Retain this article if Contractor determines how requirement for salvaged or refurbished materials will be met.  Delete if technical Specification Sections indicate which materials are to be salvaged or refurbished.

Retain first option in paragraph below if retaining 10 percent; delete if retaining 5 percent.

A. Credit MR 3.1[ and Credit MR 3.2]:  Provide salvaged or refurbished materials for [5] [10] percent of building materials (by cost).  The following materials may be salvaged or refurbished materials:

1. <Insert list of materials>.

2.2 RECYCLED CONTENT OF MATERIALS

Retain first option in paragraph below if retaining 20 percent; delete if retaining 10 percent.

A. Credit MR 4.1[ and Credit MR 4.2]:  Provide building materials with recycled content such that post-consumer recycled content plus one-half of pre-consumer recycled content constitutes a minimum of [10] [20] percent of cost of materials used for Project.

1. Cost of post-consumer recycled content of an item shall be determined by dividing weight of post-consumer recycled content in the item by total weight of the item and multiplying by cost of the item.

2. Cost of post-consumer recycled content plus one-half of pre-consumer recycled content of an item shall be determined by dividing weight of post-consumer recycled content plus one-half of pre-consumer recycled content in the item by total weight of the item and multiplying by cost of the item.

3. Do not include mechanical and electrical components in the calculation.

2.3 REGIONAL MATERIALS

First paragraph below applies to LEED-NC.  If retaining paragraph, select materials for Project that can comply.  Retain first option if retaining 20 percent; delete if retaining 10 percent.

A. Credit MR 5.1[ and Credit MR 5.2]:  Provide [10] [20] percent of building materials (by cost) that are regional materials.

Both paragraphs below apply to LEED-CI.  If retaining either, select materials for Project that can comply.

B. Credit MR 5.1:  Provide 20 percent of building materials (by cost) that are regionally manufactured materials.

C. Credit MR 5.2:  Provide 10 percent of building materials (by cost) that are regionally extracted and manufactured materials.

2.4 CERTIFIED WOOD

Retain this article if Contractor determines which items will be made from certified wood to achieve the 50 percent requirement.  Delete if Specification Sections where wood products are specified designate items to be made from certified wood.

A. Credit MR 7:  Provide a minimum of 50 percent (by cost) of wood-based materials that are produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

1. Wood-based materials include, but are not limited to, the following materials when made from wood, engineered wood products, or wood-based panel products:

a. Rough carpentry.

b. Miscellaneous carpentry.

c. Heavy timber construction.

d. Wood decking.

e. Metal-plate-connected wood trusses.

f. Structural glued-laminated timber.

g. Finish carpentry.

h. Architectural woodwork.

i. Wood paneling.

j. Wood veneer wall covering.

k. Wood flooring.

l. Wood lockers.

m. Wood cabinets.

Subparagraph below applies to LEED-CI.  For LEED-NC, furniture may be included, providing it is included consistently in Credits MR 3 through MR 7.

n. Furniture.

2.5 LOW-EMITTING MATERIALS

Adhesives and sealants are required in many Specification Sections where, without being specifically mentioned, they may be specified only by the requirement to install products according to manufacturer's written instructions.  For this reason, it is probably best to retain first paragraph below.

A. Credit EQ 4.1:  For field applications that are inside the weatherproofing system, use adhesives and sealants that comply with the following limits for VOC content when calculated according to 40 CFR 59, Subpart D (EPA Method 24):

Categories below are taken from LEED rating systems and the standards referenced by them; if clarification is required, see those documents or the reference guides.

1. Wood Glues:  30 g/L.

2. Metal to Metal Adhesives:  30 g/L.

3. Adhesives for Porous Materials (Except Wood):  50 g/L.

4. Subfloor Adhesives:  50 g/L.

5. Plastic Foam Adhesives:  50 g/L.

6. Carpet Adhesives:  50 g/L.

7. Carpet Pad Adhesives:  50 g/L.

8. VCT and Asphalt Tile Adhesives:  50 g/L.

9. Cove Base Adhesives:  50 g/L.

10. Gypsum Board and Panel Adhesives:  50 g/L.

11. Rubber Floor Adhesives:  60 g/L.

12. Ceramic Tile Adhesives:  65 g/L.

13. Multipurpose Construction Adhesives:  70 g/L.

14. Fiberglass Adhesives:  80 g/L.

15. Contact Adhesive:  80 g/L.

16. Structural Glazing Adhesives:  100 g/L.

17. Wood Flooring Adhesive:  100 g/L.

18. Structural Wood Member Adhesive:  140 g/L.

19. Special Purpose Contact Adhesive (contact adhesive that is used to bond melamine covered board, metal, unsupported vinyl, Teflon, ultra-high molecular weight polyethylene, rubber or wood veneer 1/16 inch or less in thickness to any surface):  250 g/L.

20. Top and Trim Adhesive:  250 g/L.

21. Plastic Cement Welding Compounds:  350 g/L.

22. ABS Welding Compounds:  400 g/L.

23. CPVC Welding Compounds:  490 g/L.

24. PVC Welding Compounds:  510 g/L.

25. Adhesive Primer for Plastic:  650 g/L.

26. Sheet Applied Rubber Lining Adhesive:  850 g/L.

27. Aerosol Adhesive, General Purpose Mist Spray:  65 percent by weight.

28. Aerosol Adhesive, General Purpose Web Spray:  55 percent by weight.

29. Special Purpose Aerosol Adhesive (All Types):  70 percent by weight.

30. Other Adhesives:  250 g/L.

31. Architectural Sealants:  250 g/L.

32. Nonmembrane Roof Sealants:  300 g/L.

33. Single-Ply Roof Membrane Sealants:  450 g/L.

34. Other Sealants:  420 g/L.

35. Sealant Primers for Nonporous Substrates:  250 g/L.

36. Sealant Primers for Porous Substrates:  775 g/L.

37. Modified Bituminous Sealant Primers:  500 g/L.

38. Other Sealant Primers:  750 g/L.

If retaining first paragraph below, coordinate with Sections where interior paints and coatings are specified to avoid conflicting requirements in those Sections.  Option applies to LEED-CI.

B. Credit EQ 4.2:  For field applications that are inside the weatherproofing system, use paints and coatings that comply with the following limits for VOC content when calculated according to 40 CFR 59, Subpart D (EPA Method 24)[ and the following chemical restrictions]:

Categories below are taken from LEED rating systems and the standards referenced by them; if clarification is required, see those documents or the reference guides.

First nine subparagraphs below apply to LEED-NC.

1. Flat Paints, Coatings, and Primers:  VOC not more than 50 g/L.

2. Nonflat Paints, Coatings, and Primers:  VOC not more than 150 g/L.

3. Anticorrosive and Antirust Paints Applied to Ferrous Metals:  VOC not more than 250 g/L.

4. Clear Wood Finishes, Varnishes:  VOC not more than 350 g/L.

5. Clear Wood Finishes, Lacquers:  VOC not more than 550 g/L.

6. Floor Coatings:  VOC not more than 100 g/L.

7. Shellacs, Clear:  VOC not more than 730 g/L.

8. Shellacs, Pigmented:  VOC not more than 550 g/L.

9. Stains:  VOC not more than 250 g/L.

Remaining 15 subparagraphs apply to LEED-CI.

10. Flat Interior Topcoat Paints:  VOC not more than 50 g/L.

11. Nonflat Interior Topcoat Paints:  VOC not more than 150 g/L.

12. Anticorrosive and Antirust Paints Applied to Ferrous Metals:  VOC not more than 250 g/L.

13. Clear Wood Finishes, Varnishes and Sanding Sealers:  VOC not more than 350 g/L.

14. Clear Wood Finishes, Lacquers:  VOC not more than 550 g/L.

15. Floor Coatings:  VOC not more than 100 g/L.

16. Shellacs, Clear:  VOC not more than 730 g/L.

17. Shellacs, Pigmented:  VOC not more than 550 g/L.

18. Stains:  VOC not more than 250 g/L.

19. Primers, Sealers, and Undercoaters:  VOC not more than 200 g/L.

Before retaining first three subparagraphs below, verify that they are acceptable for LEED-CI.

20. Dry-Fog Coatings:  VOC not more than 400 g/L.

21. Zinc-Rich Industrial Maintenance Primers:  VOC not more than 340 g/L.

22. Pretreatment Wash Primers:  VOC not more than 420 g/L.

23. Aromatic Compounds:  Paints and coatings shall not contain more than 1.0 percent by weight total aromatic compounds (hydrocarbon compounds containing one or more benzene rings).

24. Restricted Components:  Paints and coatings shall not contain any of the following:

a. Acrolein.

b. Acrylonitrile.

c. Antimony.

d. Benzene.

e. Butyl benzyl phthalate.

f. Cadmium.

g. Di (2-ethylhexyl) phthalate.

h. Di-n-butyl phthalate.

i. Di-n-octyl phthalate.

j. 1,2-dichlorobenzene.

k. Diethyl phthalate.

l. Dimethyl phthalate.

m. Ethylbenzene.

n. Formaldehyde.

o. Hexavalent chromium.

p. Isophorone.

q. Lead.

r. Mercury.

s. Methyl ethyl ketone.

t. Methyl isobutyl ketone.

u. Methylene chloride.

v. Naphthalene.

w. Toluene (methylbenzene).

x. 1,1,1-trichloroethane.

y. Vinyl chloride.

If retaining paragraph below, coordinate with Sections where composite wood products are specified to avoid conflicting requirements in those Sections.

C. Credit EQ 4.4:  Do not use composite wood or agrifiber products or adhesives that contain urea-formaldehyde resin.

PART 3 -  EXECUTION

3.1 [REFRIGERANT] [AND] [CLEAN-AGENT FIRE-EXTINGUISHING-AGENT] REMOVAL

A. Prerequisite EA 3:  Remove CFC-based refrigerants from existing HVAC&R equipment indicated to remain and replace with refrigerants that are not CFC based.  Replace or adjust existing equipment to accommodate new refrigerant as described in Division 23 Sections.

B. Credit EA 4:  Remove clean-agent fire-extinguishing agents that contain HCFCs or halons and replace with agent that does not contain HCFCs or halons. See Division 21 Section "Clean-Agent Fire Extinguishing Systems" for additional requirements.

3.2 MEASUREMENT AND VERIFICATION

Retain one of two options in first paragraph below.

A. Credit EA 5:  Implement measurement and verification plan consistent with [Option B:  Energy Conservation Measure Isolation] [Option D:  Calibrated Simulation, Savings Estimation Method 2] in the EVO's "International Performance Measurement and Verification Protocol (IPMVP) Volume III:  Concepts and Options for Determining Energy Savings in New Construction,"  and as further defined by the following:

1. <Insert measurement and verification plan design team submitted for credit>.

B. If not already in place, install metering equipment to measure energy usage.  Monitor, record, and trend log measurements.

C. Evaluate energy performance and efficiency by comparing actual to predicted performance.

D. Measurement and verification period shall cover at least one year of postconstruction occupancy.

3.3 CONSTRUCTION WASTE MANAGEMENT

A. Credit MR 2.1[ and Credit MR 2.2]:  Comply with Division 01 Section "Construction Waste Management and Disposal."

3.4 CONSTRUCTION INDOOR-AIR-QUALITY MANAGEMENT

A. Credit EQ 3.1:  Comply with SMACNA's "SMACNA IAQ Guideline for Occupied Buildings under Construction."

Coordinate first subparagraph below with Division 01 Section "Temporary Facilities and Controls." Identify air handlers and associated return-air inlets authorized by Owner for use during construction period.

1. If Owner authorizes use of permanent heating, cooling, and ventilating systems during construction period as specified in Division 01 Section "Temporary Facilities and Controls," install filter media having a MERV 8 according to ASHRAE 52.2 at each return-air inlet for the air-handling system used during construction.

2. Replace all air filters immediately prior to occupancy.

B. Credit EQ 3.2:[ Comply with one of the following requirements:]

Retain one or more of three subparagraphs below.  Retain option in paragraph above if retaining more than one subparagraph below.  Project's mechanical engineer of record should verify that HVAC system design and equipment indicated are capable of delivering flush-out indicated.  Provide HVAC system and equipment operating information necessary to achieve credit.  If Project HVAC systems and equipment cannot suit requirement, consider requiring temporary systems and equipment.

1. After construction ends, prior to occupancy and with all interior finishes installed, perform a building flush-out by supplying a total volume of 14000 cu. ft. (4 300 000 L) of outdoor air per sq. ft. (sq. m) of floor area while maintaining an internal temperature of at least 60 deg F (16 deg C) and a relative humidity no higher than 60 percent.

Indicate operating procedure for each HVAC system and piece of equipment and the operating duration required for flush-out.

a. <Insert operating requirements>.

2. If occupancy is desired prior to flush-out completion, the space may be occupied following delivery of a minimum of 3500 cu. ft. (1 070 000 L) of outdoor air per sq. ft. (sq. m) of floor area to the space.  Once a space is occupied, it shall be ventilated at a minimum rate of 0.30 cfm per sq. ft. (1.52 L/s per sq. m) of outside air or the design minimum outside air rate determined in EQ Prerequisite 1, whichever is greater.  During each day of the flush-out period, ventilation shall begin a minimum of three hours prior to occupancy and continue during occupancy.  These conditions shall be maintained until a total of 14000 cu. ft./sq. ft. (4 300 000 L/sq. m) of outside air has been delivered to the space.

Indicate operating procedure for each HVAC system and piece of equipment and the operating duration required for flush-out.

a. <Insert operating requirements>.

3. Air-Quality Testing:

EPA standard referenced in first subparagraph below is available from NTIS by calling (800) 553-6847 with PB90200288 ordering number.

a. Conduct baseline indoor-air-quality testing, after construction ends and prior to occupancy, using testing protocols consistent with the EPA's "Compendium of Methods for the Determination of Air Pollutants in Indoor Air," and as additionally detailed in the USGBC's "[LEED-NC] [LEED-CI]:  Reference Guide."

b. Demonstrate that the contaminant maximum concentrations listed below are not exceeded:

Note that it may be necessary to comply with requirements in Credits EQ 4.1, 4.2, 4.3, and 4.4 to comply with the limits specified in first five subparagraphs below.

1) Formaldehyde:  50 ppb.

2) Particulates (PM10):  50 micrograms/cu. m.

3) Total Volatile Organic Compounds (TVOC):  500 micrograms/cu. m.

4) 4-Phenylcyclohexene (4-PH):  6.5 micrograms/cu. m.

5) Carbon Monoxide:  9 ppm and no greater than 2 ppm above outdoor levels.

First subparagraph below is part of LEED credit requirements but creates requirements that are contingent on field conditions that are unknown at time of bid and could influence bids.  Also, requirements may result in claims for extra payment and time.  Revise to suit office practice.

c. For each sampling point where the maximum concentration limits are exceeded, conduct additional flush-out with outside air and retest the specific parameter(s) exceeded to indicate the requirements are achieved.  Repeat procedure until all requirements have been met.  When retesting noncomplying building areas, take samples from same locations as in the first test.

d. Air-sample testing shall be conducted as follows:

1) All measurements shall be conducted prior to occupancy but during normal occupied hours, and with building ventilation system starting at the normal daily start time and operated at the minimum outside air flow rate for the occupied mode throughout the duration of the air testing.

2) Building shall have all interior finishes installed including, but not limited to, millwork, doors, paint, carpet, and acoustic tiles.  Nonfixed furnishings such as workstations and partitions are encouraged, but not required, to be in place for the testing.

3) Number of sampling locations will vary depending on the size of building and number of ventilation systems.  For each portion of building served by a separate ventilation system, the number of sampling points shall not be less than one per 25,000 sq. ft. (2300 sq. m) or for each contiguous floor area, whichever is larger, and shall include areas with the least ventilation and greatest presumed source strength.

4) Air samples shall be collected between 3 and 6 feet (0.9 and 1.8 m) from the floor to represent the breathing zone of occupants, and over a minimum four-hour period.

END OF SECTION 018113

	SUSTAINABLE DESIGN REQUIREMENTS
	018113 - 1



