Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
11/04 (R 05/05)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 044300 - STONE MASONRY
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes the following applications of stone masonry:

1. [Anchored] [Adhered] to concrete backup.

2. [Anchored] [Adhered] to unit masonry backup.

3. [Anchored] [Adhered] to wood framing and sheathing.

4. [Anchored] [Adhered] to cold-formed metal framing and sheathing.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 03 Section "Cast-in-Place Concrete" for dovetail slots in concrete for anchoring stone.

Retain first subparagraph below if items in options are specified in Division 04 Section "Unit Masonry" for use in Work of both that Section and this Section.

2. Division 04 Section "Unit Masonry" for [cavity-wall insulation] [concealed flashing] [horizontal joint reinforcement] [and] [veneer anchors].

Retain first subparagraph below if stone varieties and sources for all stonework sections are specified in Division 04 Section "Exterior Stone Cladding."

3. Division 04 Section "Exterior Stone Cladding" for descriptions of stone types required by this Section.

Retain first subparagraph below if cavity-wall insulation is specified in Division 07.  Delete if cavity-wall insulation is specified in this Section.

4. Division 07 Section "Thermal Insulation" for cavity-wall insulation installed between stone masonry and backup material.

5. Division 07 Section "Sheet Metal Flashing and Trim" for exposed sheet metal flashing.

C. Products installed, but not furnished, in this Section include:

Options in subparagraph below are examples only.  Revise to suit Project.

1. Steel [lintels] [and] [shelf angles] for stone masonry specified in Division 05 Section "Metal Fabrications."

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

Delete subparagraph below if stone varieties are preselected.  Retain first option only if specific physical properties are specified; retain last option only if ASTM standards for stone varieties are referenced.

1. For stone varieties proposed for use on Project, include test data indicating compliance with physical properties [specified] [or] [required by referenced ASTM standards].

B. Samples for Initial Selection:  For colored mortar and other items involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below, with or without above, if Samples serve to define acceptable range of colors, patterns, etc.  Delete below if stone varieties are preselected and mockup serves to define acceptable qualities.

C. Samples for Verification:

Division 01 Section "Submittal Procedures" requires that Samples for verification "show the full range of color and texture variations expected," but this requirement may not be adequate for stone varieties that exhibit wide variations in color and texture.  First subparagraph below should provide better control.

1. For each stone type indicated.  Include at least [two] [three] [four] [five] <Insert number> samples in each set for each type of stone, exhibiting extremes of the full range of color and other visual characteristics expected in completed Work.[  Samples will establish the standard by which stone provided will be judged.]

2. For each color of mortar required.[  Label Samples to indicate types and amounts of pigments used.]

Retain first paragraph below for critical work if record of mockup materials is desired.

D. List of Materials Used in Constructing Mockups:  List generic product names together with manufacturers, manufacturers' product names, sources of supply, and other information as required to identify materials used.  Include mix proportions for mortar and source of aggregates.

1. Submittal is for information only.  Neither receipt of list nor approval of mockups constitutes approval of deviations from the Contract Documents unless such deviations are specifically brought to the attention of Architect and approved in writing.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For qualified Installer.

1.4 QUALITY ASSURANCE

A. Installer Qualifications:  A qualified installer who employs experienced stonemasons and stone fitters.

Delete third option in first paragraph below if no other stone Sections are used or if other Sections do not require the same stone varieties.

B. Source Limitations for Stone:  Obtain[ each variety of] stone, [regardless of finish, ]from one quarry[, whether specified in this Section or in another Section of the Specifications,] with resources to provide materials of consistent quality in appearance and physical properties.

C. Source Limitations for Mortar Materials:  Obtain mortar ingredients of a uniform quality, including color for exposed masonry, from single manufacturer for each cementitious component and from single source or producer for each aggregate.

D. Mockups:  Build mockups to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain first subparagraph below for large-scale mockup.  Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.

1. Build mockup of typical wall area as shown on Drawings.

Retain first subparagraph below for limited mockups.

2. Build mockups for [each type of stone masonry] [typical exterior wall] [typical interior wall] [typical exterior and interior walls] in sizes approximately [48 inches (1200 mm)] [60 inches (1500 mm)] [72 inches (1800 mm)] [96 inches (2400 mm)] <Insert dimension> long by [48 inches (1200 mm)] [60 inches (1500 mm)] [72 inches (1800 mm)] <Insert dimension> high by full thickness, including face and backup wythes and accessories.

Delete any of first four subparagraphs below that do not apply or are not required.

a. Include stone coping at top of mockup.

b. Include a sealant-filled joint at least 16 inches (400 mm) long in mockup.

Retain first subparagraph below to show materials and methods used for through-wall flashing if required.

c. Include through-wall flashing installed for a 24-inch (600-mm) length in corner of mockup approximately 16 inches (400 mm) down from top of mockup, with a 12-inch (300-mm) length of flashing left exposed to view (omit stone masonry above half of flashing).

d. Include [metal] [wood] studs, sheathing, veneer anchors, flashing, and weep holes in exterior masonry-veneer wall mockup.

3. Protect accepted mockups from the elements with weather-resistant membrane.

4. Approval of mockups is for color, texture, and blending of stone; relationship of mortar and sealant colors to stone colors; tooling of joints; and aesthetic qualities of workmanship.

a. Approval of mockups is also for other material and construction qualities Architect specifically approves in writing.

b. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

5. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

E. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Store cementitious materials on elevated platforms, under cover, and in a dry location.  Do not use cementitious materials that have become damp.

B. Store aggregates where grading and other required characteristics can be maintained and contamination avoided.

Delete two paragraphs above and retain first paragraph below if preblended, dry mortar mix is required.

C. Deliver preblended, dry mortar mix in moisture-resistant containers designed for lifting and emptying into dispensing silo.  Store preblended, dry mortar mix in delivery containers on elevated platforms, under cover, and in a dry location or in a metal dispensing silo with weatherproof cover.

D. Store masonry accessories, including metal items, to prevent corrosion and accumulation of dirt and oil.

1.6 PROJECT CONDITIONS

A. Protection of Stone Masonry:  During construction, cover tops of walls, projections, and sills with waterproof sheeting at end of each day's work.  Cover partially completed stone masonry when construction is not in progress.

Increase extent of cover in subparagraph below as needed to suit local climatic conditions.

1. Extend cover a minimum of 24 inches (600 mm) down both sides and hold cover securely in place.

B. Stain Prevention:  Immediately remove mortar and soil to prevent them from staining the face of stone masonry.

1. Protect base of walls from rain-splashed mud and mortar splatter by coverings spread on the ground and over the wall surface.

2. Protect sills, ledges, and projections from mortar droppings.

3. Protect surfaces of window and door frames, as well as similar products with painted and integral finishes, from mortar droppings.

4. Turn scaffold boards near the wall on edge at end of each day to prevent rain from splashing mortar and dirt on completed stone masonry.

C. Cold-Weather Requirements:  Do not use frozen materials or materials mixed or coated with ice or frost.  Do not build on frozen substrates.  Remove and replace stone masonry damaged by frost or freezing conditions.  Comply with cold-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602.

1. Cold-Weather Cleaning:  Use liquid cleaning methods only when air temperature is 40 deg F (4 deg C) and above and will remain so until masonry has dried, but not less than 7 days after completing cleaning.

D. Hot-Weather Requirements:  Comply with hot-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602.

1.7 COORDINATION

A. Advise installers of other work about specific requirements for placement of reinforcement, veneer anchors, flashing, and similar items to be built into stone masonry.

PART 2 -  PRODUCTS

2.1 STONE

Retain this article and delete first four articles below if stone varieties and sources are specified in Division 04 Section "Exterior Stone Cladding."  Specifying all stone types in one Section helps ensure uniformity of stone supplied under different Sections.

A. Varieties and Sources:  Subject to compliance with requirements, provide stone of varieties and from sources complying with Division 04 Section "Exterior Stone Cladding."

Delete "Stone" Article above and retain one or more of first four articles below to describe stone types used if stone types are not specified in Division 04 Section "Exterior Stone Cladding."  If articles describing stone types are retained here and only one type from each category is required, the generic name can be retained and used on Drawings instead of a stone-type designation; otherwise, copy and re-edit article selected for each type required, inserting a different stone-type designation each time.  If different stone types require different thicknesses, patterns, or finishes, copy appropriate paragraphs from "Fabrication" Article to articles specifying stone types below and delete copied paragraphs from "Fabrication" Article.

2.2 GRANITE <Insert drawing designation>

Some varieties of granite that are suitable for stone masonry do not comply with ASTM C 615; verify that granite selected will comply before retaining option in paragraph below.

A. Granite:[  Comply with ASTM C 615.]

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

First paragraph below is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete and list varieties and sources in "Products" Subparagraph above.

B. Description:  Uniform, [fine] [medium]-grained, [white] [pink] [gray] [black] <Insert color> stone[ without veining].

Retain paragraph below for added quality control if required.

C. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.3 LIMESTONE <Insert drawing designation>

A. Limestone:  Comply with ASTM C 568.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Delete subparagraph and list above and retain first subparagraph below if Indiana limestone is required.  If retaining below, retain "II Medium-Density" in "Classification" Subparagraph and "Oolitic" in "Description" Subparagraph.  Revise below if stone from a particular quarry is required.

2. Products:  Indiana oolitic limestone quarried in Lawrence, Monroe, or Owen Counties, Indiana.

Usually retain one of three options in first subparagraph below.  If varieties and sources are named, specifying a classification may be unnecessary but would provide additional quality control and a salient characteristic to use in determining if another variety or source is equivalent.  First option generally applies to shell limestone; second, to oolitic and some dolomitic limestone; third, to dolomitic limestone.  See Evaluations.

3. Classification:  [I Low-Density] [II Medium-Density] [III High-Density].

Usually delete subparagraph below and name varieties and sources in "Products" Subparagraph above.  Descriptions can be used for a generic specification but must be coordinated with classifications selected above.  See Evaluations.

4. Description:  [Dolomitic] [Oolitic] [Shell] limestone.

If retaining Indiana limestone above, retain first paragraph below and select one grade and color.  Delete if Indiana limestone is not used.  Select and Standard grades are hard to get in large sizes; gray is more plentiful than buff.  Verify availability with producers.

B. Indiana Oolitic Limestone Grade and Color:  [Select, buff] [Select, gray] [Standard, buff] [Standard, gray] [Rustic, buff] [Rustic, gray] [Variegated], according to grade and color classification established by ILI.

Retain paragraph below for added quality control if required.

C. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.4 QUARTZ-BASED STONE <Insert drawing designation>

A. Quartz-Based Stone:  Comply with ASTM C 616, Classification [I Sandstone] [II Quartzitic Sandstone] [III Quartzite].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Retain paragraph below for added quality control if required.

B. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.5 OTHER STONE <Insert drawing designation>

A. Provide sound natural stone as follows:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming varieties and sources.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert names of varieties and producers, distributors, or importers>.

Retain appropriate subparagraphs below and insert values based on test data for acceptable stone varieties, or delete all for proprietary specification.  Absorption and compressive strength are often indicative of ability to resist freezing and thawing.

2. Maximum Absorption per ASTM C 97:  [7.5] [3] <Insert value> percent.

3. Minimum Compressive Strength per ASTM C 170:  [4000 psi (28 MPa)] [7500 psi (52 MPa)] <Insert value>.

4. Minimum Flexural Strength per ASTM C 880:  <Insert value>.

5. Minimum Modulus of Rupture per ASTM C 99:  <Insert value>.

Retain paragraph below for added quality control if required.

B. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.6 MORTAR MATERIALS

Coordinate requirements in this article with those in "Mortar Mixes" Article.

Retain one or more of first five paragraphs below.

A. Portland Cement:  ASTM C 150, Type I or II, except Type III may be used for cold-weather construction.  Provide natural color or white cement as required to produce mortar color indicated.

Retain subparagraph below if recommended by stone source to limit staining.

1. Low-Alkali Cement:  Not more than 0.60 percent total alkali when tested according to ASTM C 114.

B. Hydrated Lime:  ASTM C 207, Type S.

C. Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or III, and hydrated lime complying with ASTM C 207.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Essroc, Italcementi Group; [Capitol PCL Blend] [or] [Saylor's Plus].

b. Holcim (US) Inc.; Rainbow Mortamix Custom Color Cement/Lime.

c. Lafarge North America; Eaglebond.

d. Lehigh Cement Company; Lehigh Custom Color Portland/Lime Cement.

e. <Insert manufacturer's name; product name or designation>.

D. Mortar Cement:  ASTM C 1329.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Lafarge North America; [Lafarge Mortar Cement] [or] [Magnolia Superbond Mortar Cement].

b. <Insert manufacturer's name; product name or designation>.

Before retaining paragraph above or first paragraph below, verify that mortar or masonry cements have a successful history of use with stone variety selected.  Delete both if requirements in "Mortar Mixes" Article limit cementitious materials to portland cement and lime.  See the Evaluations in Division 04 Section "Unit Masonry" for discussion of mortar and masonry cements.

E. Masonry Cement:  ASTM C 91.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Essroc, Italcementi Group; [Brixment] [or] [Velvet].

b. Holcim (US) Inc.; [Mortamix Masonry Cement] [Rainbow Mortamix Custom Buff Masonry Cement] [White Mortamix Masonry Cement].

c. Lafarge North America; [Magnolia Masonry Cement] [Lafarge Masonry Cement] [Florida Super Masonry] [Trinity Super White Masonry Type S] [Trinity White Masonry Type N].

d. Lehigh Cement Company; [Lehigh Masonry Cement] [Lehigh White Masonry Cement].

e. <Insert manufacturer's name; product name or designation>.

Retain first paragraph below for colored cement or for pigments added at Project site.

F. Mortar Pigments:  Natural and synthetic iron oxides and chromium oxides, compounded for use in mortar mixes.  Use only pigments with a record of satisfactory performance in stone masonry mortar.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Davis Colors; True Tone Mortar Colors.

b. Lanxess Corporation; Bayferrox Iron Oxide Pigments.

c. Solomon Colors; SGS Mortar Colors.

d. <Insert manufacturer's name; product name or designation>.

Formulation in first paragraph below gives better control of color than if pigment is added to mortar at Project site.

G. Colored Cement Product:  Packaged blend made from [portland cement and lime] [masonry cement] [or] [mortar cement] and mortar pigments, all complying with specified requirements, and containing no other ingredients.

1. Formulate blend as required to produce color indicated or, if not indicated, as selected from manufacturer's standard colors.

Retain applicable subparagraphs below to suit types of cement retained above.  Percentages in first two subparagraphs are for pigments containing only metallic oxides.  If pigments containing carbon black are used, pigments must be limited to 2 percent of portland cement or 1 percent of masonry or mortar cement.

2. Pigments shall not exceed 10 percent of portland cement by weight.

3. Pigments shall not exceed 5 percent of [masonry cement] [or] [mortar cement] by weight.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

4. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Colored Portland Cement-Lime Mix:

1) Holcim (US) Inc.; Rainbow Mortamix Custom Color Cement/Lime.

2) Lafarge North America; Eaglebond.

3) Lehigh Cement Company; Lehigh Custom Color Portland/Lime Cement.

4) <Insert manufacturer's name; product name or designation>.

b. Colored Masonry Cement:

1) Essroc, Italcementi Group; Brixment-in-Color.

2) Holcim (US) Inc.; Rainbow Mortamix Custom Color Masonry Cement.

3) Lafarge North America; [Florida Custom Color Masonry] [or] [Magnolia Masonry Cement].

4) Lehigh Cement Company; Lehigh Custom Color Masonry Cement.

5) <Insert manufacturer's name; product name or designation>.

c. Colored Mortar Cement:

1) Lafarge North America; Magnolia Superbond Mortar Cement.

2) <Insert manufacturer's name; product name or designation>.

H. Aggregate:  ASTM C 144 and as follows:

1. For pointing mortar, use aggregate graded with 100 percent passing No. 16 (1.18-mm) sieve.

Retain first subparagraph below for white mortar.

2. White Aggregates:  Natural white sand or ground white stone.

Delete subparagraph above or below unless both white and colored mortars are required.

3. Colored Aggregates:  Natural-colored sand or ground marble, granite, or other sound stone; of color necessary to produce required mortar color.

Retain subparagraph below if required.

a. Match Architect's sample.

Usually retain first paragraph below for adhered veneer.  Model codes do not require latex for either tile-setting or mortar-setting method, but latex improves adhesion and weather resistance.  Additive is available prediluted or in concentrated form to be diluted with water.

I. Latex Additive:  [Manufacturer's standard] [acrylic-resin] [or] [styrene-butadiene-rubber] water emulsion, serving as replacement for part or all of gaging water, of type specifically recommended by latex-additive manufacturer for use with field-mixed portland cement mortar bed, and not containing a retarder.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Boiardi Products Corporation.

b. Bonsal.

c. Bostik Findley Inc.

d. C-Cure.

e. Custom Building Products.

f. DAP Inc.

g. Laticrete International, Inc.

h. MAPEI Corp.

i. Summitville Tiles, Inc.

j. TEC Specialty Construction Brands; H. B. Fuller Company.

k. <Insert manufacturer's name>.

Usually delete first paragraph below, which is an example requirement for a concrete admixture often used in cold weather as antifreeze.  The appendix to ASTM C 270 recommends against using admixtures.  If retaining below, verify suitability for use with stone selected.

J. Cold-Weather Admixture:  Nonchloride, noncorrosive, accelerating admixture complying with ASTM C 494/C 494M, Type C, and recommended by manufacturer for use in masonry mortar of composition indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Euclid Chemical Company (The); Accelguard 80.

b. Grace Construction Products, a unit of W. R. Grace & Co. - Conn.; Morset.

c. Sonneborn, Div. of Degussa Building Systems; Trimix-NCA.

d. <Insert manufacturer's name; product name or designation>.

K. Water:  Potable.

2.7 VENEER ANCHORS

If retaining this article, delete references to veneer anchors in "Related Sections" Paragraph in "Summary" Article.

A. Materials:

1. Hot-Dip Galvanized-Steel Wire:  ASTM A 82, with ASTM A 153/A 153M, Class B-2.

Retain subparagraph above or first subparagraph below.  Select second option below if higher corrosion resistance is required.

2. Stainless-Steel Wire:  ASTM A 580/A 580M, [Type 304] [Type 316].

Retain one of two subparagraphs below for metal sheet.

3. Hot-Dip Galvanized-Steel Sheet:  ASTM A 1008/A 1008M, cold-rolled, carbon-steel sheet hot-dip galvanized after fabrication to comply with ASTM A 153/A 153M, Class B-2.

Retain second option in subparagraph below if higher corrosion resistance is required.

4. Stainless-Steel Sheet:  ASTM A 240/A 240M, [Type 304] [Type 316].

B. Size:  Sufficient to extend at least halfway, but not less than 1-1/2 inches (38 mm), through stone masonry and with at least 5/8-inch (16-mm) cover on outside face.

Retain first paragraph below for loose wire ties and for wire ties used with masonry wall reinforcement.

C. Wire Veneer Anchors:  Wire ties formed from W1.7 or 0.148-inch- (3.8-mm-) diameter, [hot-dip galvanized] [stainless]-steel wire.

Retain one of three subparagraphs below.  First subparagraph is based on prescriptive requirements for stone veneers in model codes.  Second is based on typical eye-and-pintle, adjustable (two-piece), masonry joint reinforcement for cavity walls.  Third is based on Dur-O-Wal's "Adjustable Joint Reinforcement for Random Stone" and Hohmann & Barnard's "Tie-HVR."

1. Ties are bent in the form of loops with legs not less than 15 inches (381 mm) in length and with last 2 inches (50 mm) bent at 90 degrees.

2. Ties are bent in the form of rectangular loops with ends bent downward for inserting into eyes projecting from masonry joint reinforcement specified in Division 04 Section "Unit Masonry."

3. Ties are bent in the form of triangular loops designed to be attached to masonry joint reinforcement specified in Division 04 Section "Unit Masonry" with vertical wires passing through ties and through eyes projecting from masonry joint reinforcement.

Corrugated-metal veneer anchors in first paragraph below are often used instead of adjustable veneer anchors for stone facings on concrete and for low-rise construction.

D. Corrugated-Metal Veneer Anchors:  Not less than 0.030-inch- (0.76-mm-) thick by 7/8-inch- (22-mm-) wide [hot-dip galvanized] [stainless]-steel sheet with corrugations having a wavelength of 0.3 to 0.5 inch (7.6 to 13 mm) and an amplitude of 0.06 to 0.10 inch (1.5 to 2.5 mm).

E. Adjustable, Screw-Attached Veneer Anchors:  Units consisting of a wire tie section and a metal anchor section that allow vertical adjustment but resist tension and compression forces perpendicular to plane of wall, for attachment over sheathing to wood or metal studs, and as follows:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Dur-O-Wal, a Dayton Superior Company; [D/A 213] [or] [D/A 210 with D/A 700-708].

b. Heckmann Building Products Inc.; [315-D with 316] [or] [Pos-I-Tie].

c. Hohmann & Barnard, Inc.; [DW-10] [DW-10HS] [or] [DW-10-X].

d. Wire-Bond; [1004, Type III] [or] [RJ-711].

e. <Insert manufacturer's name; product name or designation>.

First subparagraph below is based on BIA Technical Note No. 28B.

2. Structural Performance Characteristics:  Capable of withstanding a 100-lbf (445-N) load in both tension and compression without deforming or developing play in excess of 0.05 inch (1.3 mm).

Six subparagraphs below are examples of proprietary veneer anchor sections.  Insert others to suit Project.

First subparagraph below describes Dur-O-Wal's "D/A 213" and Wire Bond's "RJ-711."  This type of veneer anchor offers very little vertical adjustment so it can only be used with predetermined stone coursing heights unless it is installed as stone is laid.  Flat plate can crush foam-plastic sheathing.

3. Anchor Section:  Rib-stiffened, sheet metal plate with screw holes top and bottom, 2-3/4 inches (70 mm) wide by 3 inches (75 mm) high; with projecting tabs having slotted holes for inserting vertical legs of wire tie specially formed to fit veneer anchor section.

First subparagraph below describes Dur-O-Wal's "D/A 210," Heckmann's "315-D," Hohmann & Barnard's "DW-10" and "DW-10HS," and Wire-Bond's "1004, Type III."  Retain longer lengths for Hohmann & Barnard's "DW-10" and shorter lengths for others.  Flat plate can crush foam-plastic sheathing.

4. Anchor Section:  Sheet metal plate, 1-1/4 inches (32 mm) wide by [6 inches (150 mm)] [9 inches (225 mm)] long, with screw holes top and bottom and with raised rib-stiffened strap, 5/8 inch (16 mm) wide by [3-5/8 inches (92 mm)] [5-1/2 inches (140 mm)] long, stamped into center to provide a slot between strap and plate for inserting wire tie.

First subparagraph below describes Hohmann & Barnard's "DW-10-X."  Prongs prevent plate from crushing foam-plastic sheathing.

5. Anchor Section:  Gasketed sheet metal plate, 1-1/4 inches (32 mm) wide by 6 inches (150 mm) long, with screw holes top and bottom; top and bottom ends bent to form pronged legs of length to match thickness of insulation or sheathing; and raised rib-stiffened strap, 5/8 inch (16 mm) wide by 6 inches (150 mm) long, stamped into center to provide a slot between strap and plate for inserting wire tie.  Provide anchor manufacturer's standard, self-adhering, modified bituminous gaskets manufactured to fit behind anchor plate and extend beyond pronged legs.

First subparagraph below describes Heckmann's "Pos-I-Tie."

6. Anchor Section:  Zinc-alloy barrel section with flanged head with eye and corrosion-resistant, self-drilling screw.  Eye designed to receive wire tie and to serve as head for drilling fastener into framing.  Barrel length to suit sheathing thickness, allowing screw to seat directly against framing with flanged head covering hole in sheathing.

Retain first subparagraph below with any subparagraph above.

7. Fabricate sheet metal anchor sections and other sheet metal parts from [0.067-inch- (1.7-mm-) thick, steel sheet, galvanized after fabrication] [0.097-inch- (2.5-mm-) thick, steel sheet, galvanized after fabrication] [0.078-inch- (2.0-mm-) thick, stainless-steel sheet] [0.109-inch- (2.8-mm-) thick, stainless-steel sheet].

8. Wire Ties:  Triangular-, rectangular-, or T-shaped wire ties fabricated from [0.188-inch- (4.8-mm-)] [0.25-inch- (6.4-mm-)] diameter, [hot-dip galvanized] [stainless]-steel wire.

Anchors in first paragraph below may be used for other than seismic conditions but can only be used with stone laid in horizontal coursing; seismic veneer anchors require a continuous joint in which to place continuous wire reinforcement.

F. Seismic Veneer Anchors:  Units consisting of a metal anchor section and a connector section designed to engage a continuous wire embedded in stone masonry mortar joint, complying with the following requirements:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Dur-O-Wal, a Dayton Superior Company; D/A 213S.

b. Hohmann & Barnard, Inc.; DW-10-X-Seismiclip.

c. Wire-Bond; RJ-711 with Wire-Bond Clip.

d. <Insert manufacturer's name; product name or designation>.

First subparagraph below is based on BIA Technical Note No. 28B.

2. Structural Performance Characteristics:  Capable of withstanding a 100-lbf (445-N) load in both tension and compression without deforming or developing play in excess of 0.05 inch (1.3 mm).

First two subparagraphs below describe Dur-O-Wal's "D/A 213S."  This type of veneer anchor offers very little vertical adjustment so it can only be used with predetermined stone coursing heights unless it is installed as stone is laid.  Flat plate can crush foam-plastic sheathing.

3. Anchor Section:  Rib-stiffened, sheet metal plate wit h screw holes top and bottom, 2-3/4 inches (70 mm) wide by 3 inches (75 mm) high; with projecting tabs having slotted holes for inserting vertical leg of connector section.

4. Connector Section:  Rib-stiffened, sheet metal bent plate with down-turned leg designed to fit in anchor section slot and with integral tabs designed to engage continuous wire.  Size connector to extend at least halfway through stone masonry but with at least 5/8-inch (16-mm) cover on outside face.

First two subparagraphs below describe Wire Bond's "RJ-711" with "Wire-Bond Clip."  This type of veneer anchor offers very little vertical adjustment so it can only be used with predetermined stone coursing heights unless it is installed as stone is laid.  Flat plate can crush foam-plastic sheathing.

5. Anchor Section:  Rib-stiffened, sheet metal plate with screw holes top and bottom, 2-3/4 inches (70 mm) wide by 3 inches (75 mm) high; with projecting tabs having slotted holes for inserting vertical legs of wire tie specially formed to fit anchor section.  Size wire tie to extend at least 1-1/2 inches (38 mm) into stone masonry but with at least 5/8-inch (16-mm) cover on outside face.

6. Connector Section:  Sheet metal clip welded to wire tie with integral tabs designed to engage continuous wire.

First two subparagraphs below describe Hohmann & Barnard's "DW-10-X-Seismiclip."  Prongs prevent plate from crushing foam-plastic sheathing.

7. Anchor Section:  Gasketed sheet metal plate, 1-1/4 inches (32 mm) wide by 6 inches (150 mm) long, with screw holes top and bottom; top and bottom ends bent to form pronged legs to bridge insulation or sheathing and contact studs; and raised rib-stiffened strap, 5/8 inch (16 mm) wide by 6 inches (150 mm) long, stamped into center to provide a slot between strap and plate for inserting wire tie.  Provide anchor manufacturer's standard, self-adhering, modified bituminous gaskets manufactured to fit behind anchor plate and extend beyond pronged legs.

8. Connector Section:  Triangular wire tie and rigid PVC extrusion with snap-in grooves for inserting continuous wire.

9. Fabricate sheet metal anchor sections and other sheet metal parts from [0.067-inch- (1.7-mm-) thick, steel sheet, galvanized after fabrication] [0.097-inch- (2.5-mm-) thick, steel sheet, galvanized after fabrication] [0.078-inch- (2.0-mm-) thick, stainless-steel sheet] [0.109-inch- (2.8-mm-) thick, stainless-steel sheet].

10. Fabricate wire connector sections from [0.188-inch- (4.8-mm-)] [0.25-inch- (6.4-mm-)] diameter, [hot-dip galvanized, carbon] [stainless]-steel wire.

11. Continuous Wire:  0.188-inch- (4.8-mm-) diameter, [hot-dip galvanized] [stainless]-steel wire.

Fasteners in first paragraph below are for steel studs from 0.033 to 0.112 inch (0.8 to 2.8 mm) thick.  "Climaseal" and "Stalgard" finishes by ITW Buildex and Elco Industries comply with coating description.

G. Polymer-Coated, Steel Drill Screws for Steel Studs:  ASTM C 954 except manufactured with hex washer head and neoprene washer, No. 10 (4.8-mm diameter) by length required to penetrate steel stud flange with not less than 3 exposed threads, and with organic polymer coating with salt-spray resistance to red rust of more than 800 hours per ASTM B 117.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Although fasteners listed below are generally available only in large quantities if purchased directly from fastener manufacturer, they are available in smaller quantities from manufacturers of masonry anchors.

a. ITW Buildex; Teks Maxiseal with Climaseal finish.

b. Textron Inc., Textron Fastening Systems; Elco Dril-Flex with Stalgard finish.

c. <Insert manufacturer's name; product name or designation>.

See BIA Technical Note No. 28B for use of stainless-steel screws.

H. Stainless-Steel Drill Screws for Steel Studs:  Proprietary fastener consisting of carbon-steel drill point and 300 Series stainless-steel shank, complying with ASTM C 954 except manufactured with hex washer head and neoprene washer, No. 10 (4.8-mm diameter) by length required to penetrate steel stud flange with not less than three exposed threads.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Although fasteners listed below are generally available only in large quantities if purchased directly from fastener manufacturer, they are available in smaller quantities from manufacturers of masonry anchors.

a. Dur-O-Wal, a Dayton Superior Company; Stainless Steel SX Fastener.

b. ITW Buildex; Scots Long Life Teks.

c. <Insert manufacturer's name; product name or designation>.

I. Polymer-Coated, Steel Drill Screws for Wood Studs:  Self-drilling, bugle-head or wafer-head wood screws recommended by veneer anchor manufacturer for fastening to wood studs; not less than No. 10 (4.8-mm diameter), 1-1/2 inches (38 mm) long, and with organic polymer coating with salt-spray resistance to red rust of more than 500 hours per ASTM B 117.

J. Polymer-Coated, Steel Tapping Screws for Concrete Masonry:  Self-tapping screws with specially designed threads for tapping and wedging into masonry, with hex washer head and neoprene washer, 3/16-inch (4.8-mm) diameter by 1-1/2-inch (38-mm) length, and with organic polymer coating with salt-spray resistance to red rust of more than 800 hours per ASTM B 117.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ITW-Buildex; Tapcon.

b. Powers Fasteners; Tapper.

c. <Insert manufacturer's name; product name or designation>.

2.8 STONE TRIM ANCHORS

Retain this article if stone trim is anchored with anchors or dowels inserted into holes or kerfs in stone units.  If retaining show anchors on Drawings.

A. Stone Trim Anchors:  Units fabricated with tabs or dowels designed to engage kerfs or holes in stone trim units and holes for fasteners or postinstalled anchor bolts for fastening to substrates or framing as indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Halfen Anchoring Systems; Meadow Burke.

b. Heckmann Building Products Inc.

c. Hohmann & Barnard, Inc.

d. <Insert manufacturer's name>.

B. Materials:  Fabricate anchors from stainless steel, ASTM A 240/A 240M, Type 304.  Fabricate dowels from stainless steel, ASTM A 276, Type 304.

C. Fasteners for Stone Trim Anchors:  Annealed stainless-steel bolts, nuts, and washers; ASTM F 593 (ASTM F 738M) for bolts and ASTM F 594 (ASTM F 836M) for nuts, Alloy Group 1 (A1).

D. Postinstalled Anchor Bolts for Fastening Stone Trim Anchors:  [Chemical anchors] [torque-controlled expansion anchors] [or] [undercut anchors] made from stainless-steel components complying with ASTM F 593 and ASTM F 594, Alloy Group 1 or 2 (ASTM F 738M and ASTM F 836M, Alloy Group A1 or A4) for bolts and nuts; ASTM A 666 or ASTM A 276, Type 304 or 316, for anchors.

2.9 EMBEDDED FLASHING MATERIALS

If retaining this article, delete references to flashing in "Related Sections" Paragraph in "Summary" Article.

See the Evaluations in Division 04 Section "Unit Masonry" for discussion of flashing materials.  If required, verify that flashing materials selected can be easily formed to fit irregular stone surfaces.

Coordinate first paragraph below with Division 07 Section "Sheet Metal Flashing and Trim."  Metal through-wall flashing is included in that Section.

A. Metal Flashing:  Provide metal flashing[, where flashing is exposed or partly exposed and where indicated,] complying with [SMACNA's "Architectural Sheet Metal Manual] [Division 07 Section "Sheet Metal Flashing and Trim]" and as follows:

Delete first three subparagraphs below if referencing Division 07 Section "Sheet Metal Flashing and Trim."  Insert zinc-tin-alloy-coated stainless steel or lead-coated copper if required.

1. Stainless Steel:  ASTM A 240/A 240M, Type 304, 0.016 inch (0.4 mm) thick.

2. Copper:  ASTM B 370, Temper H00 or H01, cold-rolled copper sheet, 10-oz./sq. ft. (3-kg/sq. m) weight or 0.0135 inch (0.34 mm) thick for fully concealed flashing; 16-oz./sq. ft. (5-kg/sq. m) weight or 0.0216 inch (0.55 mm) thick elsewhere.

3. Fabricate continuous flashings in sections 96 inches (2400 mm) long minimum, but not exceeding 12 feet (3.6 m).  Provide splice plates at joints of formed, smooth metal flashing.

Delete first subparagraph below if referencing Division 07 Section "Sheet Metal Flashing and Trim" or if plain (flat) sheet metal flashing is acceptable.  Revise if dovetail pattern is required for interlocking bond.  Before retaining below, verify that total thickness of ribbed flashing will fit in joint space.  Note that ribs will not nest with each other at overlaps at corners.

4. Fabricate through-wall metal flashing embedded in masonry from [stainless steel] [copper], with ribs at 3-inch (75-mm) intervals along length of flashing to provide an integral mortar bond.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Cheney Flashing Company; [Cheney Flashing (Dovetail)] [or] [Cheney 3-Way Flashing (Sawtooth)].

2) Keystone Flashing Company, Inc.; Keystone 3-Way Interlocking Thruwall Flashing.

3) <Insert manufacturer's name; product name or designation>.

Delete first subparagraph below if referencing Division 07 Section "Sheet Metal Flashing and Trim" or if not required.

5. Fabricate through-wall flashing with snaplock receiver on exterior face where indicated to receive counterflashing.

Usually retain one or both of first two subparagraphs below if metal through-wall flashing is used.  See the Evaluations in Division 04 Section "Unit Masonry."

6. Fabricate through-wall flashing with drip edge [where] [unless otherwise] indicated.  Fabricate by extending flashing 1/2 inch (13 mm) out from wall, with outer edge bent down 30 degrees[ and hemmed].

7. Fabricate through-wall flashing with sealant stop [where] [unless otherwise] indicated.  Fabricate by bending metal back on itself 3/4 inch (19 mm) at exterior face of wall and down into joint 3/8 inch (10 mm) to form a stop for retaining sealant backer rod.

Retain first subparagraph below if one of two subparagraphs above are used with ribbed metal flashing.

8. Fabricate metal [drip edges] [and] [sealant stops] for ribbed metal flashing from plain metal flashing of same metal as ribbed flashing and extending at least 3 inches (75 mm) into wall with hemmed inner edge to receive ribbed flashing and form a hooked seam.  Form hem on upper surface of metal so that completed seam will shed water.

Retain one or both of first two subparagraphs below for use with flexible flashing if required.  See the Evaluations in Division 04 Section "Unit Masonry."

9. Metal Drip Edges:  Fabricate from stainless steel.  Extend at least 3 inches (75 mm) into wall and 1/2 inch (13 mm) out from wall, with outer edge bent down 30 degrees[ and hemmed].

10. Metal Flashing Terminations:  Fabricate from stainless steel.  Extend at least 3 inches (75 mm) into wall and out to exterior face of wall.  At exterior face of wall, bend metal back on itself for 3/4 inch (19 mm) and down into joint 3/8 inch (10 mm) to form a stop for retaining sealant backer rod.

Retain subparagraph below if metal strips are used at expansion joints.

11. Metal Expansion-Joint Strips:  Fabricate from [stainless steel] [copper] to shapes indicated.

Delete first paragraph below if only metal flashing is allowed.  If concealed metal flashing is required at certain locations, indicate those locations on Drawings or revise below.

B. Flexible Flashing:  For flashing not exposed to the exterior, use[ one of] the following unless otherwise indicated:

First subparagraph below is an example only; revise if other laminated products are required.

1. Copper-Laminated Flashing:  [5-oz./sq. ft. (1.5-kg/sq. m)] [7-oz./sq. ft. (2-kg/sq. m)] copper sheet bonded with asphalt between 2 layers of glass-fiber cloth.  Use only where flashing is fully concealed in masonry.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Advanced Building Products Inc.; Copper Fabric Flashing.

2) Hohmann & Barnard, Inc.; H & B C-Fab Flashing.

3) Phoenix Building Products; Type FCC-Fabric Covered Copper.

4) Polytite Manufacturing Corporation; Copper Fabric Flashing.

5) Sandell Manufacturing Co., Inc.; Copper Fabric Flashing.

6) York Manufacturing, Inc.; York Copper Fabric Flashing.

7) <Insert manufacturer's name; product name or designation>.

2. Asphalt-Coated Copper Flashing:  [5-oz./sq. ft. (1.5-kg/sq. m)] [7-oz./sq. ft. (2-kg/sq. m)] copper sheet coated with flexible asphalt.  Use only where flashing is fully concealed in masonry.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Advanced Building Products Inc.; Cop-R-Cote.

2) Hohmann & Barnard, Inc.; H & B C-Coat Flashing.

3) Phoenix Building Products; Type ACC-Asphalt Bituminous Coated.

4) Polytite Manufacturing Corporation; Coated Copper Flashing.

5) Sandell Manufacturing Co., Inc.; Coated Copper Flashing.

6) York Manufacturing, Inc.; Copperseal.

7) <Insert manufacturer's name; product name or designation>.

Some rubberized-asphalt flashing products are 0.040 inch (1.0 mm) thick; some are 0.030 inch (0.8 mm) thick; others are 0.025 inch (0.6 mm) thick.  BIA recommends 0.030 inch (0.76 mm) as a minimum thickness.

3. Rubberized-Asphalt Flashing:  Composite flashing product consisting of a pliable, adhesive rubberized-asphalt compound, bonded to a high-density, cross-laminated polyethylene film to produce an overall thickness of not less than [0.030 inch (0.8 mm)] [0.040 inch (1.0 mm)].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Advanced Building Products Inc.; Peel-N-Seal.

2) Carlisle Coatings & Waterproofing; CCW-705-TWF Thru-Wall Flashing.

3) Dur-O-Wal, a Dayton Superior Company; Dur-O-Barrier-44.

4) Grace Construction Products, a unit of W. R. Grace & Co. - Conn.; Perm-A-Barrier Wall Flashing.

5) Heckmann Building Products Inc.; No. 82 Rubberized-Asphalt Thru-Wall Flashing.

6) Hohmann & Barnard, Inc.; Textroflash.

7) Polyguard Products, Inc.; Polyguard 300.

8) Polytite Manufacturing Corporation; Poly-Barrier Self-Adhering Wall Flashing.

9) Williams Products, Inc.; Everlastic MF-40.

10) <Insert manufacturer's name; product name or designation>.

4. Elastomeric Thermoplastic Flashing:  Composite flashing product consisting of a polyester-reinforced ethylene interpolymer alloy as follows:

Retain one or more of first three subparagraphs below or show on Drawings where each is required.

a. Monolithic Sheet:  Elastomeric thermoplastic flashing, 0.040 inch (1.0 mm) thick.

b. Self-Adhesive Sheet:  Elastomeric thermoplastic flashing, 0.025 inch (0.6 mm) thick, with a 0.015-inch- (0.4-mm-) thick coating of rubberized-asphalt adhesive.

First subparagraph below is for applications where flashing extends to face of masonry.  This material may not be suitable for use at sealant joints because it will be difficult to remove the sealant for replacement without damaging the flashing.

c. Self-Adhesive Sheet with Drip Edge:  Elastomeric thermoplastic flashing, 0.025 inch (0.6 mm) thick, with a 0.015-inch- (0.4-mm-) thick coating of rubberized-asphalt adhesive.  Where flashing extends to face of masonry, rubberized-asphalt coating is held back approximately 1-1/2 inches (38 mm) from edge.

1) Color:  [Gray] [White] [Tan/buff] [Black].

d. Accessories:  Provide preformed corners, end dams, other special shapes, and seaming materials produced by flashing manufacturer.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

e. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Hyload, Inc.; Hyload Cloaked Flashing System.

2) <Insert manufacturer's name; product name or designation>.

5. EPDM Flashing:  Sheet flashing product made from ethylene-propylene-diene terpolymer, complying with ASTM D 4637, 0.040 inch (1.0 mm) thick.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Carlisle Coatings & Waterproofing; Pre-Kleened EPDM Thru-Wall Flashing.

2) Firestone Building Products; FlashGuard.

3) Heckmann Building Products Inc.; No. 81 EPDM Thru-Wall Flashing.

4) <Insert manufacturer's name; product name or designation>.

C. Solder and Sealants for Sheet Metal Flashings:[  As specified in Division 07 Section "Sheet Metal Flashing and Trim."]

Retain option in paragraph above or retain one or more of three subparagraphs below.

1. Solder for Stainless Steel:  ASTM B 32, Grade Sn60, with acid flux of type recommended by stainless-steel sheet manufacturer.

2. Solder for Copper:  ASTM B 32, Grade Sn50, 50 percent tin and 50 percent lead.

Revise subparagraph below if sealant of specific type, grade, class, and use is required.

3. Elastomeric Sealant:  ASTM C 920, chemically curing [urethane] [polysulfide] [silicone] sealant; of type, grade, class, and use classifications required to seal joints in sheet metal flashing and trim and remain watertight.

Delete paragraph above if sheet metal flashing is not used.  Delete paragraph below if only sheet metal flashing is used.

D. Adhesives, Primers, and Seam Tapes for Flexible Flashings:  Flashing manufacturer's standard products or products recommended by flashing manufacturer for bonding flashing sheets to each other and to substrates.

2.10 MISCELLANEOUS MASONRY ACCESSORIES

Revise first paragraph below if specific product is required.

A. Compressible Filler:  Premolded filler strips complying with ASTM D 1056, Grade 2A1; compressible up to 35 percent; of width and thickness indicated; formulated from [neoprene] [urethane] [or] [PVC].

Revise first paragraph below if required for other kinds of stone.  Cementitious, rather than bituminous, formulations should be used in exposed conditions.

B. Cementitious Dampproofing:  Cementitious formulations that are recommended by ILI and that are nonstaining to stone, compatible with joint sealants, and noncorrosive to veneer anchors and attachments.

Dampproofing in first paragraph below prevents salts in concrete or masonry backup from migrating into stone and causing efflorescence.  Cut-back asphalt is solvent based but asphalt emulsion is water based; see the Evaluations in Division 07 Section "Bituminous Dampproofing" for additional information.

C. Asphalt Dampproofing:  [Cut-back asphalt complying with ASTM D 4479, Type I] [or] [asphalt emulsion complying with ASTM D 1227, Type III or IV].

D. Weep Hole/Vent Products:  Use[ one of] the following unless otherwise indicated:

Retain one or more of six subparagraphs below, or delete all if weep holes and vents are not used.

1. Wicking Material:  Absorbent rope, made from [cotton] [or] [UV-resistant synthetic fiber], 1/4 to 3/8 inch (6 to 10 mm) in diameter, in length required to produce 2-inch (50-mm) exposure on exterior and 18 inches (450 mm) in cavity behind stone masonry.  Use only for weep holes.

2. Round Plastic Tubing:  Medium-density polyethylene, 3/8-inch (10-mm) OD by thickness of stone masonry.

3. Rectangular Plastic Tubing:  Clear butyrate, 3/8 by 1-1/2 inches (10 by 38 mm) by thickness of stone masonry.

4. Mesh Weep Holes/Vents:  Free-draining mesh; made from polyethylene strands, full width of head joint and 2 inches (50 mm) high by thickness of stone masonry; in color selected from manufacturer's standard.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) CavClear/Archovations, Inc.; CavClear Weep Vents.

2) Mortar Net USA, Ltd.; Mortar Net Weep Vents.

3) <Insert manufacturer's name; product name or designation>.

Products in two subparagraphs below are designed for brick masonry and can only be used in vertical head joints of coursed masonry.  Mortar will corrode aluminum weep holes/vents unless protected with paint.

5. Aluminum Weep Holes/Vents:  One-piece, L-shaped units made from sheet aluminum, designed to fit into head joint and consisting of vertical channel with louvers stamped in web and with top flap to keep mortar out of head joint; painted to comply with Division 09 painting Sections, before installation, in color approved by Architect to match that of mortar.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Hohmann & Barnard, Inc.; #343W - Wilko Weep Hole.

2) <Insert manufacturer's name; product name or designation>.

6. Vinyl Weep Holes/Vents:  One-piece, offset, T-shaped units made from flexible, injection-molded PVC, designed to fit into head joint and consisting of louvered vertical leg, flexible wings to seal against ends of stone units, and top flap to keep mortar out of head joint; in color approved by Architect to match that of mortar.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Hohmann & Barnard, Inc.; #343 Louvered Weep Hole.

2) Williams Products, Inc.; Williams-Goodco Brick Vent.

3) Wire-Bond; Louvered Weepholes.

4) <Insert manufacturer's name; product name or designation>.

Products described in first paragraph below can be used to keep weep holes clear and to keep cavity free draining.  See the Evaluations in Division 04 Section "Unit Masonry."

E. Cavity Drainage Material:  Free-draining mesh, made from polymer strands that will not degrade within the wall cavity.

Usually retain first subparagraph below.

1. Provide one of the following configurations:

Usually retain two or more of first four subparagraphs below to ensure competition in bidding.  If only one configuration is used, revise subparagraph above and combine it with subparagraph selected below.

First subparagraph below describes Mortar Net's "Mortar Net."

a. Strips, full-depth of cavity and 10 inches (250 mm) wide, with dovetail shaped notches 7 inches (175 mm) deep that prevent mesh from being clogged with mortar droppings.

First subparagraph below describes Advanced Building's "Mortar Break" and "Mortar Break II," respectively.  Usually retain second option if cavity is 1-1/2 inches (38 mm) or larger.

b. Strips, not less than [3/4 inch (19 mm)] [1-1/2 inches (38 mm)] thick and 10 inches (250 mm) wide, with dimpled surface designed to catch mortar droppings and prevent weep holes from being clogged with mortar.

c. Sheets or strips full depth of cavity and installed to full height of cavity.

d. Sheets or strips not less than [3/4 inch (19 mm)] [1 inch (25 mm)] <Insert thickness> thick and installed to full height of cavity with additional strips 4 inches (100 mm) high at weep holes and thick enough to fill entire depth of cavity and prevent weep holes from being clogged with mortar.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain subparagraph and list below if naming manufacturers and products.  See Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Not all products listed below are available in all configurations described above.

a. Advanced Building Products Inc.; [Mortar Break] [Mortar Break II].

b. CavClear/Archovations, Inc.; CavClear Masonry Mat.

c. Dur-O-Wal, a Dayton Superior Company; Polytite MortarStop.

d. Mortar Net USA, Ltd.; Mortar Net.

e. <Insert manufacturer's name; product name or designation>.

Retain one of first three paragraphs below if metal lath is required for adhered veneer over wood or metal framing.

F. Expanded Metal Lath:  3.4 lb/sq. yd. (1.8 kg/sq. m), self-furring, diamond-mesh lath complying with ASTM C 847.  Fabricate from structural-quality, zinc-coated (galvanized) steel sheet complying with ASTM A 653/A 653M, G60 (Z180).

G. Woven-Wire Lath:  ASTM C 1032, fabricated into 1-1/2-inch (38-mm) hexagonal-shaped mesh with minimum 0.0510-inch- (1.3-mm-) diameter, galvanized-steel wire.

H. Welded-Wire Lath:  ASTM C 933, fabricated into 2-by-2-inch (50-by-50-mm) mesh with minimum 0.0625-inch- (1.6-mm-) diameter, galvanized-steel wire.

I. Lath Attachment Devices:  Material and type required by ASTM C 1063 for installations indicated.

Insert other accessories to suit Project.

2.11 CAVITY-WALL INSULATION

If retaining this article, delete references to cavity-wall insulation in "Related Sections" Paragraph in "Summary" Article.

A. Extruded-Polystyrene Board Insulation:  ASTM C 578, [Type IV] [Type X], closed-cell product extruded with an integral skin.

First paragraph below describes Dow's "Cavitymate Ultra."

B. Extruded-Polystyrene Board Insulation with Increased R-Value:  ASTM C 578, Type IV, but with an aged thermal resistance (R-value) for 1-inch (25-mm) thickness of 5.6 deg F x h x sq. ft./Btu at 75 deg F (1.0 K x sq. m/W at 24 deg C) at 5 years; closed-cell product with a carbon-black filler and extruded with an integral skin.

C. Molded-Polystyrene Board Insulation:  ASTM C 578, Type I.

D. Polyisocyanurate Board Insulation:  ASTM C 1289, Type I (aluminum-foil faced), Class 2 (glass-fiber reinforced).

Revise paragraph below to suit insulation selected, or delete if adhesive is not used.  See the Evaluations in Division 04 Section "Unit Masonry."

E. Adhesive:  Type recommended by insulation board manufacturer for application indicated.

2.12 MASONRY CLEANERS

Verify acceptability of cleaner for cleaning masonry with pigmented mortar joints and for stone variety specified.  Do not use acidic cleaners on limestone.  See Evaluations.

A. Proprietary Acidic Cleaner:  Manufacturer's standard-strength cleaner designed for removing mortar and grout stains, efflorescence, and other new construction stains from stone masonry surfaces without discoloring or damaging masonry surfaces; expressly approved for intended use by cleaner manufacturer and stone producer.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Manufacturers listed below make new masonry cleaners formulated primarily for ordinary brick, and restoration cleaners suitable for most granite.  Retain or insert only those manufacturers whose products are found suitable for stone used.

a. Diedrich Technologies, Inc.

b. Dominion Restoration Products.

c. EaCo Chem, Inc.

d. Hydrochemical Techniques, Inc.

e. Prosoco, Inc.

f. <Insert manufacturer's name>.

2.13 MORTAR MIXES

A. General:  Do not use admixtures, including pigments, air-entraining agents, accelerators, retarders, water-repellent agents, antifreeze compounds, or other admixtures, unless otherwise indicated.

1. Do not use calcium chloride.

Retain first subparagraph below if masonry cement is not acceptable.

2. Limit cementitious materials in mortar to portland cement[, mortar cement,] and lime.

Retain first subparagraph below if retaining cold-weather admixture.

3. Add cold-weather admixture (if used) at same rate for all mortar that will be exposed to view, regardless of weather conditions, to ensure that mortar color is consistent.

Retain subparagraph below for prehydrating pointing mortar if required.  Prehydrating mortar allows most of initial shrinkage to occur before mortar is placed in joint.

4. Mixing Pointing Mortar:  Thoroughly mix cementitious and aggregate materials together before adding water.  Then mix again, adding only enough water to produce a damp, unworkable mix that will retain its form when pressed into a ball.  Maintain mortar in this dampened condition for one to two hours.  Add remaining water in small portions until mortar reaches desired consistency.  Use mortar within 30 minutes of final mixing; do not retemper or use partially hardened material.

Retain first paragraph below if preblended mix is required.

B. Preblended, Dry Mortar Mix:  Furnish dry mortar ingredients in the form of a preblended mix.  Measure quantities by weight to ensure accurate proportions, and thoroughly blend ingredients before delivering to Project site.

C. Mortar for Stone Masonry:  Comply with ASTM C 270, [Proportion] [Property] Specification.

Retain mortar types in two subparagraphs below for setting and pointing applicable to stone variety selected.  Mortar should be softer than stone.  See Evaluations.

1. Mortar for Setting Stone:  [Type S] [Type N].

2. Mortar for Pointing Stone:  [Type N] [Type O].

Delete "Mortar for Setting Stone" Subparagraph above and retain first paragraph below if desired for adhered veneer.

D. Latex-Modified Portland Cement Setting Mortar:  Proportion and mix portland cement, aggregate, and latex additive to comply with latex-additive manufacturer's written instructions.

Retain first paragraph below for adhered veneer.

E. Cement-Paste Bond Coat:  Mix either neat cement and water or cement, sand, and water to a consistency similar to that of thick cream.

Retain subparagraph below if latex-modified portland cement setting-bed mortar is specified.

1. For latex-modified portland cement setting-bed mortar, substitute latex admixture for part or all of water, according to latex-additive manufacturer's written instructions.

Retain first paragraph below for adhered veneer on metal lath.

F. Mortar for Scratch Coat over Metal Lath:  1 part portland cement, 1/2 part lime, 5 parts loose damp sand, and enough water to produce a workable consistency.

Retain first paragraph below for adhered veneer on concrete masonry units.

G. Mortar for Scratch Coat over Unit Masonry:  1 part portland cement, 1 part lime, 7 parts loose damp sand, and enough water to produce a workable consistency.

Retain first paragraph below if pigmented mortar is required.

H. Pigmented Mortar:  Use colored cement product[ or select and proportion pigments with other ingredients to produce color required.  Do not add pigments to colored cement products].

Retain three subparagraphs below if retaining option in paragraph above.  Percentages in first two subparagraphs are for pigments containing only metallic oxides.  If pigments containing carbon black are used, pigments must be limited to 2 percent of portland cement or 1 percent of masonry cement or mortar cement.

1. Pigments shall not exceed 10 percent of portland cement by weight.

2. Pigments shall not exceed 5 percent of [masonry cement] [or] [mortar cement] by weight.

Insert materials and proportions used for sample if known.

3. Mix to match Architect's sample.

I. Colored-Aggregate Mortar:  Produce required mortar color by using colored aggregates and natural color or white cement as necessary to produce required mortar color.

Insert materials and proportions used for sample if known.

1. Mix to match Architect's sample.

2.14 FABRICATION

A. Fabricate stone to comply with sizes, shapes, and tolerances recommended by applicable stone association or, if none, by stone source, for faces, edges, beds, and backs.

Retain applicable references in two subparagraphs below.  No specific reference for quartz-based stone currently exists.

1. For granite, comply with recommendations in NBGQA's "Specifications for Architectural Granite."

2. For limestone, comply with recommendations in ILI's "Indiana Limestone Handbook."

B. [Cut] [Select] stone to produce pieces of thickness, size, and shape indicated, including details on Drawings.  Dress joints (bed and vertical) straight and at right angle to face unless otherwise indicated.

Retain first paragraph below only if anchors and supports require stone to be fabricated to receive them.

C. Cut and drill sinkages and holes in stone for anchors and supports.

D. Carefully inspect stone at quarry or fabrication plant for compliance with requirements for appearance, material, and fabrication.  Replace defective units before shipment.

1. Clean sawed backs of stone to remove rust stains and iron particles.

Retain first paragraph below for adhered veneer set by tile-setting method if required by code.

E. Gage backs of stones for adhered veneer if more than 81 sq. in. (522 sq. cm) in area.

If more than one stone type is required and different stone types require different thicknesses, patterns, or finishes, copy applicable text from three paragraphs below to stone-type articles and delete below.

F. Thickness of Stone:  Provide thickness indicated, but not less than the following:

1. Thickness:  4 inches (100 mm) plus or minus [1/4 inch (6 mm)] [1/2 inch (13 mm)].[  Thickness does not include projection of pitched faces.]

Retain subparagraph above or below or revise to suit Project.  Above is for anchored veneer; adjust thickness and tolerance to suit stone source; delete last option if no pitched faces.  Below is for adhered veneer, which must generally be limited to about 1-inch (25-mm) thickness because model codes limit weight of adhered veneers to 15 lb/sq. ft. (73 kg/sq. m).

2. Thickness:  1 inch (25 mm) plus or minus [1/8 inch (3 mm)] [1/4 inch (6 mm)].

G. Shape stone for type of masonry (pattern) as follows:

Retain one of seven subparagraphs below or revise to suit Project.  Consult stone producers for descriptions of stone masonry patterns.

1. Sawed-bed, range ashlar with uniform course heights and uniform lengths as indicated on Drawings.

2. Sawed-bed, range ashlar with uniform course heights as indicated on Drawings and with random lengths.

3. Sawed-bed, broken-range ashlar with uniform course heights as indicated on Drawings and with random lengths.

4. [Sawed] [Split]-bed, random-range ashlar with random course heights and random lengths (interrupted coursed).

5. Coursed rubble.

6. Uncoursed rubble (fieldstone).

7. Polygonal or mosaic.

H. Finish exposed faces and edges of stone to comply with requirements indicated for finish and to match approved samples and mockups.

Retain one of eight options in first subparagraph below or revise to suit Project.  Verify availability of finishes with sources.  See Evaluations and references for explanations of terms for various finishes.

1. Finish:  [Split face] [Rock face (pitched face)] [Natural cleft] [Mixed split face and seam face] [Mixed split face, seam face, and rock face (pitched face)] [Smooth] [Sand rubbed] [As indicated].

Retain one of five options in first subparagraph below or revise to suit Project.  Delete all if sills have same finish as other stone.

2. Finish for Sills:  [Smooth] [Sand rubbed] [Split face with sand-rubbed washes] [Rock face (pitched face) with sand-rubbed washes] [Rock face (pitched face) with tooled (boasted) washes].

Retain one of four options in first subparagraph below or revise to suit Project.  Delete all if lintels have same finish as other stone.

3. Finish for Lintels:  [Smooth] [Sand rubbed] [Split face] [Rock face (pitched face)].

Retain one of five options in first subparagraph below or revise to suit Project.  Delete all if no copings or if copings have same finish as other stone.

4. Finish for Copings:  [Smooth] [Sand rubbed] [Split faces] [Rock face (pitched face), front and back; sand-rubbed top] [Rock face (pitched face), front and back; tooled (boasted) top].

Usually retain subparagraph below with subparagraph above.

a. Finish exposed ends of copings same as front and back faces.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine surfaces indicated to receive stone masonry, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance.

B. Examine substrate to verify that dovetail slots, inserts, reinforcement, veneer anchors, flashing, and other items installed in substrates and required for or extending into stone masonry are correctly installed.

Retain paragraph above or first paragraph below, or both depending on substrates.

C. Examine wall framing, sheathing, and weather-resistant sheathing paper to verify that stud locations are suitable for spacing of veneer anchors and that installation will result in a weatherproof covering.

D. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

Retain first paragraph below for anchored veneer over frame construction.

A. Accurately mark stud centerlines on face of weather-resistant sheathing paper before beginning stone installation.

Process in first paragraph below prevents salts in concrete and unit masonry from migrating into stone and causing efflorescence.

B. Coat concrete and unit masonry backup with asphalt dampproofing.

C. Clean dirty or stained stone surfaces by removing soil, stains, and foreign materials before setting.  Clean stone by thoroughly scrubbing with fiber brushes and then drenching with clear water.  Use only mild cleaning compounds that contain no caustic or harsh materials or abrasives.

3.3 SETTING OF STONE MASONRY, GENERAL

A. Perform necessary field cutting and trimming as stone is set.

Retain one or both of first two subparagraphs below depending on whether stone is fabricated with sawed edges or split edges.

1. Use power saws to cut stone that is fabricated with saw-cut surfaces.  Cut lines straight and true, with edges eased slightly to prevent snipping.

2. Use hammer and chisel to split stone that is fabricated with split surfaces.  Make edges straight and true, matching similar surfaces that were shop or quarry fabricated.

Retain subparagraph below if pitched-face stone is used.

3. Pitch face at field-split edges as needed to match stones that are not field split.

Retain first paragraph below if stone sources produce variable material that may contain some unsuitable stone.

B. Sort stone before it is placed in wall to remove stone that does not comply with requirements relating to aesthetic effects, physical properties, or fabrication, or that is otherwise unsuitable for intended use.

Retain one of first five paragraphs below or revise to suit Project.  Show detail of typical jointing pattern on Drawings because terminology may not be clear.

C. Arrange stones in range ashlar pattern with course heights as indicated, [uniform] [random] lengths, and uniform joint widths, with offset between vertical joints as indicated.

D. Arrange stones in broken-range ashlar pattern with uniform course heights, random lengths, and uniform joint widths.

E. Arrange stones in three-course, random-range ashlar pattern with random course heights, random lengths (interrupted coursed), and uniform joint widths.

F. Arrange stones in [coursed] [uncoursed] rubble pattern with joint widths within tolerances indicated.[  Insert small stones into spaces between larger stones as needed to produce joints as uniform in width as practical.]

G. Arrange stones in polygonal (mosaic) pattern with uniform joint widths.

Retain first paragraph below for stones that vary in color and size.

H. Arrange stones with color and size variations uniformly dispersed for an evenly blended appearance.

I. Set stone to comply with requirements indicated on Drawings.  Install supports, fasteners, and other attachments indicated or necessary to secure stone masonry in place.  Set stone accurately in locations indicated with edges and faces aligned according to established relationships and indicated tolerances.

J. Maintain uniform joint widths except for variations due to different stone sizes and where minor variations are required to maintain bond alignment if any.  Lay walls with joints not less than [1/4 inch (6 mm)] [3/8 inch (10 mm)] at narrowest points or more than [3/8 inch (10 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] at widest points.

K. Provide sealant joints of widths and at locations indicated.

1. Keep sealant joints free of mortar and other rigid materials.

2. Sealing joints is specified in Division 07 Section "Joint Sealants."

Retain first paragraph below if metal expansion strips are used.

L. Install metal expansion strips in sealant joints at locations indicated.  Build flanges of expansion strips into masonry by embedding in mortar between stone masonry and backup wythe.  Lap each joint 4 inches (100 mm) in direction of water flow.  Seal joints below grade and at junctures with horizontal expansion joints if any.

Always retain first paragraph below even if flashing is specified in Division 04 Section "Unit Masonry."

M. Install embedded flashing[ and weep holes] at shelf angles, lintels, ledges, other obstructions to downward flow of water in wall, and where indicated.

Retain any of 12 subparagraphs below and revise to suit wall configurations used.  Arrangement of flashing can be communicated better by detailing on Drawings rather than by relying on any subparagraphs below.

1. At stud-framed walls, extend flashing through stone masonry, up the face of sheathing at least [8 inches (200 mm)] [12 inches (300 mm)] [16 inches (400 mm)], and behind weather-resistant sheathing paper.

2. At multiwythe masonry walls, including cavity walls, extend flashing through stone masonry, turned up a minimum of [4 inches (100 mm)] [8 inches (200 mm)] [12 inches (300 mm)] [16 inches (400 mm)], and extend into or through inner wythe to comply with requirements in Division 04 Section "Unit Masonry."

3. At concrete backing, extend flashing through stone masonry, turned up a minimum of [4 inches (100 mm)] [6 inches (150 mm)] [8 inches (200 mm)] [12 inches (300 mm)], and insert in reglet.[  Reglets are specified Division 07 Section "Sheet Metal Flashing and Trim."]

4. At lintels and shelf angles, extend flashing full length of angles but not less than 6 inches (150 mm) into masonry at each end.

5. At sills, extend flashing not less than 4 inches (100 mm) at ends.

6. At ends of head and sill flashing turn up not less than 2 inches (50 mm) to form end dams.

Retain first two subparagraphs below if ribbed sheet metal flashing is used.

7. Interlock end joints of ribbed sheet metal flashing by overlapping ribs not less than 1-1/2 inches (38 mm) or as recommended by flashing manufacturer, and seal lap with elastomeric sealant complying with requirements in Division 07 Section "Joint Sealants" for application indicated.

8. Install metal [drip edges] [and] [sealant stops] with ribbed sheet metal flashing by interlocking hemmed edges to form hooked seam.  Seal seam with elastomeric sealant complying with requirements in Division 07 Section "Joint Sealants" for application indicated.

9. Extend sheet metal flashing 1/2 inch (13 mm) beyond face of masonry at exterior and turn flashing down to form a drip.

Subparagraph above can be accomplished only with sheet metal flashing.  Retain one of three subparagraphs below if flexible flashing materials are used.  See the Evaluations in Division 04 Section "Unit Masonry."

10. Install metal drip edges beneath flexible flashing at exterior face of wall.  Stop flexible flashing 1/2 inch (13 mm) back from outside face of wall and adhere flexible flashing to top of metal drip edge.

11. Install metal flashing termination beneath flexible flashing at exterior face of wall.  Stop flexible flashing 1/2 inch (13 mm) back from outside face of wall and adhere flexible flashing to top of metal flashing termination.

12. Cut flexible flashing flush with face of wall after masonry wall construction is completed.

N. Coat limestone with cementitious dampproofing as follows:

1. Stone at Grade:  Beds, joints, and back surfaces to at least 12 inches (300 mm) above finish-grade elevations.

2. Stone Extending below Grade:  Beds, joints, back surfaces, and face surfaces below grade.

3. Allow cementitious dampproofing formulations to cure before setting dampproofed stone.  Do not damage or remove dampproofing in the course of handling and setting stone.

Retain first paragraph below for cavity walls and possibly for noncavity walls made of porous stone.

O. Place weep holes and vents in joints where moisture may accumulate, including at base of cavity walls, above shelf angles, and at flashing.

1. Use [wicking material] [round plastic tubing] [rectangular plastic tubing] [mesh weep holes/vents] [aluminum weep holes/vents] [vinyl weep holes/vents] [or] [open head joints] to form weep holes.

2. Use wicking material to form weep holes above flashing in stone sills.  Turn wicking down at lip of sill to be as inconspicuous as possible.

3. Space weep holes [16 inches (400 mm)] [24 inches (600 mm)] o.c.

Retain first subparagraph below if plastic tubing or wicking material for weep holes is retained in Part 2.

4. Space weep holes formed from [plastic tubing] [or] [wicking material] 16 inches (400 mm) o.c.

Retain first subparagraph below if wicking is used.

5. Trim wicking material used in weep holes flush with outside face of wall after mortar has set.

6. Place pea gravel in cavities as soon as practical to a height of not less than 2 inches (50 mm) above top of flashing, to maintain drainage.

Delete subparagraph above and below if cavity walls are not used.  Retain applicable products in Part 2 if retaining below.

7. Place cavity drainage material in cavities to comply with configuration requirements for cavity drainage material in "Miscellaneous Masonry Accessories" Article.

Retain paragraph below if wall is designed on rain-screen principle with vents acting to equalize air-pressure differential between cavity and exterior.  Indicate spacing of vents and blocking on Drawings.  See the Evaluations in Division 04 Section "Unit Masonry."

P. Install vents in vertical head joints at the top of each continuous cavity at spacing indicated.  Use [round plastic tubing] [rectangular plastic tubing] [mesh weep holes/vents] [aluminum weep holes/vents] [vinyl weep holes/vents] [or] [open head joints] to form vents.

1. Close cavities off vertically and horizontally with blocking in manner indicated.  Install through-wall flashing and weep holes above horizontal blocking.

3.4 CONSTRUCTION TOLERANCES

Tolerances in this article are based on those published by BIA for unit masonry and are generally appropriate for natural-cleft or relatively smooth finished stone.  Revise to suit Project or delete for fieldstone or for rustic finished stone.

A. Variation from Plumb:  For vertical lines and surfaces, do not exceed 1/4 inch in 10 feet (6 mm in 3 m), 3/8 inch in 20 feet (10 mm in 6 m), or 1/2 inch in 40 feet (13 mm in 12 m) or more.  For external corners, expansion joints, control joints, and other conspicuous lines, do not exceed 1/4 inch in 20 feet (6 mm in 6 m) or 1/2 inch in 40 feet (13 mm in 12 m) or more.

B. Variation from Level:  For[ bed joints and] lines of exposed lintels, sills, parapets, horizontal grooves, and other conspicuous lines, do not exceed 1/4 inch in 20 feet (6 mm in 6 m) or 1/2 inch in 40 feet (13 mm in 12 m) or more.

C. Variation of Linear Building Line:  For position shown in plan, do not exceed 1/2 inch in 20 feet (13 mm in 6 m) or 3/4 inch in 40 feet (19 mm in 12 m) or more.

Retain first paragraph below for rough stone.

D. Measure variation from level, plumb, and position shown in plan as variation of the average plane of the face of each stone from level, plumb, or dimensioned plane.

E. Variation in Mortar-Joint Thickness:  Do not vary from joint size range indicated.

Consider retaining paragraph below for rough stone.

F. Variation in Plane between Adjacent Stones:  Do not exceed one-half of tolerance specified for thickness of stone.

3.5 INSTALLATION OF ANCHORED STONE MASONRY

Retain one or more of first 10 paragraphs below depending on backup construction and types of veneer anchors used.

A. Anchor stone masonry to concrete with corrugated-metal veneer anchors unless otherwise indicated.  Secure anchors by inserting dovetailed ends into dovetail slots in concrete.

B. Anchor stone masonry to unit masonry with [corrugated-metal] [or] [individual wire] veneer anchors unless otherwise indicated.  Embed anchors in unit masonry mortar joints or grouted cells for distance at least one-half of unit masonry thickness.

First paragraph below is for adjustable cavity-wall reinforcement used for brick veneer and can only be used with stone that has closely or regularly spaced horizontal mortar joints.

C. Anchor stone masonry to unit masonry with wire anchors unless otherwise indicated.  Connect anchors to masonry joint reinforcement by inserting pintles into eyes of masonry joint reinforcement projecting from unit masonry.

First paragraph below describes Dur-O-Wal's "Adjustable Joint Reinforcement for Random Stone" and Hohmann & Barnard's "Tie-HVR."

D. Anchor stone masonry to unit masonry with wire anchors unless otherwise indicated.  Connect anchors to masonry joint reinforcement with vertical rods inserted through anchors and through eyes of masonry joint reinforcement projecting from unit masonry.

E. Anchor stone masonry to unit masonry with [adjustable, screw-attached] [seismic] veneer anchors unless otherwise indicated.  Fasten anchors to unit masonry with two screws.

F. Anchor stone masonry to stud framing with [adjustable, screw-attached] [seismic] veneer anchors unless otherwise indicated.  Fasten anchors through sheathing to framing with two screws.

Retain paragraph above for veneer anchors that are attached with two screws.  Retain first paragraph below for veneer anchors, such as Heckmann's "Pos-I-Tie," that have a single integral screw.

G. Anchor stone masonry to stud framing with screw-attached veneer anchors unless otherwise indicated.

H. Anchor stone masonry to wood stud framing with corrugated-metal veneer anchors unless otherwise indicated.  Fasten anchors through sheathing to studs with corrosion-resistant roofing nails.

I. Anchor stone masonry to wood stud framing with wire anchors unless otherwise indicated.  Fasten anchors through sheathing to wood studs with corrosion-resistant roofing nails.

J. Anchor stone masonry to metal stud framing with wire anchors unless otherwise indicated.  Tie anchors to studs.

Retain first paragraph below with any of 10 paragraphs above.

K. Embed veneer anchors in mortar joints of stone masonry at least halfway, but not less than 1-1/2 inches (38 mm), through stone masonry and with at least 5/8-inch (16-mm) cover on outside face.

Installation in subparagraph below is required by the Uniform Building Code in Seismic Zones 3 and 4; delete if not required.

1. Install continuous wire reinforcement in horizontal joints and attach to seismic veneer anchors as stone is set.

Retain one of first three paragraphs below.  First paragraph is based on prescriptive requirements for stone veneers in model codes.  Second and third paragraphs are based on anchor spacing requirements for veneers in ACI 530/ASCE 5/TMS 402.  Spacing in third paragraph allows more flexibility in locating anchors than spacing in second and may be easier to accomplish with some stone patterns.

L. Space anchors to provide not less than 1 anchor per 2 sq. ft. (0.2 sq. m) of wall area.  Install additional anchors within 12 inches (300 mm) of openings, sealant joints, and perimeter at intervals not exceeding 12 inches (300 mm).

M. Space anchors not more than 16 inches (400 mm) o.c. vertically and 24 inches (600 mm) o.c. horizontally.  Install additional anchors within 12 inches (300 mm) of openings, sealant joints, and perimeter at intervals not exceeding 12 inches (300 mm).

N. Space anchors not more than 18 inches (450 mm) o.c. vertically and 32 inches (800 mm) o.c. horizontally, with not less than 1 anchor per 2.67 sq. ft. (0.25 sq. m) of wall area.  Install additional anchors within 12 inches (300 mm) of openings, sealant joints, and perimeter at intervals not exceeding 12 inches (300 mm).

Retain first paragraph below if stone trim is anchored with anchors or dowels inserted into holes or kerfs in stone units.  If retaining, show anchors on Drawings.

O. Anchor stone trim with stone trim anchors where indicated.  Install anchors by fastening to substrate and inserting tabs and dowels into kerfs and holes in stone units.  Provide compressible filler in ends of dowel holes and bottoms of kerfs to prevent end bearing of dowels and anchor tabs on stone.  Fill remainder of anchor holes and kerfs with mortar.

P. Set stone in full bed of mortar with full head joints unless otherwise indicated.  Build anchors into mortar joints as stone is set.

Retain one of first two paragraphs below depending on backup construction and building code requirements.  See Evaluations.  Model codes refer to 1-inch (25-mm) air space; 2-inch (50-mm) air space is often recommended because it is easier to keep free of mortar.

Q. Fill [collar joint] [space between back of stone masonry and weather-resistant sheathing paper] with mortar as stone is set.

R. Provide [1-inch (25-mm)] [2-inch (50-mm)] cavity between stone masonry and backup construction unless otherwise indicated.  Keep cavity free of mortar droppings and debris.

Retain first subparagraph below if required by code.

1. Place mortar spots in cavity at veneer anchors to maintain spacing.

2. Slope beds toward cavity to minimize mortar protrusions into cavity.

Attempting to remove mortar fins from cavity or to trowel them flat against stone usually results in increased mortar droppings at base of cavity.

3. Do not attempt to trowel or remove mortar fins protruding into cavity.

Raking out joints to depth of 3/4 inch (19 mm) allows for 2 layers of pointing mortar approximately 3/8 inch (10 mm) deep.

S. Rake out joints for pointing with mortar to depth of not less than [1/2 inch (13 mm)] [3/4 inch (19 mm)] before setting mortar has hardened.  Rake joints to uniform depths with square bottoms and clean sides.

3.6 INSTALLATION OF ADHERED STONE MASONRY VENEER

Retain first two paragraphs below for installation over wood or metal framing.  Revise both if sheathing is not used.

A. Install flashing over sheathing and behind weather-resistant sheathing paper by fastening through sheathing into framing.

B. Install lath over weather-resistant sheathing paper by fastening through sheathing into framing to comply with ASTM C 1063.

Delete paragraph above and retain first paragraph below for installation over masonry or concrete.

C. Install lath over unit masonry and concrete to comply with ASTM C 1063.

D. Install scratch coat over metal lath 3/8 inch (10 mm) thick to comply with ASTM C 926.

For adhered veneer installed directly over masonry without lath, delete two paragraphs above and retain "masonry backup" option in first paragraph below; otherwise, retain "scratch coat" option.

E. Coat backs of stone units and face of [scratch coat] [masonry backup] with cement-paste bond coat, then butter both surfaces with setting mortar.  Use sufficient setting mortar so a slight excess will be forced out the edges of stone units as they are set.  Tap units into place, completely filling space between units and [scratch coat] [masonry backup].

Raking out joints to depth of 3/4 inch (19 mm) allows for 2 layers of pointing mortar approximately 3/8 inch (10 mm) deep.

F. Rake out joints for pointing with mortar to depth of not less than [1/2 inch (13 mm)] [3/4 inch (19 mm)] before setting mortar has hardened.  Rake joints to uniform depths with square bottoms and clean sides.

3.7 POINTING

A. Prepare stone-joint surfaces for pointing with mortar by removing dust and mortar particles.  Where setting mortar was removed to depths greater than surrounding areas, apply pointing mortar in layers not more than 3/8 inch (10 mm) deep until a uniform depth is formed.

B. Point stone joints by placing and compacting pointing mortar in layers not more than 3/8 inch (10 mm) deep.  Compact each layer thoroughly and allow to become thumbprint hard before applying next layer.

C. Tool joints, when pointing mortar is thumbprint hard, with a smooth jointing tool to produce the following joint profile:

Retain one of five options in subparagraph below or revise to suit Project.

1. Joint Profile:  [Concave] [Smooth, flat face slightly below edges of stone] [Smooth, flat face recessed 1/4 inch (6 mm) below edges of stone (raked joint)] [Flush, with a 3/8-inch (10-mm) half-round raised bead in middle of joint] [As indicated].

3.8 ADJUSTING AND CLEANING

A. Remove and replace stone masonry of the following description:

1. Broken, chipped, stained, or otherwise damaged stone.  Stone may be repaired if methods and results are approved by Architect.

2. Defective joints.

3. Stone masonry not matching approved samples and mockups.

4. Stone masonry not complying with other requirements indicated.

B. Replace in a manner that results in stone masonry matching approved samples and mockups, complying with other requirements, and showing no evidence of replacement.

C. In-Progress Cleaning:  Clean stone masonry as work progresses.  Remove mortar fins and smears before tooling joints.

D. Final Cleaning:  After mortar is thoroughly set and cured, clean stone masonry as follows:

1. Remove large mortar particles by hand with wooden paddles and nonmetallic scrape hoes or chisels.

2. Test cleaning methods on mockup; leave one-half of panel uncleaned for comparison purposes.  Obtain Architect's approval of sample cleaning before cleaning stone masonry.

3. Protect adjacent stone and nonmasonry surfaces from contact with cleaner by covering them with liquid strippable masking agent, polyethylene film, or waterproof masking tape.

Delete subparagraph above and first subparagraph below if cleaner is not specified in Part 2 or is not allowed.

4. Wet wall surfaces with water before applying cleaner; remove cleaner promptly by rinsing thoroughly with clear water.

5. Clean stone masonry by bucket and brush hand-cleaning method described in BIA Technical Note No. 20 Revised II, using job-mixed detergent solution.

Retain subparagraph above or first subparagraph below.  Coordinate with products retained in Part 2.  If high-pressure water cleaning or other cleaning methods are acceptable, delete above and below and insert applicable requirements.

6. Clean stone masonry with proprietary acidic cleaner applied according to manufacturer's written instructions.

Delete subparagraph below if no limestone.

7. Clean limestone masonry to comply with recommendations in ILI's "Indiana Limestone Handbook."

3.9 EXCESS MATERIALS AND WASTE

A. Excess Stone:  Stack excess stone where directed by Owner for Owner's use.

Retain first paragraph below if clean masonry waste can be used as fill; this diverts some material from waste stream and conserves landfill space.

B. Disposal as Fill Material:  Dispose of clean masonry waste, including mortar and excess or soil-contaminated sand, by crushing and mixing with fill material as fill is placed.

1. Crush masonry waste to less than 4 inches (100 mm) in greatest dimension.

2. Mix masonry waste with at least two parts of specified fill material for each part of masonry waste.  Fill material is specified in Division 31 Section "Earth Moving."

Generally retain subparagraph below.  If required, increase limit if acid-soil plants are used for foundation plantings.

3. Do not dispose of masonry waste as fill within 18 inches (450 mm) of finished grade.

C. Excess Masonry Waste:  Remove excess clean masonry waste that cannot be used as fill, as described above, and other waste, and legally dispose of off Owner's property.

END OF SECTION 044300

	STONE MASONRY
	044300 - 1



