Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
02/02 (R 05/06)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 055213 - PIPE AND TUBE RAILINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Aluminum [pipe] [and] [tube] railings.

2. Stainless-steel [pipe] [and] [tube] railings.

3. Steel [pipe] [and] [tube] railings.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

Delete first subparagraph below if railings for metal stairs are specified in this Section.

1. Division 05 Section "Metal Stairs" for steel tube railings associated with metal stairs.

2. Division 05 Section "Decorative Metal Railings" for ornamental railings fabricated from pipes and tubes.

3. Division 06 Section "[Rough Carpentry] [Miscellaneous Carpentry]" for wood blocking for anchoring railings.

4. Division 09 Section "[Gypsum Plastering] [Gypsum Veneer Plastering] [Gypsum Board] [Gypsum Board Shaft-Wall Assemblies]" for metal backing for anchoring railings.

5. Division 09 Section "Access Flooring" for railings included with access flooring.

1.3 PERFORMANCE REQUIREMENTS

Delete first two paragraphs and associated subparagraphs below if requirements are indicated on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.  Delete first paragraph and subparagraphs if performance requirements are verified by testing rather than by engineering calculations.

A. General:  In engineering railings to withstand structural loads indicated, determine allowable design working stresses of railing materials based on the following:

Retain only those requirements in three subparagraphs below that apply to materials specified in Part 2.

1. Aluminum:  The lesser of minimum yield strength divided by 1.65 or minimum ultimate tensile strength divided by 1.95.

2. Stainless Steel:  60 percent of minimum yield strength.

3. Steel:  72 percent of minimum yield strength.

B. Structural Performance:  Provide railings capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs and associated subparagraphs below are examples only and are based on typical requirements of model codes.  For some occupancy categories under certain circumstances, model codes have less-stringent provisions; revise to suit Project and to comply with requirements of authorities having jurisdiction.

1. Handrails:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Top Rails of Guards:

First option in first subparagraph below applies to 1996 and 1999 BOCA Code, 2000 International Building Code, and 1997 Uniform Building Code; second option applies to 1993 BOCA Code.

a. Uniform load of [50 lbf/ ft. (0.73 kN/m) applied in any direction] [50 lbf/ ft. (0.73 kN/m) applied horizontally and concurrently with 100 lbf/ ft. (1.46 kN/m) applied vertically downward].

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

3. Infill of Guards:

a. Concentrated load of [50 lbf (0.22 kN)] [200 lbf (0.89 kN)] applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

Select subparagraph above or first subparagraph below.  First option above applies to 1996 and 1999 BOCA Code and 2000 International Building Code; second option applies to 1993 BOCA Code.  Below applies to 1997 Uniform Building Code.

b. Uniform load of 25 lbf/sq. ft. (1.2 kN/sq. m) applied horizontally.

c. Infill load and other loads need not be assumed to act concurrently.

Delete two paragraphs and associated subparagraph below if only interior railings are required.

C. Thermal Movements:  Provide exterior railings that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.; revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

D. Control of Corrosion:  Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

1.4 SUBMITTALS

A. Product Data:  For the following:

Delete first subparagraph below if mechanically connected railings are not specified.

1. Manufacturer's product lines of mechanically connected railings.

2. Grout, anchoring cement, and paint products.

B. LEED Submittal:

Retain subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of complying with Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor the option and responsibility for determining how Credit MR 4.1 and MR 4.2 requirements will be met.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

C. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify products' compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Delete paragraph below if colors, textures, and designs are preselected and specified or scheduled or if none are required.

D. Samples for Initial Selection:  For products involving selection of color, texture, or design[, including mechanical finishes on stainless steel].

Retain paragraph above or paragraph and subparagraphs below, or both, if required.

E. Samples for Verification:  For each type of exposed finish required.

Delete or revise subparagraphs below to suit Project.

1. Sections of each distinctly different linear railing member, including handrails, top rails, posts, and balusters.

2. Fittings and brackets.

Usually delete subparagraph and associated subparagraph below except possibly for directionally finished stainless steel or mechanically connected aluminum.

3. Assembled Sample of railing system, made from full-size components, including top rail, post, handrail, and infill.  Sample need not be full height.

a. Show method of [finishing] [connecting] members at intersections.

Usually delete paragraph below unless increased corrosion resistance of Type 316 stainless steel is required.

F. Mill Certificates:  Signed by manufacturers of stainless-steel products certifying that products furnished comply with requirements.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

G. Welding certificates.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements."

H. Qualification Data:  For [professional engineer] [testing agency].

Paragraph below may be used for verification of performance requirements if authorities having jurisdiction do not allow Contractor to provide engineering calculations.

I. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, according to ASTM E 894 and ASTM E 935.

1.5 QUALITY ASSURANCE

A. Source Limitations:  Obtain each type of railing through one source from a single manufacturer.

Delete paragraph and subparagraphs below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

B. Welding:  Qualify procedures and personnel according to the following:

Retain applicable standards below.

1. AWS D1.1, "Structural Welding Code--Steel."

2. AWS D1.2, "Structural Welding Code--Aluminum."

3. AWS D1.6, "Structural Welding Code--Stainless Steel."

1.6 PROJECT CONDITIONS

If possible, design railings so that they do not have to fit other construction, and delete this Article.

A. Field Measurements:  Verify actual locations of walls and other construction contiguous with railings by field measurements before fabrication and indicate measurements on Shop Drawings.

Delete first subparagraph below if not allowed.

1. Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating railings without field measurements.  Coordinate wall and other contiguous construction to ensure that actual dimensions correspond to established dimensions.

2. Provide allowance for trimming and fitting at site.

1.7 COORDINATION AND SCHEDULING

A. Coordinate installation of anchorages for railings.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

B. Schedule installation so wall attachments are made only to completed walls.  Do not support railings temporarily by any means that do not satisfy structural performance requirements.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

Select railing types required and delete others from three subparagraphs below.  Under each type, retain or insert only those manufacturers offering products that comply with requirements indicated on Drawings and retained in other parts of the Section Text.

1. Aluminum Pipe and Tube Railings:

a. AlumaGuard Corp.

b. ATR Technologies, Inc.

c. Blum, Julius & Co., Inc.

d. Braun, J. G., Company; a division of the Wagner Companies.

e. CraneVeyor Corp.

f. Hollaender Manufacturing Company.

g. Moultrie Manufacturing Company.

h. Pisor Industries, Inc.

i. Sterling Dula Architectural Products, Inc.

j. Superior Aluminum Products, Inc.

k. Thompson Fabricating, LLC.

l. Tubular Specialties Manufacturing, Inc.

m. Tuttle Aluminum & Bronze.

n. Wagner, R & B, Inc.; a division of the Wagner Companies.

o. <Insert manufacturer's name.>

2. Stainless-Steel Pipe and Tube Railings:

a. Blum, Julius & Co., Inc.

b. Paragon Aquatics; Division of Pentair Pool Products, Inc.

c. Pisor Industries, Inc.

d. Stainless Fabricators, Inc.

e. Sterling Dula Architectural Products, Inc.

f. Tubular Specialties Manufacturing, Inc.

g. Tuttle Aluminum & Bronze.

h. Wagner, R & B, Inc.; a division of the Wagner Companies.

i. <Insert manufacturer's name.>

3. Steel Pipe and Tube Railings:

Steel pipe railings are generally fabricated by local ironworks.  If retaining companies listed below, add names of local fabricators to list.

a. Pisor Industries, Inc.

b. Sharpe Products.

c. Wagner, R & B, Inc.; a division of the Wagner Companies.

d. <Insert manufacturer's name.>

2.2 METALS, GENERAL

A. Metal Surfaces, General:  Provide materials with smooth surfaces, without seam marks, roller marks, rolled trade names, stains, discolorations, or blemishes.

B. Brackets, Flanges, and Anchors:  Cast or formed metal of same type of material and finish as supported rails, unless otherwise indicated.

2.3 ALUMINUM

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.

A. Aluminum, General:  Provide alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with not less than the strength and durability properties of alloy and temper designated below for each aluminum form required.

Alloys and tempers in first six paragraphs below are typical for products listed when used in railings; revise to suit structural performance requirements of railing designs indicated and to establish minimum strength properties.

For round tube railings, usually retain first three paragraphs below if Contractor is required to design railings.  For pipe railings, retain only second paragraph unless first paragraph is required for bars.  For square tube railings, retain only first paragraph.  Primary difference between round tubing and pipe is in outside dimensions.  Pipe sizes are normally indicated by use of nominal pipe size designator and weight class or schedule number; for tubing, OD and wall thickness are used.  See Evaluations.

Yield strength for Alloy 6063-T5/T52 is 15 to 16 ksi (105 to 110 MPa).

B. Extruded [Bars] [and] [Tubing]:  ASTM B 221 (ASTM B 221M), Alloy 6063-T5/T52.

Yield strength for Alloy 6063-T6 is 25 ksi (172 MPa).

C. Extruded Structural [Pipe] [and] [Round Tubing]:  ASTM B 429, Alloy 6063-T6.

1. Provide Standard Weight (Schedule 40) pipe, unless otherwise indicated.

Yield strength for Alloy 6063-T832 is 35 to 36 ksi (240 to 250 MPa).

D. Drawn Seamless Tubing:  ASTM B 210 (ASTM B 210M), Alloy 6063-T832.

Yield strength for Alloy 6061-T6 is 32 to 35 ksi (220 to 240 MPa).  Note that 6061-T6 is not suitable for bending, is somewhat less corrosion resistant than 6063, and does not anodize as well as 6063; however, 6063 is not available in plate and sheet form.

E. Plate and Sheet:  ASTM B 209 (ASTM B 209M), Alloy 6061-T6.

F. Die and Hand Forgings:  ASTM B 247 (ASTM B 247M), Alloy 6061-T6.

G. Castings:  ASTM B 26/B 26M, Alloy A356.0-T6.

Revise pattern and wire size in paragraph below if required.

H. Woven-Wire Mesh:  Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.162-inch (4.1-mm) nominal diameter wire complying with ASTM B 211 (ASTM B 211M), Alloy 6061-T94.

2.4 STAINLESS STEEL

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.  Type 304 stainless steel is usually standard; Type 316 or 316L provides better corrosion resistance in coastal environments.  If welding is required, Type 316L should be used instead of Type 316.

A. Tubing:  ASTM A 554, Grade MT [304] [316L].

Primary difference between round stainless-steel tubing and stainless-steel pipe is in outside dimensions.  Pipe sizes are normally indicated by use of nominal pipe size designator and weight class or schedule number; for tubing, OD and wall thickness are used.  See Evaluations.

B. Pipe:  ASTM A 312/A 312M, Grade TP [304] [316L].

Retain first option in first paragraph below with Type 304; second option, with Type 316 or 316L.

C. Castings:  ASTM A 743/A 743M, Grade [CF 8 or CF 20] [CF 8M or CF 3M].

D. Plate and Sheet:  ASTM A 666, Type [304] [316L].

E. Expanded Metal:  ASTM F 1267, Type [I (expanded)] [II (expanded and flattened)], Class 3 (corrosion-resistant steel), made from stainless-steel sheet complying with ASTM A 666, Type [304] [316].

Style designations in subparagraph below indicate size.  3/4 number 13 has openings approximately 3/4 by 1-1/2 inches (20 by 40 mm) and is 0.09 to 0.10 inch (2.3 to 2.5 mm) thick; 1-1/2 number 10 has openings approximately 1 by 2-1/2 inches (25 by 65 mm) and is 0.13 to 0.142 inch (3.3 to 3.6 mm) thick.

1. Style Designation:  [3/4 number 13] [1-1/2 number 10] <Insert designation>.

Revise pattern and wire size in paragraph below if required.

F. Woven-Wire Mesh:  Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.135-inch (3.5-mm) nominal diameter wire complying with ASTM A 580/A 580M, Type [304] [316].

2.5 STEEL AND IRON

Retain first paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that hollow structural shapes, pipe, and steel plates are made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.

Usually retain all three options in paragraph below unless structural engineer of record has designed railings.

B. Tubing:  [ASTM A 500 (cold formed)] [or] [ASTM A 513, Type 5 (mandrel drawn)].

Primary difference between round steel tubing and steel pipe is in outside dimensions.  Pipe sizes are normally indicated by use of nominal pipe size designator and weight class or schedule number; for tubing, OD and wall thickness are used.  See Evaluations.

Type, grade, and weight in first paragraph below are typical default requirements; revise to suit Project.

C. Pipe:  ASTM A 53/A 53M, Type F or Type S, Grade A, Standard Weight (Schedule 40), unless another grade and weight are required by structural loads.

Delete subparagraph below if railings are galvanized after fabrication or if no galvanized railings.

1. Provide galvanized finish for exterior installations and where indicated.

D. Plates, Shapes, and Bars:  ASTM A 36/A 36M.

E. Castings:  Either gray or malleable iron, unless otherwise indicated.

1. Gray Iron:  ASTM A 48/A 48M, Class 30, unless another class is indicated or required by structural loads.

2. Malleable Iron:  ASTM A 47/A 47M.

F. Expanded Metal:  ASTM F 1267, Type [I (expanded)] [II (expanded and flattened)], Class 1 (uncoated).

Style designations in subparagraph below indicate size.  3/4 number 13 has openings approximately 3/4 by 1-1/2 inches (20 by 40 mm) and is 0.09 to 0.10 inch (2.3 to 2.5 mm) thick; 1-1/2 number 10 has openings approximately 1 by 2-1/2 inches (25 by 65 mm) and is 0.13 to 0.142 inch (3.3 to 3.6 mm) thick.

1. Style Designation:  [3/4 number 13] [1-1/2 number 10] <Insert designation>.

Revise pattern and wire size in paragraph below if required.

G. Woven-Wire Mesh:  Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.135-inch (3.5-mm) nominal diameter wire complying with ASTM A 510 (ASTM A 510M).

2.6 FASTENERS

A. General:  Provide the following:

Retain or revise applicable requirements in three subparagraphs below.

1. Aluminum Railings:  Type [304] [316] stainless-steel fasteners.

2. Stainless-Steel Railings:  Type [304] [316] stainless-steel fasteners.

3. Steel Railings:  Plated steel fasteners complying with ASTM B 633, Class Fe/Zn 25 for electrodeposited zinc coating.

B. Fasteners for Anchoring Railings to Other Construction:  Select fasteners of type, grade, and class required to produce connections suitable for anchoring railings to other types of construction indicated[ and capable of withstanding design loads].

C. Fasteners for Interconnecting Railing Components:

1. Provide concealed fasteners for interconnecting railing components and for attaching them to other work, unless otherwise indicated.

Delete subparagraph above or below.  Above is more restrictive than below.

2. Provide concealed fasteners for interconnecting railing components and for attaching them to other work, unless exposed fasteners are unavoidable or are the standard fastening method for railings indicated.

Delete subparagraph below or revise if another type of head is required or is standard with system selected.

3. Provide [Phillips] [tamper-resistant] [square or hex socket] flat-head machine screws for exposed fasteners, unless otherwise indicated.

Delete paragraph below if not applicable.  If retaining, select acceptable types and verify safety factors with Project's structural engineer.

D. Anchors:  Provide [cast-in-place] [chemical] [or] [torque-controlled expansion] anchors, fabricated from corrosion-resistant materials with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488 conducted by a qualified independent testing agency.

2.7 MISCELLANEOUS MATERIALS

A. Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

Delete subparagraph below if aluminum railings are not used or are not welded.

1. For aluminum railings, provide type and alloy as recommended by producer of metal to be welded and as required for color match, strength, and compatibility in fabricated items.

B. Shop Primers:  Provide primers that comply with Division 09 [painting Sections.] [Section "High-Performance Coatings."]

Select paragraph above or one or more of first three paragraphs and associated subparagraphs below if primers are required.  First paragraph below specifies a typical primer for painted finishes that provides minimum protection to steel.  Second paragraph specifies a typical primer for high-performance coating on steel.  Third paragraph specifies a typical primer for galvanized steel.  If retaining both first and second paragraphs and associated subparagraphs below, indicate on Drawings or in a schedule where each is required.

C. Universal Shop Primer:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete subparagraph below if zinc-rich primer is not used.

2. Use primer containing pigments that make it easily distinguishable from zinc-rich primer.

D. Zinc-Rich Primer:  Complying with SSPC-Paint 20 or SSPC-Paint 29 and compatible with topcoat.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, provide one of the following:

Edit list below to suit local VOC regulations.

a. Benjamin Moore & Co.; Epoxy Zinc-Rich Primer CM18/19.

b. Carboline Company; Carbozinc 621.

c. ICI Devoe Coatings; Catha-Coat 313.

d. International Coatings Limited; Interzinc 315 Epoxy Zinc-Rich Primer.

e. PPG Architectural Finishes, Inc.; Aquapon Zinc-Rich Primer 97-670.

f. Sherwin-Williams Company (The); Corothane I GalvaPac Zinc Primer.

g. Tnemec Company, Inc.; Tneme-Zinc 90-97.

h. <Insert manufacturer's name; product name or designation.>

Delete paragraph below if galvanized railings are not shop primed.

E. Shop Primer for Galvanized Steel:  Zinc-dust, zinc-oxide primer formulated for priming zinc-coated steel and for compatibility with finish paint systems indicated, and complying with SSPC-Paint 5.

Retain first paragraph below for galvanized railings that are not shop primed.

F. Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

G. Bituminous Paint:  Cold-applied asphalt emulsion complying with ASTM D 1187.

Select one or both paragraphs and associated subparagraph below to suit Project.

H. Nonshrink, Nonmetallic Grout:  Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout specifically recommended by manufacturer for interior and exterior applications.

I. Anchoring Cement:  Factory-packaged, nonshrink, nonstaining, hydraulic-controlled expansion cement formulation for mixing with water at Project site to create pourable anchoring, patching, and grouting compound.

Retain subparagraph below if railings are used at exterior or wet locations.

1. Water-Resistant Product:  [At exterior locations] [and] [where indicated] provide formulation that is resistant to erosion from water exposure without needing protection by a sealer or waterproof coating and that is recommended by manufacturer for exterior use.

2.8 FABRICATION

A. General:  Fabricate railings to comply with requirements indicated for design, dimensions, member sizes and spacing, details, finish, and anchorage[, but not less than that required to support structural loads].

B. Assemble railings in the shop to greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Clearly mark units for reassembly and coordinated installation.  Use connections that maintain structural value of joined pieces.

C. Cut, drill, and punch metals cleanly and accurately.  Remove burrs and ease edges to a radius of approximately 1/32 inch (1 mm), unless otherwise indicated.  Remove sharp or rough areas on exposed surfaces.

D. Form work true to line and level with accurate angles and surfaces.

E. Fabricate connections that will be exposed to weather in a manner to exclude water.  Provide weep holes where water may accumulate.

F. Cut, reinforce, drill, and tap as indicated to receive finish hardware, screws, and similar items.

G. Connections:  Fabricate railings with [welded] [nonwelded] [either welded or nonwelded] connections, unless otherwise indicated.

Delete paragraph and subparagraphs below if only nonwelded connections are acceptable or are compatible with metals and finishes retained.  Connections below are generally applicable to exposed welding of steel and stainless steel.

H. Welded Connections:  Cope components at connections to provide close fit, or use fittings designed for this purpose.  Weld all around at connections, including at fittings.

1. Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2. Obtain fusion without undercut or overlap.

3. Remove flux immediately.

4. At exposed connections, finish exposed surfaces smooth and blended so no roughness shows after finishing and welded surface matches contours of adjoining surfaces.

First paragraph below describes CraneVeyor's system.

I. Welded Connections for Aluminum Pipe:  Fabricate railings to interconnect members with concealed internal welds that eliminate surface grinding, using manufacturer's standard system of sleeve and socket fittings.

J. Nonwelded Connections:  Connect members with concealed mechanical fasteners and fittings.  Fabricate members and fittings to produce flush, smooth, rigid, hairline joints.

Subparagraph below is an alternative to concealed mechanical fasteners and fittings.

1. Fabricate splice joints for field connection using an epoxy structural adhesive if this is manufacturer's standard splicing method.

K. Form changes in direction as follows:

Retain one of five subparagraphs below.

1. As detailed.

Retain one of three subparagraphs below if bending is used.  First subparagraph allows fabricator to choose radius of bends.  Second is for flush (zero-radius) bends.  Third is for radii that are shown on Drawings.

2. By bending[ or by inserting prefabricated elbow fittings].

3. By flush bends[ or by inserting prefabricated flush-elbow fittings].

4. By radius bends of radius indicated[ or by inserting prefabricated elbow fittings of radius indicated].

Retain subparagraph and one of three options below if bending is not used.  First option allows fabricator to choose radius of fittings.  Second is for flush (zero-radius) fittings.  Third is for radii that are shown on Drawings.

5. By inserting prefabricated [elbow fittings] [flush-elbow fittings] [elbow fittings of radius indicated].

Retain first paragraph below unless all bends are made with elbow fittings.

L. Form simple and compound curves by bending members in jigs to produce uniform curvature for each repetitive configuration required; maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces of components.

M. Close exposed ends of railing members with prefabricated end fittings.

N. Provide wall returns at ends of wall-mounted handrails, unless otherwise indicated.  Close ends of returns unless clearance between end of rail and wall is 1/4 inch (6 mm) or less.

O. Brackets, Flanges, Fittings, and Anchors:  Provide wall brackets, flanges, miscellaneous fittings, and anchors to interconnect railing members to other work, unless otherwise indicated.

Retain subparagraph below if any railings are supported from plaster or gypsum board walls.

1. At brackets and fittings fastened to plaster or gypsum board partitions, provide fillers made from crush-resistant material, or other means to transfer wall loads through wall finishes to structural supports and prevent bracket or fitting rotation and crushing of substrate.

P. Provide inserts and other anchorage devices for connecting railings to concrete or masonry work.  Fabricate anchorage devices capable of withstanding loads imposed by railings.  Coordinate anchorage devices with supporting structure.

Delete paragraph below if no posts are set in concrete or if posts are set without sleeves.

Q. For railing posts set in concrete, provide steel sleeves not less than 6 inches (150 mm) long with inside dimensions not less than 1/2 inch (13 mm) greater than outside dimensions of post, with steel plate forming bottom closure.

Delete first paragraph and subparagraph below if not required or if not allowed by authorities having jurisdiction.

R. For removable railing posts, fabricate slip-fit sockets from [steel] [stainless-steel] tube or pipe whose ID is sized for a close fit with posts; limit movement of post without lateral load, measured at top, to not more than one-fortieth of post height.  Provide socket covers designed and fabricated to resist being dislodged.

1. Provide chain with eye, snap hook, and staple across gaps formed by removable railing sections at locations indicated.  Fabricate from same metal as railings.

S. Expanded-Metal Infill Panels:  Fabricate infill panels from expanded metal made from same metal as railings in which they are installed.

1. Edge panels with U-shaped channels made from metal sheet, of same metal as expanded metal and not less than 0.0428 inch (1.1 mm) thick.

2. Orient expanded metal with long dimension of diamonds [parallel to top rail] [perpendicular to top rail] [horizontal] [vertical].

T. Woven-Wire Mesh Infill Panels:  Fabricate infill panels from woven-wire mesh crimped into 1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) metal channel frames.  Make wire mesh and frames from same metal as railings in which they are installed.

Coordinate selection in subparagraph below with wire mesh pattern selected.

1. Orient wire mesh with [diamonds vertical] [wires perpendicular and parallel to top rail] [wires horizontal and vertical].

Retain paragraph below if required for protection against objects falling over edge of traffic surfaces.  Delete if curb or other construction under rail satisfies toe-board requirement.  Indicate locations, dimensions, and details on Drawings.

U. Toe Boards:  Where indicated, provide toe boards at railings around openings and at edge of open-sided floors and platforms.  Fabricate to dimensions and details indicated.

2.9 FINISHES, GENERAL

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

Delete paragraph below if no mechanical finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

Delete paragraph below if no variable finishes, such as color-anodized aluminum, are used.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

Retain paragraph below if exposed fasteners are allowed, especially with color anodic finish.

D. Provide exposed fasteners with finish matching appearance, including color and texture, of railings.

2.10 ALUMINUM FINISHES

A. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain or revise finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

B. Mechanical Finish:  AA-M12 (Mechanical Finish:  nonspecular as fabricated).

C. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Above is standard finish with many manufacturers; below is heavy-anodized finish.  Verify availability with manufacturers selected.

D. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

E. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Retain one color below if color anodic finish is retained above.

1. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

2. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels.  Revise if specific products are required.

F. High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with [AAMA 2604] [AAMA 2605] and with coating and resin manufacturers' written instructions.

Delete paragraph above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels; revise if specific products are required.

G. High-Performance Organic Finish (3-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coatings; Organic Coating:  manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

Retain one color and gloss below with either paragraph above.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

For exact finish, insert names of coating manufacturers and products.

2.11 STAINLESS-STEEL FINISHES

A. Remove tool and die marks and stretch lines or blend into finish.

Delete paragraph below if no directionally textured finishes are retained.

B. Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.

Finish in paragraph below is similar to No. 4 finish but has a slightly finer texture.

C. 180-Grit Polished Finish:  Oil-ground, uniform, directionally textured finish.

Finish in paragraph below has a finer texture than finish above.

D. 320-Grit Polished Finish:  Oil-ground, uniform, fine, directionally textured finish.

Finish in paragraph below is similar to No. 7 finish.

E. Polished and Buffed Finish:  Oil-ground, 180-grit finish followed by buffing.

Select one of last three paragraphs above or one of first two paragraphs below.  Standard mill-applied finishes above are for ornamental tubing; sheet finish designations below are frequently used to specify finishes applied after fabrication.  Insert others as required after verifying availability with manufacturers selected.  See Evaluations.

Finish in paragraph below is 120 to 150 grit.

F. Directional Satin Finish:  No. 4.

Finish in paragraph below is a nondirectional finish produced from a No. 4 finish by brushing with an extremely fine abrasive to remove the grit lines without producing a reflective appearance.

G. Dull Satin Finish:  No. 6.

H. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

2.12 STEEL AND IRON FINISHES

Retain paragraph and subparagraphs below if any steel and iron railings are galvanized.

A. Galvanized Railings:

1. Hot-dip galvanize[ exterior] steel and iron railings, including hardware, after fabrication.

Select subparagraph above or first subparagraph below.  Select above and delete "exterior" option if all railings, both interior and exterior, are galvanized.  Select below if only certain steel and iron railings are galvanized; indicate locations of galvanized railings on Drawings.

2. Hot-dip galvanize indicated steel and iron railings, including hardware, after fabrication.

3. Comply with ASTM A 123/A 123M for hot-dip galvanized railings.

4. Comply with ASTM A 153/A 153M for hot-dip galvanized hardware.

Usually retain first paragraph below for railings hot-dip galvanized after fabrication.

B. Fill vent and drain holes that will be exposed in the finished Work, unless indicated to remain as weep holes, by plugging with zinc solder and filing off smooth.

C. For galvanized railings, provide hot-dip galvanized fittings, brackets, fasteners, sleeves, and other ferrous components.

D. For nongalvanized steel railings, provide nongalvanized ferrous-metal fittings, brackets, fasteners, and sleeves, except galvanize anchors to be embedded in exterior concrete or masonry.

E. Preparation for Shop Priming:  After galvanizing, thoroughly clean railings of grease, dirt, oil, flux, and other foreign matter, and treat with metallic-phosphate process.

Retain paragraph above for shop-primed galvanized railings, first paragraph and subparagraphs below for nongalvanized railings.

F. Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with minimum requirements indicated below for SSPC surface preparation specifications and environmental exposure conditions of installed railings:

Retain one or more of three subparagraphs below to suit Project service conditions of installed work.  Insert other exposures and preparation requirements where applicable.  Refer to SSPC's painting manual.  Two subparagraphs below apply to locations that would normally remain dry in service.

1. Exterior Railings (SSPC Zone 1B):  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

2. Interior Railings (SSPC Zone 1A):  SSPC-SP 7/NACE No. 4, "Brush-off Blast Cleaning."

Delete subparagraph above and option in subparagraph below if all interior railings are to receive zinc-rich primer.

3. Interior Railings [Indicated to Receive Zinc-Rich Primer ](SSPC Zone 1A):  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

G. Apply shop primer to prepared surfaces of railings, unless otherwise indicated.  Comply with requirements in SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel," for shop painting.  Primer need not be applied to surfaces to be embedded in concrete or masonry.

Delete subparagraph below if galvanized railings are shop primed.

1. Do not apply primer to galvanized surfaces.

Delete subparagraph below if not required.  Stripe painting adds cost but helps ensure that hard-to-reach areas, such as crevices, inside corners, and welds, are thoroughly coated and that sharp edges (which are vulnerable to chipping and are where the film may be thinner due to surface tension) receive adequate coverage.

2. Stripe paint corners, crevices, bolts, welds, and sharp edges.

PART 3 -  EXECUTION

3.1 EXAMINATION

Delete this Article if no handrails are attached to plaster or gypsum board assemblies.

A. Examine plaster and gypsum board assemblies, where reinforced to receive anchors, to verify that locations of concealed reinforcements have been clearly marked for Installer.  Locate reinforcements and mark locations if not already done.

3.2 INSTALLATION, GENERAL

A. Fit exposed connections together to form tight, hairline joints.

B. Perform cutting, drilling, and fitting required for installing railings.  Set railings accurately in location, alignment, and elevation; measured from established lines and levels and free of rack.

1. Do not weld, cut, or abrade surfaces of railing components that have been coated or finished after fabrication and that are intended for field connection by mechanical or other means without further cutting or fitting.

2. Set posts plumb within a tolerance of 1/16 inch in 3 feet (2 mm in 1 m).

Revise subparagraph above and below if closer tolerances are required.  Both are from NAAMM's "Pipe Railing Systems Manual."

3. Align rails so variations from level for horizontal members and variations from parallel with rake of steps and ramps for sloping members do not exceed 1/4 inch in 12 feet (5 mm in 3 m).

Delete first paragraph below if no aluminum.

C. Corrosion Protection:  Coat concealed surfaces of aluminum that will be in contact with grout, concrete, masonry, wood, or dissimilar metals, with a heavy coat of bituminous paint.

D. Adjust railings before anchoring to ensure matching alignment at abutting joints.

E. Fastening to In-Place Construction:  Use anchorage devices and fasteners where necessary for securing railings and for properly transferring loads to in-place construction.

3.3 RAILING CONNECTIONS

A. Nonwelded Connections:  Use mechanical or adhesive joints for permanently connecting railing components.  Use wood blocks and padding to prevent damage to railing members and fittings.  Seal recessed holes of exposed locking screws using plastic cement filler colored to match finish of railings.

Delete paragraph above or below unless both methods are required.  If both mechanical and welded connections are required, indicate locations of each on Drawings.

B. Welded Connections:  Use fully welded joints for permanently connecting railing components.  Comply with requirements for welded connections in Part 2 "Fabrication" Article whether welding is performed in the shop or in the field.

Delete paragraph below if no expansion joints are required or revise to suit Project.  Indicate locations on Drawings based on temperature changes expected and coefficient of expansion of metals involved.

C. Expansion Joints:  Install expansion joints at locations indicated but not farther apart than required to accommodate thermal movement.  Provide slip-joint internal sleeve extending 2 inches (50 mm) beyond joint on either side, fasten internal sleeve securely to 1 side, and locate joint within 6 inches (150 mm) of post.

3.4 ANCHORING POSTS

Select type(s) of anchorage in this Article to suit Project.

A. Use steel pipe sleeves preset and anchored into concrete for installing posts.  After posts have been inserted into sleeves, fill annular space between post and sleeve with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions.

Retain paragraph above or first paragraph below, or delete both if no posts in concrete.  Coordinate with products selected in Part 2.

B. Form or core-drill holes not less than 5 inches (125 mm) deep and 3/4 inch (20 mm) larger than OD of post for installing posts in concrete.  Clean holes of loose material, insert posts, and fill annular space between post and concrete with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions.

C. Cover anchorage joint with flange of same metal as post, [welded to post after placing anchoring material] [attached to post with set screws].

Retain paragraph above or below if retaining either concrete anchorage method above.

D. Leave anchorage joint exposed; wipe off surplus anchoring material; and leave 1/8-inch (3-mm) buildup, sloped away from post.

Revise paragraph below if posts are welded directly to supports.

E. Anchor posts to metal surfaces with oval flanges, angle type, or floor type as required by conditions, connected to posts and to metal supporting members as follows:

Retain one of three subparagraphs below.  Welded and bolted connections of aluminum should be specially detailed.

1. For aluminum pipe railings, attach posts using fittings designed and engineered for this purpose.

2. For stainless-steel pipe railings, weld flanges to post and bolt to supporting surfaces.

3. For steel pipe railings, weld flanges to post and bolt to metal supporting surfaces.

Delete paragraph below if not applicable.

F. Install removable railing sections, where indicated, in slip-fit metal sockets cast in concrete.

3.5 ANCHORING RAILING ENDS

Delete this Article if railing ends are not anchored.

A. Anchor railing ends to concrete and masonry with round flanges connected to railing ends and anchored to wall construction with anchors and bolts.

B. Anchor railing ends to metal surfaces with flanges bolted to metal surfaces and [welded to railing ends] [or] [connected to railing ends using nonwelded connections].

3.6 ATTACHING HANDRAILS TO WALLS

Revise first paragraph below if end return fittings are also used to support handrails.

A. Attach handrails to wall with wall brackets.  Provide brackets with 1-1/2-inch (38-mm) clearance from inside face of handrail and finished wall surface.

1. Use type of bracket with flange tapped for concealed anchorage to threaded hanger bolt.

Retain subparagraph above or below.

2. Use type of bracket with predrilled hole for exposed bolt anchorage.

B. Locate brackets as indicated or, if not indicated, at spacing required to support structural loads.

Revise paragraph below if end return fittings are also used to support handrails.

C. Secure wall brackets to building construction as follows:

Delete three subparagraphs below if not applicable or revise to suit Project.

1. For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

Select one of three subparagraphs below if steel studs are used.  Wood blocking may not be allowed in fire-resistance-rated partitions.

4. For steel-framed [gypsum board] [plaster] partitions, use hanger or lag bolts set into [fire-retardant-treated ]wood backing between studs.  Coordinate with stud installation to locate backing members.

5. For steel-framed [gypsum board] [plaster] partitions, fasten brackets directly to steel framing or concealed steel reinforcements using self-tapping screws of size and type required to support structural loads.

6. For steel-framed [gypsum board] [plaster] partitions, fasten brackets with toggle bolts installed through flanges of steel framing or through concealed steel reinforcements.

3.7 ADJUSTING AND CLEANING

A. Clean aluminum and stainless steel by washing thoroughly with clean water and soap and rinsing with clean water.

B. Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

Retain paragraph above if touchup painting is included in this Section.  Retain paragraph below if it is specified in Division 09 painting Sections.  Revise reference if another Division 09 Section, such as "High-Performance Coatings," is used.

C. Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 09 painting Sections.

Delete paragraph below if no galvanized materials.

D. Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

3.8 PROTECTION

A. Protect finishes of railings from damage during construction period with temporary protective coverings approved by railing manufacturer.  Remove protective coverings at time of Substantial Completion.

B. Restore finishes damaged during installation and construction period so no evidence remains of correction work.  Return items that cannot be refinished in the field to the shop; make required alterations and refinish entire unit, or provide new units.

END OF SECTION 055213

PIPE AND TUBE RAILINGS
055213 - 1

