Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
02/02 (R 05/05)

Copyright 2002 and 2005 (R 08/03) by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 057300 - DECORATIVE METAL RAILINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Aluminum ornamental railings.

2. Copper-alloy ornamental railings.

3. Stainless-steel ornamental railings.

4. Steel and iron ornamental railings.

5. Glass- and plastic-supported railings.

6. Post-supported railings with glass infill.

7. Illuminated ornamental railings.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 05 Section "Metal Stairs" for steel tube railings included with metal stairs.

Delete subparagraph above if stair railings are specified in Section referenced in first subparagraph below.

2. Division 05 Section "Pipe and Tube Railings" for railings fabricated from pipe and tube components.

3. Division 06 Section "[Rough Carpentry] [Miscellaneous Rough Carpentry]" for wood blocking for anchoring railings.

4. Division 06 Section "[Finish Carpentry] [Interior Architectural Woodwork]" for wood railings.

5. Division 09 Section "[Gypsum Plaster] [Gypsum Veneer Plaster] [Gypsum Board Assemblies] [Gypsum Board Shaft-Wall Assemblies]" for metal backing for anchoring railings.

6. Division 26 Sections for electrical service and connections for illuminated railings.

1.3 DEFINITIONS

A. Railings:  Guards, handrails, and similar devices used for protection of occupants at open-sided floor areas, pedestrian guidance and support, visual separation, or wall protection.

1.4 PERFORMANCE REQUIREMENTS

Delete first two paragraphs and associated subparagraphs below if requirements are indicated on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.  Delete first paragraph and subparagraphs if performance requirements are verified by testing rather than by engineering calculations.

A. General:  In engineering railings to withstand structural loads indicated, determine allowable design working stresses of railing materials based on the following:

Retain only those requirements in five subparagraphs below that apply to materials specified in Part 2.

1. Aluminum:  The lesser of minimum yield strength divided by 1.65 or minimum ultimate tensile strength divided by 1.95.

2. Copper Alloys:  60 percent of minimum yield strength.

3. Stainless Steel:  60 percent of minimum yield strength.

4. Steel:  72 percent of minimum yield strength.

Delete subparagraph below if no glass-supported railings.  Verify with Project's structural engineer and railing manufacturers selected.  Below is based on requirement in model codes for safety factor of 4.

5. Glass:  25 percent of mean modulus of rupture (50 percent probability of breakage), as listed in "Mechanical Properties" in AAMA's Aluminum Curtain Wall Series No. 12, "Structural Properties of Glass."

B. Structural Performance:  Provide railings capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs and associated subparagraphs below are examples only and are based on typical requirements of model codes.  For some occupancy categories under certain circumstances, model codes have less-stringent provisions; revise to suit Project and to comply with requirements of authorities having jurisdiction.

1. Handrails:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Top Rails of Guards:

First option in first subparagraph below applies to 1996 and 1999 BOCA Code, 2000 International Building Code, and 1997 Uniform Building Code; second option applies to 1993 BOCA Code.

a. Uniform load of [50 lbf/ ft. (0.73 kN/m) applied in any direction] [50 lbf/ ft. (0.73 kN/m) applied horizontally and concurrently with 100 lbf/ ft. (1.46 kN/m) applied vertically downward].

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

3. Infill of Guards:

a. Concentrated load of [50 lbf (0.22 kN)] [200 lbf (0.89 kN)] applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

Select subparagraph above or first subparagraph below.  First option above applies to 1996 and 1999 BOCA Code and 2000 International Building Code; second option applies to 1993 BOCA Code.  Below applies to 1997 Uniform Building Code.

b. Uniform load of 25 lbf/sq. ft. (1.2 kN/sq. m) applied horizontally.

c. Infill load and other loads need not be assumed to act concurrently.

Delete subparagraph below if no glass-supported railings.

4. Glass-Supported Railings:  Support each section of top rail by a minimum of three glass panels or by other means so top rail will remain in place if any one panel fails.

Delete two paragraphs and associated subparagraph below if only interior railings are required.

C. Thermal Movements:  Provide exterior railings that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.; revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

D. Control of Corrosion:  Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

1.5 SUBMITTALS

A. Product Data:  For the following:

Delete first subparagraph below if railings assembled from standard components are not specified.

1. Manufacturer's product lines of railings assembled from standard components.

2. Grout, anchoring cement, and paint products.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify products' compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Delete subparagraph below if no illuminated railings.

2. For illuminated railings, include wiring diagrams and roughing-in details.

Delete paragraph below if colors, textures, and designs are preselected and specified or scheduled or if none are required.  Delete option if no bronze or stainless steel.

C. Samples for Initial Selection:  For products involving selection of color, texture, or design[, including mechanical finishes].

Retain paragraph above or paragraph and subparagraphs below, or both, if required.

D. Samples for Verification:  For each type of exposed finish required.

Delete or revise six subparagraphs below.

1. Sections of each distinctly different linear railing member, including handrails, top rails, posts, and balusters.

2. Each type of glass required.

3. Fittings and brackets.

4. Welded connections.

5. Brazed connections.

6. Assembled Samples of railing systems, made from full-size components, including top rail, post, handrail, and infill.  Show method of finishing members at intersections.  Samples need not be full height.

Usually delete paragraph below unless increased corrosion resistance of Type 316 stainless steel is required.

E. Mill Certificates:  Signed by manufacturers of stainless-steel products certifying that products furnished comply with requirements.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

F. Welding certificates.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements."

G. Qualification Data:  For [professional engineer] [testing agency].

Paragraph below may be used for verification of performance requirements if authorities having jurisdiction do not allow Contractor to provide engineering calculations.  Retain only for manufacturers' standard products that are known to have been previously tested; for products that have not been previously tested, use "Preconstruction Testing Service" Paragraph in "Quality Assurance" Article.

H. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, according ASTM E 894 and ASTM E 935.

1.6 QUALITY ASSURANCE

A. Source Limitations:  Obtain each type of railing through one source from a single manufacturer.

B. Product Options:  Information on Drawings and in Specifications establishes requirements for system's aesthetic effects and performance characteristics.  Aesthetic effects are indicated by dimensions, arrangements, alignment, and profiles of components and assemblies as they relate to sightlines, to one another, and to adjoining construction.  Performance characteristics are indicated by criteria subject to verification by one or more methods including structural analysis, preconstruction testing, field testing, and in-service performance.

Retain paragraph above or below.  Retain below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Coordinate with Division 01 requirements.

C. Product Options:  Drawings indicate size, profiles, and dimensional requirements of railings and are based on the specific system indicated.  Refer to Division 01 Section "Product Requirements."

Retain subparagraph below with either "Product Options" Paragraph above or revise to suit Project.

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

Retain paragraph and subparagraphs below if testing is required to establish structural performance and it is known that manufacturers selected have not tested railings.

D. Preconstruction Testing Service:  Owner will engage a qualified independent testing agency to test railings according ASTM E 894 and ASTM E 935 for compliance with specified requirements for performance.  Payment for these services will be made [by Owner] [from the Testing and Inspecting Allowance, as authorized by Change Orders].  Retesting of materials that fail to meet specified requirements shall be done at Contractor's expense.

1. Provide test specimens and assemblies representative of proposed materials and construction.

Subparagraph below is intended to ensure that tested assemblies will be representative of actual construction.  This requirement may complicate testing and add cost.

2. Fabricate and install test assemblies using personnel who will perform the same tasks for Project.

Revise subparagraph below if size and configuration of assemblies are indicated on Drawings.

3. Select sizes and configurations of assemblies to adequately demonstrate capability of railings to comply with performance requirements.

Delete first subparagraph below if not required.

4. Notify Architect seven days in advance of the dates and times when assemblies will be constructed.

5. When testing is complete, remove assemblies; do not reuse materials on Project.

Delete paragraph and subparagraphs below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

E. Welding:  Qualify procedures and personnel according to the following:

Retain applicable standards below.

1. AWS D1.1, "Structural Welding Code--Steel."

2. AWS D1.2, "Structural Welding Code--Aluminum."

3. AWS D1.6, "Structural Welding Code--Stainless Steel."

Delete paragraph below if no illuminated railings.

F. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

G. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

1. Build mockups as shown on Drawings.

Retain subparagraph above or below.  Mockups above may be designed as separate decorative elements and left in place.

2. Build mockups for each form and finish of railing consisting of two posts, top rail, infill area, and anchorage system components that are full height and are not less than 24 inches (600 mm) in length.

1.7 PROJECT CONDITIONS

If possible, design railings so that they do not have to fit other construction, and delete this Article.

A. Field Measurements:  Verify actual locations of walls and other construction contiguous with railings by field measurements before fabrication and indicate measurements on Shop Drawings.

Delete first subparagraph below if not allowed.

1. Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating railings without field measurements.  Coordinate wall and other contiguous construction to ensure that actual dimensions correspond to established dimensions.

2. Provide allowance for trimming and fitting at site.

1.8 COORDINATION AND SCHEDULING

A. Coordinate installation of anchorages for railings.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

B. Schedule installation so wall attachments are made only to completed walls.  Do not support railings temporarily by any means that do not satisfy structural performance requirements.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

Select railing types required and delete others from seven subparagraphs below.  Under each type, retain or insert only those manufacturers offering products that comply with requirements indicated on Drawings and retained in other parts of the Section Text.

See Editing Instruction No. 2 in the Evaluations about lists of manufacturers.

1. Aluminum Ornamental Railings:

a. Architectural Metal Works.

b. ATR Technologies, Inc.

c. Blum, Julius & Co., Inc.

d. Blumcraft of Pittsburgh.

e. Braun, J. G., Company; a division of the Wagner Companies.

f. CraneVeyor Corp.

g. Livers Bronze Co.

h. Newman Brothers, Inc.

i. Pisor Industries, Inc.

j. Platers Polishing Company; a division of Rippel Architectural Metals.

k. Poma Corporation.

l. Sterling Dula Architectural Products, Inc.

m. Superior Aluminum Products, Inc.

n. Wagner, R & B, Inc.; a division of the Wagner Companies.

o. Wylie Systems.

p. <Insert manufacturer's name.>

2. Copper-Alloy Ornamental Railings:

a. Architectural Metal Works.

b. Blum, Julius & Co., Inc.

c. Blumcraft of Pittsburgh.

d. Braun, J. G., Company; a division of the Wagner Companies.

e. CraneVeyor Corp.

f. Lavi Industries.

g. Livers Bronze Co.

h. Newman Brothers, Inc.

i. Platers Polishing Company; a division of Rippel Architectural Metals.

j. Tri Tech, Inc.

k. Wagner, R & B, Inc.; a division of the Wagner Companies.

l. Wylie Systems.

m. Zephyr Southwest Ornamental, LLC.

n. <Insert manufacturer's name.>

3. Stainless-Steel Ornamental Railings:

a. Architectural Metal Works.

b. Blum, Julius & Co., Inc.

c. Blumcraft of Pittsburgh.

d. CraneVeyor Corp.

e. Livers Bronze Co.

f. Newman Brothers, Inc.

g. P & P Artec.

h. Pisor Industries, Inc.

i. Platers Polishing Company; a division of Rippel Architectural Metals.

j. Tri Tech, Inc.

k. Wagner, R & B, Inc.; a division of the Wagner Companies.

l. Wylie Systems.

m. Zephyr Southwest Ornamental, LLC.

n. <Insert manufacturer's name.>

4. Stainless-Steel Wire Rope and Fittings:

a. Cable Connection (The).

b. Esmet, Inc.

c. Feeney Wire Rope & Rigging.

d. Hayn Enterprises, LLC.

e. Johnson, C. Sherman, Co., Inc.

f. Loos & Co. Inc.; Cableware Division.

g. Ronstan International Inc.

h. Sava Industries, Inc.

i. Seco South, Inc.

j. <Insert manufacturer's name.>

5. Steel and Iron Ornamental Railings:

a. Architectural Iron Designs, Inc.

b. Artezzi.

c. Blum, Julius & Co., Inc.

d. Braun, J. G., Company; a division of the Wagner Companies.

e. Indital USA.

f. Lawler Foundry Corporation.

g. Livers Bronze Co.

h. Olin Wrought Iron.

i. Regency Railings.

j. TT Triebenbacher - Bavarian Iron Works Co.

k. Wagner, R & B, Inc.; a division of the Wagner Companies.

l. <Insert manufacturer's name.>

6. Glass- and Plastic-Supported Railings:

a. Architectural Metal Works.

b. Blum, Julius & Co., Inc.

c. Blumcraft of Pittsburgh.

d. Clearail, Inc.

e. CraneVeyor Corp.

f. Livers Bronze Co.

g. Newman Brothers, Inc.

h. Platers Polishing Company; a division of Rippel Architectural Metals.

i. TACO Metals Inc.

j. Tri Tech, Inc.

k. Zephyr Southwest Ornamental, LLC.

l. <Insert manufacturer's name.>

7. Illuminated Ornamental Railings:

a. Blumcraft of Pittsburgh.

b. Cole, C. W., & Co., Inc.

c. L & J Specialty Corp.

d. <Insert manufacturer's name.>

2.2 METALS, GENERAL

A. Metal Surfaces, General:  Provide materials with smooth surfaces, without seam marks, roller marks, rolled trade names, stains, discolorations, or blemishes.

B. Brackets, Flanges, and Anchors:  Same metal and finish as supported rails, unless otherwise indicated.

Usually select one of four subparagraphs below that corresponds with type of bracket used.  Delete all four if wall rails are not used.

1. Provide cast-metal brackets with flange tapped for concealed anchorage to threaded hanger bolt.

2. Provide either formed- or cast-metal brackets with predrilled hole for exposed bolt anchorage.

3. Provide formed-steel brackets with predrilled hole for bolted anchorage and with snap-on cover that matches rail finish and conceals bracket base and bolt head.

4. Provide extruded-aluminum brackets with interlocking pieces that conceal anchorage.  Locate set screws on bottom of bracket.

2.3 ALUMINUM

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.

A. Aluminum, General:  Provide alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with strength and durability properties for each aluminum form required not less than that of alloy and temper designated below.

Alloys and tempers in first six paragraphs below are typical for products listed when used in railings; revise to suit structural performance requirements of railing designs indicated and to establish minimum strength properties.

For round tube railings, usually retain first three paragraphs below if Contractor is required to design railings.  For pipe railings, retain only second paragraph unless first paragraph is required for other extrusions.  For square tube railings, retain only first paragraph.  Primary difference between round tubing and pipe is in outside dimensions.  Pipe sizes are normally indicated by use of nominal pipe size designator and weight class or schedule number; for tubing, OD and wall thickness are used.  See "Pipe vs. Round Tube" Article in the Evaluations in Division 05 Section "Pipe and Tube Railings."

Yield strength for Alloy 6063-T5/T52 is 15 to 16 ksi (105 to 110 MPa).

B. Extruded Bars and Shapes[, Including Extruded Tubing]:  ASTM B 221 (ASTM B 221M), Alloy 6063-T5/T52.

Yield strength for Alloy 6063-T6 is 25 ksi (172 MPa).

C. Extruded Structural [Pipe] [and] [Round Tubing]:  ASTM B 429, Alloy 6063-T6.

1. Provide Standard Weight (Schedule 40) pipe, unless otherwise indicated.

Yield strength for Alloy 6063-T832 is 35 to 36 ksi (240 to 250 MPa).

D. Drawn Seamless Tubing:  ASTM B 210 (ASTM B 210M), Alloy 6063-T832.

Yield strength for Alloy 6061-T6 is 32 to 35 ksi (220 to 240 MPa).  Note that 6061-T6 is not suitable for bending, is somewhat less corrosion resistant than 6063, and does not anodize as well as 6063; however, 6063 is not available in plate and sheet form.

E. Plate and Sheet:  ASTM B 209 (ASTM B 209M), Alloy 6061-T6.

F. Die and Hand Forgings:  ASTM B 247 (ASTM B 247M), Alloy 6061-T6.

G. Castings:  ASTM B 26/B 26M, Alloy A356.0-T6.

Revise pattern and wire size in paragraph below if required.

H. Woven-Wire Mesh:  Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.162-inch (4.1-mm) nominal diameter wire complying with ASTM B 211 (ASTM B 211M), Alloy 6061-T94.

2.4 COPPER ALLOYS

A. Copper and Copper Alloys, General:  Provide alloys indicated and with temper to suit application and forming methods, but with strength and stiffness not less than Temper H01 (quarter hard) for plate, sheet, strip, and bars and Temper H55 (light drawn) for tube and pipe.

Select forms and alloys from remaining paragraphs.  The term "brass" refers to alloys that have a brassy-yellow color; the term "bronze" refers to alloys that are darker in color, similar to the term "architectural bronze."  Verify availability and color matching.  See Evaluations.

Alloy UNS No. C38500 in first paragraph below is alloy most conducive to extrusion process.  If another alloy is required, verify availability with manufacturers selected.  See Evaluations for discussion of copper alloys and colors.

B. Extruded Shapes, Bronze:  ASTM B 455, Alloy UNS No. C38500 (architectural bronze).

C. Extruded Shapes, Brass:  ASTM B 249/B 249M, Alloy UNS No. C36000 (free-cutting brass).

D. Seamless Pipe, Bronze:  ASTM B 43, Alloy UNS No. C23000 (red brass, 85 percent copper).

E. Seamless Tube, Bronze:  ASTM B 135 (ASTM B 135M), Alloy UNS No. C23000 (red brass, 85 percent copper).

F. Seamless Tube, Brass:  ASTM B 135 (ASTM B 135M), Alloy UNS No. C26000 (cartridge brass, 70 percent copper).

G. Seamless Tube, Copper:  ASTM B 75 (ASTM B 75M), Alloy UNS No. C12200 (phosphorous deoxidized, high residual phosphorous copper).

H. Castings, Bronze:  [Composition bronze castings complying with ASTM B 62, Alloy UNS No. C83600 (85-5-5-5 or No. 1 composition commercial red brass)] [or] [sand castings complying with ASTM B 584, Alloy UNS No. C86500 (No. 1 manganese bronze)].

I. Castings, Brass:  Sand castings complying with ASTM B 584, Alloy UNS No. C85200 (high-copper yellow brass).

J. Castings, Copper:  Sand castings or permanent mold castings complying with ASTM B 824, with a minimum of 99.9 percent copper.

K. Plate, Sheet, Strip, and Bars; Bronze:  ASTM B 36/B 36M, Alloy UNS No. C28000 (muntz metal, 60 percent copper).

L. Plate, Sheet, Strip, and Bars; Brass:  ASTM B 36/B 36M, Alloy UNS No. C26000 (cartridge brass, 70 percent copper).

M. Plate, Sheet, Strip, and Bars; Copper:  ASTM B 152/B 152M, Alloy UNS No. C11000 (electrolytic tough pitch copper) or UNS No. C12200 (phosphorous deoxidized, high residual phosphorous copper).

2.5 STAINLESS STEEL

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.  Type 304 stainless steel is usually standard; Type 316 or 316L provides better corrosion resistance in coastal environments.  If welding is required, Type 316L should be used instead of Type 316.

A. Tubing:  ASTM A 554, Grade MT [304] [316L].

Primary difference between round stainless-steel tubing and stainless-steel pipe is in outside dimensions.  Pipe sizes are normally indicated by use of nominal pipe size designator and weight class or schedule number; for tubing, OD and wall thickness are used.

B. Pipe:  ASTM A 312/A 312M, Grade TP [304] [316L].

Retain first option in first paragraph below with Type 304; retain second option with Type 316 or 316L.

C. Castings:  ASTM A 743/A 743M, Grade [CF 8 or CF 20] [CF 8M or CF 3M].

D. Plate and Sheet:  ASTM A 666, Type [304] [316L].

E. Wire Rope:  [1-by-19] [7-by-7] [7-by-19] <Insert configuration> wire rope made from wire complying with ASTM A 492, Type 316.

F. Wire-Rope Fittings:  Connectors of types indicated, fabricated from stainless steel, and with capability to sustain, without failure, a load equal to minimum breaking strength of wire rope with which they are used.

G. Expanded Metal:  ASTM F 1267, Type [I (expanded)] [II (expanded and flattened)], Class 3 (corrosion-resisting steel), made from stainless-steel sheet complying with ASTM A 666, Type [304] [316].

Style designations in subparagraph below indicate size.  3/4 number 13 has openings approximately 3/4 by 1-1/2 inches (20 by 40 mm) and is 0.09 to 0.10 inch (2.3 to 2.5 mm) thick; 1-1/2 number 10 has openings approximately 1 by 2-1/2 inches (25 by 65 mm) and is 0.13 to 0.142 inch (3.3 to 3.6 mm) thick.

1. Style Designation:  [3/4 number 13] [1-1/2 number 10] <Insert designation>.

Revise pattern and wire size in paragraph below if required.

H. Woven-Wire Mesh:  Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.135-inch (3.5-mm) nominal diameter wire complying with ASTM A 580/A 580M, Type [304] [316].

2.6 STEEL AND IRON

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.

Usually retain all three options in first paragraph below unless structural engineer of record has designed railings.

A. Tubing:  [ASTM A 500 (cold formed)] [or] [ASTM A 513, Type 5 (mandrel drawn)].

B. Bars:  Hot-rolled, carbon steel complying with ASTM A 29/A 29M, Grade 1010.

C. Plates, Shapes, and Bars:  ASTM A 36/A 36M.

D. Castings:  Either gray or malleable iron, unless otherwise indicated.

1. Gray Iron:  ASTM A 48/A 48M, Class 30, unless another class is indicated or required by structural loads.

2. Malleable Iron:  ASTM A 47/A 47M.

E. Expanded Metal:  ASTM F 1267, Type [I (expanded)] [II (expanded and flattened)], Class 1 (uncoated).

Style designations in subparagraph below indicate size.  3/4 number 13 has openings approximately 3/4 by 1-1/2 inches (20 by 40 mm) and is 0.09 to 0.10 inch (2.3 to 2.5 mm) thick; 1-1/2 number 10 has openings approximately 1 by 2-1/2 inches (25 by 65 mm) and is 0.13 to 0.142 inch (3.3 to 3.6 mm) thick.

1. Style Designation:  [3/4 number 13] [1-1/2 number 10] <Insert designation>.

Revise pattern and wire size in paragraph below if required.

F. Woven-Wire Mesh:  Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.135-inch (3.5-mm) nominal diameter wire complying with ASTM A 510 (ASTM A 510M).

2.7 GLASS AND GLAZING MATERIALS

A. Tempered Glass:  ASTM C 1048, Kind FT (fully tempered), Condition A (uncoated), Type 1 (transparent flat glass), Quality-Q3.  Provide products that have been tested for surface and edge compression according to ASTM C 1048 and for impact strength according to 16 CFR 1201 for Category II materials.

1. Clear Glass:  Class 1 (clear).

Retain subparagraph above or below; if retaining both, show locations of each on Drawings.

2. Tinted Glass:  Class 2 (tinted), manufacturer's standard [bronze] [gray] [green] <Insert color> tint color.

Select one or more thickness requirements from first five subparagraphs below.  Tinted glass is not available in thicknesses more than 12 mm.  Verify thickness by structural analysis before retaining thickness for glass-supported railings.  Verify availability of glass thicknesses with railing manufacturers selected.

3. Thickness for Structural Glass Balusters:  [12.0] [19.0] mm.

4. Thickness for Structural Glass Balusters:  As required by structural loads, but not less than [12.0] [19.0] mm.

5. Thickness for Glass Infill Panels:  [6.0] [10.0] mm.

6. Thickness for Glass Infill Panels:  As required by structural loads, but not less than [6.0] [10.0] mm.

7. Thickness:  As indicated on Drawings.

8. Provide safety glass permanently marked with certification label of Safety Glazing Certification Council or another certification agency acceptable to authorities having jurisdiction.

B. Laminated Glass:  ASTM C 1172, Condition A (uncoated), Type I (transparent flat glass), Quality-Q3 with clear, polyvinyl butyral interlayer not less than 0.060 inch (1.52 mm) thick.

Select one of three kinds in first subparagraph below or retain "As indicated" option and indicate kinds required in "Glazing Panel Fabrication" Article.  Laminated annealed glass is allowed only in post-supported railings with glass infill panels.

1. Kind:  [LA (laminated annealed)] [LHS (laminated heat strengthened)] [LT (laminated tempered)] [As indicated].

2. Clear Glass:  Class 1 (clear).

Delete subparagraph above or below.

3. Tinted Glass:  Class 2 (tinted), manufacturer's standard [bronze] [gray] [green] <Insert color> tint color.

Select one or more thickness requirements from four subparagraphs below.  Verify thickness by structural analysis before retaining thickness for glass-supported railings.  Verify availability of glass thicknesses with railing manufacturers selected.

4. Lites for Structural Glass Balusters:  Two, each [6.0] [8.0] [10.0] mm thick.

5. Lites for Structural Glass Balusters:  Two, each of thickness required by structural loads, but not less than [6.0] [8.0] mm thick.

6. Lites for Glass Infill Panels:  Two, each [3.0] [4.0] [5.0] mm thick.

7. Lites for Glass Infill Panels:  Two, each of thickness required by structural loads, but not less than [3.0] [4.0] [5.0] mm.

Some manufacturers offer plastic glazing, either for entire railing or for curved Sections; if used, verify availability with manufacturers selected and revise first paragraph and subparagraphs below to suit Project.

C. Plastic Structural Glazing:  Provide uncoated, transparent, monolithic acrylic sheet complying with ASTM D 4802, Category A-1 or A-2 (cell cast or continuous cast), Finish 1 (smooth or polished), and as follows:

1. Color:  [Colorless (clear)] [Bronze] [Gray] [Match glass] <Insert color>.

2. Thickness:  [12.0 mm] [Match glass thickness].

D. Glazing Cement and Accessories for Structural Glazing:  Provide glazing cement, setting blocks, shims, and related accessories as recommended or supplied by railing manufacturer for installing structural glazing in metal subrails.

Retain subparagraph below for more specific control over type of glazing material required.  Revise to suit products selected.

1. Glazing Cement:  Provide nonshrinking organic cement designed for curing by passing an electric current through metal subrail holding glass panel, as standard with manufacturer.

Retain paragraph below only for post-supported railings with glass infill panels.

E. Glazing Gaskets for Glass Infill Panels:  Provide glazing gaskets and related accessories recommended or supplied by railing manufacturer for installing glass infill panels in post-supported railings.

2.8 FASTENERS

A. General:  Provide the following:

Retain or revise applicable requirements in subparagraphs below.

1. Aluminum Components:  Type [304] [316] stainless-steel fasteners.

2. Copper-Alloy (Bronze) Components:  Silicon bronze (Alloy 651 or 655) fasteners[ where concealed; muntz metal (Alloy 280) fasteners where exposed].

Delete option in subparagraph above and first subparagraph below if color match is not critical or if exposed fasteners are not allowed.  Silicon bronze fasteners are more commonly available than fasteners of other alloys.

3. Copper-Alloy (Brass) Components:  Silicon bronze (Alloy 651 or 655) fasteners[ where concealed; brass (Alloy 260 or 360) fasteners where exposed].

4. Stainless-Steel Components:  Type [304] [316] stainless-steel fasteners.

5. Uncoated Steel Components:  Plated-steel fasteners complying with ASTM B 633, Class Fe/Zn 25 for electrodeposited zinc coating where concealed; Type 304 stainless-steel fasteners where exposed.

6. Galvanized Steel Components:  Plated-steel fasteners complying with ASTM B 633, Class Fe/Zn 25 for electrodeposited zinc coating.

7. Dissimilar Metals:  Type [304] [316] stainless-steel fasteners.

B. Fasteners for Anchoring Railings to Other Construction:  Select fasteners of type, grade, and class required to produce connections suitable for anchoring railings to other types of construction indicated[ and capable of withstanding design loads].

C. Provide concealed fasteners for interconnecting railing components and for attaching railings to other work, unless [otherwise indicated] [exposed fasteners are unavoidable] [exposed fasteners are the standard fastening method for railings indicated].

Delete subparagraph below or revise if another type of head is required or is standard with system selected.

1. Provide [Phillips] [tamper-resistant] [square or hex socket] flat-head machine screws for exposed fasteners, unless otherwise indicated.

Delete paragraph below if not applicable.  If retaining, select acceptable types and verify safety factors with Project's structural engineer.

D. Anchors:  Provide [cast-in-place] [chemical] [or] [torque-controlled expansion] anchors, fabricated from corrosion-resistant materials with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488 conducted by a qualified independent testing agency.

2.9 MISCELLANEOUS MATERIALS

Retain paragraph below if wood rails are supplied by railing manufacturer rather than by architectural woodworker.

A. Wood Rails:  Hardwood rails of species and profile indicated or, if not indicated, as selected by Architect from manufacturer's standard, with manufacturer's standard transparent finish, and secured to [recessed] [exposed] metal subrail.

Subparagraphs below are examples only.

1. Species and Finish:  [Ash, natural finish] [Cherry, natural finish] [Walnut, natural finish] [White oak, light-stained finish] [Acrylic-impregnated ash] [Acrylic-impregnated oak] [Acrylic-impregnated walnut] <Insert species and finish>.

If rails are required to serve as handrails rather than only as top rails of guards, verify that profile selected will comply with regulations for accessibility to people with disabilities.

2. Profile:  [Square shape 1-3/4 by 1-3/4 inches (45 by 45 mm) with edges eased to 1/4-inch (6-mm) radius] [Rectangular shape 1-3/4 by 5 inches (45 by 127 mm) with edges eased to 1/4-inch (6-mm) radius] [Round shape, 2-inch (50-mm) diameter] <Insert description>.

Delete paragraph and subparagraphs above and retain paragraph below if wood rails are supplied by architectural woodworker.  Show details on Drawings.

B. Wood Rails:  Hardwood rails of species and profile indicated complying with Division 06 Section "Interior Architectural Woodwork."

Delete first paragraph below if no illuminated railings.

C. Electrical Components:  Provide internal, fluorescent light fixtures and electrical components, required as part of illuminated railings, that comply with NFPA 70 and that are listed and labeled by UL.

D. Plastic Handrail Cap:  Thermoplastic rail covering, color as indicated or, if not indicated, as selected by Architect from manufacturer's standard colors.

E. Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

Delete subparagraph below if aluminum railings are not used or are not welded.

1. For aluminum railings, provide type and alloy as recommended by producer of metal to be welded and as required for color match, strength, and compatibility in fabricated items.

Delete paragraph below if copper-alloy railings are not used or are not brazed.

F. Brazing Rods:  For copper-alloy railings, provide type and alloy as recommended by producer of metal to be brazed and as required for color match, strength, and compatibility in fabricated items.

Retain first paragraph and subparagraph below if any lacquered copper-alloy finishes are required.

G. Lacquer for Copper Alloys:  Clear, air-drying, acrylic lacquer specially developed for coating copper-alloy products.

1. Product:  Subject to compliance with requirements, provide "Incralac" developed by International Copper Research Corporation.

H. Shop Primers:  Provide primers that comply with Division 09 [painting Sections.] [Section "High-Performance Coatings." ]

Select paragraph above or one or more of first three paragraphs and associated subparagraphs below if primers are required.  First paragraph below specifies a typical primer for painted finishes that provides minimum protection on steel.  Second paragraph specifies a typical primer for high-performance coating on steel.  Third paragraph specifies a typical primer for galvanized steel.  If retaining both first and second paragraphs and associated subparagraphs below, indicate on Drawings or in a schedule where each is required.

I. Universal Shop Primer:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete subparagraph below if zinc-rich primer is not used.

2. Use primer containing pigments that make it easily distinguishable from zinc-rich primer.

J. Zinc-Rich Primer:  Complying with SSPC-Paint 20 or SSPC-Paint 29 and compatible with topcoat.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, provide one of the following:

Edit list below to suit local VOC regulations.

a. Benjamin Moore & Co.; Epoxy Zinc-Rich Primer CM18/19.

b. Carboline Company; Carbozinc 621.

c. ICI Devoe Coatings; Catha-Coat 313.

d. International Coatings Limited; Interzinc 315 Epoxy Zinc-Rich Primer.

e. PPG Architectural Finishes, Inc.; Aquapon Zinc-Rich Primer 97-670.

f. Sherwin-Williams Company (The); Corothane I GalvaPac Zinc Primer.

g. Tnemec Company, Inc.; Tneme-Zinc 90-97.

h. <Insert manufacturer's name; product name or designation.>

Delete paragraph below if galvanized railings are not shop primed.

K. Shop Primer for Galvanized Steel:  Zinc-dust, zinc-oxide primer formulated for priming zinc-coated steel and for compatibility with finish paint systems indicated, and complying with SSPC-Paint 5.

Retain first paragraph below for galvanized railings that are not shop primed.

L. Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

M. High-Performance Coating for Steel, Intermediate Coat:  High-build urethane or epoxy coating recommended by manufacturer for application over specified zinc-rich primer under specified polyurethane enamel.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

Edit list below to suit local VOC regulations.

a. Benjamin Moore & Co.; M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

b. Carboline Company; Carboguard 890 2-Component Epoxy.

c. ICI Devoe Coatings; Devthane378 Aliphatic Urethane Semi-Gloss Enamel.

d. International Coatings Limited; Interthane 870.

e. PPG Architectural Finishes, Inc.; Aquapon 97-130 Epoxy.

f. Sherwin-Williams Company (The); Macropoxy HS High Solids Epoxy.

g. Tnemec Company, Inc.; Series 27 Hi-Build Epoxy.

h. <Insert manufacturer's name; product name or designation.>

N. High-Performance Coating for Steel, Topcoat:  High-build, semigloss polyurethane enamel.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

Edit list below to suit local VOC regulations.

a. Benjamin Moore & Co.; M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

b. Carboline Company; Carbothane 133 HB Aliphatic Polyurethane.

c. ICI Devoe Coatings; Devthane378 Aliphatic Urethane Semi-Gloss Enamel.

d. International Coatings Limited; Interthane 870.

e. PPG Architectural Finishes, Inc.; Aquapon 95-612 Semi-Gloss Polyurethane.

f. Sherwin-Williams Company (The); Corothane II Satin B65-200 Series.

g. Tnemec Company, Inc.; Series 1075 Endura-Shield.

h. <Insert manufacturer's name; product name or designation.>

O. Bituminous Paint:  Cold-applied asphalt emulsion complying with ASTM D 1187.

Select one or both paragraphs and associated subparagraph below to suit Project.

P. Nonshrink, Nonmetallic Grout:  Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout specifically recommended by manufacturer for interior and exterior applications.

Q. Anchoring Cement:  Factory-packaged, nonshrink, nonstaining, hydraulic-controlled expansion cement formulation for mixing with water at Project site to create pourable anchoring, patching, and grouting compound.

Retain subparagraph below if railings are used at exterior or wet locations.

1. Water-Resistant Product:  [At exterior locations] [and] [where indicated] provide formulation that is resistant to erosion from water exposure without needing protection by a sealer or waterproof coating and that is recommended by manufacturer for exterior use.

2.10 FABRICATION

A. General:  Fabricate railings to comply with requirements indicated for design, dimensions, member sizes and spacing, details, finish, and anchorage[, but not less than that required to support structural loads].

B. Assemble railings in the shop to greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Clearly mark units for reassembly and coordinated installation.  Use connections that maintain structural value of joined pieces.

C. Make up wire-rope assemblies in the shop to field-measured dimensions with fittings machine swaged.  Minimize amount of turnbuckle take-up used for dimensional adjustment so maximum amount is available for tensioning wire ropes.  Tag wire-rope assemblies and fittings to identify installation locations and orientations for coordinated installation.

D. Cut, drill, and punch metals cleanly and accurately.  Remove burrs and ease edges to a radius of approximately 1/32 inch (1 mm), unless otherwise indicated.  Remove sharp or rough areas on exposed surfaces.

E. Form work true to line and level with accurate angles and surfaces.

F. Fabricate connections that will be exposed to weather in a manner to exclude water.  Provide weep holes where water may accumulate.

G. Cut, reinforce, drill, and tap as indicated to receive finish hardware, screws, and similar items.

Delete paragraph and subparagraphs below if only nonwelded connections are acceptable or are compatible with metals and finishes retained.  Connections below are generally applicable to exposed welding of steel and stainless steel.

H. Welded Connections:  Cope components at connections to provide close fit, or use fittings designed for this purpose.  Weld all around at connections, including at fittings.

1. Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2. Obtain fusion without undercut or overlap.

3. Remove flux immediately.

4. At exposed connections, finish exposed surfaces smooth and blended so no roughness shows after finishing and welded surface matches contours of adjoining surfaces.

Paragraph below describes CraneVeyor's system.

I. Welded Connections for Aluminum Pipe:  Fabricate railings to interconnect members with concealed internal welds that eliminate surface grinding, using manufacturer's standard system of sleeve and socket fittings.

Retain first paragraph and subparagraphs below if required for brazing copper-alloy railings.  See Evaluations.

J. Brazed Connections:  Connect copper-alloy railings by brazing.  Cope components at connections to provide close fit, or use fittings designed for this purpose.  Braze corners and seams continuously.

1. Use materials and methods that match color of base metal, minimize distortion, and develop maximum strength and corrosion resistance.

2. Remove flux immediately.

3. At exposed connections, finish exposed surfaces smooth and blended so no roughness shows after finishing and brazed surface matches contours of adjoining surfaces.

K. Mechanical Connections:  Connect members with concealed mechanical fasteners and fittings.  Fabricate members and fittings to produce flush, smooth, rigid, hairline joints.

1. Fabricate splice joints for field connection using an epoxy structural adhesive if this is manufacturer's standard splicing method.

L. Form changes in direction as follows:

Retain one of six subparagraphs below.

1. As detailed.

Retain one of four subparagraphs below if bending is used.  First subparagraph allows fabricator to choose radius of bends.  Second is for flush (zero-radius) bends.  Third is for radii that are shown on Drawings.

2. By bending[ or by inserting prefabricated elbow fittings].

3. By flush bends[ or by inserting prefabricated flush-elbow fittings].

4. By radius bends of radius indicated[ or by inserting prefabricated elbow fittings of radius indicated].

5. By bending to smallest radius that will not result in distortion of railing member.

Retain subparagraph and one of three options below if bending is not used.  First option allows fabricator to choose radius of fittings.  Second is for flush (zero-radius) fittings.  Third is for radii that are shown on Drawings.  Revise subparagraph if socket-type fittings are required.

6. By inserting prefabricated [elbow fittings] [flush-elbow fittings] [elbow fittings of radius indicated].

Retain first paragraph below unless all bends are made with elbow fittings.

M. Form simple and compound curves by bending members in jigs to produce uniform curvature for each repetitive configuration required; maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces of components.

N. Close exposed ends of hollow railing members with prefabricated end fittings.

O. Provide wall returns at ends of wall-mounted handrails, unless otherwise indicated.  Close ends of returns, unless clearance between end of rail and wall is 1/4 inch (6 mm) or less.

P. Brackets, Flanges, Fittings, and Anchors:  Provide wall brackets, flanges, miscellaneous fittings, and anchors to interconnect railing members to other work, unless otherwise indicated.

Retain subparagraph below if any railings are supported from plaster or gypsum board walls.

1. At brackets and fittings fastened to plaster or gypsum board partitions, provide fillers made from crush-resistant material, or other means to transfer wall loads through wall finishes to structural supports and prevent bracket or fitting rotation and crushing of substrate.

Q. Provide inserts and other anchorage devices for connecting railings to concrete or masonry work.  Fabricate anchorage devices capable of withstanding loads imposed by railings.  Coordinate anchorage devices with supporting structure.

Delete paragraph below if no posts are set in concrete or if posts are set without sleeves.

R. For railing posts set in concrete, provide steel sleeves not less than 6 inches (150 mm) long with inside dimensions not less than 1/2 inch (12 mm) greater than outside dimensions of post, with steel plate forming bottom closure.

Delete first paragraph and subparagraph below if not required or if not allowed by authorities having jurisdiction.

S. For removable railing posts, fabricate slip-fit sockets from [steel] [stainless-steel] tube or pipe whose ID is sized for a close fit with posts; limit movement of post without lateral load, measured at top, to not more than one-fortieth of post height.  Provide socket covers designed and fabricated to resist being dislodged.

1. Provide chain with eye, snap hook, and staple across gaps formed by removable railing sections at locations indicated.  Fabricate from same metal as railings.

T. Expanded-Metal Infill Panels:

1. Fabricate infill panels from [stainless-steel] [steel] expanded metal[, unless otherwise indicated].

2. Edge panels with U-shaped channels made from same metal as infill; not less than 0.0428 inch (1.1 mm) thick.

3. Orient expanded metal with long dimension of diamonds vertical.

U. Woven-Wire Mesh Infill Panels:  Fabricate infill panels from woven-wire mesh crimped into 1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) metal channel frames.

1. Make wire mesh and frames from [aluminum] [stainless steel] [steel][, unless otherwise indicated].

Coordinate selection in subparagraph below with wire mesh pattern selected.

2. Orient wire mesh with [diamonds vertical] [wires perpendicular and parallel to top rail] [wires horizontal and vertical].

Retain paragraph below if required for protection against objects falling over edge of traffic surfaces.  Delete if curb or other construction under rail satisfies toe-board requirement.  Indicate locations, dimensions, and details on Drawings.

V. Toe Boards:  Where indicated, provide toe boards at railings around openings and at edge of open-sided floors and platforms.  Fabricate to dimensions and details indicated.

2.11 GLAZING PANEL FABRICATION

A. General:  Fabricate to sizes and shapes required; provide for proper edge clearance and bite on glazing panels.

Method in paragraph below is standard with some manufacturers and optional with others.  Most offer only field-glazed systems.  Coordinate with manufacturers selected.

B. Structural Glass Balusters:  Factory-bond glass to aluminum base and top-rail channels in railing manufacturer's plant using glazing cement to comply with manufacturer's written specifications[, unless field glazing is standard with manufacturer].

Delete paragraph below if not required.

C. Apply ceramic linework on glass to comply with GANA's "Engineering Standards Manual."

Select one or more of three paragraphs below.

D. Structural Balusters:  Provide [tempered] [laminated, heat-strengthened] [laminated, tempered] glass panels[ for both straight and curved sections].

E. Structural Balusters:  Provide thermoformed, curved, plastic glazing panels for curved sections and [tempered] [laminated, heat-strengthened] [laminated, tempered] glass panels for straight sections.

F. Infill Panels:  Provide [tempered] [laminated, annealed] [laminated, heat-strengthened] [laminated, tempered] glass panels[ for both straight and curved sections].

2.12 ILLUMINATED RAILINGS

Revise first paragraph below if another type of railing is used.  Product below is manufacturer's standard.

A. General:  Comply with requirements in this Section for aluminum railings with welded connections.

B. Illuminated Units:  Provide internal illumination using concealed, internally wired, fluorescent-strip fixture system to illuminate walking surfaces adjacent to railings without light leaks.  Make provisions for servicing and for concealed connection to electric service.  Coordinate electrical characteristics with those of the power supply provided.

1. Fluorescent Tubes:  Provide number of tubes indicated or required by railing length.

2. Ballasts:  Energy-saving, high power factor, Class P, electromagnetic type; designed for use with high-output lamps, and with automatic-reset thermal protection.  Ballasts comply with ANSI C82.1, bear Certified Ballast Manufacturer Certification labels, and are rated for [0 deg F (minus 17 deg C)] [minus 20 deg F (minus 29 deg C)] starting temperature.

2.13 FINISHES, GENERAL

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

Delete paragraph below if no mechanical finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipment.

Delete paragraph below if no variable finishes, such as anodized or patina finishes, are used.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.14 ALUMINUM FINISHES

A. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain or revise finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

B. Mechanical Finish:  AA-M3x (Mechanical Finish:  as specified); sand top rails, handrails, and intermediate rails in 1 direction only, parallel to length of railing, with 120- and 320-grit abrasive.  After installation, polish railings with No. 0 steel wool immersed in paste wax, then rub to a luster with a soft dry cloth.

C. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Above is standard finish with many manufacturers; below is heavy-anodized finish.  Verify availability with manufacturers selected.

D. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte: Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

E. Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

Delete paragraph above or below.  Verify availability with manufacturers selected.

F. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Retain one color below with either class of color anodic finish retained above.

1. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

2. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

G. Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

First subparagraph below references AAMA standard for pigmented organic coating on extrusions and panels.

1. Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm), medium gloss.

2. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

H. Siliconized Polyester Finish:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels.  Revise if specific products are required.

I. High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with [AAMA 2604] [AAMA 2605] and with coating and resin manufacturers' written instructions.

Usually delete paragraph above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels;  revise if specific products are required.  If selecting 4-coat system, retain "barrier coat" ; delete for 3-coat system.  See Evaluations.

J. High-Performance Organic Finish ([3] [4]-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coatings; Organic Coating:  manufacturer's standard [3] [4]-coat, thermocured system consisting of specially formulated inhibitive primer[, barrier coat], fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

Retain one color and gloss below with either paragraph above; second option can affect cost.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

For exact finish, insert names of coating manufacturers and products.

2.15 COPPER-ALLOY FINISHES

A. Finish designations for copper alloys comply with the system for designating copper-alloy finish systems defined in NAAMM's "Metal Finishes Manual for Architectural and Metal Products."

Retain or revise finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

B. Buffed Finish:  M21 (Mechanical Finish:  buffed, smooth specular).

C. Hand-Rubbed Finish:  M31-M34 (Mechanical Finish:  directionally textured, fine satin; Mechanical Finish:  directionally textured, hand rubbed).

D. Medium-Satin Finish:  M32 (Mechanical Finish:  directionally textured, medium satin).

E. Fine-Matte Finish:  M42 (Mechanical Finish:  nondirectional finish, fine matte).

Select from four paragraphs above for mechanical finishes without lacquer; select from four paragraphs below for lacquered mechanical finishes.

F. Buffed Finish, Lacquered:  M21-O6x (Mechanical Finish:  buffed, smooth specular; Coating:  clear organic, air drying, as specified below).

G. Hand-Rubbed Finish, Lacquered:  M31-M34-O6x (Mechanical Finish:  directionally textured, fine satin; Mechanical Finish:  directionally textured, hand rubbed; Coating:  clear organic, air drying, as specified below).

H. Medium-Satin Finish, Lacquered:  M32-O6x (Mechanical Finish:  directionally textured, medium satin; Coating:  clear organic, air drying, as specified below).

I. Fine-Matte Finish, Lacquered:  M42-O6x (Mechanical Finish:  nondirectional finish, fine matte; Coating:  clear organic, air drying, as specified below).

Retain subparagraph below with any of four paragraphs above.

1. Clear Organic Coating: Lacquer specified for copper alloys, applied by air spray in 2 coats per manufacturer's written instructions, with interim drying, to a total thickness of 1 mil (0.025 mm).

J. Statuary Conversion Coating over Satin Finish:  M31-C55 (Mechanical Finish:  directionally textured, fine satin; Chemical Finish:  conversion coating, sulfide).

Subparagraph below is preferred method of specifying because variations in color are possible.

1. Color:  Match Architect's sample.

K. Patina Conversion Coating:  M36-C12-C52 (Mechanical Finish:  directionally textured, uniform; Chemical Finish:  nonetched, cleaned, degreased; Chemical Finish:  conversion coating, ammonium sulfate).

1. Color:  Match Architect's sample.

2.16 STAINLESS-STEEL FINISHES

A. Remove tool and die marks and stretch lines or blend into finish.

B. Grind and polish surfaces to produce uniform finish indicated, free of cross scratches.

Delete subparagraph below if no directionally textured finishes.

1. Run grain of directionally textured finishes with long dimension of each piece.

Retain one finish from first four paragraphs below that reference standard sheet finish designations.

Finish in paragraph below is 120 to 150 grit.

C. Directional Satin Finish:  No. 4.

Finish in paragraph below is a nondirectional finish produced from a No. 4 finish by brushing with an extremely fine abrasive to remove the grit lines without producing a reflective appearance.

D. Dull Satin Finish:  No. 6.

Finish in paragraph below is produced from a No. 4 finish by buffing enough to provide a reflective surface but not enough to remove the grit lines entirely.  A No. 7 finish will not show scratches as readily as a No. 8 finish.

E. Satin, Reflective, Directional Polish:  No. 7.

Finish in first paragraph below is easily damaged; minor scratches will be apparent.

F. Mirrorlike Reflective, Nondirectional Polish:  No. 8.

G. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

Paragraph below describes a durable finish with the appearance of yellow brass that can be used on some railing components.  See Evaluations.  Before retaining, verify availability with manufacturers selected.

H. Sputter-Coated Finish:  Titanium nitride coating deposited by magnetic sputter-coating process over indicated mechanical finish.

2.17 STEEL AND IRON FINISHES

Retain paragraph and subparagraphs below if any steel and iron railings are galvanized.

A. Galvanized Railings:

1. Hot-dip galvanize[ exterior] steel and iron railings, including hardware, after fabrication.

Select subparagraph above or first subparagraph below. Select above and delete "exterior" option if all railings, both interior and exterior, are galvanized.  Select below if only certain steel and iron railings are galvanized; indicate locations of galvanized railings on Drawings.

2. Hot-dip galvanize indicated steel and iron railings, including hardware, after fabrication.

3. Comply with ASTM A 123/A 123M for hot-dip galvanized railings.

4. Comply with ASTM A 153/A 153M for hot-dip galvanized hardware.

Usually retain paragraph below for railings hot-dip galvanized after fabrication.

B. Fill vent and drain holes that will be exposed in finished Work, unless indicated to remain as weep holes, by plugging with zinc solder and filing off smooth.

Delete inapplicable requirements from first two paragraphs below or revise to suit Project.

C. For galvanized railings, provide hot-dip galvanized fittings, brackets, fasteners, sleeves, and other ferrous components.

D. For nongalvanized steel railings, provide nongalvanized ferrous-metal fittings, brackets, fasteners, and sleeves, except galvanize anchors to be embedded in exterior concrete or masonry.

E. Preparation for Shop Priming:  After galvanizing, thoroughly clean railings of grease, dirt, oil, flux, and other foreign matter, and treat with metallic-phosphate process.

Retain paragraph above for shop-primed galvanized railings, first paragraph and subparagraphs below for nongalvanized railings.

F. Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with minimum requirements indicated below for SSPC surface preparation specifications and environmental exposure conditions of installed railings:

Retain one or more of three subparagraphs below to suit Project service conditions of installed work.  Insert other exposures and preparation requirements where applicable.  Refer to SSPC's painting manual.  Two subparagraphs below apply to locations that would normally remain dry in service.

1. Exterior Railings (SSPC Zone 1B):  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

2. Interior Railings (SSPC Zone 1A):  SSPC-SP 7/NACE No. 4, "Brush-off Blast Cleaning."

Delete subparagraph above and option in subparagraph below if all interior railings are to receive zinc-rich primer.

3. Interior Railings[ Indicated to Receive Zinc-Rich Primer ](SSPC Zone 1A):  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

G. Apply shop primer to prepared surfaces of railings, unless otherwise indicated.  Comply with requirements in SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel," for shop painting.  Primer need not be applied to surfaces to be embedded in concrete or masonry.

Delete subparagraph below if galvanized railings are shop primed.

1. Do not apply primer to galvanized surfaces.

Delete subparagraph below if not required.  Stripe painting adds cost but helps ensure that hard-to-reach areas, such as crevices, inside corners, and welds, are thoroughly coated and that sharp edges (which are vulnerable to chipping and are where the film may be thinner due to surface tension) receive adequate coverage.

2. Stripe paint corners, crevices, bolts, welds, and sharp edges.

H. Painted Finish:  Comply with Division 09 painting Sections.

I. High-Performance Coating Finish:  Comply with Division 09 Section "High-Performance Coatings."

J. High-Performance Coating Finish:  Apply intermediate and finish coats to surfaces of railings primed with zinc-rich primer.  Comply with coating manufacturer's written directions and with requirements in SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel," for shop painting.

1. Apply intermediate coat at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm) for epoxy intermediate coats and 1.5 to 4.0 mils (0.038 to 0.102 mm) for aliphatic urethane intermediate coats.

2. Apply topcoat at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

3. Match approved Samples for color, texture, and coverage.  Remove and refinish, or recoat work that does not comply with specified requirements.

PART 3 -  EXECUTION

3.1 EXAMINATION

Delete this Article if no handrails are attached to plaster or gypsum board assemblies.

A. Examine plaster and gypsum board assemblies, where reinforced to receive anchors, to verify that locations of concealed reinforcements have been clearly marked for Installer.  Locate reinforcements and mark locations if not already done.

3.2 INSTALLATION, GENERAL

A. Fit exposed connections together to form tight, hairline joints.

B. Perform cutting, drilling, and fitting required for installing railings.  Set railings accurately in location, alignment, and elevation; measured from established lines and levels and free of rack.

1. Do not weld, cut, or abrade surfaces of railing components that have been coated or finished after fabrication and that are intended for field connection by mechanical or other means without further cutting or fitting.

2. Set posts plumb within a tolerance of 1/16 inch in 3 feet (2 mm in 1 m).

Revise subparagraph above and below if closer tolerances are required.  Both are from NAAMM's "Pipe Railing Systems Manual."

3. Align rails so variations from level for horizontal members and variations from parallel with rake of steps and ramps for sloping members do not exceed 1/4 inch in 12 feet (5 mm in 3 m).

Delete first paragraph below if no aluminum or copper alloys.

C. Corrosion Protection:  Coat concealed surfaces of aluminum and copper alloys that will be in contact with grout, concrete, masonry, wood, or dissimilar metals, with a heavy coat of bituminous paint.

D. Adjust railings before anchoring to ensure matching alignment at abutting joints.

E. Fastening to In-Place Construction:  Use anchorage devices and fasteners where necessary for securing railings and for properly transferring loads to in-place construction.

3.3 RAILING CONNECTIONS

A. Nonwelded Connections:  Use mechanical or adhesive joints for permanently connecting railing components.  Use wood blocks and padding to prevent damage to railing members and fittings.  Seal recessed holes of exposed locking screws using plastic cement filler colored to match finish of railings.

Delete paragraph above or below unless both methods are required.  If both mechanical and welded connections are required, indicate locations of each on Drawings.

B. Welded Connections:  Use fully welded joints for permanently connecting railing components.  Comply with requirements for welded connections in Part 2 "Fabrication" Article whether welding is performed in the shop or in the field.

Delete paragraph below if no expansion joints are required or revise to suit Project.  Indicate locations on Drawings based on temperature changes expected and coefficient of expansion of metals involved.

C. Expansion Joints:  Install expansion joints at locations indicated but not farther apart than required to accommodate thermal movement.  Provide slip-joint internal sleeve extending 2 inches (50 mm) beyond joint on either side, fasten internal sleeve securely to 1 side, and locate joint within 6 inches (150 mm) of post.

3.4 ANCHORING POSTS

Select type(s) of anchorage in this Article to suit Project.

A. Use steel pipe sleeves preset and anchored into concrete for installing posts.  After posts have been inserted into sleeves, fill annular space between post and sleeve with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions.

Retain paragraph above or first paragraph below, or delete both if no posts in concrete.  Coordinate with products selected in Part 2.

B. Form or core-drill holes not less than 5 inches (125 mm) deep and 3/4 inch (20 mm) larger than OD of post for installing posts in concrete.  Clean holes of loose material, insert posts, and fill annular space between post and concrete with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions.

C. Cover anchorage joint with flange of same metal as post, [welded to post after placing anchoring material] [attached to post with set screws].

Retain paragraph above or first paragraph below if retaining either concrete anchorage method above.

D. Leave anchorage joint exposed; wipe off surplus anchoring material; and leave 1/8-inch (3-mm) buildup, sloped away from post.

E. Anchor steel posts to steel with flanges, angle or floor type as required by conditions, welded to posts and bolted to metal supporting members.

Retain paragraph above if only steel posts are used; otherwise, delete above and retain paragraph below.  Revise either if posts are welded directly to supports.

F. Anchor posts to metal surfaces with flanges, angle type, or floor type as required by conditions, connected to posts and to metal supporting members as follows:

Retain one of four subparagraphs below.  Welded and bolted connections of aluminum and copper alloys should be specially detailed.

1. For aluminum railings, attach posts as indicated using fittings designed and engineered for this purpose.

2. For copper-alloy railings, attach posts as indicated using fittings designed and engineered for this purpose.

3. For stainless-steel railings, weld flanges to posts and bolt to metal-supporting surfaces.

4. For steel railings, weld flanges to posts and bolt to metal-supporting surfaces.

Delete paragraph below if not applicable.

G. Install removable railing sections, where indicated, in slip-fit metal sockets cast in concrete.

3.5 ANCHORING RAILING ENDS

Delete this Article if railing ends are not anchored.  If anchoring methods other than those below are required, delete Article and show details of anchoring method on Drawings.

A. Anchor railing ends to concrete and masonry with [sleeves concealed within railing ends] [flanges connected to railing ends] [brackets on underside of rails connected to railing ends] and anchored to wall construction with anchors and bolts.

B. Anchor railing ends to metal surfaces with flanges bolted to metal surfaces and [welded to railing ends] [or] [connected to railing ends using nonwelded connections].

3.6 ATTACHING HANDRAILS TO WALLS

Revise first paragraph below if end return fittings are also used to support handrails.

A. Attach handrails to walls with wall brackets.  Provide brackets with 1-1/2-inch (38-mm) clearance from inside face of handrail and finished wall surface.

B. Locate brackets as indicated or, if not indicated, at spacing required to support structural loads.

Revise paragraph below if end return fittings are also used to support handrails.

C. Secure wall brackets to building construction as follows:

Delete three subparagraphs below if not applicable or revise to suit Project.

1. For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

2. For hollow masonry anchorage, use toggle bolts.

3. For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

Select one of three subparagraphs below if steel studs are used.  Wood blocking may not be allowed in fire-resistance-rated partitions.

4. For steel-framed [gypsum board] [plaster] partitions, use hanger or lag bolts set into[ fire-retardant-treated] wood backing between studs.  Coordinate with stud installation to locate backing members.

5. For steel-framed [gypsum board] [plaster] partitions, fasten brackets directly to steel framing or concealed steel reinforcements using self-tapping screws of size and type required to support structural loads.

6. For steel-framed [gypsum board] [plaster] partitions, fasten brackets with toggle bolts installed through flanges of steel framing or through concealed steel reinforcements.

3.7 INSTALLING GLASS PANELS

Delete this Article if no glass panels.  Select one type of glass railing from two paragraphs below or delete both if not applicable.

A. Glass-Supported Railings:  Install assembly to comply with railing manufacturer's written instructions.

1. Attach base channel to building structure, then insert and connect factory-fabricated and -assembled glass panels[ if glass was bonded to base and top rail channels in factory].

Delete first subparagraph and associated subparagraph below and option in subparagraph above if only factory-assembled panels are allowed.  Retain option in subparagraph above and below if retaining both subparagraphs.

2. Attach base channel to building structure, then insert glass into base channel and bond with glazing cement[ unless glass was bonded to base and top rail channels in factory].

a. Support glass panels in base channel at quarter points with channel-shaped setting blocks that also act as shims to maintain uniform space for glazing cement.  Fill remaining space in base channel with glazing cement for uniform support of glass.

3. Adjust spacing of glass panels so gaps between panels are equal before securing in position.

Delete subparagraph below if not required.  Before retaining, verify availability of authorized personnel with manufacturers selected.

4. Erect glass railings under direct supervision of manufacturer's authorized technical personnel.

For post-supported railings with glass infill panels, retain paragraph below and other requirements in other Part 3 articles that apply to type of railing construction used.

B. Post-Supported Glass Railings:  Install assembly to comply with railing manufacturer's written instructions and with requirements in other Part 3 articles.  Erect posts and other metal railing components, then set factory-cut glass panels.  Do not cut, drill, or alter glass panels in field.  Protect edges from damage.

3.8 INSTALLING PLASTIC HANDRAIL CAPS

Delete this Article if no plastic handrail caps.

A. Apply plastic handrail caps to top rails and handrails, where indicated, complying with manufacturer's written instructions for cutting, mounting, forming, welding, cleaning, applying end caps, and finishing.

B. Minimize number of joints in plastic caps by installing in lengths as long as possible.  Allow for shortening of plastic cap caused by welding and splicing process; butt ends together to produce hairline joint.

1. Continuously weld, splice, miter, and end-cap joints using cap manufacturer's electric welding iron designed for this purpose.  Remove welding flash while material is still soft.

Delete subparagraph above or below.  Method above will produce black line at joints in all but black-colored material.

2. Weld only prongs on underside of plastic cap at splice, miter, and end-cap joints.  After cutting plastic cap, dress ends with file to produce a hairline fit between abutting sections.  After mounting cap, polish top surface with cap manufacturer's solvent designed for this purpose until joint becomes almost invisible.

3.9 FIELD QUALITY CONTROL

Delete this Article if field testing for compliance with performance requirements is not required.

A. Testing Agency:  Owner will engage a qualified testing and inspecting agency to perform field tests and inspections and prepare test reports.  Payment for these services will be made [by Owner] [from the Testing and Inspecting Allowance, as authorized by Change Orders].

Revise first paragraph below if more extensive testing is required.

B. Extent and Testing Methodology:  Testing agency will randomly select completed railing assemblies for testing that are representative of different railing designs and conditions in the completed Work.  Railings will be tested according to ASTM E 894 and ASTM E 935 for compliance with performance requirements.

C. Remove and replace railings where test results indicate that they do not comply with specified requirements unless they can be repaired in a manner satisfactory to Architect and will comply with specified requirements.

D. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

3.10 CLEANING

A. Clean aluminum and stainless steel by washing thoroughly with clean water and soap, rinsing with clean water, and wiping dry.

Revise first paragraph below to specify specific cleaning technique to suit type of finish selected.

B. Clean copper alloys according to written recommendations of metal finisher in a manner that leaves an undamaged and uniform finish matching approved Sample.

C. Clean and polish [glass] [and] [plastic glazing].

D. Clean [wood rails] [and] [plastic handrail caps] by wiping with a damp cloth and then wiping dry.

E. Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

Retain paragraph above if touchup painting is included in this Section.  Retain paragraph below if it is specified in Division 09 painting Sections.  Revise reference if another Division 09 Section, such as "High-Performance Coatings," is used.

F. Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 09 painting Sections.

Delete paragraph below if no galvanized materials.

G. Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

3.11 PROTECTION

A. Protect finishes of railings from damage during construction period with temporary protective coverings approved by railing manufacturer.  Remove protective coverings at time of Substantial Completion.

B. Restore finishes damaged during installation and construction period so no evidence remains of correction work.  Return items that cannot be refinished in field to shop; make required alterations and refinish entire unit, or provide new units.

END OF SECTION 057300

	DECORATIVE METAL RAILINGS
	057300 - 1



