Copyright 2003 and 2005 AIA
MASTERSPEC Full Length
11/03 (05/06)

Copyright 2003 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 061753 - SHOP-FABRICATED WOOD TRUSSES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Wood roof trusses.

2. Wood floor trusses.

3. Wood girder trusses.

4. Wood truss bracing.

5. Metal truss accessories.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 06 Section "Sheathing" for roof sheathing and subflooring.

Borate treatment in Section referenced in first subparagraph below may be an acceptable substitute for borate-treated wood specified in this Section.  Delete if borate treatment is specified in this Section.

2. Division 31 Section "Termite Control" for site application of borate treatment to wood trusses.

Retain paragraph below if an allowance is specified for permanent bracing.  If retaining below, indicate in Division 01 Section "Allowances" that allowance includes installation as well as materials.  Delete if bracing is shown on Drawings.

C. Allowances:  Provide wood truss bracing under the Metal-Plate-Connected Truss Bracing Allowance as specified in Division 01 Section "Allowances."

1.3 DEFINITIONS

Retain abbreviations and terms that remain after this Section has been edited.

A. Metal-Plate-Connected Wood Trusses:  Planar structural units consisting of metal-plate-connected members fabricated from dimension lumber and cut and assembled before delivery to Project site.

B. TPI:  Truss Plate Institute, Inc.

Delete paragraph and list below if lumber grading agencies are not referenced with products.

C. Lumber grading agencies, and the abbreviations used to reference them, include the following:

Coordinate list below with product lists; delete those not required.  See Evaluations.

1. NeLMA:  Northeastern Lumber Manufacturers' Association.

2. NLGA:  National Lumber Grades Authority.

3. SPIB:  The Southern Pine Inspection Bureau.

4. WCLIB:  West Coast Lumber Inspection Bureau.

5. WWPA:  Western Wood Products Association.

1.4 PERFORMANCE REQUIREMENTS

Retain this Article if delegating any part of design responsibility for trusses to fabricator.  Coordinate with Part 2.  Insert other performance and design criteria below to suit Project or add to Drawings.  AIA Document A201 requires Owner or Architect to specify performance and design criteria to be satisfied.

A. Structural Performance:  Provide metal-plate-connected wood trusses capable of withstanding design loads within limits and under conditions indicated.  Comply with requirements in TPI 1 unless more stringent requirements are specified below.

Tabulate minimum load requirements here or on Drawings.  Revise first subparagraph below when design loads are included here.  Include applicable live, dead, snow, collateral, seismic, wind, and uplift loads, and load combinations.

1. Design Loads:  As indicated.

2. Maximum Deflection Under Design Loads:

Select deflection limits from options in subparagraph below or insert others as appropriate for floor, roof, and ceiling materials.

a. Roof Trusses:  Vertical deflection of [1/180] [1/240] [1/360] of span.

Insert a subparagraph for horizontal (longitudinal) deflection limits of scissor trusses if they are used.

b. Floor Trusses:  Vertical deflection of [1/360] [1/480] [1/600] of span.

1.5 SUBMITTALS

A. Product Data:  For [wood-preservative-treated lumber,] [fire-retardant treated lumber,] metal-plate connectors, metal truss accessories, and fasteners.

Delete subparagraph below if preservative-treated wood is not required.

1. Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.  Indicate type of preservative used and net amount of preservative retained.

Delete subparagraph below if fire-retardant-treated wood is not required.

2. Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.  Include physical properties of treated materials based on testing by a qualified independent testing agency.

Delete first subparagraph below if not applicable.

3. For fire-retardant treatments specified to be High-Temperature (HT) type, include physical properties of treated lumber both before and after exposure to elevated temperatures, based on testing by a qualified independent testing agency according to ASTM D 5664.

4. For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to truss fabricator.

5. Include copies of warranties from chemical treatment manufacturers for each type of treatment.

B. Shop Drawings:  [Prepared by or under the supervision of a qualified professional engineer. ]Show fabrication and installation details for trusses.

1. Show location, pitch, span, camber, configuration, and spacing for each type of truss required.

2. Indicate sizes, stress grades, and species of lumber.

According to TPI 1, building designer is responsible for design of "permanent lateral bracing as specified by the truss designer, to prevent buckling of the individual truss members due to design loads." This bracing must be anticipated and detailed on Drawings, subject to possible revision when truss Shop Drawings are received, or an Allowance for it must be included in the Contract Sum if a Change Order is to be avoided.  See Evaluations.

3. Indicate locations of permanent bracing required to prevent buckling of individual truss members due to design loads.

4. Indicate type, size, material, finish, design values, orientation, and location of metal connector plates.

5. Show splice details and bearing details.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify products' compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

6. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Retain paragraph and subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if wood for trusses is required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

C. LEED Submittal:

1. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that wood used to produce metal-plate-connected wood trusses complies with forest certification requirements.  Include evidence that mill is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Retain paragraph below if certificates are required by authorities having jurisdiction.

D. Product Certificates:  For metal-plate-connected wood trusses, signed by officer of truss fabricating firm.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For [metal-plate manufacturer] [professional engineer] [fabricator] [and] [Installer].

Retain paragraph below if applicable; delete if species and grade are indicated for each use.

F. Material Certificates:  For dimension lumber specified to comply with minimum allowable unit stresses.  Indicate species and grade selected for each use and design values approved by the ALSC Board of Review.

Insert specific model code organization in paragraph below or revise if report must be from another source.

G. Research/Evaluation Reports:  For the following, showing compliance with building code in effect for Project:

Edit list below to retain only those products retained in Part 2.

1. Wood-preservative-treated lumber.

2. Fire-retardant-treated wood.

3. Metal-plate connectors.

4. Metal truss accessories.

1.6 QUALITY ASSURANCE

A. Metal Connector-Plate Manufacturer Qualifications:  A manufacturer that is a member of TPI and that complies with quality-control procedures in TPI 1 for manufacture of connector plates.

Delete first subparagraph below if truss design is not delegated to manufacturer.

1. Manufacturer's responsibilities include providing professional engineering services needed to assume engineering responsibility.

2. Engineering Responsibility:  Preparation of Shop Drawings and comprehensive engineering analysis by a qualified professional engineer.

TPI 1 added specific requirements for fabricator quality-assurance programs in the 2002 version, but does not require third-party inspection.  Verify that local truss fabricators participate in third-party inspection programs; many do not.

B. Fabricator Qualifications:  Shop that participates in a recognized quality-assurance program that complies with quality-control procedures in TPI 1 and that involves third-party inspection by an independent testing and inspecting agency acceptable to Architect and authorities having jurisdiction.

C. Source Limitations for Connector Plates:  Obtain metal connector plates from a single manufacturer.

D. Comply with applicable requirements and recommendations of the following publications:

TPI publications below are listed by title without alphanumeric designations in which the number represents year of issue.  Designations in effect when this Section was updated appear in "Referenced Standards" Article in the Evaluations.

1. TPI 1, "National Design Standard for Metal Plate Connected Wood Truss Construction."

2. TPI DSB, "Recommended Design Specification for Temporary Bracing of Metal Plate Connected Wood Trusses."

3. TPI HIB, "Commentary and Recommendations for Handling, Installing & Bracing Metal Plate Connected Wood Trusses."

E. Wood Structural Design Standard:  Comply with applicable requirements in AF&PA's "National Design Specifications for Wood Construction" and its "Supplement."

Retain paragraph below if wood for trusses is required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  See Evaluations.

F. Forest Certification:  Provide metal-plate-connected wood trusses produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

1.7 DELIVERY, STORAGE, AND HANDLING

A. Handle and store trusses to comply with recommendations of TPI HIB, "Commentary and Recommendations for Handling, Installing & Bracing Metal Plate Connected Wood Trusses."

1. Store trusses flat, off of ground, and adequately supported to prevent lateral bending.

2. Protect trusses from weather by covering with waterproof sheeting, securely anchored.

3. Provide for air circulation around stacks and under coverings.

B. Inspect trusses showing discoloration, corrosion, or other evidence of deterioration.  Discard and replace trusses that are damaged or defective.

1.8 COORDINATION

A. Time delivery and erection of trusses to avoid extended on-site storage and to avoid delaying progress of other trades whose work must follow erection of trusses.

PART 2 -  PRODUCTS

2.1 DIMENSION LUMBER

A. Lumber:  DOC PS 20 and applicable rules of grading agencies indicated.  If no grading agency is indicated, provide lumber that complies with the applicable rules of any rules writing agency certified by the ALSC Board of Review.  Provide lumber graded by an agency certified by the ALSC Board of Review to inspect and grade lumber under the rules indicated.

1. Factory mark each piece of lumber with grade stamp of grading agency.

Delete first subparagraph below if authorities having jurisdiction require grade stamps on all materials.

2. For exposed lumber indicated to receive a stained or natural finish, omit grade stamp and provide certificates of grade compliance issued by grading agency.

3. Provide dressed lumber, S4S.

Select one of two options in subparagraph below.  Verify availability of lumber with 15 percent maximum moisture content before retaining.

4. Provide dry lumber with [19] [15] percent maximum moisture content at time of dressing.

Retain one of first three paragraphs and associated subparagraphs below.  Usually retain first if truss fabricator provides truss design.  First gives truss fabricator the greatest flexibility in lumber selection, but can only be used if fabricator provides truss design.

B. Grade and Species:  For truss chord and web members, provide dimension lumber of any species, graded visually or mechanically, and capable of supporting required loads without exceeding allowable design values according to AF&PA's "National Design Specifications for Wood Construction" and its "Supplement."

Retain paragraph and applicable subparagraphs below if truss designs are shown on Drawings and if specifying lumber by grade and species.  If fabricator provides truss design, below can also be retained instead of paragraph above to specify minimum acceptable grades.  Verify availability of selections.

C. Grade and Species:  Provide visually graded dimension lumber for truss chord and web members, of not less than the following grade and[ any of] the following species:

1. Grade for Chord Members:  [Select Structural] [No. 1] [No. 2].

2. Grade for Web Members:  [No. 2] [Construction or No. 2] [Construction, Stud, or No. 3] [Same grade as indicated for chord members].

Select one or more of nine subparagraphs below to suit Project.  Species groups are listed in order of decreasing strength (extreme fiber in bending).

3. Species:  Hem-fir (north); NLGA.

4. Species:  Southern pine; SPIB.

5. Species:  Douglas fir-larch; WCLIB or WWPA.

Species group below includes "Southern pine" above; delete above if retaining below.

6. Species:  Mixed southern pine; SPIB.

7. Species:  Spruce-pine-fir; NLGA.

8. Species:  Douglas fir-south; WWPA.

9. Species:  Hem-fir; WCLIB or WWPA.

10. Species:  Douglas fir-larch (north); NLGA.

11. Species:  Spruce-pine-fir (south); NELMA, WCLIB, or WWPA.

Retain paragraph and applicable subparagraphs below if truss designs are shown on Drawings and if lumber selection is based solely on meeting design values.

D. Grade and Species:  Provide dimension lumber of any species for truss chord and web members, graded as follows and of the following minimum design values for size of member required according to AF&PA's "National Design Specifications for Wood Construction" and its "Supplement":

1. Grading Method:  [Visual] [or] [mechanical].

2. Design Values:  As indicated on Drawings.

Retain subparagraph above and show design values on Drawings or retain subparagraph below and select from options or insert others to suit Project.  Design values are examples only and are subject to adjustment factors.

3. Design Values:  Modulus of elasticity of at least [1,800,000 psi (12 400 MPa)] [1,600,000 psi (11 000 MPa)] [1,500,000 psi (10 350 MPa)] [1,300,000 psi (8970 MPa)] [1,100,000 psi (7590 MPa)] <Insert value> and an extreme fiber stress in bending of at least [1800 psi (12.4 MPa)] [1650 psi (11.4 MPa)] [1500 psi (10.3 MPa)] [1200 psi (8.3 MPa)] [1000 psi (6.9 MPa)] [850 psi (5.86 MPa)] <Insert value>.

Retain first paragraph below if truss fabricator designs trusses and requirement for minimum chord sizes is needed to provide stiffer members for nailing.

E. Minimum Chord Size For Roof Trusses:  [2 by 6 inches nominal (38 by 140 mm actual) for top chords] [2 by 6 inches nominal (38 by 140 mm actual) for bottom chords] [2 by 6 inches nominal (38 by 140 mm actual) for both top and bottom chords].

F. Permanent Bracing:  Provide wood bracing that complies with requirements for miscellaneous lumber in Division 06 Section[Rough Carpentry.][Miscellaneous Rough Carpentry.]

2.2 WOOD-PRESERVATIVE-TREATED LUMBER

Delete this Article if not applicable.  Preservative treatment is usually limited to wood exposed in wet and humid locations or geographical areas where termite infestation is extensive.  See the Evaluations in Division 06 Section "Rough Carpentry" for discussion of treatment chemicals; some treatment chemicals increase rate of corrosion of galvanized truss plates.

A. Preservative Treatment by Pressure Process:  AWPA C2[, except that trusses that are not in contact with the ground and are continuously protected from liquid water may be made from lumber treated according to AWPA C31 with inorganic boron (SBX)].

See Evaluations for information about treatment chemicals.

1. Preservative Chemicals:  Acceptable to authorities having jurisdiction[ and containing no arsenic or chromium].

Delete subparagraph below if no exposed trusses or if considered unnecessary.

2. For exposed trusses indicated to receive a stained or natural finish, use chemical formulations that do not require incising, contain colorants, bleed through, or otherwise adversely affect finishes.

B. Kiln-dry lumber after treatment to a maximum moisture content of 19 percent.  Do not use material that is warped or does not comply with requirements for untreated material.

C. Mark lumber with treatment quality mark of an inspection agency approved by the ALSC Board of Review.

Select only first option in subparagraph below if authorities having jurisdiction require quality mark on all materials.

1. For exposed trusses indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

Select first option in paragraph below if total treatment is required; otherwise, select second.

D. Application:  Treat [all trusses, unless otherwise indicated] [trusses where indicated on Drawings].

2.3 FIRE-RETARDANT-TREATED WOOD

Retain this Article if fire-retardant-treated wood is required.  See the Evaluations in Division 06 Section "Rough Carpentry" for discussion of fire-retardant-treated wood.  Only certain species of lumber can meet these requirements.  Verify availability with truss fabricators.

A. General:  Comply with performance requirements in AWPA C20.

Exterior type is suitable for both exterior and interior applications.  Interior type is only for interior applications.  See Evaluations.

1. Use Exterior type for exterior locations and where indicated.

Delete first subparagraph below if not applicable.  Revise description of locations to suit Project requirements.

2. Use Interior Type A, High Temperature (HT) for enclosed roof trusses and where indicated.

3. Use Interior Type A, unless otherwise indicated.

B. Identify fire-retardant-treated wood with appropriate classification marking of testing and inspecting agency acceptable to authorities having jurisdiction.

Select only first option in subparagraph below if authorities having jurisdiction require classification marking on all materials.

1. For exposed trusses and bracing indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

Delete or revise paragraph below if no exposed trusses or if staining will hide colorants.

C. For exposed trusses indicated to receive a stained or natural finish, use chemical formulations that do not bleed through, contain colorants, or otherwise adversely affect finishes.

Select first option in paragraph below and delete subparagraphs if all trusses are required to be fire-retardant treated; otherwise, select second option and retain appropriate subparagraphs.

D. Application:  Treat [all trusses, unless otherwise indicated.] [items indicated on Drawings, and the following:]

Edit list below suit local code and Project requirements.

1. Floor trusses for [bowling lanes] [and] [raised platforms].

2. Roof trusses.

3. <Insert category of trusses required to be treated.>

2.4 METAL CONNECTOR PLATES

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Alpine Engineered Products, Inc.

2. Cherokee Metal Products, Inc.; Masengill Machinery Company.

3. CompuTrus, Inc.

4. Eagle Metal Products.

5. Jager Building Systems, Inc.

6. MiTek Industries, Inc.; a subsidiary of Berkshire Hathaway Inc.

7. Robbins Engineering, Inc.

8. TEE-LOK Corporation; a subsidiary of Berkshire Hathaway Inc.

9. Truswal Systems Corporation.

10. <Insert manufacturer's name.>

C. General:  Fabricate connector plates to comply with TPI 1.

Retain one or more of two paragraphs and associated subparagraph below.

D. Hot-Dip Galvanized Steel Sheet:  ASTM A 653/A 653M; Structural Steel (SS), high-strength low-alloy steel Type A (HSLAS Type A), or high-strength low-alloy steel Type B (HSLAS Type B); G60 (Z180) coating designation; and not less than 0.036 inch (0.9 mm) thick.

1. Use for interior locations where stainless steel is not indicated.

Type 304 stainless steel is usually standard; Type 316 gives better corrosion resistance for exposed applications in coastal environments.

E. Stainless-Steel Sheet:  ASTM A 666, Type [304] [316], and not less than 0.035 inch (0.88 mm) thick.

1. Use for exterior locations and where indicated.

2.5 FASTENERS

A. General:  Provide fasteners of size and type indicated that comply with requirements specified in this Article for material and manufacture.

1. Where trusses are exposed to weather, in ground contact, made from pressure-preservative treated wood, or in area of high relative humidity, provide fasteners [with hot-dip zinc coating complying with ASTM A 153/A 153M] [of Type 304 stainless steel].

B. Nails, Brads, and Staples:  ASTM F 1667.

Standard in paragraph below covers power-driven staples, nails, P-nails, and allied fasteners.

C. Power-Driven Fasteners:  NES NER-272.

Delete remaining fastener types not required.  Screws may be needed to assemble multi-ply girder trusses; bolts are generally only required for fastening to masonry or steel, expansion anchors for fastening to masonry.

D. Wood Screws:  ASME B18.6.1.

E. Lag Bolts:  ASME B18.2.1 (ASME B18.2.3.8M).

F. Bolts:  Steel bolts complying with ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); with ASTM A 563 (ASTM A 563M) hex nuts and, where indicated, flat washers.

G. Expansion Anchors:  Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to 6 times the load imposed when installed in unit masonry assemblies and equal to 4 times the load imposed when installed in concrete as determined by testing per ASTM E 488 conducted by a qualified independent testing and inspecting agency.

1. Material:  Carbon-steel components, zinc plated to comply with ASTM B 633, Class Fe/Zn 5.

Subparagraph above and below are examples only.  Above protects against corrosion in an indoor atmosphere; revise to suit other service conditions after verifying availability of thicker coatings.

2. Material:  Stainless steel with bolts and nuts complying with ASTM F 593 and ASTM F 594, Alloy Group 1 or 2 (ASTM F 738M and ASTM F 836M, Grade A1 or A4).

2.6 METAL TRUSS ACCESSORIES

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers or products, retain one of three paragraphs and list of manufacturers below.  Refer to Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Products:  Subject to compliance with requirements, provide [products indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable products by one of the following:

1. Cleveland Steel Specialty Co.

2. Harlen Metal Products, Inc.

3. KC Metals Products, Inc.

4. Simpson Strong-Tie Co., Inc.

5. Southeastern Metals Manufacturing Co., Inc.

6. USP Structural Connectors.

7. <Insert manufacturer's name.>

If retaining first option in first paragraph below, indicate design loads for metal truss accessories on Drawings.

D. Allowable Design Loads:  Provide products with allowable design loads, as published by manufacturer, that meet or exceed those [indicated] [of basis-of-design products] [of products of manufacturers listed].  Manufacturer's published values shall be determined from empirical data or by rational engineering analysis and demonstrated by comprehensive testing performed by a qualified independent testing agency.

E. Galvanized Steel Sheet:  Hot-dip, zinc-coated steel sheet complying with ASTM A 653/A 653M, G60 (Z180) coating designation.

1. Use for interior locations where stainless steel is not indicated.

Paragraph above is typical for most manufacturers and is suitable for most applications.  Delete paragraph and subparagraph below if not required.  Type 304 is usually standard for stainless steel; Type 316 gives better corrosion resistance for exposed applications in coastal environments.

F. Stainless-Steel Sheet:  ASTM A 666, Type [304] [316].

1. Use for exterior locations and where indicated.

First five paragraphs below are examples only.  Revise to suit Project or delete all if "Basis-of-Design Products" Paragraph is used and they are not needed to provide salient characteristics for products.

First paragraph below, including option, is based on Simpson Strong-Tie's "H-2."

G. Truss Tie-Downs:  Bent strap tie for fastening roof trusses to wall studs below, 1-1/2 inches (38 mm) wide by 0.050 inch (1.3 mm) thick.[ Tie fastens to one side of truss, top plates, and side of stud below.]

H. Truss Tie-Downs (Hurricane or Seismic Ties):  Bent strap tie for fastening roof trusses to wall studs below, 2-1/4 inches (57 mm) wide by 0.062 inch (1.6 mm) thick.  Tie fits over top of truss and fastens to both sides of truss, top plates, and one side of stud below.

Description in paragraph above is based on Simpson Strong-Tie's "H-7"; paragraph below, on Simpson Strong-Tie's "H-15."

I. Truss Tie-Downs (Hurricane or Seismic Ties):  Bent strap tie for fastening roof trusses to wall studs below, 2-1/2 inches (63 mm) wide by 0.062 inch (1.6 mm) thick.  Tie fits over top of truss and fastens to both sides of truss, inside face of top plates, and both sides of stud below.

J. Roof Truss Clips:  Angle clips for bracing bottom chord of roof trusses at non-load-bearing walls, 1-1/4 inches (32 mm) wide by 0.050 inch (1.3 mm) thick.  Clip is fastened to truss through slotted holes to allow for truss deflection.

K. Floor Truss Hangers:  U-shaped hangers, full depth of floor truss, with 1-3/4-inch- (44-mm-) long seat; formed from metal strap 0.062 inch (1.6 mm) thick with tabs bent to extend over and be fastened to supporting member.

Description in paragraph below is based on MiTek's "Stabilizer."

L. Roof Truss Bracing/Spacers:  U-shaped channels, 1-1/2 inches (38 mm) wide by 1 inch (25 mm) deep by 0.040 inch (1.0 mm) thick, made to fit between 2 adjacent trusses and accurately space them apart, and with tabs having metal teeth for fastening to trusses.

2.7 MISCELLANEOUS MATERIALS

A. Galvanizing Repair Paint:  SSPC-Paint 20, with dry film containing a minimum of 94 percent zinc dust by weight.

Retain paragraph below if protective coating of exposed face of connectors is required (for galvanized plates used with chemically treated wood or in unusual environmental conditions or exposed to weather).  Select one system below or retain both if both are acceptable.  Coatings are based on TPI 1 recommendations.  Consider using stainless-steel connector plates instead.

B. Protective Coatings:  [SSPC-Paint 22, epoxy-polyamide primer] [or] [SSPC-Paint 16, coal-tar epoxy-polyamide paint].

2.8 FABRICATION

A. Cut truss members to accurate lengths, angles, and sizes to produce close-fitting joints.

B. Fabricate metal connector plates to sizes, configurations, thicknesses, and anchorage details required to withstand design loads for types of joint designs indicated.

C. Assemble truss members in design configuration indicated; use jigs or other means to ensure uniformity and accuracy of assembly with joints closely fitted to comply with tolerances in TPI 1.  Position members to produce design camber indicated.

Manufacturing tolerances permitted by TPI 1 vary according to length and height of trusses as follows.  Length:  1/2 inch (13 mm) up to 30 feet (9.14 m) long, thereafter 3/4 inch (19 mm).  Height:  1/4 inch (6.4 mm) up to 60 inches (1524 mm) high, thereafter 1/2 inch (13 mm).

1. Fabricate wood trusses within manufacturing tolerances in TPI 1.

D. Connect truss members by metal connector plates located and securely embedded simultaneously in both sides of wood members by air or hydraulic press.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Install wood trusses only after supporting construction is in place and is braced and secured.

B. If trusses are delivered to Project site in more than one piece, assemble trusses before installing.

C. Hoist trusses in place by lifting equipment suited to sizes and types of trusses required, exercising care not to damage truss members or joints by out-of-plane bending or other causes.

D. Install and brace trusses according to TPI recommendations and as indicated.

E. Install trusses plumb, square, and true to line and securely fasten to supporting construction.

F. Space trusses [16 inches (406 mm) o.c.] [24 inches (610 mm) o.c.] [as indicated]; adjust and align trusses in location before permanently fastening.

G. Anchor trusses securely at bearing points; use metal truss tie-downs or floor truss hangers as applicable.  Install fasteners through each fastener hole in truss accessories according to manufacturer's fastening schedules and written instructions.

Retain first paragraph and subparagraph below if built-up girder trusses are required.  TPI 1 states it is truss designer's responsibility to design truss-to-girder connection.

H. Securely connect each truss ply required for forming built-up girder trusses.

1. Anchor trusses to girder trusses as indicated.

I. Install and fasten permanent bracing during truss erection and before construction loads are applied.  Anchor ends of permanent bracing where terminating at walls or beams.

1. Install bracing to comply with Division 06 Section[Rough Carpentry.][Miscellaneous Rough Carpentry.]

Retain subparagraph below if floor trusses are required.

2. Install and fasten strongback bracing vertically against vertical web of parallel-chord floor trusses at centers indicated.

TPI 1 permits out-of-plumb tolerance of the lesser of D/50 or 2 inches (50 mm) maximum.  Out-of-plane tolerances or bow is limited to the lesser of L/200 or 2 inches (50 mm) maximum.  Location variances of 1/4 inch (6.4 mm) and a top-chord bearing gap of 1/2 inch (13 mm) for parallel-chord trusses are also permitted.

J. Install wood trusses within installation tolerances in TPI 1.

K. Do not cut or remove truss members.

L. Replace wood trusses that are damaged or do not meet requirements.

1. Do not alter trusses in field.

3.2 REPAIRS AND PROTECTION

Delete paragraph below if option allowing inorganic boron treatment is not retained in Part 2 or if wood-preservative-treated lumber is not used.

A. Protect wood that has been treated with inorganic boron (SBX) from weather.  If, despite protection, inorganic boron-treated wood becomes wet, apply EPA-registered borate treatment.  Apply borate solution by spraying to comply with EPA-registered label.

Retain first paragraph below instead of above if boron-treated wood is not used, but borate treatment of wood that has become wet is used to help prevent mold and mildew.  Delete if site-applied boron treatment is specified in Division 31 Section "Termite Control."

B. Protect rough carpentry from weather.  If, despite protection, rough carpentry becomes wet, apply EPA-registered borate treatment.  Apply borate solution by spraying to comply with EPA-registered label.

C. Repair damaged galvanized coatings on exposed surfaces with galvanized repair paint according to ASTM A 780 and manufacturer's written instructions.

Retain paragraph and subparagraph below if an added corrosion-resistant coating of metal connector plates is required.

D. Protective Coating:  Clean and prepare exposed surfaces of metal connector plates.  Brush apply primer, when part of coating system, and one coat of protective coating.

1. Apply materials to provide minimum dry film thickness recommended by coating system manufacturer.

END OF SECTION 061753

SHOP-FABRICATED WOOD TRUSSES
061753 - 1

