Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
08/04 (R 05/06)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 071800 - TRAFFIC COATINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes traffic coatings for the following applications:

Adjust list below to suit Project.  Interior pedestrian traffic areas include mechanical room floors.

1. [Interior,] [Exterior,] [Interior and exterior,] pedestrian traffic.

2. Vehicular traffic.

3. Pavement markings.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 03 Section "Cast-in-Place Concrete" for concrete substrates.

2. Division 03 Section "Concrete Topping" for traffic-bearing toppings applied over base slabs or precast concrete units.

3. Division 05 Section "Steel Decking" for permanent metal forms for concrete substrates.

4. Division 06 Section "Rough Carpentry" for plywood substrates.

5. Division 07 Section "Expansion Control" for expansion and seismic joints in surfaces to receive traffic coatings.

6. Division 09 Section "Resinous Flooring" for [decorative] [general-use commercial] [general-use industrial] [high-performance] resinous floorings.

1.3 SUBMITTALS

A. Product Data:  For each product indicated.

B. Shop Drawings:  Show extent of each traffic coating.  Include details for treating substrate joints and cracks, flashings, deck penetrations, and other termination conditions.

Delete subparagraph below if no pavement markings.

1. Indicate layout of pavement markings.

C. Samples for Initial Selection:  For each type of finish indicated.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph and subparagraph below with or without above.

D. Samples for Verification:  For each type of traffic coating required, prepared on rigid backing and of same thickness and material indicated for the Work.

1. Provide stepped Samples on backing large enough to illustrate buildup of traffic coatings.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For Installer.

F. Material Test Reports:  For each traffic coating.

Retain paragraph above or below.  ASTM C 1127 notes that requiring test reports from an independent agency may increase costs.

G. Material Certificates:  For each traffic coating, signed by manufacturers.

Retain first paragraph below if Contractor is responsible for field quality-control testing.

H. Field quality-control test reports.

I. Maintenance Data:  For traffic coatings to include in maintenance manuals.  Identify substrates and types of traffic coatings applied.  Include recommendations for periodic inspections, cleaning, care, maintenance, and repair of traffic coatings.

J. Warranty:  Special warranty specified in this Section.

K. LEED Submittal:

Retain subparagraph below if low-emitting materials used on the interior of the building are required for LEED-NC and LEED-CI Credit EQ 4.2; coordinate with requirements selected in Part 2 for products.

1. Product Data for Credit EQ 4.2:  For interior field-applied traffic coatings[ and pavement marking paints], including printed statement of VOC content.

1.4 QUALITY ASSURANCE

Before retaining requirements for certification of Installer by manufacturer, verify availability.  See "General Comments" Article in the Evaluations.

A. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of traffic coatings required for this Project.

B. Source Limitations:

Always retain first subparagraph below because several coating systems from a single manufacturer may be used in combination to form a single, seamless membrane.

1. Obtain traffic coatings from a single manufacturer.

2. Obtain primary traffic coating materials, including primers, from traffic coating manufacturer.  Obtain secondary materials including aggregates, sheet flashings, joint sealants, and substrate repair materials of type and from source recommended in writing by primary material manufacturer.

Retain paragraph and subparagraphs below for traffic coatings that are roof coverings, and revise to suit Project.  Indicate class for each traffic coating when tested according to ASTM E 108.  Verify requirements of authorities having jurisdiction and of Owner's insurer.

C. Fire-Test-Response Characteristics:  Provide traffic coating materials with the fire-test-response characteristics as determined by testing identical products per test method below for deck type and slopes indicated by an independent testing and inspecting agency that is acceptable to authorities having jurisdiction.

1. Class [A] [B] [C] roof covering per ASTM E 108 [or] [UL 790].

2. <Insert applicable test requirements.>

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

D. Mockups:  Apply mockups to set quality standards for materials and execution.

1. Architect will select one representative surface for each traffic coating and each substrate to receive traffic coatings.  Apply each coating to at least 200 sq. ft. (18.5 sq. m) of each substrate to demonstrate surface preparation, joint and crack treatment, thickness, texture, color, and standard of workmanship.

2. Remove and reapply mockups until they are approved by Architect.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph and subparagraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

E. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

Retain subparagraph below if necessary and revise to suit Project.

1. Before installing traffic coatings, meet with representatives of authorities having jurisdiction, manufacturer's technical representative, Owner, Architect, consultants, independent testing agency, and other concerned entities.  Review requirements for traffic coatings.  Notify participants at least seven days before conference.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials in original packages and containers with seals unbroken and bearing manufacturer's labels showing the following information:

Revise subparagraphs below to suit Project.

1. Manufacturer's brand name.

2. Type of material.

3. Directions for storage.

4. Date of manufacture and shelf life.

5. Lot or batch number.

6. Mixing and application instructions.

7. Color.

B. Store materials in a clean, dry location protected from exposure to direct sunlight.  In storage areas, maintain environmental conditions within range recommended in writing by manufacturer.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  Apply traffic coatings within the range of ambient and substrate temperatures recommended in writing by manufacturer.  Do not apply traffic coatings to damp or wet substrates, when temperatures are below 40 deg F (5 deg C), when relative humidity exceeds 85 percent, or when temperatures are less than 5 deg F (3 deg C) above dew point.

1. Do not apply traffic coatings in snow, rain, fog, or mist, or when such weather conditions are imminent during the application and curing period.  Apply only when frost-free conditions occur throughout the depth of substrate.

B. Do not install traffic coating until items that will penetrate membrane have been installed.

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which traffic coating manufacturer agrees to repair or replace traffic coatings that deteriorate during the specified warranty period.  Warranty does not include deterioration or failure of traffic coating due to unusual weather phenomena, failure of prepared and treated substrate, formation of new substrate cracks exceeding 1/16 inch (1.6 mm) in width, fire, vandalism, or abuse by snowplow, maintenance equipment, and truck traffic.

1. Deterioration of traffic coatings includes the following:

a. Adhesive or cohesive failures.

b. Abrasion or tearing failures.

c. Surface crazing or spalling.

d. Intrusion of water, oils, gasoline, grease, salt, deicer chemicals, or acids into deck substrate.

Verify available warranties and insert number in subparagraph below.  Five years is maximum offered in manufacturers' published data.

2. Warranty Period:  [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS

Always retain this Article.

A. Traffic Coatings:  Complying with ASTM C 957.

B. Material Compatibility:  Provide primers; base, intermediate, and topcoats; and miscellaneous materials that are compatible with one another and with substrate under conditions of service and application, as demonstrated by manufacturer based on testing and field experience.

Retain paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.2 and product is used inside the weatherproofing system.  Coordinate product selection in other Part 2 articles to ensure that products selected comply.

C. VOC Content:  Provide traffic coatings[ and pavement marking paints], for use inside the weatherproofing system, with VOC content of 150 g/L when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2.2 TRAFFIC COATING <Insert drawing designation, e.g., TC-1>

Traffic coating systems are available in various coating thicknesses and with different aggregate spreading rates and topcoat compositions for light-, moderate- or normal-, heavy-, and extra heavy-duty applications.  Often, several systems are used in different areas of an installation to form a single, seamless, wear-balanced membrane.  Copy and re-edit this Article for each traffic coating system required, and indicate locations of each on Drawings or in schedules.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

B. Products:  Subject to compliance with requirements, provide one of the following:

1. Advanced Polymer Technology Corp.; <Insert product name or designation>.

2. American Permaquik Inc.; <Insert product name or designation>.

3. Carlisle Coatings & Waterproofing, Inc.; <Insert product name or designation>.

4. Degussa Building Systems, Sonneborn Brand Products; <Insert product name or designation>.

5. Dex-O-Tex/Crossfield Products Corp.; <Insert product name or designation>.

6. Gaco Western Inc.; <Insert product name or designation>.

7. General Polymers; <Insert product name or designation>.

8. Key Resin Company; <Insert product name or designation>.

9. Kinsman Corporation/Nox-Crete Products Group; <Insert product name or designation>.

10. LymTal International, Inc.; <Insert product name or designation>.

11. Mer-Kote Products, Inc.; <Insert product name or designation>.

12. Neogard, Division of Jones-Blair; <Insert product name or designation>.

13. Pacific Polymers International, Inc.; <Insert product name or designation>.

14. Pecora Corporation; <Insert product name or designation>.

15. POLY-CARB, Inc.; <Insert product name or designation>.

16. Stellar-Mark; <Insert product name or designation>.

17. Tamms Industries, Inc.; <Insert product name or designation>.

18. 3M Specified Construction Products Division; <Insert product name or designation>.

19. Tremco Incorporated, Sealant/Waterproofing Division; <Insert product name or designation>.

20. Urethane Polymers International, Inc.; <Insert product name or designation>.

21. Watson Bowman Acme Corp.; <Insert product name or designation>.

22. <Insert manufacturer's name; product name or designation.>

Retain paragraph below as recommended by product manufacturer.  See "Traffic Coating Systems" Article in the Evaluations for a discussion of primers.

C. Primer:  Manufacturer's standard factory-formulated primer recommended for substrate and conditions indicated.

Generally delete subparagraph below.  If retaining, consult manufacturers for recommendations.  Urethane primers are offered by some manufacturers for less-demanding applications.

1. Material:  [Epoxy] [Urethane].

Revise descriptions of component coats in first three paragraphs below if 100 percent solids formulations are required.

D. Preparatory and Base Coats:  Single- or multicomponent, aromatic liquid urethane elastomer.

E. Intermediate Coat:  [Single- or multicomponent, aromatic liquid urethane elastomer] [Single- or multicomponent, aliphatic liquid urethane elastomer] [Liquid epoxy].

Coordinate materials for intermediate and topcoats with products and manufacturers selected.  Insert physical testing requirements and additional intermediate and topcoats to suit Project.

F. Topcoat:  [Single- or multicomponent, aromatic liquid urethane elastomer] [Single- or multicomponent, aliphatic liquid urethane elastomer] [Single- or multicomponent, aromatic liquid urethane elastomer with UV inhibitors] [Liquid epoxy].

1. Color:  [As selected by Architect from manufacturer's full range] [Match Architect's sample] <Insert color>.

G. Component Coat Thicknesses:  As recommended by manufacturer for substrate and service conditions indicated, but not less than the following (measured excluding aggregate):

Verify component coat's dry or wet film thickness requirements based on manufacturer's product data.

1. Base Coat:  <Insert thickness> minimum [dry] [wet] film thickness.

2. Intermediate Coat:  <Insert thickness> minimum [dry] [wet] film thickness.

3. Topcoat:  <Insert thickness> minimum [dry] [wet] film thickness.

Edit paragraph and subparagraphs below based on manufacturer's product data.  See "Materials" Article in the Evaluations for a discussion of aggregate types.

H. Aggregate:  [Uniformly graded, washed silicon carbide sand] [Uniformly graded, washed silica sand] [Uniformly graded, washed flint shot silica] [Walnut shell granules] [Aluminum-oxide grit] <Insert aggregate> of particle sizes, shape, and minimum hardness recommended in writing by traffic coating manufacturer.

1. Spreading Rate:  As recommended by manufacturer for substrate and service conditions indicated, but not less than the following:

a. Intermediate Coat:  [8 to 10 lb/100 sq. ft. (3.6 to 4.5 kg/10 sq. m)] [To refusal] <Insert spreading rate>.

Insert requirements for aggregate in additional intermediate and topcoats to suit Project.

b. Topcoat:  [8 to 10 lb/100 sq. ft. (3.6 to 4.5 kg/10 sq. m)] [As required to achieve slip-resistant finish] <Insert loading>.

2.3 MISCELLANEOUS MATERIALS

A. Joint Sealants:  As specified in Division 07 Section "Joint Sealants."

B. Sheet Flashing:  Nonstaining.

1. Minimum Thickness:  [60 mils (1.5 mm)] [50 mils (1.3 mm)] <Insert thickness>.

2. Material:  [Sheet material recommended in writing by traffic coating manufacturer] [Uncured neoprene sheet] [Cured neoprene sheet] <Insert material>.

C. Adhesive:  Contact adhesive recommended in writing by traffic coating manufacturer.

D. Reinforcing Strip:  Fiberglass mesh recommended in writing by traffic coating manufacturer.

2.4 PAVEMENT MARKINGS

Retain one "Pavement-Marking Paint" Paragraph and associated subparagraphs below; delete if no pavement marking.  Verify availability with pavement-marking paint manufacturers.  Alkyd-resin-type or solvent-based pavement coatings exceed 150-g/L VOC limits imposed by the EPA for traffic-marking coatings but may comply with 450-g/L VOC limits imposed by the EPA for zone-marking coatings.

Type S requires 60 minutes to dry; Type N, 15 to 30 minutes; and Type F, 3 to 6 minutes.

A. Pavement-Marking Paint:  Alkyd-resin ready mixed, complying with AASHTO M 248, Type [S] [N] [F].

Select colors from options in first subparagraph below; show locations of each on Drawings if more than one color is required.

1. Color:  [White] [Yellow] [As indicated] <Insert color>.

a. Use [blue] <Insert color> for spaces accessible to people with disabilities.

Some formulations of waterborne emulsions are very quick drying; others, less so.  See manufacturer's literature.

B. Pavement-Marking Paint:  Latex, waterborne emulsion, lead and chromate free, ready mixed, complying with FS TT-P-1952, with drying time of less than [three] [45] minutes.

Select colors from options in first subparagraph below; show locations of each on Drawings if more than one color is required.

1. Color:  [White] [Yellow] [As indicated] <Insert color>.

a. Use [blue] <Insert color> for spaces accessible to people with disabilities.

Retain paragraph below with either paragraph above if reflective markings are required.

C. Glass Beads:  AASHTO M 247, Type 1.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, with Installer present, for compliance with requirements and for other conditions affecting performance of traffic coatings.

Delete first subparagraph below if not required.

1. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance.

2. Verify compatibility with and suitability of substrates.

3. Begin coating application only after minimum concrete curing and drying period recommended by traffic coating manufacturer has passed, after unsatisfactory conditions have been corrected, and after surfaces are dry.

4. Verify that substrates are visibly dry and free of moisture.

Requirements for concrete dryness after curing vary among manufacturers.  Comply with manufacturer's individual requirements for moisture testing.  Retain one or both of first two subparagraphs below.  ASTM D 4263 test method in first subparagraph takes 16 hours.

a. Test for moisture vapor transmission by plastic sheet method according to ASTM D 4263.

b. Test for moisture content by [measuring with an electronic moisture meter] [method recommended in writing by manufacturer] <Insert test method>.

5. Application of coating indicates acceptance of surfaces and conditions.

3.2 PREPARATION

A. Clean and prepare substrates according to ASTM C 1127 and manufacturer's written recommendations to produce clean, dust-free, dry substrate for traffic coating application.

B. Mask adjoining surfaces not receiving traffic coatings, deck drains, and other deck substrate penetrations to prevent spillage, leaking, and migration of coatings.

Retain paragraph and subparagraphs below for concrete substrates.  Procedure provides a uniform substrate that is generally in acceptable condition to receive coatings.  See "ASTM C 1127 Requirements" Article in the Evaluations.

C. Concrete Substrates:  Mechanically abrade concrete surfaces to a uniform profile according to ASTM D 4259.  Do not acid etch.

1. Remove grease, oil, paints, and other penetrating contaminants from concrete.

2. Remove concrete fins, ridges, and other projections.

3. Remove laitance, glaze, efflorescence, curing compounds, concrete hardeners, form-release agents, and other incompatible materials that might affect coating adhesion.

4. Remove remaining loose material to provide a sound surface, and clean surfaces according to ASTM D 4258.

3.3 TERMINATIONS AND PENETRATIONS

A. Prepare vertical and horizontal surfaces at terminations and penetrations through traffic coatings and at expansion joints, drains, and sleeves according to ASTM C 1127 and manufacturer's written recommendations.

B. Provide sealant cants at penetrations and at reinforced and nonreinforced, deck-to-wall butt joints.

C. Terminate edges of deck-to-deck expansion joints with preparatory base-coat strip.

Delete paragraph below if no sheet flashings.

D. Install sheet flashings at deck-to-wall expansion and dynamic joints, and bond to deck and wall substrates according to manufacturer's written recommendations.

3.4 JOINT AND CRACK TREATMENT

A. Prepare, treat, rout, and fill joints and cracks in substrates according to ASTM C 1127 and manufacturer's written recommendations.  Before coating surfaces, remove dust and dirt from joints and cracks according to ASTM D 4258.

1. Comply with recommendations in ASTM C 1193 for joint-sealant installation.

3.5 TRAFFIC COATING APPLICATION

A. Apply traffic coating material according to ASTM C 1127 and manufacturer's written recommendations.

Delete first subparagraph below if not applicable.

1. Start traffic coating application in presence of manufacturer's technical representative.

2. Verify that wet film thickness of each component coat complies with requirements every 100 sq. ft. (9 sq. m).

B. Apply traffic coatings to prepared wall terminations and vertical surfaces to height indicated, and omit aggregate on vertical surfaces.

C. Cure traffic coatings according to manufacturer's written recommendations.  Prevent contamination and damage during application and curing stages.

3.6 PAVEMENT MARKINGS

Delete this Article if pavement markings are not required.

A. Do not apply traffic paint for striping and other markings until traffic coating has cured according to manufacturer's written recommendations.

B. Apply traffic paint for striping and other markings with mechanical equipment to produce uniform straight edges.  Apply at manufacturer's recommended rates for a 15-mil- (0.38-mm-) minimum wet film thickness.

Delete paragraph below if glass beads are not required.

C. Spread glass beads uniformly into wet traffic paint at a rate of 6 lb/gal. (0.72 kg/L).

3.7 FIELD QUALITY CONTROL

Retain paragraph and subparagraphs below for material testing of traffic coatings, and revise to suit Project.

A. Testing:  [Owner will engage] [Engage] a qualified testing agency to perform the following field tests and inspections and prepare test reports:

1. Samples of material delivered to Project site shall be taken, identified, sealed, and certified in presence of [Owner and ]Contractor.

2. Testing agency shall perform tests for characteristics specified, using applicable referenced testing procedures.

3. Testing agency shall verify thickness of coatings during traffic coating application.

4. If test results show traffic coating materials do not comply with requirements, remove noncomplying materials, prepare surfaces, and reapply traffic coatings.

Retain paragraph and subparagraphs below for flood testing of traffic coatings above occupied space, and revise to suit Project.  Identify particular areas on Project to flood test if required.  Limit water depth to not exceed load capacity of deck.

B. Flood Testing:  Flood test each deck area for leaks, according to recommendations in ASTM D 5957, after traffic coating has completely cured.  Install temporary containment assemblies, plug or dam drains, and flood with potable water.

1. Flood to an average depth of 2-1/2 inches (65 mm) with a minimum depth of 1 inch (25 mm) and not exceeding a depth of 4 inches (100 mm).

ASTM D 5957 sets 24 hours as minimum and 72 hours as maximum duration for flood testing.

2. Flood each area for [24] [48] [72] hours.

3. After flood testing, repair leaks, repeat flood tests, and make further repairs until traffic coating installation is watertight.

4. [Owner will engage] [Engage] an independent testing agency to observe flood testing and examine underside of decks and terminations for evidence of leaks during flood testing.

Traffic coating inspection may be required by manufacturer before issuing warranty.

C. Final Traffic Coating Inspection:  Arrange for traffic coating manufacturer's technical personnel to inspect membrane installation on completion.

Retain subparagraph below if Architect or Owner wants to be present during manufacturer's final inspection.

1. Notify Architect or Owner 48 hours in advance of date and time of inspection.

D. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

3.8 PROTECTING AND CLEANING

A. Protect traffic coatings from damage and wear during remainder of construction period.

B. Clean spillage from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

END OF SECTION 071800

TRAFFIC COATINGS
071800 - 1

