Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 075323 - ETHYLENE-PROPYLENE-DIENE-MONOMER (EPDM) ROOFING
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Adhered EPDM membrane roofing system.

2. Mechanically fastened EPDM membrane roofing system.

3. Loosely laid and ballasted EPDM membrane roofing system.

4. Vapor retarder.

5. Roof insulation.

Retain first paragraph below if acoustical roof deck is required and if insulation will be installed in this Section.

B. Section includes the installation of acoustical roof deck rib insulation strips furnished under Division 05 Section "Steel Decking."

C. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 05 Section "Steel Decking" for furnishing acoustical deck rib insulation.

2. Division 06 Section "[Rough Carpentry] [Miscellaneous Rough Carpentry]" for wood nailers, curbs, and blocking[; and for wood-based, structural-use roof deck panels].

3. Division 07 Section "Preparation for Re-Roofing" for recover board beneath new membrane roofing.

4. Division 07 Section "Thermal Insulation" for insulation beneath the roof deck.

5. Division 07 Section "Sheet Metal Flashing and Trim" for metal roof penetration flashings, flashings, and counterflashings.

6. Division 07 Section "Manufactured Roof Expansion Joints" for proprietary manufactured roof expansion-joint assemblies.

7. Division 07 Section "Joint Sealants" for joint sealants, joint fillers, and joint preparation.

8. Division 22 Section "Storm Drainage Piping Specialties" for roof drains.

1.3 DEFINITIONS

A. Roofing Terminology:  See ASTM D 1079 and glossary of NRCA's "The NRCA Roofing and Waterproofing Manual" for definitions of terms related to roofing work in this Section.

1.4 PERFORMANCE REQUIREMENTS

A. General Performance:  Installed membrane roofing and base flashings shall withstand specified uplift pressures, thermally induced movement, and exposure to weather without failure due to defective manufacture, fabrication, installation, or other defects in construction.  Membrane roofing and base flashings shall remain watertight.

B. Material Compatibility:  Provide roofing materials that are compatible with one another under conditions of service and application required, as demonstrated by membrane roofing manufacturer based on testing and field experience.

Retain first paragraph below if membrane roofing system is to be designed to withstand uplift pressure established by ASCE/SEI 7.  Revise design uplift pressures if local building code requirements are more stringent than ASCE/SEI 7.  Retain with "FM Approvals Listing" Paragraph below if both ASCE/SEI 7 and FM Approvals criteria apply.  Indicate dimensions of corners, perimeter, and field of roof on Drawings.  Delete below if a loosely laid and ballasted membrane roofing system is required.

C. Roofing System Design:  Provide membrane roofing system that is identical to systems that have been successfully tested by a qualified testing and inspecting agency to resist uplift pressure calculated according to ASCE/SEI 7.

1. Corner Uplift Pressure:  <Insert lbf/sq. ft. (kPa/sq. m)>.

2. Perimeter Uplift Pressure:  <Insert lbf/sq. ft. (kPa/sq. m)>.

3. Field-of-Roof Uplift Pressure:  <Insert lbf/sq. ft. (kPa/sq. m)>.

Retain first paragraph below if Project is FM Global insured or if FM Approvals requirements will set a minimum quality standard.  Coordinate requirements in FM Approvals classification with other requirements in this Section.  Loosely laid and ballasted membrane roofing systems cannot be approved by FM Global but may be accepted on a project-by-project basis.  For further clarification, discuss with FM Approvals.

D. FM Approvals Listing:  Provide membrane roofing, base flashings, and component materials that comply with requirements in FM Approvals 4450 and FM Approvals 4470 as part of a membrane roofing system, and that are listed in FM Approvals' "RoofNav" for Class 1 or noncombustible construction, as applicable.  Identify materials with FM Approvals' markings.

Retain one option in first subparagraph below based on windstorm classification of Project.  FM Global Loss Prevention Data Sheet 1-28 multiplies the actual field-of-roof uplift pressure by a factor of 2 to obtain the factored pressure, the number that establishes the minimum FM Approvals approval rating.  Verify availability of roofing systems that comply with these classifications.  Other options for classifications increase in increments of 15, e.g., Classes 1A-135, 1A-150, 1A-165, and higher.  "Class 1A" signifies complying with ASTM E 108, Class A fire performance for FM Approvals-approved Class 1 roof covers.  For areas having three or more hailstorms annually, FM Approvals recommends roofing systems SH (severe hail) rated instead of MH (moderate hail) rated.

1. Fire/Windstorm Classification:  [Class 1A-60] [Class 1A-75] [Class 1A-90] [Class 1A-105] [Class 1A-120] <Insert class>.

2. Hail Resistance:  [MH] [SH].

Retain one of three paragraphs below to specify "cool-roof" performance.

Retain first paragraph below if required for LEED-NC Credit SS 7.2.  First option is minimum for roofs with slopes of 2:12 or less; second option is minimum for roofs with slopes steeper than 2:12.

E. Energy Performance:  Provide roofing system with initial Solar Reflectance Index not less than [78] [29] when calculated according to ASTM E 1980 based on testing identical products by a qualified testing agency.

Retain first paragraph below for roofs that must comply with the DOE's ENERGY STAR requirements.  The DOE's ENERGY STAR "Roof Products Qualified Product List" is available in PDF at www.energystar.gov.

F. Energy Performance:  Provide roofing system that is listed on the DOE's ENERGY STAR "Roof Products Qualified Product List" for [low] [steep]-slope roof products.

Usually retain paragraph below for roofs that must comply with California Energy Commission's CEC-Title 24.  Options are values required for low-slope roofs by prescriptive approach; insert other values if required for building-envelope trade-off approach or whole-building performance approach.  A list of products tested according to CRRC-1 with their test values is available in PDF at www.coolroofs.org.

G. Energy Performance:  Provide roofing system with initial solar reflectance not less than [0.70] <Insert value> and emissivity not less than [0.75] <Insert value> when tested according to CRRC-1.

1.5 SUBMITTALS

First four paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

B. LEED Submittals:

Retain first subparagraph below if roof materials are required to comply with LEED-NC Credit SS 7.2; coordinate with requirements selected in Part 2 for roof materials.

1. Product Test Reports for Credit SS 7.2:  For roof materials, documentation indicating that roof materials comply with Solar Reflectance Index requirement.

Retain subparagraph below if low-emitting materials are required for LEED-NC Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives and sealants.

2. Product Data for Credit EQ 4.1:  For adhesives and sealants, including printed statement of VOC content.

C. Shop Drawings:  For roofing system.  Include plans, elevations, sections, details, and attachments to other work.

1. Base flashings and membrane terminations.

2. Tapered insulation, including slopes.

3. Roof plan showing orientation of steel roof deck and orientation of membrane roofing and fastening spacings and patterns for mechanically fastened membrane roofing.

4. Insulation fastening patterns for corner, perimeter, and field-of-roof locations.

D. Samples for Verification:  For the following products, in manufacturer's standard sizes:

1. Sheet roofing, of color specified, including T-shaped side and end lap seam.

2. Roof insulation.

3. 10 lb (4.5 kg) of aggregate ballast in gradation[ and color] indicated.

4. Roof paver[, full sized,] in each color and texture required.

5. Walkway pads or rolls.

6. Termination bars.

7. Battens.

8. Six insulation fasteners of each type, length, and finish.

9. Six roof cover fasteners of each type, length, and finish.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For qualified Installer and manufacturer.

Retain first paragraph below if retaining "Performance Requirements" Article and "FM Approvals Listing" Paragraph or "Roofing System Design" or "Energy Performance" paragraphs in that article.

F. Manufacturer Certificate:  Signed by roofing manufacturer certifying that membrane roofing system complies with requirements specified in "Performance Requirements" Article.

1. Submit evidence of complying with performance requirements.

G. Product Test Reports:  Based on evaluation of comprehensive tests performed by manufacturer and witnessed by a qualified testing agency, for components of membrane roofing system.

H. Research/Evaluation Reports:  For components of membrane roofing system, from [the ICC-ES] <Insert applicable model code organization>.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

I. Field quality-control reports.

J. Maintenance Data:  For membrane roofing system to include in maintenance manuals.

K. Warranties:  Sample of special warranties.

1.6 QUALITY ASSURANCE

A. Manufacturer Qualifications:  A qualified manufacturer that is [UL listed] [FM Approvals approved] for membrane roofing system identical to that used for this Project.

B. Installer Qualifications:  A qualified firm that is approved, authorized, or licensed by membrane roofing system manufacturer to install manufacturer's product and that is eligible to receive manufacturer's special warranty.

Retain first paragraph below if required to comply with FM Approvals, UL, or another building code, or to comply with provisions of manufacturer's special warranty.  Consult manufacturer's literature because requirements vary.

C. Source Limitations:  Obtain components including [roof insulation] [fasteners] <Insert products> for membrane roofing system [from same manufacturer as membrane roofing] [or] [approved by membrane roofing manufacturer].

Retain one of three options in first paragraph below based on fire classification of roof assembly and roof covering.  Delete paragraph if including exterior fire-test exposure in FM Approvals class designation in "Performance Requirements" Article.

D. Exterior Fire-Test Exposure:  ASTM E 108, [Class A] [Class B] [Class C]; for application and roof slopes indicated, as determined by testing identical membrane roofing materials by a qualified testing agency.  Materials shall be identified with appropriate markings of applicable testing agency.

Retain first paragraph below only if products specified in Part 2 are part of a fire-resistance-rated assembly.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

E. Fire-Resistance Ratings:  Where indicated, provide fire-resistance-rated roof assemblies identical to those of assemblies tested for fire resistance per ASTM E 119 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

Consider retaining first paragraph below if roofing installation is large and complicated.  A preliminary roofing conference would precede a preinstallation conference and focus on roof deck construction and planning activities of roofing Installer.

F. Preliminary Roofing Conference:  Before starting roof deck construction, conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if required.  If retaining, revise to include Project-specific requirements.  Insert additional requirements to suit Project.

1. Meet with Owner, Architect, Owner's insurer if applicable, testing and inspecting agency representative, roofing Installer, roofing system manufacturer's representative, deck Installer, and installers whose work interfaces with or affects roofing, including installers of roof accessories and roof-mounted equipment.

2. Review methods and procedures related to roofing installation, including manufacturer's written instructions.

3. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

4. Review requirements for deck substrate conditions and finishes, including flatness and fastening.

5. Review structural loading limitations of roof deck during and after roofing.

6. Review base flashings, special roofing details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect roofing system.

7. Review governing regulations and requirements for insurance and certificates if applicable.

8. Review temporary protection requirements for roofing system during and after installation.

9. Review roof observation and repair procedures after roofing installation.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.  Paragraph is recommended with or without preliminary roofing conference above.

G. Preinstallation Roofing Conference:  Conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if required.  If retaining, revise to include Project-specific requirements.  Insert additional requirements to suit Project.

1. Meet with Owner, Architect, Owner's insurer if applicable, testing and inspecting agency representative, roofing Installer, roofing system manufacturer's representative, deck Installer, and installers whose work interfaces with or affects roofing, including installers of roof accessories and roof-mounted equipment.

2. Review methods and procedures related to roofing installation, including manufacturer's written instructions.

3. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

4. Examine deck substrate conditions and finishes for compliance with requirements, including flatness and fastening.

5. Review structural loading limitations of roof deck during and after roofing.

6. Review base flashings, special roofing details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect roofing system.

7. Review governing regulations and requirements for insurance and certificates if applicable.

8. Review temporary protection requirements for roofing system during and after installation.

9. Review roof observation and repair procedures after roofing installation.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver roofing materials to Project site in original containers with seals unbroken and labeled with manufacturer's name, product brand name and type, date of manufacture, approval or listing agency markings, and directions for storing and mixing with other components.

B. Store liquid materials in their original undamaged containers in a clean, dry, protected location and within the temperature range required by roofing system manufacturer.  Protect stored liquid material from direct sunlight.

1. Discard and legally dispose of liquid material that cannot be applied within its stated shelf life.

C. Protect roof insulation materials from physical damage and from deterioration by sunlight, moisture, soiling, and other sources.  Store in a dry location.  Comply with insulation manufacturer's written instructions for handling, storing, and protecting during installation.

D. Handle and store roofing materials and place equipment in a manner to avoid permanent deflection of deck.

1.8 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit roofing system to be installed according to manufacturer's written instructions and warranty requirements.

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Retain first paragraph below if manufacturer's labor-and-materials warranty, covering roofing system, is required.  Verify coverage offered by manufacturers because roof insulation, fasteners, and other roofing components may be excluded unless part of a membrane roofing manufacturer's roofing system warranty.  If inserting special provisions, retitle paragraph "Special Roofing Manufacturer's Warranty."  Verify warranty availability, and coordinate selection of manufacturers in Part 2 accordingly.

A. Special Warranty:  Manufacturer's standard or customized form, without monetary limitation, in which manufacturer agrees to repair or replace components of membrane roofing system that fail in materials or workmanship within specified warranty period.

Retain options in first subparagraph below based on those used on Project.  Verify availability of manufacturer's total-system warranty and components included.

1. Special warranty includes membrane roofing, base flashings, [roof insulation,] [fasteners,] [cover boards,] [substrate board,] [roofing accessories,] [roof pavers,] and other components of membrane roofing system.

Verify available warranties and warranty periods for roofing system with manufacturers listed in Part 2 articles.

2. Warranty Period:  [10] [15] [20] <Insert number> years from date of Substantial Completion.

Usually delete paragraph below if retaining manufacturer's warranty above.  Manufacturer's labor-and-materials warranty typically binds Installer for the first two or three years.  If retaining below, use or revise sample roofing Installer's warranty form at end of this Section.  Alternatively, insert copy of local roofing contractor association's warranty form or use another form as advised by Owner's counsel.  Revise paragraph to reflect scope of special Project warranty.

B. Special Project Warranty:  Submit roofing Installer's warranty, on warranty form at end of this Section, signed by Installer, covering Work of this Section, including all components of membrane roofing system such as membrane roofing, base flashing, roof insulation, fasteners, cover boards, substrate boards, vapor retarders, roof pavers, and walkway products, for the following warranty period:

Verify available warranties and warranty periods.

1. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 EPDM MEMBRANE ROOFING

Class A exterior fire-test rating for either an adhered or a mechanically fastened EPDM roofing system may require a specially formulated fire-retardant sheet; consult manufacturer.

A. EPDM:  ASTM D 4637, [Type I, non-reinforced,] [Type II, scrim or fabric internally reinforced,] uniform, flexible EPDM sheet.

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Carlisle SynTec Incorporated.

b. ERSystems.

c. Firestone Building Products.

d. GAF Materials Corporation.

e. GenFlex Roofing Systems.

f. International Diamond Systems.

g. Johns Manville.

h. Mule-Hide Products Co., Inc.

i. Protective Coatings, Inc.

j. Roofing Products International, Inc.

k. StaFast Building Products.

l. Versico Incorporated.

m. <Insert manufacturer's name>.

Retain one of four options in first subparagraph below, or revise to suit Project.

2. Thickness:  [45 mils (1.1 mm)] [60 mils (1.5 mm)] [75 mils (1.9 mm)] [90 mils (2.2 mm)] <Insert thickness>, nominal.

Retain one color option in subparagraph below.

3. Exposed Face Color:  [Black] [White on black] <Insert color>.

Retain product in paragraph below if specifying fabric-backed EPDM for adhered installation, which is only available from Carlisle and Versico.

B. Fabric-Backed EPDM:  ASTM D 4637, Type III, non-reinforced, uniform, flexible EPDM sheet, laminated to a nonwoven polyester fabric backing except at selvages.

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Carlisle SynTec Incorporated.

b. Versico Incorporated.

c. <Insert manufacturer's name>.

Retain one of four options in first subparagraph below, or revise to suit Project.

2. Composite Thickness:  [90 mils (2.3 mm)] [100 mils (2.5 mm)] [105 mils (2.7 mm)] [115 mils (2.9 mm)], nominal.

Retain one color option in subparagraph below.

3. Exposed Face Color:  [Black] [White on black] <Insert color>.

2.2 AUXILIARY MEMBRANE ROOFING MATERIALS

A. General:  Auxiliary membrane roofing materials recommended by roofing system manufacturer for intended use and compatible with membrane roofing.

1. Liquid-type auxiliary materials shall comply with VOC limits of authorities having jurisdiction.

Retain subparagraph below if low-emitting materials are required for LEED-NC Credit EQ 4.1.

2. Adhesives and sealants that are not on the exterior side of weather barrier shall comply with the following limits for VOC content when calculated according to 40 CFR 59, Subpart D (EPA Method 24):

a. Plastic Foam Adhesives:  50 g/L.

b. Gypsum Board and Panel Adhesives:  50 g/L.

c. Multipurpose Construction Adhesives:  70 g/L.

d. Fiberglass Adhesives:  80 g/L.

e. Contact Adhesive:  80 g/L.

f. Single-Ply Roof Membrane Sealants:  450 g/L.

g. Nonmembrane Roof Sealants:  300 g/L.

h. Sealant Primers for Nonporous Substrates:  250 g/L.

i. Sealant Primers for Porous Substrates:  775 g/L.

j. Other Adhesives and Sealants:  250 g/L.

B. Sheet Flashing:  60-mil- (1.5-mm-) thick EPDM, partially cured or cured, according to application.

Retain first paragraph below if applicable.  Carlisle and Versico offer epichlorohydrin, and Firestone offers neoprene as a protection membrane over EPDM to resist hydrocarbons, non-aromatic solvents, grease, and oil.

C. Protection Sheet:  Epichlorohydrin or neoprene non-reinforced flexible sheet, 55- to 60-mil- (1.4- to 1.5-mm-) thick, recommended by EPDM manufacturer for resistance to hydrocarbons, non-aromatic solvents, grease, and oil.

Retain first paragraph below for fully adhering standard EPDM membranes and flashings to substrate.  Also retain paragraph for adhering perimeters of mechanically fastened or loosely laid and ballasted membranes if applicable.

D. Bonding Adhesive:  Manufacturer's standard[, water based].

Retain one of first three paragraphs below to adhere fabric-backed EPDM membrane roofing.  First two paragraphs describe proprietary cold-applied adhesive.  Third paragraph describes a proprietary spray-applied, low-rise urethane.

E. Modified Asphaltic Fabric-Backed Membrane Adhesive:  Roofing system manufacturer's standard modified asphalt, asbestos-free, cold-applied adhesive formulated for compatibility and use with fabric-backed membrane roofing.

F. Water-Based, Fabric-Backed Membrane Adhesive:  Roofing system manufacturer's standard water-based, cold-applied adhesive formulated for compatibility and use with fabric-backed membrane roofing.

G. Low-Rise, Urethane, Fabric-Backed Membrane Adhesive:  Roof system manufacturer's standard spray-applied, low-rise, two-component urethane adhesive formulated for compatibility and use with fabric-backed membrane roofing.

Retain one or both options in first paragraph below based on method of seaming required.  Retain both options if choice of seaming method is Contractor's choice.

H. Seaming Material:  [Single-component, butyl splicing adhesive and splice cleaner] [Manufacturer's standard, synthetic-rubber polymer primer and 3-inch- (75-mm-) wide minimum, butyl splice tape with release film].

I. Lap Sealant:  Manufacturer's standard, single-component sealant[, colored to match membrane roofing].

J. Water Cutoff Mastic:  Manufacturer's standard butyl mastic sealant.

K. Metal Termination Bars:  Manufacturer's standard, predrilled stainless-steel or aluminum bars, approximately 1 by 1/8 inch (25 by 3 mm) thick; with anchors.

L. Metal Battens:  Manufacturer's standard, aluminum-zinc-alloy-coated or zinc-coated steel sheet, approximately 1 inch wide by 0.05 inch thick (25 mm wide by 1.3 mm thick), prepunched.

M. Fasteners:  Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Approvals 4470, designed for fastening membrane to substrate, and acceptable to roofing system manufacturer.

N. Miscellaneous Accessories:  Provide pourable sealers, preformed cone and vent sheet flashings, preformed inside and outside corner sheet flashings, reinforced EPDM securement strips, T-joint covers, in-seam sealants, termination reglets, cover strips, and other accessories.

Retain paragraph below if a color coating of membrane roofing or base flashing is required for aesthetic reasons or improved reflectance.

O. Liquid coating, specifically formulated for coating EPDM membrane roofing, as follows:

Retain one of two options in first subparagraph below.

1. Type:  [Acrylic emulsion] [Hypalon].

Retain one color option in subparagraph below.  Verify availability with manufacturer.

2. Color:  [White] [Gray] [Tan] [As selected by Architect from manufacturer's full range] <Insert color>.

2.3 SUBSTRATE BOARDS

Retain one or more of first four paragraphs below if required, or delete this article.  Substrate boards may serve as building-code-required thermal barriers, separating foam insulation from steel or wood deck.  They may also be used over steel deck as part of a fire-resistance-rated roofing system or to provide a smooth substrate for a vapor retarder.  Verify suitability for application.  Roofing manufacturers do not recognize substrate boards to be part of roofing system.

A. Substrate Board:  ASTM C 1396/C 1396M, Type X gypsum board, 5/8 inch (16 mm) thick.

B. Substrate Board:  ASTM C 1177/C 1177M, glass-mat, water-resistant gypsum substrate, [1/4 inch (6 mm)] [1/2 inch (13 mm)] [Type X, 5/8 inch (16 mm)] thick.

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Georgia-Pacific Corporation; Dens Deck.

b. <Insert manufacturer's name; product name or designation>.

C. Substrate Board:  ASTM C 1278/C 1278M, cellulosic-fiber-reinforced, water-resistant gypsum substrate, [1/4 inch (6 mm)] [3/8 inch (10 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] thick.

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. USG Corporation; Securock.

b. <Insert manufacturer's name; product name or designation>.

D. Substrate Board:  ASTM C 728, perlite board, [3/4 inch (19 mm)] [1 inch (25 mm)] thick, seal coated.

Retain paragraph below with substrate board(s) retained in paragraphs above.

E. Fasteners:  Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Approvals 4470, designed for fastening substrate panel to roof deck.

2.4 VAPOR RETARDER

Retain this article if vapor retarders are required.  Review compatibility of vapor retarder with other membrane roofing system materials.  A substrate board or layer of insulation will be needed because vapor retarders cannot be placed directly over a steel deck.  Retitle article "Air Retarder" or "Vapor/Air Retarder" depending on function of retarder.

A. Polyethylene Film:  ASTM D 4397, 6 mils (0.15 mm) thick, minimum, with maximum permeance rating of 0.13 perm (7.5 ng/Pa x s x sq. m).

Retain one of two subparagraphs below.

1. Tape:  Pressure-sensitive tape of type recommended by vapor-retarder manufacturer for sealing joints and penetrations in vapor retarder.

2. Adhesive:  Manufacturer's standard lap adhesive, FM Approvals approved for vapor-retarder application.

B. Laminated Sheet:  Kraft paper, two layers, laminated with asphalt and edge reinforced with woven fiberglass yarn with maximum permeance rating of 0.50 perm (29 ng/Pa x s x sq. m)[ and with manufacturer's standard adhesive].

Retain paragraph below if a built-up vapor retarder composed of felts and hot asphalt is required.

C. Glass-Fiber Felts:  ASTM D 2178, Type IV, asphalt impregnated.

Delete vapor-retarder products above and insert other products, such as self-adhering rubberized asphalt sheets, if required.

2.5 ROOF INSULATION

If retaining more than one insulation material in this article, show location of each on Drawings or indicate where each layer is used in roofing system.  If allowing Contractor to select more than one insulation material, limit options to insulations that will comply with Project requirements and limitations.  Coordinate insulation selection and thicknesses indicated on Drawings with adjoining construction as well as HVAC design and energy program.

Roofing system manufacturers may require use of their own insulations or limit approvals to some insulation manufacturers.  Retain second option in first paragraph below if FM Approvals approval is required.

A. General:  Preformed roof insulation boards manufactured[ or approved] by EPDM membrane roofing manufacturer, selected from manufacturer's standard sizes suitable for application, of thicknesses indicated[ and that produce FM Approvals-approved roof insulation].

B. Extruded-Polystyrene Board Insulation:  ASTM C 578, [Type IV, 1.6-lb/cu. ft. (26-kg/cu. m)] [Type X, 1.3-lb/cu. ft. (21-kg/cu. m)] minimum density, square edged.

Retain first paragraph below for homogenous, unfaced, molded-polystyrene insulation.  Retain one of three options for density of insulation.  Higher-density insulation offers improved compressive resistance, greater resistance to crushing under construction loads, better ability to span steel deck flutes, and more rigid substrate.  However, costs increase as density increases.

C. Molded-Polystyrene Board Insulation:  ASTM C 578, [Type II, 1.35-lb/cu. ft. (22-kg/cu. m)] [Type VIII, 1.15-lb/cu. ft. (18-kg/cu. m)] [Type IX, 1.8-lb/cu. ft. (29-kg/cu. m)] minimum density.

Retain first paragraph below for composite molded-polystyrene insulation.

D. Composite Molded-Polystyrene Board Insulation:  ASTM C 578, [Type II, 1.35-lb/cu. ft. (22-kg/cu. m)] [Type VIII, 1.15-lb/cu. ft. (18-kg/cu. m)] [Type IX, 1.8-lb/cu. ft. (29-kg/cu. m)] minimum density, with factory-applied facings, as follows:

Retain one of two subparagraphs below, or revise to another board facer if required.  Verify availability with manufacturers.  If a field-installed cover board is required, see "Insulation Accessories" Article for options.

1. Facer:  ASTM C 208, Type II, Grade 2, cellulosic-fiber insulation board, asphalt coated, 1/2 inch (13 mm) thick.

2. Facer:  DOC PS 2, Exposure 1, OSB, 7/16 inch (11 mm) thick.

Retain first paragraph below for polyisocyanurate insulation with felt or glass-fiber mat facers.  Retain one of two options; second has higher compressive strength.  Revise to Type I, Class 1 if aluminum-foil-faced insulation is required.  Verify, with insulation manufacturers, availability of options.  Retain first paragraph below with second paragraph if combining composite and noncomposite polyisocyanurate board insulation in two or more layers.

E. Polyisocyanurate Board Insulation:  ASTM C 1289, [Type II, Class 1, Grade 2] [Type II, Class I, Grade 3], felt or glass-fiber mat facer on both major surfaces.

Retain first paragraph below for composite polyisocyanurate insulation faced with factory-applied facing board on one side and felt or glass-fiber mat facer on the other.  Verify, with composite insulation manufacturers, availability of facing board types and thicknesses.

F. Composite Polyisocyanurate Board Insulation:  ASTM C 1289, Type II, Class 1, Grade 2 with factory-applied facing board on one major surface, as indicated below by type, and felt or glass-fiber mat facer on the other.

1. Type IV, cellulosic-fiber-insulation-board facer, Grade 2, 1/2 inch (13 mm) thick.

2. Type V, OSB facer, 7/16 inch (11 mm) thick.

3. Type VII, glass mat faced gypsum board facer, 1/4 inch (6 mm) thick.

Retain first paragraph for perlite insulation.

G. Perlite Board Insulation:  ASTM C 728, rigid, mineral-aggregate thermal insulation board composed of expanded perlite, cellulosic fibers, binders, and waterproofing agents with top surface seal coated.

Retain first paragraph below for cellulosic-fiber insulation.

H. Cellulosic-Fiber Board Insulation:  ASTM C 208, Type II, Grade 2, fibrous-felted, rigid insulation boards of wood fiber or other cellulosic-fiber and water-resistant binders, asphalt impregnated, chemically treated for deterioration.

Cellular-glass insulation is rarely used in EPDM membrane roofing systems.  Board dimensions are 24 by 48 inches (600 by 1219 mm).

I. Cellular-Glass Board Insulation:  ASTM C 552, Type IV, rigid, cellular-glass thermal board insulation faced with manufacturer's standard kraft-paper sheets.

Retain first paragraph below if tapered insulation is required.  Most of the commonly used insulations are available in tapered form; verify with manufacturers.  With some exceptions, codes require roof slopes to be not less than 1/4 inch per 12 inches (1:48).  Insulation is manufactured with tapers ranging from 1/8 to 1/2 inch per 12 inches (1:96 to 1:24).

J. Tapered Insulation:  Provide factory-tapered insulation boards fabricated to slope of [1/4 inch per 12 inches (1:48)] <Insert slope> unless otherwise indicated.

Retain paragraph below with or without "Tapered Insulation" Paragraph above.

K. Provide preformed saddles, crickets, tapered edge strips, and other insulation shapes where indicated for sloping to drain.  Fabricate to slopes indicated.

2.6 INSULATION ACCESSORIES

A. General:  Furnish roof insulation accessories recommended by insulation manufacturer for intended use and compatibility with membrane roofing.

Retain first paragraph below if insulation requires mechanical fastening.  Retain option if separate cover boards require fastening.

B. Fasteners:  Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Approvals 4470, designed for fastening roof insulation[ and cover boards] to substrate, and acceptable to roofing system manufacturer.

Retain one of first three paragraphs below for insulation adhesive to adhere insulation to roof deck and insulation to insulation.

C. Modified Asphaltic Insulation Adhesive:  Insulation manufacturer's recommended modified asphalt, asbestos-free, cold-applied adhesive formulated to attach roof insulation to substrate or to another insulation layer.

D. Bead-Applied Insulation Adhesive:  Insulation manufacturer's recommended bead-applied, low-rise, one- or multicomponent urethane adhesive formulated to attach roof insulation to substrate or to another insulation layer.

E. Full-Spread Applied Insulation Adhesive:  Insulation manufacturer's recommended spray-applied, low-rise, two-component urethane adhesive formulated to attach roof insulation to substrate or to another insulation layer.

Retain one of first four paragraphs below if required.  Cover or overlay boards are usually needed over noncomposite foam insulation.

F. Cover Board:  ASTM C 208, Type II, Grade 2, cellulosic-fiber insulation board, 1/2 inch (13 mm) thick.

G. Cover Board:  DOC PS 2, Exposure 1, OSB, 7/16 inch (11 mm) thick.

H. Cover Board:  ASTM C 1177/C 1177M, glass-mat, water-resistant gypsum substrate, [1/4 inch (6 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] thick[, factory primed].

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Georgia-Pacific Corporation; [Dens Deck] [Dens Deck Prime] [Dens Deck DuraGuard].

b. <Insert manufacturer's name; product name or designation>.

I. Cover Board:  ASTM C 1278/C 1278M, cellulosic-fiber reinforced, water-resistant gypsum substrate, [1/4 inch (6 mm)] [3/8 inch (10 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] thick.

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. USG Corporation; Securock.

b. <Insert manufacturer's name; product name or designation>.

Protection mats in paragraph below may be placed on membrane roofing as protection from roof pavers or crushed-aggregate ballast.

J. Protection Mat:  Woven or nonwoven polypropylene, polyolefin, or polyester fabric, water permeable and resistant to UV degradation, type and weight as recommended by roofing system manufacturer for application.

2.7 ASPHALT MATERIALS

Retain this article if adhering fabric-backed membrane roofing or roof insulation, or if a built-up vapor retarder composed of felts and hot asphalt is required.

A. Roofing Asphalt:  [ASTM D 312, Type III or Type IV] [ASTM D 6152, SEBS modified].

Retain paragraph below if priming concrete roof deck.

B. Asphalt Primer:  ASTM D 41.

2.8 AGGREGATE BALLAST

Retain this article for loosely laid and aggregate-ballasted installations.  Insert requirements for color if necessary.

A. Aggregate Ballast:  Provide aggregate ballast that will withstand weather exposure without significant deterioration and will not contribute to membrane degradation, of the following type and size:

Retain one of two options in first subparagraph below.  If smooth-faced aggregate is preferred, verify availability and cost.  A membrane roofing in contact with sharper crushed aggregate needs added protection to prevent puncturing.

1. Aggregate Type:  [Smooth, washed, riverbed gravel or other acceptable smooth-faced stone] [Crushed gravel or crushed stone].

Retain one or more "Size" subparagraphs below to suit Project.  Revise descriptions if other sizes will be permitted.  SPRI RP-4 also allows ASTM D 448, Size 1, 2, 3, or 24 to be used where Size 4 is required, and Size 1 where Size 2 is required.

2. Size:  ASTM D 448, Size 4, ranging in size from 3/4 to 1-1/2 inches (19 to 38 mm).

3. Size:  ASTM D 448, Size 2, ranging in size from 1-1/2 to 2-1/2 inches (38 to 63 mm).

Ballast size in subparagraph below is based on recommendations in FM Global Loss Prevention Data Sheet 1-29.

4. Size:  ASTM D 448, Size 3, ranging in size from 1 to 2 inches (25 to 50 mm).

2.9 ROOF PAVERS

Retain this article if roof-paver ballast is required.  Pavers may be used alone or with aggregate ballast for functional or decorative purposes.

Retain first paragraph below if required.

A. Lightweight Roof Pavers:  Interlocking, lightweight concrete units, specially factory cast for use as roof ballast; grooved back, with four-way drainage capability; beveled, doweled, or otherwise profiled; and as follows:

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Hanover Architectural Products.

b. Rapid Building Systems.

c. Roofblok Limited.

d. Westile Roofing Products.

e. <Insert manufacturer's name>.

Coordinate size selection in first subparagraph below with minimum paver coverage required, especially at corners, perimeter, penetrations, and above large wall openings.  Paver sizes vary among manufacturers and include 8 by 16, 12 by 12, 12 by 16-1/2, and 12 by 18 inches (200 by 400, 300 by 300, 300 by 420, and 300 by 450 mm).

2. Size:  <Insert actual size(s) of pavers>.

Insert weight of roof paver in first subparagraph below.  SPRI identifies interlocking, lightweight roof pavers as weighing at least 10 lb/sq. ft. (50 kg/sq. m) but not exceeding 18 lb/sq. ft. (90 kg/sq. m).  Verify availability with manufacturers.

3. Weight:  <Insert weight or weight range>.

Retain one of two options in first subparagraph below.

4. Compressive Strength:  [2500 psi (17 MPa)] [5000 psi (34 MPa)] <Insert strength>, minimum.

Retain one of three options in subparagraph below.  If retaining first option, indicate colors and textures in a separate schedule.

5. Colors and Textures:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Retain first paragraph below if required for loosely laid and ballasted membrane roofing.

B. Rubber Roof Pavers:  Interlocking, lightweight rubber units, 24 by 24 by 2-1/4 inches (600 by 600 by 57 mm), 6 lb/sq. ft. (30 kg/sq. m) specially manufactured for use as roof ballast; with grooved back for four-way drainage, beveled and doweled; and as follows:

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Carlisle SynTec Incorporated; Interlocking Rubber Paver.

b. <Insert manufacturer's name; product name or designation>.

Carlisle requires securement of first row of pavers unless parapet height above pavers exceeds 12 inches (300 mm).

2. Perimeter Securement Strip:  Manufacturer's standard [coated steel sheet channel] [aluminum sheet channel] [mill-finish aluminum sheet hold down] [coated aluminum sheet hold down, color as selected by Architect,] and fasteners.

Retain one color option in subparagraph below.

3. Color:  [Black] [Gray] [Terra cotta] <Insert color>.

Retain paragraph below for heavyweight roof pavers.

C. Heavyweight Roof Pavers:  Heavyweight, hydraulically pressed, concrete units, [square edged] [with top edges beveled 3/16 inch (5 mm)], factory cast for use as roof pavers; absorption not greater than 5 percent, ASTM C 140; no breakage and maximum 1 percent mass loss when tested for freeze-thaw resistance, ASTM C 67; and as follows:

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Hanover Architectural Products.

b. Rapid Building Systems.

c. Roofblok Limited.

d. Sunny Brook Pressed Concrete.

e. Wausau Tile, Inc.; Terra-Paving Division.

f. Westile Roofing Products.

g. <Insert manufacturer's name>.

Coordinate size selection in first subparagraph below with minimum paver coverage required, especially at corners, perimeter, penetrations, and above large wall openings.  Consider handling of pavers as weight increases.  Paver sizes vary among manufacturers and include 12 by 12 and 18 by 18 inches (300 by 300 and 450 by 450 mm).

2. Size:  [24 by 24 inches (600 by 600 mm)] <Insert dimensions>.  Manufacture pavers to dimensional tolerances of plus or minus 1/16 inch (1.6 mm) in length, height, and thickness.

Retain one of two options in first subparagraph below.  SPRI RP-4 allows roof pavers weighing 18 lb/sq. ft. (90 kg/sq. m) for System 1 at all locations and for System 2 at field of roof.  Pavers weighing 22 lb/sq. ft. (110 kg/sq. m) are required for System 2 corner and perimeter areas and all areas for System 3.  Verify availability with manufacturers and coordinate with size of paver in subparagraph above if weight of paver unit is a consideration.

3. Weight:  [18 lb/sq. ft. (90 kg/sq. m)] [22 lb/sq. ft. (110 kg/sq. m)] <Insert weight>.

Retain one of two options in first subparagraph below.

4. Compressive Strength:  [7500 psi (52 MPa)] [6500 psi (45 MPa)] <Insert strength>, minimum.

Retain one of three options in subparagraph below.  If retaining first option, indicate colors and textures in a separate schedule.

5. Colors and Textures:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.10 WALKWAYS

Retain one of two paragraphs in this article for preformed roof walkway products.  Revise to suit other walkway products if required.

A. Flexible Walkways:  Factory-formed, nonporous, heavy-duty, solid-rubber, slip-resisting, surface-textured walkway [pads] [or] [rolls], approximately 3/16 inch (5 mm) thick, and acceptable to membrane roofing system manufacturer.

Retain paragraph below if using heavyweight roof pavers as walkways.

B. Walkway Roof Pavers:  Heavyweight, hydraulically pressed, concrete units, [square edged] [with top edges beveled 3/16 inch (5 mm)], factory cast for use as roof pavers; absorption not greater than 5 percent, ASTM C 140; no breakage and maximum 1 percent mass loss when tested for freeze-thaw resistance, ASTM C 67; and as follows:

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Hanover Architectural Products.

b. Rapid Building Systems.

c. Roofblok Limited.

d. Sunny Brook Pressed Concrete.

e. Wausau Tile, Inc.; Terra-Paving Division.

f. Westile Roofing Products.

g. <Insert manufacturer's name>.

Coordinate size selection in first subparagraph below with minimum paver coverage required, especially at corners, perimeter, penetrations, and above large wall openings.  Consider handling of pavers as weight increases.  Paver sizes vary among manufacturers and include 12 by 12 and 18 by 18 inches (300 by 300 and 450 by 450 mm).

2. Size:  [24 by 24 inches (600 by 600 mm)] <Insert dimensions>.  Manufacture pavers to dimensional tolerances of plus or minus 1/16 inch (1.6 mm) in length, height, and thickness.

Retain one of two options in first subparagraph below.  SPRI RP-4 allows roof pavers weighing 18 lb/sq. ft. (90 kg/sq. m) for System 1 at all locations and for System 2 at field of roof.  Pavers weighing 22 lb/sq. ft. (110 kg/sq. m) are required for System 2 corner and perimeter areas and all areas for System 3.  Verify availability with manufacturers and coordinate with size of paver in subparagraph above if weight of paver unit is a consideration.

3. Weight:  [18 lb/sq. ft. (90 kg/sq. m)] [22 lb/sq. ft. (110 kg/sq. m)] <Insert weight>.

Retain one of two options in first subparagraph below.

4. Compressive Strength:  [7500 psi (52 MPa)] [6500 psi (45 MPa)] <Insert strength>, minimum.

Retain one of three options in subparagraph below.  If retaining first option, indicate colors and textures in a separate schedule.

5. Colors and Textures:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with the following requirements and other conditions affecting performance of roofing system:

1. Verify that roof openings and penetrations are in place and curbs are set and braced and that roof drain bodies are securely clamped in place.

2. Verify that wood blocking, curbs, and nailers are securely anchored to roof deck at penetrations and terminations and that nailers match thicknesses of insulation.

Retain first subparagraph below for steel roof deck.

3. Verify that surface plane flatness and fastening of steel roof deck complies with requirements in Division 05 Section "Steel Decking."

Retain or revise subparagraphs below for concrete roof decks.

4. Verify that minimum concrete drying period recommended by roofing system manufacturer has passed.

5. Verify that concrete substrate is visibly dry and free of moisture.  Test for capillary moisture by plastic sheet method according to ASTM D 4263.

6. Verify that concrete curing compounds that will impair adhesion of roofing components to roof deck have been removed.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean substrate of dust, debris, moisture, and other substances detrimental to roofing installation according to roofing system manufacturer's written instructions.  Remove sharp projections.

B. Prevent materials from entering and clogging roof drains and conductors and from spilling or migrating onto surfaces of other construction.  Remove roof-drain plugs when no work is taking place or when rain is forecast.

C. Complete terminations and base flashings and provide temporary seals to prevent water from entering completed sections of roofing system at the end of the workday or when rain is forecast.  Remove and discard temporary seals before beginning work on adjoining roofing.

Retain paragraph below if acoustical roof deck rib insulation, shaped to fit into topside ribs of acoustical roof deck, is installed in this Section.

D. Install acoustical roof deck rib insulation strips, specified in Division 05 Section "Steel Decking," according to acoustical roof deck manufacturer's written instructions, immediately before installation of overlying construction and to remain dry.

3.3 SUBSTRATE BOARD

A. Install substrate board with long joints in continuous straight lines, perpendicular to roof slopes with end joints staggered between rows.  Tightly butt substrate boards together.

Retain one of two subparagraphs below if mechanical fastening of thermal barrier is required.

1. Fasten substrate board to top flanges of steel deck according to recommendations in FM Approvals' "RoofNav" and FM Global Loss Prevention Data Sheet 1-29 for specified Windstorm Resistance Classification.

2. Fasten substrate board to top flanges of steel deck to resist uplift pressure at corners, perimeter, and field of roof according to membrane roofing system manufacturers' written instructions.

3.4 VAPOR-RETARDER INSTALLATION

Retain selected vapor-retarder material from paragraphs below.  Retitle article "Air Barrier" if that is primary function; revise installation requirements if necessary.

A. Polyethylene Film:  Loosely lay polyethylene-film vapor retarder in a single layer over area to receive vapor retarder, side and end lapping each sheet a minimum of 2 inches (50 mm) and 6 inches (150 mm), respectively.

Retain one of two options in subparagraph below.

1. Continuously seal side and end laps with [tape] [adhesive].

B. Laminate Sheet:  Install laminate-sheet vapor retarder in a single layer over area to receive vapor retarder, side and end lapping each sheet a minimum of 2 inches (50 mm) and 6 inches (150 mm), respectively.  Bond vapor retarder to substrate as follows:

Retain one of two subparagraphs below.

1. Apply adhesive at rate recommended by vapor-retarder manufacturer.  Seal laps with adhesive.

2. Apply ribbons of hot roofing asphalt at spacing, temperature, and rate recommended by vapor-retarder manufacturer.  Seal laps with hot roofing asphalt.

C. Built-Up Vapor Retarder:  Install two glass-fiber felt plies lapping each felt 19 inches (483 mm) over preceding felt.  Embed each felt in a solid mopping of hot roofing asphalt.  Glaze-coat completed surface with hot roofing asphalt.  Apply hot roofing asphalt within plus or minus 25 deg F (14 deg C) of equiviscous temperature.

Always retain paragraph below.  To function effectively, vapor retarders or air barriers must prevent air movement into membrane roofing system.

D. Completely seal vapor retarder at terminations, obstructions, and penetrations to prevent air movement into membrane roofing system.

3.5 INSULATION INSTALLATION

A. Coordinate installing membrane roofing system components so insulation is not exposed to precipitation or left exposed at the end of the workday.

B. Comply with membrane roofing system and insulation manufacturer's written instructions for installing roof insulation.

Retain first paragraph below if tapered insulation is required.

C. Install tapered insulation under area of roofing to conform to slopes indicated.

Insulation manufacturers usually recommend thickness in first paragraph below as maximum thickness of single insulation layer.

D. Install insulation under area of roofing to achieve required thickness.  Where overall insulation thickness is 2.7 inches (68 mm) or greater, install two or more layers with joints of each succeeding layer staggered from joints of previous layer a minimum of 6 inches (150 mm) in each direction.

Retain subparagraph below when a composite top layer is required over one or more layers of noncomposite molded polystyrene or polyisocyanurate board insulation.

1. Where installing composite and noncomposite insulation in two or more layers, install noncomposite board insulation for bottom layer and intermediate layers, if applicable, and install composite board insulation for top layer.

E. Trim surface of insulation where necessary at roof drains so completed surface is flush and does not restrict flow of water.

F. Install insulation with long joints of insulation in a continuous straight line with end joints staggered between rows, abutting edges and ends between boards.  Fill gaps exceeding 1/4 inch (6 mm) with insulation.

1. Cut and fit insulation within 1/4 inch (6 mm) of nailers, projections, and penetrations.

Retain first paragraph below if adhering each layer of insulation.  Retain if adhering perimeter or corner and perimeter insulation beneath loosely laid and aggregate-ballasted membrane roofing.

G. Adhered Insulation:  Install each layer of insulation and adhere to substrate as follows:

Retain first two subparagraphs below, if applicable for hot-asphalt application.

1. Prime surface of concrete deck with asphalt primer at rate of 3/4 gal./100 sq. ft. (0.3 L/sq. m) and allow primer to dry.

2. Set each layer of insulation in a solid mopping of hot roofing asphalt, applied within plus or minus 25 deg F (14 deg C) of equiviscous temperature.

Retain one of two subparagraphs below for cold-adhesive application.

3. Set each layer of insulation in ribbons of bead-applied insulation adhesive, firmly pressing and maintaining insulation in place.

4. Set each layer of insulation in a uniform coverage of full-spread insulation adhesive, firmly pressing and maintaining insulation in place.

Retain first paragraph below if mechanically fastening each insulation layer.  Retain if mechanically fastening perimeter or corner and perimeter insulation beneath loosely laid and aggregate-ballasted membrane roofing.

H. Mechanically Fastened Insulation:  Install each layer of insulation and secure to deck using mechanical fasteners specifically designed and sized for fastening specified board-type roof insulation to deck type.

Retain first subparagraph below if Project is FM Global insured or if FM Approvals requirements are proposed as a performance standard.  Retain second subparagraph if number of fasteners will be based on ASCE/SEI 7's uplift pressure or SPRI's factored design uplift pressure.  Coordinate with "Performance Requirements" Article.  Fastener numbers will increase at corners and perimeter over number required for field of roof.

1. Fasten insulation according to requirements in FM Approvals' "RoofNav" for specified Windstorm Resistance Classification.

2. Fasten insulation to resist uplift pressure at corners, perimeter, and field of roof.

Retain first paragraph below if mechanically fastening the first layer of insulation and adhering the remaining layers.  This is the most common application method.  Retain if mechanically fastening first layer and adhering remaining layers of perimeter or corner and perimeter insulation beneath loosely laid and aggregate-ballasted membrane roofing.

I. Mechanically Fastened and Adhered Insulation:  Install first layer of insulation to deck using mechanical fasteners specifically designed and sized for fastening specified board-type roof insulation to deck type.

Retain first subparagraph below if Project is FM Global insured or if FM Approvals requirements are proposed as a performance standard.  Retain second subparagraph if fastening is calculated from ASCE/SEI 7's uplift pressure or SPRI's factored design uplift pressure.  Coordinate with "Performance Requirements" Article.  Fastener numbers will increase at corners and perimeter over number required for field of roof.

1. Fasten first layer of insulation according to requirements in FM Approvals' "RoofNav" for specified Windstorm Resistance Classification.

2. Fasten first layer of insulation to resist uplift pressure at corners, perimeter, and field of roof.

Retain one of three subparagraphs below.  Retain first subparagraph for hot-asphalt application or retain second or third subparagraphs for cold-adhesive application.

3. Set each subsequent layer of insulation in a solid mopping of hot roofing asphalt, applied within plus or minus 25 deg F (14 deg C) of equiviscous temperature.

4. Set each subsequent layer of insulation in ribbons of bead-applied insulation adhesive, firmly pressing and maintaining insulation in place.

5. Set each subsequent layer of insulation in a uniform coverage of full-spread insulation adhesive, firmly pressing and maintaining insulation in place.

Usually retain first paragraph below for loosely laid and ballasted membrane roofing.

J. Loosely Laid Insulation:  Loosely lay insulation units over substrate.

Retain paragraph below if cover boards will be field installed over roof insulation and immediately below membrane roofing.  Usually retain option unless cover board can be loosely laid.

K. Install cover boards over insulation with long joints in continuous straight lines with end joints staggered between rows.  Offset joints of insulation below a minimum of 6 inches (150 mm) in each direction.  Loosely butt cover boards together[ and fasten to roof deck].

Retain one of two subparagraphs below if fastening rather than loosely laying cover boards.

1. Fasten cover boards according to requirements in FM Approvals' "RoofNav" for specified Windstorm Resistance Classification.

2. Fasten cover boards to resist uplift pressure at corners, perimeter, and field of roof.

3.6 ADHERED MEMBRANE ROOFING INSTALLATION

A. Adhere [fabric-backed ]membrane roofing over area to receive roofing according to membrane roofing system manufacturer's written instructions.  Unroll membrane roofing and allow to relax before installing.

Retain first paragraph below if applicable.

B. Start installation of membrane roofing in presence of membrane roofing system manufacturer's technical personnel.

C. Accurately align membrane roofing and maintain uniform side and end laps of minimum dimensions required by manufacturer.  Stagger end laps.

Retain first paragraph below for adhesive bonding membrane roofing to substrate.

D. Bonding Adhesive:  Apply to substrate and underside of membrane roofing at rate required by manufacturer and allow to partially dry before installing membrane roofing.  Do not apply to splice area of membrane roofing.

Retain one of first two paragraphs below for adhering fabric-backed membrane roofing to substrate.  Retain first paragraph if using hot roofing asphalt.  Retain second paragraph if using cold-fluid applied adhesive.

E. Hot Roofing Asphalt:  Apply a solid mopping of hot roofing asphalt to substrate at temperature and rate required by manufacturer and install fabric-backed membrane roofing.  Do not apply to splice area of membrane roofing.

F. Fabric-Backed Membrane Adhesive:  Apply to substrate at rate required by manufacturer and install fabric-backed membrane roofing.

G. In addition to adhering, mechanically fasten membrane roofing securely at terminations, penetrations, and perimeters.

H. Apply membrane roofing with side laps shingled with slope of roof deck where possible.

Retain first paragraph below for adhesive-splicing membrane roofing seams.

I. Adhesive Seam Installation:  Clean both faces of splice areas, apply splicing cement, and firmly roll side and end laps of overlapping membrane roofing according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of membrane roofing terminations.

Retain subparagraph below if required.  Carlisle and Versico offer an in-seam sealant in adhesive-spliced seams.

1. Apply a continuous bead of in-seam sealant before closing splice if required by membrane roofing system manufacturer.

Retain first paragraph below for tape-splicing membrane roofing seams.

J. Tape Seam Installation:  Clean and prime both faces of splice areas, apply splice tape, and firmly roll side and end laps of overlapping membrane roofing according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of membrane roofing terminations.

K. Repair tears, voids, and lapped seams in roofing that does not comply with requirements.

L. Spread sealant or mastic bed over deck drain flange at roof drains and securely seal membrane roofing in place with clamping ring.

Retain first paragraph below if tie-ins to existing roofing are required.

M. Install membrane roofing and auxiliary materials to tie in to existing membrane roofing to maintain weather-tightness of transition [and to not void warranty for existing membrane roofing system].

Retain paragraph below if protecting EPDM from hydrocarbons, non-aromatic solvents, grease, and oil.

N. Adhere protection sheet over membrane roofing at locations indicated.

3.7 MECHANICALLY FASTENED MEMBRANE ROOFING INSTALLATION

A. Mechanically fasten membrane roofing over area to receive roofing according to roofing system manufacturer's written instructions.  Unroll membrane roofing and allow to relax before installing.

Retain subparagraph below for installations where steel roof deck is the structural substrate and wide membrane roofing sheets may be used.  Consider limiting membrane roofing sheet width after reviewing manufacturers? criteria used to establish fastener patterns.  See Evaluations for discussion.

1. For in-splice attachment, install membrane roofing with long dimension perpendicular to steel roof deck flutes.

Retain first paragraph below if applicable.

B. Start installation of membrane roofing in presence of roofing system manufacturer's technical personnel.

C. Accurately align membrane roofing and maintain uniform side and end laps of minimum dimensions required by manufacturer.  Stagger end laps.

D. Mechanically fasten or adhere membrane roofing securely at terminations, penetrations, and perimeter of roofing.

E. Apply membrane roofing with side laps shingled with slope of roof deck where possible.

Retain first paragraph below for adhesive-splicing membrane roofing seams.

F. Adhesive Seam Installation:  Clean both faces of splice areas, apply splicing cement, and firmly roll side and end laps of overlapping membrane roofing according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of membrane roofing terminations.

Retain subparagraph below if required.  Carlisle and Versico offer an in-seam sealant in adhesive-spliced seams.

1. Apply a continuous bead of in-seam sealant before closing splice if required by membrane roofing system manufacturer.

Retain first paragraph below for tape-splicing membrane roofing seams.

G. Tape Seam Installation:  Clean and prime both faces of splice areas, apply splice tape, and firmly roll side and end laps of overlapping membrane roofing according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of membrane roofing terminations.

H. Repair tears, voids, and lapped seams in roofing that does not comply with requirements.

I. Spread sealant or mastic bed over deck drain flange at roof drains and securely seal membrane roofing in place with clamping ring.

Retain one of first two paragraphs below.  Classification of attachment methods follows SPRI guidelines.  First paragraph conceals fasteners within seams of membrane roofing.  Second paragraph fastens membrane roofing independent of seam locations and requires a cover strip to conceal fasteners.  Revise to describe the seldom used "under membrane attachment" method or another method if applicable.

J. In-Splice Attachment:  Secure one edge of membrane roofing using fastening plates or metal battens centered within membrane splice and mechanically fasten membrane roofing to roof deck.  Field splice seam.

K. Through-Membrane Attachment:  Secure membrane roofing using fastening plates or metal battens and mechanically fasten membrane roofing to roof deck.  Cover battens and fasteners with a continuous cover strip.

Retain first paragraph below if tie-ins to existing roofing are required.

L. Install membrane roofing and auxiliary materials to tie in to existing roofing to maintain weather-tightness of transition [and to not void warranty for existing membrane roofing system].

Retain paragraph below if protecting EPDM from hydrocarbons, non-aromatic solvents, grease, and oil.

M. Adhere protection sheet over membrane roofing at locations indicated.

3.8 LOOSELY LAID AND BALLASTED MEMBRANE ROOFING INSTALLATION

A. Loosely lay membrane roofing over area to receive roofing according to roofing system manufacturer's written instructions.  Unroll membrane roofing and allow to relax before installing.

1. Comply with requirements in SPRI RP-4 for [System 1] [System 2] [System 3].

Retain first paragraph below if applicable.

B. Start installation of membrane roofing in presence of roofing system manufacturer's technical personnel.

C. Accurately align membrane roofing, without stretching, and maintain uniform side and end laps of minimum dimensions required by manufacturer.  Stagger end laps.

Retain one of first two paragraphs below.  Retain first paragraph for perimeter attachment to comply with requirements in SPRI RP-4 for Systems 1 and 2.  Retain second paragraph to comply with requirements in SPRI RP-4 for System 3; retain adhered option and delete mechanically fastened option when protecting the membrane roofing with pavers.

D. Mechanically fasten or adhere perimeter of membrane roofing according to requirements in SPRI RP-4.

E. [Mechanically fasten] [or] [adhere] membrane roofing at corners, perimeters, and transitions according to requirements in SPRI RP-4.

Retain first subparagraph below if no protective covering of membrane roofing is required at corners and perimeters.  Retain second subparagraph if using heavyweight roof pavers for protection at these locations.

1. At corners and perimeters, omit aggregate ballast leaving membrane roofing exposed.

2. At corners and perimeters, adhere a second layer of membrane roofing

F. Apply membrane roofing with side laps shingled with slope of deck where possible.

Retain first paragraph below for adhesive-splicing membrane roofing seams.

G. Adhesive Seam Installation:  Clean both faces of splice areas, apply splicing cement, and firmly roll side and end laps of overlapping membrane roofing according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of membrane roofing terminations.

Retain subparagraph below if required.  Carlisle and Versico offer an in-seam sealant in adhesive-spliced seams.

1. Apply a continuous bead of in-seam sealant before closing splice if required by membrane roofing system manufacturer.

Retain first paragraph below for tape-splicing membrane roofing seams.

H. Tape Seam Installation:  Clean and prime both faces of splice areas, apply splice tape, and firmly roll side and end laps of overlapping membrane roofing according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of membrane roofing terminations.

I. Leave seams uncovered until inspected by [membrane roofing system manufacturer] [testing agency].

J. Repair tears, voids, and lapped seams in roofing that does not comply with requirements.

K. Spread sealant or mastic bed over deck drain flange at roof drains and securely seal membrane roofing in place with clamping ring.

Retain first paragraph below if tie-ins to existing roofing are required.

L. Install membrane roofing and auxiliary materials to tie in to existing roofing to maintain weather-tightness of transition [and to not void warranty for existing membrane roofing system].

Retain first paragraph below if protecting EPDM from hydrocarbons, non-aromatic solvents, grease, and oil.

M. Adhere protection sheet over membrane roofing at locations indicated.

Retain first paragraph below under pavers or if using crushed stone or a more angular ballast.  Consult roofing manufacturers for recommendations because one or more layers of protection mat may be required.  Revise paragraph to suit Project.

N. Install protection mat over membrane roofing, overlapping a minimum of 6 inches (150 mm).  Install an additional protection mat layer at projections, pipes, vents, and drains, overlapping a minimum of 12 inches (300 mm).

Retain first paragraph below if using aggregate ballast.

O. Aggregate Ballast:  Apply uniformly over membrane roofing at the rate required by membrane roofing system manufacturer, but not less than the following, spreading with care to minimize possibility of damage to membrane roofing system.  Lay ballast as membrane roofing is installed, leaving membrane roofing ballasted at the end of the workday.

First three subparagraphs below are based on SPRI RP-4.  First corresponds to System 1, second to System 2, and third to System 2 in wind-borne debris areas.  More ballast may be required to fully conceal membrane.  Indicate dimensions of corners, perimeter, and field of roof on Drawings.

1. Ballast Weight:  Size 4 aggregate, 10 lb/sq. ft. (50 kg/sq. m).

2. Ballast Weight:  Size 2 aggregate, 13 lb/sq. ft. (65 kg/sq. m), at corners and perimeter; Size 4 aggregate, 10 lb/sq. ft. (50 kg/sq. m), elsewhere.

3. Ballast Weight:  Size 2 aggregate, 13 lb/sq. ft. (65 kg/sq. m).

Delete three subparagraphs above and retain subparagraph below if FM Approvals recommendations apply.  Insert weight of aggregate for each part of roof, based on recommendations in FM Global Loss Prevention Data Sheet 1-29.  Indicate dimensions of corners, perimeter, and field of roof on Drawings, based on FM Approvals requirements.

4. Ballast Weight:  Size 3 aggregate, <Insert weight>, at corners, <Insert weight> at perimeter, and <Insert weight>, elsewhere.

Retain one of three paragraphs below if roof pavers are required.

P. Roof-Paver Ballast:  Install [lightweight] [heavyweight] roof-paver ballast according to manufacturer's written instructions.

Q. Roof-Paver Ballast:  Install rubber roof-paver ballast according to manufacturer's written instructions, in locations indicated.

1. Install perimeter paver edge securement.

R. Roof-Paver and Aggregate Ballast:  Install heavyweight roof pavers according to manufacturer's written instructions on roof corners and perimeter.

Retain one of two subparagraphs below if combining roof-paver and aggregate ballast based on SPRI RP-4.  First is for System 2; second is for System 2 in wind-borne debris areas and for System 3.

1. Install Size 4 aggregate ballast elsewhere on roofing at a minimum rate of 10 lb/sq. ft. (50 kg/sq. m).

2. Install Size 2 aggregate ballast elsewhere on roofing at a minimum rate of 13 lb/sq. ft. (65 kg/sq. m).

3.9 BASE FLASHING INSTALLATION

A. Install sheet flashings and preformed flashing accessories and adhere to substrates according to membrane roofing system manufacturer's written instructions.

B. Apply bonding adhesive to substrate and underside of sheet flashing at required rate and allow to partially dry.  Do not apply to seam area of flashing.

C. Flash penetrations and field-formed inside and outside corners with cured or uncured sheet flashing.

D. Clean splice areas, apply splicing cement, and firmly roll side and end laps of overlapping sheets to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of sheet flashing terminations.

E. Terminate and seal top of sheet flashings[ and mechanically anchor to substrate through termination bars].

3.10 COATING INSTALLATION

Retain this article if coatings are required.

A. Apply coatings to [membrane roofing] [base flashings] according to manufacturer's written recommendations, by spray, roller, or other suitable application method.

3.11 WALKWAY INSTALLATION

Retain this article if walkways are required.

A. Flexible Walkways:  Install walkway products in locations indicated.  Adhere walkway products to substrate with compatible adhesive according to roofing system manufacturer's written instructions.

B. Roof-Paver Walkways:  Install walkway roof pavers according to manufacturer's written instructions in locations indicated, to form walkways.  Leave 3 inches (75 mm) of space between adjacent roof pavers.

3.12 FIELD QUALITY CONTROL

Retain first paragraph below to identify who shall perform inspections.  If retaining second option in first paragraph, retain "Field quality-control reports" Paragraph in "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified independent testing agency to perform inspections.

A roof inspection is required by manufacturer before warranty issue.  Revise scope of inspection and source of report to a qualified roofing consultant or an independent testing and inspecting agency if preferred.

B. Final Roof Inspection:  Arrange for roofing system manufacturer's technical personnel to inspect roofing installation on completion.

C. Repair or remove and replace components of membrane roofing system where inspections indicate that they do not comply with specified requirements.

D. Additional inspections, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

3.13 PROTECTING AND CLEANING

A. Protect membrane roofing system from damage and wear during remainder of construction period.  When remaining construction will not affect or endanger roofing, inspect roofing for deterioration and damage, describing its nature and extent in a written report, with copies to Architect and Owner.

B. Correct deficiencies in or remove membrane roofing system that does not comply with requirements, repair substrates and repair or reinstall membrane roofing system to a condition free of damage and deterioration at time of Substantial Completion and according to warranty requirements.

Retain paragraph below if coating membrane or if using fluid-applied bonding materials.

C. Clean overspray and spillage from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

3.14 ROOFING INSTALLER'S WARRANTY

Retain or delete this article or include another roofing Installer's warranty form if required.  Coordinate with Part 1 "Warranty" Article.  Another sample layout of this warranty is included in the Evaluations in Division 07 Section "Elastomeric Membrane Roofing."

A. WHEREAS <Insert name> of <Insert address>, herein called the "Roofing Installer," has performed roofing and associated work ("work") on the following project:

1. Owner:  <Insert name of Owner.>

2. Address:  <Insert address.>

3. Building Name/Type:  <Insert information.>

4. Address:  <Insert address.>

5. Area of Work:  <Insert information.>

6. Acceptance Date:  <Insert date.>

7. Warranty Period:  <Insert time.>

8. Expiration Date:  <Insert date.>

B. AND WHEREAS Roofing Installer has contracted (either directly with Owner or indirectly as a subcontractor) to warrant said work against leaks and faulty or defective materials and workmanship for designated Warranty Period,

C. NOW THEREFORE Roofing Installer hereby warrants, subject to terms and conditions herein set forth, that during Warranty Period he will, at his own cost and expense, make or cause to be made such repairs to or replacements of said work as are necessary to correct faulty and defective work and as are necessary to maintain said work in a watertight condition.

D. This Warranty is made subject to the following terms and conditions:

1. Specifically excluded from this Warranty are damages to work and other parts of the building, and to building contents, caused by:

a. Lightning;

Insert required wind speed in first paragraph below.

b. Peak gust wind speed exceeding <Insert wind speed> mph (m/sec);

c. Fire;

d. Failure of roofing system substrate, including cracking, settlement, excessive deflection, deterioration, and decomposition;

e. Faulty construction of parapet walls, copings, chimneys, skylights, vents, equipment supports, and other edge conditions and penetrations of the work;

f. Vapor condensation on bottom of roofing; and

g. Activity on roofing by others, including construction contractors, maintenance personnel, other persons, and animals, whether authorized or unauthorized by Owner.

2. When work has been damaged by any of foregoing causes, Warranty shall be null and void until such damage has been repaired by Roofing Installer and until cost and expense thereof have been paid by Owner or by another responsible party so designated.

3. Roofing Installer is responsible for damage to work covered by this Warranty but is not liable for consequential damages to building or building contents resulting from leaks or faults or defects of work.

4. During Warranty Period, if Owner allows alteration of work by anyone other than Roofing Installer, including cutting, patching, and maintenance in connection with penetrations, attachment of other work, and positioning of anything on roof, this Warranty shall become null and void on date of said alterations, but only to the extent said alterations affect work covered by this Warranty.  If Owner engages Roofing Installer to perform said alterations, Warranty shall not become null and void unless Roofing Installer, before starting said work, shall have notified Owner in writing, showing reasonable cause for claim, that said alterations would likely damage or deteriorate work, thereby reasonably justifying a limitation or termination of this Warranty.

5. During Warranty Period, if original use of roof is changed and it becomes used for, but was not originally specified for, a promenade, work deck, spray-cooled surface, flooded basin, or other use or service more severe than originally specified, this Warranty shall become null and void on date of said change, but only to the extent said change affects work covered by this Warranty.

6. Owner shall promptly notify Roofing Installer of observed, known, or suspected leaks, defects, or deterioration and shall afford reasonable opportunity for Roofing Installer to inspect work and to examine evidence of such leaks, defects, or deterioration.

7. This Warranty is recognized to be the only warranty of Roofing Installer on said work and shall not operate to restrict or cut off Owner from other remedies and resources lawfully available to Owner in cases of roofing failure.  Specifically, this Warranty shall not operate to relieve Roofing Installer of responsibility for performance of original work according to requirements of the Contract Documents, regardless of whether Contract was a contract directly with Owner or a subcontract with Owner's General Contractor.

E. IN WITNESS THEREOF, this instrument has been duly executed this <Insert day> day of <Insert month>, <Insert year>.

1. Authorized Signature:  <Insert signature>.

2. Name:  <Insert name>.

3. Title:  <Insert title>.

END OF SECTION 075323

	ETHYLENE-PROPYLENE-DIENE-MONOMER (EPDM) ROOFING
	075323 - 1



