Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 083613 - SECTIONAL DOORS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term as necessary to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes [manually] [electrically] operated sectional doors[ with integral pass doors].

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 05 Section "Metal Fabrications" for miscellaneous steel supports.

2. Division 09 Section(s) ["Exterior Painting"] [and] ["Interior Painting"] for finish painting of factory-primed doors.

3. Division 11 Section "Parking Control Equipment" for parking control equipment interlocked to sectional doors.

4. Division 26 Sections for electrical service and connections for powered operators and accessories.

1.3 PERFORMANCE REQUIREMENTS

Revise first paragraph below if installation of temporary reinforcement ("active" preparation) is acceptable for high-wind events.  See "Wind Loads" Article in the Evaluations.

A. General Performance:  Sectional doors shall meet performance requirements specified without failure due to defective manufacture, fabrication, installation, or other defects in construction and without requiring temporary installation of reinforcing components.

Retain first paragraph below if Contractor is required to assume responsibility for design.

B. Delegated Design:  Design sectional doors, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Retain first paragraph below for exterior doors.

C. Structural Performance:  Exterior sectional doors shall withstand the effects of gravity loads, and the following loads and stresses within limits and under conditions indicated according to [ASCE/SEI 7] <Insert requirement>.

Retain subparagraphs below for design loads and load combinations.  Values in subparagraphs are examples only.

Indicate wind loads, as determined by Project's structural engineer, on Drawings or in first subparagraph below.  DASMA 102 no longer includes a minimum wind-pressure load value.  Verify requirements of authorities having jurisdiction and consult manufacturer for specific wind-load applications.  See Evaluations.

1. Wind Loads:  [As indicated on Drawings] [Uniform pressure (velocity pressure) of 20 lbf/sq. ft. (960 Pa), acting inward and outward] <Insert loads>.

a. Basic Wind Speed:  [85 mph (38 m/s)] [90 mph (40 m/s)] [100 mph (44 m/s)] [110 mph (49 m/s)] <Insert value>.

b. Importance Factor:  <Insert factor>.

c. Exposure Category:  [A] [B] [C] [D].

Revise subparagraph below to suit Project.  Deflection limit in horizontal position (open) is a DASMA 102 requirement; consult manufacturer for unusual deflection requirements.

2. Deflection Limits:  Design sectional doors to withstand design wind loads without evidencing permanent deformation or disengagement of door components.  Deflection of door in horizontal position (open) shall not exceed 1/120 of the door width.

Retain first paragraph below if required.  According to DASMA 105, air-infiltration testing is based on ASTM E 283, but is performed at wind velocities of 15 and 25 mph (24.1 and 40.2 km/h) across the specimen, not performed at specified pressure differences as required by ASTM E 283.  Manufacturers list air infiltration at these wind speeds for some doors.  A 25-mph (40.2-km/h) wind velocity is equivalent to a pressure difference of 1.57 lbf/sq. ft. (75 Pa).  Verify availability of tested assemblies with manufacturer.

D. Air Infiltration:  Maximum rate not more than indicated when tested according to [ASTM E 283] [or] [DASMA 105].

1. Air Infiltration:  Maximum rate of [0.08 cfm/sq. ft. (0.406 L/s per sq. m)] <Insert rate> at 15 and 25 mph (24.1 and 40.2 km/h).

Retain first paragraph below if required for Project.  The IBC establishes criteria for buildings in hurricane-prone locations according to ASTM E 1886 and ASTM E 1996, and authorities having jurisdiction may require testing for unglazed as well as glazed door assemblies.  DASMA 115 tests the entire door assembly regardless of glazing.  Verify requirements of authorities having jurisdiction.  See Evaluations.

E. Windborne-Debris-Impact-Resistance Performance:  Provide[ glazed] sectional doors that pass large-missile-impact and cyclic-pressure tests when tested according to [ASTM E 1886 and ASTM E 1996] [DASMA 115] <Insert requirement>.

Retain first paragraph below with "Seismic Qualification Certificates" Paragraph in "Submittals" Article for projects requiring seismic design.  Model building codes and ASCE/SEI 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

F. Seismic Performance:  Sectional doors shall withstand the effects of earthquake motions determined according to [ASCE/SEI 7] <Insert requirement>.

Retain first subparagraph below to define the term "withstand" as it applies to this Project.  Definition varies with type of building and occupancy and is critical to valid certification.

1. The term "withstand" means "the unit will remain in place without separation of any parts from the device when subjected to the seismic forces specified."

Retain subparagraph below for projects requiring seismic design.  The Component Importance Factor is 1.5 for life-safety components required to function after an earthquake.  For other components, the Component Importance Factor is 1.0 unless the structure is in Seismic Use Group III and the component is necessary for continued operation of the facility or if failure of the component could impair continued operation of the facility, in which case it is 1.5.

2. Seismic Component Importance Factor:  [1.5] [1.0].

G. Operation Cycles:  Provide sectional door components and operators capable of operating for not less than number of cycles indicated for each door.  One operation cycle is complete when a door is opened from the closed position to the fully open position and returned to the closed position.

1.4 SUBMITTALS

First four paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type and size of sectional door and accessory.  Include the following:

1. Construction details, material descriptions, dimensions of individual components, profile door sections, and finishes.

2. Rated capacities, operating characteristics, electrical characteristics, and furnished accessories.

B. LEED Submittal:

Retain first subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if wood doors are used and are required to be certified for LEED-NC or LEED-CI Credit MR 7.  Retain option below and "Wood Door Manufacturer Qualifications" Paragraph in "Quality Assurance" Article if chain-of-custody certification is required.

1. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that flush wood doors comply with forest certification requirements.[  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.] Include statement indicating costs for each certified wood product.

C. Shop Drawings:  For each installation and for special components not dimensioned or detailed in manufacturer's product data.  Include plans, elevations, sections, details, and attachments to other work.

1. Detail equipment assemblies and indicate dimensions, weights, loads, required clearances, method of field assembly, components, and location and size of each field connection.

Retain subparagraph below if equipment includes wiring.

2. Wiring Diagrams:  For power, signal, and control wiring.

D. Samples for Initial Selection:  Manufacturer's finish charts showing full range of colors and textures available for units with factory-applied finishes.

1. Include similar Samples of accessories involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below:

Revise subparagraphs below to suit Project; delete items not required.

1. Flat Door Sections:  6 inches (150 mm) square.

2. Frame for Paneled Door Sections:  6 inches (150 mm) long of each width of stile and rail required.

3. Panel for Raised-Panel Door Sections:  12 inches (300 mm) square at panel corner, but not smaller than required to show raised-panel profile.

First paragraph below is defined in Division 01 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

F. Delegated-Design Submittal:  For sectional doors indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1. Detail fabrication and assembly of seismic restraints.

Retain subparagraph below unless design calculations have already been made and do not need to be confirmed.  Walls and jambs must be designed to support loads imposed by door.

2. Summary of forces and loads on walls and jambs.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For qualified Installer.

Retain first paragraph below if required by seismic criteria applicable to Project.  Coordinate with Sections specifying seismic controls.  See ASCE/SEI 7 for certification requirements for equipment and components.

H. Seismic Qualification Certificates:  For sectional doors, accessories, and components, from manufacturer.

I. Maintenance Data:  For sectional doors to include in maintenance manuals.

J. Warranties:  Sample of special warranties.

1.5 QUALITY ASSURANCE

Retain first paragraph below if required for LEED-NC or LEED-CI Credit MR 7.  Before retaining, verify that manufacturers selected comply with requirement.  Note that USGBC will allow credit for the full value of the door as certified wood if door manufacturer is listed for chain-of-custody certification and at least 70 percent of wood materials in the door are from certified forests; otherwise, it only allows credit for the value of certified wood materials used in making the door.

A. Wood Door Manufacturer Qualifications:  A qualified manufacturer that is certified for chain of custody by an FSC-accredited certification body.

B. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for both installation and maintenance of units required for this Project.

C. Source Limitations:  Obtain sectional doors from single source from single manufacturer.

Retain subparagraph below or revise to suit Project.

1. Obtain operators and controls from sectional door manufacturer.

Retain first paragraph below if wood products are required to be certified for LEED-NC or LEED-CI Credit MR 7.  Before retaining, verify availability of required door types made from certified wood products.  An alternative method of complying with Credit MR 7 requirement is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor the option and responsibility for determining how Credit MR 7 requirement will be met.

D. Forest Certification:  Provide wood doors made with [not less than 70 percent of wood products] [all wood products] obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

Retain first paragraph below for motorized operator.

E. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

F. Standard for Sectional Doors:  Fabricate sectional doors to comply with DASMA 102 unless otherwise indicated.

G. Regulatory Requirements:  Comply with applicable provisions in [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities"] [and] [ICC/ANSI A117.1].

1.6 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of sectional doors that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including, but not limited to, excessive deflection.

b. Faulty operation of hardware.

c. Deterioration of metals, metal finishes, and other materials beyond normal weathering and use; rust through.

d. Delamination of exterior or interior facing materials.

Verify available warranties and warranty periods with manufacturers listed in Part 2 article.

2. Warranty Period:  [Two] [Five] <Insert number> years from date of Substantial Completion.

Retain paragraph below for factory-coated doors.  Delete if doors are field finished.

B. Special Finish Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components that show evidence of deterioration of factory-applied finishes within specified warranty period.

Verify available warranties and warranty periods with manufacturers listed in Part 2 article; coordinate with finishes retained.

1. Warranty Period:  [10] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 STEEL DOOR SECTIONS

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

A. Exterior Section Faces and Frames:  Fabricate from zinc-coated (galvanized), cold-rolled, commercial steel (CS) sheet, complying with ASTM A 653/A 653M, with indicated zinc coating and thickness.

Section heights vary among manufacturers and within each door to accommodate door heights in 3-inch (76 mm) or other increments.

1. Fabricate section faces from single sheets to provide sections not more than 24 inches (610 mm) high and of indicated thickness.  Roll horizontal meeting edges to a continuous, interlocking, keyed, rabbeted, shiplap, or tongue-in-groove weathertight seal, with a reinforcing flange return.

Retain subparagraph below for insulated doors.

2. For insulated doors, provide sections with continuous thermal-break construction, separating the exterior and interior faces of door.

B. Section Ends and Intermediate Stiles:  Enclose open ends of sections with channel end stiles formed from galvanized-steel sheet not less than 0.064-inch- (1.63-mm-) nominal coated thickness and welded to door section.  Provide intermediate stiles formed from not less than 0.064-inch- (1.63-mm-) thick galvanized-steel sheet, cut to door section profile, and welded in place.  Space stiles not more than 48 inches (1219 mm) apart.

Retain option in first paragraph below if requiring an astragal.

C. Reinforce bottom section with a continuous channel or angle conforming to bottom-section profile[ and allowing installation of astragal].

Retain option in first paragraph below for doors with vision lites; consult manufacturer.

D. Reinforce sections with continuous horizontal and diagonal reinforcement, as required to stiffen door and for wind loading.  Provide galvanized-steel bars, struts, trusses, or strip steel, formed to depth and bolted or welded in place.[  Ensure that reinforcement does not obstruct vision lites.]

E. Provide reinforcement for hardware attachment.

Retain one or both of first two paragraphs below if required.  Coordinate with selected manufacturer's options and with applicable type(s) of insulation and fabrication.

First paragraph below is for insulation either applied to door exterior face sheet and then covered by an interior facing material, or "backer panel," or bonded to interior facing material and secured to exterior face sheet with adhesive.

F. Board Thermal Insulation:  Insulate interior of steel sections with door manufacturer's standard[ CFC-free] polystyrene or polyurethane board insulation, with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, according to ASTM E 84; or with glass-fiber-board insulation.  Secure insulation to exterior face sheet.  Enclose insulation completely within steel sections that incorporate the following interior facing material, with no exposed insulation:

Retain one of two subparagraphs below or revise to suit Project.  Retain first subparagraph if insulated sections are preformed metal panels with laminated insulation.

1. Interior Facing Material:  Zinc-coated (galvanized), cold-rolled, commercial steel (CS) sheet, complying with ASTM A 653/A 653M, with indicated thickness.

2. Interior Facing Material:  Manufacturer's standard prefinished hardboard panel, 1/8 inch (3 mm) thick and complying with ANSI A135.5.

First paragraph below is for foamed-in-place insulation.  Retain option, available from some manufacturers, if required.

G. Foamed-in-Place Thermal Insulation:  Insulate interior of steel sections with door manufacturer's standard[ CFC-free] polyurethane insulation, foamed in place to completely fill interior of section and pressure bonded to face sheets to prevent delamination under wind load, and with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, according to ASTM E 84.  Enclose insulation completely within steel sections that incorporate the following interior facing material, with no exposed insulation:

Retain one of two subparagraphs below or revise to suit Project.  Retain first subparagraph if insulated sections are preformed metal panels with foamed-in-place insulation.

1. Interior Facing Material:  Zinc-coated (galvanized), cold-rolled, commercial steel (CS) sheet, complying with ASTM A 653/A 653M, with indicated thickness.

2. Interior Facing Material:  Manufacturer's standard prefinished hardboard panel, 1/8 inch (3 mm) thick and complying with ANSI A135.5.

H. Fabricate sections so finished door assembly is rigid and aligned, with tight hairline joints and free of warp, twist, and deformation.

2.2 WOOD DOOR SECTIONS

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

Retain first paragraph below if paneled wood door sections are required.  Verify availability of door materials and features with wood door manufacturers listed in Sectional Door Table in the Evaluations.  Insert dimensions of stiles and rails or indicate on Drawings if critical for door appearance.

A. Paneled Sections:  Fabricate stiles and rails of clear, vertical-grain, straight, kiln-dried Douglas fir, West Coast hemlock, or Sitka spruce, not less than 1-3/4 inches (44 mm) thick.  Form meeting rails to provide rabbeted, weathertight-seal joint.

Revise first subparagraph below for other panel inserts such as overlaid plywood.

1. Panel Inserts:  Tempered hardboard, 1/4 inch (6 mm) thick, smooth on two sides, complying with ANSI A135.4.

Retain subparagraph below if full-vision section is of wood-framed construction.  Glazing type is example only; revise to suit Project.

2. Glazed Panel Inserts:  6-mm-thick, clear float glass, complying with ASTM C 1036, Type I, Class 1, Quality Q3, with removable glazing stops of same wood as stiles and rails.

Retain first paragraph below if flush-type wood door sections are required.

B. Flush Sections:  Construct flush wood door sections with top, bottom, and end closures of clear, vertical-grain, straight, kiln-dried Douglas fir, West Coast hemlock, or Sitka spruce.  Provide wood blocking to receive hardware, end stiles, and frames for glazing, glued and doweled in place.  Form meeting rails to provide rabbeted weathertight-seal joint.

Delete option in first subparagraph below if insulating all cores.

1. Core:  Manufacturer's standard polystyrene or polyurethane board insulation[ or honeycomb core] complying with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, according to ASTM E 84.  Bond to facing.

1/4-inch- (6-mm-) thick hardboard or plywood is available in lieu of facing in subparagraph below.

2. Facing:  1/8-inch- (3-mm-) thick, tempered hardboard complying with ANSI A135.4 and smooth on one side.

Retain five paragraphs below for all-wood doors.

C. Fabricate sections of mortise-and-tenon construction with waterproof glue and steel dowels, or of rabbeted construction with waterproof glue and steel dowels and pins.

Retain option in first paragraph below for doors with vision lites; consult manufacturer.

D. Reinforce sections with continuous horizontal and diagonal galvanized-steel members as required to stiffen door and for wind loading.[  Ensure that reinforcement does not obstruct vision lites.]

E. Treat wood door members after machining with water-repellent preservative formulation according to WDMA I.S. 4.

F. Fabricate sections so finished door assembly is rigid and aligned, with tight hairline joints and free of warp, twist, deformation, and delamination.

Revise paragraph below if another finish is required.

G. Factory prime door sections with one coat of exterior primer compatible with field-applied finish, applied at a minimum dry film thickness of 1 mil (0.025 mm).

2.3 ALUMINUM DOOR SECTIONS

Retain this article for all-aluminum doors and for steel doors with full-vision sections.

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

Some manufacturers offer insulated aluminum sections.  Revise first paragraph below to suit Project.

A. Sections:  Construct door sections with stiles and rails formed from extruded-aluminum shapes, complying with ASTM B 221 (ASTM B 221M), alloy and temper recommended by manufacturer for type of use and finish indicated, with wall thickness not less than 0.065 inch (1.7 mm) for door section 1-3/4 inches (44 mm) deep.  Fabricate sections with stile and rail dimensions and profiles shown on Drawings.  Join stiles and rails by welding or with concealed, 1/4-inch- (6-mm-) minimum diameter, aluminum or nonmagnetic stainless-steel through bolts, full height of door section.  Form meeting rails to provide a weathertight-seal joint.

Retain option in first subparagraph below for doors with vision lites; consult manufacturer.

1. Reinforce sections with continuous horizontal and diagonal reinforcement, as required to stiffen door and for wind loading.[  Ensure that reinforcement does not obstruct vision lites.]

2. Provide reinforcement for hardware attachment.

Retain first paragraph below if one or more panels within stiles and rails are not glazed.  Some manufacturers require aluminum sheet or other nonglazed panels across bottom section of door.  If required, revise paragraph to include insulated panels or foam-filled extrusions offered by some manufacturers.

B. Solid Panels:  Fabricate of aluminum sheet, complying with ASTM B 209 (ASTM B 209M), alloy and temper standard with manufacturer for type of use and finish indicated, not less than 0.040 inch (1.02 mm) thick, set in continuous vinyl channel retained with rigid, snap-in, extruded-vinyl moldings or with rubber or neoprene glazing gasket with aluminum stop.

Full-vision sections in paragraph below are manufacturers' standard, glazed, aluminum-framed sections.  Glazing below is an example only; revise to suit Project and verify availability with manufacturers.

C. Full-Vision Sections:  Manufacturer's standard, tubular, aluminum-framed section fully glazed with 6-mm-thick, clear acrylic glazing set in vinyl, rubber, or neoprene glazing channel and with removable extruded-vinyl or aluminum stops.

2.4 TRANSLUCENT DOOR SECTIONS

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

Revise first paragraph below to suit Project.

A. Construct door sections of not less than 0.063-inch- (1.6-mm-) thick, extruded-aluminum stiles and rails complying with ASTM B 221 (ASTM B 221M) and with alloy and temper recommended by manufacturer for type of use and finish indicated, to provide door sections at least 1-3/4 inches (44 mm) deep.  Fabricate units with overlapped or interlocked weathertight-seal joints at meeting rails.  Reinforce or truss each section as required for strength and rigidity.  Provide reinforcement for hardware attachment.

B. Provide translucent, ribbed, glass-fiber-reinforced plastic panels, secured and sealed watertight to framing, and reinforced to meet performance requirements.

2.5 TRACKS, SUPPORTS, AND ACCESSORIES

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

Retain required items in paragraphs below and insert other specialty items to suit Project.

A. Tracks:  Manufacturer's standard, galvanized-steel track system of configuration indicated, sized for door size and weight, designed for lift type indicated and clearances shown on Drawings, and complying with ASTM A 653/A 653M for minimum G60 (Z180) zinc coating.  Provide complete track assembly including brackets, bracing, and reinforcement for rigid support of ball-bearing roller guides for required door type and size.  Slot vertical sections of track spaced 2 inches (51 mm) apart for door-drop safety device.  Slope tracks at proper angle from vertical or design tracks to ensure tight closure at jambs when door unit is closed.

B. Track Reinforcement and Supports:  Galvanized-steel track reinforcement and support members, complying with ASTM A 36/A 36M and ASTM A 123/A 123M.  Secure, reinforce, and support tracks as required for door size and weight to provide strength and rigidity without sag, sway, and vibration during opening and closing of doors.

1. Vertical Track Assembly:  Track with [continuous reinforcing angle attached to track and attached to wall with jamb brackets] [wall jamb brackets attached to track and attached to wall].

2. Horizontal Track Assembly:  Track with continuous reinforcing angle attached to track and supported at points from curve in track to end of track by laterally braced attachments to overhead structural members.

Retain first paragraph below for multiple doors in one opening without structural jambs to which track can be secured.

C. Removable Center Posts:  Manufacturer's standard [carry-away] [roll-away] [swing-up] type for multiple doors in one opening.

Revise first paragraph below if only a bottom weatherseal (astragal) is required.

D. Weatherseals:  Replaceable, adjustable, continuous, compressible weather-stripping gaskets of flexible vinyl, rubber, or neoprene fitted to bottom and top of sectional door unless otherwise indicated.

Retain first paragraph below for windows other than full-vision sections.

E. Windows:  Manufacturer's standard window units of type and size indicated and in arrangement shown.  Set glazing in vinyl, rubber, or neoprene glazing channel for metal-framed doors and elastic glazing compound for wood doors, as required.  Provide removable stops of same material as door-section frames.

Retain paragraph below for pass doors.  Generally, pass doors may not be used as required fire exits, and their sills are not ADA-ABA compliant.

F. Pass Doors:  Manufacturer's standard pass doors where indicated, complete with glazing, operating hardware, and mortise lock.  Construct pass doors of same materials, design, and finish as sectional door assembly.

Retain one of first two options in first subparagraph below.  If retaining first option, delete third option.

1. Lock Cylinders:  Provide cylinders [specified in Division 08 Section "Door Hardware"] [standard with manufacturer] [and keyed to building keying system].

Retain subparagraph below if cylinders are provided by door manufacturer.

2. Keys:  [Two] [Three] <Insert number> for each cylinder.

2.6 HARDWARE

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

A. General:  Provide heavy-duty, corrosion-resistant hardware, with hot-dip galvanized, stainless-steel, or other corrosion-resistant fasteners, to suit door type.

B. Hinges:  Heavy-duty, galvanized-steel hinges of not less than 0.079-inch- (2.01-mm-) nominal coated thickness at each end stile and at each intermediate stile, according to manufacturer's written recommendations for door size.  Attach hinges to door sections through stiles and rails with bolts and lock nuts or lock washers and nuts.  Use rivets or self-tapping fasteners where access to nuts is not possible.  Provide double-end hinges where required, for doors over 16 feet (4.88 m) wide unless otherwise recommended by door manufacturer.

C. Rollers:  Heavy-duty rollers with steel ball-bearings in case-hardened steel races, mounted with varying projections to suit slope of track.  Extend roller shaft through both hinges where double hinges are required.  Provide 3-inch- (76-mm-) diameter roller tires for 3-inch- (76-mm-) wide track and 2-inch- (51-mm-) diameter roller tires for 2-inch- (51-mm-) wide track.

Retain paragraph below for push-up or emergency-operated doors.

D. Push/Pull Handles:  For push-up or emergency-operated doors, provide galvanized-steel lifting handles on each side of door.

2.7 LOCKING DEVICES

Retain one or both of first two paragraphs below for required locking device(s); revise to suit Project.  First paragraph is standard for push-up doors; revise if no padlock is required or if manufacturer's standard is a bolt on one side.  Second paragraph describes a locking device with choice of locations and operation as retained in "Door Assembly" Article.

A. Slide Bolt:  Fabricate with side-locking bolts to engage through slots in tracks for locking by padlock, located on single-jamb side, operable from inside only.

B. Locking Device Assembly:  Fabricate with cylinder lock, spring-loaded deadbolt, operating handle, cam plate, and adjustable locking bars to engage through slots in tracks.

Retain one of first two options in first subparagraph below.

1. Lock Cylinders:  Provide cylinders [specified in Division 08 Section "Door Hardware"] [standard with manufacturer] [and keyed to building keying system].

Retain subparagraph below if cylinders are provided by door manufacturer.

2. Keys:  [Two] [Three] <Insert number> for each cylinder.

Retain first paragraph below for chain-hoist-operated doors or for emergency chain-hoist operation.

C. Chain Lock Keeper:  Suitable for padlock.

Retain paragraph below for power-operated doors.

D. Safety Interlock Switch:  Equip power-operated doors with safety interlock switch to disengage power supply when door is locked.

2.8 COUNTERBALANCE MECHANISM

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

Retain one or both of first two paragraphs below for type(s) of counterbalance(s) required.  Mechanism in first paragraph is most common type.  Mechanism in second paragraph is often used for vertical lift doors with extremely high usage.  Solid-steel torsion shaft is stronger than tube.

A. Torsion Spring:  Counterbalance mechanism consisting of adjustable-tension torsion springs fabricated from steel-spring wire complying with ASTM A 229/A 229M, mounted on torsion shaft made of steel tube or solid steel.  Provide springs designed for number of operation cycles indicated.

B. Weight Counterbalance:  Counterbalance mechanism consisting of filled pipe weights that move vertically in a galvanized-steel weight pipe.  Connect pipe weights with cable to weight-cable drums mounted on torsion shaft made of steel tube or solid steel.

Retain first paragraph below for all doors.

C. Cable Drums and Shaft for Doors:  Cast-aluminum or gray-iron casting cable drums mounted on torsion shaft and grooved to receive door-lifting cables as door is raised.  Mount counterbalance mechanism with manufacturer's standard ball-bearing brackets at each end of torsion shaft.  Provide one additional midpoint bracket for shafts up to 16 feet (4.88 m) long and two additional brackets at one-third points to support shafts more than 16 feet (4.88 m) long unless closer spacing is recommended by door manufacturer.

D. Cables:  Galvanized-steel lifting cables with cable safety factor of at least [5] [7] to 1.

E. Cable Safety Device:  Include a spring-loaded steel or spring-loaded bronze cam mounted to bottom door roller assembly on each side and designed to automatically stop door if either lifting cable breaks.

F. Bracket:  Provide anchor support bracket as required to connect stationary end of spring to the wall and to level the shaft and prevent sag.

G. Provide a spring bumper at each horizontal track to cushion door at end of opening operation.

Insert other counterbalancing devices, such as springs for small doors, to suit Project.

2.9 MANUAL DOOR OPERATORS

Retain this article for manual door operators, not including electric door operators' emergency manual operation.

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

Retain one or more of three paragraphs below for type(s) of operator(s) required.  See Evaluations and manufacturer's data for particular application details.

A. Equip door with manufacturer's recommended manual door operator unless another type of door operator is indicated.

B. Push-up Operation:  Lift handles and pull rope for raising and lowering doors, with counterbalance mechanism designed so that required lift or pull for door operation does not exceed [25 lbf (111 N)] <Insert value>.

C. Chain-Hoist Operator:  Consisting of endless steel hand chain, chain-pocket wheel and guard, and gear-reduction unit with a maximum [25-lbf (111-N)] [35-lbf (155-N)] <Insert value> force for door operation.  Provide alloy-steel hand chain with chain holder secured to operator guide.

2.10 ELECTRIC DOOR OPERATORS

Retain this article for electric door operators, including emergency manual operation.  Coordinate with electrical engineer for interface of electric door operators with electrical systems.

Retain requirements in this article to suit Project.  If retaining multiple requirements for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.

Retain option in first paragraph below if retaining "Operation Cycles" Paragraph in "Performance Requirements" Article.

A. General:  Electric door operator assembly of size and capacity recommended and provided by door manufacturer for door[ and "operation cycles" requirement] specified, with electric motor and factory-prewired motor controls, starter, gear-reduction unit, solenoid-operated brake, clutch, remote-control stations, control devices, integral gearing for locking door, and accessories required for proper operation.

1. Comply with NFPA 70.

2. Provide control equipment complying with NEMA ICS 1, NEMA ICS 2, and NEMA ICS 6; with NFPA 70, Class 2 control circuit, maximum 24-V ac or dc.

Durability requirement in first paragraph below is separate from "operation cycles," which apply to whole door system and are discussed in "Performance Requirements" Article.

B. Usage Classification:  Electric operator and components capable of operating for not less than number of cycles per hour indicated for each door.

C. Door-Operator Type:  Unit consisting of electric motor, gears, pulleys, belts, sprockets, chains, and controls needed to operate door and meet required usage classification.

Retain one or more of three subparagraphs below or revise to suit Project.  Selection depends on size and weight of door, type of operation, and track configuration.  Delete all subparagraphs if operator locations are shown on Drawings.  See Evaluations.

Backroom and minimal headroom are required for mounting type in first subparagraph below.

1. Trolley:  Trolley operator mounted to ceiling above and to rear of door in raised position and directly connected to door with drawbar.

Headroom is required for mounting type in first subparagraph below.

2. Jackshaft, Center Mounted:  Jackshaft operator mounted on the inside front wall above door and connected to torsion shaft with an adjustable coupling or drive chain.

Side room is required for mounting type in subparagraph below.

3. Jackshaft, Side Mounted:  Jackshaft operator mounted on the inside front wall on right or left side of door and connected to torsion shaft with an adjustable coupling or drive chain.

Default motor characteristics are specified in Division 11 Section "Common Motor Requirements for Equipment."

D. Electric Motors:  Comply with NEMA designation, temperature rating, service factor, enclosure type, and efficiency requirements specified in Division 11 Section "Common Motor Requirements for Equipment" unless otherwise indicated.

1. Electrical Characteristics:

Retain first or second option in first subparagraph below based on required motor size.  Verify motor performance and availability with door manufacturer and coordinate electrical characteristics with electrical engineer.  See Evaluations.

a. Phase:  [Single phase] [Polyphase].

b. Volts:  [115] [208] [230] [460] <Insert value> V.

c. Hertz:  60.

2. Motor Type and Controller:  Reversible motor and controller (disconnect switch) for motor exposure indicated.

Speed in first subparagraph below is for standard-speed doors.  Consult manufacturer and revise for higher-speed operation.

3. Motor Size:  Minimum size as indicated.  If not indicated, large enough to start, accelerate, and operate door in either direction from any position, at a speed not less than 8 in./sec. (203 mm/s) and not more than 12 in./sec. (305 mm/s), without exceeding nameplate ratings or service factor.

Revise first subparagraph below if required; coordinate requirements with electrical engineer.  Verify which electrical devices, connections, and wiring, if any, are furnished or installed by other than sectional-door manufacturer.  These devices are required to comply with requirements for electrical devices and connections specified in Division 26 Sections.

4. Operating Controls, Controllers (Disconnect Switches), Wiring Devices, and Wiring:  Manufacturer's standard unless otherwise indicated.

5. Coordinate wiring requirements and electrical characteristics of motors and other electrical devices with building electrical system and each location where installed.

6. Use adjustable motor-mounting bases for belt-driven operators.

E. Limit Switches:  Equip each motorized door with adjustable switches interlocked with motor controls and set to automatically stop door at fully opened and fully closed positions.

Retain first paragraph below if required or revise to suit Project.

F. Obstruction Detection Device:  Equip motorized door with indicated external automatic safety sensor capable of protecting full width of door opening.  Activation of device immediately stops and reverses downward door travel.

Retain one or both subparagraphs below to suit Project.

1. Photoelectric Sensor:  Manufacturer's standard system designed to detect an obstruction in door opening without contact between door and obstruction.

Retain first subparagraph below if a self-monitoring system to detect failure of sensor device is required.

a. Self-Monitoring Type:  Designed to interface with door operator control circuit to detect damage to or disconnection of sensor device.  When self-monitoring feature is activated, door closes only with sustained pressure on close button.

2. Sensor Edge:  Automatic safety sensor edge, located within astragal or weather stripping mounted to bottom bar.  Contact with sensor activates device.  Connect to control circuit using manufacturer's standard take-up reel or self-coiling cable.

Retain subparagraph below if a self-monitoring system to detect failure of sensor device is required.

a. Self-Monitoring Type:  Four-wire configured device designed to interface with door-operator control circuit to detect damage to or disconnection of sensor edge.

Revise first paragraph below to suit Project.  A sustained-pressure (in lieu of a momentary-contact) switch may be required for closing or opening cycles, or both.  Verify acceptability with authorities having jurisdiction; revise requirements and door assembly article retained in Part 2 as needed.

G. Remote-Control Station:  Momentary-contact, three-button control station with push-button controls labeled "Open," "Close," and "Stop."

Retain first subparagraph below for interior, clean, and dry installations.  Revise to suit Project.

1. Interior units, full-guarded, surface-mounted, heavy-duty type, with general-purpose NEMA ICS 6, Type 1 enclosure.

Retain subparagraph below for exterior, dusty, wet, or humid installations.  Revise to suit Project.

2. Exterior units, full-guarded, standard-duty, surface-mounted, weatherproof type, NEMA ICS 6, Type 4 enclosure, key operated.

H. Emergency Manual Operation:  Equip each electrically powered door with capability for emergency manual operation.  Design manual mechanism so required force for door operation does not exceed [25 lbf (111 N)] [35 lbf (155 N)] <Insert value>.

I. Emergency Operation Disconnect Device:  Equip operator with hand-operated disconnect mechanism for automatically engaging manual operator and releasing brake for emergency manual operation while disconnecting motor without affecting timing of limit switch.  Mount mechanism so it is accessible from floor level.  Include interlock device to automatically prevent motor from operating when emergency operator is engaged.

J. Motor Removal:  Design operator so motor may be removed without disturbing limit-switch adjustment and without affecting emergency manual operation.

Insert additional equipment for door operation if required; verify availability with manufacturer.  Remaining paragraphs are examples only; retain or revise to suit Project.

K. Audible and Visual Signals:  Audible alarm and visual indicator lights in compliance with regulatory requirements for accessibility.

Retain paragraph below if required as an auxiliary device; revise to suit Project.

L. Radio-Control System:  Consisting of the following:

1. Three-channel universal coaxial receiver to open, close, and stop door; [one] [two] <Insert number> per operator.

Revise first subparagraph below for multiple remote controls.

2. Multifunction remote control.

Retain subparagraph below for antenna.

3. Remote antenna and mounting kit.

2.11 DOOR ASSEMBLY <Insert drawing designation>

Copy this article and re-edit for each sectional-door unit.  The article is intended as a guide if Project requires several units of varying sizes, characteristics, and capacities.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each sectional door.

Coordinate selection of door section and components with wind-load requirements.  Verify availability of options retained with manufacturers selected.

A. [Steel] [Wood] [Aluminum] [Full-Vision Aluminum] [Translucent] Sectional Door:  Sectional door formed with hinged sections.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

Door materials and options are not common to all manufacturers.  See Sectional Door Table in the Evaluations and consult manufacturers for available door materials and features; edit list below accordingly.

a. Amarr Garage Doors.

b. Arm-R-Lite.

c. C.H.I. Overhead Doors.

d. Clopay Building Products; a Griffon company.

e. Fimbel Architectural Door Specialties.

f. General American Door Company.

g. Haas Door; a Nofziger company.

h. Martin Door Manufacturing.

i. Overhead Door Corporation.

j. Raynor.

k. Rite-Hite Corporation.

l. Wayne-Dalton Corp.

m. Windsor Republic Doors.

n. <Insert manufacturer's name>.

Retain one option in first paragraph below or revise to suit Project.  First option is standard with some manufacturers; second option is more commonly used.  Third and fourth options are used for high-cycle operation, corrosive environments, and severe or abusive use.

B. Operation Cycles:  Not less than [10,000] [20,000] [50,000] [100,000] <Insert number>.

Retain first paragraph below if required.  Verify available R-value below with manufacturer for type of door assembly and insulation specified.  Values usually do not include translucent or windowed sections.  Higher numbers are usually values for single door section; lower numbers are usually installed values of a test-specimen assembly or an entire door.  See Evaluations.

C. [Installed ]R-Value:  [4.5 deg F x h x sq. ft./Btu (0.792 K x sq. m/W)] [6.0 deg F x h x sq. ft./Btu (1.057 K x sq. m/W)] [12.0 deg F x h x sq. ft./Btu (2.113 K x sq. m/W)] [15.0 deg F x h x sq. ft./Btu (2.642 K x sq. m/W)] [17.5 deg F x h x sq. ft./Btu (3.082 K x sq. m/W)] <Insert value>.

Retain first paragraph below for steel doors.

D. Steel Sections:  Zinc-coated (galvanized) steel sheet with [G60 (Z180)] [G90 (Z275)] zinc coating.

Doors 3 inches (76 mm) thick are available from some manufacturers to accommodate thicker insulation.

1. Section Thickness:  [1-3/8 inches (35 mm)] [1-3/4 inches (44 mm)] [2 inches (51 mm)] <Insert dimension>.

2. Exterior-Face, Steel Sheet Thickness:  [0.064-inch- (1.63-mm-)] [0.040-inch- (1.02-mm-)] [0.028-inch- (0.71-mm-)] [0.022-inch- (0.56-mm-)] [0.019-inch- (0.48-mm-)] <Insert dimension> nominal coated thickness.

Retain one of first two subparagraphs below.  First subparagraph is for 0.064-inch- (1.63-mm-) thick steel sheet only.

a. Surface:  Flat.

b. Surface:  Manufacturer's standard, [grooved] [ribbed] [paneled] [wood-grain embossed] <Insert requirement>.

Retain one of two options in first subparagraph below if insulated sections are required; coordinate with R-value if required.

3. Insulation:  [Board] [Foamed in place].

Retain one of two subparagraphs below or revise to suit Project.  Retain first subparagraph if insulated sections are preformed metal panels with laminated insulation.  Some manufacturers' standard interior facing materials are thinner than options below.  Verify thickness availability with manufacturer.  Coordinate with code requirements and authorities having jurisdiction for thermal barriers protecting foamed plastics.

4. Interior Facing Material:  Zinc-coated (galvanized) steel sheet of [0.028-inch- (0.71-mm-)] [0.022-inch- (0.56-mm-)] [0.019-inch- (0.48-mm-)] [manufacturer's recommended thickness to meet performance requirements] <Insert thickness> nominal coated thickness.

5. Interior Facing Material:  Hardboard panel.

Retain first paragraph below for wood doors.

E. Wood Sections:  [Paneled] [Flush][ and with manufacturer's standard insulation].

Retain first paragraph below for all-aluminum doors and for steel doors with full-vision sections.  For entirely full-vision doors, retain second option and delete others.

F. Aluminum Sections:  [Solid panels] [Full vision] [with manufacturer's standard, nonglazed panels across bottom section of door].

G. Translucent Sections:  Manufacturer's standard[ with manufacturer's standard, nonglazed panels across bottom section of door].

Retain first paragraph below or indicate track configuration on Drawings.

H. Track Configuration:  [Standard-lift] [Low-headroom] [High-lift] [Vertical-lift] [Contour] <Insert description> track[ with removable center post shared with adjacent door].

Retain second option in first paragraph below if required for motor-operated doors.

I. Weatherseals:  Fitted to bottom and top[ and around entire perimeter] of door.[  Provide combination bottom weatherseal and sensor edge.]

Verify availability and size of windows in first paragraph below with manufacturer; revise to suit Project.  Retain last option for use in thermally insulated doors.

J. Windows:  Approximately [24 by 7 inches (610 by 178 mm)] [24 by 11 inches (610 by 279 mm)] <Insert dimensions> [, with curved corners,] [, with square corners,] and spaced apart the approximate distance as indicated on Drawings; in [one row] [two rows] <Insert number of rows> at height indicated on Drawings; installed with[ insulated] glazing of the following type:

Retain one of four subparagraphs below or revise to suit Project; selections represent range of manufacturers' standard glazing for windows.  Revise for other types and thicknesses of glazing; verify availability with manufacturers.

1. Clear Float Glass:  3 mm thick and complying with ASTM C 1036, Type I, Class 1, Quality Q3.

2. Clear Acrylic Plastic:  3 mm thick, transparent, smooth or polished, and formulated to be UV resistant.

3. Clear Polycarbonate Plastic:  3-mm-thick, transparent, fire-retardant, UV-resistant, polycarbonate sheet manufactured by extrusion process.

4. Insulating Glass:  [Manufacturer's standard] <Insert description>.

Retain first paragraph below for pass doors.

K. Pass Door:  As shown.

Retain second option in first paragraph below for hazardous atmospheres.

L. Roller-Tire Material:  [Case-hardened steel] [Neoprene or bronze] [Manufacturer's standard].

Retain one of first two options in first paragraph below.  Retain last option for chain-hoist-operated doors or emergency chain-hoist operation.

M. Locking Devices:  Equip door with [slide bolt for padlock] [locking device assembly] [and] [chain lock keeper].

Retain subparagraph below if retaining second option in paragraph above.

1. Locking Device Assembly:  [Single-jamb side] [Cremone type, both jamb sides,] locking bars, operable from [inside with thumbturn] [outside with cylinder] [outside only, with cylinder] [inside and outside, with cylinders] <Insert requirement>.

N. Counterbalance Type:  [Torsion spring] [Weight counterbalance].

Retain one of first two paragraphs below.

O. Manual Door Operator:  [Push-up operation] [Chain-hoist operator].

P. Electric Door Operator:

Retain one option in first subparagraph below or revise to suit Project.  Usage classification varies among manufacturers; it is a durability requirement separate from whole-door operation cycles.  Consult manufacturer for specific recommendations.

1. Usage Classification:  [Heavy duty, 60 to 90 cycles per hour] [Standard duty, up to 60 cycles per hour] [Medium duty, up to 15 cycles per hour] [Light duty, up to 10 cycles per hour] <Insert classification>.

2. Operator Type:  [Trolley] [Jackshaft, center mounted] [Jackshaft, side mounted] [As shown on Drawings].

Retain one option in first subparagraph below or revise to suit Project.  Second option applies to locations such as car washes.  Operating environment, including hazardous conditions, may require other motor types and enclosure modifications.

3. Motor Exposure:  [Interior, clean, and dry] [Exterior, dusty, wet, or humid].

4. Emergency Manual Operation:  [Push-up] [Chain] type.

Third option in first subparagraph below may be limited to a width of 18 feet (5.5 m).  Verify availability with manufacturer.

5. Obstruction-Detection Device:  Automatic [photoelectric sensor] [electric sensor edge on bottom bar] [pneumatic sensor edge on bottom bar][; self-monitoring type].

Retain first subparagraph below if retaining either second or third option in last subparagraph above.

a. Sensor Edge Bulb Color:  [Black] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Remote-Control Station:  [Interior] [Exterior] [Where shown on Drawings] <Insert location>.

7. Other Equipment:  [Audible and visual signals] [Radio-control system] <Insert device>.

Q. Door Finish:

Retain one of first three subparagraphs below, which include advertised materials and finishes; available materials and finishes vary among manufacturers.  If retaining more than one, indicate location of each on Drawings or by inserts.

First option in first subparagraph below is standard; verify availability of other aluminum finishes with manufacturer.

1. Aluminum Finish:  [Clear anodized] [Bronze anodized] [Anodized color matching Architect's sample] [Anodized color as selected by Architect from manufacturer's full range] <Insert color>.

First subparagraph below is suitable for steel or aluminum.

2. Baked-Enamel or Powder-Coated Finish:  [Color and gloss as indicated by manufacturer's designations] [Color and gloss matching Architect's sample] [Color and gloss as selected by Architect from manufacturer's full range] <Insert color and gloss>.

3. Factory Prime Finish:  Manufacturer's standard color.

Retain subparagraph below for steel sections.

4. Finish of Interior Facing Material:  [Match finish of exterior section face] [Finish as indicated by manufacturer's designations] [Finish matching Architect's sample] [Finish as selected by Architect from manufacturer's full range] <Insert finish>.

2.12 GENERAL FINISH REQUIREMENTS

Retain this article for metal finishes.  Delete if only wood doors are required.

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.13 ALUMINUM FINISHES

Retain finishes in this article to suit Project.  If retaining more than one finish for different doors and to identify optional requirements for a single door, revise paragraphs below and insert text as needed in "Door Assembly" Article.  Revise finish designation if custom anodized finish is required and availability is verified.

Retain one of two options in first paragraph below.  Class II finish is standard with many manufacturers; Class I finish is heavy anodized.  Verify availability with manufacturers selected.

A. Clear Anodic Finish:  AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first paragraph below.  Verify availability with manufacturers selected.

B. Color Anodic Finish:  AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

Paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish:  AAMA 2603.  Comply with coating manufacturer's written instructions for cleaning, conversion coating, application, and baking.

2.14 STEEL AND GALVANIZED-STEEL FINISHES

Revise article title if galvanized surfaces are not finish painted.

Retain one or both paragraphs below.  If retaining both for different doors and to identify optional requirements for a single door, revise below and insert text as needed in "Door Assembly" Article.

A. Factory Prime Finish:  Manufacturer's standard primer, compatible with field-applied finish.  Comply with coating manufacturer's written instructions for cleaning, pretreatment, application, and minimum dry film thickness.

B. Baked-Enamel or Powder-Coat Finish:  Manufacturer's standard baked-on finish consisting of prime coat and thermosetting topcoat.  Comply with coating manufacturer's written instructions for cleaning, pretreatment, application, and minimum dry film thickness.

For exact finish, insert names of coating manufacturers and products.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for substrate construction and other conditions affecting performance of the Work.

B. Examine locations of electrical connections.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Install sectional doors and operating equipment complete with necessary hardware, anchors, inserts, hangers, and equipment supports; according to manufacturer's written instructions and as specified.

B. Tracks:

1. Fasten vertical track assembly to opening jambs and framing, spaced not more than 24 inches (610 mm) apart.

2. Hang horizontal track assembly from structural overhead framing with angles or channel hangers attached to framing by welding or bolting, or both.  Provide sway bracing, diagonal bracing, and reinforcement as required for rigid installation of track and door-operating equipment.

3. Repair galvanized coating on tracks according to ASTM A 780.

C. Accessibility:  Install sectional doors, switches, and controls along accessible routes in compliance with regulatory requirements for accessibility.

3.3 STARTUP SERVICES

A. Engage a factory-authorized service representative to perform startup service.

1. Complete installation and startup checks according to manufacturer's written instructions.

2. Test and adjust controls and safeties.  Replace damaged and malfunctioning controls and equipment.

3.4 ADJUSTING

A. Adjust hardware and moving parts to function smoothly so that doors operate easily, free of warp, twist, or distortion.

B. Lubricate bearings and sliding parts as recommended by manufacturer.

Retain first paragraph below if weathertight installation is required.

C. Adjust doors and seals to provide weathertight fit around entire perimeter.

D. Align and adjust motors, pulleys, belts, sprockets, chains, and controls according to manufacturer's written instructions.

E. Touch-up Painting:  Immediately after welding galvanized materials, clean welds and abraded galvanized surfaces and repair galvanizing to comply with ASTM A 780.

3.5 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain sectional doors.

END OF SECTION 083613

	SECTIONAL DOORS
	083613 - 1



