Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 084113 - ALUMINUM-FRAMED ENTRANCES AND STOREFRONTS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

Only standard storefront and entrance systems are included in subparagraphs below; revise if custom systems are required.

1. [Exterior] [Interior] [Exterior and interior] storefront framing.

2. Storefront framing for window walls.

3. Storefront framing for ribbon walls.

4. Storefront framing for punched openings.

5. [Exterior] [Interior] [Exterior and interior] manual-swing entrance doors[ and door-frame units].

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 08 Section "All-Glass Entrances and Storefronts" for systems without aluminum support framing.

2. Division 08 Section "Automatic Entrances" for automatic entrances.

3. Division 08 Section "Revolving Door Entrances" for revolving entrances.

4. Division 08 Section "Intensive Care Unit/Critical Care Unit (ICU/CCU) Entrances" for manual-sliding entrances.

Some manufacturers of entrance systems also manufacture curtain walls.  If doors are incorporated into Project's curtain-wall system, consider using this Section as a guide for inserting relevant requirements into the appropriate curtain-wall Section in first two subparagraphs below.

5. Division 08 Section "Glazed Aluminum Curtain Walls" for curtain-wall systems that mechanically retain glazing on four sides.

6. Division 08 Section "Structural-Sealant-Glazed Curtain Walls" for curtain-wall systems that retain glazing with structural sealant.

7. Division 08 Section "Louvers And Vents" for units installed with aluminum-framed systems.

1.3 DEFINITIONS

Retain definition remaining after this Section has been edited.

A. ADA/ABA Accessibility Guidelines:  U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disability Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities."

1.4 PERFORMANCE REQUIREMENTS

A. General Performance:  Aluminum-framed systems shall withstand the effects of the following performance requirements without exceeding performance criteria or failure due to defective manufacture, fabrication, installation, or other defects in construction:

1. Movements of supporting structure indicated on Drawings including, but not limited to, story drift and deflection from uniformly distributed and concentrated live loads.

Specify dimensional tolerances for support system and adjacent construction in other Sections of this Project's Specifications.

2. Dimensional tolerances of building frame and other adjacent construction.

3. Failure includes the following:

a. Deflection exceeding specified limits.

b. Thermal stresses transferring to building structure.

c. Framing members transferring stresses, including those caused by thermal and structural movements to glazing.

Retain first subparagraph below for structural-sealant-glazed systems.

d. Glazing-to-glazing contact.

e. Noise or vibration created by wind and by thermal and structural movements.

f. Loosening or weakening of fasteners, attachments, and other components.

g. Sealant failure.

h. Failure of operating units.

Retain first paragraph below if Contractor is required to assume responsibility for design.

B. Delegated Design:  Design aluminum-framed systems, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

C. Structural Loads:

Indicate design loads, as determined by Project's structural engineer, on Drawings or insert loads in subparagraphs below.  Verify requirements of authorities having jurisdiction.  See Evaluations.

1. Wind Loads:  [As indicated on Drawings.] <Insert loads>.

a. Basic Wind Speed:  [85 mph (38 m/s)] [90 mph (40 m/s)] [100 mph (44 m/s)] [110 mph (49 m/s)] <Insert value>.

b. Importance Factor:  <Insert factor>.

c. Exposure Category:  [A] [B] [C] [D].

2. Seismic Loads:  [As indicated on Drawings] <Insert loads>.

3. Blast Loads:  [As indicated on Drawings] <Insert loads>.

D. Deflection of Framing Members:

Depending on Project conditions, more stringent deflection criteria may be required than are specified in two subparagraphs below; see "Seismic Loads" Article in the Evaluations.  First option in first subparagraph is based on the 2003 IBC recommendations for framing members supporting glass.  Second option is based on AAMA TIR-A11 recommendations.

1. Deflection Normal to Wall Plane:  Limited to [edge of glass in a direction perpendicular to glass plane shall not exceed L/175 of the glass edge length for each individual glazing lite] [1/175 of clear span for spans up to 13 feet 6 inches (4.1 m) and to 1/240 of clear span plus 1/4 inch (6.35 mm) for spans greater than 13 feet 6 inches (4.1 m)] <Insert deflection limit> or an amount that restricts edge deflection of individual glazing lites to 3/4 inch (19 mm), whichever is less.

First option in subparagraph below is based on typical deflection criteria for glass.  Second option is based on GANA's "Glazing Manual."

2. Deflection Parallel to Glazing Plane:  Limited to [L/360 of clear span or 1/8 inch (3.2 mm), whichever is smaller] [amount not exceeding that which reduces glazing bite to less than 75 percent of design dimension and that which reduces edge clearance between framing members and glazing or other fixed components directly below them to less than 1/8 inch (3.2 mm) and clearance between members and operable units directly below them to less than 1/16 inch (1.5 mm)] <Insert deflection limit>.

Before retaining testing requirements in remainder of this article, verify that manufacturers have tested assemblies according to the test method indicated and can meet criteria specified.  At minimum, systems are usually tested for structural performance, air infiltration, and water penetration under static pressure.

ASTM E 330 test method is intended for evaluating only the structural performance of the aluminum-framed systems and not the structural performance of contiguous construction.

E. Structural-Test Performance:  Provide aluminum-framed systems tested according to ASTM E 330 as follows:

1. When tested at positive and negative wind-load design pressures, systems do not evidence deflection exceeding specified limits.

2. When tested at [150] <Insert number> percent of positive and negative wind-load design pressures, systems, including anchorage, do not evidence material failures, structural distress, and permanent deformation of main framing members exceeding [0.2] <Insert number> percent of span.

3. Test Durations:  As required by design wind velocity, but not fewer than 10 seconds.

Retain first paragraph below for windborne-debris-impact-resistance performance if required by Project.  The 2003 IBC establishes criteria for buildings in hurricane-prone locations.  Retain first option for aluminum-framed systems within 30 feet (9.1 m) of grade; retain third option for aluminum-framed systems more than 30 feet (9.1 m) above grade.  Authorities having jurisdiction may accept other test methods for windborne-debris-impact resistance.  Verify requirements of authorities having jurisdiction.

F. Windborne-Debris-Impact-Resistance Performance:  Provide aluminum-framed systems that pass missile-impact and cyclic-pressure tests when tested according to [ASTM E 1886 and testing information in ASTM E 1996] [or] [AAMA 506] <Insert requirement>.

1. Large-Missile Impact:  For aluminum-framed systems located within 30 feet (9.1 m) of grade.

2. Small-Missile Impact:  For aluminum-framed systems located more than 30 feet (9.1 m) above grade.

Retain first paragraph below if required by Project.  Wind and earthquake events may create overturning moments that cause differential lateral displacement (deflection) of multistory buildings.  See "Story Drift" Article in the Evaluations.

G. Story Drift:  Provide aluminum-framed systems that accommodate design displacement of adjacent stories indicated.

1. Design Displacement:  [As indicated on Drawings] <Insert design displacement>.

Retain and revise subparagraph below to suit Project.

2. Test Performance:  Meet criteria for passing, based on building occupancy type, when tested according to AAMA 501.4 at design displacement[ and 1.5 times design displacement].

ASTM E 283 requires using a static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa) unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  Static-air-pressure difference of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

H. Air Infiltration:  Provide aluminum-framed systems with maximum air leakage through fixed glazing and framing areas of [0.06 cfm/sq. ft. (0.03 L/s per sq. m)] <Insert rate> of fixed wall area when tested according to ASTM E 283 at a minimum static-air-pressure difference of [1.57 lbf/sq. ft. (75 Pa)] [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

For water-penetration tests, static-air-pressure difference of 20 percent of wind-load design pressure provides satisfactory performance in most parts of the U.S.  Locations where high winds and heavy rains frequently occur simultaneously require higher test-pressure differences.  Lower test-pressure differences are acceptable for some locations.  Revise first paragraph below to suit Project.

I. Water Penetration under Static Pressure:  Provide aluminum-framed systems that do not evidence water penetration through fixed glazing and framing areas when tested according to ASTM E 331 at a minimum static-air-pressure difference of 20 percent of positive wind-load design pressure, but not less than [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

Retain paragraph above for static-pressure test method, which is most frequently specified, or first paragraph below for dynamic-pressure test method.  Both static-pressure and dynamic-pressure testing may be required; however, most manufacturers do not include test data in product literature for dynamic-pressure method.

J. Water Penetration under Dynamic Pressure:  Provide aluminum-framed systems that do not evidence water leakage through fixed glazing and framing areas when tested according to AAMA 501.1 under dynamic pressure equal to 20 percent of positive wind-load design pressure, but not less than [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

AAMA 501.1's definition of water leakage allows up to 1/2 oz. (15 mL) of water to accumulate in a 15-minute period on an interior stop or stool integral to system.

1. Maximum Water Leakage:  [According to AAMA 501.1] [No uncontrolled water penetrating aluminum-framed systems or water appearing on systems' normally exposed interior surfaces from sources other than condensation].  Water leakage does not include water controlled by flashing and gutters that is drained to exterior and water that cannot damage adjacent materials or finishes.

K. Thermal Movements:  Provide aluminum-framed systems that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in first subparagraph below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions and metal color and finish.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

Retain first subparagraph below if testing is required for Project.  Standard systems are usually not tested according to AAMA 501.5.  Manufacturers often rely on calculations and in-service performance to verify thermal-movement capabilities.

2. Test Performance:  No buckling; stress on glass; sealant failure; excess stress on framing, anchors, and fasteners; or reduction of performance when tested according to AAMA 501.5.

a. High Exterior Ambient-Air Temperature:  That which produces an exterior metal-surface temperature of [180 deg F (82 deg C)] <Insert temperature>.

b. Low Exterior Ambient-Air Temperature:  [0 deg F (minus 18 deg C)] <Insert temperature>.

3. Interior Ambient-Air Temperature:  [75 deg F (24 deg C)] <Insert temperature>.

Retain and revise first paragraph below for condensation-resistance factor (CRF); options are examples only.  Insert condensation-resistance requirements for venting windows or doors if required for Project.

L. Condensation Resistance:  Provide aluminum-framed systems with fixed glazing and framing areas having condensation-resistance factor (CRF) of not less than [45] [53] <Insert number> when tested according to AAMA 1503.

Insert U-factors of specific system components in first paragraph below if required for Project; options are examples only.

M. Thermal Conductance:  Provide aluminum-framed systems with fixed glazing and framing areas having an average U-factor of not more than [0.57 Btu/sq. ft. x h x deg F (3.23 W/sq. m x K)] [0.69 Btu/sq. ft. x h x deg F (3.92 W/sq. m x K)] <Insert U-factor> when tested according to AAMA 1503.

Retain and revise first paragraph below if required for Project; options are examples only.  The higher the number for a particular aluminum-framed system, the more effective its sound insulation.  Most manufacturers do not include test data in product literature for sound-transmission characteristics.

N. Sound Transmission:  Provide aluminum-framed systems with fixed glazing and framing areas having the following sound-transmission characteristics:

Retain and revise first subparagraph below for indoor (speech) noise sources.

1. Sound Transmission Class (STC):  Minimum [26] [30] [35] <Insert rating> STC when tested for laboratory sound transmission loss according to ASTM E 90 and determined by ASTM E 413.

Retain and revise subparagraph below for exterior (airport or highway) noise sources.

2. Outdoor-Indoor Transmission Class (OITC):  Minimum [26] [30] [34] <Insert rating> OITC when tested for laboratory sound transmission loss according to ASTM E 90 and determined by ASTM E 1332.

Retain two paragraphs below for two-sided, structural-sealant-glazed joints.

O. Structural Sealant:  Capable of withstanding tensile and shear stresses imposed by aluminum-framed systems without failing adhesively or cohesively.  When tested for preconstruction adhesion and compatibility, cohesive failure of sealant shall occur before adhesive failure.

1. Adhesive failure occurs when sealant pulls away from substrate cleanly, leaving no sealant material behind.

2. Cohesive failure occurs when sealant breaks or tears within itself but does not separate from each substrate because sealant-to-substrate bond strength exceeds sealant's internal strength.

P. Structural-Sealant Joints:  Designed to produce tensile or shear stress of less than 20 psi (138 kPa).

1.5 SUBMITTALS

First seven paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for aluminum-framed systems.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives and sealants.

1. Product Data for Credit EQ 4.1:  For adhesives and sealants used inside of the weatherproofing system, including printed statement of VOC content.

C. Shop Drawings:  For aluminum-framed systems.  Include plans, elevations, sections, details, and attachments to other work.

1. Include details of provisions for system expansion and contraction and for drainage of moisture in the system to the exterior.

Retain subparagraph below for entrance systems or insert specific hardware schedule requirements.

2. For entrance doors, include hardware schedule and indicate operating hardware types, functions, quantities, and locations.

D. Samples for Initial Selection:  For units with factory-applied color finishes.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.  Insert requirements for samples of entrance door hardware if necessary.

E. Samples for Verification:  For each type of exposed finish required, in manufacturer's standard sizes.

Retain first paragraph below to verify details of aluminum-framed system.  In lieu of a fabrication sample, consider inserting a provision that an isometric drawing included in Shop Drawings is acceptable.

F. Fabrication Sample:  Of each vertical-to-horizontal intersection of aluminum-framed systems, made from 12-inch (300-mm) lengths of full-size components and showing details of the following:

Revise subparagraphs below to suit Project.

1. Joinery, including concealed welds.

2. Anchorage.

3. Expansion provisions.

4. Glazing.

5. Flashing and drainage.

G. Other Action Submittals:

1. Entrance Door Hardware Schedule:  Prepared by or under the supervision of supplier, detailing fabrication and assembly of entrance door hardware, as well as procedures and diagrams.  Coordinate final entrance door hardware schedule with doors, frames, and related work to ensure proper size, thickness, hand, function, and finish of entrance door hardware.

First paragraph below is defined in Division 01 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements.

H. Delegated-Design Submittal:  For aluminum-framed systems indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1. Detail fabrication and assembly of aluminum-framed systems.

2. Include design calculations.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

I. Qualification Data:  For qualified Installer[ and testing agency].

Retain first paragraph below if required by seismic criteria applicable to Project.

J. Seismic Qualification Certificates:  For aluminum-framed systems, accessories, and components, from manufacturer.

1. Basis for Certification:  Indicate whether withstand certification is based on actual test of assembled components or on calculation.

Retain first paragraph below if retaining procedures for welder certification in "Quality Assurance" Article.

K. Welding certificates.

For structural-sealant-glazed systems, retain first paragraph below and requirement for preconstruction sealant testing in "Quality Assurance" Article.

L. Preconstruction Test Reports:  For sealant.

Retain first paragraph below for standard systems to verify compliance with performance requirements; revise for custom systems.

M. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for aluminum-framed systems, indicating compliance with performance requirements.

N. Source quality-control reports.

For structural-sealant-glazed systems, ASTM C 1401 recommends that system designer establishes a written quality-control program for fabrication, installation, and post-construction maintenance.  Consider deleting first two paragraphs below for manufacturer's standard systems that have a record of successful performance.

O. Quality-Control Program for Structural-Sealant-Glazed System:  Include reports.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

P. Field quality-control reports.

Q. Maintenance Data:  For aluminum-framed systems to include in maintenance manuals.

R. Warranties:  Sample of special warranties.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of units required for this Project.

Retain first paragraph below if aluminum-framed-systems manufacturer selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.  Qualification requirements are in addition to those specified in Division 01 Section "Quality Requirements," which also includes the definition for "NRTL" (nationally recognized testing laboratory).

B. Testing Agency Qualifications:  Qualified according to ASTM E 699 for testing indicated.

C. Engineering Responsibility:  Prepare data for aluminum-framed systems, including Shop Drawings, based on testing and engineering analysis of manufacturer's standard units in systems similar to those indicated for this Project.

Retain first paragraph below for structural-sealant-glazed systems.

D. Quality-Control Program for Structural-Sealant-Glazed System:  Develop quality control program specifically for Project.  Document quality-control procedures and verify results for aluminum-framed systems.  Comply with ASTM C 1401 recommendations including, but not limited to, system material-qualification procedures, preconstruction sealant-testing program, procedures for system fabrication and installation, and intervals of reviews and checks.

E. Product Options:  Information on Drawings and in Specifications establishes requirements for systems' aesthetic effects and performance characteristics.  Aesthetic effects are indicated by dimensions, arrangements, alignment, and profiles of components and assemblies as they relate to sightlines, to one another, and to adjoining construction.  Performance characteristics are indicated by criteria subject to verification by one or more methods including preconstruction testing, field testing, and in-service performance.

Retain subparagraph below or revise to suit Project.

1. Do not revise intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If revisions are proposed, submit comprehensive explanatory data to Architect for review.

Retain first paragraph below for structural-sealant-glazed systems.

F. Preconstruction Sealant Testing:  For structural-sealant-glazed systems, perform sealant manufacturer's standard tests for compatibility with and adhesion of each material that will come in contact with sealants and each condition required by aluminum-framed systems.

1. Test a minimum five samples each of metal, glazing, and other material.

2. Prepare samples using techniques and primers required for installed systems.

3. For materials that fail tests, determine corrective measures necessary to prepare each material to ensure compatibility with and adhesion of sealants including, but not limited to, specially formulated primers.  After performing these corrective measures on the minimum number of samples required for each material, retest materials.

Retain first paragraph below for entrance doors.  Verify accessibility requirements of authorities having jurisdiction.

G. Accessible Entrances:  Comply with applicable provisions in [the U.S. Architectural & Transportation Barriers Compliance Board's ADA-ABA Accessibility Guidelines] [and] [ICC/ANSI A117.1].

H. Source Limitations for Aluminum-Framed Systems:  Obtain from single source from single manufacturer.

I. Structural-Sealant Glazing:  Comply with ASTM C 1401, "Guide for Structural Sealant Glazing" for design and installation of structural-sealant-glazed systems.

J. Structural-Sealant Joints:  Design reviewed and approved by structural-sealant manufacturer.

Retain first paragraph below for welding.  If retaining, also retain "Welding certificates" Paragraph in "Submittals" Article.

K. Welding Qualifications:  Qualify procedures and personnel according to AWS D1.2, "Structural Welding Code - Aluminum."

Retain first paragraph below if mockups are required by Project.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

L. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

Retain first subparagraph below for large-scale mockup.  Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.  Coordinate requirements with those in other Sections specifying glazing and cladding materials installed with aluminum-framed systems.

1. Build mockup of typical wall area as shown on Drawings.

Retain first subparagraph below if subjecting mockup to field testing.  If comprehensive preconstruction testing of custom aluminum-framed systems fabrications is required, insert "Preconstruction Testing" Article after "Performance Requirements" Article.

2. Field testing shall be performed on mockups according to requirements in "Field Quality Control" Article.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

M. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.7 PROJECT CONDITIONS

A. Field Measurements:  Verify actual locations of structural supports for aluminum-framed systems by field measurements before fabrication and indicate measurements on Shop Drawings.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of aluminum-framed systems that do not comply with requirements or that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including, but not limited to, excessive deflection.

b. Noise or vibration caused by thermal movements.

Delete option in first subparagraph below if retaining "Special Finish Warranty" Paragraph.

c. Deterioration of metals[, metal finishes,] and other materials beyond normal weathering.

Retain first subparagraph below for structural-sealant-glazed systems.

d. Adhesive or cohesive sealant failures.

e. Water leakage through fixed glazing and framing areas.

f. Failure of operating components.

Verify available warranties and warranty periods for aluminum-framed systems with manufacturers listed in Part 2 articles.

2. Warranty Period:  [Two] [Five] [10] <Insert number> years from date of Substantial Completion.

B. Special Finish Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components on which finishes do not comply with requirements or that fail in materials or workmanship within specified warranty period.  Warranty does not include normal weathering.

AAMA 2604 represents a 5-year set of tests; AAMA 2605 represents a 10-year set.  Warranty periods offered by manufacturers vary depending on finish selected.  Verify available warranties for finishes and insert number in subparagraph below.

1. Warranty Period:  [Five] [10] [20] <Insert number> years from date of Substantial Completion.

1.9 MAINTENANCE SERVICE

Consider retaining first paragraph below for maintenance service of entrance door hardware.

A. Entrance Door Hardware:

1. Maintenance Tools and Instructions:  Furnish a complete set of specialized tools and maintenance instructions as needed for Owner's continued adjustment, maintenance, and removal and replacement of entrance door hardware.

Obtain a copy of the maintenance agreement before retaining or revising subparagraph below.  Revise starting date if required.

2. Initial Maintenance Service:  Beginning at Substantial Completion, provide [six] <Insert number> months' full maintenance by skilled employees of entrance door hardware Installer.  Include quarterly preventive maintenance, repair or replacement of worn or defective components, lubrication, cleaning, and adjusting as required for proper entrance door hardware operation at rated speed and capacity.  Provide parts and supplies the same as those used in the manufacture and installation of original equipment.

Consider retaining paragraph below for maintenance service of structural-sealant-glazed systems.  See "Maintenance of Structural-Sealant-Glazed Systems" Article in the Evaluations for a discussion of periodic monitoring of structural-sealant-glazed systems.

B. Structural-Sealant-Glazed Systems:

1. Initial Maintenance Service:  Beginning at Substantial Completion, provide [six] [12] <Insert number> months' full maintenance by skilled employees of structural-sealant-glazed system Installer.  Include [monthly] [quarterly] <Insert interval> preventive maintenance, repair or replacement to ensure long-term performance and durability of structural-sealant-glazed system as required for proper entrance door hardware operation at rated speed and capacity.  Provide parts and supplies the same as those used in the manufacture and installation of original system.

If retaining subparagraph below, revise starting date if necessary.

2. Continuing Maintenance Proposal:  From Installer to Owner, in the form of a standard yearly (or other period) maintenance agreement, starting on date initial maintenance service is concluded.  State services, obligations, conditions, and terms for agreement period and for future renewal options.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Arcadia, Inc.

2. Arch Aluminum & Glass Co., Inc.

3. CMI Architectural

4. Commercial Architectural Products, Inc.

5. EFCO Corporation.

6. Kawneer North America; an Alcoa company.

7. Leed Himmel Industries, Inc.

8. Pittco Architectural Metals, Inc.

9. TRACO.

10. Tubelite.

11. United States Aluminum.

12. Vistawall Architectural Products; The Vistawall Group; a Bluescope Steel company.

13. YKK AP America Inc.

14. <Insert manufacturer's name>.

2.2 MATERIALS

A. Aluminum:  Alloy and temper recommended by manufacturer for type of use and finish indicated.

1. Sheet and Plate:  ASTM B 209 (ASTM B 209M).

2. Extruded Bars, Rods, Profiles, and Tubes:  ASTM B 221 (ASTM B 221M).

3. Extruded Structural Pipe and Tubes:  ASTM B 429.

4. Structural Profiles:  ASTM B 308/B 308M.

Retain subparagraph below for welding.

5. Welding Rods and Bare Electrodes:  AWS A5.10/A5.10M.

Retain paragraph below for internal steel reinforcement of aluminum framing members; revise to suit Project.

B. Steel Reinforcement:  Manufacturer's standard zinc-rich, corrosion-resistant primer, complying with SSPC-PS Guide No. 12.00; applied immediately after surface preparation and pretreatment.  Select surface preparation methods according to recommendations in SSPC-SP COM and prepare surfaces according to applicable SSPC standard.

1. Structural Shapes, Plates, and Bars:  ASTM A 36/A 36M.

2. Cold-Rolled Sheet and Strip:  ASTM A 1008/A 1008M.

3. Hot-Rolled Sheet and Strip:  ASTM A 1011/A 1011M.

2.3 FRAMING SYSTEMS

A. Framing Members:  Manufacturer's standard extruded-aluminum framing members of thickness required and reinforced as required to support imposed loads.

1. Construction:  [Nonthermal] [Thermally improved] [Thermally broken] [Structurally glazed] <Insert description>.

2. Glazing System:  [Retained mechanically with gaskets on four sides] [Retained by structural sealant at vertical edges and mechanically with gaskets at horizontal edges] <Insert description>.

3. Glazing Plane:  [As indicated] [Front] [Center] [Back] [Multiplane] <Insert description>.

B. Brackets and Reinforcements:  Manufacturer's standard high-strength aluminum with nonstaining, nonferrous shims for aligning system components.

C. Fasteners and Accessories:  Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding fasteners and accessories compatible with adjacent materials.

1. Use self-locking devices where fasteners are subject to loosening or turning out from thermal and structural movements, wind loads, or vibration.

2. Reinforce members as required to receive fastener threads.

Retain subparagraph below for exposed fasteners if any.

3. Use exposed fasteners with countersunk Phillips screw heads[, finished to match framing system] [, fabricated from stainless steel].

Retain first paragraph below if applicable or revise to suit Project.

D. Concrete and Masonry Inserts:  Hot-dip galvanized cast-iron, malleable-iron, or steel inserts, complying with ASTM A 123/A 123M or ASTM A 153/A 153M.

E. Concealed Flashing:  [Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding flashing compatible with adjacent materials] [Dead-soft, 0.018-inch- (0.457-mm-) thick stainless steel, ASTM A 240/A 240M of type recommended by manufacturer].

F. Framing System Gaskets and Sealants:  Manufacturer's standard, recommended by manufacturer for joint type.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

1. Provide sealants for use inside of the weatherproofing system that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2.4 GLAZING SYSTEMS

A. Glazing:  As specified in Division 08 Section "Glazing."

B. Glazing Gaskets:  Manufacturer's standard compression types; replaceable, molded or extruded, of profile and hardness required to maintain watertight seal.

C. Spacers and Setting Blocks:  Manufacturer's standard elastomeric type.

Retain first paragraph below for structural-sealant-glazed systems. Bond-breaker tape is typically used with weatherseal sealants if conventional sealant backing cannot be used because of dimensional limitations.  It is also used to avoid three-side adhesion that may be detrimental to proper sealant movement.

D. Bond-Breaker Tape:  Manufacturer's standard TFE-fluorocarbon or polyethylene material to which sealants will not develop adhesion.

Retain paragraph below for structural-sealant-glazed systems.  See "Glass" and "Structural Sealant" articles in the Evaluations.

E. Glazing Sealants:  For structural-sealant-glazed systems, as recommended by manufacturer for joint type, and as follows:

1. Structural Sealant:  ASTM C 1184, single-component neutral-curing silicone formulation that is compatible with system components with which it comes in contact, specifically formulated and tested for use as structural sealant and approved by a structural-sealant manufacturer for use in aluminum-framed systems indicated.

Retain first subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for structural glazing adhesives.

a. Provide sealants for use inside of the weatherproofing system that have a VOC content of [100] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

b. Color:  [Black] [As selected by Architect from manufacturer's full range of colors].

Review weatherseal-sealant requirements with aluminum-framed-system manufacturers.  Delete subparagraph below for systems where structural sealant is also weatherseal sealant.

2. Weatherseal Sealant:  ASTM C 920 for Type S, Grade NS, Class 25, Uses NT, G, A, and O; single-component neutral-curing formulation that is compatible with structural sealant and other system components with which it comes in contact; recommended by structural-sealant, weatherseal-sealant, and aluminum-framed-system manufacturers for this use.

Retain first subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

a. Provide sealants for use inside of the weatherproofing system that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

b. Color:  Matching structural sealant.

2.5 ENTRANCE DOOR SYSTEMS

A. Entrance Doors:  Manufacturer's standard glazed entrance doors for manual-swing operation.

1. Door Construction:  [1-3/4-inch (44.5-mm) overall thickness, with minimum 0.125-inch- (3.2-mm-)] [2-inch (50.8-mm) overall thickness, with minimum 0.188-inch- (4.8-mm-)] [2- to 2-1/4-inch (50.8- to 57.2-mm) overall thickness, with minimum 0.125-inch- (3.2-mm-)] thick, extruded-aluminum tubular rail and stile members.  Mechanically fasten corners with reinforcing brackets that are deeply penetrated and fillet welded or that incorporate concealed tie rods.

Retain first subparagraph below if selecting last option in subparagraph above.

a. Thermal Construction:  [High-performance plastic connectors separate aluminum members exposed to the exterior from members exposed to the interior] <Insert description>.

Coordinate entrance door design in first subparagraph below with hardware requirements.  Narrow-stile doors may not accommodate some exit devices.

2. Door Design:  [As indicated] [Narrow stile; 2-1/8-inch (54-mm) nominal width] [Medium stile; 3-1/2-inch (88.9-mm) nominal width] [Wide stile; 5-inch (127-mm) nominal width] <Insert description>.

First subparagraph below is based on requirements in ICC/ANSI A117.1.  Verify requirements of authorities having jurisdiction and coordinate with door elevations on Drawings.

a. Accessible Doors:  Smooth surfaced for width of door in area within 10 inches (255 mm) above floor or ground plane.

3. Glazing Stops and Gaskets:  [Beveled] [Square] <Insert description>, snap-on, extruded-aluminum stops and preformed gaskets.

Retain subparagraph below if required.  Glazing stops are typically removable from both sides.

a. Provide nonremovable glazing stops on outside of door.

Retain paragraph below if entrance door hardware is not specified in this Section.  See "Entrance Door Hardware" Article in the Evaluations for discussion of appropriate methods for specifying entrance door hardware.

B. Entrance Door Hardware:  As specified in Division 08 Section "Door Hardware."

2.6 ENTRANCE DOOR HARDWARE

Retain this article if entrance door hardware is specified in this Section.  Before selecting hardware, verify accessible entrance, means-of-egress doorway, and other requirements of authorities having jurisdiction.

A. General:  Provide entrance door hardware[ and entrance door hardware sets indicated in door and frame schedule] [ and entrance door hardware sets indicated in "Entrance Door Hardware Sets" Article] for each entrance door to comply with requirements in this Section.

Select one of three options in first subparagraph below to coordinate with "Entrance Door Hardware Sets" Article.

1. Entrance Door Hardware Sets:  Provide quantity, item, size, finish or color indicated, and [named manufacturers' products] [products equivalent in function and comparable in quality to named products] [products complying with BHMA standard referenced].

2. Sequence of Operation:  Provide electrified door hardware function, sequence of operation, and interface with other building control systems indicated.

3. Opening-Force Requirements:

First subparagraph below is based on requirements of both the 2003 IBC and NFPA 101 for means-of-egress doors.  Option is a requirement of NFPA 101 only.

a. Egress Doors:  Not more than 15 lbf (67 N) to release the latch and not more than 30 lbf ((133 N))to set the door in motion[ and not more than 15 lbf (67 N) to open the door to its minimum required width].

Subparagraph below is based on ADA-ABA Accessibility Guidelines.

b. Accessible Interior Doors:  Not more than 5 lbf (22.2 N) to fully open door.

B. Designations:  Requirements for design, grade, function, finish, size, and other distinctive qualities of each type of entrance door hardware are indicated in "Entrance Door Hardware Sets" Article.  Products are identified by using entrance door hardware designations as follows:

Retain one of two subparagraphs below.

1. Named Manufacturers' Products:  Manufacturer and product designation are listed for each door hardware type required for the purpose of establishing minimum requirements.  Manufacturers' names are abbreviated in "Entrance Door Hardware Sets" Article.

Retain subparagraph below for a nonproprietary specification based on referencing BHMA standards, with or without naming available manufacturers.

2. References to BHMA Standards:  Provide products complying with these standards and requirements for description, quality, and function.

C. Opening-Force Requirements:

1. Delayed-Egress Locks:  Lock releases within 15 seconds after applying a force of not more than 15 lbf (67 N) for not more than 3 seconds.

2. Latches and Exit Devices:  Not more than 15 lbf (67 N) required to release latch.

Delete descriptive requirements in remaining paragraphs, including references to BHMA standards, if the applicable characteristics are determined by naming manufacturer's products in "Entrance Door Hardware Sets" Article.  For products specified only by reference to a BHMA standard or by describing characteristics, insert specific type and function requirements in "Entrance Door Hardware Sets" Article.

D. Pivot Hinges:  BHMA A156.4, Grade 1.

Retain subparagraph below unless "Entrance Door Hardware Sets" Article is revised to include hanging device quantities.  For offset pivots, 3-per-door leaf is common for doors subject to heavy traffic, doors more than 84 inches (2134 mm) tall, and doors glazed with insulating glass.  For light-traffic doors glazed with monolithic glass, consider removing the intermediate pivot.

1. Offset-Pivot Hinges:  Provide top, bottom, and intermediate offset pivots at each door leaf.

E. Butt Hinges:  BHMA A156.1, Grade 1, radius corner.

1. Nonremovable Pins:  Provide set screw in hinge barrel that, when tightened into a groove in hinge pin, prevents removal of pin while entrance door is closed.

2. Exterior Hinges:  [Stainless steel, with stainless-steel pin] [Nonferrous] <Insert material>.

Retain subparagraph below unless "Entrance Door Hardware Sets" Article is revised to include hanging device quantities.

3. Quantities:

a. For doors up to [87 inches (2210 mm)] <Insert height> high, provide 3 hinges per leaf.

b. For doors more than [87 and up to 120 inches (2210 and up to 3048 mm)] <Insert range> high, provide 4 hinges per leaf.

F. Continuous-Gear Hinges:  Manufacturer's standard with stainless-steel bearings between knuckles, fabricated to full height of door and frame.

G. Mortise Auxiliary Locks:  BHMA A156.5, Grade 1.

Model building codes prohibit manual flush bolts at means-of-egress doors.

H. Manual Flush Bolts:  BHMA A156.16, Grade 1.

I. Automatic and Self-Latching Flush Bolts:  BHMA A156.3, Grade 1.

J. Panic Exit Devices:  BHMA A156.3, Grade 1, listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for panic protection, based on testing according to UL 305.

If panic exit devices are specified by reference only to BHMA A156.3, type and function requirements must be fully described in "Entrance Door Hardware Sets" Article.

Retain first option in first paragraph below to allow keying for aluminum-framed entrances to be coordinated with building keying system.

K. Cylinders:  [As specified in Division 08 Section "Door Hardware."] [BHMA A156.5, Grade 1.]

Retain subparagraph below if cylinders are specified in this Section.

1. Keying:  [No master] [Master] key system.  Permanently inscribe each key with a visual key control number and include notation ["DO NOT DUPLICATE"] [to be furnished by Owner].

L. Strikes:  Provide strike with black-plastic dust box for each latch or lock bolt; fabricated for aluminum framing.

M. Operating Trim:  BHMA A156.6.

N. Removable Mullions:  BHMA A156.3, extruded aluminum.

1. When used with panic exit devices, provide removable mullions listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for panic protection, based on testing according to UL 305.  Use only mullions that have been tested with exit devices to be used.

O. Closers:  BHMA A156.4, Grade 1, with accessories required for a complete installation, sized as required by door size, exposure to weather, and anticipated frequency of use; adjustable to meet field conditions and requirements for opening force.

P. Concealed Overhead Holders:  BHMA A156.8, Grade 1.

Q. Surface-Mounted Holders:  BHMA A156.16, Grade 1.

R. Door Stops:  BHMA A156.16, Grade 1, floor or wall mounted, as appropriate for door location indicated, with integral rubber bumper.

S. Weather Stripping:  Manufacturer's standard replaceable components.

1. Compression Type:  Made of ASTM D 2000, molded neoprene, or ASTM D 2287, molded PVC.

2. Sliding Type:  AAMA 701, made of wool, polypropylene, or nylon woven pile with nylon-fabric or aluminum-strip backing.

T. Weather Sweeps:  Manufacturer's standard exterior-door bottom sweep with concealed fasteners on mounting strip.

U. Silencers:  BHMA A156.16, Grade 1.

First paragraph below is based on ADA-ABA Accessibility Guidelines and NFPA 101 requirements for egress doors.

V. Thresholds:  BHMA A156.21, raised thresholds beveled with a slope of not more than 1:2, with maximum height of 1/2 inch (13 mm).

Retain paragraph below for entrance doors with center pivots.

W. Finger Guards:  Manufacturer's standard collapsible neoprene or PVC gasket anchored to frame hinge-jamb at center-pivoted doors.

2.7 ACCESSORY MATERIALS

A. Joint Sealants:  For installation at perimeter of aluminum-framed systems, as specified in Division 07 Section "Joint Sealants."

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

1. Provide sealants for use inside of the weatherproofing system that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

B. Bituminous Paint:  Cold-applied, asphalt-mastic paint complying with SSPC-Paint 12 requirements except containing no asbestos; formulated for 30-mil (0.762-mm) thickness per coat.

2.8 FABRICATION

A. Form or extrude aluminum shapes before finishing.

Retain first paragraph below for welding.

B. Weld in concealed locations to greatest extent possible to minimize distortion or discoloration of finish.  Remove weld spatter and welding oxides from exposed surfaces by descaling or grinding.

C. Framing Members, General:  Fabricate components that, when assembled, have the following characteristics:

1. Profiles that are sharp, straight, and free of defects or deformations.

2. Accurately fitted joints with ends coped or mitered.

3. Means to drain water passing joints, condensation within framing members, and moisture migrating within the system to exterior.

4. Physical and thermal isolation of glazing from framing members.

5. Accommodations for thermal and mechanical movements of glazing and framing to maintain required glazing edge clearances.

6. Provisions for field replacement of glazing from [exterior] [interior] [interior for vision glass and exterior for spandrel glazing or metal panels].

7. Fasteners, anchors, and connection devices that are concealed from view to greatest extent possible.

D. Mechanically Glazed Framing Members:  Fabricate for flush glazing without projecting stops.

E. Structural-Sealant-Glazed Framing Members:  Include accommodations for using temporary support device to retain glazing in place while structural sealant cures.

Retain first paragraph below if a particular assembly method is required.

F. Storefront Framing:  Fabricate components for assembly using [shear-block system] [screw-spline system] [head-and-sill-receptor system with shear blocks at intermediate horizontal members] <Insert system>.

G. Entrance Door Frames:  Reinforce as required to support loads imposed by door operation and for installing entrance door hardware.

1. At exterior doors, provide compression weather stripping at fixed stops.

2. At interior doors, provide silencers at stops to prevent metal-to-metal contact.  Install three silencers on strike jamb of single-door frames and two silencers on head of frames for pairs of doors.

H. Entrance Doors:  Reinforce doors as required for installing entrance door hardware.

1. At pairs of exterior doors, provide sliding-type weather stripping retained in adjustable strip and mortised into door edge.

2. At exterior doors, provide weather sweeps applied to door bottoms.

Indicate entrance door hardware mounting heights on Drawings or insert requirements in first paragraph below.

I. Entrance Door Hardware Installation:  Factory install entrance door hardware to the greatest extent possible.  Cut, drill, and tap for factory-installed entrance door hardware before applying finishes.

J. After fabrication, clearly mark components to identify their locations in Project according to Shop Drawings.

2.9 ALUMINUM FINISHES

Retain finishes in this article to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  See "Aluminum Finishes" Article in the Evaluations.

Retain one of two options in first paragraph below.  Verify availability with manufacturers selected.

A. Clear Anodic Finish:  AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first paragraph below.  Verify availability with manufacturers selected.

B. Color Anodic Finish:  AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

1. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Champagne] [Black] <Insert color>.

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

2. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

First paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish:  AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm).  Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain one of two paragraphs below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.  Retain AAMA 2604 or AAMA 2605 for high- or superior-performance organic coatings on extrusions and panels.  If specific products are required, name coating manufacturers and products.

D. High-Performance Organic Finish:  2-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

E. High-Performance Organic Finish:  [3] [4]-coat fluoropolymer finish complying with AAMA 2605 and containing not less than [50] [70] percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

2.10 SOURCE QUALITY CONTROL

Retain this article for structural-sealant-glazed systems.

Retain first paragraph below if required.  Independent certification may be acceptable to authorities having jurisdiction without further monitoring of plant's quality-control and testing programs by Owner.

A. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to evaluate structural-sealant-glazed systems.

B. Structural-Sealant-Glazed Systems:  Perform quality-control procedures complying with ASTM C 1401 recommendations, including, but not limited to, system material-qualification procedures, sealant testing, and system fabrication reviews and checks.

See Division 01 Section "Quality Requirements" for retesting and reinspecting requirements and Division 01 Section "Execution" for requirements for correcting the Work.

C. Structural-sealant-glazed system will be considered defective if it does not pass tests and inspections.

D. Prepare test and inspection reports.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General:

1. Comply with manufacturer's written instructions.

2. Do not install damaged components.

3. Fit joints to produce hairline joints free of burrs and distortion.

4. Rigidly secure nonmovement joints.

5. Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration.

6. Seal joints watertight unless otherwise indicated.

B. Metal Protection:

1. Where aluminum will contact dissimilar metals, protect against galvanic action by painting contact surfaces with primer or applying sealant or tape, or by installing nonconductive spacers as recommended by manufacturer for this purpose.

2. Where aluminum will contact concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

C. Install components to drain water passing joints, condensation occurring within framing members, and moisture migrating within the system to exterior.

Coordinate first paragraph below with manufacturers' recommendations.

D. Set continuous sill members and flashing in full sealant bed as specified in Division 07 Section "Joint Sealants" to produce weathertight installation.

E. Install components plumb and true in alignment with established lines and grades, and without warp or rack.

F. Install glazing as specified in Division 08 Section "Glazing."

1. Structural-Sealant Glazing:

a. Prepare surfaces that will contact structural sealant according to sealant manufacturer's written instructions to ensure compatibility and adhesion.  Preparation includes, but is not limited to, cleaning and priming surfaces.

b. Install weatherseal sealant according to Division 07 Section "Joint Sealants" and according to sealant manufacturer's written instructions to produce weatherproof joints.  Install joint filler behind sealant as recommended by sealant manufacturer.

G. Entrance Doors:  Install doors to produce smooth operation and tight fit at contact points.

1. Exterior Doors:  Install to produce weathertight enclosure and tight fit at weather stripping.

Indicate entrance door hardware mounting heights on Drawings or insert in subparagraph below.

2. Field-Installed Entrance Door Hardware:  Install surface-mounted entrance door hardware according to entrance door hardware manufacturers' written instructions using concealed fasteners to greatest extent possible.

H. Install perimeter joint sealants as specified in Division 07 Section "Joint Sealants" to produce weathertight installation.

3.3 ERECTION TOLERANCES

Erection tolerances in this article are examples only and are based on various AAMA references and manufacturers' literature.  Coordinate with tolerances for support systems and revise to suit Project.

A. Install aluminum-framed systems to comply with the following maximum erection tolerances:

1. Location and Plane:  Limit variation from true location and plane to 1/8 inch in 12 feet (3 mm in 3.7 m); 1/4 inch (6 mm) over total length.

2. Alignment:

a. Where surfaces abut in line, limit offset from true alignment to 1/16 inch (1.5 mm).

b. Where surfaces meet at corners, limit offset from true alignment to 1/32 inch (0.8 mm).

B. Diagonal Measurements:  Limit difference between diagonal measurements to 1/8 inch (3 mm).

3.4 FIELD QUALITY CONTROL

Retain first paragraph below to identify who shall perform tests and inspections.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.  See "Testing" Article in the Evaluations for discussion of field testing.

A. Testing Agency:  [Owner will engage] [Engage] a qualified independent testing and inspecting agency to perform field tests and inspections.

Indicate testing phases on Drawings.

B. Testing Services:  Testing and inspecting of representative areas to determine compliance of installed systems with specified requirements shall take place as follows and in successive phases as indicated on Drawings.  Do not proceed with installation of the next area until test results for previously completed areas show compliance with requirements.

1. Structural-Sealant Compatibility and Adhesion:  Structural sealant shall be tested according to recommendations in ASTM C 1401.

a. Destructive Test Method A, "Hand Pull Tab (Destructive)," in ASTM C 1401, Appendix X2, shall be used.

1) A minimum of [two] [four] [six] <Insert number> areas on each building face shall be tested.

2) Repair installation areas damaged by testing.

2. Structural-Sealant Glazing Inspection:  After installation of aluminum-framed systems is complete, structural-sealant glazing shall be inspected and evaluated according to recommendations in ASTM C 1401.

ASTM E 783 requires using a static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa) unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  Static-air-pressure difference of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

3. Air Infiltration:  Areas shall be tested for air leakage of [1.5 times the rate specified for laboratory testing under "Performance Requirements" Article, but not more than 0.09 cfm/sq. ft. (0.03 L/s per sq. m),] <Insert rate> of fixed wall area when tested according to ASTM E 783 at a minimum static-air-pressure difference of [1.57 lbf/sq. ft. (75 Pa)] [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

If retaining last subparagraph above or first subparagraph below, verify with qualified testing agencies that Project conditions will allow satisfactory static-pressure field testing.  A system's installed performance is generally less than its laboratory performance.  Coordinate static-pressure field-test performance requirements with static-pressure laboratory-test performance requirements specified in Part 1.  Indicate test locations on Drawings.

4. Water Penetration:  Areas shall be tested according to ASTM E 1105 at a minimum [uniform] [and] [cyclic] static-air-pressure difference of [0.67 times the static-air-pressure difference specified for laboratory testing under "Performance Requirements" Article, but not less than 4.18 lbf/sq. ft. (200 Pa)] <Insert pressure>, and shall not evidence water penetration.

Usually retain inexpensive test in subparagraph below to check storefront systems' resistance to water penetration.  Revise test area requirements indicated to suit Project.

5. Water Spray Test:  Before installation of interior finishes has begun, a minimum area of 75 feet (23 m) by 1 story of aluminum-framed systems designated by Architect shall be tested according to AAMA 501.2 and shall not evidence water penetration.

C. Repair or remove work if test results and inspections indicate that it does not comply with specified requirements.

D. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

See Division 01 Section "Quality Requirements" for retesting and reinspecting requirements and Division 01 Section "Execution" for requirements for correcting the Work.

E. Aluminum-framed assemblies will be considered defective if they do not pass tests and inspections.

F. Prepare test and inspection reports.

3.5 ADJUSTING

A. Adjust operating entrance door hardware to function smoothly as recommended by manufacturer.

Subparagraph below is based on ADA-ABA Accessibility Guidelines; verify requirements of authorities having jurisdiction.

1. For entrance doors accessible to people with disabilities, adjust closers to provide a 3-second closer sweep period for doors to move from a 70-degree open position to 3 inches (75 mm) from the latch, measured to the leading door edge.

3.6 ENTRANCE DOOR HARDWARE SETS

Retain this article if entrance door hardware sets are required.

Coordinate entrance door hardware with materials and products specified in Part 2.

Develop list to suit Project.  Do not duplicate requirements inserted in Part 2.  Insert quantities where indicated.

Revise item name to suit Project and insert description in list below.

Hanging devices include butt hinges, offset- and center-pivot hinges, continuous-gear hinges, and concealed floor closers.

Securing devices (inactive leaf) include flush bolts, removable mullions, panic exit devices, dummy trim, two- and three-point locks, and electric strikes.

Securing devices (active leaf) include deadlocks, deadlatches, hook bolts, panic exit devices, two- and three-point locks, cylinders (if not specified in Division 08 Section "Door Hardware"), and electric strikes.

Operating trim includes door pulls, push plates, and push-pull bars.

Accessories for pairs of doors include removable mullions and retractable astragals.

Closing devices include concealed overhead closers, surface-mounted overhead closers, mounting brackets, and overhead stops and holders.

Protective trim units include bumper guards.

Stops and holders include floor and wall stops and holders.

Accessories include thresholds, weather stripping, and door gasketing.  Default requirements for providing weather stripping and weather sweeps at exterior doors are included in "Fabrication" Article.

Miscellaneous items include door silencers, room numbers, room nameplates, door knockers, cardholders, and letter-box plates.  Default requirements for providing silencers at interior doors are included in "Fabrication" Article.

Miscellaneous items that should be added at end of list include electromechanical door hardware not otherwise listed (e.g., power supplies), and wire.

 PRIVATE tbl1
	Door Hardware Set No.<Insert number>

	Door No. <Insert designation(s)>; each to have the following:


 PRIVATE tbl2
	Qty.
	Item
	Description
	Manufacturer
	Finish

	*
	Hanging Devices
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Securing Devices (inactive leaf)
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Securing Devices (active leaf)
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Operating Trim
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Accessories for Pairs of Doors
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Closing Devices
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Protective Trim Units
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Stops and Holders
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Accessories
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Miscellaneous Items
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	
	
	
	
	

	*
	Number of hinges, as specified.
	
	
	


Insert additional requirements and sequence of operation in entrance door hardware set above for electrified entrance door hardware if required.

END OF SECTION 084113

	ALUMINUM-FRAMED ENTRANCES AND STOREFRONTS
	084113 - 1



