Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 084413 - GLAZED ALUMINUM CURTAIN WALLS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

Revise first paragraph below if custom assemblies are required.

A. Section includes conventionally glazed aluminum curtain walls installed as [stick] [unitized] [unit-and-mullion] assemblies.

If structural sealant is used to adhere glazing in small areas of an assembly such as outside edge of glazing at building corners, consider inserting requirements in this Section using Division 08 Section "Structural-Sealant-Glazed Curtain Walls" as a guide.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 07 Section "Joint Sealants" for installation of joint sealants installed with glazed aluminum curtain walls[ and for sealants to the extent not specified in this Section].

2. Division 08 Section "Structural-Sealant-Glazed Curtain Walls" for structural-sealant-glazed curtain walls.

3. Division 08 Section "Sloped Glazing Assemblies" for sloped glazing[ installed with glazed aluminum curtain walls].

4. Division 08 Section "Louvers and Vents" for units installed with glazed aluminum curtain walls.

1.3 ALLOWANCES

Retain this article if testing is paid for by Contractor under an allowance.

A. Provide [preconstruction] [field quality-control] testing as part of testing and inspecting allowance.

1.4 PERFORMANCE REQUIREMENTS

Retain first option in first paragraph below if Project conditions require preconstruction testing for custom assemblies or if testing of a laboratory mockup is required for Project as opposed to accepting test data provided by manufacturer.  Retain second option if standard assemblies suit Project and are based on manufacturers' test and performance data.

A. General Performance:  Comply with performance requirements specified, as determined by [preconstruction ]testing of[ manufacturer's standard] glazed aluminum curtain walls representing those indicated for this Project without failure due to defective manufacture, fabrication, installation, or other defects in construction.

1. Glazed aluminum curtain walls shall withstand movements of supporting structure[ indicated on Drawings] including, but not limited to, story drift, twist, column shortening, long-term creep, and deflection from uniformly distributed and concentrated live loads.

2. Failure also includes the following:

a. Thermal stresses transferring to building structure.

b. Glass breakage.

c. Noise or vibration created by wind and thermal and structural movements.

d. Loosening or weakening of fasteners, attachments, and other components.

e. Failure of operating units.

Retain first paragraph below if Contractor is required to assume responsibility for design.

B. Delegated Design:  Design glazed aluminum curtain walls, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

C. Structural Loads:

Indicate design loads determined by Project's structural engineer on Drawings or insert loads in three subparagraphs below.  Verify requirements of authorities having jurisdiction.  See Evaluations for additional information.

1. Wind Loads:[  As indicated on Drawings.]

a. Basic Wind Speed:  [85 mph (38 m/s)] [90 mph (40 m/s)] [100 mph (44 m/s)] [110 mph (49 m/s)] <Insert value>.

b. Importance Factor:  <Insert factor>.

c. Exposure Category:  [A] [B] [C] [D].

2. Blast Loads:  [As indicated on Drawings] <Insert loads>.

3. Periodic Maintenance-Equipment Loads:  [As indicated on Drawings] <Insert loads>.

Before retaining testing requirements in remainder of this article, verify that manufacturers have tested assemblies according to test method indicated and can meet criteria specified.  Assemblies are usually tested for structural performance, air infiltration, and water penetration under static pressure.

ASTM E 330 test method evaluates structural performance of glazed aluminum curtain walls and not structural performance of contiguous construction.

D. Structural-Test Performance:  Test according to ASTM E 330 as follows:

1. When tested at positive and negative wind-load design pressures, assemblies do not evidence deflection exceeding specified limits.

2. When tested at [150] <Insert number> percent of positive and negative wind-load design pressures, assemblies, including anchorage, do not evidence material failures, structural distress, and permanent deformation of main framing members exceeding [0.2] <Insert number> percent of span.

Minimum test duration according to ASTM E 330 is 10 seconds, which is historically U.S. practice.

3. Test Durations:  As required by design wind velocity, but not less than [10] <Insert number> seconds.

E. Deflection of Framing Members:  At design wind pressure, as follows:

Based on Project conditions, more stringent deflection criteria than specified in three subparagraphs below may be required; see the "Seismic Performance" Article in the Evaluations.  First option in first subparagraph is based on the 2003 IBC recommendations for framing members supporting glass.  Second option is based on AAMA TIR-A11 recommendations.

1. Deflection Normal to Wall Plane:  Limited to [edge of glass in a direction perpendicular to glass plane not exceeding L/175 of the glass edge length for each individual glazing lite] [1/175 of clear span for spans up to 13 feet 6 inches (4.1 m) and to 1/240 of clear span plus 1/4 inch (6.35 mm) for spans greater than 13 feet 6 inches (4.1 m)] <Insert deflection limit> or an amount that restricts edge deflection of individual glazing lites to 3/4 inch (19 mm), whichever is less.

First option in first subparagraph below is based on typical deflection criteria for glass.  Second option is based on GANA's "Glazing Manual."

2. Deflection Parallel to Glazing Plane:  Limited to [L/360 of clear span or 1/8 inch (3.2 mm), whichever is smaller] [amount not exceeding that which reduces glazing bite to less than 75 percent of design dimension and that which reduces edge clearance between framing members and glazing or other fixed components to less than 1/8 inch (3.2 mm)].

Delete first subparagraph below if no operable windows or doors.

a. Operable Units:  Provide a minimum 1/16-inch (1.6-mm) clearance between framing members and operable units.

Retain subparagraph below for parapets and similar components.

3. Cantilever Deflection:  Where framing members overhang an anchor point, limit deflection to two times the length of cantilevered member, divided by 175.

Retain first paragraph below for windborne-debris-impact-resistance performance if required by Project.  The 2003 IBC establishes criteria for buildings in hurricane-prone locations.  Verify requirements of authorities having jurisdiction.

F. Windborne-Debris-Impact-Resistance Performance:  Pass missile-impact and cyclic-pressure tests when tested according to ASTM E 1886 and testing information in ASTM E 1996 for Wind [Zone 1] [Zone 2] [Zone 3] [Zone 4].

1. Large-Missile Test:  For glazed openings located within 30 feet (9.1 m) of grade.

2. Small-Missile Test:  For glazed openings located more than 30 feet (9.1 m) above grade.

Retain first paragraph below with "Seismic Qualification Certificates" Paragraph in "Submittals" Article for projects requiring seismic design.  The 2003 IBC and SEI/ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

G. Seismic Performance:  Glazed aluminum curtain walls shall withstand the effects of earthquake motions determined according to [SEI/ASCE 7] <Insert requirement>.

See SEI/ASCE 7 for determining Component Importance Factor.

1. Component Importance Factor is [1.5] [1.0] <Insert factor>.

Retain first paragraph below if required by Project.  Wind and earthquake events may create overturning moments that cause differential lateral displacement (deflection) of multistory buildings.  See the "Story Drift" Article in the Evaluations for further information.

H. Story Drift:  Accommodate design displacement of adjacent stories indicated.

1. Design Displacement:  [As indicated on Drawings] <Insert design displacement>.

Revise subparagraph below to suit Project.

2. Test Performance:  Meeting criteria for passing based on building occupancy type when tested according to AAMA 501.4 at design displacement[ and 1.5 times the design displacement].

Retain first paragraph below for static-pressure method, which is most frequently specified.  For water-penetration tests, AAMA 501 states that a static-air-pressure differential of 20 percent of wind-load design pressure provides satisfactory performance in most parts of the U.S.  Locations where high winds and heavy rains occur simultaneously require higher test-pressure differences.  Both static and dynamic testing may be required or desired for certain designs, particularly those incorporating special water-drainage features such as rain screen walls.

I. Water Penetration under Static Pressure:  No evidence of water penetration through fixed glazing and framing areas when tested according to ASTM E 331 at a minimum static-air-pressure differential of 20 percent of positive wind-load design pressure, but not less than [6.24 lbf/sq. ft. (300 Pa)] [10 lbf/sq. ft. (480 Pa)] [15 lbf/sq. ft. (720 Pa)] <Insert value>.

Retain first paragraph below for dynamic-pressure test method.  Both static and dynamic testing may be required; however, most manufacturers do not include test data in product literature for dynamic-pressure method.  Requiring dynamic-pressure test method for untested assemblies will add to the cost of the Project.  Consult manufacturers for further information.

J. Water Penetration under Dynamic Pressure:  No evidence of water penetration through fixed glazing and framing areas when tested according to AAMA 501.1 at dynamic pressure equal to 20 percent of positive wind-load design pressure, but not less than [6.24 lbf/sq. ft. (300 Pa)] [10 lbf/sq. ft. (480 Pa)] [15 lbf/sq. ft. (720 Pa)] <Insert value>.

AAMA 501.1's definition of water leakage allows up to 1/2 oz. (15 mL) of water to accumulate on an interior stop or stool integral to assembly in a 15-minute period.

1. Maximum Water Leakage:  [According to AAMA 501.1] [No uncontrolled water penetrating assemblies or water appearing on assemblies' normally exposed interior surfaces from sources other than condensation].  Water leakage does not include water controlled by flashing and gutters that is drained to exterior.

K. Thermal Movements:  Allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures:

Differential values in first two subparagraphs below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions and metal color and finish.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

2. Test Interior Ambient-Air Temperature:  [75 deg F (24 deg C)] <Insert temperature>.

Retain subparagraph below if testing is required for Project.  Standard glazed aluminum curtain walls are usually not tested according to AAMA 501.5.  Manufacturers often rely on calculations and in-service performance to verify thermal-movement capabilities.

3. Test Performance:  No buckling; stress on glass; sealant failure; excess stress on framing, anchors, and fasteners; or reduction of performance when tested according to AAMA 501.5.

The 2003 IECC and ASHRAE/IESNA 90.1 require that all fenestration be certified and labeled by the manufacturer for energy performance, based on ratings established by NFRC.  Verify which manufacturers have tested glazed aluminum curtain walls and can demonstrate compliance with NFRC.  Verify requirements of authorities having jurisdiction.

L. Energy Performance:  Glazed aluminum curtain walls shall have certified and labeled energy performance ratings in accordance with NFRC.

Primary energy performance requirements usually include thermal transmittance (U-factor), solar heat gain coefficient, and air infiltration.  Related and additional energy performance considerations include condensation resistance and visible light transmittance.  Options in subparagraphs below are examples only. Revise values to suit climate zone of building envelope as defined by the 2003 IECC.  Coordinate with Division 08 Section "Glazing."

1. Thermal Transmittance (U-factor):  Fixed glazing and framing areas shall have U-factor of not more than [0.45 Btu/sq. ft. x h x deg F (2.55 W/sq. m x K)] [0.57 Btu/sq. ft. x h x deg F (3.23 W/sq. m x K)] [0.69 Btu/sq. ft. x h x deg F (3.92 W/sq. m x K)] <Insert value> as determined according to NFRC 100.

2. Solar Heat Gain Coefficient: Fixed glazing and framing areas shall have a solar heat gain coefficient of no greater than [0.35] [0.40] [0.45] <Insert value> as determined according to NFRC 200.

ASTM E 283 requires using a static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa) unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  A static-air-pressure differential of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.  Maximum air leakage rate is based on the 2003 IECC; insert other value as applicable.

3. Air Infiltration:  Maximum air leakage through fixed glazing and framing areas of [0.30 cfm/sq. ft. (1.50 L/s per sq. m)] <Insert value> of fixed wall area as determined according to ASTM E 283 at a minimum static-air-pressure differential of [1.57 lbf/sq. ft. (75 Pa)] [6.24 lbf/sq. ft. (300 Pa)] <Insert value>.

4. Condensation Resistance:  Fixed glazing and framing areas shall have an NFRC- certified condensation resistance rating of no less than [15] [25] [35] [45] <Insert value> as determined according to NFRC 500.

Consider inserting VT criteria in Division 08 Section "Glazing" to suit Project.

Retain paragraph below if required for Project.  The higher the sound transmission class, the more effective the sound insulation.  Most manufacturers do not include test data in product literature for sound-transmission characteristics.

M. Sound Transmission:  Provide glazed aluminum curtain walls with fixed glazing and framing areas having the following sound-transmission characteristics:

Revise subparagraph below for exterior (airport or highway) noise sources; options are examples only.

1. Outdoor-Indoor Transmission Class:  Minimum [26] [30] [34] <Insert number> when tested for laboratory sound transmission loss according to ASTM E 90 and determined by ASTM E 1332.

1.5 PRECONSTRUCTION TESTING

Retain first option in paragraph below if Project conditions require preconstruction testing for custom assemblies or if testing of a laboratory mockup is required for Project as opposed to accepting test data provided by manufacturer.  Retain second option if standard assemblies suit Project and are based on manufacturers' test and performance data.

A. Preconstruction Testing Service:  Provide glazed aluminum curtain walls that comply with test-performance requirements indicated, as evidenced by reports [based on Project-specific preconstruction testing] [of tests performed on manufacturer's standard assemblies] by a qualified testing agency.

Four subparagraphs below describe Project-specific preconstruction-testing requirements; retain if selecting first option in paragraph above.  Delete subparagraphs below if selecting second option above.

1. [Owner will engage] [Engage] a qualified testing agency to perform preconstruction testing on laboratory mockups.

Indicate size and other details of laboratory mockups on Drawings or by inserts.

2. Build laboratory mockups at testing agency facility using personnel, materials, and methods of construction that will be used at Project site.

Retain first subparagraph below if required for Project.

3. Notify Architect [seven] <Insert number> days in advance of the dates and times when laboratory mockups will be constructed.

Revise example test methods and sequence in subparagraph below to suit Project and coordinate with tests required in "Performance Requirements" Article.  Refer to AAMA 501.5 for default and optional preconstruction testing of laboratory mockups.  Consult manufacturers and testing agencies for guidance on appropriate requirements for Project.

4. Preconstruction Testing Program:  Perform tests specified in "Performance Requirements" Article on laboratory mockups in the following order:

Retain first three subparagraphs below for default tests defined by AAMA 501.

a. Structural-performance preloading at 50 percent of the specified wind-load design pressure when tested according to ASTM E 330.

b. Air infiltration when tested according to ASTM E 283.

c. Water penetration under static pressure when tested according to ASTM E 331.

Retain first subparagraph below for optional test defined by AAMA 501 if required for Project.

d. Water penetration under dynamic pressure when tested according to AAMA 501.1.

Retain first subparagraph below for default test defined by AAMA 501.

e. Structural performance at design load when tested according to ASTM E 330.

Repeating static-pressure tests for air infiltration and water penetration after performing structural performance test at design load is optional as defined by AAMA 501.  Retain first two subparagraphs below if required for Project.

f. Repeat air filtration when tested according to ASTM E 283.

g. Repeat water penetration under static pressure when tested according to ASTM E 331.

Retain subparagraph below for default test defined by AAMA 501.  For glazed aluminum curtain walls, AAMA 501 requires that structural test pressures shall be 1.5 times the design wind pressures to provide a factor of safety.

h. Structural performance at maximum 150 percent of positive and negative wind-load design pressures when tested according to ASTM E 330.

Insert requirements for preconstruction testing of window-washing stabilization anchors if required for Project.

1.6 SUBMITTALS

First six paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for sealants.

1. Product Data for Credit EQ 4.1:  For glazing sealants used inside of the weatherproofing system, including printed statement of VOC content.

C. Shop Drawings:  For glazed aluminum curtain walls.  Include plans, elevations, sections, full-size details, and attachments to other work.

1. Include details of provisions for assembly expansion and contraction and for draining moisture occurring within the assembly to the exterior.

2. Include full-size isometric details of each vertical-to-horizontal intersection of glazed aluminum curtain walls, showing the following:

Revise list below to suit Project.

a. Joinery, including concealed welds.

b. Anchorage.

c. Expansion provisions.

d. Glazing.

e. Flashing and drainage.

Retain subparagraph below if preconstruction testing mockups are required.

3. Include laboratory mockup Shop Drawings, prepared by a qualified preconstruction testing agency, showing details of laboratory mockup.

Retain subparagraph below if preconstruction testing of glazed aluminum curtain walls is required.  Resubmittal of previously approved Shop Drawings may be required if, during testing, changes were made to details of glazed aluminum curtain walls.

a. Resubmit Shop Drawings with changes made to glazed aluminum curtain walls to successfully complete preconstruction testing.

D. Samples for Initial Selection:  For units with factory-applied color finishes.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each type of exposed finish required, in manufacturer's standard sizes.

Retain first paragraph below to verify details of assembly.  In lieu of a fabrication sample, consider retaining isometric drawings as part of Shop Drawings.

F. Fabrication Sample:  Of each vertical-to-horizontal intersection of assemblies, made from 12-inch (300-mm) lengths of full-size components and showing details of the following:

Revise list below to suit Project.

1. Joinery, including concealed welds.

2. Anchorage.

3. Expansion provisions.

4. Glazing.

5. Flashing and drainage.

First paragraph below is defined in Division 01 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements.

G. Delegated-Design Submittal:  For glazed aluminum curtain walls indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Project-specific preconstruction testing is specified in "Preconstruction Testing" Article as Contractor's responsibility.

H. Preconstruction Mockup Submittals:

1. Preconstruction Testing Program:  Developed specifically for Project.

2. Preconstruction Test Reports:  Prepared by a qualified preconstruction testing agency for each mockup test.

3. Photographs:

a. Take a minimum of [10] [20] <Insert number> photographs at locations and intervals as required by Architect.

b. Submit [35mm color transparencies] [digital color images on CD-R] [VHS color videotape] <Insert medium requirements> of mockup before, during, and after preconstruction testing.

4. Record Drawings:  Submit record drawings of preconstruction mockups prepared by preconstruction testing agency.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

I. Qualification Data:  For qualified Installer[ and preconstruction testing agency] [ and testing agency].

Retain first paragraph below if required by seismic criteria applicable to Project.

J. Seismic Qualification Certificates:  For glazed aluminum curtain walls, accessories, and components[, from manufacturer].

1. Basis for Certification:  Indicate whether withstand certification is based on actual test of assembled components or on calculation.

Retain first paragraph below if retaining procedures for welder certification in "Quality Assurance" Article.

K. Welding certificates.

L. Energy Performance Certificates:  For glazed aluminum curtain walls, accessories, and components, from manufacturer.

1. Basis for Certification:  NFRC-certified energy performance values for each glazed aluminum curtain wall.

Retain first paragraph below for standard assemblies to verify compliance with performance requirements.  Revise for custom assemblies.

M. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified preconstruction testing agency, for glazed aluminum curtain walls, indicating compliance with performance requirements.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

N. Field quality-control reports.

O. Maintenance Data:  For glazed aluminum curtain walls to include in maintenance manuals.

P. Warranties:  Sample of special warranties.

1.7 QUALITY ASSURANCE

A. Manufacturer Qualifications:  A manufacturer capable of fabricating glazed aluminum curtain walls that meet or exceed energy performance requirements indicated and of documenting this performance by certification, labeling, and inclusion in lists.

B. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of units required for this Project.

Retain first paragraph below if Project-specific preconstruction testing is specified in "Preconstruction Testing" Article as Contractor's responsibility.

C. Preconstruction Testing Agency Qualifications:  Qualified according to ISO/IEC 17025 and accredited by ICC-ES for preconstruction testing indicated.

Retain first paragraph below if glazed aluminum curtain wall manufacturer selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.

D. Testing Agency Qualifications:  Qualified according to ASTM E 699 for testing indicated.

E. Product Options:  Information on Drawings and in Specifications establishes requirements for aesthetic effects and performance characteristics of assemblies.  Aesthetic effects are indicated by dimensions, arrangements, alignment, and profiles of components and assemblies as they relate to sightlines, to one another, and to adjoining construction.

Retain subparagraph below or revise to suit Project.

1. Do not revise intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If revisions are proposed, submit comprehensive explanatory data to Architect for review.

Retain first paragraph below if welding is required.  If retaining, also retain "Welding certificates" Paragraph in "Submittals" Article.

F. Welding Qualifications:  Qualify procedures and personnel according to the following:

Retain applicable subparagraphs below.

1. AWS D1.1/D1.1M, "Structural Welding Code - Steel."

2. AWS D1.2/D1.2M, "Structural Welding Code - Aluminum."

G. Energy Performance Standards:  Comply with NFRC for minimum standards of energy performance, materials, components, accessories, and fabrication.  Comply with more stringent requirements if indicated.

Retain requirements for NFRC certification and labeling if required.  Verify which manufacturers participate in NFRC's third-party certification program for listing and labeling glazed aluminum curtain walls.

1. Provide NFRC-certified glazed aluminum curtain walls with an attached label.

H. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

Retain first subparagraph below for large-scale mockup.  Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.  Coordinate requirements with those in other Sections specifying glazing and cladding materials installed with glazed aluminum curtain walls.

1. Build mockup of typical wall area as shown on Drawings.

Retain first subparagraph below if subjecting mockup to field testing.

2. Field testing shall be performed on mockups according to requirements in "Field Quality Control" Article.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

I. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.8 PROJECT CONDITIONS

A. Field Measurements:  Verify actual locations of structural supports for glazed aluminum curtain walls by field measurements before fabrication and indicate measurements on Shop Drawings.

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Assembly Warranty:  Standard form in which [manufacturer] [Installer] agrees to repair or replace components of glazed aluminum curtain walls that do not comply with requirements or that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including, but not limited to, excessive deflection.

b. Noise or vibration created by wind and thermal and structural movements.

Delete option in first subparagraph below if retaining "Special Finish Warranty" Paragraph.

c. Deterioration of metals[, metal finishes,] and other materials beyond normal weathering.

d. Water penetration through fixed glazing and framing areas.

e. Failure of operating components.

Verify available warranties and warranty periods for glazed aluminum curtain walls with manufacturers listed in Part 2 articles.  Installer warranties are usually limited to two years; verify availability for longer periods.

2. Warranty Period:  [Two] [Five] [10] <Insert number> years from date of Substantial Completion.

B. Special Finish Warranty:  Standard form in which manufacturer agrees to repair finishes or replace aluminum that shows evidence of deterioration of factory-applied finishes within specified warranty period.

Retain first subparagraph below for factory-painted finishes.  Coordinate color fading and chalking limits with finishes retained in Part 2.

1. Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

AAMA 2604 represents a five-year set of tests; AAMA 2605 represents a 10-year set.  Warranty periods offered by manufacturers vary depending on finish selected.  Verify available warranties and warranty periods for finishes with manufacturers listed in Part 2 articles.

2. Warranty Period:  [Five] [10] [20] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Arcadia, Inc.

2. Arch Aluminum & Glass Co., Inc.

3. Bruce Wall Systems Corporation.

4. CMI Architectural.

5. EFCO Corporation.

6. Glassalum International Corporation.

7. Kawneer North America; an Alcoa company.

8. Pittco Architectural Metals, Inc.

9. Tingwall Inc.

10. TRACO.

11. Tubelite.

12. United States Aluminum.

13. Vistawall Architectural Products; The Vistawall Group; a Bluescope Steel company.

14. Waltek & Company Limited.

15. Wausau Window and Wall Systems.

16. YKK AP America Inc.

17. <Insert manufacturer's name>.

2.2 MATERIALS

A. Aluminum:  Alloy and temper recommended by manufacturer for type of use and finish indicated.

1. Sheet and Plate:  ASTM B 209 (ASTM B 209M).

2. Extruded Bars, Rods, Profiles, and Tubes:  ASTM B 221 (ASTM B 221M).

3. Extruded Structural Pipe and Tubes:  ASTM B 429.

4. Structural Profiles:  ASTM B 308/B 308M.

Retain subparagraph below for welding.

5. Welding Rods and Bare Electrodes:  AWS A5.10/A5.10M.

Retain paragraph below for internal steel reinforcement of aluminum framing members; revise to suit Project.

B. Steel Reinforcement:  Manufacturer's standard zinc-rich, corrosion-resistant primer complying with SSPC-PS Guide No. 12.00; applied immediately after surface preparation and pretreatment.  Select surface preparation methods according to recommendations in SSPC-SP COM and prepare surfaces according to applicable SSPC standard.

1. Structural Shapes, Plates, and Bars:  ASTM A 36/A 36M.

2. Cold-Rolled Sheet and Strip:  ASTM A 1008/A 1008M.

3. Hot-Rolled Sheet and Strip:  ASTM A 1011/A 1011M.

2.3 FRAMING

A. Framing Members:  Manufacturer's standard extruded- or formed-aluminum framing members of thickness required and reinforced as required to support imposed loads.

1. Construction:  [Nonthermal] [Thermally improved] [Thermally broken] <Insert description>.

2. Glazing System:  Retained mechanically with gaskets on four sides.

3. Glazing Plane:  Front.

B. Brackets and Reinforcements:  Manufacturer's standard high-strength aluminum with nonstaining, nonferrous shims for aligning system components.

C. Fasteners and Accessories:  Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding fasteners and accessories compatible with adjacent materials.

1. Use self-locking devices where fasteners are subject to loosening or turning out from thermal and structural movements, wind loads, or vibration.

2. Reinforce members as required to receive fastener threads.

Retain subparagraph below for exposed fasteners if any.

3. Use exposed fasteners with countersunk Phillips screw heads[, finished to match framing system] [, fabricated from 300 series stainless steel].

D. Anchors:  Three-way adjustable anchors with minimum adjustment of [1 inch (25.4 mm)] <Insert dimension> that accommodate fabrication and installation tolerances in material and finish compatible with adjoining materials and recommended by manufacturer.

Retain subparagraph below if applicable or revise to suit Project.

1. Concrete and Masonry Inserts:  Hot-dip galvanized cast-iron, malleable-iron, or steel inserts complying with ASTM A 123/A 123M or ASTM A 153/A 153M requirements.

E. Concealed Flashing:  [Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding flashing compatible with adjacent materials] [Dead-soft, 0.018-inch- (0.457-mm-) thick stainless steel, ASTM A 240/A 240M of type recommended by manufacturer].

F. Framing Sealants:  Manufacturer's standard sealants.

2.4 GLAZING

A. Glazing:  Comply with Division 08 Section "Glazing."

Retain first option in first paragraph below for dry glazing system based on manufacturer's standard systems and insert specific gasket-material requirements if any.  For custom systems, retain second option and specify gaskets in Division 08 Section "Glazing." Silicone glazing gaskets are available in custom colors from some manufacturers.

B. Glazing Gaskets:  [Manufacturer's standard sealed-corner pressure-glazing system of black, resilient elastomeric glazing gaskets, setting blocks, and shims or spacers.] [Comply with Division 08 Section "Glazing."]

Retain first option in paragraph below for products based on manufacturer's standard systems.  For custom systems, retain second option and specify sealants for glazing systems in Division 08 Section "Glazing."

C. Glazing Sealants:  [As recommended by manufacturer.] [Comply with Division 08 Section "Glazing."]

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

1. Provide sealants for use inside of the weatherproofing system that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2.5 INSULATED SPANDREL PANELS

Retain one of two paragraphs below.

A. Insulated Spandrel Panels:  Comply with Division 07 Section "Insulated-Core Metal Wall Panels."

Spandrel panels in paragraph below are examples of available products.  Revise to suit Project.  See Evaluations for additional information.

B. Insulated Spandrel Panels:  Laminated, metal-faced flat panels with no deviations in plane exceeding 0.8 percent of panel dimension in width or length.

1. Overall Panel Thickness:  [As indicated] [1 inch (25.4 mm)] <Insert thickness>.

2. Exterior Skin:  Aluminum.

a. Thickness:  [Manufacturer's standard for finish and texture indicated] <Insert thickness>.

b. Finish:  [Matching framing system] <Insert finish>.

c. Texture:  [Smooth] [Embossed] <Insert texture>.

d. Backing Sheet:  [1/8-inch- (3.2-mm-) thick, tempered hardboard] [0.157-inch- (4-mm-) thick, cement board] [0.125-inch- (3.2-mm-) thick, corrugated, high-density polyethylene] <Insert material>.

3. Interior Skin:  [Aluminum] [Manufacturer's standard galvanized-steel sheet].

If retaining second option in last subparagraph above, delete first three subparagraphs below.

a. Thickness:  [Manufacturer's standard for finish and texture indicated] <Insert thickness>.

b. Finish:  [Matching curtain-wall framing] [Low-gloss, white baked enamel] [Mill finish] <Insert finish>.

c. Texture:  [Smooth] [Embossed] <Insert texture>.

d. Backing Sheet:  [1/8-inch- (3.2-mm-) thick, tempered hardboard] [0.157-inch- (4-mm-) thick, cement board] [1/2-inch- (12.7-mm-) thick, gypsum board with proprietary fire-resistance-rated core] [0.125-inch- (3.2-mm-) thick, corrugated, high-density polyethylene] <Insert material>.

Authorities having jurisdiction may restrict insulation materials based on their fire-test-response characteristics.  Verify requirements of authorities having jurisdiction.

4. Thermal Insulation Core:  Manufacturer's standard [rigid, closed-cell, polyisocyanurate board] [extruded-polystyrene board] [expanded-perlite, mineral-insulation board] <Insert insulation>.

Retain subparagraph below if applicable.  If retaining, coordinate with requirements specified for backing sheets and thermal insulation core.

5. Surface-Burning Characteristics:  For exposed interior surfaces of panels, when tested according to ASTM E 84 as follows:

a. Flame-Spread Index:  [25] <Insert number> or less.

b. Smoke-Developed Index:  [450] <Insert number> or less.

2.6 OPERABLE UNITS

Retain this article if venting windows or doors are required by Project.  If applicable, insert requirements for operable units using other Division 08 Sections.

A. Venting Windows:  Comply with Division 08 Section "Aluminum Windows."

B. Doors:  Comply with Division 08 Section "Aluminum-Framed Entrances and Storefronts."

2.7 ACCESSORY MATERIALS

A. Bituminous Paint:  Cold-applied asphalt-mastic paint complying with SSPC-Paint 12 requirements except containing no asbestos, formulated for 30-mil (0.762-mm) thickness per coat.

2.8 FABRICATION

A. Form or extrude aluminum shapes before finishing.

Retain first paragraph below for welding.

B. Weld in concealed locations to greatest extent possible to minimize distortion or discoloration of finish.  Remove weld spatter and welding oxides from exposed surfaces by descaling or grinding.

C. Fabricate components that, when assembled, have the following characteristics:

1. Profiles that are sharp, straight, and free of defects or deformations.

2. Accurately fitted joints with ends coped or mitered.

3. Physical and thermal isolation of glazing from framing members.

4. Accommodations for thermal and mechanical movements of glazing and framing to maintain required glazing edge clearances.

Revise first subparagraph below to suit Project.  Most glazed aluminum curtain walls are glazed from the exterior.  Verify glazing requirements for aluminum-framed systems with manufacturers listed in Part 2 articles.

5. Provisions for field replacement of glazing from [exterior] [interior] [interior for vision glass and exterior for spandrel glazing or metal panels].

Revise first subparagraph below for safety railings if any.

6. Provisions for safety railings mounted [on interior face of mullions] [between mullions at interior].

7. Fasteners, anchors, and connection devices that are concealed from view to greatest extent possible.

Retain subparagraph below for curved components if any.

8. Components curved to indicated radii.

D. Fabricate components that, when assembled, have the following characteristics:

System in first subparagraph below uses internal drainage method to protect against both water leakage and excessive air infiltration.

1. Internal guttering system or other means to drain water passing joints, condensation occurring within framing members, and moisture migrating within glazed aluminum curtain wall to exterior.

System in subparagraph below uses pressure-equalization method to protect against both water leakage and excessive air infiltration.

2. Pressure-equalized system or double barrier design with primary air and vapor barrier at interior side of glazed aluminum curtain wall and secondary seal weeped and vented to exterior.

Insert requirements for proprietary methods that incorporate patented assemblies to protect against both water leakage and excessive air infiltration.

Retain first paragraph below if a particular assembly method is required.

E. Curtain-Wall Framing:  Fabricate components for assembly using [shear-block system] [screw-spline system] [head-and-sill-receptor system with shear blocks at intermediate horizontal members] <Insert description>.

Retain first paragraph below for unitized system or unit-and-mullion system assembly.  Revise to suit Project.

F. Factory-Assembled Frame Units:

1. Rigidly secure nonmovement joints.

2. Seal joints watertight unless otherwise indicated.

3. Install glazing to comply with requirements in Division 08 Section "Glazing."

G. After fabrication, clearly mark components to identify their locations in Project according to Shop Drawings.

Insert integral stabilization requirements for descent-control equipment used for maintenance if any.

2.9 ALUMINUM FINISHES

Retain finishes in paragraphs below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Aluminum-framing systems are available with dual finishes, allowing different interior and exterior color finishes.  See "Aluminum Finishes" Article in the Evaluations for additional information.

Retain one of two options in first paragraph below.  Class II finish is standard with many manufacturers; Class I finish is heavy anodized.  Verify availability with manufacturers selected.

A. Clear Anodic Finish:  AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first paragraph below.  Verify availability with manufacturers selected.

B. Color Anodic Finish:  AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

1. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Champagne] [Black] <Insert color>.

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

2. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

First paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish:  AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm).  Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain one of first two paragraphs below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.  Retain AAMA 2604 or AAMA 2605 for high- or superior-performance organic coatings, respectively, on extrusions and panels.  If specific products are required, name coating manufacturers and products.

D. High-Performance Organic Finish:  Two-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

E. High-Performance Organic Finish:  [Three] [Four]-coat fluoropolymer finish complying with AAMA 2605 and containing not less than [50] [70] percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain paragraph below for proprietary FEVE fluoropolymer.

F. High-Performance Organic Finish:  Two-coat fluoropolymer finish complying with AAMA 2604 and containing 100 percent FEVE resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General:

1. Comply with manufacturer's written instructions.

2. Do not install damaged components.

3. Fit joints to produce hairline joints free of burrs and distortion.

4. Rigidly secure nonmovement joints.

5. Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration and to prevent impeding movement of moving joints.

Retain first subparagraph below for field welding of components.

6. Weld components in concealed locations to minimize distortion or discoloration of finish.  Protect glazing surfaces from welding.

7. Seal joints watertight unless otherwise indicated.

B. Metal Protection:

1. Where aluminum will contact dissimilar metals, protect against galvanic action by painting contact surfaces with primer or by applying sealant or tape or installing nonconductive spacers as recommended by manufacturer for this purpose.

2. Where aluminum will contact concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

C. Install components to drain water passing joints, condensation occurring within framing members, and moisture migrating within glazed aluminum curtain wall to exterior.

D. Install components plumb and true in alignment with established lines and grades.

Retain first paragraph below for operable units.

E. Install operable units level and plumb, securely anchored, and without distortion.  Adjust weather-stripping contact and hardware movement to produce proper operation.

Retain paragraph below if glazed aluminum curtain walls are not factory glazed.

F. Install glazing as specified in Division 08 Section "Glazing."

3.3 ERECTION TOLERANCES

A. Erection Tolerances:  Install glazed aluminum curtain walls to comply with the following maximum tolerances:

Erection tolerances in subparagraphs below are examples only that are based on various AAMA references.  Coordinate with tolerances for support systems and revise to suit Project.

1. Plumb:  1/8 inch in 10 feet (3.2 mm in 3 m); 1/4 inch in 40 feet (6 mm in 12 m).

2. Level:  1/8 inch in 20 feet (3.2 mm in 6 m); 1/4 inch in 40 feet (6 mm in 12 m).

3. Alignment:

a. Where surfaces abut in line or are separated by reveal or protruding element up to 1/2 inch (12.7 mm) wide, limit offset from true alignment to 1/16 inch (1.6 mm).

b. Where surfaces are separated by reveal or protruding element from 1/2 to 1 inch (12.7 to 25.4 mm) wide, limit offset from true alignment to 1/8 inch (3.2 mm).

c. Where surfaces are separated by reveal or protruding element of 1 inch (25.4 mm) wide or more, limit offset from true alignment to 1/4 inch (6 mm).

4. Location:  Limit variation from plane to 1/8 inch in 12 feet (3.2 mm in 3.7 m); 1/2 inch (12.7 mm) over total length.

3.4 FIELD QUALITY CONTROL

Retain first paragraph below to identify who shall perform tests and inspections.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.  See the "Field Testing" Article in the Evaluations for discussion on field testing.

A. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

B. Testing Services:  Testing and inspecting of representative areas of glazed aluminum curtain walls shall take place as installation proceeds to determine compliance of installed assemblies with specified requirements.

If retaining first two subparagraphs below, verify with qualified testing agencies that Project conditions will allow satisfactory static-pressure field testing for air infiltration and water penetration.  Coordinate static-pressure field-test performance requirements with static-pressure laboratory-test performance requirements specified in Part 1.

ASTM E 783 requires using a static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa) unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  A static-air-pressure differential of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

1. Air Infiltration:  Areas shall be tested for air leakage of [1.5 times the rate specified for laboratory testing in "Performance Requirements" Article, but not more than 0.50 cfm/sq. ft. (2.25 L/s per sq. m),] <Insert rate> of fixed wall area when tested according to ASTM E 783 at a minimum static-air-pressure differential of [1.57 lbf/sq. ft. (75 Pa)] [6.24 lbf/sq. ft. (300 Pa)] <Insert value>.

a. Test Area:  [One bay wide, but not less than 30 feet (9.1 m), by one story of glazed aluminum curtain wall] <Insert requirements>.

Retain one of first two subparagraphs below.

b. Perform a minimum of [two] [three] <Insert number> tests in areas as directed by Architect.

c. Perform tests in each test area as directed by Architect.  Perform at least three tests, prior to [10, 35, and 70 percent completion] <Insert requirements>.

2. Water Penetration:  Areas shall be tested according to ASTM E 1105 at a minimum [uniform] [and] [cyclic] static-air-pressure differential of [0.67 times the static-air-pressure differential specified for laboratory testing in "Performance Requirements" Article, but not less than 6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>, and shall not evidence water penetration.

a. Test Area:  [One bay wide, but not less than 30 feet (9.1 m), by one story of glazed aluminum curtain wall] <Insert requirements>.

Retain one of first two subparagraphs below.

b. Perform a minimum of [two] [three] <Insert number> tests in areas as directed by Architect.

c. Perform tests in each test area as directed by Architect.  Perform at least three tests, prior to [10, 35, and 70 percent completion] <Insert requirements>.

Usually retain inexpensive test in subparagraph below to check resistance of glazed aluminum curtain walls to water penetration.

3. Water Spray Test:  Before installation of interior finishes has begun, areas designated by Architect shall be tested according to AAMA 501.2 and shall not evidence water penetration.

a. Test Area:  [A minimum area of 75 feet (23 m) by one story of glazed aluminum curtain wall] <Insert requirements>.

See Division 01 Section "Quality Requirements" for retesting and reinspecting requirements and Division 01 Section "Execution" for requirements for correcting the Work.

C. Glazed aluminum curtain walls will be considered defective if they do not pass tests and inspections.

D. Prepare test and inspection reports.

END OF SECTION 084413

	GLAZED ALUMINUM CURTAIN WALLS
	084413 - 1



