Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
08/04 (R 02/06)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 085113 - ALUMINUM WINDOWS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes [fixed] [and] [operable] aluminum-framed windows for exterior locations.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 08 Section "Aluminum-Framed Entrances and Storefronts" for coordinating finish among aluminum fenestration units.

2. Division 08 Section "Security Glazing" for security glazing requirements for aluminum windows, including those specified to be factory- or site-glazed units.

3. Division 08 Section "Glazed Aluminum Curtain Walls" for incorporating aluminum windows into glazed curtain walls and for coordinating finish among aluminum fenestration units.

4. Division 26 Sections for electrical service and connections for motor operators, controls, limit switches, and other powered devices and for system disconnect switches for motorized window operators.

1.3 DEFINITIONS

Retain abbreviations, definitions, and terms that remain after this Section has been edited.

A. Performance class designations according to AAMA/WDMA 101/I.S.2/NAFS:

1. AW:  Architectural.

2. HC:  Heavy Commercial.

3. C:  Commercial.

4. LC:  Light Commercial.

5. R:  Residential.

B. Performance grade number according to AAMA/WDMA 101/I.S.2/NAFS:

1. Design pressure number in pounds force per square foot (pascals) used to determine the structural test pressure and water test pressure.

C. Structural Test Pressure:  For uniform load structural test, is equivalent to 150 percent of the design pressure.

D. Minimum Test Size:  Smallest size permitted for performance class (gateway test size).  Products must be tested at minimum test size or at a size larger than minimum test size to comply with requirements for performance class.

1.4 PERFORMANCE REQUIREMENTS

A. General:  Provide aluminum windows capable of complying with performance requirements indicated, based on testing manufacturer's windows that are representative of those specified, and that are of minimum test size indicated below:

Retain one of three subparagraphs below.  AAMA/WDMA 101/I.S.2/NAFS allows manufacturer to use a smaller size than required under gateway performance requirements to test for compliance with optional performance grade.

1. Size required by AAMA/WDMA 101/I.S.2/NAFS for [gateway performance] [optional performance grade] [gateway performance for both gateway performance and optional performance grade].

2. Size indicated [on Drawings] [in a schedule].

3. <Insert size.>

Retain paragraph and subparagraphs below if Architect has either delegated design responsibility to Contractor or wants to review structural data as another way to verify windows' compliance with performance requirements or performance designation.

B. Structural Performance:  Provide aluminum windows capable of withstanding the effects of the following loads, based on testing units representative of those indicated for Project that pass AAMA/WDMA 101/I.S.2/NAFS, Uniform Load Structural Test:

Model building codes require windows and other fenestration to be designed and installed, according to ASCE 7, to withstand wind pressure loads for components and cladding.  Revise subparagraph below if loads are developed from wind-tunnel tests.  Building heights and window locations should be shown on Drawings.

1. Design Wind Loads:  Determine design wind loads applicable to Project from basic wind speed indicated in miles per hour (meters per second) at 33 feet (10 m) above grade, according to ASCE 7, Section 6.5, "Method 2-Analytical Procedure," based on mean roof heights above grade indicated on Drawings.

Delete four subparagraphs below if information is indicated on Drawings.  Other factors that adjust for building height, shape, and other characteristics such as topographic factor, gust effect factor, and enclosure classifications may need to be included.  This information should enable contractors to require window manufacturers to determine positive and negative design wind pressure loads.

a. Basic Wind Speed:  [85 mph (38 m/s)] [90 mph (40 m/s)] <Insert value>.

b. Importance Factor:  <Insert factor>.

c. Exposure Category:  [A] [B] [C] [D].

d. <Insert factor.>

AAMA/WDMA 101/I.S.2/NAFS makes an exception to requirement in ASTM E 1300 and in GANA's "Glazing Manual" for R, LC, and C class windows that frame systems be sufficiently stiff to limit lateral deflections of glass edges to less than 1/175 of their length.  Only AW and HC class windows must pass the Uniform Load Deflection Test.  Retaining subparagraph below for windows other than AW and HC classes may require manufacturers to provide a custom window unless calculations or test data recorded during the Uniform Load Structural Test indicate that frame deflections comply with the 1/175 limitation.

2. Deflection:  Design glass framing system to limit lateral deflections of glass edges to less than 1/175 of glass-edge length or 3/4 inch (19 mm), whichever is less, at design pressure based on testing performed according to AAMA/WDMA 101/I.S.2/NAFS, Uniform Load Deflection Test or structural computations.

Model building codes and ASCE 7 establish criteria for buildings in hurricane-prone locations.  Authorities having jurisdiction may accept other test methods and protocols.  Verify requirements of authorities having jurisdiction.

C. Windborne-Debris Resistance:  Provide glazed windows capable of resisting impact from windborne debris, based on the pass/fail criteria as determined from testing glazed windows identical to those specified, according to [ASTM E 1886 and testing information in ASTM E 1996] [or] [AAMA 506] <Insert test method> and requirements of authorities having jurisdiction.

D. Thermal Movements:  Provide aluminum windows, including anchorage, that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in option in subparagraph below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C) material surfaces] <Insert range>.

1.5 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, fabrication methods, dimensions of individual components and profiles, hardware, finishes, and operating instructions for each type of aluminum window indicated.

Retain subparagraph below for electric operation.

1. Motors:  Show nameplate data, ratings, characteristics, and mounting arrangements.

B. Shop Drawings:  Include plans, elevations, sections, details, hardware, attachments to other work, operational clearances, installation details, and the following:

Retain applicable subparagraphs below; delete others.

1. Mullion details, including reinforcement and stiffeners.

2. Joinery details.

3. Expansion provisions.

4. Flashing and drainage details.

5. Weather-stripping details.

6. Thermal-break details.

7. Glazing details.

8. Window cleaning provisions.

9. Window System Operators:  Show locations, mounting, and details for installing operator components and controls.

Retain subparagraph above for manually operated group or gang-type operating systems; retain both subparagraphs below for electrically operated systems.

10. Window System Operators:  Show locations and details for installing operator components, switches, and controls.  Indicate motor size, electrical characteristics, drive arrangement, mounting, and grounding provisions.

11. Wiring Diagrams:  Power, signal, and control wiring.

Retain first subparagraph below if windows are required to withstand specific design loads and Architect either has delegated design responsibility to Contractor or wants to review structural data as another way to verify windows' compliance with performance requirements or performance designation.

12. For installed products indicated to comply with design loads, include structural analysis data prepared by or under the supervision of a qualified professional engineer detailing fabrication and assembly of aluminum windows and used to determine the following:

a. Structural test pressures and design pressures from wind loads indicated.

b. Deflection limitations of glass framing systems.

C. Samples for Initial Selection:  For units with factory-applied color finishes.

1. Include similar Samples of hardware and accessories involving color selection.

Delete paragraph and subparagraph above if colors are preselected and specified or scheduled.  Retain first paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For aluminum windows and components required, prepared on Samples of size indicated below.

Adjust list below to suit Project.

1. Main Framing Member:  12-inch- (300-mm-) long, full-size sections of extrusions with factory-applied color finish.

2. Window Corner Fabrication:  12-by-12-inch- (300-by-300-mm-) long, full-size window corner including full-size sections of extrusions with factory-applied color finish, weather stripping, and glazing.

3. Operable Window:  Full-size unit with factory-applied finish.

4. Hardware:  Full-size units with factory-applied finishes.

5. Weather Stripping:  12-inch- (300-mm-) long sections.

6. <Insert component>:  <Insert description>.

E. Product Schedule:  For aluminum windows.  Use same designations indicated on Drawings.

Coordinate paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For [Installer] [manufacturer] [professional engineer] [and] [testing agency].

Retain paragraph below if Contractor is responsible for field quality-control testing.

G. Field quality-control test reports.

Retain option in first paragraph below if manufacturers verify and their product literature indicates that aluminum windows were tested according to AAMA/WDMA procedures.

H. Product Test Reports:  Based on evaluation of comprehensive tests performed [within the last four years ]by a qualified testing agency for each type, class, grade, and size of aluminum window.  Test results based on use of downsized test units will not be accepted.

I. Maintenance Data:  For [operable window sash] [operating hardware] [weather stripping] [window system operators] [and] finishes to include in maintenance manuals.

J. Warranty:  Special warranty specified in this Section.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  An installer acceptable to aluminum window manufacturer for installation of units required for this Project.

Delete subparagraphs below if Contractor is not required to assume responsibility for engineering.

1. Installer's responsibilities include providing professional engineering services needed to assume engineering responsibility.

2. Engineering Responsibility:  Preparation of data for aluminum windows, including Shop Drawings, based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project.

B. Manufacturer Qualifications:  A manufacturer capable of fabricating aluminum windows that meet or exceed performance requirements indicated and of documenting this performance by inclusion in lists and by labels, test reports, and calculations.

C. Source Limitations:  Obtain aluminum windows through one source from a single manufacturer.

D. Product Options:  Information on Drawings and in Specifications establishes requirements for aluminum windows' aesthetic effects and performance characteristics.  Aesthetic effects are indicated by dimensions, arrangements, alignment, and profiles of components and assemblies as they relate to sightlines, to one another, and to adjoining construction.  Performance characteristics are indicated by criteria subject to verification by one or more methods including preconstruction testing, field testing, and in-service performance.

Retain paragraph above or below.  Retain below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Coordinate with Division 01 requirements.

E. Product Options:  Drawings indicate size, profiles, and dimensional requirements of aluminum windows and are based on the specific system indicated.  Refer to Division 01 Section "Product Requirements." Do not modify size and dimensional requirements.

Retain subparagraph below with either "Product Options" Paragraph above or revise to suit Project.

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

Delete first paragraph below if no electric operators.

F. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

G. Fenestration Standard:  Comply with AAMA/WDMA 101/I.S.2/NAFS, "North American Fenestration Standard Voluntary Performance Specification for Windows, Skylights and Glass Doors," for definitions and minimum standards of performance, materials, components, accessories, and fabrication.  Comply with more stringent requirements if indicated.

Retain requirements for AAMA or WDMA certification and labeling if required.  Not all manufacturers that test products to demonstrate compliance with AAMA/WDMA testing and performance requirements participate in AAMA's or WDMA's third-party certification program for listing and labeling aluminum windows.

1. Provide [AAMA] [WDMA]-certified aluminum windows with an attached label.

H. Glazing Publications:  Comply with published recommendations of glass manufacturers and with GANA's "Glazing Manual" unless more stringent requirements are indicated.

Delete paragraph and subparagraph below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

I. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below for large-scale mockup or include in Division 01 Section "Quality Requirements."

1. Build mockup for type(s) of window(s) indicated, in location(s) shown on Drawings.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

J. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

Retain paragraph above if requirements in Division 01 are adequate for Project.  Retain paragraph below if additional requirements are necessary; include information about conference.  Identify specific participants not mentioned in Division 01.

K. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination." Review methods and procedures related to aluminum windows including, but not limited to, the following:

Delete subparagraphs below if not required.  If retaining, revise to include product-specific requirements.  Insert additional requirements to suit Project.

1. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

2. Review and discuss the finishing of aluminum windows that is required to be coordinated with the finishing of other aluminum work for color and finish matching.

3. Review, discuss, and coordinate the interrelationship of aluminum windows with other exterior wall components.  Include provisions for structural anchorage, glazing, flashing, weeping, sealants, and protection of finishes.

4. Review and discuss the sequence of work required to construct a watertight and weathertight exterior building envelope.

5. Inspect and discuss the condition of substrate and other preparatory work performed by other trades.

Insert below agenda items not listed in Division 01 Section "Project Management and Coordination."

1.7 PROJECT CONDITIONS

A. Field Measurements:  Verify aluminum window openings by field measurements before fabrication and indicate measurements on Shop Drawings.

Delete subparagraph below if not allowed.

1. Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish opening dimensions and proceed with fabricating aluminum windows without field measurements.  Coordinate wall construction to ensure that actual opening dimensions correspond to established dimensions.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace aluminum windows that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Failure to meet performance requirements.

b. Structural failures including excessive deflection, water leakage, air infiltration, or condensation.

c. Faulty operation of movable sash and hardware.

d. Deterioration of metals, other materials, and metal finishes beyond normal weathering.

e. Failure of insulating glass.

2. Warranty Period:

Verify available warranties for units and components and retain or insert numbers in subparagraphs below.

a. Window:  [Two] [Three] <Insert number> years from date of Substantial Completion.

Some manufacturers offer a 10-year warranty on insulating glass but may insist that warranty begins on date of manufacture.

b. Glazing:  [Five] [10] <Insert number> years from date of Substantial Completion.

c. Metal Finish:  [Five] [10] [15] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations in Division 08 Section "Windows" for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers in this Article.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

List below contains some aluminum window manufacturers with national distribution that certify that their products comply with AAMA/NWWDA 101/I.S.2 or AAMA/WDMA 101/I.S.2/NAFS.  Delete manufacturers that do not produce the products required or whose products do not correspond with performance specified.  Retain manufacturers whose availability and suitability for application have been verified.  Insert other manufacturers if required.

1. All Seasons Windows & Doors; All Seasons Commercial Division, Inc.

2. Boyd Aluminum Manufacturing.

3. Custom Window Company.

4. DeSCo Windows.

5. EFCO Corporation.

6. EXTECH Exterior Technologies, Inc.

7. Fleetwood Aluminum Products, Inc.

8. Gerkin Windows and Doors.

9. Graham Architectural Products Corp.

10. Kawneer; an Alcoa Company.

11. Mannix; a division of Interstate Window Corp.

12. Peerless Products Inc.

13. Thermal Windows, Inc.

14. TRACO.

15. Wausau Window and Wall Systems.

16. Winco Window Company.

17. Window Technologies, Inc.; Century Manufacturing, Inc.

18. YKK AP America Inc.

19. <Insert manufacturer's name.>

2.2 MATERIALS

Delete this Article if materials specified in AAMA/WDMA 101/I.S.2/NAFS are acceptable.  If control over some materials is required, retain or edit applicable paragraphs and subparagraphs below.

A. Aluminum Extrusions:  Alloy and temper recommended by aluminum window manufacturer for strength, corrosion resistance, and application of required finish, but not less than 22,000-psi (150-MPa) ultimate tensile strength, not less than 16,000-psi (110-MPa) minimum yield strength, and not less than 0.062-inch (1.6-mm) thickness at any location for the main frame and sash members.

B. Fasteners:  Aluminum, nonmagnetic stainless steel, epoxy adhesive, or other materials warranted by manufacturer to be noncorrosive and compatible with aluminum window members, trim, hardware, anchors, and other components.

Retain subparagraph below except for least expensive workmanship.

1. Reinforcement:  Where fasteners screw anchor into aluminum less than 0.125 inch (3.2 mm) thick, reinforce interior with aluminum or nonmagnetic stainless steel to receive screw threads, or provide standard, noncorrosive, pressed-in, splined grommet nuts.

Generally retain subparagraph below.  Revise if exposed fasteners are permitted.

2. Exposed Fasteners:  Unless unavoidable for applying hardware, do not use exposed fasteners.  For application of hardware, use fasteners that match finish of member or hardware being fastened, as appropriate.

First paragraph below is adequate for most projects; structural calculations may be required on major projects.

C. Anchors, Clips, and Accessories:  Aluminum, nonmagnetic stainless steel, or zinc-coated steel or iron complying with ASTM B 633 for SC 3 severe service conditions; provide sufficient strength to withstand design pressure indicated.

D. Reinforcing Members:  Aluminum, nonmagnetic stainless steel, or nickel/chrome-plated steel complying with ASTM B 456 for Type SC 3 severe service conditions, or zinc-coated steel or iron complying with ASTM B 633 for SC 3 severe service conditions; provide sufficient strength to withstand design pressure indicated.

Delete first two paragraphs and associated subparagraphs below if aluminum windows are not weather stripped.  Otherwise, select appropriate method.

E. Compression-Type Weather Stripping:  Provide compressible weather stripping designed for permanently resilient sealing under bumper or wiper action and for complete concealment when aluminum window is closed.

Retain one of three subparagraphs below.

1. Weather-Stripping Material:  Elastomeric cellular preformed gaskets complying with ASTM C 509.

2. Weather-Stripping Material:  Dense elastomeric gaskets complying with ASTM C 864.

3. Weather-Stripping Material:  Manufacturer's standard system and materials complying with AAMA/WDMA 101/I.S.2/NAFS.

Sliding-type weather stripping is primarily for double-hung or horizontal-sliding windows.  Delete first paragraph below if these types of units are not included or if full weather stripping is not desired.

F. Sliding-Type Weather Stripping:  Provide woven-pile weather stripping of wool, polypropylene, or nylon pile and resin-impregnated backing fabric.  Comply with AAMA 701/702.

Retain subparagraph below for improved air-infiltration and water-penetration resistance.

1. Weather Seals:  Provide weather stripping with integral barrier fin or fins of semirigid, polypropylene sheet or polypropylene-coated material.  Comply with AAMA 701/702.

G. Replaceable Weather Seals:  Comply with AAMA 701/702.

H. Sealant:  For sealants required within fabricated windows, provide window manufacturer's standard, permanently elastic, nonshrinking, and nonmigrating type recommended by sealant manufacturer for joint size and movement.

Insert requirements for mullion covers; trim pieces such as brick molds; and head, jamb, and sill extenders available from some manufacturers.

2.3 WINDOW <Insert drawing designation>

Copy this Article for each type of window required and re-edit to suit product and Project.  Paragraph below may not be needed if window type is indicated by a basis-of-design product name or designation.

A. Window Type:  [Casement] [Double hung] [Dual action] [Fixed] [Horizontal sliding] [Projected] [Projected awning] [Single hung] [Top-hinged inswinging] [Vertically pivoted] [As indicated on Drawings] [As indicated in a schedule] <Insert window type>.

Retain option in paragraph below if requirements exceed minimums set by AAMA/WDMA 101/I.S.2/NAFS.

B. AAMA/WDMA Performance Requirements:  Provide aluminum windows of performance indicated that comply with AAMA/WDMA 101/I.S.2/NAFS[ unless more stringent performance requirements are indicated].

Retain one of six subparagraphs below if AAMA/WDMA 101/I.S.2/NAFS performance designation is the method selected for specifying windows and AAMA/WDMA minimum gateway performance or optional performance is acceptable.  Use this method by indicating AAMA/WDMA performance class and performance grade that suit most stringent structural, air-infiltration, and water-resistance performance requirements needed for Project, based on largest window size for Project.  First grade value with each performance class is for minimum gateway performance.  Optional performance grades are examples only.  If more than one class or grade is required, indicate performance classes and grades on Drawings or in a window schedule.  Verify availability of class and grade specified with manufacturers selected.

This method makes architects responsible for determining, by themselves or with advice of a qualified professional engineer, not only the basic wind speed applicable to Project but also the specific positive and negative design pressures at corners and other areas of the building, using the analytical method in ASCE 7.

1. Performance Class and Grade:  R[15] [20] [25] <Insert grade>.

2. Performance Class and Grade:  LC[25] [30] [35] <Insert grade>.

3. Performance Class and Grade:  C[30] [35] [40] <Insert grade>.

4. Performance Class and Grade:  HC[40] [45] [50] <Insert grade>.

5. Performance Class and Grade:  AW[40] [45] [50] <Insert grade>.

6. Performance Class and Grade:  As indicated.

Consider retaining subparagraph below if test performance method is selected for specifying windows and designating a performance class does not conflict with basic wind speed and performance testing indicated.  Retaining this subparagraph is not required if test performance method is selected for specifying windows but it may be useful to establish a quality level and testing protocol per AAMA/WDMA 101/I.S.2/NAFS for windows.  For example, life-cycle testing is required by AAMA/WDMA 101/I.S.2/NAFS for operable AW class windows only.

7. Performance Class:  [R] [LC] [C] [HC] [AW].

AAMA/WDMA 101/I.S.2/NAFS does not require testing for condensation resistance.  Revise paragraph below to suit Project.  Window industry CRFs are typically between 45 and 75.  First option in paragraph is suitable for most of the U.S. at 25 percent relative humidity where outdoor design temperature is below 0 deg F (minus 18 deg C); second option is suitable for same relative humidity at minus 10 deg F (minus 23 deg C).  In northern states where winter outdoor design temperature is lower, increase factor.  If buildings have mechanically controlled humidification, coordinate CRF with design conditions for humidity level.  See AAMA 1503.

C. Condensation-Resistance Factor (CRF):  Provide aluminum windows tested for thermal performance according to AAMA 1503, showing a CRF of [45] [52] <Insert value>.

AAMA/WDMA 101/I.S.2/NAFS does not require testing for thermal transmittance.  Revise paragraph and subparagraph below to comply with requirements of authorities having jurisdiction, or delete if not needed.  See the Evaluations in Division 08 Section "Windows." Select test option complying with energy code applicable to Project.

D. Thermal Transmittance:  Provide aluminum windows with a whole-window, U-factor maximum indicated at 15-mph (24-km/h) exterior wind velocity and winter condition temperatures when tested according to [AAMA 1503] [ASTM E 1423] [NFRC 100].

U-factors vary with glazing selection; window operation, e.g., casement or double hung; and construction, e.g., with or without thermal break; and other variables.  Whole-fenestration-unit U-factors are greater than center-of-glass U-factors.  First, second, and fourth options in subparagraph below are recommended by the Efficient Window Collaborative for the northern, central, and southern zones of the U.S., respectively.  Third option is U-factor requirement per ASHRAE/IESNA 90.1-1999 for window-to-wall ratios of less than 0.2 for large buildings and 0.15 for small buildings.

1. U-Factor:  [0.35 Btu/sq. ft. x h x deg F (2.0 W/sq. m x K)] [0.40 Btu/sq. ft. x h x deg F (2.3 W/sq. m x K)] [0.43 Btu/sq. ft. x h x deg F (2.5 W/sq. m x K)] [0.60 Btu/sq. ft. x h x deg F (3.4 W/sq. m x K)] <Insert value appropriate to system of measure> or less.

AAMA/WDMA 101/I.S.2/NAFS does not require determining SHGC.  Delete paragraph below if not required by authorities having jurisdiction or if not needed.  SHGC requirements vary with regional location; glazing selection; window construction, e.g., frame depth; and other factors.  See the Evaluations in Division 08 Section "Windows." First option in paragraph is the maximum SHGC per IECC 2003 requirements for the area-weighted average SHGC of all fenestration installed in climates up to 3500 HDD (cooling climates).  Second and third options are recommended by the Efficient Window Collaborative for the northern and central zones of the U.S., respectively, for spaces where cooling is a concern.

E. Solar Heat-Gain Coefficient (SHGC):  Provide aluminum windows with a whole-window SHGC maximum of [0.40] [0.50] [0.55] <Insert value>, determined according to NFRC 200 procedures.

AAMA/WDMA 101/I.S.2/NAFS does not require testing for acoustical performance.  Delete paragraph below if not required.  STC ratings indicated in paragraph are examples only.  STC levels higher than 35 may require costly design modifications and special glazing.  Revise if windows tested according to ASTM E 90 and determined by ASTM E 1332 for Outside-Inside Transmission Class (OITC), or if windows tested according to ASTM E 1425 or AAMA 1801, are required.

Because STC was devised to evaluate construction subject to interior sound frequencies and does not include all typical outdoor frequencies, OITC was developed to evaluate an expanded sound-frequency range thought to be more reflective of noise conditions the building envelope is subject to, such as road, rail, and airplane traffic.  Laboratory ratings are frequently better than ratings resulting from on-site testing because laboratory conditions are carefully controlled.

F. Sound Transmission Class (STC):  Provide glazed windows rated for not less than [26] [30] [35] <Insert rating> STC when tested for laboratory sound transmission loss according to ASTM E 90 and determined by ASTM E 413.

If AAMA/WDMA 101/I.S.2/NAFS performance designation is the method selected for specifying windows and AAMA/WDMA minimum gateway performance or optional performance is acceptable, usually delete remaining paragraphs and subparagraphs below.  Any of these paragraphs could be retained with performance designation indicated in the "AAMA/WDMA Performance Requirements" Paragraph and subparagraphs in this Article, if window performance exceeds AAMA/WDMA minimum gateway performance or optional performance.

Retain remaining paragraphs and subparagraphs if test performance method is selected for specifying windows; delete if they do not suit product and Project.

Retain air-infiltration values to suit windows selected.  Optional example values, in order of least to most stringent, are maximum infiltration values allowed at test pressure set for different combinations of product type and performance class according to AAMA/WDMA 101/I.S.2/NAFS.  See Sections 5 and 8 and Table 9.1 in AAMA/WDMA 101/I.S.2/NAFS.

G. Air Infiltration:  Maximum rate not more than indicated when tested according to AAMA/WDMA 101/I.S.2/NAFS, Air Infiltration Test.

1. Maximum Rate:  0.3 cfm/sq. ft. (5 cu. m/h x sq. m) of area at an inward test pressure of 1.57 lbf/sq. ft. (75 Pa).

Test pressure in subparagraph above is equivalent to 25-mph (40-km/h) wind speed and is typically used to test R, C, and LC performance classes; test pressure in first and second subparagraphs below is equivalent to a 50-mph (80-km/h) wind speed and is typically used to test HC and AW performance classes.

2. Maximum Rate:  0.3 cfm/sq. ft. (5 cu. m/h x sq. m) of area at an inward test pressure of 6.24 lbf/sq. ft. (300 Pa).

3. Maximum Rate:  0.1 cfm/sq. ft. (2 cu. m/h x sq. m) of area at an inward test pressure of 6.24 lbf/sq. ft. (300 Pa).

4. Maximum Rate:  <Insert rate and test pressure.>

H. Water Resistance:  No water leakage as defined in AAMA/WDMA referenced test methods at a water test pressure equaling that indicated, when tested according to AAMA/WDMA 101/I.S.2/NAFS, Water Resistance Test.

Retain first subparagraph below if performance equal to minimum for all other classes set by AAMA/WDMA 101/I.S.2/NAFS is required.  Retain second subparagraph if performance equal to minimum for AW class windows set by AAMA/WDMA 101/I.S.2/NAFS is required for Project.  Revise either subparagraph if AAMA/WDMA 101/I.S.2/NAFS limit for test pressure of 15 lbf/sq. ft. (720 Pa) does not suit Project.  Revising either subparagraph without verifying with manufacturers that they have tested to greater pressures risks requiring additional testing.

1. Test Pressure:  15 percent of positive design pressure, but not less than 2.86 lbf/sq. ft. (140 Pa) or more than 15 lbf/sq. ft. (720 Pa).

2. Test Pressure:  20 percent of positive design pressure, but not more than 15 lbf/sq. ft. (720 Pa).

3. Test Pressure:  <Insert percent and pressure.>

First option in paragraph below for performance grade indicated for forced-entry resistance is lowest recognized by ASTM F 588 and is mandatory if AAMA/WDMA 101/I.S.2/NAFS is the method selected for specifying window performance.  Select another performance grade to suit Project security objectives or requirements of authorities having jurisdiction, and verify availability with manufacturers.

I. Forced-Entry Resistance:  Comply with Performance Grade [10] [20] [30] [40] requirements when tested according to ASTM F 588.

Life-cycle testing is required by AAMA/WDMA 101/I.S.2/NAFS for AW class windows only, of all types except fixed windows.  Delete if life-cycle testing is not required to suit Project or is unavailable for product.

J. Life-Cycle Testing:  Test according to AAMA 910 and comply with AAMA/WDMA 101/I.S.2/NAFS.

Delete paragraph below if no operable windows.  Auxiliary tests below consist of a different combination of tests for each type of operable window.

K. Operating Force and Auxiliary (Durability) Tests:  Comply with AAMA/WDMA 101/I.S.2/NAFS for operating window types indicated.

2.4 GLAZING

A. Glass and Glazing Materials:  Refer to Division 08 Section "Glazing" for glass units and glazing requirements applicable to glazed aluminum window units.

Retain paragraph above to suit Project if Division 08 Section "Glazing" is included.  Retain paragraph below if standard factory-glazed windows are sufficient for Project.  Insert drawing designation if more than one type of glass is required to suit Project.  Some manufacturers offer several glazing options, including special units for hot or cold climates.  Insert below special requirements such as heat-strengthened glass, fully tempered glass, and tinted or heat-mirror-type glass.

B. Glass <Insert drawing designation>:  [Clear, insulating-glass units] [Clear, insulating-glass units, with low-E coating pyrolytic on second surface or sputtered on second or third surface,] [Clear, insulating-glass units, argon gas filled, with low-E coating pyrolytic on second surface or sputtered on second or third surface,] <Insert glass type, description, and performance requirements> complying with Division 08 Section "Glazing."

Insert requirements in paragraph above and below if custom glass and glazing requirements for windows must be specified entirely in this Section.

C. Glazing System:  [Manufacturer's standard factory-glazing system that produces weathertight seal.] [Manufacturer's standard factory-glazing system that produces weathertight seal and complies with requirements for windborne-debris resistance.] [Manufacturer's standard factory-glazing system as indicated in Division 08 Section "Glazing."] <Insert glazing requirements.>

Retain paragraph below for improved thermal or acoustical performance of dual-action windows and to accommodate other special provisions for vertically pivoted windows.

D. Dual-Action Windows:  Provide pivoting unit for double glazing, constructed of one sheet of glass in a removable sash for access to interior of unit, installed with airtight gaskets.

2.5 HARDWARE

Delete this Article if hardware specified in AAMA/WDMA 101/I.S.2/NAFS is acceptable.  If control over some items is required, retain or edit applicable paragraphs and subparagraphs below.

Nonmagnetic stainless steel, Series 300, or a superior corrosion-resistant-coated metal may be required to meet specific customer or regional needs and for protection against corrosive environments, such as in urban, coastal, or industrial areas.

A. General:  Provide manufacturer's standard hardware fabricated from aluminum, stainless steel, carbon steel complying with AAMA 907, or other corrosion-resistant material compatible with aluminum; designed to smoothly operate, tightly close, and securely lock aluminum windows, and sized to accommodate sash or ventilator weight and dimensions.  Do not use aluminum in frictional contact with other metals.  Where exposed, provide [solid bronze] [extruded, cast, or wrought aluminum] [die-cast zinc with special coating finish] [or] [nonmagnetic stainless steel].

Retain paragraph below with single-, double-, and triple-hung windows.  AAMA/WDMA 101/I.S.2/NAFS allows compliance with AAMA 902 or AAMA 908.  AAMA 908 specifies friction sash balances.  A friction balance holds a sash in position by friction and is a low-cost, inferior-performance balance often not accepted by authorities having jurisdiction.

B. Counterbalancing Mechanism:  Comply with AAMA 902.

Retain one option in subparagraph below or delete all if not critical.  AAMA 902 requires that sash balances be capable of lifting typically 40 percent of sash weight.  See AAMA 902 and consult manufacturers for availability and suitability.

1. Sash Balance:  Concealed, [tape-spring type] [spiral-tube type] [spring-loaded, block-and-tackle type] [ultralift spring type capable of lifting 70 percent of sash weight], of size and capacity to hold sash stationary at any open position.

Retain three paragraphs below for horizontal-sliding windows.  Retain one option in first paragraph or delete both options if not critical.

C. Sill Cap/Track:  [Extruded-aluminum track with natural anodized finish] [Rigid PVC or other weather-resistant plastic track with manufacturer's standard integral color], of thickness, dimensions, and profile indicated; designed to comply with performance requirements indicated and to drain to the exterior.

D. Locks and Latches:  Designed to allow unobstructed movement of the sash across adjacent sash in direction indicated and operated from the inside only.

E. Roller Assemblies:  Low-friction design.

Retain paragraph above for horizontal-sliding windows.  Retain first paragraph below for awning and projected windows with fixed screens and to suit product.

F. Push-Bar Operators:  Provide telescoping-type, push-bar operator designed to open and close ventilators with fixed screens.

G. Gear-Type Rotary Operators:  Comply with AAMA 901 when tested according to ASTM E 405, Method A.

1. Operation Function:  All ventilators move simultaneously and securely close at both jambs without using additional manually controlled locking devices.

Retain paragraph and subparagraph above and paragraph and subparagraphs below for awning windows.  Depending on Project requirements, retain above or below, or both, for casement and projected windows.  Below may be retained for drop-head, top-hinged inswinging windows.

H. Four- or Six-Bar Friction Hinges:  Comply with AAMA 904.

If retaining paragraph above and subparagraphs below for manually operated, screened outswinging casement windows, push-bar operators, screen wickets, or side-hinged screens are required.

1. Locking mechanism and handles for manual operation.

2. Friction Shoes:  Provide friction shoes of nylon or other nonabrasive, nonstaining, noncorrosive, durable material.

Limit devices are designed to restrict ventilator opening and are desirable for high-rise applications where high winds or safety is important.

I. Limit Devices:  Provide limit devices designed to restrict sash or ventilator opening.

1. Safety Devices:  Limit clear opening to [4 inches (100 mm)] [6 inches (150 mm)] <Insert dimension> for ventilation; with custodial key release.

Delete paragraph below if Project does not include manually operated windows more than 72 inches (1800 mm) above floor.

J. Pole Operators:  Tubular-shaped anodized aluminum; with rubber-capped lower end and standard push-pull hook at top to match hardware design; of sufficient length to operate window without reaching more than 60 inches (1500 mm) above floor; 1 pole operator and pole hanger per room that has operable windows more than 72 inches (1800 mm) above floor.

Paragraphs and subparagraphs remaining in this Article describe window types with examples of common hardware options.  Retain, revise, or delete to suit Project and products and add additional requirements if needed.  Note that hardware affects performance ratings and that specific hardware is part of test specimen description included in test reports.  Verify with manufacturers that hardware specifications retained below do not adversely affect window performance and are compatible with one another.  Delete below if manufacturer's standard hardware package is acceptable for each window operation.

Delete paragraph and subparagraphs below if casement windows are not required for Project.

K. Casement Windows:  Provide the following operating hardware:

Delete subparagraph and associated subparagraphs below if a lock alone with pull handles or a combination lever handle and locking device is sufficient.

1. Operator:  [Gear-type rotary single-arm operator located on jamb at sill] [Gear-type rotary dual-arm operator located on jamb at sill] <Insert requirements>.

a. Rating:  Provide rotary operator rated [C-R15] [C-C20] [C-HC40] according to AAMA 901.

b. Handle:  [Standard crank] [Folding crank] [Removable crank] [Knob] [T-handle] <Insert type>.

Retain one of first four subparagraphs below.

2. Hinge:  Extension hinge or pivot, nonfriction type.

Hinge type above is suitable only with gear-type rotary operators.  Three hinge types below are suitable for use with manual or gear-type rotary operation.

3. Hinge:  Heavy-duty, [three] [five]-knuckle butt hinge with nylon bushings.

4. Hinge:  [Standard] [Heavy]-duty, concealed, four- or six-bar friction hinge with adjustable-slide friction shoe; designed to permit ventilator operation for inside cleaning of outside glass face; two per ventilator.

Retain subparagraph below for ventilators used for emergency egress and show locations on Drawings.

5. Hinge:  [Standard] [Heavy]-duty, concealed, four- or six-bar friction egress hinge with adjustable-slide friction shoe; designed to achieve 90-degree ventilator opening[ and to permit ventilator operation for inside cleaning of outside glass face]; two per ventilator.

Retain one of six subparagraphs below.  Two or more locks may be required on units more than 40 to 45 inches (1016 to 1143 mm) wide or high.  Verify requirements with manufacturers.

6. Lock:  Lift-type throw, cam-action lock with keeper; [one] [two] <Insert number> per ventilator.

7. Lock:  Combination lever handle and cam-action lock with keeper; [one] [two] <Insert number> per ventilator.

8. Lock:  Combination dual lever handles, tie rod, and cam-action lock with keepers.

9. Lock:  Key-operated custodial lock and keeper with removable handle; [one] [two] <Insert number> per ventilator.

10. Lock:  Concealed multipoint lock operated by single lever handle or lift-type throw; [three] <Insert number> per ventilator.

11. Lock:  <Insert requirements.>

Retain subparagraph below if limit devices are required for safety or wind-load concerns.

12. Limit Device:  Concealed [friction adjustor, adjustable stay bar] [or] [support arms with adjustable, limited, hold-open] limit device.

Delete paragraph and subparagraphs below if hung windows are not required for Project.

L. [Double] [Single]-Hung Windows:  Provide the following operating hardware:

1. Sash Balances:  Two per sash.

2. Handles:  Applied sash [lift bar] [pull-downs] on bottom rail of forward-placed operating sash; two per sash.

Retain subparagraph above or below.

3. Handle:  Continuous, integral, sash [lift bar] [pull-down] on bottom rail of forward-placed operating sash.

Retain one of five subparagraphs below.  Two or more locks may be required on units more than 40 to 45 inches (1016 to 1143 mm) wide or high.  Verify requirements with manufacturers.

4. Sash Lock:  Cam-action sweep lock and keeper on meeting rail; [one] [two] <Insert number> per sash.

5. Sash Lock:  Spring-loaded, snap-type lock on bottom rail of lower sash; two per sash.

6. Sash Lock:  Spring-loaded plunger lock with keeper on meeting rail of lower sash; two per sash.

7. Sash Lock:  Pole-operated, cam-action lock on meeting rail of windows with meeting rail more than 72 inches (1800 mm) above floor; with keeper.

8. Sash Lock:  <Insert requirements.>

Delete subparagraph below if pole sockets are not required for Project.

9. Pole Socket:  Provide a pole socket or groove on inside face of top rail of [upper] [lower] sash on windows with meeting rails more than 72 inches (1800 mm) above floor.

Retain first subparagraph below if limit devices are required for safety or wind-load concerns.

10. Limit Device:  [Sash stop] [Keyed sash] limit device; for [top] [bottom] [each operable] sash located at jamb; [one] [two] per sash.

11. Removable Lift-Out Sash:  Design windows and provide with[ tamperproof, key-operated] hardware to permit removal of sash from inside for cleaning.

Delete subparagraph above if lift-out operation is not desired.  Delete subparagraph below for single-hung units or if tilt-in operation is not desired on double- or triple-hung units.  Do not retain both subparagraphs.

12. Tilt Lock:  Design windows and provide with[ tamperproof, key-operated] tilt latch and pivot bar hardware to permit tilting of sash inward for cleaning both sides of sash from interior.

Delete paragraph and subparagraphs below if dual-action windows are not required for Project.

M. Dual-Action Windows:  Provide the following operating hardware:

1. Operator:  Two-position, combination lever handle and cam-type latch.

Retain subparagraph above or first subparagraph below.

2. Operator:  Concealed, internal, multipoint locking bar and combination locking handle mechanism.

3. Hinge:  Combination [three-knuckle] [five-knuckle butt] hinge and stay bar.

4. Lock:  Key-operated, [concealed] [exposed] custodial lock.

5. Stabilizing Arm:  Aluminum.

Delete paragraph and subparagraphs below if horizontal-sliding windows are not required for Project.

N. Horizontal-Sliding Windows:  Provide the following operating hardware:

1. Sash Rollers:  [Nylon rollers] [Steel, lubricated ball-bearing rollers with nylon tires] [Stainless-steel, lubricated ball-bearing rollers with nylon tires].

Retain one of four subparagraphs below.

2. Sash Lock:  Cam-action sweep sash lock and keeper at meeting rails.

3. Sash Lock:  Spring-loaded, snap-type lock at jambs; two per sash.

4. Sash Lock:  Spring-loaded plunger lock with keeper on meeting rail; two per sash.

5. Sash Lock:  <Insert requirements.>

Retain subparagraph below if limit devices are required for safety or wind-load concerns.

6. Limit Device:  Sash stop limit device; mounted in bottom of pull stile.

Retain subparagraph below to suit Project.

7. Removable Lift-Out Sash:  Design windows and provide with[ tamperproof, key-operated] hardware to permit removal of sash from inside for cleaning.

Delete paragraph and subparagraphs below if projected windows are not required for Project.

O. Projected Windows:  Provide the following operating hardware:

Retain first or second option in first subparagraph below for project-out ventilators with screens.  Delete subparagraph if a lock alone with pull handles or a combination lever handle and locking device is sufficient.

1. Operator:  [Underscreen push-bar] [Underscreen pivot-shoe-type, gear-type rotary operator] <Insert requirements>.

2. Hinge:  Five-knuckle butt hinge.

Retain subparagraph above or below.

3. Hinge:  Concealed four- or six-bar friction hinge with adjustable-slide friction shoe; two per ventilator.

Retain one of six subparagraphs below.  Two or more locks may be required on units more than 40 to 45 inches (1016 to 1143 mm) wide or high.  Verify requirements with manufacturers.

4. Lock:  Cam-action, sweep lock handle with strike; [one] [two] <Insert number> per ventilator.

5. Lock:  Combination lever handle and cam-action lock with concealed pawl and keeper.

6. Lock:  Key-operated security lock and keeper.

7. Lock:  Key-operated custodial lock and keeper with removable handle.

8. Lock:  Pole-operated, [spring-catch lock and keeper] [cam-action, sweep lock handle and strike].

9. Lock:  <Insert requirements.>

Retain subparagraph below if limit devices are required for windows with project-out ventilators that open into traffic and for safety or wind-load concerns.

10. Limit Device:  Concealed [friction adjustor, adjustable stay bar] [or] [support arms with adjustable, limited, hold-open] limit device; located on jamb of each ventilator.

Delete paragraph and subparagraphs below if projected awning windows are not required for Project.

P. Projected Awning Windows:  Provide the following operating hardware:

1. Operator:  [Push-bar] [Lever] [Gear-type rotary] operator located on jamb at sill.

a. Handle:  [Standard crank] [Folding crank] [Removable crank] [Knob] [T-handle] <Insert type>.

Retain subparagraph and associated subparagraph above or first subparagraph below; delete all if a lock alone with pull handles or a combination lever handle and locking device is sufficient.

2. Window-Operating System:  Wall-mounted, group or gang-type window operating system with [chain-wheel] [rotary crank-type] [electric] operator.

3. Hinge:  Concealed four- or six-bar friction hinge located on each jamb near top rail; two per ventilator.

Retain one of five subparagraphs below.  Two or more locks may be required on units more than 40 to 45 inches (1016 to 1143 mm) wide or high.  Verify requirements with manufacturers.

4. Lock:  Lift-type throw, cam-action lock with keeper; [one] [two] <Insert number> per ventilator.

5. Lock:  Combination lever handle and cam-action lock with concealed pawl and keeper; [one] [two] per ventilator.

6. Lock:  Pole-operated, [combination handle and cam-action lock] [face-mounted transom latch] and keeper.

7. Lock:  Key-operated custodial lock with removable handle.

8. Lock:  <Insert requirements.>

Retain subparagraph below if limit devices are required for safety or wind-load concerns.

9. Limit Device:  Concealed [friction adjustor, adjustable stay bar] [or] [support arms with adjustable, limited, hold-open] limit device; located on jamb of each ventilator.

Delete paragraph and subparagraphs below if top-hinged inswinging windows are not required for Project.  Top-hinged windows are frequently kept locked.  Operation is normally for cleaning or emergency ventilation.

Q. Top-Hinged Inswinging Windows:  Provide the following operating hardware:

Retain one of first five subparagraphs below.  Three or more butt hinges or another type of hinge may be required on units more than 48 inches (1220 mm) wide.  Retain second option in first subparagraph after verifying requirements with manufacturers.

1. Hinge:  Exposed, applied butt hinge located at corners; [two] [three] <Insert number> per ventilator.

2. Hinge:  Exposed, applied continuous hinge.

Three or more concealed pivot hinges may be required on units more than 60 inches (1500 mm) wide.  Retain second option in first subparagraph below after verifying requirements with manufacturers.

3. Hinge:  Concealed, applied pivot hinge located at corners; [two] [three] <Insert number> per ventilator.

4. Hinge:  Continuous, integrally extruded hinge.

Retain subparagraph below for drop-head, top-hinged inswinging windows.

5. Hinge:  Four- or six-bar friction hinge with adjustable-slide friction shoe; two per ventilator.

Retain one of first two subparagraphs below.  Revise first subparagraph to suit Project.  Increase number of locks on high-rise buildings subject to heavy wind loads if positive air pressure tends to push ventilators open.

6. Lock:  Internal, key-operated, limited-access locks located not more than 48 inches (1220 mm) o.c. at jambs and sill.

7. Lock:  <Insert requirements.>

8. Hold-Open Device:  Automatic-locking [hold-open arms] [or] [stay bars]; designed to permit sash operation for inside cleaning of outside glass face; two per ventilator.

Delete paragraph and subparagraphs below if vertically pivoted windows are not required for Project.  Vertically pivoted windows are usually kept locked.  Operation is normally for cleaning or emergency ventilation.

R. Vertically Pivoted Windows:  Provide the following operating hardware:

1. Pivot Assembly:  [Aluminum-alloy] [Manganese-bronze] [Stainless-steel] pivot assembly designed for [center] [off-center] axis pivoting.

Retain one of first two subparagraphs below.  Retain second option in first subparagraph for ventilators more than 72 inches (1800 mm) high.

2. Lock:  Internal, key-operated, limited-access lock; [one] [two] <Insert number> per jamb.

3. Lock:  <Insert requirements.>

4. Limit device.

2.6 GROUP OR GANG-TYPE WINDOW OPERATING SYSTEMS

Delete paragraph below if group or gang-type window operating system is not required.  This system is required for operating inaccessible windows.  Indicate grouped or ganged windows on Drawings.  Revise paragraph if a single window requires auxiliary operation.

A. Provide window operating system of the type and in groups as indicated.  Coordinate operating system design with window fabrication and hardware selection to ensure smooth, durable operation of ventilators.

Retain first paragraph below for both manual and electric operation.

B. Operation Function:  All ventilators move simultaneously and securely close at sash frames without using additional manually controlled locking devices.

C. [Rack-and-Pinion] [or] [Screw]-Type Operating System:  Complete with shafts, brackets, levers, rods, oil-encased gear boxes, and standard fittings and accessories for operation indicated.

Retain paragraph above or first paragraph below for manual or electric operation.  If more than one operating system is required, retain applicable paragraph(s) and indicate location of each on Drawings.

D. Horizontal-Movement Operating System:  Tension type; complete with mounting brackets, oil-encased gear boxes, steel rod or cable operating in conduit between sash operator units, and standard fittings and accessories for operation indicated.

E. Operation:  Manual, with chain-wheel operator on each gear box shaft; with chain loops terminated 24 inches (600 mm) above floor.

Retain paragraph above or below for manual operation.  Delete both if electric operation is required for Project.

F. Operation:  Manual, with crank-type operator on each gear box shaft, with removable crank.  Where necessary, extend crankshaft with universal joints and support brackets to a suitable crank-mounting location not more than 44 inches (1115 mm) above floor, with an oil-encased miter gear box.

Retain paragraph and subparagraphs below for electric operation.

G. Operation:  Electric, with factory-assembled electric operator designed for operating windows of type, size, weight, construction, use, and operating frequency indicated.

1. Electric Operator:  Provide operating system complying with NFPA 70; of size and capacity and with features, characteristics, and accessories suitable for Project conditions, recommended in writing by window manufacturer; complete with operating system indicated, electric motor and factory-prewired motor controls with limit switches,remote- remote-control stations, power disconnect switches, enclosures protecting controls and all operating parts, and accessories required for reliable operation.  Include wiring from motor controls to motor.  Coordinate operator wiring requirements and electrical characteristics with building electrical system.

a. Control Equipment:  Comply with NEMA ICS 1, NEMA ICS 2, and NEMA ICS 6.

b. Electric Motor:  Comply with NEMA MG 1; with thermal-overload protection; sized to start and operate size and weight of window sash ventilators under any conditions; one per each gear box shaft.

1) Motor Characteristics:  Single phase, [sized by electric operator manufacturer] <Insert horsepower>, <Insert voltage rating>, 60 Hz.

c. Remote Controls:  Electric controls with NEMA ICS 6, Type 1 enclosure and [momentary-contact, single push-button-operated control] [three-position, push-button-operated control with open, close, and stop functions] <Insert control type and function>.

d. Limit Switches:  Adjustable switches, interlocked with motor controls and set to automatically stop sash ventilators at fully opened and fully closed positions.

2.7 INSECT SCREENS

Delete this Article if insect screens are not needed.  Copy and revise Article if other types of screens, such as protection screens, are required to suit Project.  Revise first paragraph below if screens are located both inside and outside of window sashes or ventilators; differentiate here, on Drawings, or in a window schedule.

A. General:  Design windows and hardware to accommodate screens in a tight-fitting, removable arrangement, with a minimum of exposed fasteners and latches.  Fabricate insect screens to fully integrate with window frame.  Locate screens on [inside] [outside] of window and provide for each operable exterior sash or ventilator.

Options in subparagraph below are arranged from least to best performance according to the standard.  See SMA 1004 for requirements.

1. Aluminum Tubular Frame Screens:  Comply with SMA 1004, "Specifications for Aluminum Tubular Frame Screens for Windows," [Residential R-20] [Architectural C-24] [Monumental M-32] class.

Retain subparagraph above only for aluminum tubular frame screens complying with SMA 1004.  Coordinate class with U.I. (U.C.) dimensions of screen.  Delete above and retain subparagraph below for screens that are not fabricated from roll-formed aluminum tubular frames.

2. Comply with SMA 1004, "Specifications for Aluminum Tubular Frame Screens for Windows," for minimum standards of appearance, fabrication, attachment of screen fabric, hardware, and accessories unless more stringent requirements are indicated.

B. Stainless-Steel Insect Screen Frames:  Fabricate frames of nonmagnetic stainless-steel members of 0.020-inch (0.5-mm) minimum wall thickness, with mitered or coped joints or corner extrusions, concealed fasteners, adjustable rollers, and removable PVC spline/anchor concealing edge of frame.  Finish frames with No. 2B, bright mill finish.

Usually retain paragraph and subparagraphs below and delete paragraph above.  Aluminum-framed screens are more commonly available than stainless-steel-framed screens and much less expensive.

C. Aluminum Insect Screen Frames:  Manufacturer's standard aluminum alloy complying with SMA 1004.  Fabricate frames with mitered or coped joints or corner extrusions, concealed fasteners,[ adjustable rollers,] and removable PVC spline/anchor concealing edge of frame.

1. Aluminum Tubular Framing Sections and Cross Braces:  Roll formed from aluminum sheet with minimum wall thickness as required for class indicated.

Retain subparagraph above only for screens complying with SMA 1004.  Retain subparagraph below for heavier frames.

2. Extruded-Aluminum or Aluminum Tubular Framing Sections and Cross Braces:  Not less than [0.040-inch (1.0-mm)] [0.050-inch (1.3-mm)] <Insert thickness> wall thickness.

Retain one "Finish" Subparagraph below.

3. Finish:  Match aluminum window members.

4. Finish:  [Anodized aluminum] [Baked-on organic coating] <Insert finish> in manufacturer's standard color.

5. Finish:  [Anodized aluminum] [Baked-on organic coating] <Insert finish> in color selected by Architect from manufacturer's full range.

6. Finish:  Manufacturer's standard.

Retain one of six paragraphs and associated subparagraphs below or insert another.  Glass-fiber mesh is standard with most manufacturers.  Usually retain first option in first paragraph for most locations.  Second option is suitable for areas plagued by small insects such as no-see-ums and is also suitable for use as a solar screen that blocks up to 65 percent of incident solar heat and glare.

D. Glass-Fiber Mesh Fabric:  [18-by-14 (1.1-by-1.4-mm) or 18-by-16 (1.0-by-1.1-mm)] [20-by-20 (0.85-by-0.85-mm) or 20-by-30 (0.85-by-0.42-mm)] <Insert type> mesh of PVC-coated, glass-fiber threads; woven and fused to form a fabric mesh resistant to corrosion, shrinkage, stretch, impact damage, and weather deterioration; in the following color.  Comply with ASTM D 3656.

Aquamarine is available from Phifer Wire Products for 18-by-14 (1.1-by-1.4-mm) mesh only.

1. Mesh Color:  [Charcoal gray] [Silver gray] [Aquamarine] <Insert color>.

E. Aluminum Wire Fabric:  18-by-16 (1.1-by-1.3-mm) mesh of 0.011-inch- (0.28-mm-) diameter, coated aluminum wire.

1. Wire-Fabric Finish:  [Natural bright] [Charcoal gray] [Black] <Insert finish>.

F. Copper Wire Fabric:  16-by-16 (1.3-by-1.3-mm) mesh of 0.011-inch- (0.28-mm-) diameter copper wire.

Usually retain paragraph above or first paragraph below for window screens in historic preservation projects.

G. Bronze Wire Fabric:  [18-by-14 (1.2-by-1.6-mm) mesh of 0.009-inch- (0.23-mm-)] [18-by-14 (1.13-by-1.5-mm) mesh of 0.011-inch- (0.28-mm-)] diameter bronze wire with a clear varnish finish.

H. Stainless-Steel Wire Fabric:  [18-by-14 (1.2-by-1.6-mm) mesh of 0.009-inch- (0.23-mm-)] [18-by-16 (1.2-by-1.4-mm) mesh of 0.009-inch- (0.23-mm-)] [18-by-16 (1.13-by-1.3-mm) mesh of 0.011-inch- (0.28-mm-)] diameter, nonmagnetic stainless-steel wire, Type 304 or 316, complying with FS RR-W-365, Type VI.

Retain paragraph and subparagraphs below for solar heat exclusion, light control, and greater privacy.

I. Solar-Screening Mesh Fabric:  [17-by-15 (0.86-by-1.1-mm)] [40-by-40 (0.3-by-0.3-mm)] <Insert mesh designation (opening dimension)> mesh of PVC-coated, glass-fiber threads; woven and fused to form a fabric mesh resistant to corrosion, shrinkage, stretch, impact damage, and weather deterioration.  Comply with ASTM D 3656.

1. Solar-Optical Properties:  <Insert requirements.>

2. Openness Factor:  <Insert percent openness.>

3. Mesh Color:  <Insert color.>

Retain paragraph below for screened-window units with outward-opening sash or ventilators where wickets are necessary for sash or ventilator operation.

J. Wickets:  Provide [sliding] [or] [hinged] wickets, framed and trimmed for a tight fit and for durability during handling.

2.8 ACCESSORIES

Retain applicable paragraphs and subparagraphs in this Article; delete those not required.  Integral ventilating system/device is often used for emergency ventilation with fixed units and for stormproof ventilation with other window types.  Retain second option in first paragraph for better ventilation in deep-frame units; revise paragraph if ventilating system/device is less than full width.

A. Integral Ventilating System/Device:  Where indicated, provide weather-stripped, adjustable, horizontal fresh-air vent, with a free airflow slot, full width of window sash by approximately [1 inch (25 mm)] [3 inches (75 mm)] when open, complying with AAMA/WDMA 101/I.S.2/NAFS.  Equip vent bar with an integral insect screen, removable for cleaning.

B. Window Cleaner Anchor Bolts:  Provide window cleaner anchor bolts of standard design, complying with requirements of authorities having jurisdiction.  Fabricate bolts of nonmagnetic stainless steel.

1. Reinforce window units or mullions to receive bolts and provide additional anchorage of units at bolt locations.

Retain paragraph below for solar heat exclusion, light control, and greater privacy.  This feature is not available on all window types.  Verify availability with manufacturers selected.

C. Integral Louver Blinds:  Provide remotely operated horizontal louver blinds in the space between two panes of glass.  Construct blinds of aluminum slats, approximately 1 inch (25 mm) wide, with polyester fiber cords, equipped for tilting, raising, and lowering by standard operating hardware located on inside face of sash.

Delete paragraph and subparagraph below if exterior louvers are not required for Project.  Insert provisions for hinges and screwdriver locks for window cleaning.  Louver blades can also be made of redwood, formed sheet metal, or similar materials.  Revise below if electric or solar-powered operation is required for Project.

D. Exterior Louver Units:  Manually adjustable, extruded-aluminum, solar-shade louver units; of type recommended by manufacturer for application over operable or fixed windows.  Provide main extrusion members of 0.062-inch (1.6-mm) minimum wall thickness.

1. Operator:  Crank-type gang operator, operable from inside building, designed to rotate louver blades simultaneously at least 80 degrees and to lock units in closed position; one operator per each louver unit.  Form unit framing or mounting without interfering with insect screens.

Insert requirements for false-muntin dividers.  Verify availability with manufacturers selected.  Insert other options or accessories if desired.  See manufacturers' product data and Division 08 Sections "Wood Windows" and "Vinyl Windows."

2.9 FABRICATION

A. Fabricate aluminum windows in sizes indicated.  Include a complete system for assembling components and anchoring windows.

B. Fabricate aluminum windows that are reglazable without dismantling sash or ventilator framing.

Avoid redundancy and delete first paragraph below if U-factor specified for thermal performance in "Window" Article requires unit with thermally improved construction.  Revise below to suit Project.  Thermally improved construction is standard for most aluminum windows.

C. Thermally Improved Construction:  Fabricate aluminum windows with an integral, concealed, low-conductance thermal barrier; located between exterior materials and window members exposed on interior side; in a manner that eliminates direct metal-to-metal contact.

Revise subparagraph below to suit Project or delete if not required.

1. Provide thermal-break construction that has been in use for not less than three years and has been tested to demonstrate resistance to thermal conductance and condensation and to show adequate strength and security of glass retention.

Retain subparagraph below if thermal-break design suits Project; subparagraph is a suggested guide from AAMA.

2. Provide thermal barriers tested according to AAMA 505; determine the allowable design shear flow per the appendix in AAMA 505.

Retain subparagraph below if higher thermal performance is desired.  Only a few manufacturers offer this type of hardware.

3. Provide hardware with low conductivity or nonmetallic material for hardware bridging thermal breaks at frame or vent sash.

D. Weather Stripping:  Provide full-perimeter weather stripping for each operable sash and ventilator.

Delete subparagraph below if no horizontal-sliding windows.

1. Horizontal-Sliding Windows:  Provide operable sash with a double row of sliding weather stripping in horizontal rails and single- or double-row weather stripping in meeting or jamb stiles, as required to meet specified performance requirements.  Provide compression-type weather stripping at perimeter of each movable panel where sliding-type weather stripping is not appropriate.

Delete subparagraph below if no vertically pivoted windows.  Revise if special weather stripping is required.

2. Vertically Pivoted Windows:  Provide double-row weather stripping.

E. Weep Holes:  Provide weep holes and internal passages to conduct infiltrating water to exterior.

Delete paragraph below if no lines where vent frames lap the wrong way to shed water.

F. Provide water-shed members above side-hinged ventilators and similar lines of natural water penetration.

Delete paragraph below if mullions are not required for Project.

G. Mullions:  Provide mullions and cover plates as shown, matching window units, complete with anchors for support to structure and installation of window units.  Allow for erection tolerances and provide for movement of window units due to thermal expansion and building deflections, as indicated.  Provide mullions and cover plates capable of withstanding design loads of window units.

Delete paragraph below if subframes are not required for Project.  Describe separate sills or stools if desired.

H. Subframes:  Provide subframes with anchors for window units as shown, of profile and dimensions indicated but not less than 0.062-inch- (1.6-mm-) thick extruded aluminum.  Miter or cope corners, and weld and dress smooth with concealed mechanical joint fasteners.  Finish to match window units.  Provide subframes capable of withstanding design loads of window units.

Retain paragraph below if windows are factory glazed.  Verify size limitations for factory glazing with manufacturers.  Delete below if preglazing is impractical.  It may be difficult to handle glass sizes larger than 60 to 100 inches (1500 to 2500 mm) without damage.  Occasionally, anchorage system will not permit preglazing.

I. Factory-Glazed Fabrication:  Glaze aluminum windows in the factory where practical and possible for applications indicated.  Comply with requirements in Division 08 Section "Glazing" and with AAMA/WDMA 101/I.S.2/NAFS.

Delete paragraph below if not applicable.

J. Glazing Stops:  Provide snap-on glazing stops coordinated with Division 08 Section "Glazing" and glazing system indicated.  Provide glazing stops to match sash and ventilator frames.

2.10 FINISHES, GENERAL

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.11 ALUMINUM FINISHES

A. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes in this Article to suit Project.  If retaining more than one, indicate location of each on Drawings, in a window schedule, or by inserts.

B. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Paragraph above is standard finish with many manufacturers; first paragraph below is heavy-anodized finish.  Finish above has a minimum coating thickness of 0.4 mil (0.010 mm); below, 0.7 mil (0.018 mm).  Verify availability with manufacturers selected.

C. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

D. Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

Paragraph above is standard finish with many manufacturers; paragraph below is heavy-anodized finish.  Finish above has a minimum coating thickness of 0.4 mil (0.010 mm); below, 0.7 mil (0.018 mm).  Verify availability with manufacturers selected.

E. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Retain one color in subparagraph below with either class of color anodic finish retained above.

1. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

2. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

Revise paragraph and subparagraphs below if specific products are required, or revise to suit manufacturers' finishes such as siliconized acrylic or polyester enamels or powder coatings.  Some powder coating systems may comply with the more stringent requirements in AAMA 2604; consult manufacturers.

F. Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

First subparagraph below references AAMA standard for pigmented organic coating on extrusions and panels.  AAMA 2603 allows a minimum 0.8-mil (0.02-mm) dry film thickness; AAMA 2604 and AAMA 2605 require 1.5 mils (0.04 mm).

1. Organic Coating:  Thermosetting, modified-acrylic or polyester enamel primer/topcoat system complying with AAMA 2603[, except with a minimum dry film thickness of 1.5 mils (0.04 mm),] medium gloss.

2. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels.  Revise if specific products are required.  Consult manufacturers for AAMA compliance and for percentage of polyvinylidene fluoride in their finishes.

G. High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than [50] [70] percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with [AAMA 2604] [AAMA 2605] and with coating and resin manufacturers' written instructions.

Delete paragraph above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels.  Revise if specific products are required.

H. High-Performance Organic Finish (3-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coatings; Organic Coating:  manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

Retain one option in subparagraph below with either paragraph above for high-performance organic finish.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

For exact finish, insert names of coating manufacturers and products.

PART 3 -  EXECUTION

3.1 EXAMINATION

Retain option in paragraph below for electric operation.

A. Examine openings, substrates, structural support, anchorage, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.  Verify rough opening dimensions, levelness of sill plate, [ accurate locations of connections to building electrical system;] and operational clearances.  Examine wall flashings, vapor retarders, water and weather barriers, and other built-in components to ensure a coordinated, weathertight window installation.

Delete first three subparagraphs below if not applicable; always retain fourth subparagraph.

1. Masonry Surfaces:  Visibly dry and free of excess mortar, sand, and other construction debris.

2. Wood Frame Walls:  Dry, clean, sound, well nailed, free of voids, and without offsets at joints.  Ensure that nail heads are driven flush with surfaces in opening and within 3 inches (76 mm) of opening.

3. Metal Surfaces:  Dry; clean; free of grease, oil, dirt, rust, corrosion, and welding slag; without sharp edges or offsets at joints.

4. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Comply with Drawings, Shop Drawings, and manufacturer's written instructions for installing windows, hardware, accessories, and other components.

B. Install windows level, plumb, square, true to line, without distortion or impeding thermal movement, anchored securely in place to structural support, and in proper relation to wall flashing and other adjacent construction.

C. Set sill members in bed of sealant or with gaskets, as indicated, for weathertight construction.

D. Install windows and components to drain condensation, water penetrating joints, and moisture migrating within windows to the exterior.

E. Separate aluminum and other corrodible surfaces from sources of corrosion or electrolytic action at points of contact with other materials.

Delete paragraph below if no hardwired, electrically operated window ventilators.

F. Connect automatic operators to building electrical system.

3.3 FIELD QUALITY CONTROL

Field tests for air and water leakage should be specified for significant projects.  Delete this Article if field tests are not required.  If retaining, indicate number of windows to be tested.

Retain first option in paragraph below if Owner engages testing agency.  If authorities having jurisdiction permit Contractor to engage testing agency, retain second option and "Field quality-control test reports" Paragraph in Part 1 "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections and prepare test reports.

1. Testing and inspecting agency will interpret tests and state in each report whether tested work complies with or deviates from requirements.

Revise first paragraph below if more stringent field testing is required to suit Project.  According to AAMA 502, Test Method A is the default, unless otherwise indicated.

B. Testing Services:  Testing and inspecting of installed windows shall take place as follows:

1. Testing Methodology:  Testing of windows for air infiltration and water resistance shall be performed according to AAMA 502, Test Method [A] [B], by applying same test pressures required to determine compliance with AAMA/WDMA 101/I.S.2/NAFS in Part 1 "Performance Requirements" Article.

2. Testing Extent:  [Three] [Three mockup] <Insert number or description> windows as selected by Architect and a qualified independent testing and inspecting agency.  Windows shall be tested immediately after installation.

3. Test Reports:  Shall be prepared according to AAMA 502.

C. Remove and replace noncomplying aluminum window and retest as specified above.

D. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

3.4 ADJUSTING, CLEANING, AND PROTECTION

Retain option in first paragraph below if specified windows are operated by an operating system and chain-wheel, crank-type, or electric operators.

A. Adjust operating sashes and ventilators, screens, hardware, [operators, ]and accessories for a tight fit at contact points and weather stripping for smooth operation and weathertight closure.  Lubricate hardware and moving parts.

B. Clean aluminum surfaces immediately after installing windows.  Avoid damaging protective coatings and finishes.  Remove excess sealants, glazing materials, dirt, and other substances.

Delete first two paragraphs below if windows are not factory glazed.

C. Clean factory-glazed glass immediately after installing windows.  Comply with manufacturer's written recommendations for final cleaning and maintenance.  Remove nonpermanent labels, and clean surfaces.

D. Remove and replace glass that has been broken, chipped, cracked, abraded, or damaged during construction period.

E. Protect window surfaces from contact with contaminating substances resulting from construction operations.  In addition, monitor window surfaces adjacent to and below exterior concrete and masonry surfaces during construction for presence of dirt, scum, alkaline deposits, stains, or other contaminants.  If contaminating substances do contact window surfaces, remove contaminants immediately according to manufacturer's written recommendations.

3.5 DEMONSTRATION

Retain this Article if specified windows are operated by an operating system and chain-wheel, crank-type, or electric operators.

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain window operating system.  Refer to Division 01 Section "Demonstration and Training."

END OF SECTION 085113

	ALUMINUM WINDOWS
	085113 - 1



