Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 101100 - VISUAL DISPLAY SURFACES
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Chalkboards.

2. Markerboards.

3. Tackboards.

Retain first subparagraph below for display rails that are installed as a separate product; delete if display rails are accessory to chalkboards and markerboards only.

4. Visual display rails.

5. Visual display wall panels.

6. Support systems for visual display boards.

7. Sliding visual display units.

8. Visual display conference units.

9. Visual display wall coverings.

10. Electronic markerboards.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 09 Section "Fabric-Wrapped Panels" for tackable, fabric-covered wall surfaces.

2. Division 10 Section "Display Cases" for [individually framed and enclosed, wall-mounted bulletin boards] [and for] [bulletin boards in built-in trophy and display cases].

3. Division 10 Section "Directories" for bulletin boards within built-in directories.

4. Division 26 Sections for wiring and other electrical work associated with power-operated, visual display surfaces.

1.3 DEFINITIONS

Retain definition(s) remaining after this Section has been edited.

A. Tackboard:  Framed or unframed, tackable, visual display board assembly.

B. Visual Display Board Assembly:  Visual display surface that is factory fabricated into composite panel form, either with or without a perimeter frame; includes chalkboards, markerboards, and tackboards.

C. Visual Display Surface: Surfaces that are used to convey information visually, including surfaces of chalkboards, markerboards, tackboards, and surfacing materials that are not fabricated into composite panel form but are applied directly to walls.

1.4 SUBMITTALS

First six paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.[  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for visual display surfaces.]

1. Include[ rated capacities, operating characteristics, electrical characteristics and] individual panel weights for sliding visual display units.

2. Include computer system requirements for electronic markerboards.

B. LEED Submittals:

Retain first subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

1. Product Data for Credit EQ 4.4:  For composite wood products, documentation indicating that the product contains no urea formaldehyde.

Retain subparagraph below for visual display wall coverings and directly applied tack assemblies, if applicable, and if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives.

2. Product Data for Credit EQ 4.1:  For adhesives, including printed statement of VOC content and chemical components.

C. Shop Drawings:  For visual display surfaces.  Include plans, elevations, sections, details, and attachments to other work.

1. Show locations of panel joints.

2. Show locations of special-purpose graphics for visual display surfaces.

3. Include sections of typical trim members.

Retain subparagraph below if equipment includes wiring.

4. Wiring Diagrams:  For power, signal, and control wiring.

D. Samples for Initial Selection:  For each type of visual display surface indicated, for units with factory-applied color finishes, and as follows:

1. Actual sections of [porcelain-enamel face sheet] [painted-finish chalkboard] [melamine visual display surface] [high-pressure-laminate visual display surface] [tackboard assembly] [visual display wall panel] [display rail] [visual display wall covering].

2. Fabric swatches of [vinyl-] [and] [polyester-]fabric-faced tack assemblies.

3. Include accessory Samples to verify color selected.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each type of visual display surface indicated.

1. Visual Display Surface:  Not less than 8-1/2 by 11 inches (215 by 280 mm), mounted on substrate indicated for final Work.  Include one panel for each type, color, and texture required.

2. Trim:  6-inch- (152-mm-) long sections of each trim profile.

3. Display Rail:  6-inch- (152-mm-) long sections.

4. [Rail] [Modular] Support System:  6-inch- (152-mm-) long sections.

5. Accessories:  Full-size Sample of each type of accessory.

F. Product Schedule:  For visual display surfaces.[  Use same designations indicated on Drawings.]

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below with qualification requirements in Division 01 Section "Quality Requirements."

G. Qualification Data:  For qualified Installer.

H. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for surface-burning characteristics of fabrics.

I. [Operation and ]Maintenance Data:  For visual display surfaces[ and power-operated units] to include in maintenance manuals.

J. Warranties:  Sample of special warranties.

1.5 QUALITY ASSURANCE

Retain first paragraph below if an experienced installer is required for motor-operated, sliding visual display units.

A. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of motor-operated, sliding visual display units required for this Project.

Revise first paragraph below to allow multiple sources for each type of visual display unit.

B. Source Limitations:  Obtain visual display surfaces from single source from single manufacturer.

Retain first paragraph below if testing for surface-burning characteristics is required for product components specified in Part 2.

C. Surface-Burning Characteristics:  As determined by testing identical products according to ASTM E 84 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

1. Flame-Spread Index:  [25] <Insert value> or less.

2. Smoke-Developed Index:  [50] [450] <Insert value> or less.

Retain first paragraph below if power-operated, visual display surfaces are included.

D. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

E. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate appearance and aesthetic effects and set quality standards for installation.

Retain first subparagraph below for large-scale mockup.  Mockups may be especially prudent for visual display wall panels and wall coverings.  Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.

1. Build mockup of typical [wall area] <Insert description> as shown on Drawings.  Include accessories.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

2. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

F. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.6 DELIVERY, STORAGE, AND HANDLING

Revise first paragraph below to suit Project.  Slate chalkboards are primarily field assembled.  Coordinate type of trim with "(Chalkboard) (Markerboard) (and) (Tackboard) Accessories" Article.

A. Deliver factory-built visual display surfaces[, including factory-applied trim where indicated,] completely assembled in one piece without joints, where possible.  If dimensions exceed maximum manufactured panel size, provide two or more pieces of equal length as acceptable to Architect.  When overall dimensions require delivery in separate units, prefit components at the factory, disassemble for delivery, and make final joints at the site.

B. Store visual display surfaces vertically with packing materials between each unit.

1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Do not deliver or install visual display surfaces until spaces are enclosed and weathertight, wet work in spaces is complete and dry, work above ceilings is complete, and temporary HVAC system is operating and maintaining ambient temperature and humidity conditions at occupancy levels during the remainder of the construction period.

Retain paragraph below if natural-slate chalkboards are included or if close tolerances are anticipated.

B. Field Measurements:  Verify actual dimensions of construction contiguous with visual display surfaces by field measurements before fabrication.

1. Allow for trimming and fitting where taking field measurements before fabrication might delay the Work.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Retain first paragraph below for chalkboards and markerboards fabricated with porcelain-enamel face sheets.  Most manufacturers' warranties only include replacement of material; labor for removal and reinstallation is excluded.

A. Special Warranty for Porcelain-Enamel Face Sheets:  Manufacturer's standard form in which manufacturer agrees to repair or replace porcelain-enamel face sheets that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Surfaces lose original writing and erasing qualities.

b. Surfaces exhibit crazing, cracking, or flaking.

Retain one of two subparagraphs below.  Verify available warranties and warranty periods with manufacturers listed in Part 2 articles.

2. Warranty Period:  [50] <Insert number> years from date of Substantial Completion.

3. Warranty Period:  Life of the building.

Some manufacturers also offer warranties for painted-finish chalkboards and tackboards.  See Evaluations.

B. Special Warranty for Electronic Markerboards:  Manufacturer's standard form in which manufacturer agrees to repair or replace electronic markerboards that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

1. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

Consider inserting warranty provision for motors if motor-operated, sliding visual display units are required.

PART 2 -  PRODUCTS

2.1 MATERIALS, GENERAL

Porcelain-enamel face sheets are used for chalkboard and markerboard assemblies, wall panels, sliding visual display units, and visual display conference units.  Retain one of first two paragraphs below or delete both and retain third paragraph.  First paragraph is for products by PolyVision Corporation, second is for products by Claridge Products and Equipment, and third is for manufacturer's standard manufacturing method.  See Evaluations.

If needed, insert performance requirements for gloss, surface distortion, light reflectance, impact resistance, etc., of each face sheet.

A. Porcelain-Enamel Face Sheet:  ASTM A 424, enameling-grade steel, uncoated thickness indicated; with exposed face and edges coated with primer, 1.7-to-2.5-mil- (0.043-to-0.064-mm-) thick ground coat, and color cover coat; and with concealed face coated with primer and 1.7-to-2.5-mil- (0.043-to-0.064-mm-) thick ground coat.

1. Matte-Finish Cover Coat:  Low reflective; chalk wipes clean with dry cloth or standard eraser.  Minimum 2.0-to-2.5-mil- (0.051-to-0.064-mm-) thick cover coat.  Cover and ground coats shall be fused to steel at manufacturer's standard firing temperatures but not less than 1250 deg F (677 deg C).

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:<Insert manufacturer's name; product name or designation>.

1) PolyVision Corporation, a Steelcase company; P3 ceramicsteel Chalkboard.

2) <Insert manufacturer's name; product name or designation>.

2. Gloss-Finish Cover Coat:  Gloss as indicated; dry-erase markers wipe clean with dry cloth or standard eraser.  Minimum 3.0-to-4.0-mil- (0.076-to-0.102-mm-) thick cover coat.  Cover and ground coats shall be fused to steel at manufacturer's standard firing temperatures but not less than 1475 deg F (802 deg C).

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:<Insert manufacturer's name; product name or designation>.

1) PolyVision Corporation, a Steelcase company; P3 ceramicsteel Markerboard.

2) <Insert manufacturer's name; product name or designation>.

B. Porcelain-Enamel Face Sheet:  Porcelain-enamel-clad, ASTM A 463/A 463M, Type 1, stretcher-leveled aluminized steel, with 0.024-inch (0.60-mm) uncoated thickness; with porcelain-enamel coating fused to steel at approximately 1000 deg F (538 deg C).

1. Matte Finish:  Low reflective; chalk wipes clean with dry cloth or standard eraser.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:<Insert manufacturer's name; product name or designation>.

1) Claridge Products and Equipment, Inc.; Vitracite Chalkboard.

2) <Insert manufacturer's name; product name or designation>.

2. Gloss Finish:  Low gloss; dry-erase markers wipe clean with dry cloth or standard eraser.  Suitable for use as projection screen.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:<Insert manufacturer's name; product name or designation>.

1) Claridge Products and Equipment, Inc.; LCS Markerboard.

2) <Insert manufacturer's name; product name or designation>.

C. Porcelain-Enamel Face Sheet:  Manufacturer's standard steel sheet with porcelain-enamel coating fused to steel; uncoated thickness indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Claridge Products and Equipment, Inc.

b. PolyVision Corporation; a Steelcase company.

c. <Insert manufacturer's name>.

2. Matte Finish:  Low reflective; chalk wipes clean with dry cloth or standard eraser.

3. Gloss Finish:  Gloss as indicated; dry-erase markers wipe clean with dry cloth or standard eraser.

D. Melamine:  Thermally fused, melamine-impregnated decorative paper complying with LMA SAT-1.

E. High-Pressure Plastic Laminate:  NEMA LD 3.

Verify availability of product components tested for surface-burning characteristics in first four paragraphs below.  If testing of entire assemblies is required by authorities having jurisdiction, add this requirement to the Section Text.

F. Natural Cork Sheet:  Seamless, single-layer, compressed fine-grain cork sheet; bulletin board quality; face sanded for natural finish[ with surface-burning characteristics indicated].

G. Plastic-Impregnated Cork Sheet:  Seamless, homogeneous, self-sealing sheet consisting of granulated cork, linseed oil, resin binders, and dry pigments that are mixed and calendared onto fabric backing; with washable vinyl finish and integral color throughout[ with surface-burning characteristics indicated].

H. Vinyl Fabric:  Mildew resistant, washable, complying with FS CCC-W-408D, Type II, [burlap weave] <insert texture or pattern>; weighing not less than 13 oz./sq. yd. (440 g/sq. m); with surface-burning characteristics indicated.

I. Polyester Fabric:  Nondirectional weave, 100 percent polyester; weighing not less than 15 oz./sq. yd. (508 g/sq. m); with surface-burning characteristics indicated.

Revise first three paragraphs below if product components tested for surface-burning characteristics are required to suit Project.  Verify availability with manufacturers.

J. Hardboard:  ANSI A135.4, tempered.

Retain option in first paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

K. Particleboard:  ANSI A208.1, Grade M-1[, made with binder containing no urea formaldehyde].

L. Fiberboard:  ASTM C 208.

M. Extruded Aluminum:  ASTM B 221 (ASTM B 221M), Alloy 6063.

2.2 CHALKBOARD ASSEMBLIES

Two options in first paragraph below are for porcelain-enamel face sheet by PolyVision.  Delete both if retaining only porcelain-enamel face sheet by Claridge in "Materials, General" Article.

A. Porcelain-Enamel Chalkboards:  Balanced, high-pressure, factory-laminated chalkboard assembly of three-ply construction consisting of backing sheet, core material, and [0.021-inch- (0.53-mm-) thick,] [0.013-inch- (0.33-mm-) thick,] porcelain-enamel face sheet with matte finish.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. A-1 Visual Systems.

b. AARCO Products, Inc.

c. ADP Lemco, Inc.

d. Aywon.

e. Bangor Cork Company, Inc.

f. Best-Rite Manufacturing.

g. Claridge Products and Equipment, Inc.

h. Ghent Manufacturing, Inc.

i. Marsh Industries, Inc.; Visual Products Group.

j. Platinum Visual Systems; a division of ABC School Equipment, Inc.

k. PolyVision Corporation; a Steelcase company.

l. Tri-Best Visual Display Products.

m. <Insert manufacturer's name>.

Retain one of first four subparagraphs below.  Verify availability and thickness with manufacturers selected.  Particleboard core is most dimensionally stable core material listed.

2. Hardboard Core:  1/4 inch (6 mm) thick; with [0.005-inch- (0.127-mm-) thick, aluminum foil] [0.015-inch- (0.38-mm-) thick, aluminum sheet] [0.0129-inch- (0.35-mm-) thick, galvanized-steel sheet] backing.

3. Particleboard Core:  3/8 inch (9.5 mm) thick; with [0.005-inch- (0.127-mm-) thick, aluminum foil] [0.015-inch- (0.38-mm-) thick, aluminum sheet] [0.0129-inch- (0.35-mm-) thick, galvanized-steel sheet] backing.

4. Fiberboard Core:  [3/8 inch (9.5 mm)] [1/2 inch (13 mm)] thick; with [0.001-inch- (0.025-mm-) thick, aluminum foil] [0.015-inch- (0.38-mm-) thick, aluminum sheet] [0.0129-inch- (0.35-mm-) thick, galvanized-steel sheet] backing.

5. Manufacturer's Standard Core:  Minimum 1/4 inch (6 mm) thick, with manufacturer's standard moisture-barrier backing.

6. Laminating Adhesive:  Manufacturer's standard, moisture-resistant thermoplastic type.

B. High-Pressure-Laminate Chalkboards:  Balanced, high-pressure, factory-laminated chalkboard assembly of two-ply construction consisting of fiberboard core material and high-pressure-laminate writing surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Best-Rite Manufacturing.

b. Ghent Manufacturing, Inc.

c. <Insert manufacturer's name>.

C. Melamine Chalkboards:  Fabricated from 1/4-inch- (6-mm-) thick, sealed and primed hardboard panels permanently bonded with melamine writing surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Best-Rite Manufacturing.

b. Marsh Industries, Inc.; Visual Products Group.

c. <Insert manufacturer's name>.

D. Painted-Finish Chalkboards:  Fabricated from[ two plies of] 1/4-inch- (6-mm-) thick, treated, tempered hardboard panels permanently surfaced with manufacturer's standard, heat-cured organic coating formulated for chalk-receptive matte finish.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. AARCO Products, Inc.

b. Marsh Industries, Inc.; Visual Products Group.

c. <Insert manufacturer's name>.

If needed, insert requirements for carborundum-slating surface available from Ghent.

Retain paragraph below if required.  Slate for chalkboards is rarely quarried because of its high cost and the difficulty in obtaining good quality.  See Evaluations.

E. Natural-Slate Chalkboards:  Select grade, resurfaced, natural slate; free from ribbons and other natural marks that impair their functional use and durability as a writing surface.

1. Writing surface shall be free of tooling marks, pits, chipping, scratches, and surface spalls in excess of those that can be easily corrected; and shall be free of surface-applied stain, dye, or other artificial coloring.

2. Thickness:  Not less than 1/4 inch (6 mm) or more than 3/8 inch (9.5 mm) thick with maximum deviation of 1/16 inch (1.6 mm) when an average thickness of at least 1/4 inch (6 mm) is maintained.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

3. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert manufacturer's name>.

2.3 MARKERBOARD ASSEMBLIES

First two options in first paragraph below are for porcelain-enamel face sheet by PolyVision.  Delete both if retaining only porcelain-enamel face sheet by Claridge in "Materials, General" Article.

A. Porcelain-Enamel Markerboards:  Balanced, high-pressure, factory-laminated markerboard assembly of three-ply construction consisting of backing sheet, core material, and [0.021-inch- (0.53-mm-) thick,] [0.013-inch- (0.33-mm-) thick,] porcelain-enamel face sheet with [high] [low]-gloss finish.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. AARCO Products, Inc.

b. ADP Lemco, Inc.

c. Aywon.

d. Bangor Cork Company, Inc.

e. Best-Rite Manufacturing.

f. Claridge Products and Equipment, Inc.

g. Egan Visual Inc.

h. Ghent Manufacturing, Inc.

i. Marsh Industries, Inc.; Visual Products Group.

j. Platinum Visual Systems; a division of ABC School Equipment, Inc.

k. PolyVision Corporation; a Steelcase company.

l. Tri-Best Visual Display Products.

m. <Insert manufacturer's name>.

Retain one of first four subparagraphs below.  Verify availability and thickness with manufacturers selected.  Particleboard core is most dimensionally stable core material listed.

2. Hardboard Core:  1/4 inch (6 mm) thick; with [0.005-inch- (0.127-mm-) thick, aluminum foil] [0.015-inch- (0.38-mm-) thick, aluminum sheet] [0.013-inch- (0.35-mm-) thick, galvanized-steel sheet] backing.

3. Particleboard Core:  [3/8 inch (9.5 mm)] [1/2 inch (13 mm)] thick; with [0.005-inch- (0.127-mm-) thick, aluminum foil] [0.015-inch- (0.38-mm-) thick, aluminum sheet] [0.013-inch- (0.35-mm-) thick, galvanized-steel sheet] backing.

4. Fiberboard Core:  [3/8 inch (9.5 mm)] [1/2 inch (13 mm)] thick; with [0.001-inch- (0.025-mm-) thick, aluminum foil] [0.015-inch- (0.38-mm-) thick, aluminum sheet] [0.013-inch- (0.35-mm-) thick, galvanized-steel sheet] backing.

5. Manufacturer's Standard Core:  Minimum 1/4 inch (6 mm) thick, with manufacturer's standard moisture-barrier backing.

6. Laminating Adhesive:  Manufacturer's standard, moisture-resistant thermoplastic type.

B. Melamine Markerboards:  Fabricated from 1/4-inch- (6-mm-) thick, sealed and primed hardboard panels permanently bonded with melamine or another high-pressure-laminate writing surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. AARCO Products, Inc.

b. Ghent Manufacturing, Inc.

c. Marsh Industries, Inc.; Visual Products Group.

d. <Insert manufacturer's name>.

C. High-Pressure-Laminate Markerboard Assembly:  Balanced, high-pressure, factory-laminated chalkboard assembly of three-ply construction consisting of backing sheet, fiberboard core material, and high-pressure-laminate writing surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Best-Rite Manufacturing.

b. Marsh Industries, Inc.; Visual Products Group.

c. <Insert manufacturer's name>.

If needed, insert requirements for multimedia assemblies, which are intended for dry erasing of chalk and dry-erase markers and for damp-cloth erasing of permanent markers, pens, and pencils.  Users often experience problems with these assemblies.  See Evaluations.

2.4 TACKBOARD ASSEMBLIES

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. A-1 Visual Systems.

2. AARCO Products, Inc.

3. ADP Lemco, Inc.

4. Aywon.

5. Bangor Cork Company, Inc.

6. Best-Rite Manufacturing.

7. Claridge Products and Equipment, Inc.

8. Egan Visual Inc.

9. Ghent Manufacturing, Inc.

10. Marsh Industries, Inc.; Visual Products Group.

11. Platinum Visual Systems; a division of ABC School Equipment, Inc.

12. PolyVision Corporation; a Steelcase company.

13. Tri-Best Visual Display Products.

14. <Insert manufacturer's name>.

Retain types of tackboard assemblies below to suit Project.  See Evaluations.  A few manufacturers also offer tackboard assemblies with a 7/16-inch- (11-mm-) thick fiberboard backing.  Verify availability with manufacturers.

Insert number to complete designation for each assembly retained below.  Use these designations in the "Visual Display Surface Schedule" Article to show where each tackboard is required.

Only a few manufacturers offer assemblies with no backing.

Natural cork is also available with large cork particles fused and compressed into sheets.

B. Natural-Cork Tackboard <Insert designation>:  1/16-inch- (1.6-mm-) thick, natural cork sheet factory laminated to [3/8-inch- (9.5-mm-)] [7/16-inch- (11-mm-)] thick fiberboard backing.

C. Natural-Cork Tackboard <Insert designation>:  1/8-inch- (3-mm-) thick, natural cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

D. Natural-Cork Tackboard <Insert designation>:  1/4-inch- (6-mm-) thick, natural cork sheet factory laminated to 1/4-inch- (6-mm-) thick [hardboard] [particleboard] backing.

E. Plastic-Impregnated-Cork Tackboard <Insert designation>:  1/8-inch- (3-mm-) thick, plastic-impregnated cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

F. Plastic-Impregnated-Cork Tackboard <Insert designation>:  1/4-inch- (6-mm-) thick, plastic-impregnated cork sheet factory laminated to 1/4-inch- (6-mm-) thick [hardboard] [particleboard] backing.

G. Vinyl-Fabric-Faced Tackboard <Insert designation>:  Vinyl fabric factory laminated to [3/8-inch- (9.5-mm-)] [7/16-inch- (11-mm-)] [1/2-inch- (13-mm-)] thick fiberboard backing.

H. Vinyl-Fabric-Faced Tackboard <Insert designation>:  1/16-inch- (1.6-mm-) thick, vinyl-fabric-faced cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

I. Vinyl-Fabric-Faced Tackboard <Insert designation>:  1/8-inch- (3-mm-) thick, vinyl-fabric-faced cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

J. Vinyl-Fabric-Faced Tackboard <Insert designation>:  1/4-inch- (6-mm-) thick, vinyl-fabric-faced cork sheet factory laminated to 1/4-inch- (6-mm-) thick [hardboard] [particleboard] backing.

K. Polyester-Fabric-Faced Tackboard <Insert designation>:  Polyester fabric factory laminated to [3/8-inch- (9.5-mm-)] [1/2-inch- (13-mm-)] thick fiberboard backing.

L. Polyester-Fabric-Faced Tackboard <Insert designation>:  1/16-inch- (1.6-mm-) thick, polyester-fabric-faced cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

M. Polyester-Fabric-Faced Tackboard <Insert designation>:  1/8-inch- (3-mm-) thick, polyester-fabric-faced cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

N. Polyester-Fabric-Faced Tackboard <Insert designation>:  1/4-inch- (6-mm-) thick, polyester-fabric-faced cork sheet factory laminated to 1/4-inch- (6-mm-) thick [hardboard] [particleboard] backing.

O. <Insert tackboard>.

If needed, insert requirements for hook-and-loop, fabric-faced boards.

2.5 VISUAL DISPLAY RAILS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. AARCO Products, Inc.

2. Bangor Cork Company, Inc.

3. Best-Rite Manufacturing.

4. Claridge Products and Equipment, Inc.

5. Ghent Manufacturing, Inc.

6. Marsh Industries, Inc.; Visual Products Group.

7. Platinum Visual Systems; a division of ABC School Equipment, Inc.

8. PolyVision Corporation; a Steelcase company.

9. Tri-Best Visual Display Products.

10. <Insert manufacturer's name>.

B. General:  Manufacturer's standard, aluminum-framed, tackable [cork] [fabric] visual display surface fabricated into narrow rail shape and designed for displaying material.

2.6 VISUAL DISPLAY WALL PANELS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. A-1 Visual Systems.

2. ADP Lemco, Inc.

3. Best-Rite Manufacturing.

4. Claridge Products and Equipment, Inc.

5. Egan Visual Inc.

6. Marsh Industries, Inc.; Visual Products Group.

7. Platinum Visual Systems; a division of ABC School Equipment, Inc.

8. PolyVision Corporation; a Steelcase company.

9. Tri-Best Visual Display Products.

10. <Insert manufacturer's name>.

Retain option in first paragraph below if retaining porcelain-enamel face sheet by PolyVision in "Materials, General" Article.

B. Marker Wall Sheets:  Fabricated from[ 0.021-inch (0.53-mm) uncoated thickness,] porcelain-enamel face sheets; for direct application to wall surface.

If retaining first paragraph below, retain appropriate panel assembly in "Markerboard Assemblies" Article.

C. Marker Wall Panels:  Fabricated from markerboard assembly indicated.

D. Tack Wall Panels:  With tackable surface.

If retaining first subparagraph below, retain appropriate panel assembly in "Tackboard Assemblies" Article.

1. Fabricated from tackboard assembly indicated.

2. Natural Cork:  [1/8-inch- (3-mm-)] [1/4-inch- (6-mm-)] thick, natural cork sheet for direct application to wall surface.

3. Plastic-Impregnated Cork:  [1/8-inch- (3-mm-)] [1/4-inch- (6-mm-)] thick, plastic-impregnated cork sheet for direct application to wall surface.

4. Vinyl Fabric-Faced Cork:  1/4-inch- (6-mm-) thick, vinyl-fabric-faced cork sheet for direct application to wall surface.

5. Polyester-Fabric-Faced Cork:  1/4-inch- (6-mm-) thick, polyester-fabric-faced cork sheet for direct application to wall surface.

E. Joint Accessories:  Manufacturer's standard, [exposed trim] [concealed aluminum or steel spline] at butt joints.

Retain both paragraphs below for tack wall panels that are directly applied to wall surfaces using adhesive.  Delete below if tack wall panels are adhesive backed for direct application to wall surface or if installed by another method.

Retain option in first paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for adhesives for porous materials other than wood.

F. Adhesive:  Mildew-resistant, nonstaining adhesive, for use with specific tack wall panels and substrate application, as recommended in writing by visual display surface manufacturer, and with a VOC content of [50] <Insert value> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain paragraph below or revise to include primer/sealer here.

G. Primer/Sealer:  Mildew-resistant primer/sealer complying with requirements in Division 09 Section "[Interior Painting] <Insert Section title>" and recommended in writing by visual display surface manufacturer for intended substrate.

2.7 RAIL SUPPORT SYSTEM FOR VISUAL DISPLAY BOARDS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Best-Rite Manufacturing.

2. Egan Visual Inc.

3. KOH Design, Inc.

4. Peter Pepper Products, Inc.

5. PolyVision Corporation; a Steelcase company.

6. <Insert manufacturer's name>.

Revise first paragraph below if two-level track is required.

B. Support Rails:  Horizontal, wall-mounted, extruded-aluminum rails designed to receive hanger clip and to support visual display boards[; capable of gripping and suspending paper directly from rail].

1. Finish:  [Clear anodic] [Color anodic] [Baked enamel] [Powder coat].

Retain one color from options in subparagraph below with color anodic, baked-enamel, or powder-coat finish above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last three options are for color anodic, baked-enamel, or powder-coat finish.

2. Color and Gloss:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

C. Hanger Clips:  Extruded aluminum with finish to match rails; designed to support independent visual display boards by engaging support rail and top trim of board.

Honeycomb core in paragraph below is preferred for rail-supported visual display units because of its light weight.  Thickness varies among manufacturers.

D. Visual Display Panels:  Fabricated from not less than 3/8-inch- (9.5-mm-) thick, kraft-paper honeycomb core; designed to be rigid and to resist warpage, and with aluminum trim designed to engage hanger clips.

2.8 MODULAR SUPPORT SYSTEM FOR VISUAL DISPLAY BOARDS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. AARCO Products, Inc.

2. Best-Rite Manufacturing.

3. Claridge Products and Equipment, Inc.

4. Platinum Visual Systems; a division of ABC School Equipment, Inc.

5. PolyVision Corporation; a Steelcase company.

6. <Insert manufacturer's name>.

B. Standards:  72-inch- (1829-mm-) long, extruded-aluminum slotted standards designed for supporting visual display boards on panel clips.  Standards shall be punched at not less than [4 inches (100 mm)] <Insert dimension> o.c.

1. Finish:  [Clear anodic] [Color anodic] [Baked enamel] [Powder coat].

Retain one color from options in subparagraph below with color anodic, baked-enamel, or powder-coat finish above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last three options are for color anodic, baked-enamel, or powder-coat finish.

2. Color and Gloss:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

C. Panel Clips:  Extruded aluminum or steel with finish to match standards.

2.9 SLIDING VISUAL DISPLAY UNITS

Horizontal-sliding visual display units are also available as component parts without tubular frames, for mounting in field-fabricated wall recesses.  Revise first paragraph below to suit Project.

A. Horizontal-Sliding Visual Display Units:  Factory-fabricated units consisting of extruded-aluminum tubular frame, fixed-rear visual display panel, aluminum-framed horizontal-sliding panels, and extruded-aluminum fascia that conceals overhead sliding track; designed for recessed mounting.  Provide panels that operate smoothly without vibration or chatter.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. A-1 Visual Systems.

b. AARCO Products, Inc.

c. ADP Lemco, Inc.

d. Aywon.

e. Best-Rite Manufacturing.

f. Claridge Products and Equipment, Inc.

g. Ghent Manufacturing, Inc.

h. Platinum Visual Systems; a division of ABC School Equipment, Inc.

i. PolyVision Corporation; a Steelcase company.

j. Tri-Best Visual Display Products.

k. <Insert manufacturer's name>.

Revise first three subparagraphs below for custom requirements to suit Project.  Other configurations are available.

2. Two-Track Units:  Fabricate unit with fixed rear panel covering entire rear surface.  Provide two sliding panels, each equal to not less than one-half of overall length of unit.

3. Three-Track Units:  Fabricate unit with fixed rear panel covering entire rear surface.  Provide three sliding panels, each equal to not less than [one-third] [one-half] of overall length of unit.

4. Four-Track Units:  Fabricate unit with fixed rear panel centered in and covering not less than one-half of rear surface, and fixed front panel on each side of unit equal to not less than one-quarter of overall length of unit.  Provide four sliding panels, each equal to not less than one-quarter of overall length of unit.

Retain first subparagraph below with "Four-Track Units" Subparagraph above; delete if not required.

a. Swinging Doors:  Fabricated from same construction as sliding panels and supported on full-height continuous hinges.  Provide visual display surface on both sides of each door.

Honeycomb core in first subparagraph below is preferred for sliding units because of its light weight.  Thickness varies from that shown to as much as 1-1/8 inches (29 mm).

5. Sliding Panels:  Fabricated from not less than [3/8-inch- (9.5-mm-)] <Insert dimension> thick, kraft-paper honeycomb core; designed to be rigid and to resist warpage.

Retain first subparagraph below if retaining PolyVision's or manufacturer's standard, porcelain-enamel face sheet in "Materials, General" Article and if chalkboard or markerboard is needed.  Delete if not required or if retaining only Claridge's face sheet.

a. Fabricate sliding panels with 0.021-inch (0.53-mm) uncoated thickness, porcelain-enamel face sheets.

6. Hardware:  Manufacturer's standard, extruded-aluminum overhead track and channel-shaped bottom guides; with two nylon ball-bearing carriers and two nylon rollers for each sliding panel.

B. Vertical-Sliding Visual Display Units:  Factory-fabricated units consisting of extruded-aluminum tubular frame, fixed-rear visual display panel, and aluminum-framed vertical-sliding panels; designed for recessed mounting.  Provide panels that operate smoothly without vibration or chatter.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. AARCO Products, Inc.

b. ADP Lemco, Inc.

c. Aywon.

d. Claridge Products and Equipment, Inc.

e. Platinum Visual Systems; a division of ABC School Equipment, Inc.

f. PolyVision Corporation; a Steelcase company.

g. Tri-Best Visual Display Products.

h. <Insert manufacturer's name>.

2. Type:  Tubular frame on [four sides] [top and two sides, with sides extending to floor; with kick panel to conceal sliding panels].  Unit shall be designed to support panels independent of wall.

3. Two-Track Units:  Fabricate unit with fixed rear panel covering entire rear surface.  Provide two sliding panels, each equal to not less than one-half of overall height of unit.

4. Three-Track Units:  Fabricate unit with fixed rear panel covering entire rear surface.  Provide three sliding panels, each equal to not less than one-half of overall height of unit.

5. Four-Track Units:  Fabricate unit with fixed rear panel centered in and covering not less than one-half of rear surface.  Provide four sliding panels, each equal to not less than one-half of overall height of unit.

Honeycomb core in first subparagraph below is preferred for sliding units because of its light weight.  Thickness varies from that shown to as much as 1-1/8 inches (29 mm).

6. Sliding Panels:  Fabricated from not less than [3/8-inch- (9.5-mm-)] <Insert dimension> thick, kraft-paper honeycomb core; designed to be rigid and to resist warpage.

Retain first subparagraph below if retaining PolyVision's or manufacturer's standard, porcelain-enamel face sheet in "Materials, General" Article and if chalkboard or markerboard is needed.  Delete if not required or if retaining only Claridge's face sheet.

a. Fabricate sliding panels with 0.021-inch (0.53-mm) uncoated thickness, porcelain-enamel face sheets.

7. Hardware:  Manufacturer's standard, neoprene ball-bearing end rollers, four on each side of each sliding panel.  Counterbalance each sliding panel with lead counterweights supported by steel aircraft cable over ball-bearing sheaves; with removable cover plate for access to counterweights.  Provide rubber bumpers at top and bottom for each sliding panel.

8. Motorized Operation:  Provide not less than one motor with gearhead reducers for each sliding panel, mounted above visual display unit and connected to sliding panels with steel aircraft cable.  Provide removable cover plate for access to motor.  Equip motors with limit switches to automatically stop motor at each end of travel.

a. Electric Motors:  UL approved or recognized, totally enclosed, complying with NEMA MG 1, with thermal-overload protection; 1/15 hp, single phase, [110] [220] V, 60 Hz.

b. Control Station:  Three-position, [maintained] [momentary]-contact, switch-operated control station with open, close, and off functions; with NEMA ICS 6, Type 1 enclosure.  Provide [one] <Insert number> control station(s) for each sliding panel unit.

Retain subparagraph below with one of first two options in last subparagraph above if additional security is required.  Wireless remote control is also available.

c. Key Switch:  Provide supplementary key switch for each control station.  Furnish two keys for each control station, keyed alike.

2.10 VISUAL DISPLAY CONFERENCE UNITS

Wall-mounted conference units in this article are often used in conference rooms and executive offices.  Consult manufacturers for available finishes and options.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. A-1 Visual Systems.

2. AARCO Products, Inc.

3. ADP Lemco, Inc.

4. Best-Rite Manufacturing.

5. Claridge Products and Equipment, Inc.

6. Egan Visual Inc.

7. Ghent Manufacturing, Inc.

8. Marsh Industries, Inc.; Visual Products Group.

9. Peter Pepper Products, Inc.

10. Platinum Visual Systems; a division of ABC School Equipment, Inc.

11. PolyVision Corporation; a Steelcase company.

12. <Insert manufacturer's name>.

B. Visual Display Conference Units:  Factory-fabricated units consisting of hinged-door wood cabinet with perimeter face frame, sides, and back; not less than 3-inch (75-mm) interior depth and designed for surface wall mounting.  Fabricate inside of cabinet and cabinet doors with fixed visual display surfaces.

1. Wood Cabinets:  Fabricated from solid wood with integral, solid-wood markertray.  Fabricate hinged door panels with solid wood frame and wood-veneer exterior surface.

2. Plastic-Laminate Cabinets:  Cabinet and hinged door panels fabricated from manufacturer's standard, high-pressure, plastic-laminate-finished panels; with integral markertray.

3. Hardware:  Manufacturer's standard, full-height continuous hinges[, wire door pulls,] and door bumpers.

Retain both subparagraphs below if required.

4. Projection Screens:  Manufacturer's standard, pull-down, matte, white projection screen, not less than 8 inches (200 mm) smaller in each direction than overall cabinet size, and mounted above rear visual display surface.

5. Fluorescent Light:  Manufacturer's standard, not less than 24 inches (610 mm) long, and mounted above rear visual display surface.

2.11 VISUAL DISPLAY WALL COVERINGS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Best-Rite Manufacturing.

2. Egan Visual Inc.

3. Marsh Industries, Inc.; Visual Products Group.

4. Omnova Solutions Inc.; Decorative Products; Commercial Wallcovering.

5. walltalkers; a division of RJF International Corporation.

6. <Insert manufacturer's name>.

Verify properties of manufacturers' products before revising first paragraph below.

B. Visual Display Wall Covering:  Intended for use with dry-erase markers[ and as a projection surface] and consisting of [low] [moderate] [high]-gloss, plastic film bonded to fabric backing; not less than [0.012-mil (0.0003-mm)] [0.020-mil (0.0005-mm)] total thickness.

Retain first subparagraph below if required.

1. Surface Graphics:  2-inch- (50-mm-) square grid.

2. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

C. Magnetic Visual Display Wall Covering:  Intended for use with dry-erase markers and magnetic aids and consisting of moderate-gloss plastic film bonded to ferrous-powdered fabric backing; not less than 0.025-mil (0.0006-mm) total thickness.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Delete first paragraph below if visual display wall covering is adhesive backed for direct application to wall surface.

Retain second option below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for adhesives for porous materials other than wood.

D. Adhesive:  Mildew-resistant, nonstaining[, strippable] adhesive, for use with specific wall covering and substrate application, as recommended in writing by wall covering manufacturer, and with a VOC content of [50] <Insert value> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain paragraph below or revise to include primer/sealer here.

E. Primer/Sealer:  Mildew-resistant primer/sealer complying with requirements in Division 09 Section "[Interior Painting] <Insert Section title>" and recommended in writing by wall covering manufacturer for intended substrate.

2.12 ELECTRONIC MARKERBOARDS

A. General:  Provide manufacturer's standard electronic markerboard that consists of touch-sensitive writing surface connected to microcomputer via RS-232 serial cable and that electronically records writing with standard dry-erase markers.  Equip unit with cables, software, pens, erasers, mounting hardware, and accessories required for a complete installation.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Claridge Products and Equipment, Inc.

b. Egan Visual Inc.

c. Ghent Manufacturing, Inc.

d. PolyVision Corporation; a Steelcase company.

e. SMART Technologies Inc.

f. <Insert manufacturer's name>.

B. Software:  Capable of real-time recording, saving, and printing of everything that is written and drawn on electronic markerboard; with [Windows] [Macintosh] operating system.

1. File Export Formats:  BMP, WMF, HTML, and vector-based formats.

2. Compatibility:  Compatible with Microsoft NetMeeting or other T.120-compliant software.

3. Features:  Capable of the following:

Adjust list below to suit Project.  Verify availability of features with manufacturers selected.

a. Saving directly from screen.

b. Erasing portions of screen.

c. Printing directly from screen.

d. Saving individual screens as separate pages.

e. Showing onscreen [toolbar] [keyboard].

f. Recognizing not less than four pen colors.

g. Recognizing finger touch control for presentations.

h. Connecting multiple electronic markerboards to a single computer.

i. Showing online help and tutorial.

C. Overall Size:  Approximately [48 inches high by 60 inches wide (1219 mm high by 1524 mm wide)] <Insert dimensions>.

Revise paragraph below if units enclosed in conference cabinets are required.

D. Mounting:  [Wall mounted] [Supported by rail support system] <Insert requirements>.

2.13 [CHALKBOARD] [MARKERBOARD] [AND] [TACKBOARD] ACCESSORIES

Retain one or more accessories in this article to suit Project and coordinate with those required in the "Visual Display Surface Schedule" Article.

A. Aluminum Frames[ and Trim]:  Fabricated from not less than 0.062-inch- (1.57-mm-) thick, extruded aluminum; [standard size and shape] [slim size and standard shape] [of size and shape indicated on Drawings] <Insert size and shape>.

Retain one of two subparagraphs below.

1. Field-Applied Trim:  Manufacturer's standard, [snap-on trim with no visible screws or exposed joints] [slip-on trim] [screw-on trim with Phillips flat-head screws].

2. Factory-Applied Trim:  Manufacturer's standard.

B. Factory-Applied Wood Trim:  [Red oak] [Walnut] [Manufacturer's standard species] <Insert species>, not less than 1/2 inch (13 mm) thick; [standard size and shape] [of size and shape indicated on Drawings] <Insert size and shape>.

Retain paragraph above or first paragraph below for wood trim.

C. Field-Applied Wood Trim:  Comply with requirements specified in Division 06 Section "[Finish Carpentry] [Interior Architectural Woodwork]."

D. Chalktray:  Manufacturer's standard, continuous.

1. Box Type:  Extruded aluminum with slanted front, grooved tray, and cast-aluminum end closures.

2. Solid Type:  Extruded aluminum with ribbed section and smoothly curved exposed ends.

Map rails are used at heads of chalkboards, markerboards, and tackboards and as dividers between panels.  Coordinate with information shown on Drawings.  Revise first paragraph below to suit Project.

E. Map Rail:  Provide the following accessories:

1. Display Rail:  Continuous and integral with map rail; fabricated from cork approximately 1 to 2 inches (25 to 50 mm) wide.

2. End Stops:  Located at each end of map rail.

3. Map Hooks:  [Two] <Insert number> map hooks for every [48 inches (1219 mm)] [1200 mm] <Insert dimension> of map rail or fraction thereof.

4. Map Hooks and Clips:  [Two] <Insert number> map hooks with flexible metal clips for every [48 inches (1219 mm)] [1200 mm] <Insert dimension> of map rail or fraction thereof.

5. Flag Holder:  [One] <Insert number> for each room.

Paper holders in subparagraph below can also be applied directly to chalkboards and markerboards rather than to map rails.

6. Paper Holder:  Extruded aluminum; designed to hold paper by clamping action.

F. Special-Purpose Graphics:  Fuse or paint the following graphics into surface of porcelain-enamel visual display unit:

1. Semivisible writing guidelines.

2. Penmanship lines.

3. Music staff lines.

4. Grid, 1 inch (25 mm) square.

5. Graph coordinates, rectangular.

6. Horizontal lines, 2 inches (50 mm) o.c.

7. Polar coordinates.

8. USA map.

9. World map.

10. Soccer field.

11. Football field.

12. Basketball court.

In subparagraph below, insert description of other special-purpose graphics such as planning, scheduling, and organizational charts or show on Drawings.

13. <Insert description of special-purpose graphics>.

2.14 FABRICATION

A. Porcelain-Enamel Visual Display Assemblies:  Laminate porcelain-enamel face sheet and backing sheet to core material under heat and pressure with manufacturer's standard flexible, waterproof adhesive.

B. Natural-Slate Chalkboards:  Surface slate panels to a natural plane.  Grind and hone to smooth, uniform finish equivalent to that obtained by minimum 180 grit and maximum 220 grit.

1. Cut joints straight and true.  Space joints symmetrically.  Fit and match panels before shipment to provide continuous, uniform writing surface.

2. Length:  Furnish panels approximately equal in length with permissible variation not more than 3 inches (75 mm) in either direction of equal spacing.  Allow 1/4-inch (6-mm) clearance at trim in length and width for fitting.  Provide lengths of panels in each space as follows:

a. Up to 5 feet (1.5 m); one panel.

b. More than 5 feet (1.5 m) but less than 9 feet (2.7 m); two panels.

c. More than 9 feet (2.7 m) but less than 13.5 feet (4.1 m); three panels.

d. More than 13.5 feet (4.1 m) but less than 18 feet (5.5 m); four panels.

e. More than 18 feet (5.5 m) but less than 22.5 feet (6.9 m); five panels.

f. More than 22.5 feet (6.9 m) but less than 27 feet (8.2 m); six panels.

Coordinate first paragraph below with type of trim in "(Chalkboard) (Markerboard) (and) (Tackboard) Accessories" Article.

C. Visual Display Boards:  [Factory] [Field] assemble visual display boards unless otherwise indicated.

1. Where factory-applied trim is indicated, trim shall be assembled and attached to visual display boards at manufacturer's factory before shipment.

Retain first paragraph below if retaining first option in last paragraph above.

D. Factory-Assembled Visual Display Units:  Coordinate factory-assembled units with trim and accessories indicated.  Join parts with a neat, precision fit.

If locations of joints are critical, show them on Drawings and delete first subparagraph below.

1. Make joints only where total length exceeds maximum manufactured length.  Fabricate with minimum number of joints, [balanced around center of board, as acceptable to Architect] [as indicated on approved Shop Drawings].

2. Provide manufacturer's standard vertical-joint [spline] [H-trim] system between abutting sections of [chalkboards] [markerboards].

3. Provide manufacturer's standard mullion trim at joints between [chalkboards] [markerboards] [and] [tackboards] of combination units.

Retain subparagraph below if required.

4. Where size of visual display boards or other conditions require support in addition to normal trim, provide structural supports or modify trim as indicated or as selected by Architect from manufacturer's standard structural support accessories to suit conditions indicated.

E. Modular Visual Display Boards:  Fabricated with integral panel clips attached to core material.

F. Aluminum Frames[ and Trim]:  Fabricate units straight and of single lengths, keeping joints to a minimum.  Miter corners to a neat, hairline closure.

1. Where factory-applied trim is indicated, trim shall be assembled and attached to visual display units at manufacturer's factory before shipment.

2.15 GENERAL FINISH REQUIREMENTS

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.16 ALUMINUM FINISHES

Retain finishes in this article to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.

A. Clear Anodic Finish:  AAMA 611, AA-M12C22A31, Class II, 0.010 mm or thicker.

B. Color Anodic Finish:  AAMA 611, AA-M12C22A32/A34, Class II, 0.010 mm or thicker.

Paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish:  AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm).  Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

2.17 VISUAL DISPLAY SURFACE SCHEDULE

Retain schedule if required; add any relevant requirements to appropriate article in Part 2 or show on Drawings.

Copy paragraphs below and re-edit for each product.

Insert number to complete drawing designation for each product required.  Use these designations on Drawings to identify each product.

A. Visual Display Board <Insert drawing designation>:  [Factory] [Field] assembled.

1. Chalkboard:  [Porcelain-enamel] [High-pressure laminate] [Melamine] [Painted-finish] [Natural-slate] chalkboard assembly.

a. Color:  [Green] [Blue] [Brown] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

2. Markerboard:  [Porcelain-enamel] [Melamine] [High-pressure-laminate] markerboard assembly.

a. Color:  [White] [Beige] [Tan] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

3. Corners:  [Square] [Rounded].

4. Width:  [As indicated on Drawings] <Insert dimension>.

5. Height:  [As indicated on Drawings] <Insert dimension>.

6. Mounting:  [Wall] [Rail support system].

7. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

Retain one of three trim subparagraphs below.  Vinyl trim is available only for markerboards.

8. [Factory] [Field]-Applied Aluminum Trim:  [Manufacturer's standard] <Insert description> with [clear anodic] [color anodic] [baked-enamel] [powder-coat] finish.

Retain one color from options in first subparagraph below with color anodic or finish coat above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last three options are for color anodic, baked-enamel, or powder-coat finish.

a. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

9. [Factory] [Field]-Applied Wood Trim:  <Insert species> with [opaque] [transparent] finish.

10. Factory-Applied Vinyl Trim:  [Dark brown] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

11. Accessories:

a. Chalktray:  [Box] [Solid] type.

b. Map rail with [display rail] [end stops] [map hooks] [map hooks and clips] [and] [flag holder].

B. Tackboard <Insert drawing designation>:  [Factory] [Field] assembled.

1. Tack Surface:  Natural-cork tackboard assembly <Insert designation>.

2. Tack Surface:  Plastic-impregnated-cork tackboard assembly <Insert designation>.

3. Tack Surface:  Vinyl-fabric-faced tackboard assembly <Insert designation>.

4. Tack Surface:  Polyester-fabric-faced tackboard assembly <Insert designation>.

Retain first subparagraph below if not retaining natural-cork tackboard assembly above.

a. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

5. Corners:  [Square] [Rounded].

6. Width:  [As indicated on Drawings] <Insert dimension>.

7. Height:  [As indicated on Drawings] <Insert dimension>.

8. Mounting:  [Wall] [Rail support system].

9. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

10. Edges:  [Concealed by trim] [Wrapped with fabric].

Retain one of two trim subparagraphs below.

a. [Factory] [Field]-Applied Aluminum Trim:  [Manufacturer's standard] <Insert description> style, with [clear anodic] [color anodic] [baked-enamel] [powder-coat] finish.

Retain one color from options in first subparagraph below with color anodic or finish coat above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last three options are for color anodic, baked-enamel, or powder-coat finish.

1) Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

b. [Factory] [Field]-Applied Wood Trim:  <Insert species> with [opaque] [transparent] finish.

C. Visual Display Rail <Insert drawing designation>:  [Factory] [Field] assembled.

1. Tack Surface:  Natural-cork tackboard assembly <Insert designation>.

2. Tack Surface:  Plastic-impregnated-cork tackboard assembly <Insert designation>.

3. Tack Surface:  Vinyl-fabric-faced tackboard assembly <Insert designation>.

4. Tack Surface:  Polyester-fabric-faced tackboard assembly <Insert designation>.

Retain first subparagraph below if retaining plastic-impregnated-cork, vinyl-fabric-faced, or polyester-fabric-faced tackboard assembly above.

a. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

5. Size:  [1 inch (25 mm)] [2 inches (50 mm)] [3 inches (75 mm)] high by length indicated on Drawings.

6. Edges:  [Extruded-aluminum trim] [Wrapped with fabric].

7. Ends:  [Aluminum] [Not required].

Manufacturers' standard is clear anodic finish.  Verify availability of other finishes with manufacturers and add color if required.

8. Aluminum Finish:  [Clear anodic] <Insert description> finish.

Visual display wall panels in first paragraph below are assembled in the field and consist of multiple panels that cover an extensive amount of wall surface.

D. Visual Display Wall Panels <Insert drawing designation>:  Consisting of the following visual display surface:

Retain one or more of first six subparagraphs below.

1. Marker Wall Sheet:  Porcelain-enamel face sheet with high-gloss cover coat.

a. Color:  [White] [Beige] [Tan] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

2. Marker Wall Panel:  [Porcelain-enamel] [High-pressure-laminate] markerboard assembly.

a. Color:  [White] [Beige] [Tan] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

Retain option in first four subparagraphs below unless tackable surfaces are directly applied to the wall.

3. Tack Wall Panel:  Natural-cork tack[board] assembly <Insert designation>.

4. Tack Wall Panel:  Plastic-impregnated-cork tack[board] assembly <Insert designation>.

5. Tack Wall Panel:  Vinyl-fabric-faced tack[board] assembly <Insert designation>.

6. Tack Wall Panel:  Polyester-fabric-faced tack[board] assembly <Insert designation>.

Retain first five subparagraphs below if retaining cork, plastic-impregnated-cork, vinyl-fabric-faced, or polyester-fabric-faced tackboard assembly above.

a. Panel-Joint Edges:  [Wrapped with fabric] [Concealed by fabric-covered trim].

b. Top-of-Wall Edges:  [Wrapped with fabric] [Concealed by fabric-covered trim].

c. Bottom-of-Wall Edges:  [Wrapped with fabric] [Concealed by fabric-covered trim].

d. Corners:  [Wrapped with fabric] [Concealed by fabric-covered trim].

e. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

7. Width:  [Full width of wall] [As indicated on Drawings] <Insert dimension>.

8. Height:  [Full height of wall] [Full height of wall above base] [As indicated on Drawings] <Insert dimension>.

E. Sliding Visual Display Unit <Insert drawing designation>:

Retain one of first two subparagraphs below.

1. Horizontal-Sliding Type:  [Two-track unit] [Three-track unit] [Four-track unit] [Four-track unit with two swinging doors].

2. Vertical-Sliding Type:  [Two] [Three] [Four]-track unit with tubular frame on [four sides] [top and two sides with kick panel].

Retain one of six "Fixed Rear Panel" subparagraphs below.  Glass-beaded projection screen is also available from some manufacturers.

a. Fixed Rear Panel:  [Porcelain-enamel] [Painted-finish] [High-pressure-laminate] chalkboard assembly.

1) Color:  [Green] [Blue] [Brown] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

b. Fixed Rear Panel:  [Porcelain-enamel] [High-pressure-laminate] markerboard assembly.

1) Color:  [White] [Beige] [Tan] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

c. Fixed Rear Panel:  Natural-cork tackboard assembly <Insert designation>.

d. Fixed Rear Panel:  Plastic-impregnated-cork tackboard assembly <Insert designation>.

e. Fixed Rear Panel:  Vinyl-fabric-faced tackboard assembly <Insert designation>.

f. Fixed Rear Panel:  Polyester-fabric-faced tackboard assembly <Insert designation>.

Retain first subparagraph below if retaining plastic-impregnated-cork, vinyl-fabric-faced, or polyester-fabric-faced tackboard assembly above.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

Retain one of six "Sliding Panels" subparagraphs below.  If more than one is required, indicate location of each type on Drawings.

g. Sliding Panels:  [Porcelain-enamel] [Painted-finish] [High-pressure-laminate] chalkboard assembly.

1) Color:  [Green] [Blue] [Brown] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

h. Sliding Panels:  [Porcelain-enamel] [High-pressure-laminate] markerboard assembly.

1) Color:  [White] [Beige] [Tan] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

i. Sliding Panels:  Natural-cork tackboard assembly <Insert designation>.

j. Sliding Panels:  Plastic-impregnated-cork tackboard assembly <Insert designation>.

k. Sliding Panels:  Vinyl-fabric-faced tackboard assembly <Insert designation>.

l. Sliding Panels:  Polyester-fabric-faced tackboard assembly <Insert designation>.

Retain first subparagraph below if retaining plastic-impregnated-cork, vinyl-fabric-faced, or polyester-fabric-faced tackboard assembly above.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

3. Overall Width:  [As indicated on Drawings] <Insert dimension>.

4. Overall Height:  [As indicated on Drawings] <Insert dimension>.

5. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

6. [Factory] [Field]-Applied Aluminum Trim:  [Manufacturer's standard] <Insert description>.

Manufacturers' standard is clear anodic finish.  Verify availability of other finishes with manufacturers and add color if required.

a. Finish:  [Clear anodic] <Insert description>.

7. Accessories:

a. Chalktray.

b. Map rail with [display rail] [end stops] [map hooks] [map hooks and clips] [and] [flag holder].

c. Locks.

d. Easel pad clamps.

F. Visual Display Conference Unit <Insert drawing designation>:

Retain one of first two subparagraphs below.

1. Cabinet Material:  Solid [red oak] [walnut] [mahogany] <Insert species> with [natural lacquered] [oiled] [stained] finish.

2. Cabinet Material:  High-pressure plastic laminate.

a. Color:  [Match Architect's sample] [As indicated by referencing manufacturer's designations] [As selected by Architect from full range of industry colors].

3. Fixed Rear Panel:  [Porcelain-enamel] [High-pressure-laminate] markerboard assembly.

a. Color:  [White] [Beige] [Tan] [Match Architect's sample] [As indicated by referencing manufacturer's designations] [As selected by Architect from full range of industry colors].

Retain one of first five subparagraphs below.  If more than one is required, indicate location of each type on Drawings.

4. Inside Surface of Doors:  Natural-cork tackboard assembly <Insert designation>.

5. Inside Surface of Doors:  Plastic-impregnated-cork tackboard assembly <Insert designation>.

6. Inside Surface of Doors:  Vinyl-fabric-faced tackboard assembly <Insert designation>.

7. Inside Surface of Doors:  Polyester-fabric-faced tackboard assembly <Insert designation>.

Retain first subparagraph below if retaining plastic-impregnated-cork, vinyl-fabric-faced, or polyester-fabric-faced tackboard assembly above.

a. Color:  [Match Architect's sample] [As indicated by referencing manufacturer's designations] [As selected by Architect from full range of industry colors].

8. Inside Surface of Doors:  [Porcelain-enamel] [High-pressure-laminate] markerboard assembly, color to match fixed rear panel.

9. Corners:  [Square] [Rounded].

10. Width:  [48 inches (1219 mm)] [As indicated on Drawings] <Insert dimension>.

11. Height:  [36 inches (914 mm)] [48 inches (1219 mm)] [72 inches (1829 mm)] [As indicated on Drawings] <Insert dimension>.

12. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

13. Accessories:

a. Flip-chart pad clamp.

b. Cylinder lock.

c. Pull-down projection screen.

Projection screen and fluorescent light are not available on same unit because of size limitations.

d. Fluorescent light.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and conditions, with Installer present, for compliance with requirements for installation tolerances, surface conditions of wall, and other conditions affecting performance of the Work.

B. Examine roughing-in for electrical power systems to verify actual locations of connections before installation of motor-operated, sliding visual display units.

C. Examine walls and partitions for proper preparation and backing for visual display surfaces.

D. Examine walls and partitions for suitable framing depth where sliding visual display units will be installed.

E. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Comply with manufacturer's written instructions for surface preparation.

B. Clean substrates of substances that could impair the performance of and affect the smooth, finished surfaces of visual display boards, including dirt, mold, and mildew.

C. Prepare surfaces to achieve a smooth, dry, clean surface free of flaking, unsound coatings, cracks, defects, projections, depressions, and substances that will impair bond between visual display surfaces and wall surfaces.

Delete first subparagraph below if priming of surfaces to receive direct-applied, visual display tack wall panels and visual display wall coverings is performed in another Section.

1. Prime wall surfaces indicated to receive [direct-applied, visual display tack wall panels] [visual display wall coverings] and as recommended in writing by primer/sealer manufacturer and wall covering manufacturer.

Retain one of two subparagraphs below for visual display wall coverings.

2. Prepare surfaces to receive visual display wall coverings and test for moisture according to requirements specified in Division 09 Section "Wall Coverings."

3. Prepare substrates indicated to receive visual display wall covering as required by manufacturer's written instructions to achieve a smooth, dry, clean, structurally sound surface that is uniform in color.

a. Moisture Content:  Maximum of [4] <Insert number> percent when tested with an electronic moisture meter.

b. Plaster:  Allow new plaster to cure.  Neutralize areas of high alkalinity.  Prime with primer as recommended in writing by primer/sealer manufacturer and wall covering manufacturer.

c. Metals:  If not factory primed, clean and apply metal as recommended in writing by primer/sealer manufacturer and wall covering manufacturer.

Delete first subparagraph below if priming of gypsum-board surfaces is performed in another Section.

d. Gypsum Board:  Prime with primer as recommended in writing by primer/sealer manufacturer and wall covering manufacturer.

e. Painted Surfaces:  Treat areas susceptible to pigment bleeding.

D. Prepare recesses for sliding visual display units as required by type and size of unit.

3.3 INSTALLATION, GENERAL

A. General:  Install visual display surfaces in locations and at mounting heights indicated on Drawings, or if not indicated, at heights indicated below. Keep perimeter lines straight, level, and plumb.  Provide grounds, clips, backing materials, adhesives, brackets, anchors, trim, and accessories necessary for complete installation.

Verify mounting heights required; mounting heights in subparagraphs below are common.  PolyVision recommends mounting heights of 24 inches (610 mm) for kindergarten; 26 inches (660 mm) for Grades 1 through 3; 30 inches (762 mm) for Grades 4 through 6; 34 inches (864 mm) for Grades 7 through 9; and 37 inches (940 mm) for Grades 10 and higher.

1. Mounting Height [for Grades K through 3] <Insert description>:  [24 inches (610 mm)] <Insert dimension> above finished floor to top of chalktray.

2. Mounting Height [for Grades 4 through 6] <Insert description>:  [28 inches (711 mm)] <Insert dimension> above finished floor to top of chalktray.

3. Mounting Height [for Grades 7 and Higher] <Insert description>:  [36 inches (914 mm)] <Insert dimension> above finished floor to top of chalktray.

3.4 INSTALLATION OF FIELD-FABRICATED VISUAL DISPLAY BOARDS AND ASSEMBLIES

Retain first paragraph below if retaining "field" option in "Visual Display Boards" Paragraph in "Fabrication" Article.

A. Field-Assembled Visual Display Units:  Coordinate field-assembled units with grounds, trim, and accessories indicated.  Join parts with a neat, precision fit.

If locations of joints are critical, show them on Drawings and delete first subparagraph below.

1. Make joints only where total length exceeds maximum manufactured length.  Fabricate with minimum number of joints, [balanced around center of board, as acceptable to Architect] [as indicated on approved Shop Drawings].

2. Provide manufacturer's standard vertical-joint [spline] [H-trim] system between abutting sections of [chalkboards] [markerboards].

3. Provide manufacturer's standard mullion trim at joints between [chalkboards] [markerboards] [and] [tackboards] of combination units.

Retain subparagraph below if required.

4. Where size of visual display boards or other conditions require support in addition to normal trim, provide structural supports or modify trim as indicated or as selected by Architect from manufacturer's standard structural support accessories to suit conditions indicated.

B. Natural-Slate Chalkboards:  Align and level joints between adjoining panels and apply manufacturer's recommended joint-filler compound.  Hone and finish joints to continuous even plane.

3.5 INSTALLATION OF FACTORY-FABRICATED VISUAL DISPLAY BOARDS AND ASSEMBLIES

Retain one of two paragraphs below or revise to suit product and Project.

A. Visual Display Boards:  Attach visual display boards to wall surfaces with [egg-size] <Insert coverage> adhesive gobs at 16 inches (400 mm) o.c., horizontally and vertically.

B. Visual Display Boards:  Attach concealed clips, hangers, and grounds to wall surfaces and to visual display boards with fasteners at not more than 16 inches (400 mm) o.c.  Secure both top and bottom of boards to walls.

Retain one of two subparagraphs below with either paragraph above.

1. Field-Applied Aluminum Trim:  Attach trim over edges of visual display boards and conceal grounds and clips.  Attach trim to boards with fasteners at not more than 24 inches (610 mm) o.c.

a. Attach chalktrays to boards with fasteners at not more than 12 inches (300 mm) o.c.

2. Field-Applied Wood Trim:  Install trim according to requirements in Division 06 Section "[Finish Carpentry] [Interior Architectural Woodwork]."

3.6 INSTALLATION OF VISUAL DISPLAY RAILS

A. Display Rails:  Install rails in locations and at mounting heights indicated on Drawings, or if not indicated, at height indicated below.  Attach to wall surface with fasteners at not more than 16 inches (400 mm) o.c.

1. Mounting Height:  [48 inches (1219 mm)] [60 inches (1524 mm)] <Insert dimension> above finished floor to top of rail.

3.7 INSTALLATION OF VISUAL DISPLAY WALL PANELS

A. Marker Wall Sheets:  Attach wall sheets to wall surface with thin layer of adhesive over entire wall surface.  Butt join adjacent panels[ and cover joint with matching joint strip installed with double-stick tape].

B. Marker Wall Panels:  Attach panels to wall surface with egg-size adhesive gobs at 16 inches (400 mm) o.c., horizontally and vertically.

Retain one of two subparagraphs below.

1. Join adjacent wall panels with concealed steel splines for smooth alignment.

2. Join adjacent wall panels with exposed, H-shaped aluminum trim painted to match wall panel.

C. Tack Wall Panels:  Attach panels to wall surface with egg-size adhesive gobs at 16 inches (400 mm) o.c. horizontally and vertically.

1. Install wrapped-edge wall panels with butt joints between adjacent wall panels.

2. Join adjacent wall panels with exposed, H-shaped aluminum trim covered with same fabric as wall panels.

3.8 INSTALLATION OF [RAIL] [MODULAR] SUPPORT SYSTEM

A. Rail Support System:  Install horizontal support rail in locations and at mounting heights indicated on Drawings, or if not indicated, at height indicated below.  Attach to wall surface with fasteners at 12 inches (300 mm) o.c.

1. Mounting Height:  [72 inches (1829 mm)] <Insert dimension> above finished floor to top of rail.

2. Hang visual display units on rail support system.

B. Modular Support System:  Install adjustable standards in locations and at mounting heights indicated on Drawings, or if not indicated, at height indicated below.  Install standards at 48 inches (1219 mm) o.c., vertically aligned and plumb, and attached to wall surface with fasteners at 12 inches (300 mm) o.c.

1. Mounting Height:  [12 inches (300 mm)] <Insert dimension> above finished floor to bottom of standard.

2. Install single-slotted standard at each end of each run of standards and double-slotted standards at intermediate locations.

3. Provide locking screw at top corner of visual display board at each standard.

4. Hang visual display units on modular support system.

3.9 INSTALLATION OF FACTORY-FABRICATED VISUAL DISPLAY UNITS

A. Sliding Visual Display Units:  Install units in recessed locations and at mounting heights indicated.  Attach to wall framing with fasteners at not more than 16 inches (400 mm) o.c.

1. Adjust panels to operate smoothly without warp or bind.  Lubricate operating hardware as recommended by manufacturer.

B. Visual Display Conference Units:  Install units in locations and at mounting heights indicated on Drawings, or if not indicated, at height indicated below.  Attach to wall surface with [fasteners through back of cabinet] [concealed brackets screwed to wall] [concealed wood cleats screwed to wall].

1. Mounting Height:  [72 inches (1829 mm)] <Insert dimension> above finished floor to top of cabinet.

3.10 INSTALLATION OF VISUAL DISPLAY WALL COVERING

A. Install visual display wall covering according to requirements specified in Division 09 Section "Wall Coverings."

Retain paragraph above or four paragraphs below.

Manufacturers recommend horizontal seams, but vertical seams are possible.  Revise to suit Project.

B. General:  Comply with visual display wall covering manufacturers' written installation instructions.

C. Install seams horizontal and level, with lowest seam [24 inches (610 mm)] <Insert dimension> above finished floor.  Railroad fabric (reverse roll direction) to ensure color matching.

D. Double cut seams, with no gaps or overlaps.  Remove air bubbles, wrinkles, blisters, and other defects.

E. After installation, clean visual display wall covering according to manufacturer's written instructions.  Remove excess adhesive at finished seams, perimeter edges, and adjacent surfaces.

3.11 INSTALLATION OF VISUAL ELECTRONIC MARKERBOARDS

A. Electronic Markerboards:  Install units in locations and at mounting heights indicated on Drawings, or if not indicated, at height indicated below.  Attach to [wall] [cubicle] surface with manufacturer's standard mounting hardware.

1. Mounting Height:  [72 inches (1829 mm)] <Insert dimension> above finished floor to top of markerboard.

3.12 CLEANING AND PROTECTION

A. Clean visual display surfaces according to manufacturer's written instructions.  Attach one cleaning label to visual display surface in each room.

B. Touch up factory-applied finishes to restore damaged or soiled areas.

C. Cover and protect visual display surfaces after installation and cleaning.

3.13 DEMONSTRATION

A. [Engage a factory-authorized service representative to train] [Train] Owner's maintenance personnel to adjust, operate, and maintain motor-operated, sliding visual display units.

END OF SECTION 101100

	VISUAL DISPLAY SURFACES
	101100 - 1



