Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 101200 - DISPLAY CASES
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. [Illuminated] [Nonilluminated] bulletin boards.

2. [Illuminated] [Nonilluminated] display cases.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 05 Section "Decorative Metal" for custom enclosures for [bulletin boards] [and] [display cases].

2. Division 06 Section "[Finish Carpentry] [Interior Architectural Woodwork]" for custom cabinets for [bulletin boards] [and] [display cases].

3. Division 09 Section "Fabric-Wrapped Panels" for tackable, fabric-covered wall panels.

4. Division 10 Section "Visual Display Surfaces" for tackboards.

5. Division 10 Section "Directories" for boards with changeable messages or changeable letters.

6. Division 26 Sections for wiring and other electrical work associated with illuminated [bulletin boards] [and] [display cases].

1.3 DEFINITIONS

Retain definition(s) remaining after this Section has been edited.

Manufacturers are not consistent in how they refer to bulletin boards and display cases.  Revise definitions below to suit product and Project.

A. Bulletin Board:  Tackable visual display surface or tackboard enclosed in a display case.

B. Display Case:  Glazed cabinet with [adjustable shelves] [visual display surface background and adjustable shelves].

1.4 PERFORMANCE REQUIREMENTS

Retain first paragraph below with "Seismic Qualification Certificates" Paragraph in "Submittals" Article for projects requiring seismic design.  Model building codes and ASCE/SEI 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

A. Seismic Performance:  Display cases shall withstand the effects of earthquake motions according to [ASCE/SEI 7] <Insert requirement>.

1. Component Importance Factor is 1.0.

B. Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

1.5 SUBMITTALS

First five paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for display cases.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

1. Product Data for Credit EQ 4.4:  For composite wood products used in display cases, documentation indicating that product contains no urea formaldehyde.

C. Shop Drawings:  For display cases.  Include plans, elevations, sections, details, and attachments to other work.

1. Show location of seams and joints in visual display surfaces.

2. Include sections of typical trim members.

Retain subparagraph below if equipment includes wiring.

3. Wiring Diagrams:  For power, signal, and control wiring.

D. Samples for Initial Selection:  For units with factory-applied color finishes, and as follows:

1. Actual sections of visual display surfaces.

2. Section of header panel for color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each type of product indicated.

1. Visual Display Surface:  Not less than 8-1/2 by 11 inches (215 by 280 mm), mounted on substrate indicated for final Work.  Include one panel for each type, color, and texture required.

2. Trim:  6-inch- (152-mm-) long sections of each trim profile[ including corner section].

First paragraph below is defined in Division 01 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

F. Delegated-Design Submittal:  For display cases indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements."

G. Qualification Data:  For qualified professional engineer.

Retain first paragraph below if required by seismic criteria applicable to Project.  Coordinate with Sections specifying mechanical vibration, supports, and seismic controls.  See ASCE/SEI 7 for certification requirements for equipment and components.

H. Seismic Qualification Certificates:  For <Insert equipment,> accessories, and components, from manufacturer.

1. Basis for Certification:  Indicate whether withstand certification is based on actual test of assembled components or on calculation.

2. Dimensioned Outline Drawings of Equipment Unit:  Identify center of gravity and locate and describe mounting and anchorage provisions.

3. Detailed description of equipment anchorage devices on which the certification is based and their installation requirements.

I. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for surface-burning characteristics of fabrics.

J. Maintenance Data:  For visual display surfaces, operating hardware[, and illuminated units] to include in maintenance manuals.

1.6 QUALITY ASSURANCE

A. Source Limitations:  Obtain display cases from single source from single manufacturer.

Retain first paragraph below if components of bulletin boards and display cases are flammable and testing is required by authorities having jurisdiction.

B. Surface-Burning Characteristics:  As determined by testing identical products according to ASTM E 84 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

1. Flame-Spread Index:  [25] <Insert value> or less.

2. Smoke-Developed Index:  [50] [450] <Insert value> or less.

Retain first paragraph below if illuminated bulletin boards and display cases are included.

C. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

D. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Do not deliver or install display cases until spaces are enclosed and weathertight, wet work in spaces is complete and dry, work above ceilings is complete, and temporary HVAC system is operating and maintaining ambient temperature and humidity conditions at occupancy levels during the remainder of the construction period.

Retain paragraph below for recessed bulletin boards and display cases.

B. Field Measurements:  Verify actual dimensions of openings for display cases by field measurements before fabrication.

PART 2 -  PRODUCTS

2.1 MATERIALS

A. Hardboard:  ANSI A135.4, tempered.

Retain option in first paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

B. Particleboard:  ANSI A208.1, Grade M-1[, made with binder containing no urea formaldehyde].

C. Fiberboard:  ASTM C 208.

Retain option in first paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

D. Hardwood Plywood:  HPVA HP-1[, made with adhesive containing no urea formaldehyde].

E. Natural Cork Sheet:  Seamless, single-layer, compressed fine-grain cork sheet; bulletin board quality; face sanded for natural finish.

F. Plastic-Impregnated Cork Sheet:  Seamless, homogeneous, self-sealing sheet consisting of granulated cork, linseed oil, resin binders, and dry pigments that are mixed and calendared onto burlap backing; with washable vinyl finish and integral color throughout.

A burlap-weave pattern helps to hide pinholes.

G. Vinyl Fabric:  FS CCC-W-408D, Type II, [burlap weave] <Insert texture and pattern>; weighing not less than 13 oz./sq. yd. (440 g/sq. m); with flame-spread index of 25 or less when tested according to ASTM E 84.

H. Polyester Fabric:  Nondirectional weave, 100 percent polyester; weighing not less than 15 oz./sq. yd. (508 g/sq. m); with flame-spread index of 25 or less when tested according to ASTM E 84.

I. Extruded-Aluminum Bars and Shapes:  ASTM B 221 (ASTM B 221M), Alloy 6063.

J. Aluminum Tubing:  ASTM B 429, Alloy 6063.

K. Clear Tempered Glass:  ASTM C 1048, Kind FT, Condition A, Type I, Class 1, Quality Q3, with exposed edges seamed before tempering, and 6 mm thick unless otherwise indicated.

L. Transparent Acrylic Sheet:  ASTM D 4802, Category A-1 (cell-cast sheet), with Finish 1 (smooth or polished), colorless sheet with visible light transmittance of 92 percent measured per ASTM D 1003.

M. Opaque Acrylic Sheet:  ASTM D 4802, Category A-1 (cell-cast sheet).

N. Translucent Acrylic Sheet:  ASTM D 4802, Category A-1 (cell-cast sheet), with Finish 1 (smooth or polished).  Provide white-colored sheet unless otherwise indicated, of density required to produce uniform brightness and minimum halation effects.

O. High-Pressure Plastic Laminate:  NEMA LD 3.

P. Fasteners:  Provide screws, bolts, and other fastening devices made from same material as items being fastened, except provide hot-dip galvanized, stainless-steel, or aluminum fasteners for exterior applications.  Provide types, sizes, and lengths to suit installation conditions.  Use security fasteners where exposed to view.

2.2 TACKBOARD ASSEMBLIES

Retain types of tackboard assemblies in this article to suit Project.  See Evaluations.

Insert designation for each assembly retained in paragraphs below.  Use these designations in other Part 2 articles to show where each tackboard assembly is required.

A. Natural-Cork Tackboard <Insert designation>:  1/16-inch- (1.6-mm-) thick, natural cork sheet factory laminated to [3/8-inch- (9.5-mm-)] [7/16-inch- (11-mm-)] thick fiberboard backing.

B. Natural-Cork Tackboard <Insert designation>:  1/8-inch- (3-mm-) thick, natural cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

C. Natural-Cork Tackboard <Insert designation>:  1/4-inch- (6-mm-) thick, natural cork sheet factory laminated to 1/4-inch- (6-mm-) thick [hardboard] [particleboard] backing.

D. Plastic-Impregnated-Cork Tackboard <Insert designation>:  1/8-inch- (3-mm-) thick, plastic-impregnated cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

E. Plastic-Impregnated-Cork Tackboard <Insert designation>:  1/4-inch- (6-mm-) thick, plastic-impregnated cork sheet factory laminated to 1/4-inch- (6-mm-) thick [hardboard] [particleboard] backing.

F. Vinyl-Fabric-Faced Tackboard <Insert designation>:  Vinyl fabric factory laminated to [3/8-inch- (9.5-mm-)] [7/16-inch- (11-mm-)] [1/2-inch- (13-mm-)] thick fiberboard backing.

G. Vinyl-Fabric-Faced Tackboard <Insert designation>:  1/16-inch- (1.6-mm-) thick, vinyl-fabric-faced cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

H. Vinyl-Fabric-Faced Tackboard <Insert designation>:  1/8-inch- (3-mm-) thick, vinyl-fabric-faced cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

I. Vinyl-Fabric-Faced Tackboard <Insert designation>:  1/4-inch- (6-mm-) thick, vinyl-fabric-faced cork sheet factory laminated to 1/4-inch- (6-mm-) thick [hardboard] [particleboard] backing.

J. Polyester-Fabric-Faced Tackboard <Insert designation>:  Polyester fabric factory laminated to [3/8-inch- (9.5-mm-)] [1/2-inch- (13-mm-)] thick fiberboard backing.

K. Polyester-Fabric-Faced Tackboard <Insert designation>:  1/16-inch- (1.6-mm-) thick, polyester-fabric-faced cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

L. Polyester-Fabric-Faced Tackboard <Insert designation>:  1/8-inch- (3-mm-) thick, polyester-fabric-faced cork sheet factory laminated to 3/8-inch- (9.5-mm-) thick fiberboard backing.

M. Polyester-Fabric-Faced Tackboard <Insert designation>:  1/4-inch- (6-mm-) thick, polyester-fabric-faced cork sheet factory laminated to 1/4-inch- (6-mm-) thick [hardboard] [particleboard] backing.

2.3 BULLETIN BOARD <Insert drawing designation>

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Nonilluminated Bulletin Boards:

a. A-1 Visual Systems.

b. AARCO Products, Inc.

c. ADP Lemco, Inc.

d. APCO Graphics, Inc.

e. Aywon.

f. Best-Rite Manufacturing.

g. Claridge Products and Equipment, Inc.

h. Ghent Manufacturing, Inc.

i. Marsh Industries, Inc.; Visual Products Group.

j. Nelson-Harkins Industries.

k. Peter Pepper Products, Inc.

l. Platinum Visual Systems; a division of ABC School Equipment, Inc.

m. Poblocki Sign Company.

n. PolyVision Corporation; a Steelcase company.

o. Tablet & Ticket Co. (The).

p. Tri-Best Visual Display Products.

q. <Insert manufacturer's name>.

2. Illuminated Bulletin Boards:

a. A-1 Visual Systems.

b. AARCO Products, Inc.

c. ADP Lemco Inc.

d. APCO Graphics, Inc.

e. Claridge Products and Equipment, Inc.

f. Nelson-Harkins Industries.

g. Poblocki Sign Company.

h. Tablet & Ticket Co. (The).

i. Tri-Best Visual Display Products.

j. <Insert manufacturer's name>.

Revise first paragraph below if chalkboard or markerboard assembly, instead of tackboard assembly, is required on back inside surface; tackboard assembly is most common.

B. General:  Factory-fabricated [weather-resistant] unit consisting of manufacturer's standard wall-mounted cabinet with tackboard assembly on back inside surface and operable glazed doors at front.

Retain one of first two paragraphs below.

C. Aluminum-Framed Cabinet:  Extruded aluminum[, with weather-resistant backing for exterior use]; with [clear anodic] [color anodic] [baked-enamel] [powder-coat] finish.

Retain one color from options in subparagraph below with color anodic, baked-enamel, or powder-coat finish above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last three options are for color anodic, baked-enamel, or powder-coat finish.

1. Color and Gloss:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

D. Wood-Framed Cabinet:  [Red oak] [Walnut] [Manufacturer's standard species] <Insert species> with [natural lacquered] [oiled] [stained] finish.

E. Cabinet Corners:  [Square] [Rounded].

Retain one of first two paragraphs below.  Tempered-glass glazing is most commonly available, especially for sliding doors.  Other types of glass, such as double strength, and other plastic glazing, such as polycarbonate, may be available.

F. Glazed Sliding Doors:  [Tempered glass] [Clear acrylic sheet] <Insert glazing>; unframed; with extruded-aluminum top and bottom track; supported on nylon or ball-bearing rollers; with plastic top guide and rubber bumpers.  Equip each door with ground finger pull and adjustable cylinder lock with two keys.

1. Thickness:  Not less than [6 mm] <Insert dimension> thick.

2. Number of Doors:  [One] [Two] [Three] [As indicated on Drawings] <Insert number>.

G. Glazed Hinged Doors:  [Tempered glass] [Clear acrylic sheet] <Insert glazing>; set in frame matching cabinet material and finish.  Equip each door with full-height continuous hinge and cylinder lock with two keys.[  Provide factory-applied weather stripping on doors for exterior use.]

1. Thickness:  Not less than [6 mm] <Insert dimension> thick.

2. Number of Doors:  [One] [Two] [Three] [As indicated on Drawings] <Insert number>.

Retain first paragraph below if required.

H. Header Panel:  [Nonilluminated; with opaque,] [Illuminated; with translucent,] acrylic sheet panel set within overall cabinet frame; with matching frame that separates header panel from bulletin board.

For header panels required to comply with U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities," indicate colors that produce a light-on-dark or dark-on-light contrast between characters and their background.

1. Graphic Content and Style:  Provide header panel copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors of graphics.

2. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors].

Retain first paragraph below if required.  Illumination systems are available for bulletin board cabinets whether or not they have header panels.

I. Illumination System:  Concealed top-lighting system consisting of fluorescent-strip fixtures.  Include lamps and internal wiring with single, concealed electrical connection to building system.  Coordinate electrical characteristics with power supply provided.

1. Ballasts:  Low-temperature, high-power-factor, low-energy, fluorescent lamp ballasts that comply with Certified Ballast Manufacturers Association standards and carry its label.[  Provide exterior ballasts for exterior bulletin boards.]

Retain one of four "Tack Surface" paragraphs below or delete all and insert requirements for porcelain-enamel or high-pressure laminate chalkboard or markerboard assembly.

Insert designation for each tack surface retained below.  Use these designations in other Part 2 articles and on Drawings.

J. Tack Surface:  Natural-cork tackboard assembly <Insert designation>.

K. Tack Surface:  Plastic-impregnated-cork tackboard assembly <Insert designation>.

L. Tack Surface:  Vinyl-fabric-faced tackboard assembly <Insert designation>.

M. Tack Surface:  Polyester-fabric-faced tackboard assembly <Insert designation>.

Retain subparagraph below if retaining plastic-impregnated-cork, vinyl-fabric-faced, or polyester-fabric-faced tackboard assembly above.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

N. Width:  [48 inches (1219 mm)] [As indicated on Drawings] <Insert dimension>.

O. Height:  [36 inches (914 mm)] [As indicated on Drawings] <Insert dimension>.

P. Depth:  [2 inches (51 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [As indicated on Drawings] <Insert dimension>.

Q. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

R. Mounting:  [Surface mounted] [Recessed].

2.4 DISPLAY CASE <Insert drawing designation>

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain first paragraph and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. A-1 Visual Systems.

2. AARCO Products, Inc.

3. ADP Lemco, Inc.

4. Best-Rite Manufacturing.

5. Claridge Products and Equipment, Inc.

6. Ghent Manufacturing, Inc.

7. Nelson-Harkins Industries.

8. Platinum Visual Systems; a division of ABC School Equipment, Inc.

9. Poblocki Sign Company.

10. PolyVision Corporation; a Steelcase company.

11. Tablet & Ticket Co. (The).

12. <Insert manufacturer's name>.

Retain one of first two paragraphs below.

Unit in first paragraph below is also available as front component only, without cabinet, for installation with field-constructed recessed box.

B. Recessed Cabinet:  Factory-fabricated cabinet; with tackboard assembly on back inside surface, operable glazed doors at front, and trim on face to cover edge of recessed opening.

1. Cabinet Box:  [Extruded aluminum] [Hardwood veneer plywood].

Retain one of first two subparagraphs below.

2. Cabinet Frame and Trim:  Aluminum.

3. Cabinet Frame and Trim:  [Birch] [Red oak] [Walnut] [Manufacturer's standard hardwood species] <Insert species> with transparent finish.

4. Veneer Species:  [Birch] [Red oak] [Walnut] [Manufacturer's standard species] <Insert species> with transparent finish.

Retain subparagraph below if aluminum components are used to fabricate display cases.

5. Aluminum Finish:  [Clear anodic] [Color anodic] [Baked enamel] [Powder coat].

Retain one color from options in subparagraph below with color anodic, baked-enamel, or powder-coat finish above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last three options are for color anodic, baked-enamel, or powder-coat finish.

a. Color and Gloss:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

C. Surface-Mounted Cabinet:  Factory-fabricated cabinet; with tack assembly on back inside surface, and glazed doors at front.

Retain one of first four subparagraphs below.  Retain only one option in first subparagraph.

1. Cabinet Box:  Hardwood-veneer-plywood [top and ]bottom panels with transparent finish; [top and ]glazed side panels.

2. Cabinet Box:  Extruded aluminum top, bottom, and side panels.

3. Cabinet Box:  Glazed top, bottom, and side panels.

4. Cabinet Box:  <Insert construction>.

Retain one of first two subparagraphs below.

5. Cabinet Frame:  Aluminum.

This type of cabinet combined with glazed top, bottom, and side panels is furniture quality.

6. Cabinet Frame:  [Maple] [Red oak] [Walnut] [Manufacturer's standard hardwood species] <Insert species> with transparent finish.

Retain subparagraph below if aluminum components are used to fabricate display cases.

7. Aluminum Finish:  [Clear anodic] [Color anodic] [Baked enamel] [Powder coat].

Retain one color from options in subparagraph below with color anodic, baked-enamel, or powder-coat finish above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last three options are for color anodic, baked-enamel, or powder-coat finish.

a. Color and Gloss:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain one of first two paragraphs below.

D. Glazed Sliding Doors:  Tempered glass; unframed; with extruded-aluminum top and bottom track; supported on nylon or ball-bearing rollers; with plastic top guide and rubber bumpers.  Equip each door with ground finger pull and adjustable cylinder lock with two keys.

1. Thickness:  Not less than [6 mm] <Insert dimension> thick.

2. Number of Doors:  [Two] [Three] [As indicated on Drawings] <Insert number>.

E. Glazed Hinged Doors:  Tempered glass; set in frame matching cabinet material and finish.  Equip each door with full-height continuous hinge and cylinder lock with two keys.

1. Thickness:  Not less than [6 mm] <Insert dimension> thick.

2. Number of Doors:  [One] [Two] [Three] [As indicated on Drawings] <Insert number>.

F. Shelves:  6-mm-thick tempered glass; supported on adjustable shelf standards and supports.

1. Shelf Width:  [6 inches (150 mm)] [8 inches (200 mm)] [10 inches (250 mm)] [12 inches (300 mm)].

2. Number of Shelves:  [Three] [As indicated on Drawings] <Insert number>.

First option in first paragraph below specifies standards and knife-type brackets for mounting at rear of shelves, which is most common; second specifies standards and clip-type rests for mounting at ends of shelves.

G. Adjustable Shelf Standards and Supports:  [BHMA A156.9, B04102; with shelf brackets, B04112; recess mounted in rear surface] [BHMA A156.9, B04071; with shelf rests, B04081; mounted on sides].  Provide standards full height of display case.

Retain one of four "Tack Surface" paragraphs below.

Insert designation for each tack surface retained below.  Use these designations in other Part 2 articles and on Drawings.

H. Tack Surface:  Natural-cork tackboard assembly <Insert designation>.

I. Tack Surface:  Plastic-impregnated-cork tackboard assembly <Insert designation>.

J. Tack Surface:  Vinyl-fabric-faced tackboard assembly <Insert designation>.

K. Tack Surface:  Polyester-fabric-faced tackboard assembly <Insert designation>.

Retain subparagraph below if retaining plastic-impregnated-cork, vinyl-fabric-faced, or polyester-fabric-faced tackboard assembly above.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain first paragraph below if required.

L. Illumination System:  Concealed top-lighting system consisting of fluorescent-strip fixtures.  Include lamps and internal wiring with single concealed electrical connection to building system.  Coordinate electrical characteristics with power supply provided.

1. Ballasts:  Low-temperature, high-power-factor, low-energy, fluorescent lamp ballasts that comply with Certified Ballast Manufacturers Association standards and carry its label.

M. Width:  [48 inches (1219 mm)] [As indicated on Drawings] <Insert dimension>.

N. Height:  [60 inches (1524 mm)] [As indicated on Drawings] <Insert dimension>.

O. Depth:  [8 inches (200 mm)] [16 inches (400 mm)] [24 inches (600 mm)] [As indicated on Drawings] <Insert dimension>.

2.5 FABRICATION

A. Fabricate [bulletin boards] [and] [display cases] to requirements indicated for dimensions, design, and thickness and finish of materials.

B. Use metals and shapes of thickness and reinforcing to produce flat surfaces, free of oil-canning, and to impart strength for size, design, and application indicated.

C. Fabricate cabinets and door frames with reinforced corners, mitered to a hairline fit, with no exposed fasteners.

D. Fabricate exterior units with vents to permit evaporation of moisture trapped inside.

E. Fabricate shelf standards plumb and at heights to align shelf brackets for level shelves.

2.6 GENERAL FINISH REQUIREMENTS

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.7 ALUMINUM FINISHES

Retain finishes in this article to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.

A. Clear Anodic Finish:  AAMA 611, AA-M12C22A31, Class II, 0.010 mm or thicker.

B. Color Anodic Finish:  AAMA 611, AA-M12C22A32/A34, Class II, 0.010 mm or thicker.

Paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish:  AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm).  Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine walls, with Installer present, for compliance with requirements for installation tolerances, surface conditions of wall, and other conditions affecting performance of the Work.

B. Examine roughing-in for electrical power system to verify actual locations of connections before installation of illuminated units.

C. Examine walls and partitions for proper backing for [bulletin boards] [and] [display cases].

D. Examine walls and partitions for suitable framing depth if recessed units will be installed.

E. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

Delete this article if only surface-mounted units are required.

A. Prepare recesses for display cases as required by type and size of unit.

3.3 INSTALLATION

A. General:  Install units in locations and at mounting heights indicated on Drawings, or if not indicated, at heights indicated below.  Keep perimeter lines straight, level, and plumb.  Provide grounds, clips, backing materials, adhesives, brackets, anchors, trim, and accessories necessary for complete installation.

1. Mounting Height:  [72 inches (1829 mm)] <Insert dimension> above finished floor to top of cabinet.

B. Bulletin Boards:  Attach units to wall surfaces with [concealed fasteners through back of cabinet] [concealed brackets screwed to wall] [concealed wood cleats screwed to wall] [manufacturer's standard concealed hardware].

C. Recessed Display Cases:  Attach units to wall framing with fasteners at not more than 16 inches (400 mm) o.c.  Attach aluminum trim over edges of recessed display cases and conceal grounds and clips.  Attach trim with fasteners at not more than 24 inches (600 mm) o.c.

D. Surface-Mounted Display Cases:  Attach units to wall surfaces with concealed clips, hangers, or grounds fastened at not more than 16 inches (400 mm) o.c.  Secure both top and bottom of display cases to walls.

E. Comply with requirements in Division 26 for connecting illuminated [bulletin boards] [and] [display cases].

1. After installation is complete, install new fluorescent lamps.

F. Install display case shelving level and straight.

3.4 ADJUSTING AND CLEANING

A. Adjust doors to operate smoothly without warp or bind and so contact points meet accurately.  Lubricate operating hardware as recommended by manufacturer.

B. Touch up factory-applied finishes to restore damaged or soiled areas.

END OF SECTION 101200

	DISPLAY CASES
	101200 - 1



