Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
11/04 (R 05/05)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 101426 - POST AND PANEL/PYLON SIGNAGE
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. [Nonilluminated] [Internally illuminated] post and panel signs.

2. [Nonilluminated] [Internally illuminated] pylon signs.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 01 Section "Temporary Facilities and Controls" for temporary Project identification signs and for temporary informational and directional signs.

Delete first subparagraph below if concrete fill in postholes is specified in this Section.

2. Division 03 Section "Cast-in-Place Concrete" for concrete foundations and concrete fill.

3. Division 10 Section "Signage" for wall-mounted signs and dimensional characters.

4. Division 26 Sections for electrical service and connections for illuminated [post and panel] [and] [pylon] signs.

1.3 PERFORMANCE REQUIREMENTS

A. Structural Performance:  Provide [post and panel] [and] [pylon] signs capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Requirements under each set of performance criteria in this Article are examples only; revise to suit Project.  Consult a structural engineer experienced in engineering signs of type indicated to quantify design loads applicable to Project.  Verify compliance with codes.  See Evaluations.

1. Wind Loads:  Determine loads based on the following minimum design wind pressures:

a. Uniform pressure of <Insert number> lbf/sq. ft. (<Insert number> Pa), acting in any direction.

Delete subparagraph above or below.  If retaining below, indicate pressures on appropriate elevation Drawings.

b. Uniform pressure as indicated on Drawings.

Revise first paragraph below to indicate specific loads determined by Project's structural engineer or refer to loads indicated on Drawings.  Model building codes and SEI/ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

B. Seismic Performance:  Provide [post and panel] [and] [pylon] signs capable of withstanding the effects of earthquake motions determined according to [SEI/ASCE 7, "Minimum Design Loads for Buildings and Other Structures."] <Insert applicable code requirement.>

C. Thermal Movements:  Provide [post and panel] [and] [pylon] signs that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.; revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

1.4 DEFINITIONS

Retain this Article if term in paragraph below remains after this Section has been edited.

A. ADA-ABA Accessibility Guidelines:  U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA) Accessibility Guidelines for Buildings and Facilities; Architectural Barriers Act (ABA) Accessibility Guidelines."

1.5 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  Show fabrication and installation details for post and panel/pylon signage.

1. Include plans, elevations, sections, details, and attachments to other work.

2. Provide message list, typestyles, graphic elements, and layout for each sign at least half size and full-size details of graphics.

Retain subparagraph below for illuminated signs with cutout copy with acrylic backup or pushed-through graphics.

a. Include full-size templates for cutout characters and graphic symbols.

Retain subparagraph below only if signs are internally illuminated.

3. Show locations of electrical service connections.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify product's compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

4. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

C. Samples for Initial Selection:  Manufacturer's color charts consisting of actual units or sections of units showing the full range of colors available for the following:

Delete materials in list below if not required.

1. Aluminum.

2. Acrylic sheet.

3. Polycarbonate sheet.

4. Fiberglass sheet.

Retain subparagraph below for nonilluminated signs with surface-applied vinyl copy.  Revise if typestyle has been previously selected.  Modify if reflective copy is required.

5. Die-cut vinyl characters and graphic symbols.[  Include representative samples of available typestyles and graphic symbols.]

Delete paragraph and subparagraphs above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each of the following products and for the full range of color, texture, and sign material indicated, of sizes indicated:

Revise subparagraphs below to suit Project.  Increase sample panel size for illuminated panel and pylon signs that include cutout characters or representative sample of graphic image within the panel sample.

1. Aluminum:  For each form, finish, and color, on 6-inch- (150-mm-) long sections of extrusions and squares of sheet at least 4 by 4 inches (100 by 100 mm).

2. Acrylic Sheet:  8 by 10 inches (200 by 250 mm) for each color required.

3. Polycarbonate Sheet:  8 by 10 inches (200 by 250 mm) for each color required.

4. Fiberglass Sheet:  8 by 10 inches (200 by 250 mm) for each color required.

Retain first subparagraph below with any subparagraph above that uses surface-applied or illuminated copy.

5. Include a[ full-size] representative sample of [surface-applied graphic symbol] [cutout illuminated character] required in each panel.  Show graphic style, colors, finishes, typestyles, and graphic symbol.

6. [Trim] [Frame]:  6-inch- (150-mm)- long sections of each profile.

7. Accessories:  Manufacturer's full-size unit.

8. <Insert Sample and size.>

E. Sign Schedule:  Use same designations indicated on Drawings.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For [Installer] [and] [fabricator].

G. Maintenance Data:  For signs to include in maintenance manuals.

H. Warranty:  Special warranty specified in this Section.

1.6 QUALITY ASSURANCE

Select one of two options in first paragraph below or insert requirements.

A. Installer Qualifications:  [Fabricator of products] [An employer of workers trained and approved by manufacturer] <Insert requirements>.

Retain subparagraph below for signs with multiple-message-bar-type insert panels.  Revise to suit Project.

1. Installer shall be capable of providing replacement message bars within 10 working days of receipt of order.

B. Fabricator Qualifications:  Shop that employs skilled workers who custom-fabricate products similar to those required for this Project and whose products have a record of successful in-service performance.

C. Source Limitations for Signs:  Obtain each sign type indicated from one source from a single manufacturer.

Signage required to be accessible to people with disabilities must comply with requirements in the ADA-ABA Accessibility Guidelines and with requirements of authorities having jurisdiction, whichever are more stringent.  Verify local requirements and insert additional requirements if needed.

D. Regulatory Requirements:  Comply with applicable provisions in [ADA-ABA Accessibility Guidelines] [and] [ICC A117.1].

Delete paragraph below if no illuminated signs.

E. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

1.7 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when[ existing and forecasted] weather conditions permit installation of signs to be performed according to manufacturers' written instructions and warranty requirements.

B. Field Measurements:  Indicate measurements on Shop Drawings.

1.8 COORDINATION

Delete this Article if signs are installed using direct-burial method.  Revise if sign-foundation installations are specified in this Section.

A. Coordinate installation of anchorages for post and panel/pylon signage.  Furnish setting drawings, templates, and directions for installing anchorages and other items that are to be embedded in concrete.

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of [post and panel] [and] [pylon] signs that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Deterioration of [metal] [and] [polymer] finishes beyond normal weathering.

b. Deterioration of embedded graphic image [colors] [and] [sign lamination] <Insert description>.

Verify available warranties for units and components and insert number in subparagraph below.

2. Warranty Period:  [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS

In this Article, retain only materials that are referenced in other articles under specific signage requirements.

Retain paragraph below if aluminum sheet is used as sign facing material.

A. Aluminum Sheet and Plate:  ASTM B 209 (ASTM B 209M), alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with at least the strength and durability properties of Alloy 5005-H32.

Retain paragraph below if extruded aluminum is used for posts, panel frames and internal stiffeners, caps, or other supporting elements.

B. Aluminum Extrusions:  ASTM B 221 (ASTM B 221M), alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with at least the strength and durability properties of Alloy 6063-T5.

Retain paragraph and subparagraphs below for most pylon signs or for post and panel signs if subject to high wind loads or if internal support is required for large signs.  Delete materials not required.

C. Steel:

1. Galvanized Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating, either commercial or forming steel.

2. Steel Sheet:  [Uncoated, cold-rolled, ASTM A 1008/A 1008M, commercial steel, Type B, exposed] [or] [electrolytic zinc-coated, ASTM A 591/A 591M, with steel sheet substrate complying with ASTM A 1008/A 1008M, commercial steel, exposed].

Select one option from first subparagraph below.  Type 316 is more corrosion resistant and more expensive than Type 304.

3. Stainless-Steel Sheet:  ASTM A 240/A 240M or ASTM A 666, Type [304] [316], stretcher-leveled standard of flatness.

4. Hot-Rolled Structural-Steel Shapes:  ASTM A 36/A 36M or ASTM A 529/A 529M.

5. Steel Tubing or Pipe:  ASTM A 500, Grade B.

6. Steel Members Fabricated from Plate or Bar Stock:  ASTM A 529/A 529M or ASTM A 572/A 572M, 42,000-psi (290-MPa) minimum yield strength.

7. Bolts for Steel Framing:  ASTM A 307 or ASTM A 325 (ASTM A 325M) as necessary for design loads and connection details.

8. For steel exposed to view on completion, provide materials having flat, smooth surfaces without blemishes.  Do not use materials whose surfaces exhibit pitting, seam marks, roller marks, rolled trade names, or roughness.

Retain paragraph below if fiberglass is used as sign facing material.

D. Fiberglass Sheet:  Molded, seamless, thermosetting, glass-fiber-reinforced polyester panels with a minimum tensile strength of 15,000 psi (103 MPa) when tested according to ASTM D 638 and with a minimum flexural strength of 30,000 psi (207 MPa) when tested according to ASTM D 790.

Retain paragraph below if copper sheet is used for etched metal panel.

E. Copper:  ASTM B 152/B 152M.

Retain paragraph below if acrylic sheet is used for message panel; cutout, surface-applied letters; or letters or symbols on illuminated signs.

F. Acrylic Sheet:  ASTM D 4802, Category A-1 (cell-cast sheet), Type UVA (UV absorbing).

Retain paragraph and subparagraphs below if polycarbonate sheet is used for sign message panels or for letters and symbols on illuminated signs.

G. Polycarbonate Sheet:  Of thickness indicated, manufactured by extrusion process, coated on both surfaces with abrasion-resistant coating:

1. Impact Resistance:  16 ft-lbf/in. (854 J/m) per ASTM D 256, Method A.

2. Tensile Strength:  9000 lbf/sq. in. (62 MPa) per ASTM D 638.

3. Flexural Modulus of Elasticity:  340,000 lbf/sq. in. (2345 MPa) per ASTM D 790.

4. Heat Deflection:  265 deg F (129 deg C) at 264 lbf/sq. in. (1.82 MPa) per ASTM D 648.

5. Abrasion Resistance:  1.5 percent maximum haze increase for 100 revolutions of a Taber abraser with a load of 500 g per ASTM D 1044.

Retain first paragraph below for surface-applied, die-cut, vinyl-film lettering; revise if reflective film is required.

H. Applied Vinyl:  Die-cut characters from vinyl film of nominal thickness of 3 mils (0.076 mm) with pressure-sensitive adhesive backing, suitable for exterior applications.

I. Colored Coatings for Acrylic Sheet:  For copy [and] [background] [and frame] colors, provide colored coatings, including inks, dyes, and paints, that are recommended by acrylic manufacturers for optimum adherence to acrylic surface and that are UV and water resistant for [three] [five] years for application intended.

1. Custom Paint Colors:  Match [Pantone] <Insert system> color matching system.

J. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

2.2 [POST AND PANEL] [AND] [PYLON] SIGNS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list below if naming manufacturers.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. Allen Industries Architectural Signage.

2. APCO Graphics, Inc.

3. ASI-Modulex, Inc.

4. Best Sign Systems Inc.

5. Bunting Graphics, Inc.

6. Charleston Industries, Inc.

7. Nelson-Harkins Industries.

8. Signature Signs, Incorporated.

9. Supersine Company (The).

10. Vomar Products, Inc.

11. <Insert manufacturer's name.>

2.3 PANEL SIGNS

A. Sign Message Panels:  Provide smooth sign panel surfaces constructed to remain flat under installed conditions within a tolerance of plus or minus 1/16 inch (1.5 mm) measured diagonally from corner to corner.

Revise three subparagraphs below to suit Project.

1. Coordinate dimensions and attachment methods to produce message panels with closely fitting joints.  Align edges and surfaces with one another in the relationship indicated.

Delete both subparagraphs below if molded-fiberglass sign message panels are required.

2. Increase metal thickness or reinforce with concealed stiffeners or backing materials as needed to produce surfaces without distortion, buckles, warp, or other surface deformations.

3. Continuously weld joints and seams unless other methods are indicated; grind, fill, and dress welds to produce smooth, flush, exposed surfaces with welds invisible after final finishing.

B. Message Panel Materials:

Select panel material from first five subparagraphs and associated subparagraphs below.  If more than one material is required for multiple sign installations, insert requirements to indicate locations or show locations of each on Drawings.

1. Aluminum Sheet:  [0.080 inch (2.03 mm)] [0.125 inch (3.18 mm)] <Insert dimension> thick.

a. Panel Finish:  [Baked enamel] [Class I, clear anodic finish] [Class I, color anodic finish] <Insert finish>.

b. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

2. Composite Aluminum-Faced Sheet:  [0.020-inch- (0.51-mm-)] [0.236-inch- (6.0-mm-)] <Insert dimension> thick, aluminum sheet facings laminated to each side of [0.197-inch- (5.0-mm-)] [0.394-inch- (10.0-mm-)] <Insert dimension> thick, [corrugated] [phenolic] core.

a. Panel Finish:  [Baked enamel] [Class I, clear anodic finish] [Class I, color anodic finish] <Insert finish>.

b. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

3. Acrylic Sheet:  [Clear] [Translucent] [Opaque] [0.250 inch (6.354 mm)] <Insert dimension> thick.

a. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Fiberglass Sheet:  [0.125 inch (3.18 mm)] [0.236 inch (6.0 mm)] <Insert dimension> thick.

a. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Polycarbonate Sheet:  [Clear] [Translucent] [0.125 inch (3.18 mm)] [0.250 inch (6.354 mm)] <Insert dimension> thick.

a. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Edge Condition:  [Square cut] [Beveled] [Bullnose].

7. Corner Condition:  [Square] [Rounded to radius indicated].

8. Custom Paint Colors:  Match [Pantone] <Insert system> color matching system.

9. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

C. Laminated Panel Signs:  Solid phenolic panel core with graphic image covered with thermosetting resin face layer.

1. Surface Finish:  [Mat] [Beaded] [Gloss] [UV resistant, outdoor].

2. Edge Condition:  [Square cut] [Beveled] [Bullnose].

3. Corner Condition:  [Square] [Rounded to radius indicated].

4. Thickness:  [1/8 inch (3 mm)] [1/4 inch (6 mm)] <Insert dimension>.

Retain first paragraph and subparagraphs below for signs with framed message panels.

D. Panel Sign Frames:

1. Extruded-Aluminum Frames:  Mitered [with concealed anchors] [and welded].

2. Bronze Plate:  Not less than 0.032 inch (0.81 mm) thick.

3. Brass Plate:  Not less than 0.032 inch (0.81 mm) thick.

4. Copper Sheet:  Not less than [0.032 inch (0.81 mm)] [0.048 inch (1.22 mm)] <Insert dimension> thick.

5. Steel Sheet:  Painted, not less than 0.050 inch (1.27 mm) thick for face and 0.031 inch (0.78 mm) thick for returns.

a. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Stainless-Steel Sheet:  Not less than 0.050 inch (1.27 mm) thick for face and 0.031 inch (0.78 mm) thick for returns.

7. <Insert material and thickness.>

Revise depth of panel sign frame in first subparagraph below to suit Project.  Frames 7-1/2 inches (191 mm) and more in depth are for illuminated or nonilluminated signs.

a. Depth:  [2 inches (50 mm)] [7-1/2 inches (190 mm)] [12 inches (300 mm)] [As indicated] <Insert dimension>.

b. Profile:  [Square] [Beveled] [Rounded].

c. Corner Condition:  [Square] [Rounded to radius indicated].

d. Frame Type:  [Stationary frame] [Hinged frame] [Mounted on posts] [As indicated].

1) Message Panel Mounting:  [Reveal in frame] [Flush in frame with concealed anchors] [As indicated].

2) Manufacturer's standard[ noncorroding] anchors for substrates encountered.

E. Hollow-Box-Type Panel Signs:  Frame message panel with formed aluminum sheet or extruded hollow-box-type frame with ends flanged to engage slots in posts or attached to posts with extruded-aluminum fittings.  Close top and bottom edges of panels with manufacturer's standard welded seams or extrusions.

1. Message Panel Materials:

Select panel material from five subparagraphs and associated subparagraphs below.  If more than one material is required for multiple sign installations, insert requirements to indicate locations or show location of each on Drawings.

a. Aluminum Sheet:  [0.080 inch (2.03 mm)] [0.125 inch (3.18 mm)] <Insert dimension> thick.

1) Panel Finish:  [Baked enamel] [Class I, clear anodic finish] [Class I, color anodic finish] <Insert finish>.

2) Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

b. Composite Aluminum-Faced Panel:  [0.020-inch- (0.51-mm-)] [0.236-inch- (6.0-mm-)] <Insert dimension> thick, aluminum sheet facings laminated to each side of [0.197-inch- (5.0-mm-)] [0.394-inch- (10.0-mm-)] <Insert dimension> thick, [corrugated] [phenolic] core.

1) Panel Finish:  [Baked enamel] [Class I, clear anodic finish] [Class I, color anodic finish] <Insert finish>.

2) Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

c. Acrylic Sheet:  [Clear] [Translucent] [Opaque] [0.125 inch (3.18 mm)] [0.250 inch (6.354 mm)] <Insert dimension> thick.

1) Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

d. Fiberglass Sheet:  [0.125 inch (3.18 mm)] [0.236 inch (6.0 mm)] <Insert dimension> thick.

1) Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

e. Polycarbonate Sheet:  [Clear] [Translucent] [0.125 inch (3.18 mm)] [0.250 inch (6.354 mm)] <Insert dimension> thick.

1) Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

Select one panel depth from options in first subparagraph below or insert special depth.  Most signs of this type use 2-inch- (50-mm-) square aluminum posts, although other sizes are available.  Most panels of this type are same depth as posts.

2. Hollow-Box Depth:  [2 inches (50 mm)] [6 inches (150 mm)] [Provide panel same depth as posts] <Insert dimension>.

a. Corner Condition:  [Square] [Rounded to radius indicated].

b. Finish:  [Baked enamel] [Match sign panel face] <Insert finish>.

c. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

3. Mounting:  [Between posts] [Around posts] [As indicated].

a. Manufacturer's standard[ noncorroding] anchors for substrates encountered.

Retain subparagraph below if aluminum message panels are installed using clips on back of panel for unframed-sign background appearance.

b. Provide clips welded to back of panels for installation without visible fasteners.

Delete subparagraph below if illuminated-sign units are not required.

4. Illuminated-Sign Units:  Manufacturer's standard [fluorescent tube] [fiber-optic] [LED] [neon tube] lighting including transformers, insulators, and other components.  Make provisions for servicing and concealing connections to building electrical system.

Insert requirements in paragraph below for fixed and changeable message units if not included on Drawings.  Changeable messages are usually provided by Owner.  Sign fabricator can provide messages but, for bidding purposes, responsibility for messages should be included in the Specifications.

F. Multiple-Message-Bar-Type Inserts:  Fabricate signs to allow insertion of changeable messages in the form of slide-in [aluminum] [acrylic sheet] <Insert material> changeable inserts for use in fixed frames.

Delete paragraph and subparagraphs below if schedule is shown on Drawings.  Revise schedule to suit Project.

G. [Post and Panel] [and] [Pylon] Sign Schedule:

Copy subparagraph and associated subparagraphs below for each sign type and insert applicable requirements.

1. Sign Type <Insert designation>:  [Post and panel] [Pylon] sign.

a. Sign Size:  [As indicated] <Insert dimensions>.

b. Message Panel Material:  [As indicated] <Insert material>.

c. Message Panel Finish/Color:  <Insert finish/color.>

d. Panel Sign Frame Finish/Color:  <Insert finish/color.>

e. Post Material:  [As indicated] <Insert material>.

f. Post Finish/Color:  <Insert finish/color.>

g. Pylon Finish/Color:  <Insert finish/color.>

h. Character Size:  [As indicated] <Insert size>.

i. Character Finish/Color:  <Insert finish/color.>

j. Text/Message:  [As indicated] <Insert text/message>.

k. Location:  [As indicated] <Insert designation>.

l. Quantity:  <Insert number.>

2.4 POSTS

A. General:  Fabricate posts to lengths required for mounting method indicated.

Retain subparagraph below if permanent sign installation by direct-burial method is required.

1. Direct-Burial Method:  Provide posts 36 inches (910 mm) longer than height of sign to permit direct embedment in concrete foundations.

Retain subparagraph and associated subparagraph below if baseplate method is required.

2. Baseplate Method:  Provide posts with baseplates, flanges, or other fittings, welded to bottom of posts.  Drill holes in baseplate for anchor-bolt connection.

a. Provide anchor bolts of size required for connecting posts to concrete foundations.

Retain subparagraph and associated subparagraph below if insert (sleeve) method is required to permit removable sign installation.  Not all manufacturers offer this installation method because sleeve setting requires greater accuracy.

3. Reverse Sleeve Method:  Provide inserts recommended by manufacturer, sized for close fit inside posts.  Size inserts for direct embedment in concrete foundations and to attach sign posts securely and prevent sign from overturning when subjected to normal loading conditions prevailing at Project site, but not less than 1/3 of post height plus 36 inches (910 mm) for embedment.  Drill posts and inserts for through bolts for fastening them together.

a. Provide bolts for fastening posts to inserts.

Retain paragraph and subparagraphs below for aluminum posts.  Aluminum posts are standard with most sign manufacturers; delete if steel-tube posts are required.  Revise to suit standard construction of manufacturers selected.

B. Aluminum Posts:  Manufacturer's standard 0.125-inch- (3.18-mm-) thick, extruded-aluminum tubing, with vertical slots to engage sign panels.  Provide stop blocks in slots to hold panels in position.  Include post caps, fillers, spacers, junction boxes, access panels, and related accessories required for complete installation.

Retain applicable post shape and size in five subparagraphs below.  Sizes indicated are standard with most manufacturers; if other sizes are required, verify availability with manufacturers and revise accordingly.

1. Square Posts:  [2 inches (50 mm)] [3 inches (75 mm)] [3-1/4 inches (83 mm)] [4 inches (100 mm)] <Insert dimension> square.

2. Rectangular Posts:  [1-3/4 by 3 inches (44 by 75 mm)] [2 by 3-1/4 inches (50 by 83 mm)] [2 by 6 inches (50 by 150 mm)] [2 by 8 inches (50 by 200 mm)] [2-1/2 by 3-1/4 inches (64 by 83 mm)] [2-1/2 by 7-1/2 inches (64 by 190 mm)] [3 by 7 inches (75 by 178 mm)] [3 by 8 inches (75 by 200 mm)] <Insert dimensions>.

3. Semicircular Posts:  [1 by 2 inches (25 by 50 mm)] [1-5/8 by 3-1/4 inches (41 by 83 mm)] [3-1/4 by 7-1/2 inches (83 by 190 mm)] [3-5/8 by 7-1/4 inches (92 by 184 mm)] <Insert dimensions>.

4. Rounded-End Posts:  [2 by 2 inches (50 by 50 mm)] [4 by 4 inches (100 by 100 mm)] <Insert dimensions>.

5. Beveled-Corner Posts:  [2 by 2 inches (50 by 50 mm)] [4 by 4 inches (100 by 100 mm)] <Insert dimensions>.

Select one finish from options in first subparagraph below.

6. Post Finish:  [Baked enamel] [Class I, color anodic coating] [High-performance organic coating] [Match sign panel face].

7. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

Retain paragraph and subparagraphs below and delete paragraph and subparagraphs above if steel-tube posts are required.  Steel posts are not standard; if this type of post is desired, verify availability with manufacturers.

C. Steel Posts:  Fabricate from 0.120-inch- (3.05-mm-) thick, square steel tubing.  Include post caps, fillers, spacers, junction boxes, access panels, and related accessories required for complete installation.  Hot-dip galvanize post assemblies after fabrication to comply with ASTM A 123/A 123M.

1. Post Size:  [2 inches (50 mm)] [3 inches (75 mm)] [4 inches (100 mm)] <Insert dimension> square.

Revise first subparagraph below to suit Project.

2. Post Finish:  [Baked enamel matching sign panel face] <Insert requirements>.

3. Color:  [As indicated] [As selected by Architect from manufacturer's full range] <Insert color>.

2.5 PYLON STRUCTURE

A. Base:  Provide pylon signs with integral base consisting of channels, angles, plates, or other fittings.  Drill holes in members for anchor-bolt connection.

1. Provide anchor bolts of size required for connecting base to concrete foundations.

Retain paragraph and subparagraph below for concealed internal framing.

B. Internal Frames:  Manufacturer's standard internal steel framing system, designed to withstand wind pressure indicated.  Provide welded construction using mitered joints.  Cut, drill, and tap units to receive hardware, bolts, and similar items.

1. Hot-dip galvanize steel framing system after fabrication to comply with ASTM A 123/A 123M.

Retain paragraph and subparagraphs below for slab-type signs with side frames and square signs with flat aluminum or fiberglass panels if frames are visible.  Depending on panel design, frames may also be used with molded-fiberglass panels.  External frames are usually aluminum.  Revise if another material is used.

C. External Frames:  Manufacturer's standard external aluminum framing system designed to withstand design wind pressure indicated and for direct attachment of sign message panels.  Provide welded construction using mitered joints.  Cut, drill, and tap units to receive hardware, bolts, and similar items.

1. Frame Finish:  [Match finish of panels] <Insert finish>.

2. Corner Condition:  [Square] [Rounded to radius indicated].

2.6 ACCESSORIES

Insert in this Article additional sign accessories to suit Project.

A. Anchors and Inserts:  Provide nonferrous-metal or hot-dip galvanized anchors and inserts for exterior installations and elsewhere as required for corrosion resistance.  Use toothed steel or lead expansion-bolt devices for drilled-in-place anchors.  Furnish inserts, as required, to be set into concrete or masonry work.

2.7 FABRICATION

A. General:  Provide manufacturer's standard [post and panel] [pylon] signs of configurations indicated.

Revise subparagraphs below to suit Project.

1. Welded Connections:  Comply with AWS standards for recommended practices in shop welding.  Provide welds behind finished surfaces without distortion or discoloration of exposed side.  Clean exposed welded surfaces of welding flux and dress exposed and contact surfaces.

2. Mill joints to tight, hairline fit.  Form joints exposed to weather to exclude water penetration.

3. Preassemble signs in the shop to greatest extent possible.  Disassemble signs only as necessary for shipping and handling limitations.  Clearly mark units for reassembly and installation, in location not exposed to view after final assembly.

4. Conceal fasteners if possible; otherwise, locate fasteners where they will be inconspicuous.

2.8 FINISHES, GENERAL

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.9 ALUMINUM FINISHES

Retain finishes in this Article to suit Project.

Generally retain only one of first two paragraphs below.  If retaining both, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

Retain one mechanical finish in paragraph below.

A. Clear Anodic Finish:  Manufacturer's standard Class 1 clear anodic coating, 0.018 mm or thicker, over a [satin (directionally textured)] [polished (buffed)] [nonspecular as fabricated] mechanical finish, complying with AAMA 611.

Options in paragraph above and below are examples only and may vary in availability among manufacturers.

Retain one color finish and one mechanical finish in first paragraph below.

B. Color Anodic Finish:  Manufacturer's standard Class 1 integrally colored or electrolytically deposited color anodic coating, 0.018 mm or thicker, in [light bronze] [medium bronze] [dark bronze] [gold] [black] applied over a [satin (directionally textured)] [polished (buffed)] [nonspecular as fabricated] mechanical finish, complying with AAMA 611.

C. Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

Subparagraph below references AAMA standard for pigmented organic coating on extrusions and panels.

1. Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm), medium gloss.

Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels.  Revise if specific products are required.

D. High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with [AAMA 2604] [AAMA 2605] and with coating and resin manufacturers' written instructions.

Delete paragraph above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels.  Revise if specific products are required.

E. High-Performance Organic Finish (3-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coatings; Organic Coating:  manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

2.10 GALVANIZED STEEL FINISHES

A. Surface Preparation:  Clean surfaces with nonpetroleum solvent so surfaces are free of oil and other contaminants.  After cleaning, apply a conversion coating suited to the organic coating to be applied over it.  Clean welds, mechanical connections, and abraded areas, and apply galvanizing repair paint specified below to comply with ASTM A 780.

1. Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

Delete first paragraph and subparagraph below if no field-painted, galvanized steel sheet fabrications.

B. Factory Priming for Field-Painted Finish:  Where field painting after installation is indicated, apply the air-dried primer specified below immediately after cleaning and pretreating.

Revise subparagraph below if another primer is required.  Coordinate with Division 09 painting Sections.

1. Shop Primer:  Zinc-dust, zinc-oxide primer formulated for priming zinc-coated steel and for compatibility with finish paint systems indicated; complying with SSPC-Paint .

C. Baked-Enamel Finish:  Immediately after cleaning and pretreating, apply manufacturer's standard 2-coat, baked-enamel finish consisting of prime coat and thermosetting topcoat, with a minimum dry film thickness of 1 mil (0.025 mm) for topcoat.  Comply with paint manufacturer's written instructions for applying and baking to achieve a minimum dry film thickness of 2 mils (0.05 mm).

D. Color-Coated Finish:  Apply manufacturer's standard baked finish complying with manufacturer's written instructions for surface preparation including pretreatment, application, baking, and minimum dry film thickness.

2.11 STEEL FINISHES

Revise first paragraph below if other cleaning methods are appropriate.

A. Surface Preparation:  Remove mill scale and rust, if present, from uncoated steel, complying with SSPC-SP 5/NACENo. 1, "White Metal Blast Cleaning," or SSPC-SP 8, "Pickling."

B. Factory Priming for [Field-]Painted Finish:  Apply shop primer specified below immediately after surface preparation and pretreatment.

1. Shop Primer:  Manufacturer's or fabricator's standard, fast-curing, lead- and chromate-free, universal primer, selected for resistance to normal atmospheric corrosion, for compatibility with substrate and field-applied finish paint system indicated, and for capability to provide a sound foundation for field-applied topcoats despite prolonged exposure.

Delete paragraph below if no factory-applied, baked-enamel finish for steel.

C. Baked-Enamel Finish:  Immediately after cleaning and pretreating, apply manufacturer's standard two-coat, baked-enamel finish consisting of prime coat and thermosetting topcoat.  Comply with paint manufacturer's written instructions for applying and baking to achieve a minimum dry film thickness of 2 mils (0.05 mm).

2.12 STAINLESS-STEEL FINISHES

A. Remove tool and die marks and stretch lines or blend into finish.  Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.

Retain one of first two paragraphs below.  Sheet finish designations are frequently used to specify finishes applied after fabrication.

B. Directional Satin Finish:  No. 4 finish.

C. Mirrorlike Reflective, Nondirectional Polish:  No. 8 finish.

D. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

B. Verify that items[, including anchor inserts,] [and electrical power] are sized and located to accommodate signs.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Excavation:  Excavate for sign foundation to elevations and dimensions indicated.  Reconstruct subgrade that is not firm, undisturbed, or compacted soil, or that is damaged by freezing temperatures, frost, rain, accumulated water, or construction activities by excavating a further 12 inches (300 mm) <Insert dimension>, backfilling with satisfactory soil, and compacting to original subgrade elevation.

Revise subparagraph below if posts are set using baseplate mounting method.

1. Excavate hole depths approximately [39 inches (990 mm)] <Insert dimension> below finished grade.

Delete first paragraph and subparagraph below if posts are installed using baseplate mounting method.

B. Set anchor bolts and other embedded items required for installation of signs.  Use templates furnished by suppliers of items to be attached.

1. Protect portion of [posts] [inserts] [pylons] above ground from concrete splatter.

C. Locate signs and accessories where indicated, using mounting methods of types described and complying with manufacturer's written instructions.

1. Install signs level, plumb, and at heights indicated, with sign surfaces free of distortion and other defects in appearance.

Delete subparagraph below if mechanical fasteners are not appropriate.  Mechanical fasteners may be more vandal resistant than some other methods specified above.

2. Mechanical Fasteners:  Use nonremovable mechanical fasteners placed through predrilled holes.  Attach signs with fasteners and anchors suitable for secure attachment to substrate as recommended in writing by sign manufacturer.

3.3 CLEANING AND PROTECTION

A. After installation, clean soiled sign surfaces according to manufacturer's written instructions.  Protect signs from damage until acceptance by Owner.

END OF SECTION 101426

	POST AND PANEL/PYLON SIGNAGE
	101426 - 1



