Copyright 2002 and 2005 AIA
MASTERSPEC Full Length
05/02 (R 05/06)

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 102600 - WALL AND DOOR PROTECTION
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Wall guards.

2. Impact-resistant handrails.

3. Bed locators.

4. Corner guards.

5. Impact-resistant wall coverings.

6. Door-protection systems.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 05 Section "Metal Fabrications" for [metal angle corner guards] [pipe guards] [wheel guards].

2. Division 08 Section "Door Hardware" for metal armor, kick, mop, and push plates.

If alternates, allowances, or unit prices apply to Work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 01 Sections for specific details.

1.3 PERFORMANCE REQUIREMENTS

Requirement in this Article is an example only.  Revise to suit Project or delete if not required.

A. Structural Performance of Handrails:  Provide handrails capable of withstanding the following structural loads without exceeding the allowable design working stress of materials for handrails, anchors, and connections:

1. Concentrated load of 200 lbf (890 N) applied at any point and in any direction.

2. Uniform load of 50 lbf/ft. (730 N/m) applied in any direction.

1.4 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, impact strength[, fire-test-response characteristics], dimensions of individual components and profiles, and finishes for each impact-resistant wall-protection unit.

B. Shop Drawings:  For each impact-resistant wall-protection unit showing locations and extent.  Include sections, details, and attachments to other work.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify product's compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

C. Samples for Initial Selection:  For each type of impact-resistant wall-protection unit indicated.

1. Include similar Samples of accent strips and accessories involving color selection.

Delete paragraph and subparagraph above if colors are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below.[  Include Samples of accent strips to verify color selected.]

1. [Wall] [and] [Corner] Guards:  12 inches (300 mm) long.  Include examples of joinery, corners, [end caps,] [top caps,] and field splices.

2. Handrails:  12 inches (300 mm) long.  Include examples of joinery, corners, and field splices.

3. Impact-Resistant Wall Covering:  6 by 6 inches (150 by 150 mm) square.

4. Door-Surface Protection:  6 by 6 inches (150 by 150 mm) square.

5. Door-[Edge] [and] [Frame] Protectors:  12 inches (300 mm) long.

6. Door-Knob and -Lever Protectors:  Full-size unit of each type.

E. LEED Submittals:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives.

1. Product Data for Credit EQ 4.1:  For adhesives, including printed statement of VOC content.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

2. Product Data for Credit EQ 4.4:  For medium density fiberboard and particleboard, documentation indicating that products contain no urea formaldehyde.

Retain subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if wood rails are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

3. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that wood rails comply with forest certification requirements.  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For [Installer] [testing agency].

G. Material Test Reports:  For each impact-resistant plastic material.

Retain paragraph above or first paragraph below.

H. Material Certificates:  For each impact-resistant plastic material, signed by manufacturer.

I. Maintenance Data:  For each impact-resistant wall-protection unit to include in maintenance manuals.

1. Include recommended methods and frequency of maintenance for maintaining optimum condition of plastic covers under anticipated traffic and use conditions.  Include precautions against using cleaning materials and methods that may be detrimental to plastic finishes and performance.

J. Warranty:  Special warranty specified in this Section.

1.5 QUALITY ASSURANCE

Retain first paragraph below if required for LEED-NC or LEED-CI Credit MR 7.  Before retaining, verify that manufacturers selected comply.

A. Wood Rail Manufacturer Qualifications:  A qualified manufacturer that is certified for chain of custody by an FSC-accredited certification body.

B. Installer Qualifications:  An employer of workers trained and approved by manufacturer.

Retain first paragraph below if Contractor or manufacturer selects testing agency.

C. Testing Agency Qualifications:  An independent agency qualified according to ASTM E 329 for testing indicated, as documented according to ASTM E 548.

D. Source Limitations:  Obtain impact-resistant wall-protection units through one source from a single manufacturer.

Retain first paragraph below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Coordinate with Division 01 requirements.

E. Product Options:  Drawings indicate size, profiles, and dimensional requirements of impact-resistant wall-protection units and are based on the specific system indicated.  Refer to Division 01 Section "Quality Requirements."

Revise subparagraph below to suit Project.

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

Retain first paragraph below if wood rails are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

F. Forest Certification:  Fabricate wood rails from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

G. Fire-Test-Response Characteristics:  Provide impact-resistant, plastic wall-protection units with surface-burning characteristics as determined by testing identical products per ASTM E 84, NFPA 255, or UL 723 by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

H. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store impact-resistant wall-protection units in original undamaged packages and containers inside well-ventilated area protected from weather, moisture, soiling, extreme temperatures, and humidity.

1. Maintain room temperature within storage area at not less than 70 deg F (21 deg C) during the period plastic materials are stored.

2. Keep plastic sheet material out of direct sunlight.

3. Store plastic wall-protection components for a minimum of 72 hours, or until plastic material attains a minimum room temperature of 70 deg F (21 deg C).

a. Store corner-guard covers in a vertical position.

b. Store [wall-guard] [bed-locator] [and] [handrail] covers in a horizontal position.

1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Do not deliver or install impact-resistant wall-protection units until building is enclosed and weatherproof, wet work is complete and dry, and HVAC system is operating and maintaining temperature at 70 deg F (21 deg C) for not less than 72 hours before beginning installation and for the remainder of the construction period.

B. Field Measurements:  Verify actual locations of walls, columns, and other construction contiguous with impact-resistant wall-protection units by field measurements before fabrication and indicate measurements on Shop Drawings.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Quality Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of impact-resistant wall-protection units that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures.

b. Deterioration of plastic and other materials beyond normal use.

Verify available warranties for units and components and insert number below.

2. Warranty Period:  [Five] <Insert number> years from date of Substantial Completion.

1.9 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. [Wall-Guard] [and] [Handrail] Covers:  Full-size plastic covers of maximum length equal to [2] <Insert number> percent of each type, color, and texture of units installed, but no fewer than [two, 8-foot- (2.4-m-)] <Insert number and size> long units.

2. Bed-Locator Covers:  Full-size plastic covers equal to [2] <Insert number> percent of each type, color, and texture of units installed, but no fewer than [2] <Insert number> units.

3. Corner-Guard Covers:  Full-size plastic covers of maximum length equal to [2] <Insert number> percent of each type, color, and texture of units installed, but no fewer than [two, 4-foot- (1.2-m-)] <Insert number and size> long units.

B. Include mounting and accessory components.  Replacement materials shall be from same production run as installed units.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products, or manufacturers only, are named.  See Division 01 Section "Quality Requirements" for an explanation of the terms "Available Manufacturers," "Manufacturers," and "Basis-of-Design Product" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

3. Basis-of-Design Product:  The design for each impact-resistant wall-protection unit is based on the product named.  Subject to compliance with requirements, provide either the named product or a comparable product by one of the other manufacturers specified.

2.2 MATERIALS

Retain materials in this Article that correspond with products retained in other Part 2 articles.

Revise impact resistance in first two paragraphs and associated subparagraphs below to suit Project.  Value of 25.4 ft-lbf/in. (1356 J/m) of width is an acceptable minimum for rigid vinyl plastic products.  See Evaluations for discussion on other impact-resistance test methods used by some manufacturers.

A. Extruded Rigid Plastic:  ASTM D 1784, Class 1, textured, chemical- and stain-resistant, high-impact-resistant PVC or acrylic-modified vinyl plastic with integral color throughout; thickness as indicated.

1. Impact Resistance:  Minimum [25.4 ft-lbf/in. (1356 J/m)] <Insert value> of notch when tested according to ASTM D 256, Test Method A.

2. Chemical and Stain Resistance:  Tested according to ASTM D 543.

3. Self-extinguishing when tested according to ASTM D 635.

4. Flame-Spread Index:  25 or less.

5. Smoke-Developed Index:  450 or less.

B. Plastic Sheet Wall Covering Material:  ASTM D 1784, Class 1, textured, chemical- and stain-resistant, semirigid, high-impact-resistant PVC or acrylic-modified vinyl plastic sheet with integral color throughout; thickness as indicated.

1. Impact Resistance:  Minimum [25.4 ft-lbf/in. (1356 J/m)] <Insert value> of notch when tested according to ASTM D 256, Test Method A.

2. Chemical and Stain Resistance:  Tested according to ASTM D 543.

3. Self-extinguishing when tested according to ASTM D 635.

4. Flame-Spread Index:  25 or less.

5. Smoke-Developed Index:  450 or less.

C. Polycarbonate Plastic Sheet:  ASTM D 6098, S-PC01, Class 1 or 2, abrasion resistant; with a minimum impact-resistance rating of 15 ft-lbf/in. (800 J/m) of notch when tested according to ASTM D 256, Test Method A.

D. Aluminum Extrusions:  Alloy and temper recommended by manufacturer for type of use and finish indicated but with not less than strength and durability properties specified in ASTM B 221 (ASTM B 221M) for Alloy 6063-T5.

E. Stainless-Steel Sheet:  ASTM A 240/A 240M.

F. Brass:  ASTM B 249/B 249M for extruded shapes and ASTM B 36/B 36 M for sheet.

G. Solid Wood:  Clear hardwood lumber of species indicated, free of appearance defects, and selected for compatible grain and color.

Retain option in first two paragraphs below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

H. Medium-Density Fiberboard:  ANSI A208.2, Grade MD[; made with binder containing no urea formaldehyde].

I. Particleboard:  ANSI A208.1, Grade M-2[; made with binder containing no urea formaldehyde].

J. Oriented Strand Board:  APA PS2, Exposure 1 or 2, Sheathing grade.

K. Fasteners:  Aluminum, nonmagnetic stainless-steel, or other noncorrosive metal screws, bolts, and other fasteners compatible with items being fastened.  Use security-type fasteners where exposed to view.

Retain paragraph and subparagraphs below for chair rails, impact-resistant wall covering, and corner guards attached with adhesive.

L. Adhesive:  Type recommended by manufacturer for use with material being adhered to substrate indicated.

1. Use adhesives and sealants that comply with the following limits for VOC content when calculated according to 40 CFR 59, Subpart D (EPA Method 24):

Retain subparagraph above and applicable subparagraphs below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.

a. Gypsum Board and Panel Adhesives:  50 g/L.

b. Multipurpose Construction Adhesives:  70 g/L.

c. Contact Adhesive:  80 g/L.

Copy paragraphs and subparagraphs in first six articles below and re-edit them to suit Project.

Insert number to complete drawing designation for each product retained.  Use these designations on Drawings to show where each product is required.

Retain "Basis-of-Design Product" or "(Available )Manufacturers" Subparagraph and list in each Article.  Retain "Basis-of-Design Product" Subparagraph and list in each Article with "Basis-of-Design Product" Subparagraph in Part 2 "Manufacturers" Article.

2.3 WALL GUARDS

See Evaluations for discussion on types of wall guards.

A. Crash Rail <Insert drawing designation>:  Heavy-duty assembly consisting of continuous snap-on plastic cover installed over continuous retainer; with continuous rubber or vinyl bumper cushion(s) centered in the retainer; designed to withstand impacts.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Construction Specialties, Inc.

e. IPC Door and Wall Protection Systems; Division of InPro Corporation.

f. Korogard Wall Protection Systems; Division of RJF International Corporation.

g. Pawling Corporation.

h. Tepromark International, Inc.

i. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum 0.100-inch (2.5-mm) wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  Flat profile, nominal [4 inches high by 1 inch (100 mm high by 25 mm)] [6 inches high by 1 inch (150 mm high by 25 mm)] [8 inches high by 1 inch (200 mm high by 25 mm)] <Insert dimensions> deep.

b. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

Delete subparagraph below if not required.

1) Accent Inlay:  Nominal 2 inches (50 mm) high by length of rail.

Revise first subparagraph below if three-piece retainer system is required.

4. Retainer:  Minimum 0.080-inch- (2.0-mm-) thick, 1-piece, extruded aluminum.

a. Mounting:  [Surface mounted directly to wall] [Surface mounted on 1/2-inch- (13-mm-) thick cushion spacers] [Extended mounting on injection-molded plastic mounting brackets].

Contrasting color option in first subparagraph below is sometimes used because it may be difficult to obtain an exact color match between extruded covers and injection-molded end caps and corners.

5. End Caps and Corners:  Prefabricated, injection-molded plastic; color [matching] [contrasting with] cover; field adjustable for close alignment with snap-on cover.

6. Accessories:  Concealed splices and mounting hardware.

Retain paragraph and subparagraphs below for less-severe impact conditions than covered in "Crash Rail" Paragraph above.

B. Bumper Rail <Insert drawing designation>:  Assembly consisting of continuous snap-on plastic cover installed over continuous retainer; designed to spring back when hit.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Boston Retail Products.

e. Construction Specialties, Inc.

f. IPC Door and Wall Protection Systems; Division of InPro Corporation.

g. Korogard Wall Protection Systems; Division of RJF International Corporation.

h. Pawling Corporation.

i. Tepromark International, Inc.

j. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum 0.078-inch (2.0-mm) wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  [Large rounded bullnose profile, nominal 4 inches high by 2 inches (100 mm high by 50 mm)] [Flat profile, nominal 4 inches high by 1 inch (100 mm high by 25 mm)] <Insert profile and dimensions> deep.

b. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.0625-inch- (1.6-mm-) thick, 1-piece, extruded aluminum.

a. Mounting:  [Surface mounted directly to wall] [Surface mounted on 1/2-inch- (13-mm-) thick cushion spacers] [Extended mounting on injection-molded plastic mounting brackets].

Contrasting color option in first subparagraph below is sometimes used because it may be difficult to obtain an exact color match between extruded covers and injection-molded end caps and corners.

5. End Caps and Corners:  Prefabricated, injection-molded plastic; color [matching] [contrasting with] cover; field adjustable for close alignment with snap-on cover.

6. Accessories:  Concealed splices and mounting hardware.

Rub rails in paragraph below are often used for wheel protection between crash or bumper rails and the floor.  They are also called "accent rails."

C. Rub Rail <Insert drawing designation>:  Assembly consisting of continuous snap-on cover installed over continuous retainer.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Boston Retail Products.

e. Construction Specialties, Inc.

f. IPC Door and Wall Protection Systems; Division of InPro Corporation.

g. Pawling Corporation.

h. Tepromark International, Inc.

i. <Insert manufacturer's name.>

Second option in first subparagraph below provides some impact resistance.

3. Cover:  Extruded [rigid plastic] [flexible vinyl], minimum 0.078-inch (2.0-mm) wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  [Half-round profile, nominal 2 inches high by 1 inch (50 mm high by 25 mm)] [Small rounded profile, nominal 1-1/8 inches high by 1-1/8 inches (30 mm high by 30 mm)] <Insert profile and dimensions> deep.

b. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.0625-inch- (1.6-mm-) thick, 1-piece, extruded aluminum.

a. Mounting:  Surface mounted [directly to wall] [on 1/2-inch- (13-mm-) thick cushion spacers].

5. End Caps and Corners:  Prefabricated, injection-molded plastic; color matching cover; field adjustable for close alignment with snap-on cover.

6. Accessories:  Concealed splices and mounting hardware.

Retain one of first four paragraphs and associated subparagraphs below for protection against scarring by movable furniture.

D. Wood Chair Rail with Bumper <Insert drawing designation>:  Assembly consisting of continuous sculpted, solid-wood rail, with bumper insert installed over continuous recessed retainer.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. ARDEN Architectural Specialties, Inc.

b. Construction Specialties, Inc.

c. IPC Door and Wall Protection Systems; Division of InPro Corporation.

d. Korogard Wall Protection Systems; Division of RJF International Corporation.

e. Pawling Corporation.

f. <Insert manufacturer's name.>

3. Wood Rail:  [3-1/2 inches high by 7/8 inch deep (89 mm high by 22 mm deep)] [5-1/2 inches high by 1-1/2 inches deep (140 mm high by 38 mm deep)] [Size and profile as indicated on Drawings] <Insert dimensions>.

a. Wood Species:  [Red oak] [Maple] [Ash].

b. Finish:  [Clear] [Stained].

c. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

d. Mounting:  Surface mounted directly to wall.

4. Bumper:  Extruded [rigid plastic] [flexible vinyl], minimum 0.078-inch (2.0-mm) wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  [Half-round profile, nominal 2 inches high by 1 inch (50 mm high by 25 mm)] [Small rounded profile, nominal 1-1/8 inches high by 1-1/8 inches (30 mm high by 30 mm)] <Insert profile and dimensions> deep.

b. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

c. End Caps and Corners:  Prefabricated, injection-molded plastic; color matching bumper; field adjustable for close alignment with snap-on bumper.

5. Retainer:  Minimum 0.0625-inch- (1.6-mm-) thick, 1-piece, extruded aluminum.

a. Finish:  [Mill] [Brass colored].

6. Accessories:  Concealed splices and mounting hardware.

E. Wood Chair Rail <Insert drawing designation>:  Assembly consisting of continuous sculpted, solid-wood rail.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. Construction Specialties, Inc.

b. IPC Door and Wall Protection Systems; Division of InPro Corporation.

c. Pawling Corporation.

d. <Insert manufacturer's name.>

3. Rail:  [3-1/2 inches high by 7/8 inch deep (89 mm high by 22 mm deep)] [5-1/2 inches high by 1-1/2 inches deep (140 mm high by 38 mm deep)] [As indicated on Drawings] <Insert dimensions>.

a. Wood Species:  [Red oak] [Maple] [Ash].

b. Finish:  [Clear] [Stained].

c. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

d. Mounting:  Surface mounted directly to wall.

4. Accessories:  Concealed splices and mounting hardware.

F. Opaque-Plastic Chair Rail <Insert drawing designation>:  Assembly consisting of continuous snap-on cover installed over continuous retainer.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. Construction Specialties, Inc.

b. IPC Door and Wall Protection Systems; Division of InPro Corporation.

c. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum 0.070-inch (1.8-mm) wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  [Half-round profile, nominal 2 inches high by 1 inch (50 mm high by 25 mm)] [Small rounded profile, nominal 1-1/8 inches high by 1-1/8 inches (30 mm high by 30 mm)] <Insert profile and dimensions> deep.

b. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.060-inch- (1.5-mm-) thick, 1-piece, extruded aluminum.

a. Mounting:  Surface mounted [directly to wall] [on 1/2-inch- (13-mm-) thick cushion spacers].

5. End Caps and Corners:  Prefabricated, injection-molded plastic; color matching cover; field adjustable for close alignment with snap-on cover.

6. Accessories:  Concealed splices and mounting hardware.

G. Transparent-Plastic Chair Rail <Insert drawing designation>:  Consisting of clear polycarbonate plastic sheet.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. IPC Door and Wall Protection Systems; Division of InPro Corporation.

c. Pawling Corporation.

d. <Insert manufacturer's name.>

3. Height:  [3 inches (75 mm) nominal] [4 inches (100 mm) nominal] [As indicated on Drawings] <Insert dimension>.

4. Mounting:  Surface mounted using flat-head countersunk screws through factory-drilled mounting holes.

H. Rub Strip <Insert drawing designation>:  Consisting of minimum [0.040-inch- (1.0-mm-)] [0.060-inch- (1.5-mm-)] thick, plastic sheet wall covering material.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Construction Specialties, Inc.

c. IPC Door and Wall Protection Systems; Division of InPro Corporation.

d. Korogard Wall Protection Systems; Division of RJF International Corporation.

e. Pawling Corporation.

f. Tepromark International, Inc.

g. <Insert manufacturer's name.>

Available heights range from nominal 4 to 24 inches (100 to 600 mm).

3. Height:  [8 inches (200 mm) nominal] <Insert dimension>.

4. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

5. Mounting:  Surface mounted with adhesive or double-faced adhesive tape.

If needed, insert requirements for heavy-duty EPDM or natural rubber wall guards for backroom areas subject to industrial-type wheeled traffic.

2.4 HANDRAILS

Handrails in this Article are included in this Section because they match other impact-resistant wall-protection components and are fabricated by the same manufacturers.  See Division 05 Sections for metal handrails and Division 06 Sections for wood handrails.

A. Impact-Resistant Plastic Handrails <Insert drawing designation>:  Assembly consisting of snap-on plastic cover installed over continuous retainer.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Construction Specialties, Inc.

e. IPC Door and Wall Protection Systems; Division of InPro Corporation.

f. Korogard Wall Protection Systems; Division of RJF International Corporation.

g. Pawling Corporation.

h. Tepromark International, Inc.

i. <Insert manufacturer's name.>

3. Cover:  Minimum [0.078-inch- (2.0-mm-)] [0.100-inch- (2.5-mm-)] thick, extruded rigid plastic; [as follows:] [in dimensions and profiles indicated on Drawings.]

Revise profile in first five subparagraphs and associated subparagraphs below to match manufacturers' products.

a. Single Handrail Profile:  1-1/2-inch- (38-mm-) diameter tube with continuous retainer; with 2-inch- (50-mm-) wide mounting brackets supporting bottom of rail.

b. Flat Bumper-Rail Profile:  Nominal 5-1/2-inch- (140-mm-) high by 1-1/2-inch- (38-mm-) deep bumper rail with flat front side; with 1-1/2-inch- (38-mm-) diameter gripping surface and finger recess on back side; with continuous rubber or vinyl bumper cushion(s) centered in the extrusion; supported by continuous retainer and extended mounting brackets.

Delete first subparagraph below if not required.

1) Accent Inlay:  Nominal 2 inches (50 mm) high by length of rail.

c. Angled-Front Bumper-Rail Profile:  Nominal 5-1/2-inch- (140-mm-) high by 2-inch- (50-mm-) deep bumper rail with angled front side; with 1-1/2-inch- (38-mm-) diameter gripping surface and finger recess on back side; supported by continuous retainer and extended mounting brackets.

d. Single Handrail above Bumper-Rail Profile:  1-1/2-inch- (38-mm-) diameter tube supported by vinyl-covered, continuous retainer and mounted above nominal 5-1/2-inch- (140-mm-) high by 1-1/2-inch- (38-mm-) deep, flat-faced bumper rail; supported by continuous retainer and extended mounting brackets.

Delete first subparagraph below if not required.

1) Accent Inlay:  Nominal 2 inches (50 mm) high by length of rail.

e. Double Handrail with Bumper-Rail Profile:  1-1/2-inch- (38-mm-) diameter tubes supported by vinyl-covered, continuous retainers; tubes mounted above and below nominal 4-inch- (100-mm-) high by 1-1/2-inch- (38-mm-) deep, flat-faced bumper rail; supported by continuous retainer and extended mounting brackets.

Delete first subparagraph below if not required.

1) Accent Inlay:  Nominal 2 inches (50 mm) high by length of rail.

f. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.080-inch- (2.0-mm-) thick, 1-piece, extruded aluminum.

5. Mounting Bracket:  Extended mounting on [injection-molded plastic] [anodized-aluminum] mounting brackets.

Contrasting color option in first subparagraph below is sometimes used because it may be difficult to obtain an exact color match between extruded covers and injection-molded end caps and corners.

6. End Caps and Corners:  Prefabricated, injection-molded plastic; color [matching] [contrasting with] cover; field adjustable for close alignment with snap-on cover.

7. Accessories:  Concealed splices, cushions, and mounting hardware.

B. Combination Wood-Plastic Bumper Handrail <Insert drawing designation>:  Assembly consisting of solid-wood handrail mounted above plastic bumper rail, both mounted on continuous retainer; with reveal between handrail and bumper rail.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Construction Specialties, Inc.

c. Pawling Corporation.

d. <Insert manufacturer's name.>

3. Wood Handrail:  1-1/2 inches (38 mm) in diameter.

Last two options in first subparagraph below are available only from Construction Specialties.

a. Wood Species:  [Red oak] [Maple] [Ash] [Beech].

b. Finish:  [Clear] [Stained].

c. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

4. Bumper:  Extruded rigid plastic, minimum 0.078-inch (2.0-mm) wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  Flat profile, nominal [4 inches high by 1 inch (100 mm high by 25 mm)] <Insert profile and dimensions> deep.

b. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

c. End Caps and Corners:  Prefabricated, injection-molded plastic; color matching bumper; field adjustable for close alignment with snap-on bumper.

5. Retainer:  Minimum 0.0625-inch- (1.6-mm-) thick, 1-piece, extruded aluminum.

6. Reveal:  Extruded rigid plastic or vinyl over aluminum retainer.

a. Color:  [Brass] [Chrome] [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

7. Accessories:  Concealed splices, cushion(s), and mounting hardware.

C. Wood Handrail with Bumper <Insert drawing designation>:  Assembly consisting of continuous sculpted, solid-wood handrail, with bumper insert installed over continuous recessed retainer.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. ARDEN Architectural Specialties, Inc.

b. Construction Specialties, Inc.

c. IPC Door and Wall Protection Systems; Division of InPro Corporation.

d. Korogard Wall Protection Systems; Division of RJF International Corporation.

e. Pawling Corporation.

f. <Insert manufacturer's name.>

3. Wood Handrail:  [5-1/2 inches high by 1-1/2 inches deep (140 mm high by 38 mm deep)] [As indicated on Drawings] <Insert dimensions> with 1-1/2-inch- (38-mm-) diameter gripping surface.

a. End Caps, Corners, and Mounting Brackets:  Solid wood that matches rail.

Last two options in first subparagraph below are available only from Construction Specialties.

b. Wood Species:  [Red oak] [Maple] [Ash] [Beech].

c. Finish:  [Clear] [Stained].

d. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

4. Bumper:  Extruded [rigid plastic] [flexible vinyl], minimum 0.078-inch (2.0-mm) wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  [Half-round profile, nominal 2 inches high by 1 inch (50 mm high by 25 mm)] [Small rounded profile, nominal 1-1/8 inches high by 1-1/8 inches (30 mm high by 30 mm)] <Insert profile and dimensions> deep.

b. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

c. End Caps and Corners:  Prefabricated, injection-molded plastic; color matching bumper; field adjustable for close alignment with snap-on bumper.

5. Retainer:  Minimum 0.0625-inch- (1.6-mm-) thick, 1-piece, extruded aluminum.

a. Finish:  [Mill] [Brass colored].

6. Accessories:  Concealed splices and mounting hardware.

D. Solid-Wood Handrail <Insert drawing designation>:  Assembly consisting of continuous sculpted, solid-wood handrail.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. ARDEN Architectural Specialties, Inc.

b. Construction Specialties, Inc.

c. IPC Door and Wall Protection Systems; Division of InPro Corporation.

d. <Insert manufacturer's name.>

3. Handrail:  [5-1/2 inches high by 1-1/2 inches deep (140 mm high by 38 mm deep)] [As indicated on Drawings] <Insert dimensions> with 1-1/2-inch- (38-mm-) diameter gripping surface.

a. Returns, Corners, and Mounting Brackets:  Solid wood that matches rail.

Last two options in first subparagraph below are available only from Construction Specialties.

b. Wood Species:  [Red oak] [Maple] [Ash] [Beech].

c. Finish:  [Clear] [Stained].

d. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.5 BED LOCATORS

Bed locators are used in hospitals and nursing homes to provide uniform placement of beds and to protect walls when beds are moved.

A. Bed Locators <Insert drawing designation>:  Assembly consisting of continuous snap-on plastic cover installed over continuous retainer; with two bed-locator end caps and mounting hardware; cover designed to spring back when hit.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Construction Specialties, Inc.

d. IPC Door and Wall Protection Systems; Division of InPro Corporation.

e. Korogard Wall Protection Systems; Division of RJF International Corporation.

f. Pawling Corporation.

g. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum 0.078-inch (2.0-mm) wall thickness.

a. Profile:  Large rounded bullnose profile, nominal 4 inches high by 2 inches (100 mm high by 50 mm) deep.

b. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.080-inch- (2.0-mm-) thick, 1-piece, extruded aluminum.

a. Mounting Type:  [Surface mounted on 1/2-inch- (13-mm-) thick cushion spacers] [Extended mounting on injection-molded plastic mounting brackets] [Extended mounting on aluminum mounting brackets].

5. Bed-Locator End Caps:  Prefabricated, injection-molded plastic; color matching cover; field adjustable for close alignment with snap-on cover.

2.6 CORNER GUARDS

A. Surface-Mounted, Resilient, Plastic Corner Guards <Insert drawing designation>:  Assembly consisting of snap-on plastic cover installed over continuous retainer; including mounting hardware; fabricated with 90- or 135-degree turn to match wall condition.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Construction Specialties, Inc.

e. IPC Door and Wall Protection Systems; Division of InPro Corporation.

f. Korogard Wall Protection Systems; Division of RJF International Corporation.

g. Pawling Corporation.

h. Tepromark International, Inc.

i. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum [0.078-inch (2.0-mm)] [0.100-inch (2.5-mm)] wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  Nominal [2-inch- (50-mm-) long leg and 1/4-inch (6-mm)] [3-inch- (75-mm-) long leg and 1/4-inch (6-mm)] [3-inch- (75-mm-) long leg and 1-1/4-inch (32-mm)] corner radius.

b. Height:  [4 feet (1.2 m)] [8 feet (2.4 m)] <Insert dimension>.

c. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.060-inch- (1.5-mm-) thick, 1-piece, extruded aluminum.

5. Top and Bottom Caps:  Prefabricated, injection-molded plastic; color matching cover; field adjustable for close alignment with snap-on cover.

B. Flush-Mounted, Resilient, Plastic Corner Guards <Insert drawing designation>:  Assembly consisting of snap-on plastic cover that is flush with adjacent wall surface, installed over continuous retainer; including mounting hardware; fabricated with 90- or 135-degree turn to match wall condition; full wall height.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Construction Specialties, Inc.

e. IPC Door and Wall Protection Systems; Division of InPro Corporation.

f. Korogard Wall Protection Systems; Division of RJF International Corporation.

g. Pawling Corporation.

h. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum [0.078-inch (2.0-mm)] [0.100-inch (2.5-mm)] wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  Nominal [2-inch- (50-mm-) long leg and 1/4-inch (6-mm)] [3-inch-0 (75-mm-) long leg and 1/4-inch (6-mm)] [3-inch- (75-mm-) long leg and 1-1/4-inch (32-mm)] corner radius.

b. Height:  [4 feet (1.2 m)] [8 feet (2.4 m)] <Insert dimension>.

c. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.060-inch- (1.5-mm-) thick, 1-piece, extruded aluminum.

Subparagraph below is optional.

5. Aluminum Cove Base:  Nominal [4 inches (100 mm)] [6 inches (150 mm)] high.

Corner guards need to be fire rated only if they are recessed in fire-rated walls.  Only ARDEN, Construction Specialties, and InPro offer UL-listed fire-rated corner guards; Balco and Pawling have tested their fire-rated corner guards according to ASTM E 119.  See Evaluations.

C. Fire-Rated, Resilient, Plastic Corner Guards <Insert drawing designation>:  Assembly consisting of snap-on plastic cover that is flush with adjacent wall surface, installed over continuous retainer and intumescent fire barrier; including mounting hardware; fabricated with 90- or 135-degree turn to match wall condition; full wall height.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Construction Specialties, Inc.

e. IPC Door and Wall Protection Systems; Division of InPro Corporation.

f. Korogard Wall Protection Systems; Division of RJF International Corporation.

g. Pawling Corporation.

h. <Insert manufacturer's name.>

3. Fire Rating:  [1 hour] [2 hours] [Same rating as wall in which corner guard is installed]; UL listed and labeled according to UL 2079.

4. Cover:  Extruded rigid plastic, minimum [0.078-inch (2.0-mm)] [0.100-inch (2.5-mm)] wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Leg:  Nominal [2 inches (50 mm)] [3 inches (75 mm)].

b. Corner Radius:  [1/4 inch (6 mm)] [1-1/4 inches (32 mm)].

c. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

5. Retainer:  Minimum 0.070-inch- (1.8-mm-) thick, 1-piece, extruded aluminum.

Subparagraph below is optional.

6. Aluminum Cove Base:  Nominal [4 inches (100 mm)] [6 inches (150 mm)] high.

D. Surface-Mounted, Opaque-Plastic Corner Guards <Insert drawing designation>:  Fabricated from PVC plastic, acrylic-modified vinyl sheet or opaque polycarbonate sheet; with formed edges; fabricated with 90- or 135-degree turn to match wall condition.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Boston Retail Products.

e. Construction Specialties, Inc.

f. IPC Door and Wall Protection Systems; Division of InPro Corporation.

g. Korogard Wall Protection Systems; Division of RJF International Corporation.

h. Pawling Corporation.

i. Tepromark International, Inc.

j. <Insert manufacturer's name.>

3. Wing Size:  Nominal [3/4 by 3/4 inch (20 by 20 mm)] [1-1/8 by 1-1/8 inches (30 by 30 mm)] [2-1/2 by 2-1/2 inches (65 by 65 mm)].

4. Mounting:  [Countersunk screws through factory-drilled mounting holes] [Adhesive] [Double-faced adhesive foam tape].

5. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

E. Surface-Mounted, Transparent-Plastic Corner Guards <Insert drawing designation>:  Fabricated from clear polycarbonate plastic sheet; with formed edges; fabricated with 90- or 135-degree turn to match wall condition.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Construction Specialties, Inc.

e. IPC Door and Wall Protection Systems; Division of InPro Corporation.

f. Pawling Corporation.

g. Tepromark International, Inc.

h. <Insert manufacturer's name.>

3. Wing Size:  Nominal [3/4 by 3/4 inch (20 by 20 mm)] [1-1/8 by 1-1/8 inches (30 by 30 mm)] [2-1/2 by 2-1/2 inches (65 by 65 mm)].

4. Thickness:  Minimum [0.050 inch (1.3 mm)] [0.075 inch (1.9 mm)] [0.100 inch (2.5 mm)].

5. Mounting:  [Countersunk screws through factory-drilled mounting holes] [Corner clips].

F. Surface-Mounted, Metal Corner Guards <Insert drawing designation>:  Fabricated from 1-piece, formed or extruded metal with formed edges; with 90- or 135-degree turn to match wall condition.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Boston Retail Products.

e. Construction Specialties, Inc.

f. IPC Door and Wall Protection Systems; Division of InPro Corporation.

g. Pawling Corporation.

h. <Insert manufacturer's name.>

Retain one of first three subparagraphs and associated subparagraphs below; stainless steel is most common.

3. Material:  Stainless steel, Type [304] [430].

a. Thickness:  Minimum [0.0500 inch (1.3 mm)] [0.0625 inch (1.6 mm)] [0.0781 inch (2.0 mm)].

b. Finish:  [Directional satin, No. 4] [Bright annealed].

4. Material:  Extruded aluminum, minimum 0.0625 inch (1.6 mm) thick, with clear anodic finish.

5. Material:  Brass sheet, minimum 0.0500 inch (1.3 mm) thick, with [buffed, smooth specular] [fine satin] finish.

6. Wing Size:  Nominal [1-1/2 by 1-1/2 inches (38 by 38 mm)] [2-1/2 by 2-1/2 inches (65 by 65 mm)] [3-1/2 by 3-1/2 inches (90 by 90 mm)] <Insert size>.

7. Corner Radius:  [1/8 inch (3 mm)] [3/4 inch (19 mm)].

8. Mounting:  [Flat-head, countersunk screws through factory-drilled mounting holes] [Oval head, countersunk screws through factory-drilled mounting holes] [Double-faced, adhesive foam tape] [Adhesive].

2.7 END-WALL GUARDS

A. Surface-Mounted, Resilient, Plastic End-Wall Guard <Insert drawing designation>:  Assembly consisting of snap-on plastic cover installed over continuous retainer at each corner, with end of wall covered by semirigid, impact-resistant sheet wall covering; including mounting hardware.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Construction Specialties, Inc.

e. IPC Door and Wall Protection Systems; Division of InPro Corporation.

f. Korogard Wall Protection Systems; Division of RJF International Corporation.

g. Pawling Corporation.

h. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum [0.078-inch (2.0-mm)] [0.100-inch (2.5-mm)] wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  Nominal [2-inch- (50-mm-) long leg and 1/4-inch (6-mm)] [3-inch- (75-mm-) long leg and 1/4-inch (6-mm)] [3-inch- (75-mm-) long leg and 1-1/4-inch (32-mm)] corner radius.

b. Height:  [4 feet (1.2 m)] [8 feet (2.4 m)] <Insert dimension>.

c. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.060-inch- (1.5-mm-) thick, 1-piece, extruded aluminum.

5. Top and Bottom Caps:  Prefabricated, injection-molded plastic; color matching cover; field adjustable for close alignment with snap-on cover.

B. Flush-Mounted, Resilient, Plastic End-Wall Guard <Insert drawing designation>:  Assembly consisting of snap-on plastic cover that is flush with adjacent wall surface and that covers entire end of wall, installed over continuous retainer; including mounting hardware.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Balco, Inc.

c. Construction Specialties, Inc.

d. IPC Door and Wall Protection Systems; Division of InPro Corporation.

e. Korogard Wall Protection Systems; Division of RJF International Corporation.

f. Pawling Corporation.

g. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum [0.078-inch (2.0-mm)] [0.100-inch (2.5-mm)] wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Profile:  Nominal [2-inch- (50-mm-) long leg and 1/4-inch (6-mm)] [3-inch- (75-mm-) long leg and 1/4-inch (6-mm)] [3-inch- (75-mm-) long leg and 1-1/4-inch (32-mm)] corner radius.

b. Height:  [4 feet (1.2 m)] [8 feet (2.4 m)] <Insert dimension>.

c. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.060-inch- (1.5-mm-) thick, 1-piece, extruded aluminum.

Subparagraph below is optional.

5. Aluminum Cove Base:  Nominal [4 inches (100 mm)] [6 inches (150 mm)] high.

End-wall guards need to be fire rated only if they are recessed in fire-rated walls.  Only InPro offers UL-listed fire-rated end-wall guards; Balco and Pawling have tested their fire-rated end-wall guards according to ASTM E 119.  See Evaluations.

C. Fire-Rated, Resilient, Plastic End-Wall Guard <Insert drawing designation>:  Assembly consisting of snap-on plastic cover that is flush with adjacent wall surface and that covers entire end of wall, installed over continuous retainer and intumescent fire barrier; including mounting hardware; full wall height.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Balco, Inc.

c. Construction Specialties, Inc.

d. IPC Door and Wall Protection Systems; Division of InPro Corporation.

e. Korogard Wall Protection Systems; Division of RJF International Corporation.

f. Pawling Corporation.

g. <Insert manufacturer's name.>

3. Fire Rating:  [1 hour] [2 hours] [Same rating as wall in which end guard is installed]; UL listed and labeled according to UL 2079.

4. Cover:  Extruded rigid plastic, minimum [0.078-inch (2.0-mm)] [0.100-inch (2.5-mm)] wall thickness; [as follows:] [in dimensions and profiles indicated on Drawings.]

a. Leg:  Nominal [2 inches (50 mm)] [3 inches (75 mm)].

b. Corner Radius:  [1/4 inch (6 mm)] [1-1/4 inches (32 mm)].

c. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

5. Retainer:  Minimum 0.070-inch- (1.8-mm-) thick, 1-piece, extruded aluminum.

Subparagraph below is optional.

6. Aluminum Cove Base:  Nominal [4 inches (100 mm)] [6 inches (150 mm)] high.

D. Surface-Mounted, Metal, End-Wall Guards <Insert drawing designation>:  Fabricated from one-piece, formed or extruded metal that covers entire end of wall; with formed edges.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. <Insert manufacturer's name.>

Retain one of first three subparagraphs and associated subparagraphs below; stainless steel is most common.

3. Material:  Stainless steel, Type [304] [430].

a. Thickness:  Minimum [0.0500 inch (1.3 mm)] [0.0625 inch (1.6 mm)] [0.0781 inch (2.0 mm)].

b. Finish:  [Directional satin, No. 4] [Bright annealed].

4. Material:  Extruded aluminum, minimum 0.0625 inch (1.6 mm) thick, with clear anodic finish.

5. Material:  Brass sheet, minimum 0.0500 inch (1.3 mm) thick, with [buffed, smooth specular] [fine satin] finish.

6. Wing Size:  Nominal [1-1/2 by 1-1/2 inches (38 by 38 mm)] [2-1/2 by 2-1/2 inches (65 by 65 mm)] [3-1/2 by 3-1/2 inches (90 by 90 mm)] <Insert size>.

7. Corner Radius:  [1/8 inch (3 mm)] [3/4 inch (19 mm)].

8. Mounting:  [Flat-head, countersunk screws through factory-drilled mounting holes] [Oval head, countersunk screws through factory-drilled mounting holes] [Double-faced, adhesive foam tape] [Adhesive].

2.8 IMPACT-RESISTANT WALL COVERINGS

See Evaluations for discussion on differences between impact-resistant wall coverings and conventional vinyl wall coverings.

A. Semirigid, Impact-Resistant Sheet Wall Covering <Insert drawing designation>:  Fabricated from plastic sheet wall covering material.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. ARDEN Architectural Specialties, Inc.

c. Balco, Inc.

d. Construction Specialties, Inc.

e. IPC Door and Wall Protection Systems; Division of InPro Corporation.

f. Korogard Wall Protection Systems; Division of RJF International Corporation.

g. Pawling Corporation.

h. <Insert manufacturer's name.>

Roll sizes in subparagraph below are typically available only for 0.040-inch (1.0-mm) thickness and less.

3. Size:  [48 by 96 inches (1219 by 2438 mm) for sheet] [48 by 120 inches (1219 by 3048 mm) for roll] [As indicated].

See Evaluations for manufacturer's recommendations of sheet thickness for different levels of abuse.

4. Sheet Thickness:  [0.022 inch (0.56 mm)] [0.028 inch (0.7 mm)] [0.040 inch (1.0 mm)] [0.060 inch (1.5 mm)] [0.080 inch (2.0 mm)] [0.093 inch (2.4 mm)] [0.125 inch (3.0 mm)] <Insert thickness>.

5. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

6. Height:  [Full wall] [Wainscot] [As indicated].

7. Trim and Joint Moldings:  Extruded rigid plastic that matches sheet wall covering color.

8. Mounting:  Adhesive.

B. Prelaminated, Impact-Resistant Wall Panels <Insert drawing designation>:  Rigid wall panels consisting of plastic sheet wall covering material factory laminated to high-impact-resistant core, with moisture-resistant vapor barrier factory laminated to reverse side of panel for stability.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Construction Specialties, Inc.

c. <Insert manufacturer's name.>

First option in first subparagraph below is available from Construction Specialties; second and third options are available from American Floor.

3. Composition:  [0.022-inch- (0.56-mm-) thick plastic sheet laminated to 3/8-inch- (9.5-mm-) thick fiberboard] [0.028-inch- (0.70-mm-) thick plastic sheet laminated to 3/8-inch- (9.5-mm-) thick, fire-retardant-treated particleboard] [0.028-inch- (0.70-mm-) thick plastic sheet laminated to 3/8-inch- (9.5-mm-) thick, oriented strand board] core.

4. Sheet Size:  [48 by 96 inches (1219 by 2438 mm)] [48 by 108 inches (1219 by 2743 mm)] [48 by 120 inches (1219 by 3048 mm)] [As indicated].

5. Height:  [Full wall] [Wainscot] [As indicated].

6. Trim and Joint Moldings:  Extruded rigid plastic that matches sheet wall covering color.

7. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

8. Mounting:  Adhesive.

2.9 DOOR-PROTECTION SYSTEMS

Retain this Article if impact-resistant door protection is required to match impact-resistant wall protection.  Metal armor, kick, mop, and push plates are included in Division 08 Section "Door Hardware."

A. General:  Comply with BHMA A156.6.

Only products manufactured by Construction Specialties and InPro are listed in UL's "Fire Resistance Directory." See Evaluations.

1. For fire-rated doors, provide door-protection systems that are UL listed and labeled.

NFPA 80 limits height of protection plates on fire-rated doors to 16 inches (406 mm) above bottom of door, unless otherwise specifically labeled.

B. Protection Plates:  Fabricated from extruded rigid plastic, of thickness indicated.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Construction Specialties, Inc.

c. IPC Door and Wall Protection Systems; Division of InPro Corporation.

d. Korogard Wall Protection Systems; Division of RJF International Corporation.

e. Pawling Corporation.

f. Tepromark International, Inc.

g. <Insert manufacturer's name.>

Retain paragraph and subparagraphs below if full-surface door protection, including vertical edges, is required.  Door edges may need to be undercut to obtain proper edge clearances.

C. Full-Height Door-Surface Protection <Insert drawing designation>:  Minimum [0.040-inch (1.0-mm)] [0.060-inch (1.5-mm)] [0.080-inch (2.0-mm)] wall thickness; with 90-degree bend for door-edge protection.

1. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Mounting:  [Adhesive] [Countersunk screws through factory-drilled mounting holes] [Double-faced adhesive foam tape].

Armor plates below protect lower half of doors subject to cart traffic or rough usage, and are usually applied to push side of single-acting doors and both sides of double-acting doors.

D. Armor Plates <Insert drawing designation>:  Minimum [0.040-inch (1.0-mm)] [0.060-inch (1.5-mm)] [0.080-inch (2.0-mm)] wall thickness; beveled 4 sides.

1. Size:  [32 inches (813 mm)] [36 inches (914 mm)] [40 inches (1016 mm)] [42 inches (1067 mm)] high by door width, with allowance for frame stops.

2. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

3. Mounting:  [Adhesive] [Countersunk screws through factory-drilled mounting holes] [Double-faced adhesive foam tape].

Kick plates below protect bottom of push side of doors subject to foot traffic.

E. Kick Plates <Insert drawing designation>:  Minimum [0.040-inch (1.0-mm)] [0.060-inch (1.5-mm)] [0.080-inch (2.0-mm)] wall thickness; beveled 4 sides.

1. Size:  [8 inches (203 mm)] [10 inches (254 mm)] [12 inches (305 mm)] high by door width, with allowance for frame stops.

2. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

3. Mounting:  [Adhesive] [Countersunk screws through factory-drilled mounting holes] [Double-faced adhesive foam tape].

Mop plates below protect bottom of pull side of doors subject to cleaning.

F. Mop Plates <Insert drawing designation>:  Minimum [0.040-inch (1.0-mm)] [0.060-inch (1.5-mm)] [0.080-inch (2.0-mm)] wall thickness; beveled 4 sides.

1. Size:  [4 inches (102 mm)] [6 inches (152 mm)] high by 1 inch (25 mm) less than door width.

2. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

3. Mounting:  [Adhesive] [Countersunk screws through factory-drilled mounting holes] [Double-faced adhesive foam tape].

Stretcher plates below protect doors in specific areas where consistent contact is made by stretchers, service carts, or other equipment.  Designation is not included in BHMA A156.6.

G. Stretcher Plates <Insert drawing designation>:  Minimum [0.040-inch (1.0-mm)] [0.060-inch (1.5-mm)] [0.080-inch (2.0-mm)] wall thickness; beveled 4 sides.

1. Size:  [6 inches (152 mm)] [8 inches (203 mm)] <Insert dimension> high by door width, with allowance for frame stops.

2. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

3. Mounting:  [Adhesive] [Countersunk screws through factory-drilled mounting holes] [Double-faced adhesive foam tape].

H. Push Plates <Insert drawing designation>:  Minimum [0.040-inch (1.0-mm)] [0.060-inch (1.5-mm)] [0.080-inch (2.0-mm)] wall thickness; beveled 4 sides.

1. Size:  [12 inches high by 4 inches (305 mm high by 102 mm)] [16 inches high by 4 inches (406 mm high by 102 mm)] <Insert dimensions> wide.

2. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

3. Mounting:  [Adhesive] [Countersunk screws through factory-drilled mounting holes] [Double-faced adhesive foam tape].

Retain paragraph and subparagraphs below if protection of door edges is required.  Door-edge protectors may be used alone or with armor or kick plates for greater protection.  Door edges may need to be undercut to obtain proper edge clearances.

I. Door-Edge Protection <Insert drawing designation>:  Fabricated from extruded rigid plastic, minimum [0.040-inch (1.0-mm)] [0.060-inch (1.5-mm)] wall thickness; formed to fit over door edge without mortising.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Construction Specialties, Inc.

c. IPC Door and Wall Protection Systems; Division of InPro Corporation.

d. Korogard Wall Protection Systems; Division of RJF International Corporation.

e. Pawling Corporation.

f. <Insert manufacturer's name.>

3. Shape:  [L] [U].

4. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

5. Mounting:  [Adhesive] [Countersunk screws through factory-drilled mounting holes] [Double-faced adhesive foam tape].

Retain one of two paragraphs and associated subparagraphs below if protection of door frames is required.  Door-frame protectors may be used alone or with door-surface protection.

J. Door-Frame Protector <Insert drawing designation>:  Fabricated from extruded rigid plastic, minimum [0.040-inch (1.0-mm)] [0.050-inch (1.3-mm)] [0.060-inch (1.5-mm)] wall thickness; formed to fit entire door-frame profile.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Construction Specialties, Inc.

c. IPC Door and Wall Protection Systems; Division of InPro Corporation.

d. Korogard Wall Protection Systems; Division of RJF International Corporation.

e. Pawling Corporation.

f. <Insert manufacturer's name.>

3. Height:  [36 inches (914 mm)] [48 inches (1219 mm)] <Insert dimension>.

4. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

5. Mounting:  [Adhesive] [Countersunk screws through factory-drilled mounting holes] [Double-faced adhesive foam tape].

K. Door-Frame Protector <Insert drawing designation>:  Assembly consisting of snap-on plastic cover installed over continuous retainer; formed to fit door frame on opposite side of door swing.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. Construction Specialties, Inc.

b. IPC Door and Wall Protection Systems; Division of InPro Corporation.

c. Korogard Wall Protection Systems; Division of RJF International Corporation.

d. Pawling Corporation.

e. <Insert manufacturer's name.>

3. Cover:  Extruded rigid plastic, minimum 0.080-inch (2.0-mm) wall thickness; in dimensions and profiles indicated.

a. Height:  [36 inches (914 mm)] [48 inches (1219 mm)] <Insert dimension>.

b. Corner Radius:  [1/4 inch (6 mm)] [1-1/4 inches (32 mm)].

c. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Retainer:  Minimum 0.080-inch- (2.0-mm-) thick, 1-piece, extruded aluminum.

Revise paragraph below to suit Project.  Each manufacturer has its own unique design.

L. Door-[Knob][Lever] Protector <Insert drawing designation>:  Fabricated from injection-molded plastic, minimum 0.060-inch (1.5-mm) wall thickness.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc.

b. Construction Specialties, Inc.

c. IPC Door and Wall Protection Systems; Division of InPro Corporation.

d. Korogard Wall Protection Systems; Division of RJF International Corporation.

e. Pawling Corporation.

f. <Insert manufacturer's name.>

3. Color and Texture:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

4. Mounting:  Countersunk screws through factory-drilled mounting holes.

2.10 FABRICATION

A. Fabricate impact-resistant wall-protection units to comply with requirements indicated for design, dimensions, and member sizes, including thicknesses of components.

Construction Specialties is the only manufacturer that indicates it can factory fabricate a curved sheet wall covering according to requirements in first paragraph and subparagraphs below.  Verify availability with other manufacturers.

B. Preform curved semirigid, impact-resistant sheet wall covering in factory for radius and sheet thickness as follows:

1. Sheet Thickness of 0.040 Inch (1.0 mm):  24-inch (610-mm) radius.

2. Sheet Thickness of 0.060 Inch (1.5 mm):  36-inch (914-mm) radius.

C. Assemble components in factory to greatest extent possible to minimize field assembly.  Disassemble only as necessary for shipping and handling.

D. Fabricate components with tight seams and joints with exposed edges rolled.  Provide surfaces free of wrinkles, chips, dents, uneven coloration, and other imperfections.  Fabricate members and fittings to produce flush, smooth, and rigid hairline joints.

2.11 METAL FINISHES

Retain this Article only for metal corner guards.

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

1. Remove tool and die marks and stretch lines or blend into finish.

Delete subparagraph below if no directionally textured finishes are retained.

2. Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.

B. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

C. Protect finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and wall areas, with Installer present, for compliance with requirements for installation tolerances[, fire rating,] and other conditions affecting performance of work.

1. Examine walls to which impact-resistant wall protection will be attached for blocking, grounds, and other solid backing that have been installed in the locations required for secure attachment of support fasteners.

2. For impact-resistant wall-protection units attached with adhesive or foam tape, verify compatibility with and suitability of substrates, including compatibility with existing finishes or primers.

3. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Complete finishing operations, including painting, before installing impact-resistant wall-protection system components.

B. Before installation, clean substrate to remove dust, debris, and loose particles.

3.3 INSTALLATION

A. General:  Install impact-resistant wall-protection units level, plumb, and true to line without distortions.  Do not use materials with chips, cracks, voids, stains, or other defects that might be visible in the finished Work.

1. Install impact-resistant wall-protection units in locations and at mounting heights indicated on Drawings or, if not indicated, at heights indicated below:

a. Wall Guards:  <Insert dimension> above finished floor.

b. Handrails:  <Insert dimension> above finished floor.

c. Bed Locators:  <Insert dimension> above finished floor.

d. Stretcher Plates:  <Insert dimension> above finished floor.

2. Provide splices, mounting hardware, anchors, and other accessories required for a complete installation.

a. Provide anchoring devices to withstand imposed loads.

b. Where splices occur in horizontal runs of more than 20 feet (6.1 m), splice aluminum retainers and plastic covers at different locations along the run, but no closer than 12 inches (305 mm).

c. Adjust [end] [and] [top] caps as required to ensure tight seams.

B. Wood Handrails:  Miter corners and ends for returns.

C. Impact-Resistant Wall Covering:  Provide top and edge moldings, corners, and divider bars as required for a complete installation.

3.4 CLEANING

A. Immediately after completion of installation, clean plastic covers and accessories using a standard, ammonia-based, household cleaning agent.

Delete paragraph below if no adhesive is used.

B. Remove excess adhesive using methods and materials recommended in writing by manufacturer.

END OF SECTION 102600

WALL AND DOOR PROTECTION
102600 - 1

