Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 105113 - METAL LOCKERS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Standard metal lockers.

2. Heavy-duty metal lockers.

3. Athletic metal lockers.

4. Open-front athletic metal lockers.

5. Coin-operated metal lockers.

6. Locker benches.

B. Related Section:

Retain subparagraph below for requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 10 Section "Wood Lockers" for wood-faced and plastic-laminate-faced lockers.

1.3 SUBMITTALS

First four paragraphs below are defined in Division 01 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of metal locker[ and bench].

B. Shop Drawings:  For metal lockers.  Include plans, elevations, sections, details, and attachments to other work.

1. Show locker trim and accessories.

2. Include locker identification system and numbering sequence.

C. Samples for Initial Selection:  For units with factory-applied color finishes.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

D. Samples for Verification:  For [metal lockers] [and] [locker benches], in manufacturer's standard sizes.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For qualified Installer.

F. Maintenance Data:  For adjusting, repairing, and replacing locker doors and latching mechanisms to include in maintenance manuals.

G. Warranty:  Sample of special warranty.

1.4 QUALITY ASSURANCE

A. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of units required for this Project.

B. Source Limitations:  Obtain metal lockers[, locker benches,] and accessories from single source from single manufacturer.

Retain requirements in first paragraph below for accessible lockers.  See Evaluations for detailed discussion.

C. Regulatory Requirements:  Where metal lockers[ and benches] are indicated to comply with accessibility requirements, comply with [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities"] [and] [ICC/ANSI A117.1].

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

D. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Do not deliver metal lockers until spaces to receive them are clean, dry, and ready for their installation.

B. Deliver [master and control keys] [combination control charts] to Owner by registered mail or overnight package service[.][, addressed as follows:]

1. <Insert name and address of Owner's representative>.

1.6 PROJECT CONDITIONS

A. Field Measurements:  Verify actual dimensions of recessed openings by field measurements before fabrication.

1.7 COORDINATION

A. Coordinate sizes and locations of [concrete] [concrete masonry] [wood] bases for metal lockers.

B. Coordinate sizes and locations of framing, blocking, furring, reinforcements, and other related units of work specified in other Sections to ensure that metal lockers can be supported and installed as indicated.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of metal lockers that fail in materials or workmanship, excluding finish, within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures.

b. Faulty operation of latches and other door hardware.

2. Damage from deliberate destruction and vandalism is excluded.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.  Standard lockers are supplied knocked down; heavy-duty lockers are all welded; athletic lockers may be either.

3. Warranty Period for Knocked-Down Metal Lockers:  [Two] <Insert number> years from date of Substantial Completion.

4. Warranty Period for All-Welded Metal Lockers:  [Lifetime] [10 years] <Insert years> from date of Substantial Completion.

1.9 EXTRA MATERIALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Full-size units of the following metal locker hardware items equal to [10] <Insert number> percent of amount installed for each type and finish installed, but no fewer than [five] <Insert number> units:

a. Locks.

b. Identification plates.

c. Hooks.

PART 2 -  PRODUCTS

2.1 MATERIALS

Sheet metal thicknesses in remaining articles are based on nominal thicknesses of steel or stainless-steel sheet.  See Evaluations for table of metal thicknesses and their gage-number equivalents.

A. Cold-Rolled Steel Sheet:  ASTM A 1008/A 1008M, Commercial Steel (CS), Type B, suitable for exposed applications.

Retain first paragraph below for zinc-iron, alloy-coated (galvannealed) lockers available from some manufacturers.  Coordinate with products retained in Part 2.  Show locations on Drawings or in schedules if using both uncoated and metallic-coated steel lockers.

B. Metallic-Coated Steel Sheet:  ASTM A 653/A 653M, Commercial Steel (CS), Type B; with A60 (ZF180) zinc-iron, alloy (galvannealed) coating designation.

C. Expanded Metal:  ASTM F 1267, Type II (flattened), Class I, 3/4-inch (19-mm) steel mesh, with at least 70 percent open area.

D. Stainless-Steel Sheet:  ASTM A 666, Type 304.

Retain first four paragraphs below for locker benches if required.

E. Plastic Laminate:  NEMA LD 3, Grade HGP.

F. Extruded Aluminum:  ASTM B 221 (ASTM B 221M), alloy and temper recommended by aluminum producer and manufacturer for type of use and finish indicated.

G. Steel Tube:  ASTM A 500, cold rolled.

H. Particleboard:  ANSI A208.1, Grade M-2.

I. Fasteners:  Zinc- or nickel-plated steel, slotless-type, exposed bolt heads; with self-locking nuts or lock washers for nuts on moving parts.

J. Anchors:  Material, type, and size required for secure anchorage to each substrate.

1. Provide nonferrous-metal or hot-dip galvanized anchors and inserts on inside face of exterior walls[, and elsewhere as indicated,] for corrosion resistance.

2. Provide toothed-steel or lead expansion sleeves for drilled-in-place anchors.

2.2 STANDARD METAL LOCKERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

A. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1. Art Metal Products; [Artisan Silent] [Magnum Student K.D. Corridor] [Standard K.D.] [Standard Quiet] [Quiet II] Lockers.

2. ASI Storage Solutions Inc.; Traditional Collection.

3. DeBourgh Mfg. Co.; Worley Lockers.

4. General Storage Systems Ltd.; Decor Tri-Lok [Corona] [Eclipse] [Eclipse II] [Smart Line] [Titan] [Titan II].

5. Hadrian Manufacturing Inc.; Emperor Lockers.

6. List Industries Inc.; [Classic Line of Superior KD] [Marquis Student Quiet KD] [Standard Quiet KD] [Whisper Quiet KD] Lockers.

7. Lyon Workspace Products, LLC; Standard Lockers.

8. Penco Products, Inc.; [Guardian] [Vanguard] Lockers.

9. Republic Storage Systems Company; [Designer] [Quiet] [Single Point] [Standard] Lockers.

10. Shanahan's Manufacturing Limited; Deluxe Series Lockers.

11. Tennsco Corp.; Tennsco Lockers.

12. <Insert manufacturer's name; product name or designation>.

B. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. <Insert manufacturer's name>.

C. Locker Arrangement:  [Single tier] [Double tier] [Triple tier] [Box] [Two person] [Duplex] [16 person] [As indicated on Drawings] <Insert configuration>.

Retain second option in first paragraph below for lockers in very damp locations or for those requiring additional corrosion protection.  Lockers fabricated from metallic-coated steel sheet are upgrades and available only from General, Hadrian, Lyon, and Republic.  Coordinate with "Materials" Article.

D. Material:  [Cold-rolled] [Metallic-coated] steel sheet.

Locker body in first paragraph below is of standard-weight components and of knocked-down construction.  Welded lockers with heavier body components are specified in "Heavy-Duty Metal Lockers" Article.

E. Body:  Assembled by riveting or bolting body components together.  Fabricate from unperforated steel sheet as follows:

1. Tops, Bottoms, and Intermediate Dividers:  0.024-inch (0.61-mm) nominal thickness, with single bend at sides.

2. Backs and Sides:  0.024-inch (0.61-mm) nominal thickness, with full-height, double-flanged connections.

3. Shelves:  0.024-inch (0.61-mm) nominal thickness, with double bend at front and single bend at sides and back.

F. Frames:  Channel formed; fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet; lapped and factory welded at corners; with top and bottom main frames factory welded into vertical main frames.  Form continuous, integral door strike full height on vertical main frames.

Retain first subparagraph below if required; cross frames between tiers are not offered by all manufacturers.  Subparagraph is applicable only to double-tier, triple-tier, box, and two-person configurations.

1. Cross Frames between Tiers:  Channel formed and fabricated from same material as main frames; welded to vertical main frames.

Retain subparagraph below for lockers with frame vents in lieu of door vents offered by General and Hadrian.  General offers horizontal vents in top and bottom frames; Hadrian offers vertical vents in side frames.

2. Frame Vents:  Fabricate face frames with vents.

If needed, revise first paragraph below for double-pan construction, which is available from General, Hadrian, and Shanahan's.

G. Doors:  One piece; fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet; formed into channel shape with double bend at vertical edges and with right-angle single bend at horizontal edges.

1. Doors less than 12 inches (305 mm) wide may be fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

2. Doors for box lockers less than 15 inches (381 mm) wide may be fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

3. Reinforcement:  Manufacturer's standard reinforcing angles, channels, or stiffeners for doors more than 15 inches (381 mm) wide; welded to inner face of doors.

4. Stiffeners:  Manufacturer's standard full-height stiffener fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet; welded to inner face of doors.

Retain first subparagraph below for quiet-type metal lockers.  Verify availability with manufacturers.

5. Sound-Dampening Panels:  Manufacturer's standard, designed to stiffen doors and reduce sound levels when doors are closed, of die-formed metal with full perimeter flange and sound-dampening material; welded to inner face of doors.

Retain first option in subparagraph below for quiet-type metal lockers.

6. Door Style:  [Unperforated panel.] [Vented panel as follows:]

Retain one of four subparagraphs below if retaining second option in last subparagraph above.

a. Louvered Vents:  No fewer than [six louver openings at top and bottom for single-tier] [three louver openings at top and bottom for double-tier] [two louver openings at top and bottom, or three louver openings at top or bottom, for triple-tier] <Insert configuration> lockers.

b. Security Vents:  Manufacturer's standard, stamped horizontal or vertical.

Revise first subparagraph below if a specific shape of perforation is needed.

c. Perforated Vents:  [Manufacturer's standard shape and configuration] <Insert shape and configuration>.

Retain subparagraph below if required.  Many quiet-type metal lockers have concealed vents in door return flanges because doors are unperforated.

d. Concealed Vents:  Slotted perforations in top and bottom horizontal return flanges of doors.

Retain option in first paragraph below if self-closing hinges are required.

H. Hinges:  Welded to door and attached to door frame with no fewer than two factory-installed rivets per hinge that are completely concealed and tamper resistant when door is closed; fabricated to swing 180 degrees[; self-closing].

Retain one of two subparagraphs below.

1. Knuckle Hinges:  Steel, full loop, five or seven knuckles, tight pin; minimum 2 inches (51 mm) high.  Provide no fewer than three hinges for each door more than 42 inches (1067 mm) high.

2. Continuous Hinges:  Manufacturer's standard, steel, full height.

Retain one of first three paragraphs below.  First two paragraphs are for single-tier, double-tier, triple-tier, duplex, and two-person lockers.  Third paragraph is for box and 16-person lockers, which are not equipped with latching mechanisms.

I. Projecting Door Handle and Latch:  Finger-lift latch control designed for use with either built-in combination locks or padlocks; positive automatic latching, chromium plated; pry and vandal resistant.

1. Latch Hooks:  Equip [doors 48 inches (1219 mm) and higher with three latch hooks] [and] [doors less than 48 inches (1219 mm) high with two latch hooks]; fabricated from 0.105-inch (2.66-mm) nominal-thickness steel sheet; welded or riveted to full-height door strikes; with resilient silencer on each latch hook.

2. Latching Mechanism:  Manufacturer's standard, rattle-free latching mechanism and moving components isolated to prevent metal-to-metal contact, and incorporating a prelocking device that allows locker door to be locked while door is open and then closed without unlocking or damaging lock or latching mechanism.

J. Recessed Door Handle and Latch:  Stainless-steel cup with integral door pull, recessed so locking device does not protrude beyond face of door; pry and vandal resistant.

1. Multipoint Latching:  Finger-lift latch control designed for use with built-in combination locks, built-in key locks, or padlocks; positive automatic latching and prelocking.

a. Latch Hooks:  Equip [doors 48 inches (1219 mm) and higher with three latch hooks] [and] [doors less than 48 inches (1219 mm) high with two latch hooks]; fabricated from 0.105-inch (2.66-mm) nominal-thickness steel sheet; welded or riveted to full-height door strikes; with resilient silencer on each latch hook.

Retain option in first subparagraph below for quiet-type metal lockers.

b. Latching Mechanism:  Manufacturer's standard, rattle-free latching mechanism and moving components isolated[ with vinyl or nylon] to prevent metal-to-metal contact, and incorporating a prelocking device that allows locker door to be locked while door is open and then closed without unlocking or damaging lock or latching mechanism.

2. Single-Point Latching:  Nonmoving latch hook [designed to engage bolt of built-in combination or cylinder lock] [with steel padlock loop that projects through recessed cup and is finished to match metal locker body].

a. Latch Hook:  Equip each door with one latch hook, fabricated from 0.105-inch (2.66-mm) nominal-thickness steel sheet; welded midway up full-height door strike; with resilient silencer.

K. Door Handle and Latch for [Box] [16-Person] Lockers:  Stainless-steel strike plate with integral pull; with steel padlock loop that projects through metal locker door.

Retain one of first three paragraphs below.  Coordinate with type of latch handle retained.

L. Combination Padlocks:  [Key-controlled, three-number dialing combination locks; capable of five combination changes] [Provided by Owner].

M. Built-in Combination Locks:  Key-controlled, three-number dialing combination locks; capable of at least five combination changes made automatically with a control key.

1. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

Locks in first paragraph below are deadbolt locks, surface mounted on inside of door, with only the cylinder exposed on outside; revise to suit Project.

N. Cylinder Locks:  Built-in, flush, cam locks with five-pin tumbler keyway, keyed separately and master keyed.  Furnish two change keys for each lock and [two] <Insert number> master keys.

Retain last option in first subparagraph below for accessible lockers.

1. Key Type:  [Flat] [Grooved][, with minimum 2- by 2.68-inch (51- by 68.3-mm) key head for accessible lockers].

2. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

O. Equipment:  Equip each metal locker with identification plate and the following unless otherwise indicated:

Revise first three subparagraphs below to suit Project.

1. Single-Tier Units:  Shelf, one double-prong ceiling hook, and two single-prong wall hooks.

Double-tier, triple-tier, and box units in first two subparagraphs below do not typically contain shelves.

2. Double-Tier Units:  One double-prong ceiling hook and two single-prong wall hooks.

3. [Triple-Tier] [Box] Units:  One double-prong ceiling hook.

4. Coat Rods:  As indicated on Drawings.

Retain last subparagraph above or one or more of three subparagraphs below.

5. Coat Rods:  For each compartment of [single-tier] [double-tier] [and] [triple-tier] metal lockers.

6. Coat Rods:  In lieu of ceiling hook for metal lockers 24 inches (610 mm) high or more.

7. Coat Rods:  In lieu of ceiling hook for metal lockers 18 inches (457 mm) deep or more.

P. Accessories:

Retain first subparagraph below if no concrete base or continuous metal base is required.  Revise if integral extended legs with benches are required for food-industry-type metal lockers.

1. Legs:  6 inches (152 mm) high; formed by extending vertical frame members, or fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet; welded to bottom of locker.

Retain first subparagraph below if leg space is closed.  Front bases fit between front legs and flush with locker front; end bases fit between front and rear legs at end of a row and flush with locker sides.

a. Closed Front and End Bases:  Fabricated from 0.036-inch (0.91-mm) nominal-thickness steel sheet.

Retain first subparagraph below if continuous zee base is required.  Zee bases create an overhang or "toe space" for lockers.

2. Continuous Zee Base:  Fabricated from [0.060-inch (1.52-mm)] [0.075-inch (1.90-mm)] [manufacturer's standard thickness, but not less than 0.060-inch (1.52-mm)] nominal-thickness steel sheet.

a. Height:  [4 inches (102 mm)] <Insert dimension>.

Retain one of first two subparagraphs below or delete both.  Continuous sloping tops are installed in addition to separate flat tops; individual sloping tops are installed in lieu of flat tops.

3. Continuous Sloping Tops:  Fabricated from [0.036-inch (0.91-mm)] [0.048-inch (1.21-mm)] [manufacturer's standard thickness, but not less than 0.036-inch (0.91-mm)] nominal-thickness steel sheet.

a. Closures:  [Vertical] [Hipped]-end type.

Retain first subparagraph below where two runs of metal lockers meet at right angles.

b. Sloping-top corner fillers, mitered.

4. Individual Sloping Tops:  Fabricated from 0.024-inch (0.61-mm) nominal-thickness steel sheet.

Retain first subparagraph below if required for recessed metal lockers.

5. Recess Trim:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

Panels in first subparagraph below are for filling gaps between groups of metal lockers created by columns, piping, and other obstructions; retain if required.

6. Filler Panels:  Fabricated from [0.036-inch (0.91-mm)] [0.048-inch (1.21-mm)] [manufacturer's standard thickness, but not less than 0.036-inch (0.91-mm)] nominal-thickness steel sheet.

Retain one of first two subparagraphs below if end panels are required.  Boxed end panels conceal all fasteners and holes and are in addition to standard ends that permit fasteners and unused holes to be exposed.  Finished end panels attach directly to ends of metal lockers and cover unused penetrations and fasteners except for perimeter fasteners.  See Evaluations.

7. Boxed End Panels:  Fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet.

8. Finished End Panels:  Fabricated from 0.024-inch (0.61-mm) nominal-thickness steel sheet.

Center dividers in subparagraph below are for single-tier lockers for two people sharing a locker or for separating work/athletic clothing from street clothing.

9. Center Dividers:  Fabricated from 0.024-inch (0.61-mm) nominal-thickness steel sheet.

Q. Finish:  [Baked enamel] [or] [powder coat].

If retaining last option in subparagraph below, identify parts of metal lockers to receive different colors.

1. Color(s):  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Two colors, with door one color and frame and body another color; as selected by Architect from manufacturer's full range].

2.3 HEAVY-DUTY METAL LOCKERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

A. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1. Art Metal Products; [Bulldog] [Champ] Corridor Lockers.

2. DeBourgh Mfg. Co.; Sentry Corridor/Personnel Lockers.

3. List Industries Inc.; Marquis Protector.

4. Lyon Workspace Products, LLC; [All-Welded] [Integrated Frame] Lockers.

5. Penco Products, Inc.; [All-Welded] [All-Welded Defiant SPL] Lockers.

6. <Insert manufacturer's name; product name or designation>.

B. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. <Insert manufacturer's name>.

C. Locker Arrangement:  [Single tier] [Double tier] [Triple tier] [As indicated on Drawings] <Insert configuration>.

D. Material:  Cold-rolled steel sheet.

If acceptable, revise assembly and material requirements in first paragraph below to allow knocked-down metal lockers such as ASI's "Traditional Plus Collection," Lyon's "Heavy-Duty Lockers," and Republic's "Heavy-Duty Corridor Lockers."  Such lockers are of knocked-down construction but with heavier body components than required in "Standard Metal Lockers" Article.

E. Body:  Assembled by welding body components together.  Fabricate from unperforated steel sheet with thicknesses as follows:

1. Tops, Bottoms, and Sides:  0.060-inch (1.52-mm) nominal thickness.

2. Backs:  0.048-inch (1.21-mm) nominal thickness.

3. Shelves:  0.060-inch (1.52-mm) nominal thickness, with double bend at front and single bend at sides and back.

If needed, revise first paragraph below for hollow-T tubular frame, which is available only from List Industries.

F. Frames:  Channel formed; fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet; lapped and factory welded at corners; with top and bottom main frames factory welded into vertical main frames.  Form continuous, integral door strike full height on vertical main frames.

Retain subparagraph below if required; cross frames between tiers are not offered by all manufacturers.

1. Cross Frames between Tiers:  Channel formed and fabricated from same material as main frames; welded to vertical main frames.

G. Doors:  One piece; fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet; formed into channel shape with double bend at vertical edges and with right-angle single bend at horizontal edges.

1. Reinforcement:  Manufacturer's standard reinforcing angles, channels, or stiffeners for doors more than 15 inches (381 mm) wide; welded to inner face of doors.

2. Door Style:

Retain one of three subparagraphs below.

a. Louvered Vents:  No fewer than [six louver openings at top and bottom for single-tier] [three louver openings at top and bottom for double-tier] [two louver openings at top and bottom, or three louver openings at top or bottom, for triple-tier] <Insert configuration> lockers.

b. Security Vents:  Manufacturer's standard, stamped horizontal or vertical.

Revise subparagraph below if a specific shape of perforation is needed.

c. Perforated Vents:  [Manufacturer's standard shape and configuration] <Insert shape and configuration>.

Retain option in first paragraph below if self-closing hinges are required.

H. Hinges:  Welded to door and attached to door frame with no fewer than two factory-installed rivets per hinge that are completely concealed and tamper resistant when door is closed; fabricated to swing 180 degrees[; self-closing].

Retain one of two subparagraphs below.

1. Knuckle Hinges:  Steel, full loop, five or seven knuckles, tight pin; minimum 2 inches (51 mm) high.  Provide no fewer than three hinges for each door more than 42 inches (1067 mm) high.

2. Continuous Hinges:  Manufacturer's standard, steel, full height.

I. Recessed Door Handle and Latch:  Stainless-steel cup with integral door pull, recessed so locking device does not protrude beyond face of door; pry and vandal resistant.

1. Multipoint Latching:  Finger-lift latch control designed for use with built-in combination locks or padlocks; positive automatic latching and prelocking.

a. Latch Hooks:  Equip [doors 48 inches (1219 mm) and higher with three latch hooks] [and] [doors less than 48 inches (1219 mm) high with two latch hooks]; fabricated from 0.120-inch (3.04-mm) nominal-thickness steel sheet; welded to full-height door strikes; with resilient silencer on each latch hook.

b. Latching Mechanism:  Manufacturer's standard, rattle-free latching mechanism and moving components isolated to prevent metal-to-metal contact, and incorporating a prelocking device that allows locker door to be locked while door is open and then closed without unlocking or damaging lock or latching mechanism.

2. Single-Point Latching:  Nonmoving latch hook [designed to engage bolt of built-in combination or cylinder lock] [with steel padlock loop that projects through recessed cup and is finished to match metal locker body].

a. Latch Hook:  Equip each door with one latch hook, fabricated from 0.120-inch (3.04-mm) nominal-thickness steel sheet; welded midway up full-height door strike; with resilient silencer.

Retain one of first two paragraphs below.

J. Combination Padlocks:  [Key-controlled, three-number dialing combination locks; capable of five combination changes] [Provided by Owner].

K. Built-in Combination Locks:  Key-controlled, three-number dialing combination locks; capable of at least five combination changes made automatically with a control key.

1. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

L. Equipment:  Equip each metal locker with identification plate and the following unless otherwise indicated:

Revise first three subparagraphs below to suit Project.

1. Single-Tier Units:  Shelf, one double-prong ceiling hook, and two single-prong wall hooks.

Double- and triple-tier units in first two subparagraphs below do not typically contain shelves.

2. Double-Tier Units:  One double-prong ceiling hook and two single-prong wall hooks.

3. Triple-Tier Units:  One double-prong ceiling hook.

4. Coat Rods:  As indicated on Drawings.

Retain last subparagraph above or one or more of three subparagraphs below.

5. Coat Rods:  For each compartment of [single-tier] [double-tier] [and] [triple-tier] metal lockers.

6. Coat Rods:  In lieu of ceiling hook for metal lockers 24 inches (610 mm) high or more.

7. Coat Rods:  In lieu of ceiling hook for metal lockers 18 inches (457 mm) deep or more.

M. Accessories:

Retain first subparagraph below if no concrete base or continuous metal base is required.  Revise if integral extended legs with benches are required for food-industry-type metal lockers.

1. Legs:  6 inches (152 mm) high; formed by extending vertical frame members, or fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet; welded to bottom of locker.

Retain first subparagraph below if leg space is closed.  Front bases fit between front legs and flush with locker front; end bases fit between front and rear legs at end of a row and flush with locker sides.

a. Closed Front and End Bases:  Fabricated from 0.036-inch (0.91-mm) nominal-thickness steel sheet.

Retain first subparagraph below if continuous zee base is required.  Zee bases create an overhang or "toe space" for lockers.

2. Continuous Zee Base:  Fabricated from, [0.060-inch (1.52-mm)] [0.075-inch (1.90-mm)] [manufacturer's standard thickness, but not less than 0.060-inch (1.52-mm)] nominal-thickness steel sheet.

a. Height:  [4 inches (102 mm)] <Insert dimension>.

3. Continuous Sloping Tops:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet, with a pitch of approximately 20 degrees.

a. Closures:  [Vertical] [Hipped]-end type.

Retain first subparagraph below if required for recessed metal lockers.

4. Recess Trim:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

Panels in first subparagraph below are for filling gaps between groups of metal lockers created by columns, piping, and other obstructions; retain if required.

5. Filler Panels:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

Boxed end panels in subparagraph below conceal all fasteners and holes and are in addition to standard ends that permit fasteners and unused holes to be exposed.  See Evaluations.

6. Boxed End Panels:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

N. Finish:  [Baked enamel] [or] [powder coat].

If retaining last option in subparagraph below, identify parts of metal lockers to receive different colors.

1. Color(s):  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Two colors, with door one color and frame and body another color; as selected by Architect from manufacturer's full range].

2.4 ATHLETIC METAL LOCKERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

A. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1. All-Welded, Athletic Metal Lockers:

a. Art Metal Products; [Box] [Bulldog Athletic] [Champ Athletic] [Turn-Handle Athletic] Lockers.

b. DeBourgh Mfg. Co.; [P.E.] [Physical Education] [Sentry] [Sophomore] [Varsity] Lockers.

c. List Industries Inc.; [Gym Class] [Gym Class II] [Intramural] [Jr. Varsity] [Marquis Champion] [Varsity] Lockers.

d. Lyon Workspace Products, LLC; [All-Welded Expanded Metal] [Integrated Frame All-Welded] Lockers.

e. Penco Products, Inc.; All-Welded Lockers.

f. Republic Storage Systems Company; All-Welded Ventilated Lockers.

g. <Insert manufacturer's name; product name or designation>.

2. Knocked-Down, Athletic Metal Lockers:

a. Art Metal Products; HDV Lockers.

b. ASI Storage Solutions Inc.; Competitor Collection.

c. General Storage Systems Ltd.; [Heavy-Duty] [Mod-U-Vent] [Mod-U-Vent II] Ventilated Locker.

d. Hadrian Manufacturing Inc.; Gladiator Lockers.

e. List Industries Inc.; HDV Lockers.

f. Lyon Workspace Products, LLC; Expanded Metal Lockers.

g. Penco Products, Inc.; Invincible II Lockers.

h. Republic Storage Systems Company; Heavy Duty Ventilated Lockers.

i. Shanahan's Manufacturing Limited; Pinnacle Lockers.

j. <Insert manufacturer's name; product name or designation>.

B. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. <Insert manufacturer's name>.

C. Locker Arrangement:  [Single tier] [Double tier] [Triple tier] [Box] [As indicated on Drawings] <Insert configuration>.

Retain second option in first paragraph below for lockers in very damp locations or for those requiring additional corrosion protection.  Lockers fabricated from metallic-coated steel sheet are upgrades and available only from General, Hadrian, Lyon, and Republic.  Coordinate with "Materials" Article.

D. Material:  [Cold-rolled] [Metallic-coated] steel sheet.

Retain first option in first paragraph below if all-welded lockers are required; retain second option if knocked-down lockers are required.

E. Body:  Assembled by [welding] [or] [riveting or bolting] body components together.  Fabricate from unperforated steel sheet with thicknesses as follows:

1. Tops and Bottoms:  0.060-inch (1.52-mm) nominal thickness, with single bend at edges.

2. Backs:  0.048-inch (1.21-mm) nominal thickness.

3. Shelves:  0.060-inch (1.52-mm) nominal thickness, with double bend at front and single bend at sides and back.

Retain one of first three paragraphs below.

F. Unperforated Sides:  Fabricated from [0.048-inch (1.21-mm)] [0.060-inch (1.52-mm)] nominal-thickness steel sheet.

G. Perforated Sides:  Fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet with manufacturer's standard diamond perforations.

H. Expanded-Metal Sides:  Fabricated from 0.090-inch (2.28-mm) nominal-thickness expanded metal; welded to 0.105-inch (2.66-mm) nominal-thickness steel angles or 0.060-inch (1.52-mm) nominal-thickness steel channel frames.

I. Frames:  Channel formed; fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet or 0.097-inch (2.45-mm) nominal-thickness steel angles; lapped and factory welded at corners; with top and bottom main frames factory welded into vertical main frames.  Form continuous, integral door strike full height on vertical main frames.

Retain subparagraph below if required; cross frames between tiers are not offered by all manufacturers.

1. Cross Frames for [Double-Tier] [Triple-Tier] Lockers:  Channel formed and fabricated from same material as main frames; welded to vertical main frames.

Retain first paragraph below if required; reinforced bottom is optional feature with some manufacturers.

J. Reinforced Bottoms:  Structural channels, formed from [0.060-inch (1.52-mm)] [0.075-inch (1.90-mm)] nominal-thickness steel sheet; welded to front and rear of side-panel frames.

Retain one of first two paragraphs below.

K. Perforated Doors:  One piece; fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet with manufacturer's standard diamond perforations; formed into channel shape with double bend at [vertical edges and with right-angle single bend at horizontal edges] [and] [latch point (bottom) and right-angle single bend at remaining edges for box lockers].

1. Reinforcement:  Manufacturer's standard reinforcing angles, channels, or stiffeners for doors more than 15 inches (381 mm) wide; welded to inner face of doors.

First paragraph below applies to DeBourgh's "Varsity Lockers" and Lyon's single-, double-, and triple-tier "All-Welded Expanded Metal Lockers."

L. Expanded-Metal Doors:  Fabricated from 0.090-inch (2.28-mm) nominal-thickness expanded metal; welded to 0.105-inch (2.66-mm) nominal-thickness steel angle frame; with 0.090-inch (2.28-mm) nominal-thickness, steel sheet lock panel backed by 0.060-inch (1.52-mm) nominal-thickness steel sheet retainer welded to door frame.

Revise first paragraph below to suit Project; a few manufacturers use hinges that are more than 2 inches (51 mm) high. Retain option if self-closing hinges are required.

M. Hinges:  Welded to door and attached to door frame with no fewer than two factory-installed rivets per hinge that are completely concealed and tamper resistant when door is closed; fabricated to swing 180 degrees[; self-closing].

Retain one of three subparagraphs below.

1. Knuckle Hinges:  Steel, full loop, five or seven knuckles, tight pin; minimum 2 inches (51 mm) high.  Provide no fewer than three hinges for each door more than 42 inches (1067 mm) high.

2. Continuous Hinges:  Manufacturer's standard, steel; side or top mounted as required by locker configuration.

3. Hinges:  Manufacturer's standard, steel continuous or knuckle type.

Retain one of first three paragraphs below.  First two paragraphs are for single-, double-, and triple-tier lockers.  Third paragraph is for box lockers.

N. Recessed Door Handle and Latch:  Stainless-steel cup with integral door pull, recessed so locking device does not protrude beyond face of door; pry and vandal resistant.

1. Multipoint Latching:  Finger-lift latch control designed for use with built-in combination locks, built-in cylinder locks, or padlocks; positive automatic latching and prelocking.

a. Latch Hooks:  Equip [doors 48 inches (1219 mm) and higher with three latch hooks] [and] [doors less than 48 inches (1219 mm) high with two latch hooks]; fabricated from 0.120-inch (3.04-mm) nominal-thickness steel sheet; welded to full-height door strikes; with resilient silencer on each latch hook.

b. Latching Mechanism:  Manufacturer's standard, rattle-free latching mechanism and moving components isolated to prevent metal-to-metal contact, and incorporating a prelocking device that allows locker door to be locked while door is open and then closed without unlocking or damaging lock or latching mechanism.

2. Single-Point Latching:  Nonmoving latch hook [designed to engage bolt of built-in combination or cylinder lock] [with steel padlock loop that projects through recessed cup and is finished to match metal locker body].

a. Latch Hook:  Equip each door with one latch hook, fabricated from 0.120-inch (3.04-mm) nominal-thickness steel sheet; welded midway up full-height door strike; with resilient silencer.

O. Projecting Turn-Handle and Latch:  Steel handle welded to manufacturer's standard, three-point, cremone-type latching mechanism consisting of steel rods or bars that engage main locker frame at top and bottom of door, and center latch that engages strike jamb; with steel padlock loop.

P. Door Handle and Latch for Box Lockers:  Stainless-steel strike plate with integral pull; with steel padlock loop that projects through metal locker door.

Retain one of first three paragraphs below.

Q. Combination Padlocks:  [Key-controlled, three-number dialing combination locks; capable of five combination changes] [Provided by Owner].

R. Built-in Combination Locks:  Key-controlled, three-number dialing combination locks; capable of at least five combination changes made automatically with a control key.

1. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

Locks in first paragraph below are deadbolt locks, surface mounted on inside of door, with only the cylinder exposed on outside; revise to suit Project.

S. Cylinder Locks:  Built-in, flush, cam locks with five-pin tumbler keyway, keyed separately and master keyed.  Furnish two change keys for each lock and [two] <Insert number> master keys.

Retain last option in first subparagraph below for accessible lockers.

1. Key Type:  [Flat] [Grooved][, with minimum 2- by 2.68-inch (51- by 68.3-mm) key head for accessible lockers].

2. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

T. Equipment:  Equip each metal locker with identification plate and the following unless otherwise indicated:

Revise first three subparagraphs below to suit Project.

1. Single-Tier Units:  Shelf, one double-prong ceiling hook, and two single-prong wall hooks.

Double- and triple-tier units in first two subparagraphs below do not typically contain shelves.

2. Double-Tier Units:  One double-prong ceiling hook and two single-prong wall hooks.

3. Triple-Tier Units:  One double-prong ceiling hook.

4. Coat Rods:  As indicated on Drawings.

Retain last subparagraph above or one or more of three subparagraphs below.

5. Coat Rods:  For each compartment of [single-tier] [double-tier] [and] [triple-tier] metal lockers.

6. Coat Rods:  In lieu of ceiling hook for metal lockers 24 inches (610 mm) high or more.

7. Coat Rods:  In lieu of ceiling hook for metal lockers 18 inches (457 mm) deep or more.

U. Accessories:

Retain first subparagraph below if no concrete base or continuous metal base is required.  Verify availability with manufacturers.

1. Legs:  6 inches (152 mm) high; formed by extending vertical frame members, or fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet; welded to bottom of locker.

Retain first subparagraph below if leg space is closed.  Front bases fit between front legs and flush with locker front; end bases fit between front and rear legs at end of a row and flush with locker sides.

a. Closed Front and End Bases:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

Retain first subparagraph below if continuous zee base is required.  Zee bases create an overhang or "toe space" for lockers.

2. Continuous Zee Base:  4 inches (102 mm) high; fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet.

3. Continuous Sloping Tops:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet, with a pitch of approximately 20 degrees.

a. Closures:  [Vertical] [Hipped]-end type.

Retain first subparagraph below if required for recessed metal lockers.

4. Recess Trim:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

Panels in first subparagraph below are for filling gaps between groups of metal lockers created by columns, piping, and other obstructions; retain if required.

5. Filler Panels:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

Boxed end panels in subparagraph below conceal all fasteners and holes and are in addition to standard ends that permit fasteners and unused holes to be exposed.  See Evaluations.

6. Boxed End Panels:  Fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet.

V. Finish:  [Baked enamel] [or] [powder coat].

If retaining last option in subparagraph below, identify parts of metal lockers to receive different colors.

1. Color(s):  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Two colors, with door one color and frame and body another color; as selected by Architect from manufacturer's full range].

2.5 OPEN-FRONT ATHLETIC METAL LOCKERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

A. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1. All-Welded, Open-Front Athletic Metal Lockers:

a. DeBourgh Mfg. Co.; [All Sport] [Open Front with Security Compartment] Lockers.

b. List Industries Inc.; [All-Star] [All-Star Jr.] [MVP] [Rookie] [Touchdown] Lockers.

c. Lyon Workspace Products, LLC; [Collegiate] [Deluxe Collegiate] Lockers.

d. Penco Products, Inc.; Stadium Lockers.

e. <Insert manufacturer's name; product name or designation>.

2. Knocked-Down, Open-Front Athletic Metal Lockers:

a. ASI Storage Solutions Inc.; Pro Collection.

b. Hadrian Manufacturing Inc.; Gladiator Open Front Hockey Lockers.

c. Lyon Workspace Products, LLC; [Collegiate] [Deluxe Collegiate] Lockers.

d. Penco Products, Inc.; Stadium Lockers.

e. Republic Storage Systems Company; MVP Lockers.

f. <Insert manufacturer's name; product name or designation>.

B. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. <Insert manufacturer's name>.

Coordinate configuration in first paragraph below with manufacturers.

C. Locker Arrangement:  Open front, with [seat/shelf] [seat/footlocker] [upper shelf] [upper shelf with security box] [and] [full-width security compartment] [configuration as indicated on Drawings].

Retain second option in first paragraph below for lockers in very damp locations or for those requiring additional corrosion protection.  Lockers fabricated from metallic-coated steel sheet are upgrades and available only from Hadrian, Lyon, and Republic.  Coordinate with "Materials" Article.

D. Material:  [Cold-rolled] [Metallic-coated] steel sheet.

Retain first option in first paragraph below if all-welded lockers are required; retain second option if knocked-down lockers are required.

E. Body:  Assembled by [welding] [or] [riveting or bolting] body components together.  Fabricate from unperforated steel sheet with thicknesses as follows:

1. Tops and Bottoms:  0.060-inch (1.52-mm) nominal thickness, with single bend at edges.

2. Backs:  0.048-inch (1.21-mm) nominal thickness.

3. Shelves:  0.060-inch (1.52-mm) nominal thickness, with double bend at front and single bend at sides and back.

Retain one of first three paragraphs below.

F. Unperforated Sides:  Fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet.

G. Perforated Sides:  Fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet with manufacturer's standard diamond perforations.  Perforations shall not occur [above upper shelf] [at security compartment] [or] [at seat/footlocker].

H. Expanded-Metal Sides:  Fabricated from 0.090-inch (2.28-mm) nominal-thickness expanded metal; welded to 0.105-inch (2.66-mm) nominal-thickness steel angles or 0.060-inch (1.52-mm) nominal-thickness steel channel frames.

I. Frames:  Channel formed; fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet or 0.105-inch (2.66-mm) nominal-thickness steel angles; lapped and factory welded at corners; with top and bottom main frames factory welded into vertical main frames.

Retain first paragraph below if required; reinforced bottom is optional feature with some manufacturers.

J. Reinforced Bottoms:  Structural channels, formed from 0.075-inch (1.90-mm) nominal-thickness steel sheet; welded to front and rear of side-panel frames.

K. Seats/Shelves:  Full width of metal locker; channel formed; fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet; with stiffeners for reinforcement.

L. Seats/Footlockers:  Enclosure full width of bottom of metal locker; fabricated from cold-rolled steel sheet.

1. Seat/Lid:  0.075-inch (1.90-mm) nominal-thickness steel sheet; channel formed and reinforced with stiffeners; with manufacturer's standard, steel continuous hinge that is completely concealed and tamper resistant when seat/lid is closed; with padlock hasp.

2. Front Panel:  0.075-inch (1.90-mm) nominal-thickness steel sheet; channel formed at top edge; with minilouvers for ventilation; recessed for padlock loop.

Coordinate options in subparagraph below with type of sides retained.

3. Sides:  [Integral part of unperforated] [Unperforated bottom portions of perforated] [0.060-inch (1.52-mm) nominal-thickness steel sheet inside expanded-metal] sides.

M. Security Boxes:  Consisting of partition extending from upper shelf to top of metal locker, fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet; with channel-formed, 0.060-inch (1.52-mm) nominal-thickness, steel sheet door frame, and door fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet with right-angle single bend at edges; with manufacturer's standard, steel continuous hinge that is completely concealed and tamper resistant when door is closed; fabricated to swing 180 degrees.

1. Single-Point Latching:  Stainless-steel strike plate with integral pull; with steel, nonmoving latch hook [designed to engage bolt of built-in combination or cylinder lock] [with steel padlock loop that projects through door and is finished to match metal locker body].

N. Security Compartments:  Full width of metal locker, with door fabricated from 0.075-inch (1.90-mm) nominal-thickness steel sheet.

Retain one of first three paragraphs below.

O. Combination Padlocks:  [Key-controlled, three-number dialing combination locks; capable of five combination changes] [Provided by Owner].

P. Built-in Combination Locks:  Key-controlled, three-number dialing combination locks; capable of at least five combination changes made automatically with a control key.

1. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

Locks in first paragraph below are deadbolt locks, surface mounted on inside of door, with only the cylinder exposed on outside; revise to suit Project.

Q. Cylinder Locks:  Built-in, flush, cam locks with five-pin tumbler keyway, keyed separately and master keyed.  Furnish two change keys for each lock and [two] <Insert number> master keys.

Retain last option in first subparagraph below for accessible lockers.

1. Key Type:  [Flat] [Grooved][, with minimum 2- by 2.68-inch (51- by 68.3-mm) key head for accessible lockers].

2. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

R. Equipment:  Equip each metal locker with identification plate and the following unless otherwise indicated:

1. Two single-prong wall hooks bolted to locker back.

2. Coat rod and two rod holders.

S. Accessories:

1. Continuous Sloping Tops:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet, with a pitch of approximately 20 degrees.

a. Closures:  [Vertical] [Hipped]-end type.

Retain first subparagraph below if required for recessed metal lockers.

2. Recess Trim:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

Panels in first subparagraph below are for filling gaps between groups of metal lockers created by columns, piping, and other obstructions; retain if required.

3. Filler Panels:  Fabricated from 0.048-inch (1.21-mm) nominal-thickness steel sheet.

Boxed end panels in subparagraph below conceal all fasteners and holes and are in addition to standard ends that permit fasteners and unused holes to be exposed.  See Evaluations.

4. Boxed End Panels:  Fabricated from 0.060-inch (1.52-mm) nominal-thickness steel sheet.

T. Finish:  [Baked enamel] [or] [powder coat].

If retaining last option in subparagraph below, identify parts of metal lockers to receive different colors.

1. Color(s):  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Two colors; as selected by Architect from manufacturer's full range].

2.6 COIN-OPERATED METAL LOCKERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

A. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1. American Locker Security Systems, Inc.; [Ambassador] [Statesman] Locker.

2. Secura Coin Locker; Secura Coinlock.

3. Shanahan's Manufacturing Limited; [President] [Senator] Series.

4. Tiffin Metal Products; Sentinel Locker.

5. <Insert manufacturer's name; product name or designation>.

B. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. <Insert manufacturer's name>.

Retain one of first two paragraphs below.

C. Steel Lockers:  Fabricated from cold-rolled steel sheet with thicknesses as follows:

1. Tops, Bottoms, Sides, and Shelves:  0.024-inch (0.61-mm) nominal thickness.

2. Backs:  0.036-inch (0.91-mm) nominal thickness.

3. Frames:  0.060-inch (1.52-mm) nominal thickness.

4. Doors:  0.060-inch (1.52-mm) nominal thickness.

Delete subparagraph below if all metal lockers are recessed.

5. Exposed Ends of Nonrecessed Lockers:  0.060-inch (1.52-mm) nominal thickness.

D. Stainless-Steel Lockers:  Fabricated from stainless-steel sheet with thicknesses and finishes as follows:

1. Tops, Bottoms, Sides, Backs, and Shelves:  0.025 inch (0.64 mm) thick, with No. 2B finish.

2. Frames:  0.062 inch (1.59 mm) thick, with No. 3 or No. 4 finish.

3. Doors:  0.062 inch (1.59 mm) thick, with manufacturer's standard patterned finish.

Delete subparagraph below if all metal lockers are recessed.

4. Exposed Ends of Nonrecessed Lockers:  0.062 inch (1.59 mm) thick, with No. 3 or No. 4 finish.

E. Body:  Assembled by welding or riveting body components to frames using manufacturer's standard aluminum or stainless-steel rivets; flanged for double thickness at back vertical corners; back ventilated.

F. Frames:  Channel formed; lapped and welded at corners; with top, bottom, and cross frames welded into vertical main frames.  Form continuous, integral door strike full height on vertical main frames, and equip frames with resilient bumpers to cushion door closing.

Retain subparagraph below if required; cross frames between tiers are not offered by all manufacturers.

1. Cross Frames between Tiers:  Channel formed and fabricated from same material as main frames; welded to vertical main frame.

G. Doors:  One piece; formed into channel shape at vertical edges and flanged at right angles at horizontal edges; fabricated to swing 180 degrees.  Brace or reinforce inner face of doors with manufacturer's standard reinforcing angles, channels, or stiffener panels.

Retain last option in first paragraph below if self-closing hinges are required.

H. Hinges:  Manufacturer's standard, [full-loop, five- or seven-knuckle type; tight pin; minimum 2-1/2 inches (64 mm) high] [or] [continuous type], of same material as door[; self-closing].  Weld hinge to inside of door frame and attach hinge to door with factory-installed fasteners that are completely concealed and tamper resistant when door is closed.

1. Provide at least three hinges for each door more than 42 inches (1067 mm) high.

I. Projecting Door Handle:  Manufacturer's standard; stainless steel; pry and vandal resistant.

Master keys in first paragraph below require that the correct fee be inserted.

J. Built-in, Coin-Operated Locks:  Self-contained units mounted on interior of door with replaceable lock cylinders keyed separately and master keyed.  Mount instruction decals on both faces of door.  Furnish one change key for each lock and one master key.

1. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

2. Lock Type:  Fee [return/deposit] [collect/pay].

3. Fee Type:  [Token] [Coin, one quarter] [Coin, two quarters].

4. Coin Box:  Manufacturer's standard housing or stainless-steel cash box with stainless-steel flanged cover set into base of lock channel frame.  Furnish with removable cylinder and key, and master code changer key.

Retain paragraph below for steel coin-operated metal lockers; delete for stainless steel.

K. Finish:  [Baked enamel] [or] [powder coat].

If retaining last option in subparagraph below, identify parts of metal lockers to receive different colors.

1. Color(s):  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Two colors, with door one color and frame and body another color; as selected by Architect from manufacturer's full range].

2.7 KEYLESS LOCKS

Locks in this article, which are often used for accessible lockers, are available from locker manufacturers on a limited basis and are typically not standard equipment.  Retain if required and indicate types of metal lockers that are to be so equipped.

Card-operated locks in first paragraph below require surface-mounted projecting handles.

A. Built-in, Card-Operated Locks:  Self-contained units mounted on interior of door with replaceable lock cylinders keyed separately and master keyed.  Mount instruction decals on both faces of door.  Furnish one change card key for each lock and one master card key.

1. Bolt Operation:  [Manually locking deadbolt] [or] [automatically locking spring bolt].

B. Digital Keypad Locks:  Battery-powered electronic keypad with reprogrammable manager and owner codes that override access.  Three consecutive incorrect code entries shall disable lock for three minutes.

Retain one of two subparagraphs below.

1. Designed for permanently assigned access via entry of user's four-digit code.

2. Designed for shared or temporary access by multiple users, with user-defined code to lock and unlock.  Provide LED indicator to show when lock is in use.

2.8 LOCKER BENCHES

A. Provide bench units with overall assembly height of [17-1/2 inches (445 mm)] <Insert dimension>.

B. Bench Tops:  Manufacturer's standard one-piece units, with rounded corners and edges.

Retain option in first subparagraph below for accessible benches.

1. Size:  Minimum 9-1/2 inches wide by 1-1/4 inches thick (241 mm wide by 32 mm thick)[ except provide minimum 20-inch- (508-mm-) wide tops where accessible benches are indicated].

Retain one of three subparagraphs below.  Retain first or third paragraph if urea-formaldehyde-free materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

2. Laminated clear hardwood with one coat of clear sealer on all surfaces and one coat of clear lacquer on top and sides.

3. Plastic laminate over particleboard core, with two steel tubes running full length of top and positioned to receive pedestal fasteners.

a. Color:  [Match metal lockers] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

4. Extruded aluminum with clear anodic finish.

Retain one of two paragraphs below.

C. Fixed Pedestals:  Manufacturer's standard supports, with predrilled fastener holes for attaching bench top and anchoring to floor, complete with fasteners and anchors, and as follows:

Retain one of two subparagraphs below or revise to suit Project.

1. Tubular Steel:  1-1/2-inch- (38-mm-) diameter steel tubing threaded on both ends, with standard pipe flange at top and bell-shaped cast-iron base; with baked-enamel or powder-coat finish; anchored with exposed fasteners.

a. Color:  [Match metal lockers] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Tubular Steel:  1-1/4-inch- (32-mm-) diameter steel tubing, with 0.1265-inch- (3.2-mm-) thick steel flanges welded at top and base; with [baked-enamel] [zinc-plated] finish; anchored with exposed fasteners.

Retain subparagraph below if retaining "baked-enamel" option in last subparagraph above.

a. Color:  [Match metal lockers] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

D. Freestanding Pedestals:  Manufacturer's standard supports, with predrilled fastener holes for attaching bench top, complete with fasteners, and as follows:

Retain one of two subparagraphs below or revise to suit manufacturer's proprietary product.

1. Aluminum:  1/8-inch-thick by 3-inch-wide (3-mm-thick by 76-mm-wide) channel or 1/4-inch-thick by 3-inch-wide (6-mm-thick by 76-mm-wide) bar stock, shaped into [trapezoidal] [inverted-T] form; with nonskid pads at bottom.

a. Finish:  [Clear] [Black] [Gold] anodic finish.

2. Stainless Steel:  1/8-inch-thick by 3-inch-wide (3-mm-thick by 76-mm-wide) channel or 1/4-inch-thick by 3-inch-wide (6-mm-thick by 76-mm-wide) bar stock, shaped into trapezoidal form; with nonskid pads at bottom.  Add finish.

2.9 FABRICATION

A. Fabricate metal lockers square, rigid, and without warp and with metal faces flat and free of dents or distortion.  Make exposed metal edges safe to touch and free of sharp edges and burrs.

1. Form body panels, doors, shelves, and accessories from one-piece steel sheet unless otherwise indicated.

2. Provide fasteners, filler plates, supports, clips, and closures as required for complete installation.

B. Fabricate each metal locker with an individual door and frame; individual top, bottom, and back; and common intermediate uprights separating compartments.  Factory weld frame members of each metal locker together to form a rigid, one-piece assembly.

Retain one or both of first two paragraphs below.  Coordinate with products selected.

C. Knocked-Down Construction:  Fabricate metal lockers using nuts, bolts, screws, or rivets for [nominal assembly at Project site] [preassembly at plant prior to shipping].

D. All-Welded Construction:  Factory preassemble metal lockers by welding all joints, seams, and connections; with no bolts, nuts, screws, or rivets used in assembly of main locker groups.  Factory weld main locker groups into one-piece structures.  Grind exposed welds flush.

E. Accessible Lockers:  Fabricate as follows:

1. Locate bottom shelf no lower than 15 inches (381 mm) above the floor.

2. Where hooks, coat rods, or additional shelves are provided, locate no higher than 48 inches (1219 mm) above the floor.

F. Hooks:  Manufacturer's standard ball-pointed type, aluminum or steel; zinc plated.

G. Coat Rods:  Fabricated from [1-inch- (25-mm-)] [3/4-inch- (19-mm-)] diameter steel, [chrome finished] [nickel plated].

H. Identification Plates:  Manufacturer's standard, etched, embossed, or stamped [aluminum] [plastic] plates, with numbers and letters at least 3/8 inch (9 mm) high.

I. Continuous Base:  Formed into channel or zee profile for stiffness, and fabricated in lengths as long as practical to enclose base and base ends of metal lockers; finished to match lockers.

J. Continuous Sloping Tops:  Fabricated in lengths as long as practical, without visible fasteners at splice locations; finished to match lockers.

Retain subparagraph below where two runs of metal lockers meet at right angles.

1. Sloping-top corner fillers, mitered.

K. Individual Sloping Tops:  Fabricated in width to fit one locker frame in lieu of flat locker tops; with integral back; finished to match lockers.  Provide wedge-shaped divider panels between lockers.

L. Recess Trim:  Fabricated with minimum 2-1/2-inch (64-mm) face width and in lengths as long as practical; finished to match lockers.

M. Filler Panels:  Fabricated in an unequal leg angle shape; finished to match lockers.  Provide slip-joint filler angle formed to receive filler panel.

N. Boxed End Panels:  Fabricated with 1-inch- (25-mm-) wide edge dimension, and designed for concealing fasteners and holes at exposed ends of nonrecessed metal lockers; finished to match lockers.

1. Provide one-piece panels for double-row (back-to-back) locker ends.

O. Finished End Panels:  Designed for concealing unused penetrations and fasteners, except for perimeter fasteners, at exposed ends of nonrecessed metal lockers; finished to match lockers.

1. Provide one-piece panels for double-row (back-to-back) locker ends.

P. Center Dividers:  Full-depth, vertical partitions between bottom and shelf; finished to match lockers.

2.10 STEEL SHEET FINISHES

A. Factory finish steel surfaces and accessories except stainless-steel and chrome-plated surfaces.

Finish in first paragraph below is standard one-coat finish available from most manufacturers.  Primer and finish coat (two-coat) systems for added corrosion resistance are also available from some manufacturers.

B. Baked-Enamel Finish:  Immediately after cleaning, pretreating, and phosphatizing, apply manufacturer's standard thermosetting baked-enamel finish.  Comply with paint manufacturer's written instructions for application, baking, and minimum dry film thickness.

C. Powder-Coat Finish:  Immediately after cleaning and pretreating, electrostatically apply manufacturer's standard, baked-polymer, thermosetting powder finish.  Comply with resin manufacturer's written instructions for application, baking, and minimum dry film thickness.

2.11 STAINLESS-STEEL FINISHES

A. Surface Preparation:  Remove tool and die marks and stretch lines, or blend into finish.

B. Polished Finishes:  Grind and polish surfaces to produce uniform finish, free of cross scratches.

Retain first subparagraph below for directional finishes.

1. Run grain of directional finishes with long dimension of each piece.

2. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine walls, floors, and support bases, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

B. Prepare written report, endorsed by Installer, listing conditions detrimental to performance of the Work.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General:  Install level, plumb, and true; shim as required, using concealed shims.

1. Anchor locker runs at ends and at intervals recommended by manufacturer, but not more than 36 inches (910 mm) o.c.  Using concealed fasteners, install anchors through backup reinforcing plates, channels, or blocking as required to prevent metal distortion.

2. Anchor single rows of metal lockers to walls near top [and bottom of lockers] [of lockers and to floor].

3. Anchor back-to-back metal lockers to floor.

Retain one of first two paragraphs below.  Coordinate with products selected.

B. Knocked-Down Metal Lockers:  Assemble with standard fasteners, with no exposed fasteners on door faces or face frames.

C. All-Welded Metal Lockers:  Connect groups together with standard fasteners, with no exposed fasteners on face frames.

D. Equipment and Accessories:  Fit exposed connections of trim, fillers, and closures accurately together to form tight, hairline joints, with concealed fasteners and splice plates.

1. Attach hooks with at least two fasteners.

2. Attach door locks on doors using security-type fasteners.

3. Identification Plates:  Identify metal lockers with identification indicated on Drawings.

a. Attach plates to each locker door, near top, centered, with at least two aluminum rivets.

b. Attach plates to upper shelf of each open-front metal locker, centered, with a least two aluminum rivets.

4. Attach recess trim to recessed metal lockers with concealed clips.

5. Attach filler panels with concealed fasteners.  Locate filler panels where indicated on Drawings.

6. Attach sloping-top units to metal lockers, with closures at exposed ends.

Retain one of two subparagraphs below; delete both if not required.

7. Attach boxed end panels with concealed fasteners to conceal exposed ends of nonrecessed metal lockers.

8. Attach finished end panels with fasteners only at perimeter to conceal exposed ends of nonrecessed metal lockers.

E. Fixed Locker Benches:  Provide no fewer than two pedestals for each bench, uniformly spaced not more than 72 inches (1830 mm) apart.  Securely fasten tops of pedestals to undersides of bench tops, and anchor bases to floor.

F. Freestanding Locker Benches:  Place benches in locations indicated on Drawings.

3.3 ADJUSTING, CLEANING, AND PROTECTION

A. Clean, lubricate, and adjust hardware.  Adjust doors and latches to operate easily without binding.[  Verify that integral locking devices operate properly.]

B. Protect metal lockers from damage, abuse, dust, dirt, stain, or paint.  Do not permit use during construction.

C. Touch up marred finishes, or replace metal lockers that cannot be restored to factory-finished appearance.  Use only materials and procedures recommended or furnished by locker manufacturer.

END OF SECTION 105113

	METAL LOCKERS
	105113 - 1



