Copyright 2005 AIA
MASTERSPEC Full Length
05/05 (R 05/06)

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 116623 - GYMNASIUM EQUIPMENT
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following gymnasium equipment:

Adjust list below to suit Project.

1. Basketball equipment.

2. Volleyball equipment.

3. Badminton equipment.

4. Exercise equipment.

5. Safety pads.

B. Related Sections include the following:

List below only products and equipment that the reader might expect to find in this Section but are specified elsewhere.

If floor insert sleeves are cast in concrete, retain applicable option in first subparagraph below.  If floor insert sleeves are grouted in place, retain second option for oversized recessed voids.

1. Division 03 Section "Cast-in-Place Concrete" for [installation of floor insert sleeves] [oversized recessed voids] to be cast in concrete slabs and footings.

2. Division 11 Section "Gymnasium Dividers."

3. Division 26 Sections for electrical service for motor operators, controls, and other powered devices for motorized gymnasium equipment.

1.3 DEFINITIONS

Retain abbreviations that remain after this Section has been edited.

A. FIBA:  International Basketball Federation (Federation Internationale de Basketball Amateur).

B. FIVB:  International Volleyball Federation (Federation Internationale de Volleyball).

C. IBF:  International Badminton Federation.

D. NAGWS:  The National Association for Girls and Women in Sport.

E. NCAA:  The National Collegiate Athletic Association.

F. NFHS:  The National Federation of State High School Associations.

G. USAV:  USA Volleyball.

1.4 PERFORMANCE REQUIREMENTS

Delete this Article if seismic design of basketball backboards is not required for Project.  Revise to indicate specific loads determined by Project's structural engineer or refer to loads indicated on Drawings.  Model building codes and ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

A. Seismic Performance:  Provide basketball backboards capable of withstanding the effects of earthquake motions determined according to [ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 9, "Earthquake Loads."] <Insert applicable code requirement.>

1.5 SUBMITTALS

A. Product Data:  For each type of product indicated.

1. If applicable, include assembly, disassembly, and storage instructions for removable equipment.

Retain subparagraph below for electric operation.

2. Motors:  Show nameplate data, ratings, characteristics, and mounting arrangements.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

1. Product Data for Credit EQ 4.4:  For particleboard, documentation indicating that product contains no urea formaldehyde.

C. Shop Drawings:  For gymnasium equipment.  Include plans, elevations, sections, details, attachments to other work, and the following:

1. Method of field assembly for removable equipment, connections, installation details, mountings, floor inserts, attachments to other work, and operational clearances.

2. Transport and storage accessories for removable equipment.

Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

D. Structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation including loads, point reactions, and locations for attachment of gymnasium equipment to structure.

Retain first paragraph below if Drawings do not include detailed plans or if Project involves unusual coordination requirements.

E. Coordination Drawings:  Court layout plans, drawn to scale, and coordinating floor inserts, game lines, and markers applied to finished flooring.

F. Samples for Initial Selection:  For each type of gymnasium equipment indicated.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph and subparagraphs below with or without above.

G. Samples for Verification:  For the following products:

Adjust list below to suit Project.

1. [Basketball] [Volleyball] [Badminton] Net:  Full size.

2. [Volleyball] [Badminton] Floor Insert:  Full-size unit.

3. [Volleyball] [Badminton] Post Standard:  Full-size unit[ with net tensioner].

4. Pad Fabric:  Not less than 3 inches (76 mm) square, with specified treatments applied.  Mark face of material.

H. Product Certificates:  For each type of gymnasium equipment, signed by product manufacturer.

Retain first option in first paragraph below if retaining "Installer Qualifications" Paragraph in "Quality Assurance" Article.  Retain second option if retaining paragraph, in "Submittals" Article above, for a qualified professional engineer to submit structural analysis data.

Coordinate below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

I. Qualification Data:  For [Installer] [professional engineer].

J. Operation and Maintenance Data:  For gymnasium equipment to include in emergency, operation, and maintenance manuals.

K. Warranty:  Special warranty specified in this Section.

1.6 QUALITY ASSURANCE

Consider retaining first paragraph below for extensive, complex installations; for custom-engineered equipment; for automatic operation of equipment; and for installations requiring floor inserts.  If retaining either option, verify availability with manufacturers.

A. Installer Qualifications:  [Fabricator of products] [An employer of workers trained and approved by manufacturer].

B. Source Limitations:  Obtain each type of gymnasium equipment through one source from a single manufacturer.

C. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

Retain paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

D. Composite Wood Products:  Made without urea formaldehyde.

1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Do not install gymnasium equipment until spaces are enclosed and weatherproof, wet work in spaces is complete and dry, and ambient temperature and humidity conditions are maintained at the levels indicated for Project when occupied for its intended use.

B. Field Measurements:  Verify position and elevation of floor inserts and layout for gymnasium equipment.

1.8 COORDINATION

A. Coordinate installation of floor inserts with structural floors and finish flooring installation and with court layout and game lines and markers on finish flooring.

B. Coordinate layout and installation of overhead-supported gymnasium equipment and suspension system components with other construction including light fixtures, HVAC equipment, fire-suppression-system components, and partition assemblies.

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of gymnasium equipment that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Basketball backboard failures including glass breakage.

b. Faulty operation of <Insert components>.

Verify available warranties for units and components and insert number below.

2. Warranty Period:  [Five] [10] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS

Retain applicable paragraphs and subparagraphs in this Article to suit Project and products.

A. Aluminum:  Alloy and temper recommended by manufacturer for type of use and finish indicated.

1. Extruded Bars, Profiles, and Tubes:  ASTM B 221 (ASTM B 221M).

2. Cast Aluminum:  ASTM B 179.

3. Flat Sheet:  ASTM B 209 (ASTM B 209M).

B. Steel:  Comply with the following:

1. Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

2. Steel Tubing:  ASTM A 500 or ASTM A 513, cold formed.

3. Steel Sheet:  ASTM A 1011/A 1011M.

Retain one or both of first two paragraphs below for cable or chain to support suspended gymnasium equipment.

C. Support Cable:  [1/4-inch- (6-mm-) diameter, 7x19] [Manufacturer's standard] galvanized steel aircraft cable[ with a breaking strength of 7000 lb (3175 kg)].  Provide fittings complying with cable manufacturer's written instructions for size, number, and method of installation.

Revise first paragraph below if another type of support chain is required for Project.

D. Support Chain and Fittings:  Grade 80 hardened alloy steel chain rated for overhead lifting, ASTM A 391/A 391M, with commercial-quality, [hot-dip galvanized] [zinc-plated] steel connectors and hangars.

E. Castings and Hangers:  Malleable iron, ASTM A 47/A 47M, grade required for structural loading.

F. Softwood Plywood:  DOC PS 1, exterior.

Retain option in paragraph below prohibiting urea formaldehyde if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

G. Particleboard:  ANSI A208.1[, made with adhesive containing no urea formaldehyde].

Revise first paragraph below if a particular wood species is required for Project's equipment mounting boards.

H. Equipment Wall-Mounting Board:  Wood, [transparent] [or] [neutral-color painted] finish, size, and quantity as required to mount gymnasium equipment according to manufacturer's written instructions.

I. Anchors, Fasteners, Fittings and Hardware:  Manufacturer's standard corrosion-resistant or noncorrodible units; concealed[; tamperproof, vandal- and theft-resistant design].

J. Grout:  Nonshrink, nonmetallic, premixed, factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107 with minimum strength recommended in writing by gymnasium equipment manufacturer.

Revise applicable articles below to suit Project.  Sample paragraphs and subparagraphs are examples of gymnasium equipment and are not intended to be all-inclusive.  Condense descriptions or combine to describe related equipment.  Indicate individual equipment or assembled system dimensions and elevations on Drawings.  Copy and re-edit samples if more than one type of similar equipment is required, or use samples as guides for developing paragraphs and subparagraphs for other types of gymnasium equipment.

2.2 BASKETBALL EQUIPMENT

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. AALCO Manufacturing.

2. Arizona Courtlines, Inc.

3. ADP Lemco Inc.

4. Basketball Products International; a division of American Athletic, Inc.

5. Bison Inc.

6. Douglas Industries, Inc.

7. Draper Inc.

8. Institutional Products Inc.

9. Jaypro Sports, LLC.

10. L. A. Steelcraft.

11. Performance Sports Systems.

12. Porter Athletic Equipment Company.

13. P. W. Athletic Mfg. Co.

14. <Insert manufacturer's name.>

Delete first paragraph below if not required to suit Project.

D. General:  Provide equipment complying with requirements in [FIBA's "FIBA Basketball Rule Book] [NCAA's "NCAA Basketball Rule Book] [NFHS's "NFHS Basketball Rule Book]."
E. Protruding fasteners or exposed bolt heads on front face of backboards are not permitted.

Copy and re-edit first two paragraphs and associated subparagraphs below if more than one kind of backboard is required.  If required to suit Project, revise either of first two paragraph titles to indicate that backboard is main-court or cross-court backboard.

F. Overhead-Supported[, Wall-Braced] Backboard:

Retain one of first two subparagraphs below, or both and indicate locations on Drawings.  Overhead-supported, wall-braced backboards are stationary type; overhead-supported backboards may be stationary or folding type.

1. Stationary Type:  Manufacturer's standard assembly.

2. Folding Type:  Provide manufacturer's standard assembly for [forward-folding, front-braced] [forward-folding, rear-braced] [backward-folding] [side-folding] backboard, with hardware and fittings to permit folding.

3. Framing:  Steel pipe, tubing, and shapes.  Design framing to minimize vibration during play.

Retain one of first two subparagraphs below.  Welded frames are more rigid and generally preferred; welded and bolted frames may be required for long-span systems supported by high ceiling/roof structure.

a. Center-Mast Frame:  [Welded] [Welded and bolted or clamped] with side sway bracing.

b. Dual-Mast Frame:  [Welded] [Welded and bolted or clamped] with cross bracing.

Retain one of two options in subparagraph below.

c. Finish:  Manufacturer's standard [primer for field finishing] [powder-coat finish].

Consider retaining subparagraph and one of two associated subparagraphs below for locations such as elementary schools.  If electrically operated unit has other type of control, insert requirements.

4. Goal Height Adjuster:  Adjustable from 8 to 10 feet (2.4 to 3 m) with gear-drive mechanism, locking in any position within adjustment range, with visible height scale attached to side of framing.

a. Operation:  Manual with detachable crank handle.

b. Operation:  Electric with integral gear-drive motor, with limit switches preset to goal heights, and [one] <Insert number> detachable electric control device(s).

G. Wall-Mounted Backboards:  Complete assembly extending from wall, including support framing to building structure, bracing, cables, chains, pulleys, fittings, hardware, pipe anchors, equipment pads, and fasteners.

1. Stationary Type:  Provide manufacturer's standard assembly for stationary backboard.

Retain subparagraph above or first subparagraph below.

2. Folding Type:  Provide manufacturer's standard assembly for [upward] [side]-folding backboard, with hardware and fittings to permit folding.

3. Framing:  Steel pipe, tubing, and shapes.  Design framing to minimize vibration during play.

Retain one of two options in subparagraph below.

a. Finish:  Manufacturer's standard [primer for field finishing] [powder-coat finish].

4. Extension:  [6 inches (152 mm)] [12 inches (305 mm)] [18 inches (457 mm)] [24 to 48 inches (610 to 1220 mm)] [48 to 120 inches (1220 to 3050 mm)] [As indicated] <Insert dimension>.

Consider retaining subparagraph and one of two associated subparagraphs below for locations such as elementary schools.  If electrically operated unit has other type of control, insert requirements.

5. Goal Height Adjuster:  Adjustable from 8 to 10 feet (2.4 to 3 m) with gear-drive mechanism, locking in any position within adjustment range, with visible height scale attached to side of framing.

a. Operation:  Manual with detachable crank handle.

b. Operation:  Electric with integral gear-drive motor, with limit switches preset to goal heights, and [one] <Insert number> detachable electric control device(s).

Retain paragraph and subparagraph below for wall-mounted and overhead-supported folding backboards relying on cable and chain support.  Safety devices are commonly used for backboards over bleacher areas.

H. Backboard Safety Device:  Designed to limit free fall if support cable, support chain, pulleys, fittings, winch, or related components fail; with mechanical automatic reset; [6000-lb (2722-kg)] <Insert weight> load capacity; [one per folding backboard] [where indicated].

Retain subparagraph below for forward-folding, rear-braced backboards.

1. Retractor Device:  [Pulley-type] [Spring-activated, reel-type] [Manufacturer's standard] device designed to retract both support and safety cables, chains, and straps away from play of the basketball when backboard is in playing position; [one per folding backboard] [where indicated].

Retain paragraph and subparagraphs below for folding backboard; delete for electric operator or for stationary backboards.

I. Winch:  Hoist, consisting of heavy-duty, fully enclosed worm-gear, brake, cable drum, cable, and fittings, for mounting on [wall with equipment mounting board] <Insert mounting>; designed to move and hold backboard in any raised or lowered position.

Retain one or both subparagraphs below for manual operator.  Delete both if backboard automatic electric operator does not require manual operator.  Retain second subparagraph if both crank and portable electrical devices are required.

1. Operation:  Manual winch with detachable hand crank.

2. Portable Winch Operator:  [One] <Insert number> portable electric motor-drive device(s), including adaptor to fit crank mechanism.

If automatic electric operation is required for Project, retain first paragraph and applicable subparagraphs below for electric operator for lifting or retracting and lowering backboard framing.

J. Backboard Electric Operator:  Provide operating machine of size and capacity recommended by manufacturer for equipment specified, with electric motor and factory-prewired motor controls, starter, gear-reduction unit, and remote controls.  Coordinate wiring requirements and electrical characteristics with building electrical system.

1. Operator Type:  Cable drum with grooved drum and cable tension device to automatically take up cable slack and retain cable in grooves.

2. Operator Mounting:  [Wall-mounting board] <Insert mounting>.

Motor characteristics such as NEMA designation, temperature rating, service factor, enclosure type, and efficiency are specified in Division 11 Section "Common Motor Requirements for Equipment." If different characteristics are required, add subparagraphs below to suit Project.  Verify electrical characteristics with electrical engineer.

3. Motor Characteristics:  Sufficient to start, accelerate, reverse, and operate connected loads at designated speeds within installed environment and with indicated operating sequence, and without exceeding nameplate rating or considering service factor.  Comply with NEMA MG 1, and the following:

4. Voltage:  [120 V] [208-220 V] [NEMA standard voltage selected to operate on nominal circuit voltage to which motor is connected] <Insert voltage>.

5. Horsepower:  [1/2] [3/4] [1] <Insert number> hp.

6. Enclosure:  [Open dripproof] [Totally enclosed] [Manufacturer's standard].

7. Duty:  Continuous duty at ambient temperature of 105 deg F (40 deg C) and at altitude of 3300 feet (1005 m) above sea level.

8. Service Factor:  1.15 for open dripproof motors; 1.0 for totally enclosed motors.

9. Phase:  One.

Revise first subparagraph below if machine selected has toggle-type switch.  Insert requirements for multiple control stations if any.

10. Remote-Control Station(s):  NEMA ICS 6, Type 1 enclosure for [surface] [recessed or flush] <Insert mounting> mounting, momentary-contact, three-position switch-operated control with up, down, and off functions.

a. Group Key Switch Control Stations:  One switch per [each backboard] [two backboards] <Insert option>.

b. Keys:  Provide [one key] [two keys] [one set of dual keys] [two sets of dual keys] [dual keys, one key for up and one for down] per station.

c. Switches, Ganged:  Single faceplate with multiple switch cut-outs [for two switches operating four backboards] [for three switches operating six backboards] [for four switches operating eight backboards] [for 5 switches operating 10 backboards] [for 6 switches operating 12 backboards] [as indicated].

Retain first subparagraph below to include secure enclosure for control station.

d. Control Station Enclosure:  Provide prime-painted metal enclosure with [integrally formed padlock hasps] [key access with two sets of keys per enclosure].

e. Radio Controls:  Digital system consisting of code-compatible universal coaxial receiver, one per backboard winch, and [two] <Insert number> portable multiple-channel transmitters for operating [two] [four] [up to nine] <Insert number> backboards individually with up and down functions.

11. Limit Switches:  Adjustable switches, interlocked with motor controls and set to automatically stop basketball equipment at fully retracted and fully lowered positions.

K. Basketball Backboard:

1. Shape and Size:

Retain first option in first subparagraph below for size recommended by the NCAA and professional associations for greater player safety for new installations.  48-inch- (1200-mm-) high backboards may be used if replacement backboard must match other equipment.

a. Rectangular, [72 by 42 inches (1800 by 1050 mm)] [72 by 48 inches (1800 by 1200 mm)] <Insert dimensions> width by height[, with rounded corners].

b. Fan shaped, 54-inch (1370-mm) maximum width by [35-inch (890-mm)] [39-inch (990-mm)] maximum height.

2. Backboard Material:  With predrilled holes or preset inserts for mounting goals, and as follows:

Retain or revise one of four subparagraphs and associated subparagraphs below or insert another to further describe backboard.

a. Fiberglass:  Not less than 1-1/2-inch- (38-mm-) thick composite backboard consisting of not less than two 3/16-inch- (5-mm-) thick, molded fiberglass panels laminated together over faces and edges encapsulating a 3/4-inch (19-mm) honeycomb core, reinforced at goal and backboard mountings, or wood panel product core; with threaded inserts or embedded anchors for mounting backboard corners to support framing at standard mounting centers.

b. Glass:  Not less than 1/2-inch- (13-mm-) thick, transparent tempered glass.  Provide glass with impact-absorbing resilient rubber or PVC gasket around perimeter in a fully welded, [painted steel] [brushed-natural-finish, extruded-aluminum] frame, with steel subframe, reinforcement, and bracing[, including center-strut frame reinforcement,] and with mounting slots for mounting backboard frame to backboard support framing.

1) Standard Mount:  Provide steel corner reinforcement with mounting slots for mounting backboard frame to backboard support framing at standard mounting centers.

Retain last subparagraph above or subparagraph below.  Coordinate subparagraph retained with backboard design; delete both if Contractor's option.  Typically, glass backboards suited for center-mast mounting are designed for universal mounting so they can comply with both mounting conditions.  Delete below if option for center-strut frame reinforcement is retained in "Glass" Subparagraph.

2) Direct Mount:  Designed for mounting backboard frame to center mast of backboard framing to maximize relief of stresses on backboard frame and glass.

Consider retaining first subparagraph below; revise to suit Project.  Rim-restraining devices prevent goals from falling if glass breaks in glass backboards and are required by the NCAA and the NFHS.  Rim-restraining devices are not needed for designs that mount directly and independently to center mast of backboard support framing.  Consult manufacturers.

3) Rim-Restraining Device:  Complying with NCAA and NFHS rules and designed to ensure that basket remains attached if glass backboard breaks.

c. Steel:  Single-piece, steel face sheet, not less than [0.1046-inch (2.7-mm)] <Insert dimension> nominal thickness, with 1-1/2-inch- (38-mm-) deep, roll-edged perimeter flange and with steel-reinforced, welded frame welded to back side of backboard; with mounting slots for mounting backboard frame to backboard support framing at standard mounting centers.

d. Hardwood or Particleboard:  Not less than 1-1/2-inch- (38-mm-) thick backboard consisting of not less than 1/32-inch- (0.8-mm-) thick, melamine- or phenolic-resin-impregnated cellulose and paper laminate over front and back sides of 1-1/2-inch (38-mm) hardwood or particleboard core; with painted edges and corners and with threaded inserts or slotted brackets for mounting backboard corners to backboard support framing at standard mounting centers.

Retain first subparagraph below for tempered glass backboard; retain second subparagraph for opaque backboards.

3. Target Area and Border Markings:  Permanently etched in white color, marked in [pattern and stripe width according to referenced rules] [manufacturer's standard pattern and stripe width].

Third option in subparagraph below is for international play.

4. Target Area and Border Markings:  Marked in [pattern, stripe width, and color according to referenced rules] [orange, with manufacturer's standard pattern and stripe width] [black, with manufacturer's standard pattern and stripe width].

Retain subparagraph below for opaque backboard.

5. Finish:  Manufacturer's standard factory-applied, white background.

L. Goal Mounting Assembly:  Compatible with goal, backboard, and support framing; with hole pattern [5 inches (127 mm) o.c. horizontally and vertically] [5 inches (127 mm) o.c. horizontally and 4 inches (102 mm) o.c. vertically] [5 inches (127 mm) o.c. horizontally and 4-1/2 inches (114 mm) o.c. vertically] [that is manufacturer's standard] <Insert dimensions> for goal attachment.

1. Glass Backboard Goal Mounting Assembly:  Goal support framing and reinforcement designed to transmit load from goal to backboard frame and to minimize stresses on glass backboard.

Retain or delete example subparagraph above and below to suit Project and product or insert another applicable description.

2. Direct Mount:  Designed for mounting goal directly and independently to center mast of backboard support framing so no force, transmitted by ring, is directly applied to backboard and rigidity and stability of goal are maximized.

M. Basketball Goals:  Complete with flanges, braces, attachment plate, and evenly spaced loops welded around underside of ring.

1. Single-Rim Basket Ring Competition Goal:  Materials, dimensions, and fabrication [complying with referenced rules] [per manufacturer's standard design].

Generally retain subparagraph above for complying with any rule book for competition play, and delete subparagraph below.  Double-rim basket rings below are sometimes specified for locations where only noncompetition play is anticipated and heavy-duty use or abuse is expected.

2. Double-Rim Basket Ring:  Fabricated with 2 rims, [each consisting of 5/8-inch- (16-mm-) diameter] [consisting of one 1/2-inch- (13-mm-) diameter and one 5/8-inch- (16-mm-) diameter] [manufacturer's standard-diameter] <Insert description> steel rod welded into 18-inch (450-mm) ID rings.

If retaining subparagraph above for double-rim ring goal, typically retain subparagraph below.

3. Type:  Fixed, nonmovable.

Retain subparagraph above or one of first two subparagraphs below.  If needed, revise examples to suit Project.  Retain first option in second subparagraph if positive-lock-type breakaway rim is required to comply with FIBA, NCAA, or NFHS rules for glass backboards.

4. Type:  Movable, breakaway design with manufacturer's standard breakaway mechanism and rebound characteristics identical to those of fixed, nonmovable ring.

5. Type:  Movable, breakaway design with manufacturer's standard breakaway mechanism including positive-lock, preset pressure release, set to release at [230-lb (105-kg)] [180- and 230-lb (82- and 105-kg)] <Insert release-setting criteria> load, and automatic reset.  Provide movable ring with rebound characteristics identical to those of fixed, nonmovable ring.

6. Mount:  [Front] [Rear].

7. Net Attachment:  [Loops for tying net to rim] [No-tie loops for attaching net to rim without tying] [Tube-tie for attaching net to rim].

8. Finish:  [Manufacturer's standard] [Powder-coat] finish.

N. Basketball Nets:  12-loop-mesh net, between 15 and 18 inches (400 to 450 mm) long, sized to fit rim diameter, and as follows:

Retain one of three subparagraphs below.

1. Cord:  Made from white [cotton] [nylon] [plastic].

2. Competition Cord:  Antiwhip, made from white nylon cord not less than 120- or more than 144-gm thread.

Chain nets are not suitable for competition play and may be hazardous to players.

3. Chain:  Nontangle, nonstretch design that will not scratch or impede the ball, made from zinc-coated steel chain.

Retain paragraph and subparagraphs below for rectangular backboards per FIBA, NCAA, and NFHS regulations.  Bison has safety pads for fan-shaped backboards.

O. Backboard Safety Pads:  Designed for backboard thickness indicated and extending continuously along bottom and up sides of backboard and over goal mounting and backboard supports as [required by referenced rules] [per manufacturer's standard design] [indicated].

1. Attachment:  [Peel-and-stick tape] [Adhesive] [Bolt-on] [Manufacturer's standard].

2. Color:  [Black] [Gray] [Manufacturer's standard color] [As selected by Architect from manufacturer's full range].

2.3 VOLLEYBALL EQUIPMENT

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. AALCO Manufacturing.

2. ADP Lemco Inc.

3. American Athletic, Inc.

4. Arizona Courtlines, Inc.

5. Bison Inc.

6. Douglas Industries, Inc.

7. Draper Inc.

8. Jaypro Sports, LLC.

9. L. A. Steelcraft.

10. Performance Sports Systems.

11. Porter Athletic Equipment Company.

12. P. W. Athletic Mfg. Co.

13. Schelde North America.

14. Sports Imports.

15. <Insert manufacturer's name.>

Retain paragraph below for competition-quality system.  Consider deleting if less rigorously designed recreational system suits Project.

D. General:  Provide equipment complying with requirements in [FIVB's "Official Volleyball Rules] [NAGWS's "NAGWS Volleyball Rulebook] [NFHS's "NFHS Volleyball Rule Book] [USAV's "USA Volleyball Rule Book]."

Revise paragraph below to include diameter for floor plate if critical for Project.  Specifying a diameter may risk specifying a proprietary product.

E. Floor Insert:  [Solid-brass] [Chrome-finished steel] [Aluminum] floor plate; and steel pipe sleeve, concealed by floor plate, with capped bottom end, sized with ID to fit post standards, not less than [9 inches (230 mm) long] [12 inches (300 mm) long] [length required] to securely anchor pipe sleeve [in structural floor] [below finished floor in concrete footing] [as indicated]; with anchors designed for securing floor insert to floor substrate indicated; [one per post standard] [quantity as indicated].

Retain one of four subparagraphs below.

1. Floor Plate:  [Self-locking,] [Lockable,] [Manufacturer's standard] hinged access cover, designed to be flush with adjacent flooring.  Provide [one] [two] <Insert number> tool(s) for unlocking access covers.

2. Floor Plate:  [Self-locking,] [Lockable,] [Manufacturer's standard] hinged access cover, recessed to accept finish flooring matching and designed to be level with adjacent flooring.  Provide [one] [two] <Insert number> tool(s) for unlocking access covers.

3. Floor Plate:  Lockable swivel access cover, designed for use with floating wood floors and to be flush with adjacent flooring.  Provide [one] [two] <Insert number> tool(s) for unlocking access covers.

4. Floor Plate:  <Insert requirements.>

Retain option for combined steel and extruded-aluminum post in first paragraph below only for telescopic-type post standards.  Post standards for volleyball are made from steel or extruded-aluminum pipe or tubing, or a combination of movable steel bottom sections and aluminum top sections.

F. Post Standards:  Removable, paired volleyball post standards[ and center post standard for multicourt play] as indicated.  [Fixed] [Adjustable, telescoping] height.  Designed for easy removal from permanently placed floor insert supports.  Fabricated from [steel] [extruded-aluminum] [combined steel and extruded-aluminum] [manufacturer's standard metal] pipe or tubing, with nonmarking plastic or rubber end cap or floor bumper to protect permanent flooring.  Finished with manufacturer's standard factory-applied, baked powder-coating finish complying with finish manufacturer's written instructions for surface preparation including pretreatment, application, baking, and minimum dry film thickness or plated metal finish.

1. Nominal Pipe or Tubing Diameter:  [3-inch (75-mm)] [3-1/2-inch (89-mm)] [4-inch (102-mm)] OD at base.

2. Net Height Adjuster:  [Track or rail system and lock mechanism designed for infinite] [Sliding collar and lock mechanism designed for infinite] [Preset net hooks designed for incremental] [Manufacturer's standard mechanism for] height adjustment, complete with fittings; designed for positioning net at heights indicated.

If telescopic post standards are required for Project, delete last subparagraph above and retain subparagraph below.  If fixed post standards are retained, retain above and delete below.

3. Telescopic and Net Height Adjuster System:  Provide [infinitely adjustable system consisting of screw rod, gear, and crank or constant-tension spring and pulley assist and] [incrementally adjustable system with predrilled holes and pin] [Manufacturer's standard telescoping system with] locking device, telescopic post, and fittings for holding net at selected height; designed for height adjustment of post standard to position net at heights indicated.

Retain subparagraph below with either of last two subparagraphs above after verifying availability with manufacturers.  Revise below if specific net positions, rather than range of net heights, are required for Project.

a. Net Heights:  Between [sitting volleyball net height and boys'/men's volleyball net height, 36 and 95-5/8 inches (910 and 2430 mm)] [tennis net height and boys'/men's volleyball net height, 42 and 95-5/8 inches (1066 and 2430 mm)] [for age 12 and under net height and boys'/men's volleyball net height, 84 and 95-5/8 inches (2130 and 2430 mm)] <Insert net height range> or more.

Coordinate option selected in subparagraph below with option retained in "General" Paragraph, if applicable.

4. Height Markers:  Clearly marked at regulation play heights for [elementary school] [girls/women] [boys/men] [sitting volleyball] [tennis] <Insert requirements>.

G. Net:  32 feet (9.75 m) long and as follows; [1 per pair of paired post standards] [2 per every center post standard] <Insert requirements>:

1. Width and Mesh:  36 inches (910 mm) with 4-1/2-inch- (114-mm-) square mesh made of black polyester string.

a. Hem Band Edges:  White, 2-inch- (50-mm-) wide top binding; black, [3/4-inch- (19-mm-)] [1-inch- (25-mm-)] wide bottom and side bindings; tie offs at top and bottom of each side end of net; and 1/4-inch- (6-mm-) diameter rope, at least 42 feet (12.8 m) long, threaded through top hem of binding.

Retain subparagraph and associated subparagraph above or first subparagraph and associated subparagraphs below, or insert another.  These example subparagraphs represent the extremes in a range of commonly available nets.  Less-expensive net above is suitable for use where noncompetitive play may be common; net below is suitable for competitive play.

2. Width and Mesh:  Competition volleyball net, [36 inches (910 mm)] [39 inches (990 mm)] with 4-inch- (102-mm-) square[ knotless] mesh made of black nylon string.

Retain one of two options in first subparagraph below or delete both.  Not all systems require tie offs or tension straps.

a. Hem Band Edges:  White, not less than 2-inch- (50-mm-) wide top, bottom, and side bindings; [tie offs at top, bottom and midpoint of each side end of net] [not less than 1-inch- (25-mm-) wide tension straps at top, bottom and midpoint of each side end of net]; end sleeves for dowels; and lines with linkage fittings threaded through top and bottom hems of binding.  Provide lengths of lines and linkage fittings as required to properly connect to and set up net for post standard spacing indicated on Drawings.

1) Top Line:  Not less than [1/4-inch- (6-mm-) diameter rope] [1/8-inch- (3-mm-) diameter, galvanized or coated steel cable] <Insert description>.

2) Bottom Line:  Not less than [1/4-inch- (6-mm-) diameter rope] [1/8-inch- (3-mm-) diameter, galvanized or coated steel cable] <Insert description>.

3. Dowels:  Not less than 1/2-inch- (13-mm-) diameter fiberglass or 1-inch- (25-mm-) diameter wood.  Provide two dowels per net threaded through each side hem sleeve for straightening net side edges.

4. Net Antennas:  3/8-inch- (9.5-mm-) diameter, high-tensile-strength, extruded fiberglass or plastic rods, 72 inches (1800 mm) long, extending above top hem band of net, with alternating white and red bands according to competition rules.  Provide two antennas per net.

a. Clamps:  Designed to secure antenna to top and bottom of net.

Delete clamps above if retaining option in subparagraph below.

5. Boundary Tape Markers:  2-inch- (50-mm-) wide white strip[ with sleeve for securing net antenna], secured to net top and bottom with hook-and-loop attachment.  Provide two tape markers per net for marking court boundaries.

H. Net Tensioning System:  Designed to adjust and hold tension of net.  Fully enclosed, nonslip [worm-gear] [rack-and-pinion] [ratchet] [manufacturer's standard]-type winch with cable length and fittings for connecting to net lines, positive-release mechanism, and [permanently fixed] [removable] [manufacturer's standard] handle.  [Mount net tensioner on post standard at side away from court.  ]Provide end post with post top pulley.  Provide opposing post with welded steel loops, hooks, pins, or other devices for net attachment and post top grooved line guide.

Net tensioning winches are typically used most effectively with nets having cable top lines.  Delete first paragraph below if bottom line is winch tensioned.  Net lock tighteners are typically used for tightening bottom lines.

I. Bottom Net Lock Tightener:  Provide manufacturer's standard quick-release-type tension strap, spring-loaded self-locking tensioner, turnbuckle, pulley, or other device and linkage fittings designed to quickly and easily tighten bottom line or net.

J. Judges' Stands:  Provide manufacturer's standard[ adjustable-height] units designed to be [freestanding, folding for storage] [freestanding, folding for storage with wheels for transporting] [attached to and supported by post standard].  Fabricate units of welded steel tubing with finish and color to match post standards.

K. Safety Pads:  [Comply with NCAA and NFHS requirements.  ]Provide pads consisting of not less than [1-inch- (25-mm-)] [1-1/4-inch- (32-mm-)] thick, multiple-impact-resistant [polyurethane] [crosslinked or closed-cell polyethylene] [manufacturer's standard] foam filler covered by puncture- and tear-resistant[, not less than 14-oz./sq. yd. (475-g/sq. m) PVC-coated polyester, treated with fungicide for mildew resistance,] [, not less than 14-oz./sq. yd. (475-g/sq. m) nylon-reinforced PVC] [, molded PVC] [, manufacturer's standard] <Insert other> fabric cover; with fire-test-response characteristics indicated[, and lined with fire-retardant liner].  Provide pads with hook-and-loop closure or attachments for the following components:

Retain any or all of first three subparagraphs below to suit Project and product.

1. Post Standards:  [Wraparound] [3- or 4-sided] style, designed to totally enclose each standard to a height of not less than [66 inches (1680 mm)] [72 inches (1830 mm)]; 1 per post.

2. Net Lines:  Four per net.

3. Judges' Stands:  Designed to totally enclose each unit.

4. Fabric Cover Flame-Resistance Ratings:  [Passes NFPA 701] <Insert requirement for fire-test-response characteristic>.

5. Fabric Color:  [Match school colors] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Delete subparagraph below if no graphics.  If retaining, indicate placement, size, graphic content, and colors on Drawings.

6. Graphics:  Custom graphics as indicated.

L. Post Standard Transporter:  Manufacturer's standard wheeled unit designed for transporting a single post.

M. Wall Storage Rack:  Manufacturer's standard unit designed for mounting on walls and for storing post standards in vertical position with retaining arms, fittings for padlock, and mounting hardware; number of units as required to provide storage for specified equipment.

N. Storage Cart:  Manufacturer's standard wheeled unit designed for transporting and storing volleyball equipment and passing through 36-inch- (910-mm-) wide or wider door openings.  Fabricate units of welded steel tubing with heavy-duty casters, including not less than two swivel casters.  Fabricate wheels from materials that will not damage or mark floors; number of units as required to provide transport and storage for specified equipment.

2.4 BADMINTON EQUIPMENT

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. AALCO Manufacturing.

2. Arizona Courtlines, Inc.

3. Bison Inc.

4. Performance Sports Systems.

5. P. W. Athletic Mfg. Co.

6. Schelde North America.

7. Sports Imports.

8. <Insert manufacturer's name.>

Retain first paragraph below for competition-quality system.  Consider deleting if less rigorously designed recreational system suits Project.

D. General:  Provide equipment complying with requirements in IBF's "The Laws of Badminton."

E. Floor Insert:  Solid-brass floor plate with[ hinged] access cover and steel pipe sleeve with capped bottom end; sized with ID to fit post standards, not less than [5-1/4 inches (133 mm) long] [length required] to securely anchor pipe [in structural floor] [below finished floor in concrete footing] [as indicated]; [one per post standard] [quantity as indicated].

Retain paragraph above or first paragraph below.  If retaining below, adaptor must fit smaller badminton post standards and larger floor insert sleeve.

F. Floor Insert Adaptor:  Pipe sleeve adaptor to convert volleyball floor insert sleeve to fit badminton post standard; [one per badminton post standard] [quantity as indicated].

G. Post Standards:  Paired badminton post standards[ and center post standard for multicourt play].  Designed for easy removal from permanently placed floor insert supports.  Fabricated from steel pipe or tubing, with plastic or rubber end cap or nonmarking floor bumper to protect permanent flooring.  Finished with manufacturer's standard factory-applied, baked powder-coat finish complying with finish manufacturer's written instructions for surface preparation including pretreatment, application, baking, and minimum dry film thickness.

First option in first subparagraph below may be designed for combination volleyball and badminton play by some manufacturers.  AALCO and Performance Sports make square-tube post standards.  Revise below if square-tube post standard suits Project.

1. Nominal Pipe or Tubing Diameter:  [1-1/2-inch (38-mm)] [2-3/8-inch (60-mm)] OD at base.

2. Net Height Setting:  By preset net hooks.

Retain subparagraph above or below, or both for Contractor's option.

3. Net Height Setting:  By groove in post standard top and [cleat] [mechanism to adjust net tension].

H. Net:  Competition badminton net, 20 feet (6.1 m) long and as follows; [1 per pair of paired post standards] [2 per every center post standard] <Insert requirements>:

1. Width and Mesh:  30 inches (760 mm) with 3/4-inch- (19-mm-) square mesh made of purple, dark brown, or black nylon string.

a. Hem Band Edges:  White, 3-inch- (75-mm-) wide top binding; purple, dark brown, or black 3/4-inch- (19-mm-) wide bottom and side bindings; [tie offs at top, bottom, and midpoints] [sleeve with dowel] eliminating gap at each side end of net; and not less than 1/8-inch- (3-mm-) diameter rope, at least 42 feet (12.8 m) long, threaded through top hem of binding.  Provide lengths of lines and linkage fittings as required to properly connect to and set up net for post standard spacing indicated on Drawings.

Add safety pads for badminton post standards here if required for Project.

2.5 EXERCISE EQUIPMENT

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. Draper Inc.

2. Jaypro Sports, LLC.

3. Performance Sports Systems.

4. Porter Athletic Equipment Company.

5. <Insert manufacturer's name.>

D. General:  Manufacturer's standard equipment wall-mounting board(s).

E. Pull-up Bar:  Wall mounted.

1. Fixed height.

Retain subparagraph above or first subparagraph below.

2. Adjustable Height:  In 6-inch (150-mm) increments within a range of [18 inches (460 mm)] [30 inches (760 mm)] <Insert dimension>.

3. Bar Length:  Not less than [36 inches (910 mm)] [40 inches (1000 mm)] [As indicated].

4. Bar:  Not less than 1-1/16-inch- (27-mm-) diameter, round, plated solid-steel bar.

5. Support Frame:  Steel-angle end brackets attached to wood stringers or steel channels or bars.

6. Bar Installation Height and Wall Clearance:  [As indicated] <Insert height> at not less than 12 inches (300 mm) from wall.

F. Stall Bar:  Wall mounted in a continuous row; each section with not less than 16 rungs.

1. Size:  Each section [96 inches (2400 mm) high by 36 inches (910 mm) wide] [As indicated].

2. Side Rails:  Formed-steel tube uprights not less than 1-1/2 by 5 inches (38 by 125 mm) with capped ends; nominal sheet thickness not less than 0.0598 inch (1.52 mm).

3. Rungs:  Not less than 1-3/8-inch- (35-mm-) diameter, round rungs made from [hardwood] [maple] firmly fixed to side rails to prevent rotating or other movement.  Provide equipment with top rung extended 6 inches (150 mm) beyond other rungs.

4. Extension Arm:  Provide equipment with an extension arm and an additional rung extended 20 inches (500 mm) beyond bottom and intermediate rungs.

5. Number of Sections:  [As indicated] <Insert number> modular sections, complete with intermediate uprights and terminal uprights without rung holes at finished ends.

G. Horizontal Ladder:  Wall mounted; with 12 rungs.

1. Size:  [12 feet (3.7 m) long by not less than 16 inches (400 mm) wide] [As indicated].

2. Side Rails:  Steel tubing not less than 1-1/2 by 4 inches (38 by 102 mm) with capped ends; tubing wall thickness not less than 0.083 inch (2.1 mm).

3. Rungs:  Not less than 1-5/16-inch- (33-mm-) diameter, round rungs made from [hardwood] [maple] firmly fixed to side rails to prevent rotating or other movement.

4. Support Frame:  Not less than 1-5/16-inch- (33-mm-) OD, steel pipe or tubing; with bracing.

5. Ladder Installation Height and Wall Clearance:  [As indicated] <Insert height> at 30 inches (760 mm) from wall.

H. Vertical Ladder:  Wall mounted; with five to seven horizontal rungs for hand and foot holds.

1. Size:  [60 inches (1500 mm) long by not less than 22 inches (560 mm) wide] [As indicated].

2. Side Rails:  Not less than 1-5/16-inch- (33-mm-) OD, round pipe or tubing with rails sloped 10 degrees from wall for climbing.

3. Rungs:  Not less than 1-1/16-inch- (27-mm-) OD, round pipe or tubing rungs firmly welded to side rails.

4. Ladder Installation Height:  [As indicated] <Insert dimension>.

5. Ladder Installation Method:  [Fixed to wall] [Removable].

I. Pegged Board Vertical Climber:  Wall-mounted board; size as indicated; with [two] <Insert number> peg hand holds per board.

J. Climbing Rope:  1-1/2-inch- (38-mm-) diameter rope; with top end securely clamped in fitting designed for attaching to supporting structure indicated.

1. Description:  [Three-strand hemp] [Synthetic polyfiber] [Manufacturer's standard material].

2. Length:  [12 feet (3.7 m)] [16 feet (4.9 m)] [20 feet (6 m)] [24 feet (7.3 m)] [Length as required to allow 42 inches (1067 mm) of rope to lie on floor] [As indicated].

3. Rope Bottom End:  [Tied in a turk knot] [Tied in a turk knot and fitted with leather sheath] [Fitted with heat-shrink-type PVC tube and coated with PVC coating after fitting] [Manufacturer's standard].

4. Rubber Balls:  Securely fastened every [12 inches (300 mm)] [18 inches (460 mm)] along length of rope.

Retain last subparagraph above or subparagraph below, or both, to suit Project.

5. Tambourine:  24-inch (600-mm) diameter; not less than 1/2-inch- (13-mm-) thick, painted plywood disk for restricting climbing and for exercise competition.

Retain subparagraph below as a safety precaution.

6. Safety Guard:  3/16-inch (5-mm-) support chain or 1/8-inch- (3-mm-) diameter cable, clamp, and fittings designed for attaching guard to supporting structure indicated.

Delete subparagraph below if rope is attached directly to overhead structure.

7. Pipe Beam:  [Ceiling] [Wall and ceiling] mounted; not less than 3-1/2-inch- (89-mm-) OD steel pipe or tubing beam with not less than 2-3/8-inch- (60-mm-) OD drop pipes, bracing, and connectors designed for transferring load and securely attaching to supporting structure indicated.

K. Rope Hoist:  Wall attached; consisting of #10 bell cord or 1/4-inch- (6-mm-) diameter, synthetic polyfiber rope, snap swivel fitting, rope adjuster, rope weight, weight bag, pulley, rope cleat, clear-finished wood wall equipment pads for pulley and cleat attachment, clamps, and fasteners.

L. Metal Finish:  Manufacturer's standard factory-applied, baked powder-coat finish.

M. Wood Finish:  Manufacturer's standard transparent or opaque-painted finish.

2.6 SAFETY PADS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. AALCO Manufacturing.

2. ADP Lemco Inc.

3. American Athletic, Inc.

4. Draper Inc.

5. Institutional Products Inc.

6. Jaypro Sports, LLC.

7. Performance Sports Systems.

8. Porter Athletic Equipment Company.

9. <Insert manufacturer's name.>

Retain first paragraph and subparagraphs below if surface-burning characteristics are required for safety pads.

D. Safety Pad Surface-Burning Characteristics:  ASTM E 84 by UL or another testing and inspecting agency acceptable to authorities having jurisdiction:

1. Flame-Spread Index:  [25 or less] [26 to 75] [76 to 200].

2. Smoke-Developed Index:  450 or less.

E. Pad Coverings:  Provide safety pad fabric covering fabricated from puncture- and tear-resistant, not less than 14-oz./sq. yd (475-g/sq. m) PVC-coated polyester or nylon-reinforced PVC fabric treated with fungicide for mildew resistance; with surface-burning characteristics indicated[, and lined with fire-retardant liner].

F. Wall Safety Pads:  Padded wall wainscot panels designed to be attached in a continuous row; each panel section consisting of fill laminated to backer board with visible surfaces fully covered by seamless fabric covering, free of sag and wrinkles and firmly attached to back of backer board.

Fire-retardant-treated plywood in first subparagraph below is currently available from Draper.

1. Backer Board:  Not less than 3/8-inch- (9.5-mm-) thick [plywood, mat formed, or composite panel] [fire-retardant-treated plywood per AWPA C27, Interior Type A].

2. Fill:  Multiple-impact-resistant foam not less than [1-1/2-inch- (38-mm-) thick polyurethane, 3.5-lb/cu. ft. (56-kg/cu. m) density] [2-inch- (50-mm-) thick polyurethane, 3.5-lb/cu. ft. (56-kg/cu. m) density] [1-1/2-inch- (38-mm-) thick bonded polyurethane, 6.0-lb/cu. ft. (96-kg/cu. m) density] [2-inch- (50-mm-) thick bonded polyurethane, 6.0-lb/cu. ft. (96-lb/cu. ft. (96-kg/cu. m) density] [1-1/4-inch- (32-mm-) thick, closed-cell polyethylene] <Insert material thickness, material, and density>.

Generally retain last subparagraph above and delete first subparagraph below.  If retaining "Safety Pad Surface-Burning Characteristics" Paragraph, retain below and delete above.  Fire-resistive neoprene is a component of wall panel assemblies tested according to ASTM E 84 for surface-burning characteristics.

3. Fire-Resistive Fill:  Multiple-impact-resistant foam not less than [1-1/2-inch- (38-mm-) thick fire-resistive neoprene, 6.0-lb/cu. ft. (96-kg/cu. m) density] [2-inch- (50-mm-) thick fire-resistive neoprene, 6.0-lb/cu. ft. (96-kg/cu. m) density].

4. Size:  Each panel section, [24 inches (600 mm) wide by not less than 60 inches (1520 mm) long] [24 inches (600 mm) wide by not less than 72 inches (1800 mm) long] [manufacturer's standard dimensions] [as indicated].

5. Number of Panel Sections:  [As indicated] <Insert number> modular panel sections.

6. Installation Method:  [Concealed mounting Z-clips] [Concealed mounting Z-clips and 1-inch (25-mm) bottom fabric attachment flange with exposed fasteners] [1-inch (25-mm) top and bottom fabric attachment flange with exposed fasteners] [Manufacturer's standard].

7. Fabric Covering Color(s):  [Match school colors] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] for [one] [two] <Insert number> color(s).

Delete subparagraph below if no graphics.  If retaining, indicate placement, size, graphic content, and colors on Drawings.

8. Graphics:  Custom graphics as indicated.

Retain paragraph below and select applicable option to suit Project.  Verify availability; more manufacturers make flat wall pads than pad types below.  Hook-and-loop fasteners should not be used with column covers with backerboard.

G. Corner Wall Safety Pads:  Wall corner pad consisting of not less than 1-1/4-inch- (32-mm-) thick, multiple-impact-resistant, closed-cell polyethylene-foam filler, covered on both sides and all edges by fabric covering with [backer board and manufacturer's standard anchorage to wall] [self-adhesive, hook-and-loop attachment to exposed face of wall].

1. Length:  Each pad [not less than 72 inches (1800 mm)] [in manufacturer's standard length] [matching length of wall safety pads] [as indicated].

2. Fabric Covering Color(s):  [Match color of wall safety pads] [Match school colors] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] for [one] [two] <Insert number> color(s).

Retain first paragraph below and select applicable option to suit Project.  Verify availability of standard- or custom-sized column covers with manufacturers.  Hook-and-loop fasteners should not be used with column covers with backerboard.

H. Column Safety Pads:  Pads covering exposed flange of columns to height indicated, consisting of not less than 1-1/4-inch- (32-mm-) thick, multiple-impact-resistant, closed-cell polyethylene-foam filler, covered on both sides and all edges by fabric covering with [backer board and manufacturer's standard anchorage to column] [self-adhesive, hook-and-loop attachment to exposed face of column].

1. Length:  Each pad [not less than 72 inches (1800 mm)] [in manufacturer's standard length] [matching length of wall safety pads] [as indicated].

2. Fabric Covering Color(s):  [Match color of wall safety pads] [Match school colors] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] for [one] [two] <Insert number> color(s).

I. Round Column Safety Pads:  Wraparound pads [fully] [partially] covering exposed round column to height indicated, consisting of not less than 2-inch- (50-mm-) thick, multiple-impact-resistant, bonded polyurethane-foam filler, 6.0-lb/cu. ft (96-kg/cu. m) density, covered on both sides and all edges by fabric covering with [hook-and-loop] [cord lace and grommet] attachment to column.

1. Length:  Each pad [not less than 72 inches (1800 mm)] [in manufacturer's standard length] [as indicated].

2. Fabric Covering Color(s):  [Match color of wall safety pads] [Match school colors] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] for [one] [two] <Insert number> color(s).

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for play court layout, alignment of mounting substrates, installation tolerances, operational clearances,[ accurate locations of connections to building electrical system,] and other conditions affecting performance.

1. Verify critical dimensions.

2. Examine supporting structure and [subgrades, ]subfloors and footings below finished floor.

3. Examine wall assemblies, where reinforced to receive anchors and fasteners, to verify that locations of concealed reinforcements have been clearly marked.  Locate reinforcements and mark locations.

4. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION, GENERAL

A. General:  Comply with manufacturer's written installation instructions[ and competition rules indicated for each type of gymnasium equipment].  Complete equipment field assembly, where required.

B. Unless otherwise indicated, install gymnasium equipment after other finishing operations, including painting, have been completed.

C. Permanently Placed Gymnasium Equipment and Components:  Rigid, level, plumb, square, and true; anchored securely to supporting structure; positioned at locations and elevations indicated on Shop Drawings; in proper relation to adjacent construction; and aligned with court layout.

1. Floor Insert Location:  Coordinate location with application of game lines and markers[, and core drill floor for inserts after game lines have been applied].

2. Floor Insert Elevation:  Coordinate installed heights of floor insert with installation[ and field finishing] of finish flooring and type of floor plate.

3. Operating Gymnasium Equipment:  Verify clearances for movable components of gymnasium equipment throughout entire range of operation and for access to operating components.

Revise paragraph below if core-drilled holes or all-grout footings are used to set floor inserts or if floor inserts are set in suspended floors above grade.

D. Floor Insert Setting:  Position sleeve in oversized, recessed voids in concrete [slabs] [and] [footings].  Clean voids of debris.  Fill void around sleeves with grout, mixed and placed to comply with grout manufacturer's written instructions.  Protect portion of sleeve above subfloor[ and footing] from splatter.  Verify that sleeves are set plumb, aligned, and at correct height and spacing; hold in position during placement and finishing operations until grout is sufficiently cured.  Set insert so top surface of completed unit is flush with finished flooring surface.

If required by authorities having jurisdiction to comply with NFPA 101, verify relationship of mounting height, height of pad, and presence or absence of fire-suppression sprinklers.

E. [Wall] [Corner] [Column] Safety Pads:  Mount with bottom edge at [4 inches (102 mm)] [dimension indicated on Drawings] <Insert dimension> above finished floor.

F. Anchoring to In-Place Construction:  Use anchors and fasteners where necessary for securing built-in and permanently placed gymnasium equipment to structural support and for properly transferring load to in-place construction.

Delete first paragraph below if no hardwired, electrically operated gymnasium equipment.

G. Connections:  Connect automatic operators to building electrical system.

H. Removable Gymnasium Equipment and Components:  Assemble in place to verify that equipment and components are complete and in proper working order.  Instruct Owner's designated personnel in properly handling, assembling, adjusting, disassembling, transporting, storing, and maintaining units.  Disassemble removable gymnasium equipment after assembled configuration has been approved by [Architect] [Owner], and store units in location indicated on Drawings.

3.3 ADJUSTING

Delete this Article if no movable components of gymnasium equipment are specified.

A. Adjust movable components of gymnasium equipment to operate safely, smoothly, easily, and quietly, free from binding, warp, distortion, nonalignment, misplacement, disruption, or malfunction, throughout entire operational range.  Lubricate hardware and moving parts.

3.4 CLEANING

A. After completing gymnasium equipment installation, inspect components.  Remove spots, dirt, and debris and touch up damaged shop-applied finishes according to manufacturer's written instructions.

B. Replace gymnasium equipment and finishes that cannot be cleaned and repaired, in a manner approved by Architect, before time of Substantial Completion.

3.5 DEMONSTRATION

Retain this Article if specified gymnasium equipment is operable or has operable components; otherwise, delete.

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain gymnasium equipment.  Refer to Division 01 Section "Demonstration and Training."

END OF SECTION 116623

GYMNASIUM EQUIPMENT
116623 - 1

