Copyright 2004 and 2005 AIA
MASTERSPEC Full Length
09/04 (R 06/05)

Copyright 2004 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 235113 - DRAFT CONTROL DEVICES
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Draft inducer fans.

2. Venturi-draft inducer fans.

3. Mechanical-draft vent fans.

4. Vent exhaust fans.

5. Barometric dampers.

6. Vent dampers.

7. Combustion-air fans.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  Show fabrication and installation details for [fans] [dampers] [fans and dampers].  Include plans, elevations, sections, details, and attachments to other work.  Detail equipment assemblies and indicate dimensions, weights, loads, required clearances, method of field assembly, components, hangers and seismic restraints, and location and size of each field connection.

Retain subparagraph below if equipment includes wiring.

1. Wiring Diagrams:  Power, signal, and control wiring.

C. Operation and Maintenance Data:  For draft control devices to include in emergency, operation, and maintenance manuals.

D. Warranty:  Special warranty specified in this Section.

1.4 QUALITY ASSURANCE

A. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

1.5 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of [draft inducer fans] [venturi-draft inducer fans] [mechanical-draft vent fans] [vent exhaust fans] [barometric dampers] [vent dampers] [combustion-air fans] that fail in materials or workmanship within specified warranty period.

1. Failures include failure of the fan due to corrosion.

Verify available warranties for units and components and insert number in subparagraph below.

2. Warranty Period:  [Two] [10] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 DRAFT INDUCER FANS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. Babco Inc.

2. Bramec Corporation.

3. Effikal International Inc.

4. EXHAUSTO, Inc.

5. FAMCO.

6. Field Controls L.L.C.; Venting Solutions Company (The).

7. Quickdraft; a Litzler Company.

8. Snappy Air Distribution Products.

9. Tec-Air Inc.

10. Tjernlund Products, Inc.

11. Tutco, Inc.; Subsidiary of Smiths Industries.

12. Wing Draft Inducers; Subsidiary of Smiths Industries.

13. <Insert manufacturer's name.>

D. Fan Construction:  [Galvanized] [Aluminized]-steel housing and radial-blade centrifugal fan.

1. Fan Motor:  Permanent split-capacitor type.

E. Controls:

1. Draft proving switch.

2. Control kit to cycle fan with gas flow to a single burner.

2.2 VENTURI-DRAFT INDUCER FANS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. Quickdraft; a Litzler Company.

2. <Insert manufacturer's name.>

D. Fan Construction:  Enameled-steel venturi tube for vents 20 inches (508 mm) in diameter and smaller, and ASTM A 666, Type 304, stainless-steel venturi tube for vents 22 to 48 inches (559 to 1219 mm) in diameter.  [Galvanized] [Enameled]-steel fan housing with radial-blade centrifugal wheel.

1. Fan Motor:  Permanent split-capacitor type.

E. Controls:

1. Draft proving switch.

2. Control kit to cycle fan with gas flow to a single burner.

2.3 MECHANICAL-DRAFT VENT FANS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. Babco Inc.

2. Bramec Corporation.

3. Effikal International Inc.

4. EXHAUSTO, Inc.

5. FAMCO.

6. Field Controls L.L.C.; Venting Solutions Company (The).

7. Quickdraft; a Litzler Company.

8. Snappy Air Distribution Products.

9. Tec-Air Inc.

10. Tjernlund Products, Inc.

11. Tutco, Inc.; Subsidiary of Smiths Industries.

12. Wing Draft Inducers; Subsidiary of Smiths Industries.

13. <Insert manufacturer's name.>

D. Fan Construction:  Forward-curved centrifugal fan and scroll fabricated of [aluminized] [galvanized] steel; direct-drive, ball-bearing motor lubricated with synthetic oil; internal cooling fan; stainless-steel shaft; and integral pressure-sensing switch.

1. Fan Motor:  Permanent split-capacitor type.

E. Controls:

1. Draft proving switch.

2. Control kit to cycle fan with gas flow to [single] [multiple] burner(s).

F. Accessories:

1. [Aluminized] [Stainless]-steel, wall-vent hood.

2.4 VENT EXHAUST FANS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. EXHAUSTO, Inc.

2. Field Controls L.L.C.; Venting Solutions Company (The).

3. Tjernlund Products, Inc.

4. <Insert manufacturer's name.>

D. General:  Centrifugal fan with [variable] [constant]-speed control mounted at end of [sidewall] [vertical] vent.

Retain paragraph below for fans exposed to flue gases up to 640 deg F (337 deg C).

E. Test Standard:  UL 378.

Some manufacturers have cast-aluminum or stainless-steel wheels available only in certain size ranges.  Verify options in first paragraph below with manufacturer selected.

F. Fan Construction:  [Cast-aluminum] [Galvanized-steel] [Stainless-steel] housing [painted manufacturer's standard color of baked enamel].  [Galvanized] [Stainless]-steel vent.  [Cast-aluminum] [Stainless-steel] wheel.  Backward-inclined centrifugal or axial fan wheel statically and dynamically balanced.  Provide access to clean the discharge area.[  Concentric makeup air inlet duct surrounding the vent to allow zero clearance to combustibles.]

G. Motor:  Fully enclosed,[ variable-speed duty,] permanent split capacitor, out of the airstream, with prelubricated and sealed ball bearings.

H. Constant-Speed Controls:  Boiler interlock relay starts fan when burner control cycles on.  Pressure switch permits burner operation via interlock with boiler.  Fan proving switch is adjustable between minus 0.07- and minus 0.15-inch wg (minus 17 and minus 37 Pa).

Retain paragraph above or below.

I. Variable-Speed Controls:  Boiler interlock relay starts fan when burner control cycles on.  Pressure controller, control transformer, and miscellaneous controls for automatic modulation of fan speed to maintain preset negative pressure between 0- and minus 1.0-inch wg (0 and minus 249 Pa).  Include controller with indicator lights, pressure differential transmitter, chimney pressure sensor probe, and fan proving switch adjustable between minus 0.07- and minus 0.15-inch wg (minus 17 and minus 37 Pa).  Include tubing.

2.5 BAROMETRIC DAMPERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. Babco Inc.

2. Bramec Corporation.

3. Effikal International Inc.

4. EXHAUSTO, Inc.

5. FAMCO.

6. Field Controls L.L.C.; Venting Solutions Company (The).

7. Quickdraft; a Litzler Company.

8. Snappy Air Distribution Products.

9. Tec-Air Inc.

10. Tjernlund Products, Inc.

11. Tutco, Inc.; Subsidiary of Smiths Industries.

12. Wing Draft Inducers; Subsidiary of Smiths Industries.

13. <Insert manufacturer's name.>

D. Damper Construction:  High-temperature-enamel-painted steel damper and housing with galvanized-steel breeching connection.  Adjustable counterweight with lock.  Include knife-edge bearings that do not require lubrication.

2.6 VENT DAMPERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. Effikal International Inc.

2. Field Controls L.L.C.; Venting Solutions Company (The).

3. Johnson Controls, Inc.; Controls Group.

4. <Insert manufacturer's name.>

D. Damper Construction:  Stainless-steel damper blade, shaft, and vent pipe with metal, prelubricated bearings.

1. Electric motor sized to power damper open and closed in approximately 15 seconds in each direction.  Power is off when damper is at rest.

2. Comply with ANSI Z21.66.

E. Controls:

1. Control transformer.

2. Keyed wiring harness.

3. Damper end-switch to prove damper is open.

4. Interlock with boiler to permit burner operation when damper is open.

5. Hold-open switch for troubleshooting boiler controls.

2.7 COMBUSTION-AIR FANS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. EXHAUSTO, Inc.

2. Field Controls L.L.C.; Venting Solutions Company (The).

3. Tjernlund Products, Inc.

4. <Insert manufacturer's name.>

D. Fan Construction:  [Galvanized] [Aluminized]-steel housing; steel forward-curved fan and scroll; direct-drive, totally enclosed, fan-cooled motor with ball bearings; stainless-steel shaft; and integral pressure-sensing switch.

Retain subparagraph below if required for Project.  Confirm availability with basis-of-design manufacturer.  Not all manufacturers listed offer this feature.

1. Internal bypass to temper supply-air temperature to room.

E. Controls:

1. Fan proving switch to permit burner operation when combustion-air fan is operating.

2. Multiple appliance control starts fan with operation of any one of [three] [four] appliances.

3. Modulating combustion-air fan speed to control pressure differential in room with respect to outdoors.

4. Manual-reset, high-limit switch stops operation with 160 deg F (71 deg C) room temperature.

5. Optional Controls:

a. Alarm circuit.

b. Excessive negative pressure limit.

c. Interface relay for vent exhaust fan, draft inducer fan, or mechanical-draft vent fan.

d. [Galvanized-steel] [Aluminum] intake hood.

2.8 MOTORS

Motor characteristics such as NEMA designation, temperature rating, service factor, enclosure type, and efficiency are specified in Division 23 Section "Common Motor Requirements for HVAC Equipment."  If characteristics other than these are required, add paragraphs to this Article to suit Project.

A. Comply with requirements in Division 23 Section "Common Motor Requirements for HVAC Equipment."

2.9 CAPACITIES AND CHARACTERISTICS

If Project has more than one fan, delete paragraph and subparagraphs below and schedule fans on Drawings.

A. Fan:

1. Manufacturer:  <Insert manufacturer.>

2. Model No:  <Insert number.>

3. Rated Appliance Input:  <Insert Btu/h (kW).>

4. Airflow:  <Insert cfm (L/s).>

5. Speed:  <Insert value> rpm.

6. Static Pressure: <Insert inches wg (Pa).>

7. Electrical Characteristics:

a. Motor Horsepower:  <Insert value.>

b. Volts:  [115] [208] [230] [460] <Insert value> V.

c. Phase:  [Single] [Three].

d. Hertz:  60.

e. Full-Load Amperes:  <Insert value.>

f. Minimum Circuit Ampacity:  <Insert value.>

g. Maximum Overcurrent Protection:  <Insert amperage.>

If Project has more than one damper, delete paragraph and subparagraphs below and schedule dampers on Drawings.

B. Damper:

1. Manufacturer:  <Insert manufacturer.>

2. Model No:  <Insert number.>

3. Rated Appliance Input:  <Insert Btu/h (kW).>

4. Vent Size:  <Insert inches (mm).>

5. Electrical Characteristics:

a. Motor Horsepower:  <Insert value.>

b. Volts:  [115] <Insert value> V.

c. Phase:  Single.

d. Hertz:  60.

e. Full-Load Amperes:  <Insert value.>

f. Minimum Circuit Ampacity:  <Insert value.>

g. Maximum Overcurrent Protection:  <Insert amperage.>

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Install listed components in a manner complying with the listing.

B. Secure barometric dampers to breechings with hardware compatible with connected materials.

C. Locate barometric and motorized vent dampers as close to draft hood collar as possible.

D. Secure barometric and motorized vent dampers to appliances, breechings, or chimneys with hardware compatible with connected materials.

Retain three paragraphs below if using draft inducer fans.

E. Install draft inducer fans in single-wall vent section that is designed to couple with other vent materials.

F. Secure draft inducer fans to appliances, breechings, or stacks with hardware compatible with connected materials.

G. Install draft inducer fans with clearances for service and maintenance.

Retain paragraph below for combustion-air fans.

H. Install[ PVC] intake duct that is sized according to manufacturer's written instructions.

3.2 CONNECTIONS

A. Ground equipment according to Division 26 Section "Grounding and Bonding for Electrical Systems."

B. Connect wiring according to Division 26 Section "Low-Voltage Electrical Power Conductors and Cables."

3.3 STARTUP SERVICE

Delete this Article if factory-authorized service representative is not required.

A. Engage a factory-authorized service representative to perform startup service.

1. Complete installation and startup checks according to manufacturer's written instructions.

2. <Insert startup steps if any.>

B. Remove and replace malfunctioning components and recheck.

3.4 ADJUSTING

A. Set field-adjustable switches and controls as indicated.

3.5 DEMONSTRATION

A. [Engage a factory-authorized service representative to train] [Train] Owner's maintenance personnel to adjust, operate, and maintain draft control devices.  Refer to Division 01 Section "Demonstration and Training."

END OF SECTION 235113

	DRAFT CONTROL DEVICES
	235113 - 1



