Copyright 2001 and 2005 AIA
MASTERSPEC Full Length
08/01 (R 05/05)

Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 316213 - CONCRETE PILES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes [hollow] [solid], precast prestressed concrete piles.

1.3 UNIT PRICES

Retain this Article if unit prices apply to Work of this Section; coordinate with bidding and proposal forms as well as Division 01 Section "Unit Prices."

A. General:  Refer to Division 01 Section "Unit Prices" for piles affected by unit prices.

B. The Contract Sum:  Base the Contract Sum on number and dimensions of piles indicated from tip to cutoff, plus not less than 12 inches (300 mm) of overlength for cutting piles at cutoff elevations.

C. Measurement:  Using data obtained during pile driving, Architect will calculate actual total net length of piles installed.  Measurements will be based on effective length of piles in place, with lengths measured to nearest 12 inches (300 mm).

1. Additional payment for pile lengths in excess of that indicated, and credit for pile lengths less than that indicated, will be calculated at unit prices stated in the Contract, based on net addition or deduction to total pile length.

2. Unit prices include labor, materials, tools, equipment, and incidentals for furnishing, driving, cutting off, capping, and splicing piles and disposing of cutoffs.

3. Test piles that become part of permanent foundation system will be considered as an integral part of the Work.

4. No payment will be made for rejected piles, including piles driven out of tolerance, defective piles, or piles damaged during handling or driving.

1.4 PERFORMANCE REQUIREMENTS

Retain this Article if delegating design responsibility for piles to fabricator.  AIA Document A201 requires Owner or Architect to specify performance and design criteria.

A. Structural Performance:  Provide piles capable of withstanding transportation, erection, and driving stresses and design loads within limits indicated and under conditions existing at Project site.

Retain option in subparagraph below if design loads are included on Drawings, or delete option and insert applicable design loads here.

1. Design Loads:  [As indicated] <Insert applicable loads>.

1.5 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  Prepared by or under the supervision of a qualified professional engineer detailing fabrication and lifting devices necessary for handling and driving piles.

1. Indicate pile dimensions, cross sections, locations, and sizes.  Show details of pile splices and shoes.

2. Indicate types of reinforcement, including prestressing strand, and detail fabricating, bending, and placing.

3. Indicate layout and dimensions, and identify each pile.  Indicate welded connections by AWS standard symbols.  Detail cast-in hardware.

4. Indicate transportation, storage, and lifting points.

5. Include arrangement of static pile reaction frame, test and anchor piles, equipment, and instrumentation.

Retain subparagraph below if either "Performance Requirements" or "Static Pile Tests" Article is retained.

6. Include structural analysis data [signed and sealed] [certified] by the qualified professional engineer responsible for their preparation.

Retain first paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

C. Welding certificates.

D. Design Mixes:  For each concrete mix.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For [Installer] [manufacturer] [professional engineer] [and] [testing agency].

F. Material Test Reports:  For concrete materials.

G. Material Certificates:  For [steel reinforcements] [prestressing strand] [and] [concrete admixtures], signed by manufacturers.

First paragraph below is based on impact equipment.  Revise equipment submittal if vibratory hammers or other nonimpact equipment is required.

H. Pile-Driving Equipment:  Include type, make, maximum rated energy, and rated energy per blow of hammer; weight of striking part of hammer; weight of drive cap; details, type, and structural properties of hammer cushion and pile cushion; and details of follower and jetting equipment.

I. Static Pile Test Reports:  Submit within two days of completing each test.

J. Pile-Driving Records:  Submit within two days of driving each pile.

1.6 QUALITY ASSURANCE

A. Manufacturer Qualifications:  A qualified manufacturer complying with the following:

Retain subparagraph below if "Performance Requirements" Article is retained.

1. Engineering Responsibility:  Assumes engineering responsibility to comply with requirements in "Performance Requirements" Article by engaging a qualified professional engineer to prepare design calculations, Shop Drawings, and other structural data for piles.

Revise subparagraph below or delete if not required.  Pile fabricators will usually be certified for both B2 and C2 product groups and categories.  Product Group B refers to bridge construction; Group C refers to commercial structural precast concrete.

2. PCI Plant Certification Program:  Participates in PCI's Plant Certification Program and is designated a PCI Certified Plant for [B2] [and] [C2] product group and category, or better.

B. Installer Qualifications:  A firm experienced in installing driven piles similar in material, design, and extent indicated for this Project, whose work has resulted in construction with a record of successful in-service performance.

1. Installer's responsibility includes providing a qualified professional engineer to prepare pile-driving records.

Retain first paragraph below if Contractor or fabricator selects testing agency for concrete mixes specified in Part 2.

C. Testing Agency Qualifications:  An independent testing agency[, acceptable to authorities having jurisdiction,] qualified according to ASTM C 1077 and ASTM E 329 for testing indicated, as documented according to ASTM E 548.

D. Design Practices:  Comply with ACI 318 (ACI 318M) and the recommendations of PCI Committee Report:  "Recommended Practice for Design, Manufacture and Installation of Prestressed Concrete Piling."

E. Quality-Control Standard:  For manufacturing procedures and testing requirements, quality-control recommendations, and dimensional tolerances for piles, comply with applicable requirements of PCI MNL-116, "Manual for Quality Control for Plants and Production of Precast and Prestressed Concrete Products."

F. Comply with requirements of ACI 301, "Specifications for Structural Concrete."

Retain paragraph below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Coordinate with Division 01 requirements.

G. Product Options:  Drawings indicate size, profiles, and dimensional requirements of piles and are based on the specific types of units indicated.  Other manufacturer's precast prestressed concrete piles complying with requirements may be considered.  Refer to Division 01 Section "Product Requirements."

Delete paragraph below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

H. Welding Standards:  Qualify welding procedures and personnel according to[ AWS D1.1, "Structural Welding Code--Steel"] [and] [AWS D1.4, "Structural Welding Code--Reinforcing Steel." ]

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

I. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Meetings."

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver piles to Project site in such quantities and at such times to ensure continuity of installation.  Handle and store piles at Project site to prevent cracking, distorting, warping, or other physical damage, and so markings are visible.

B. Lift and support piles only at designated lifting or supporting points as shown on Shop Drawings.

1.8 PROJECT CONDITIONS

A. Protect structures, underground utilities, and other construction from damage caused by pile driving.

Delete, relocate, or revise paragraph below according to office practice.  Delete if geotechnical report is part of the Contract Documents.

B. Site Information:  A geotechnical report has been prepared for this Project and is [included] [referenced] elsewhere in the Project Manual for information only.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

Retain this Article if listing manufacturers.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See PCI's magazine "Ascent" for current PCI-certified plant listings.

1. <Insert manufacturers' names.>

2.2 MOLD MATERIALS

A. Molds:  Provide molds of metal, plastic, wood, or another material that is nonreactive with concrete and will produce required finish surfaces.

2.3 STEEL REINFORCEMENT

A. Reinforcing Bars:  ASTM A 615/A 615M, Grade 60 (Grade 420); deformed.

Retain first paragraph below when welding of reinforcing bars is anticipated.

B. Low-Alloy-Steel Reinforcing Bars:  ASTM A 706/A 706M.

C. Galvanized Reinforcing Bars:  ASTM A 767/A 767M, Class II zinc coated, hot-dip galvanized after fabrication and bending, as follows:

Select type of reinforcement to be galvanized from options in subparagraph below.

1. Steel Reinforcement:  [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M], deformed.

D. Epoxy-Coated Reinforcing Bars:  ASTM A 775/A 775M or ASTM A 934/A 934M, as follows:

Select type of reinforcement to be epoxy coated from options in subparagraph below.

1. Steel Reinforcement:  [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M], deformed.

E. Plain Steel Wire:  ASTM A 82, [as drawn] [galvanized].

F. Deformed-Steel Wire:  ASTM A 496.

G. Epoxy-Coated-Steel Wire:  ASTM A 884/A 884M, Class A coated, [plain] [deformed].

2.4 PRESTRESSING TENDONS

ASTM A 416/A 416M establishes low-relaxation strand as the standard.  Revise this Article for stress-relieved strand if required.

A. Prestressing Strand:  ASTM A 416/A 416M, Grade 250 or 270 (Grade 1725 or 1860); uncoated, seven-wire, low-relaxation strand.

2.5 CONCRETE MATERIALS

A. General:  Limit water-soluble chloride ions in concrete to the maximum percentage by mass of cementitious material permitted by ACI 318 (ACI 318M), but not more than 0.06 percent.

Select type of cement from options in paragraph below.  Type I is used in freshwater or land environments, Type II is used in marine environments, and Type III is for high early strength.  Revise to Type V for severe sulfate resistance.

B. Portland Cement:  ASTM C 150, Type [I or III] [II], of same type, brand, and source.

Select mineral or cementitious admixtures from two subparagraphs below if permitted.

1. Fly Ash:  ASTM C 618, Class C or F.

2. Silica Fume:  ASTM C 1240, amorphous silica.

Select class of aggregate from options in first paragraph below or revise to suit Project.  ASTM C 33 limits deleterious substances in coarse aggregate depending on climate severity and in-service location of concrete.  Classes 3S, 3M, and 1N apply to severe, moderate, and negligible weathering regions respectively unless stricter limits, such as those in PCI MNL-116 or in first two options, are specified.

C. Normal-Weight Aggregates:  Except as modified by PCI MNL-116, ASTM C 33, with coarse aggregates complying with Class [4S] [4M] [1N] <Insert class>.  Provide aggregates from a single source.

Select one of two options in subparagraph below; revise aggregate size or replace with gradation if required.

1. Nominal Maximum Size of Aggregate:  [1 inch (25 mm)] [3/4 inch (19 mm)].

D. Water:  Potable, free of deleterious material that may affect color stability, setting, or strength of concrete, and complying with chemical limits of PCI MNL-116.

E. Admixtures:  Provide admixtures certified by manufacturer to be compatible with other admixtures.

Select one or more admixtures from subparagraphs below.

1. Air-Entraining Admixture:  ASTM C 260.

2. Water-Reducing Admixture:  ASTM C 494/C 494M, Type A.

3. Retarding Admixture:  ASTM C 494/C 494M, Type B.

4. Water-Reducing and Retarding Admixture:  ASTM C 494/C 494M, Type D.

5. Water-Reducing and Accelerating Admixture:  ASTM C 494/C 494M, Type E.

6. High-Range, Water-Reducing Admixture:  ASTM C 494/C 494M, Type F.

7. High-Range, Water-Reducing and Retarding Admixture:  ASTM C 494/C 494M, Type G.

8. Plasticizing and Retarding Admixture:  ASTM C 1017/C 1017M, Type II.

2.6 PILE ACCESSORIES

Retain paragraph below if pile-tip protection is required for very hard strata.  Revise title and description if using steel points or stubs instead of shoes.

A. Pile Shoes:  1-inch- (25-mm-) thick, minimum, carbon-steel plate fabricated to match shape of pile tip.

Retain paragraph below if manufactured splices are permitted.  Replace general description with particulars of a proprietary splice if required.

B. Pile Splices:  Manufactured from carbon-steel plates or castings and capable of developing strength of continuous pile at splice location.

2.7 CONCRETE MIXES

A. Prepare design mixes for each type of concrete required.

Delete subparagraph below if fly ash or silica fume is not permitted.  Revise percentage below to suit Project.

1. Limit use of fly ash and silica fume to not exceed, in total, 25 percent of portland cement by weight.

B. Design mixes may be prepared by a qualified independent testing agency or by qualified personnel at precast manufacturing plant at precast manufacturer's option.

C. Proportion mixes by either laboratory trial batch or field test data methods according to ACI 211.1, with materials to be used on Project, to provide normal-weight concrete with the following properties:

Select one option from subparagraph below or revise to suit Project.  Verify availability with manufacturers.

1. Compressive Strength (28 Days):  [8000 psi (55.2 MPa)] [7000 psi (48.3 MPa)] [6000 psi (41.4 MPa)] [5000 psi (34.5 MPa)].

A maximum water-cementitious material ratio of 0.40 is usual for precast prestressed concrete.  Lower ratios are possible with use of high-range water reducers.  Revise ratio to suit Project.

2. Maximum Water-Cementitious Material Ratio:  0.40.

Retain paragraph below if required and select applicable option.

D. Add air-entraining admixture at manufacturer's prescribed rate to result in normal-weight concrete at point of placement having an air content of [6.0 percent, plus or minus 1.5] [2.5 to 4.5] percent.

2.8 FABRICATION

Delete paragraph below if pile testing is not used to verify pile lengths.  Revise if another procedure is required.  Insert time period for design professional's action if required.

A. Pile Lengths:  After reviewing static pile test reports, Architect will verify pile lengths.

Check PCI tolerances to verify suitability for Project.

B. Molds:  Accurately construct molds, mortar tight, of sufficient strength to withstand pressures due to concrete placement, temperature changes, and for pretensioning and detensioning operations.  Maintain molds to provide completed piles of shapes, lines, and dimensions indicated, within fabrication tolerances specified in PCI MNL-116 and PCI MNL-135.

1. Unless molds are stripped before detensioning, design molds so stresses are not induced in piles due to deformation of concrete under prestress or movement during detensioning.

Retain subparagraph below if square piles are used.

2. Chamfer edges and corners of square piles.

C. Reinforcement:  Comply with recommendations of CRSI's "Manual of Standard Practice" for fabricating, placing, and supporting reinforcement.  Clean reinforcement of loose rust and mill scale, earth, and other materials that reduce or destroy bond with concrete.

1. Accurately position, support, and secure reinforcement against displacement by molds, construction, or concrete placement.  Locate and support reinforcement by metal chairs, runners, bolsters, spacers and hangers, as required.

2. Place reinforcement to obtain at least the minimum coverages for concrete protection.  Arrange, space, and securely tie bars and bar supports to hold reinforcement in position while placing concrete.  Set wire ties so ends are directed into concrete, not toward exposed concrete surfaces.

D. Prestress tendons for piles by either pretensioning or posttensioning methods.  Comply with PCI MNL-116.

Revise release strength in first subparagraph below to another percentage or an actual compressive strength if required.  PCI permits a release strength as low as 2500 psi (17.2 MPa) for normal-weight concrete.

1. Delay detensioning until concrete has reached at least 70 percent of its compressive strength as established by test cylinders cured under the same conditions as concrete.

2. If concrete has been heat cured, detension while concrete is still warm and moist to avoid dimensional changes that may cause cracking or undesirable stresses.

3. Detension pretensioned tendons either by gradually releasing tensioning jacks or by heat-cutting tendons, using a sequence and pattern to prevent shock or unbalanced loading.

E. Pile Shoes:  Accurately position and secure pile shoes at pile tips so as to not affect pile alignment during driving.  Weld pile shoes to longitudinal reinforcements.

Delete first paragraph below if pile splices are not required or permitted.

F. Pile Splices:  Accurately position and secure pile-splice segments requiring embedding in tips of piles.

G. Mix concrete according to PCI MNL-116 and requirements in this Section.  After initial concrete batching, no additional water may be added.

H. Place concrete in a continuous operation to prevent seams or planes of weakness from forming in piles.  Comply with requirements in PCI MNL-116 for measuring, mixing, transporting, and placing concrete.

1. Thoroughly consolidate placed concrete by internal and external vibration without dislocating or damaging reinforcement and built-in items.  Use equipment and procedures complying with PCI MNL-116.

2. Comply with ACI 306.1 procedures for cold-weather concrete placement.

3. Comply with ACI 305R recommendations for hot-weather concrete placement.

I. Identify pickup points of piles with permanent markings corresponding with markings indicated on Shop Drawings.  Imprint casting date on each pile.

J. Cure concrete according to requirements in PCI MNL-116 by moisture retention without heat or by accelerated heat curing using low-pressure live steam or radiant heat and moisture.

Delete first paragraph and subparagraphs below if posttensioning piles.  Revise release strength to another percentage or an actual compressive strength as required.  PCI permits a release strength as low as 2500 psi (17.2 MPa).

K. Delay detensioning piles until concrete has attained at least 70 percent of its compressive strength as established by test cylinders cured under the same conditions as concrete.

1. If concrete has been heat cured, detension while concrete is still warm and moist to avoid dimensional changes that may cause cracking or undesirable stresses.

2. Detension pretensioned tendons either by gradually releasing tensioning jacks or by heat-cutting tendons, using a sequence and pattern to prevent shock or unbalanced loading.

L. Where ends of strands will not be enclosed or covered, cut flush and cover with a high-strength mortar bonded to unit with an epoxy-resin bonding agent.

M. Fabricate precast prestressed concrete piles straight and true to size and shape with exposed edges and corners precise and true so each finished unit complies with PCI MNL-116 and PCI MNL-135 product tolerances.

N. Finish formed surfaces of piles as follows:

Select one of three subparagraphs below for finish.  Finishes are listed in ascending order of quality and cost.

1. Standard Finish:  Normal plant-run finish produced in forms that impart a smooth finish to concrete.  Small surface holes caused by air bubbles, normal color variations, form joint marks, and minor chips and spalls will be tolerated.  Major or unsightly imperfections, honeycombs, or structural defects are not permitted.

2. Commercial Finish:  Remove fins and large protrusions and fill large holes.  Rub or grind ragged edges.  Faces are to be true, well-defined surfaces.

3. Grade B Finish:  Fill air pockets and holes greater than 1/4 inch (6 mm) in diameter with sand-cement paste matching color of adjacent surfaces.  Grind-smooth form offsets or fins greater than 1/8 inch (3 mm).

O. Finish unformed surfaces by trowel, unless otherwise indicated.  Consolidate concrete, bring to proper level with straightedge, float, and trowel to a smooth, uniform finish.

P. Permanently mark each pile with horizontal lines at 12-inch (300-mm) intervals; mark the distance from pile tip at 60-inch (1500-mm) intervals.

2.9 SOURCE QUALITY CONTROL

Delete paragraph and subparagraph below if not required.  PCI certification may be acceptable to authorities having jurisdiction without further monitoring of plant quality-control and testing program by Owner.

A. Owner will employ an independent testing agency to evaluate pile manufacturers quality-control and testing methods.

1. Allow Owner's testing agency access to material storage areas, concrete production equipment, concrete placement, and curing facilities.  Cooperate with Owner's testing agency and provide samples of materials and concrete mixes as may be requested for additional testing and evaluation.

Always retain first paragraph below because it establishes the minimum standard of plant testing and inspecting.

B. Quality-Control Testing:  Test and inspect piles according to PCI MNL-116 requirements.

C. Strength of piles will be considered deficient if units fail to comply with requirements.

Review testing and acceptance criteria with structural engineer.  Add criteria for load tests if required.

D. Testing:  If there is evidence that the strength of piles may be deficient or may not comply with PCI MNL-116 requirements, Owner will employ an independent testing agency to obtain, prepare, and test cores drilled from hardened concrete to determine compressive strength according to ASTM C 42.

1. A minimum of three representative cores shall be taken from piles of suspect strength, from locations directed by Architect.

2. Cores shall be tested, following immersion in water, in a wet condition per ACI 301 if piles will be wet under service conditions.

Retain subparagraph above or first subparagraph below depending on in-service conditions.

3. Cores shall be tested in an air-dry condition per ACI 301 if piles will be dry under service conditions.

4. Strength of concrete for each series of three cores shall be considered satisfactory if the average compressive strength is at least 85 percent of the 28-day design compressive strength and no core compressive strength is less than 75 percent of the 28-day design compressive strength.

5. Test results shall be reported in writing on the same day that tests are performed, with copies to Architect, Contractor, and pile manufacturer.  Test reports shall include the following:

a. Project identification name and number.

b. Date when tests were performed.

c. Name of precast concrete manufacturer.

d. Name of concrete testing agency.

e. Identification letter, name, and type of pile represented by core tests; design compressive strength; type of break; compressive strength at break, corrected for length-diameter ratio; and direction of applied load to core in relation to horizontal plane of concrete as placed.

E. Patching:  If core test results are satisfactory and piles comply with requirements, solidly fill core holes with patching mortar and finish to match adjacent pile surfaces.

F. Defective Work:  Discard piles that do not comply with requirements, including strength, manufacturing tolerances, and finishes.  Replace with piles that comply with requirements.

PART 3 -  EXECUTION

3.1 EXAMINATION

Revise this Article to suit Project.

A. Site Conditions:  Do not start pile-driving operations until earthwork fills have been completed or excavations have reached an elevation of 6 to 12 inches (150 to 300 mm) above bottom of footing or pile cap.

3.2 DRIVING EQUIPMENT

A. Pile Hammer:  Air-, steam-, or diesel-powered type capable of consistently delivering driving energy to pile within range recommended by hammer manufacturer for length and weight of pile and character of subsurface material anticipated.

Select paragraph above or first paragraph below.  Revise above by adding a rated energy range if required.  Revise below to list limiting penetration rates during final driving instead of ultimate pile capacity if required.

B. Pile Hammer:  Air-, steam-, or diesel-powered type capable of developing ultimate pile capacity indicated considering length and weight of pile and character of subsurface material anticipated.

Retain subparagraph below if easy driving conditions result in tensile strength of pile reinforcement being exceeded.

1. Use pile hammer capable of adjustment to deliver reduced impact to maintain tensile stress within 70 percent of yield strength of pile reinforcement.

C. Hammer Cushions, Driving Caps, and Pile Cushions:  Provide hammer cushion, loosely fitted steel driving cap allowing rotation of pile without restraint, and replaceable pile cushion between hammer and top of pile, as recommended by hammer manufacturer for pile type.

D. Leads:  Use fixed or rigid-type pile-driver leads that will hold full length of pile firmly in position and in axial alignment with hammer.  Extend leads to within 24 inches (600 mm) of elevation at which pile enters ground.

3.3 STATIC PILE TESTS

Retain this Article if load testing is required to verify design assumptions during pile installation.  Coordinate with "Fabrication" Article in Part 2 to avoid premature pile casting.  Load testing is usually performed before permanent pile installation.

A. General:  Static pile tests will be used to verify design pile lengths and to confirm design load capacity of piles.

Revise subparagraphs below to suit Project.

1. Furnish test piles [60 inches (1500 mm)] <Insert dimension> longer than production piles.

2. Actual length of piles will be based on results of static pile tests.

B. Pile Tests:  Arrange and perform the following pile tests:

Select appropriate tests below.  Add optional loading apparatus and loading procedures if required.

1. Axial Compressive Static Load Test:  ASTM D 1143.

2. Axial Tension Static Load Test:  ASTM D 3689.

3. Lateral Load Test:  ASTM D 3966.

Delete paragraph below if not required.

C. Equip each test pile with two telltale rods, according to ASTM D 1143, for measuring deformation during load test.

Revise penetration rate and number of blows in first paragraph below to suit Project.

D. Drive test piles at locations indicated to a tip elevation below final cutoff elevation equal to pile length specified as basis of bid, or to refusal, whichever occurs first.  Piles will be considered as driven to refusal when 5 blows of hammer are required to produce a total penetration of 1/4 inch (6 mm) or less.

Revise number of days in subparagraph below to suit Project.

1. Allow a minimum of seven days to elapse after driving test piles before starting pile testing.

E. Provide pile reaction frame, anchor piles, equipment, and instrumentation with sufficient reaction capacity to perform tests.  Notify Architect at least 48 hours in advance of performing tests.  On completion of testing, remove testing structure, anchor piles, equipment, and instrumentation.

Select number of piles from options in subparagraph below or revise to suit Project.  Numbers are examples only.

1. Number of Test Piles:  [Two single] [Two single piles and one group of three] [One group of three] piles.

F. Driving Test Piles:  Use test piles identical to those required for Project and drive with appropriate pile-driving equipment operating at rated driving energy to be used in driving permanent piles.

Revise subparagraph below to include pile design loads if required.  Respective ASTM load test standards include default loading procedures as percentages of pile design loads.  Revise if piles are loaded to failure.

1. Pile Design Load:  [As indicated] <Insert load>.

Revise first paragraph and subparagraphs below to suit Project.  Criteria are examples only.

G. Approval Criteria:  Allowable design capacity of test piles shall be one-half of the load that results in the lesser of the following two values:

1. Net settlement, after deducting rebound, of not more than 0.01 inch/ton (0.25 mm/1000 kg) of test load.

2. Gross settlement of not more than 1 inch (25 mm), provided that load-settlement curve shows no sign of failure.

H. Test Pile-Driving Records:  Prepare driving records for each test pile, compiled and attested to by a qualified professional engineer.  Include same data as required for driving records of permanent piles.

I. Test piles that comply with requirements, including location tolerances, may be used on Project.

3.4 DRIVING PILES

Indicate tip elevations and limiting penetration resistance on Drawings or add here if retaining paragraph below without option.  If retaining option, coordinate with and retain "Static Pile Tests" Article.

A. General:  Continuously drive piles to elevations or penetration resistance indicated[ or established by static load testing of piles].  Establish and maintain axial alignment of leads and pile before and during driving.

Delete first paragraph and subparagraph below if predrilling is not permitted.  Revise limitations to suit Project or if prejetting is permitted.  Predrilling may also be used to penetrate hardpan, cemented strata, hard clay, or dense compacted clay.

B. Predrilling:  Provide pre-excavated holes for piles driven within 15 feet (4.5 m) of existing structures or underground utilities, to depths indicated.  Drill holes with a diameter less than the largest cross-section dimension of pile.

1. Firmly seat pile in predrilled hole by driving with reduced energy before starting final driving.

C. Heaved Piles:  Redrive heaved piles to tip elevation at least as deep as original tip elevation with a driving resistance at least as great as original driving resistance.

D. Pile Splices:  Splice piles during installation and align pile segments concentrically.

E. Driving Tolerances:  Drive piles without exceeding the following tolerances, measured at pile heads:

Review tolerances in three subparagraphs below and revise to suit Project or office standards.

1. Location:  4 inches (100 mm) from location indicated after initial driving, and 6 inches (150 mm) after pile driving is completed.

2. Plumb:  Maintain 1 inch (25 mm) in 10 feet (3 m) from vertical, or a maximum of 4 inches (100 mm), measured when pile is above ground in leads.

3. Batter Angle:  Maximum 1 inch (25 mm) in 10 feet (3 m) from required angle, measured when pile is above ground in leads.

F. Withdraw damaged or defective piles and piles that exceed driving tolerances and install new piles within driving tolerances.  Fill holes left by withdrawn piles as directed by Architect.

Retain applicable subparagraphs below.

1. Rejected piles may be abandoned and cut off as directed by Architect.

2. Leave rejected piles in place and install new piles in locations as directed by Architect.

3. Fill holes left by withdrawn piles that will not be filled by new piles using cohesionless soil material such as gravel, broken stone, and gravel-sand mixtures.  Place and compact in lifts not exceeding 72 inches (1800 mm).

G. Cutting Off:  Cut off tops of driven piles square with pile axis and at elevations indicated.

Delete first paragraph below if not acceptable or not anticipated.  Revise concrete strength to suit Project.

H. Build-ups:  Construct build-ups to elevations indicated of cast-in-place reinforced concrete with compressive strength not less than 5000 psi (34.5 MPa) at 28 days.

I. Pile-Driving Records:  Maintain accurate driving records for each pile, compiled and attested to by a qualified professional engineer.  Include the following data:

1. Project name and number.

2. Name of Contractor.

3. Type of pile and date of casting.

4. Pile location in pile group and designation of pile group.

5. Sequence of driving in pile group.

6. Pile dimensions.

7. Ground elevation.

8. Elevation of tips after driving.

9. Final tip and cutoff elevations of piles after driving pile group.

10. Records of redriving.

11. Elevation of splices.

12. Type, make, model, and rated energy of hammer.

13. Weight and stroke of hammer.

14. Type of pile-driving cap used.

15. Cushion material and thickness.

16. Actual stroke and blow rate of hammer.

17. Pile-driving start and finish times, and total driving time.

18. Time, pile-tip elevation, and reason for interruptions.

19. Number of blows for each 12 inches (300 mm) of penetration, and number of blows per 1 inch (25 mm) for the last 6 inches (150 mm) of driving.

20. Pile deviations from location and plumb.

21. Preboring, jetting, or special procedures used.

22. Unusual occurrences during pile driving.

3.5 FIELD QUALITY CONTROL

A. Testing Agency:  Owner will engage a qualified independent testing agency to perform field quality-control testing.

Revise number or percentage of piles in paragraph below to suit Project.  Numbers are examples only.

B. High-strain dynamic monitoring shall be performed and reported according to ASTM D 4945 during initial driving and during restriking on [12 single] [15 percent of] piles.

Revise paragraph below to a percentage of piles to be tested if required.  Low-strain integrity testing does not appear to be subject to consensus-standard testing procedures.  Consider adding particular tests and acceptance criteria that help inform Contractor on status of Work.

C. Low-strain integrity measurement shall be performed and reported for each pile.

3.6 DISPOSAL

A. Remove withdrawn piles and cutoff sections of piles from site and legally dispose of them off Owner's property.

END OF SECTION 316213

	CONCRETE PILES
	316213 - 1



