Copyright 2001 and 2005 AIA
MASTERSPEC Full Length
08/01 (R 05/05)

Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 316216 - STEEL PILES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes steel H piles.

1.3 UNIT PRICES

Retain this Article if unit prices apply to Work of this Section; coordinate with bidding and proposal forms as well as Division 01 Section "Unit Prices."

A. General:  Refer to Division 01 Section "Unit Prices" for piles affected by unit prices.

B. The Contract Sum:  Base the Contract Sum on number and dimensions of piles indicated from tip to cutoff, plus not less than 12 inches (300 mm) of overlength for cutting piles at cutoff elevations.

C. Measurement:  Using data obtained during pile driving, Architect will calculate actual total net length of piles installed.  Measurements will be based on effective length of piles in place, with lengths measured to nearest 12 inches (300 mm).

1. Additional payment for pile lengths in excess of that indicated, and credit for pile lengths less than that indicated, will be calculated at unit prices stated in the Contract, based on net addition or deduction to total pile length.

2. Unit prices include labor, materials, tools, equipment, and incidentals for furnishing, driving, cutting off, capping, and splicing piles and disposing of cutoffs.

3. Test piles that become part of permanent foundation system will be considered as an integral part of the Work.

4. No payment will be made for rejected piles, including piles driven out of tolerance, defective piles, or piles damaged during handling or driving.

1.4 SUBMITTALS

A. Product Data:  For each type of pile product, accessory, and paint indicated.

B. Shop Drawings:  Show fabrication and installation details for piles, including driving points, splices, field-cut holes, and pile caps.

1. Indicate welds by standard AWS symbols, distinguishing between shop and field welds, and show size, length, and type of each weld.

Retain subparagraph below if static pile tests are specified.

2. Include arrangement of static pile reaction frame, test and anchor piles, equipment, and instrumentation.  Submit structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

C. Welding certificates.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

D. Qualification Data:  For [Installer] [professional engineer] [and] [testing agency].

E. Mill Test Reports:  For [steel H piles] [steel castings] [and] [steel plate], signed by manufacturer.

First paragraph below is based on impact equipment.  Revise equipment submittal if vibratory hammers or other nonimpact equipment is required.

F. Pile-Driving Equipment:  Include type, make, maximum rated energy, and rated energy per blow of hammer; weight of striking part of hammer; weight of drive cap; details, type, and structural properties of hammer cushion; and details of follower and jetting equipment.

G. Static Pile Test Reports:  Submit within two days of completing each test.

H. Pile-Driving Records:  Submit within two days of driving each pile.

1.5 QUALITY ASSURANCE

A. Installer Qualifications:  A firm experienced in installing driven piles similar in material, design, and extent indicated for this Project, whose work has resulted in construction with a record of successful in-service performance.

1. Installer's responsibility includes providing a qualified professional engineer to prepare pile-driving records.

Retain first paragraph below if Contractor or fabricator selects testing agency.

B. Testing Agency Qualifications:  An independent testing agency[, acceptable to authorities having jurisdiction,] qualified according to ASTM E 329 for testing indicated, as documented according to ASTM E 548.

C. Comply with requirements of the following publications:

Retain one of two subparagraphs below.

1. AISC's "Load and Resistance Factor Design Specification for Structural Steel Buildings."

2. AISC's "Specification for Structural Steel Buildings--Allowable Stress Design and Plastic Design."

Delete paragraph below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

D. Welding Standards:  Qualify welding procedures and personnel according to AWS D1.1, "Structural Welding Code--Steel."

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

E. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Deliver piles to Project site in such quantities and at such times to ensure continuity of installation.  Handle and store piles at Project site to prevent physical damage.  Support piles with webs in vertical position.

Delete subparagraph below if piles do not require coatings.

1. Protect pile coatings and touch up damage to coatings before driving piles.

1.7 PROJECT CONDITIONS

A. Protect structures, underground utilities, and other construction from damage caused by pile driving.

Delete, relocate, or revise paragraph below according to office practice.  Delete if geotechnical report is part of the Contract Documents.

B. Site Information:  A geotechnical report has been prepared for this Project and is [included] [referenced] elsewhere in the Project Manual for information only.

PART 2 -  PRODUCTS

2.1 STEEL H PILES

Select type of steel from four paragraphs below.  Indicate lengths if more than one steel type is proposed, e.g., for permanently immersed and marine splash zones.

A. Carbon Steel:  ASTM A 36/A 36M.

B. High-Strength, Low-Alloy, Columbium-Vanadium Steel:  ASTM A 572/A 572M, [Grade 50 (Grade 345)] [Grade 60 (Grade 415)].

C. High-Strength, Low-Alloy, H-Pile Steel:  ASTM A 690/A 690M.

Steels in paragraph above and below have corrosion resistance superior to steels that comply with ASTM A 36/A 36M and ASTM A 572/A 572M.  Verify availability of HP shapes with manufacturers.  Both types have yield strengths of 50 ksi (345 MPa).

D. High-Strength, Low-Alloy, Structural Steel:  ASTM A 588/A 588M.

2.2 PILE ACCESSORIES

Retain this Article if manufactured pile accessories are required.

A. Driving Points:  Manufacturer's standard one-piece driving point, fabricated from steel castings as follows to provide full bearing of web and flange of pile tip.  Cast driving point with integral tapered cutting wedges and with top alignment curbs to encase web and flanges of pile.

Select type of steel castings from subparagraphs below.  Carbon-steel castings are used more than high-strength steel castings.  Verify availability of steel castings of specific grades with manufacturers.

1. Carbon-Steel Castings:  ASTM A 27/A 27M, [Grade 65-35 (Grade 450-240), heat treated] [or] [Grade N1].

2. High-Strength Steel Castings:  ASTM A 148/A 148M, [Grade 80-40 (Grade 550-275)] [or] [Grade 90-60 (Grade 620-415)].

B. Splice Unit:  Manufacturer's standard splice unit, fabricated from two connected steel plates, of same material as H pile, shaped and tapered to encase web and part of each flange.

2.3 PAINT

Delete this Article if protective painting is not required.  If a separate primer is required, supplement this Article with epoxy-resin, zinc-rich, or other rust-inhibiting primers.  Revise to a proprietary coating system if required.

A. Paint:  SSPC-Paint 16; self-priming, two-component, coal-tar epoxy polyamide, [black] [red] [manufacturer's standard color].

2.4 FABRICATION

Delete first paragraph below if pile testing is not used to verify pile lengths.  Revise if another procedure is required.  Insert time period for design professional's action if required.

A. Pile Lengths:  After reviewing static pile test reports, Architect will verify pile lengths.

B. Fabricate and assemble piles in shop to greatest extent possible.

C. Identify high-strength steel piles and maintain markings until driven.

D. Fabricate full-length piles to eliminate splicing during driving, with ends square.

Retain paragraph above or first paragraph below.  Piles less than 60 feet (18 m) long should not need splices unless lengths of different steel material are required.

E. Fabricate full-length piles by splicing lengths of H pile together.  Accurately mill meeting ends of piles and bevel for welding.  Maintain axial alignment of pile lengths.

Retain subparagraph below and show splice-unit details on Drawings.

1. Splice Unit:  Notch web of pile, fit splice unit into position, and weld according to manufacturer's written instructions and AWS D1.1 for procedures, appearance and quality of welds, and methods used in correcting welding work.

Delete subparagraph above and retain subparagraph below if fully welded splices are required.  Show type and size of weld on Drawings.

2. Welded Splices:  Continuously weld pile according to AWS D1.1 for procedures, appearance and quality of welds, and methods used in correcting welding work.

Revise subparagraph below if limiting option to shop fabrication.

3. Splice piles during fabrication or field installation.

F. Fit and weld driving points to tip of pile according to manufacturer's written instructions and AWS D1.1 for procedures, appearance and quality of welds, and methods used in correcting welding work.

G. Pile-Length Markings:  Permanently mark each pile with horizontal lines at 12-inch (300-mm) intervals; mark the distance from pile tip at 60-inch (1500-mm) intervals.

2.5 SHOP PAINTING

Delete this Article if shop painting is not required.

A. General:  Shop paint steel pile surfaces except for surfaces to be encased in concrete, as follows:

Retain one or both subparagraphs below to suit project.

1. Extend painting to a depth of 60 inches (1500 mm) below finished grade to top of exposed pile.

2. Extend painting from a depth of 60 inches (1500 mm) below low-tide level to top of exposed pile.

B. Surface Preparation:  Clean surfaces to be painted.  Remove loose rust and loose mill scale, spatter, slag, and flux deposits.  Prepare surfaces according to SSPC-SP 10/NACE No. 2, "Near-White Blast Cleaning."

C. Painting:  Immediately after surface preparation, apply first coat of paint according to manufacturer's written instructions to provide a dry film thickness of not less than 8 mils (0.2 mm).

1. Apply second coat to provide a dry film thickness of not less than 8 mils (0.2 mm), resulting in a 2-coat paint system thickness of not less than 16 mils (0.4 mm).

Retain subparagraph above if two-coat paint system is required; retain first subparagraph below if three-coat paint system is required.

2. Apply second and third coats with each coat having a dry film thickness of not less than 8 mils (0.2 mm), resulting in a 3-coat paint system thickness of not less than 24 mils (0.6 mm).

3. Mark pile lengths after shop painting.

PART 3 -  EXECUTION

3.1 EXAMINATION

Revise this Article to suit Project.

A. Site Conditions:  Do not start pile-driving operations until earthwork fills have been completed or excavations have reached an elevation of 6 to 12 inches (150 to 300 mm) above bottom of footing or pile cap.

3.2 DRIVING EQUIPMENT

A. Pile Hammer:  Air-, steam-, or diesel-powered type capable of consistently delivering driving energy to pile within range recommended by hammer manufacturer for length and weight of pile and character of subsurface material anticipated.

Select paragraph above or first paragraph below.  Revise above by adding a rated energy range if required.  Revise below to list limiting penetration rates during final driving instead of ultimate pile capacity if required.

B. Pile Hammer:  Air-, steam-, or diesel-powered type capable of developing ultimate pile capacity indicated considering length and weight of pile and character of subsurface material anticipated.

C. Hammer Cushions and Driving Caps:  Between hammer and top of pile, provide hammer cushion and steel driving cap recommended by hammer manufacturer for type of pile.

D. Leads:  Use fixed or rigid-type pile-driver leads that will hold full length of pile firmly in position and in axial alignment with hammer.  Extend leads to within 24 inches (600 mm) of elevation at which pile enters ground.

3.3 STATIC PILE TESTS

Retain this Article if load testing is required to verify design assumptions during pile installation.  Load testing is usually performed before permanent pile installation.

A. General:  Static pile tests will be used to verify design pile lengths and to confirm design load capacity of piles.

Revise subparagraphs below to suit Project.

1. Furnish test piles [60 inches (1500 mm)] <Insert dimension> longer than production piles.

2. Actual length of piles will be based on results of static pile tests.

B. Pile Tests:  Arrange and perform the following pile tests:

Select appropriate tests below.  Add optional loading apparatus and loading procedures if required.

1. Axial Compressive Static Load Test:  ASTM D 1143.

2. Axial Tension Static Load Test:  ASTM D 3689.

3. Lateral Load Test:  ASTM D 3966.

Delete paragraph below if not required.

C. Equip each test pile with two telltale rods, according to ASTM D 1143, for measuring deformation during load test.

Revise penetration rate and number of blows in first paragraph below to suit Project.

D. Drive test piles at locations indicated to a tip elevation below final cutoff elevation equal to pile length specified as basis of bid, or to refusal, whichever occurs first.  Piles will be considered as driven to refusal when 5 blows of hammer are required to produce a total penetration of 1/4 inch (6 mm) or less.

Revise number of days in subparagraph below to suit Project.

1. Allow a minimum of seven days to elapse after driving test piles before starting pile testing.

E. Provide pile reaction frame, anchor piles, equipment, and instrumentation with sufficient reaction capacity to perform tests.  Notify Architect at least 48 hours in advance of performing tests.  On completion of testing, remove testing structure, anchor piles, equipment, and instrumentation.

Select number of piles from options in subparagraph below or revise to suit Project.  Numbers are examples only.

1. Number of Test Piles:  [Two single] [Two single piles and one group of three] [One group of three] piles.

F. Driving Test Piles:  Use test piles identical to those required for Project and drive with appropriate pile-driving equipment operating at rated driving energy to be used in driving permanent piles.

Revise subparagraph below to include pile design loads if required.  Respective ASTM load test standards include default loading procedures as percentages of pile design loads.  Revise if piles are loaded to failure.

1. Pile Design Load:  [As indicated] <Insert load>.

Revise first paragraph and subparagraphs below to suit Project.  Criteria are examples only.

G. Approval Criteria:  Allowable design capacity of test piles shall be one-half of the load that results in the lesser of the following two values:

1. Net settlement, after deducting rebound, of not more than 0.01 inch/ton (0.25 mm/1000 kg) of test load.

2. Gross settlement of not more than 1 inch (25 mm), provided that load-settlement curve shows no sign of failure.

H. Test Pile-Driving Records:  Prepare driving records for each test pile, compiled and attested to by a qualified professional engineer.  Include same data as required for driving records of permanent piles.

I. Test piles that comply with requirements, including location tolerances, may be used on Project.

3.4 DRIVING PILES

Indicate tip elevations and limiting penetration resistance on Drawings or add here if retaining paragraph below without option.  If retaining option, coordinate with and retain "Static Pile Tests" Article.

A. General:  Continuously drive piles to elevations or penetration resistance indicated[ or established by static load testing of piles].  Establish and maintain axial alignment of leads and pile before and during driving.

Delete first paragraph and subparagraph below if predrilling is not permitted.  Revise limitations to suit Project or if prejetting is permitted.  Predrilling may also be used to penetrate hardpan, cemented strata, hard clay, or dense compacted clay.

B. Predrilling:  Provide pre-excavated holes for piles driven within 15 feet (4.5 m) of existing structures or underground utilities, to depths indicated.  Drill holes with a diameter less than the largest cross-section dimension of pile.

1. Firmly seat pile in predrilled hole by driving with reduced energy before starting final driving.

C. Heaved Piles:  Redrive heaved piles to tip elevation at least as deep as original tip elevation with a driving resistance at least as great as original driving resistance.

D. Driving Tolerances:  Drive piles without exceeding the following tolerances, measured at pile heads:

Review tolerances in three subparagraphs below and revise to suit Project or office standards.

1. Location:  4 inches (100 mm) from location indicated after initial driving, and 6 inches (150 mm) after pile driving is completed.

2. Plumb:  Maintain 1 inch (25 mm) in 10 feet (3 m) from vertical, or a maximum of 4 inches (100 mm), measured when pile is above ground in leads.

3. Batter Angle:  Maximum 1 inch (25 mm) in 10 feet (3 m) from required angle, measured when pile is above ground in leads.

E. Withdraw damaged or defective piles and piles that exceed driving tolerances and install new piles within driving tolerances.  Fill holes left by withdrawn piles as directed by Architect.

Retain applicable subparagraphs below.

1. Rejected piles may be abandoned and cut off as directed by Architect.

2. Leave rejected piles in place and install new piles in locations as directed by Architect.

3. Fill holes left by withdrawn piles that will not be filled by new piles using cohesionless soil material such as gravel, broken stone, and gravel-sand mixtures.  Place and compact in lifts not exceeding 72 inches (1800 mm).

F. Cutting Off:  Cut off tops of driven piles square with pile axis and at elevations indicated.

Delete subparagraph below if no pile caps.

1. Pile Caps:  Weld steel plates, of same material as H pile, to top of steel pile square and level.

G. Pile-Driving Records:  Maintain accurate driving records for each pile, compiled and attested to by a qualified professional engineer. Include the following data:

1. Project name and number.

2. Name of Contractor.

3. Pile location in pile group and designation of pile group.

4. Sequence of driving in pile group.

5. Pile dimensions.

6. Ground elevation.

7. Elevation of tips after driving.

8. Final tip and cutoff elevations of piles after driving pile group.

9. Records of redriving.

10. Elevation of splices.

11. Type, make, model, and rated energy of hammer.

12. Weight and stroke of hammer.

13. Type of pile-driving cap used.

14. Cushion material and thickness.

15. Actual stroke and blow rate of hammer.

16. Pile-driving start and finish times, and total driving time.

17. Time, pile-tip elevation, and reason for interruptions.

18. Number of blows for each 12 inches (300 mm) of penetration, and number of blows per 1 inch (25 mm) for the last 6 inches (150 mm) of driving.

19. Pile deviations from location and plumb.

20. Preboring, jetting, or special procedures used.

21. Unusual occurrences during pile driving.

3.5 FIELD QUALITY CONTROL

A. Testing Agency:  Owner will engage a qualified independent testing agency to perform field quality-control testing.

Revise number or percentage of piles in paragraph below to suit Project.  Numbers are examples only.

B. High-strain dynamic monitoring shall be performed and reported according to ASTM D 4945 during initial driving and during restriking on [12 single] [15 percent of] piles.

Revise paragraph below to a percentage of piles to be tested if required.  Low-strain integrity testing does not appear to be subject to consensus-standard testing procedures.  Consider adding particular tests and acceptance criteria that help inform Contractor on status of Work.

C. Low-strain integrity measurement shall be performed and reported for each pile.

Delete welding inspection below if pile splices are not permitted and driving points are required.

D. Weld Testing:  In addition to visual inspection, welds shall be tested and inspected according to AWS D1.1 and the inspection procedures listed below, at testing agency's option.  Correct deficiencies in Work that test reports and inspections indicate does not comply with the Contract Documents.

Retain applicable inspection procedures in four subparagraphs below.  Include extent of weld inspections for Contractor's information.

1. Liquid Penetrant Inspection:  ASTM E 165.

2. Magnetic Particle Inspection:  ASTM E 709; performed on root pass and on finished weld.  Cracks or zones of incomplete fusion or penetration will not be accepted.

3. Radiographic Inspection:  ASTM E 94, minimum quality level "2-2T."

4. Ultrasonic Inspection:  ASTM E 164.

3.6 TOUCHUP PAINTING

A. Clean field welds, splices, and abraded painted areas and field-apply paint according to SSPC-PA 1.  Use same paint and apply same number of coats as specified for shop painting.

1. Apply touchup paint before driving piles to surfaces that will be immersed or inaccessible after driving.

3.7 DISPOSAL

A. Remove withdrawn piles and cutoff sections of piles from site and legally dispose of them off Owner's property.

END OF SECTION 316216

	STEEL PILES
	316216 - 1



