Copyright 2001 and 2005 AIA
MASTERSPEC Full Length
08/01 (R 05/05)

Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 316223 - COMPOSITE PILES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes concrete-filled steel [shell] [pipe] piles.

1.3 UNIT PRICES

Retain this Article if unit prices apply to Work of this Section; coordinate with bidding and proposal forms as well as Division 01 Section "Unit Prices."

A. General:  Refer to Division 01 Section "Unit Prices" for piles affected by unit prices.

B. The Contract Sum:  Base the Contract Sum on number and dimensions of piles indicated from tip to cutoff, plus not less than 12 inches (300 mm) of overlength for cutting piles at cutoff elevations.

C. Measurement:  Using data obtained during pile driving, Architect will calculate actual total net length of piles installed.  Measurements will be based on effective length of piles in place, with lengths measured to nearest 12 inches (300 mm).

1. Additional payment for pile lengths in excess of that indicated, and credit for pile lengths less than that indicated, will be calculated at unit prices stated in the Contract, based on net addition or deduction to total pile length.

2. Unit prices include labor, materials, tools, equipment, and incidentals for furnishing, driving, cutting off, capping, and splicing piles and disposing of cutoffs.

3. Test piles that become part of permanent foundation system will be considered as an integral part of the Work.

4. No payment will be made for rejected piles, including piles driven out of tolerance, defective piles, or piles damaged during handling or driving.

1.4 SUBMITTALS

A. Product Data:  For each type of pile product, accessory, and paint indicated.

B. Shop Drawings:  Show fabrication and installation details for piles, including splices and tip details.

1. Indicate welds by standard AWS symbols, distinguishing between shop and field welds, and show size, length, and type of each weld.

2. Indicate locations, sizes, type, and arrangement of reinforcement.

Retain subparagraph below if static pile tests are specified.

3. Include arrangement of static pile reaction frame, test and anchor piles, equipment, and instrumentation.  Submit structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Retain first paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

C. Welding certificates.

D. Design Mixes:  For each concrete mix.  Include revised mix proportions when characteristics of materials, Project conditions, weather, test results, or other circumstances warrant adjustments.

Retain subparagraph below unless laboratory tests are deleted from the Specifications.

1. Laboratory Test Reports:  For evaluating concrete materials and mix design tests.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For [Installer] [professional engineer] [and] [testing agency].

F. Material Test Reports:  For concrete materials.

G. Material Certificates:  For [steel shell piles and accessories] [steel pipe piles and accessories] [steel reinforcement] [and] [concrete admixtures], signed by manufacturers.

First paragraph below is based on impact equipment.  Revise equipment submittal if vibratory hammers or other nonimpact equipment is required.

H. Pile-Driving Equipment:  Include type, make, maximum rated energy, and rated energy per blow of hammer; weight of striking part of hammer; weight of drive cap; details, type, and structural properties of hammer cushion; and details of follower and jetting equipment.

Delete subparagraph below unless specifying mandrel-driven steel shell piles.

1. Include mandrel type and details.

I. Static Pile Test Reports:  Submit within two days of completing each test.

J. Pile-Driving Records:  Submit within two days of driving each pile.

1.5 QUALITY ASSURANCE

A. Installer Qualifications:  A firm experienced in installing driven piles similar in material, design, and extent indicated for this Project, whose work has resulted in construction with a record of successful in-service performance.

1. Installer's responsibility includes providing a qualified professional engineer to prepare pile-driving records.

Retain first paragraph below if Contractor or fabricator selects testing agency for concrete mixes specified in Part 2.

B. Testing Agency Qualifications:  An independent testing agency[, acceptable to authorities having jurisdiction,] qualified according to ASTM C 1077 and ASTM E 329 for testing indicated, as documented according to ASTM E 548.

C. Comply with requirements of the following publications:

Delete nonapplicable references below.

1. ACI 301, "Specifications for Structural Concrete."

2. AISC's "Load and Resistance Factor Design Specification for Structural Steel Buildings."

Retain subparagraph above or below for steel pipe piles.

3. AISC's "Specification for Structural Steel Buildings--Allowable Stress Design and Plastic Design."

Retain subparagraph below for steel shell piles.

4. AISI's "Specification for the Design of Cold-Formed Steel Structural Members."

Delete paragraph below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  Verify that AWS D1.3 option applies if welding concrete-filled steel shell piles.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

D. Welding Standards:  Qualify welding procedures and personnel according to AWS D1.1, "Structural Welding Code--Steel[.]"[ and AWS D1.3, "Structural Welding Code--Sheet Steel." ]

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

E. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Deliver piles to Project site in such quantities and at such times to ensure continuity of installation.  Handle and store piles at Project site to prevent physical damage.

Delete subparagraph below if piles do not require coatings.

1. Protect pile coatings and touch up damage to coatings before driving piles.

1.7 PROJECT CONDITIONS

A. Protect structures, underground utilities, and other construction from damage caused by pile driving.

Delete, relocate, or revise paragraph below according to office practice.  Delete if geotechnical report is part of the Contract Documents.

B. Site Information:  A geotechnical report has been prepared for this Project and is [included] [referenced] elsewhere in the Project Manual for information only.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Fluted Pile Shells:

a. Monotube Pile Corporation

b. <Insert manufacturer's name.>

2. Helically Corrugated Pile Shells:

a. Contech Construction Products Inc.

b. <Insert manufacturer's name.>

2.2 STEEL SHELL PILES

Retain this Article if steel shell piles are required.  Retain paragraph and subparagraphs below if fluted pile shells are required.

A. Fluted Pile Shells:  Manufacturer's standard, vertically fluted pile shells; cold formed from steel sheet; 50,000-psi (345-MPa) minimum yield strength after forming.  Fabricate watertight, uniformly tapered sections with forged-steel conical nose welded to tip.

Retain subparagraph below if extension sections are required.

1. Constant Diameter Extensions:  Fabricate with splice overlap capable of telescoping into tapered section.

Select one taper rate from options in subparagraph below.

2. Taper:  [0.14 inch in 12 inches (1:86)] [0.25 inch in 12 inches (1:48)] [0.40 inch in 12 inches (1:30)].

Select one thickness from options in subparagraph below.

3. Thickness:  [0.1495 inch (3.8 mm)] [0.1793 inch (4.5 mm)] [0.2092 inch (5.3 mm)] [0.2391 inch (6.1 mm)].

Retain paragraph and subparagraphs below if helically corrugated pile shells are required.

B. Helically Corrugated Pile Shells:  Manufacturer's standard, helically corrugated, uniform-diameter, steel sheet shell piles; of sufficient strength and thickness to remain watertight and resist distortion and buckling due to soil pressure, internal mandrel operation, or redriving.  Fabricate in 1-piece lengths with 3/16-inch- (4.76-mm-) thick, minimum steel-plate boot continuously welded to tip and as follows:

Select one diameter from options in subparagraph below.

1. Nominal Diameter:  [8-5/8 inches (219 mm)] [10-5/8 inches (270 mm)] [11-1/8 inches (283 mm)] [12-1/4 inches (311 mm)] [14 inches (350 mm)] [16-1/8 inches (410 mm)].

Select one thickness from options in subparagraph below or delete all.  If Contractor is responsible for choosing nonstructural shell thickness, delete thicknesses below or select a default minimum thickness.

2. Thickness:  [0.0478 inch (1.2 mm), minimum] [0.0598 inch (1.5 mm), minimum] [0.0747 inch (1.9 mm), minimum] [0.1046 inch (2.6 mm)].

2.3 STEEL PIPE PILES

Retain this Article if steel pipe piles are required.  Yield strength of Grade 2 pipe is 35 ksi (240 MPa); Grade 3 pipe is 45 ksi (310 MPa).

A. Steel Pipe:  ASTM A 252, Grade [2] [3]; seamless or welded.

2.4 STEEL REINFORCEMENT

A. Reinforcing Bars:  ASTM A 615/A 615M, Grade 60 (Grade 420); deformed.

Retain first paragraph below when welding of reinforcing bars is anticipated.

B. Low-Alloy-Steel Reinforcing Bars:  ASTM A 706/A 706M.

C. Galvanized Reinforcing Bars:  ASTM A 767/A 767M, Class II zinc coated, hot-dip galvanized after fabrication and bending, as follows:

Select type of reinforcement to be galvanized from options in subparagraph below.

1. Steel Reinforcement:  [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M]; deformed.

D. Epoxy-Coated Reinforcing Bars:  ASTM A 775/A 775M or ASTM A 934/A 934M, as follows:

Select type of reinforcement to be epoxy coated from options in subparagraph below.

1. Steel Reinforcement:  [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M]; deformed.

E. Plain Steel Wire:  ASTM A 82, [as drawn] [galvanized].

F. Deformed-Steel Wire:  ASTM A 496.

G. Epoxy-Coated-Steel Wire:  ASTM A 884/A 884M, Class A coated, [plain] [deformed].

2.5 CONCRETE MATERIALS

Delete materials in this Article if not required.  Revise to suit Project.

A. Portland Cement:  ASTM C 150, Type I or II.

Select mineral or cementitious admixtures from two subparagraphs below if permitted.  Ready-mix plant blends these materials with portland cement.

1. Fly Ash:  ASTM C 618, Class C or F.

2. Ground Granulated Blast-Furnace Slag:  ASTM C 989, Grade 100 or 120.

Delete paragraph below if blended hydraulic cement, blended at cement plant, is not permitted.  Select blended hydraulic cement types from options below.  Retain selections in paragraph and subparagraphs above with selections below if Contractor's choice.

B. Blended Hydraulic Cement:  ASTM C 595, Type [IS, portland blast-furnace slag] [IP, portland-pozzolan] [I (PM), pozzolan-modified portland] [I (SM), slag-modified portland] cement.

Select class of aggregate from options in first paragraph below or revise to suit Project.  ASTM C 33 limits deleterious substances in coarse aggregate depending on climate severity and in-service location of concrete.  Classes 3S, 3M, and 1N apply to severe, moderate, and negligible weathering regions respectively unless stricter limits, such as those in first two options, are specified.  Add aggregate gradation if required.

C. Normal-Weight Aggregates:  ASTM C 33, Class [4S] [4M] [1N] <Insert class>, uniformly graded, 3/4-inch (19-mm) maximum aggregate size.  Provide aggregates from a single source.

D. Water:  Potable, complying with ASTM C 94/C 94M requirements.

E. Admixtures:  Provide admixtures certified by manufacturer to be compatible with other admixtures and to contain not more than 0.1 percent chloride ions by mass of cementitious material.

Select one or more admixtures from subparagraphs below.

1. Air-Entraining Admixture:  ASTM C 260.

2. Water-Reducing Admixture:  ASTM C 494/C 494M, Type A.

3. Retarding Admixture:  ASTM C 494/C 494M, Type B.

4. Water-Reducing and Retarding Admixture:  ASTM C 494/C 494M, Type D.

5. High-Range, Water-Reducing Admixture:  ASTM C 494/C 494M, Type F.

6. High-Range, Water-Reducing and Retarding Admixture:  ASTM C 494/C 494M, Type G.

7. Plasticizing and Retarding Admixture:  ASTM C 1017/C 1017M, Type II.

2.6 PILE ACCESSORIES

Retain this Article if manufactured pile accessories are required for steel pipe piles.  Delete if steel shell piles are required.

A. Driving Points:  Manufacturer's standard 60-degree conical driving point, with integral reinforcing ribs, to provide full bearing of pipe pile tip.  Fabricate from steel castings as follows:

Retain paragraph above if tip of steel pipe pile is closed; retain one of first two paragraphs below if cutting shoes are required in open-ended steel pipe piles.

B. Inside Cutting Shoes:  Manufacturer's standard, inside-flanged, open-ended cutting shoe, to provide full bearing of pipe pile tip.  Fabricate from steel castings as follows:

C. Outside Cutting Shoes:  Manufacturer's standard, outside-flanged, open-ended cutting shoe, to provide full bearing of pipe pile tip.  Fabricate from steel castings as follows:

Select type and grade of steel castings from subparagraphs below with paragraph selected above.  Carbon-steel castings are used more than high-strength steel castings.  Verify availability of steel castings of specific grades with manufacturers.

1. Carbon-Steel Castings:  ASTM A 27/A 27M, [Grade 65-35 (Grade 450-240), heat treated] [or] [Grade N1].

2. High-Strength Steel Castings:  ASTM A 148/A 148M, [Grade 80-40 (Grade 550-275)] [or] [Grade 90-60 (Grade 620-415)].

D. Splice Coupling:  Manufacturer's standard splice coupling, rolled from ASTM A 36/A 36M, carbon-steel bar or cast from heat-treated carbon steel, ASTM A 27/A 27M, Grade 65-35 (Grade 450-240), with interior stop and internally tapered for friction fit driving.

2.7 PAINT

Delete this Article if protective painting is not required.  Paint system below may be unsuitable for steel shell piles.  If a separate primer is required, supplement this Article with epoxy-resin, zinc-rich, or other compatible rust-inhibitive primers.  Revise to a proprietary coating system if required.

A. Paint:  SSPC-Paint 16; self-priming, two-component, coal-tar epoxy polyamide, [black] [red] [manufacturer's standard color].

2.8 CONCRETE MIXES

A. Prepare concrete design mixes according to ACI 301, determined by either laboratory trial batch or field test data basis.

1. Use a qualified testing agency for preparing and reporting proposed mix designs determined by laboratory trial batch.

B. Proportion mixes according to ACI 301 to provide normal-weight concrete suitable for piles with the following properties:

Select strength from options in subparagraph below or revise to suit Project.

1. Compressive Strength (28 Days):  [5000 psi (34.5 MPa)] [4000 psi (27.6 MPa)] [3000 psi (20.7 MPa)].

Select water-cementitious material ratio from options in subparagraph below or revise to suit Project.

2. Maximum Water-Cementitious Material Ratio at Point of Placement:  [0.45] [0.50].

Select slump limit from options in subparagraph below or revise to suit Project.

3. Slump Limit:  [5 inches (127 mm)] [8 inches (203 mm)], plus or minus 1 inch (25 mm).

Retain first paragraph below if required, and select applicable option.

C. Add air-entraining admixture at manufacturer's prescribed rate to result in normal-weight concrete at point of placement having an air content of [6.0 percent, plus or minus 1.5] [2.5 to 4.5] percent.

D. Cementitious Materials:  Limit percentage, by weight, of cementitious materials other than portland cement according to ACI 301 limits as if concrete were exposed to deicing chemicals.

Retain first option in first paragraph below if piles will be exposed to chlorides in service; retain second option for situations that will not be dry or protected from moisture in service.  Percentages are derived from ACI 301.

E. Limit water-soluble, chloride-ion content in hardened concrete to [0.15] [0.30] percent by weight of cement.

F. Concrete-mix design adjustments may be considered if characteristics of materials, Project conditions, weather, test results, or other circumstances warrant.  Resubmit and obtain approval from Architect of proposed changes to concrete-mix proportions.

2.9 FABRICATION

Delete first paragraph below if pile testing is not used to verify pile lengths.  Revise if another procedure is required.  Insert time period for design professional's action if required.

A. Pile Lengths:  After reviewing static pile test reports, Architect will verify pile lengths.

B. Fabricate and assemble piles in shop to greatest extent possible.

C. Fabricate full-length piles to eliminate splicing during driving.

Retain paragraph above or first paragraph below.

D. Fabricate full-length piles by splicing pile lengths together.  Maintain axial alignment of pile lengths.

Retain subparagraph below for pipe piles if splice coupling is welded and work takes place in fabricator's shop.

1. Splice Coupling:  Fit splice coupling into position and weld to adjoining steel pipe pile sections according to manufacturer's written instructions and AWS D1.1 for procedures, appearance and quality of welds, and methods used in correcting welding work.

Delete subparagraph above and retain subparagraph below if welded splices are required for pipe piles.  Show type and size of weld on Drawings.

2. Welded Splices:  Accurately mill meeting ends of steel pipe piles and bevel for welding.  Continuously weld pile according to AWS D1.1 for procedures, appearance and quality of welds, and methods used in correcting welding work.

Retain subparagraph below if splices are permitted or required for steel shell piles.

3. Welded Splices:  Continuously weld steel shell pile according to manufacturer's written instructions and AWS D1.1[ and AWS D1.3] for procedures, appearance and quality of welds, and methods used in correcting welding work.

Revise subparagraph below if limiting option to shop fabrication.

4. Splice piles during fabrication or field installation.

E. Fit and weld driving points to tip of pile according to manufacturer's written instructions and AWS D1.1 for procedures, appearance and quality of welds, and methods used in correcting welding work.

Retain paragraph above or first paragraph below, if applicable, for steel pipe piles.  Delete both if specifying steel shell piles.

F. Fit and weld cutting shoes to tip of pile according to manufacturer's written instructions and AWS D1.1 for procedures, appearance and quality of welds, and methods used in correcting welding work.

G. Pile-Length Markings:  Permanently mark each pile with horizontal lines at 12-inch (300-mm) intervals; mark the distance from pile tip at 60-inch (1500-mm) intervals.

2.10 SHOP PAINTING

Delete this Article if shop painting is not required.

A. General:  Shop paint steel pile surfaces, except for surfaces to be encased in concrete, as follows:

Retain one of two subparagraphs below.

1. Extend painting to a depth of 60 inches (1500 mm) below finished grade to top of exposed pile.

2. Extend painting from a depth of 60 inches (1500 mm) below low-tide level to top of exposed pile.

First paragraph below describes steel pipe preparation.  Contact manufacturers for steel shell painting recommendations.

B. Surface Preparation:  Clean surfaces to be painted.  Remove loose rust and loose mill scale, and remove spatter, slag, or flux deposits.  Prepare surfaces according to SSPC-SP 10/NACE No. 2, "Near-White Blast Cleaning."

C. Painting:  Immediately after surface preparation, apply first coat of paint according to manufacturer's written instructions to provide a dry film thickness of not less than 8 mils (0.2 mm).

1. Apply second coat to provide a dry film thickness of not less than 8 mils (0.2 mm), resulting in a 2-coat paint system thickness of not less than 16 mils (0.4 mm).

Retain subparagraph above if two-coat paint system is required; retain first subparagraph below if three-coat paint system is required.

2. Apply second and third coats with each coat of dry film thickness of not less than 8 mils (0.2 mm), resulting in a 3-coat paint system thickness of not less than 24 mils (0.6 mm).

3. Mark pile lengths after shop painting.

2.11 CONCRETE MIXING

A. Ready-Mixed Concrete:  Comply with requirements and with ASTM C 94/C 94M.

Retain first subparagraph below unless water may be added after mixing.  ACI 301 permits water to be added at point of delivery, up to amount allowed in approved design mix, unless otherwise indicated.

1. Do not add water to concrete mix after mixing.

2. Maintain concrete temperature to not exceed 90 deg F (32 deg C).

PART 3 -  EXECUTION

3.1 EXAMINATION

Revise this Article to suit Project.

A. Site Conditions:  Do not start pile-driving operations until earthwork fills have been completed or excavations have reached an elevation of 6 to 12 inches (150 to 300 mm) above bottom of footing or pile cap.

3.2 DRIVING EQUIPMENT

A. Pile Hammer:  Air-, steam-, or diesel-powered type capable of consistently delivering driving energy to pile within range recommended by hammer manufacturer for length and weight of pile and character of subsurface material anticipated.

Select paragraph above or first paragraph below.  Revise above by adding a rated energy range if required.  Revise below to list limiting penetration rates during final driving instead of ultimate pile capacity if required.

B. Pile Hammer:  Air-, steam-, or diesel-powered type capable of developing ultimate pile capacity indicated considering length and weight of pile and character of subsurface material anticipated.

C. Hammer Cushions and Driving Caps:  Between hammer and top of pile, provide hammer cushion and steel driving cap recommended by hammer manufacturer for type of pile.

D. Leads:  Use fixed or rigid-type pile-driver leads that will hold full length of pile firmly in position and in axial alignment with hammer.  Extend leads to within 24 inches (600 mm) of elevation at which pile enters ground.

Delete paragraph below unless specifying mandrel-driven steel shell piles.

E. Mandrel:  Expandable mandrel, capable of distributing driving energy throughout length of steel shell pile.

3.3 STATIC PILE TESTS

Retain this Article if load testing is required to verify design assumptions during pile installation.  Load testing is usually performed before permanent pile installation.

A. General:  Static pile tests will be used to verify design pile lengths and to confirm design load capacity of piles.

Revise subparagraphs below to suit Project.

1. Furnish test piles [60 inches (1500 mm)] <Insert dimension> longer than production piles.

2. Actual length of piles will be based on results of static pile tests.

B. Pile Tests:  Arrange and perform the following pile tests:

Select appropriate tests below.  Add optional loading apparatus and loading procedures if required.

1. Axial Compressive Static Load Test:  ASTM D 1143.

2. Axial Tension Static Load Test:  ASTM D 3689.

3. Lateral Load Test:  ASTM D 3966.

Delete paragraph below if not required.

C. Equip each test pile with two telltale rods, according to ASTM D 1143, for measuring deformation during load test.

Revise penetration rate and number of blows in first paragraph below to suit Project.

D. Drive test piles at locations indicated to a tip elevation below final cutoff elevation equal to pile length specified as basis of bid, or to refusal, whichever occurs first.  Piles will be considered as driven to refusal when 5 blows of hammer are required to produce a total penetration of 1/4 inch (6 mm) or less.

1. Install reinforcement and fill pile with concrete according to requirements.

Revise number of days in subparagraph below to suit Project.

2. Before load-testing pile, allow concrete to cure a minimum of 14 days and reach its 28-day design compressive strength as established by test cylinders.

E. Provide pile reaction frame, anchor piles, equipment, and instrumentation with sufficient reaction capacity to perform tests.  Notify Architect at least 48 hours in advance of performing tests.  On completion of testing, remove testing structure, anchor piles, equipment, and instrumentation.

Select number of piles from options in subparagraph below or revise to suit Project.  Numbers are examples only.

1. Number of Test Piles:  [Two single] [Two single piles and one group of three] [One group of three] piles.

F. Driving Test Piles:  Use test piles identical to those required for Project and drive with appropriate pile-driving equipment operating at rated driving energy to be used in driving permanent piles.

Revise subparagraph below to include pile design loads if required.  Respective ASTM load test standards include default loading procedures as percentages of pile design loads.  Revise if piles are loaded to failure.

1. Pile Design Load:  [As indicated] <Insert load>.

Revise first paragraph and subparagraphs below to suit Project.  Criteria are examples only.

G. Approval Criteria:  Allowable design capacity of test piles shall be one-half of the load that results in the lesser of the following two values:

1. Net settlement, after deducting rebound, of not more than 0.01 inch/ton (0.25 mm/1000 kg) of test load.

2. Gross settlement of not more than 1 inch (25 mm), provided that load-settlement curve shows no sign of failure.

H. Test Pile-Driving Records:  Prepare driving records for each test pile, compiled and attested to by a qualified professional engineer.  Include same data as required for driving records of permanent piles.

I. Test piles that comply with requirements, including location tolerances, may be used on Project.

3.4 DRIVING PILES

Indicate tip elevations and limiting penetration resistance on Drawings or add here if retaining paragraph below without option.  If retaining option, coordinate with and retain "Static Pile Tests" Article.

A. General:  Continuously drive piles to elevations or penetration resistance indicated[ or established by static load testing of piles].  Establish and maintain axial alignment of leads and pile before and during driving.

Delete first paragraph and subparagraph below if predrilling is not permitted.  Revise limitations to suit Project or if prejetting is permitted.  Predrilling may also be used to penetrate hardpan, cemented strata, hard clay, or dense compacted clay.

B. Predrilling:  Provide pre-excavated holes for piles driven within 15 feet (4.5 m) of existing structures or underground utilities, to depths indicated.  Drill holes with a diameter less than the largest cross-section dimension of pile.

1. Firmly seat pile in predrilled hole by driving with reduced energy before starting final driving.

C. Heaved Piles:  Redrive heaved piles to tip elevation at least as deep as original tip elevation with a driving resistance at least as great as original driving resistance.

D. Pile Splices:  Splice piles during installation and align pile segments concentrically.

E. Driving Tolerances:  Drive piles without exceeding the following tolerances, measured at pile heads:

Review tolerances in three subparagraphs below and revise to suit Project or office standards.

1. Location:  4 inches (100 mm) from location indicated after initial driving, and 6 inches (150 mm) after pile driving is completed.

2. Plumb:  Maintain 1 inch (25 mm) in 10 feet (3 m) from vertical, or a maximum of 4 inches (100 mm), measured when pile is above ground in leads.

3. Batter Angle:  Maximum 1 inch (25 mm) in 10 feet (3 m) from required angle, measured when pile is above ground in leads.

Retain first paragraph below for open-ended steel pipe piles filled with concrete.

F. Excavation:  Clean out steel pipe pile by removing soil and debris from inside pile before placing steel reinforcement or concrete.

G. Withdraw damaged or defective piles and piles that exceed driving tolerances and install new piles within driving tolerances.  Fill holes left by withdrawn piles as directed by Architect.

Retain applicable subparagraphs below.

1. Rejected piles may be abandoned and cut off as directed by Architect.

2. Leave rejected piles in place and install new piles in locations as directed by Architect.

3. Fill holes left by withdrawn piles that will not be filled by new piles using cohesionless soil material such as gravel, broken stone, and gravel-sand mixtures.  Place and compact in lifts not exceeding 72 inches (1800 mm).

H. Cutting Off:  Cut off tops of driven piles square with pile axis and at elevations indicated.

I. Pile-Driving Records:  Maintain accurate driving records for each pile, compiled and attested to by a qualified professional engineer.  Include the following data:

1. Project name and number.

2. Name of Contractor.

3. Type of pile and date of casting.

4. Pile location in pile group and designation of pile group.

5. Sequence of driving in pile group.

6. Pile dimensions.

7. Ground elevation.

8. Elevation of tips after driving.

9. Final tip and cutoff elevations of piles after driving pile group.

10. Records of redriving.

11. Elevation of splices.

12. Type, make, model, and rated energy of hammer.

13. Weight and stroke of hammer.

14. Type of pile-driving cap used.

15. Cushion material and thickness.

16. Actual stroke and blow rate of hammer.

17. Pile-driving start and finish times, and total driving time.

18. Time, pile-tip elevation, and reason for interruptions.

19. Number of blows for each 12 inches (300 mm) of penetration, and number of blows per 1 inch (25 mm) for the last 6 inches (150 mm) of driving.

20. Pile deviations from location and plumb.

21. Preboring, jetting, or special procedures used.

22. Unusual occurrences during pile driving.

3.5 STEEL REINFORCEMENT

Delete this Article if no steel reinforcement is required.

A. Comply with recommendations in CRSI's "Manual of Standard Practice" for fabricating, placing, and supporting reinforcement.

B. Clean reinforcement of loose rust and mill scale, earth, and other materials that reduce or destroy bond with concrete.

C. Fabricate and install reinforcement cages symmetrically about axis of pile [shell] [pipe] in a single unit.

D. Accurately position, support, and secure reinforcement against displacement during concreting.  Maintain minimum cover on reinforcement.

E. Protect exposed ends of extended reinforcement, dowels, or anchor bolts from mechanical damage and exposure to weather.

3.6 CONCRETE PLACEMENT

Revise distance in paragraph below to suit soil conditions of Project.

A. Do not place concrete until other piles within a radius of [20 feet (6 m)] <Insert distance> have been driven and approved.

Revise or add to inspection requirements in first paragraph below to suit Project.

B. Inspection:  Before placing concrete, allow testing and inspecting agency to visually inspect and verify that each pile [shell] [pipe] is clean, watertight, plumb, and free of distortion or other defects.

C. Place concrete in a continuous operation and without segregation immediately after cleaning out pile [shell] [pipe].

Revise methods or restrictions in first paragraph below to suit Project.

D. Place concrete by means of bottom discharge bucket, flexible drop chute, steep-sided funnel hopper, or tremie or pump concrete into place.

E. Place concrete in a dry pile [shell] [pipe] unless placement underwater is approved by Architect.

Revise or expand requirements in subparagraphs below if required.

1. Place concrete underwater by tremie method or pumping.  Control placement operations to ensure tremie is embedded no less than 60 inches (1500 mm) into concrete, and flow of tremied concrete is continuous from bottom to top of pile [shell] [pipe].

2. Other methods of depositing concrete may be used if approved by Architect.

F. Consolidate final 10 feet (3 m) of concrete during placement to ensure that concrete is thoroughly worked around steel reinforcement and into corners.

G. Screed concrete level at cutoff elevation and apply a scoured, rough finish.

3.7 FIELD QUALITY CONTROL

A. Testing Agency:  Owner will engage a qualified independent testing agency to perform field quality-control testing.

Revise number or percentage of piles in paragraph below to suit Project.  Numbers are examples only.

B. High-strain dynamic monitoring shall be performed and reported according to ASTM D 4945 during initial driving and during restriking on [12 single] [15 percent of] piles.

Revise paragraph below to a percentage of piles to be tested if required.  Low-strain integrity testing does not appear to be subject to consensus-standard testing procedures.  Consider adding particular tests and acceptance criteria that help inform Contractor on status of Work.

C. Low-strain integrity measurement shall be performed and reported for each pile.

Delete welding inspection below if pile splices are not permitted and driving points are required.

D. Weld Testing:  In addition to visual inspection, welds shall be tested and inspected according to AWS D1.1 and the inspection procedures listed below, at testing agency's option.  Correct deficiencies in Work that test reports and inspections indicate does not comply with the Contract Documents.

Retain applicable inspection procedures in four subparagraphs below.  Include extent of weld inspections for Contractor's information.

1. Liquid Penetrant Inspection:  ASTM E 165.

2. Magnetic Particle Inspection:  ASTM E 709; performed on root pass and on finished weld.  Cracks or zones of incomplete fusion or penetration will not be accepted.

3. Radiographic Inspection:  ASTM E 94; minimum quality level "2-2T."

4. Ultrasonic Inspection:  ASTM E 164.

E. Concrete:  Sampling and testing of concrete for quality control shall include the following:

1. Sampling Fresh Concrete:  ASTM C 172, except modified for slump to comply with ASTM C 94/C 94M.

a. Slump:  ASTM C 143/C 143M; one test at point of placement for each compressive-strength test, but no fewer than one test for each concrete load.

b. Concrete Temperature:  ASTM C 1064/C 1064M; 1 test hourly when air temperature is 40 deg F (5 deg C) and below or when 80 deg F (27 deg C) and above, and 1 test for each set of compressive-strength specimens.

c. Compression Test Specimens:  ASTM C 31/C 31M; one set of four standard cylinders for each compressive-strength test, unless otherwise indicated.  Mold and store cylinders for laboratory-cured test specimens unless field-cured test specimens are required.

Revise number of test cylinders in subparagraph above and number of tests in first subparagraph below if required.

d. Compressive-Strength Tests:  ASTM C 39/C 39M; one set for each truck load.  One specimen shall be tested at 7 days, 2 specimens shall be tested at 28 days, and 1 specimen shall be retained in reserve for later testing if required.

2. When frequency of testing will provide fewer than five strength tests for a given class of concrete, testing shall be conducted from at least five randomly selected batches or from each batch if fewer than five are used.

3. When strength of field-cured cylinders is less than 85 percent of companion laboratory-cured cylinders, evaluate current operations and provide corrective procedures for protecting and curing in-place concrete.

4. Strength level of concrete will be considered satisfactory if averages of sets of 3 consecutive strength test results equal or exceed specified compressive strength and no individual strength test result falls below specified compressive strength by more than 500 psi (3.45 MPa).

5. Test results shall be reported in writing to Architect, concrete manufacturer, and Contractor within 24 hours of testing.  Reports of compressive-strength tests shall contain Project identification name and number, date of concrete placement, name of concrete testing and inspecting agency, concrete type and class, location of concrete batch in piles, design compressive strength at 28 days, concrete-mix proportions and materials, compressive breaking strength, and type of break for both 7- and 28-day tests.

6. Nondestructive Testing:  Impact hammer, sonoscope, or other nondestructive device may be permitted but shall not be used as sole basis for acceptance or rejection.

7. Additional Tests:  Testing and inspecting agency shall make additional tests of concrete when test results indicate concrete strengths or other requirements have not been met.

3.8 TOUCHUP PAINTING

A. Clean field welds, splices, and abraded painted areas and field-apply paint according to SSPC-PA 1.  Use same paint and apply same number of coats as specified for shop painting.

1. Before driving piles, apply touchup paint to surfaces that will be immersed or inaccessible after driving.

3.9 DISPOSAL

A. Remove withdrawn piles and cutoff sections of piles from site and legally dispose of them off Owner's property.

END OF SECTION 316223

	COMPOSITE PILES
	316223 - 1



