Copyright 2006 AIA
MASTERSPEC Full Length
02/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 329200 - TURF AND GRASSES
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Seeding.

2. Hydroseeding.

3. Sodding.

4. Plugging.

5. Sprigging.

In some parts of the U.S., meadows may be called "prairies."  If needed for clarity, revise the term "meadow" throughout the Section Text or insert a definition.

6. Meadow grasses and wildflowers.

7. Turf renovation.

8. Erosion-control material(s).

9. Grass paving.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 31 Section "Site Clearing" for topsoil stripping and stockpiling.

2. Division 31 Section "Earth Moving" for excavation, filling and backfilling, and rough grading.

3. Division 32 Section "Porous Unit Paving" for concrete grid-type pavers shaped to provide open areas between units, planted with grass or other plants.

4. Division 32 Section "Planting Irrigation " for turf irrigation.

5. Division 32 Section "Plants" for border edgings.

6. Division 33 Section "Subdrainage" for subsurface drainage.

1.3 DEFINITIONS

Retain definition(s) remaining after this Section has been edited.

A. Duff Layer:  The surface layer of native topsoil that is composed of mostly decayed leaves, twigs, and detritus.

B. Finish Grade:  Elevation of finished surface of planting soil.

C. Manufactured Topsoil:  Soil produced off-site by homogeneously blending mineral soils or sand with stabilized organic soil amendments to produce topsoil or planting soil.

D. Pesticide:  A substance or mixture intended for preventing, destroying, repelling, or mitigating a pest.  This includes insecticides, miticides, herbicides, fungicides, rodenticides, and molluscicides.  It also includes substances or mixtures intended for use as a plant regulator, defoliant, or desiccant.

E. Pests:  Living organisms that occur where they are not desired or that cause damage to plants, animals, or people.  These include insects, mites, grubs, mollusks (snails and slugs), rodents (gophers, moles, and mice), unwanted plants (weeds), fungi, bacteria, and viruses.

F. Planting Soil:  Standardized topsoil; existing, native surface topsoil; existing, in-place surface soil; imported topsoil; or manufactured topsoil that is modified with soil amendments and perhaps fertilizers to produce a soil mixture best for plant growth.

G. Subgrade:  Surface or elevation of subsoil remaining after excavation is complete, or top surface of a fill or backfill before planting soil is placed.

H. Subsoil:  All soil beneath the topsoil layer of the soil profile, and typified by the lack of organic matter and soil organisms.

I. Surface Soil:  Soil that is present at the top layer of the existing soil profile at the Project site.  In undisturbed areas, the surface soil is typically topsoil, but in disturbed areas such as urban environments, the surface soil can be subsoil.

Insert other definitions if required to support planting requirements shown on Drawings.

1.4 SUBMITTALS

First paragraph below is defined in Division 01 Section "Submittal Procedures" as an "Action Submittal."

A. Product Data:  For each type of product indicated.

1. Pesticides and Herbicides:  Include product label and manufacturer's application instructions specific to this Project.

Remaining paragraphs are defined in Division 01 Section "Submittal Procedures" as "Informational Submittals."

B. Certification of Grass Seed:  From seed vendor for each grass-seed monostand or mixture stating the botanical and common name, percentage by weight of each species and variety, and percentage of purity, germination, and weed seed.  Include the year of production and date of packaging.

Retain subparagraph below for turfgrass sod.

1. Certification of each seed mixture for [turfgrass sod] [plugs].  Include identification of source and name and telephone number of supplier.

Coordinate first paragraph below with qualification requirements in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

C. Qualification Data:  For qualified landscape Installer.

Retain first paragraph below for material or product certificates from manufacturers.

D. Product Certificates:  For [soil amendments] [and] [fertilizers], from manufacturer.

Retain first paragraph below for material test reports that are Contractor's responsibility.  Retain if existing soils to be stockpiled will not be sufficient, have not been tested, or might not meet requirements for planting soil.

E. Material Test Reports:  For [standardized ASTM D 5268 topsoil] [existing native surface topsoil] [existing in-place surface soil] [and] [imported or manufactured topsoil].

Retain paragraph below if Owner's personnel will provide maintenance after turf or meadow is established and if Contractor's recommendations will be sought.

F. Maintenance Instructions:  Recommended procedures to be established by Owner for maintenance of turf[ and meadows] during a calendar year.  Submit before expiration of required initial maintenance periods.

1.5 QUALITY ASSURANCE

A. Installer Qualifications:  A qualified landscape Installer whose work has resulted in successful turf[ and meadow] establishment.

Retain applicable subparagraphs below; revise to suit Project.

According to Division 01 Section "Quality Requirements," experience qualification includes having successfully completed a minimum number of previous projects.  Before retaining first two subparagraphs below for government-funded projects, verify acceptability of these requirements with Owner.

1. Professional Membership:  Installer shall be a member in good standing of either the Professional Landcare Network or the American Nursery and Landscape Association.

2. Experience:  [Three] [Five] <Insert number> years' experience in turf installation in addition to requirements in Division 01 Section "Quality Requirements."

3. Installer's Field Supervision:  Require Installer to maintain an experienced full-time supervisor on Project site when work is in progress.

Certification program in first subparagraph below is administered by the Professional Landcare Network.  See Evaluations.

4. Personnel Certifications:  Installer's [field supervisor] [personnel assigned to the Work] shall have certification in [one of] [all of] the following categories from the Professional Landcare Network:

a. Certified Landscape Technician - Exterior, with [installation] [maintenance] [irrigation] specialty area(s), designated CLT-Exterior.

b. Certified Turfgrass Professional, designated CTP.

c. Certified Turfgrass Professional of Cool Season Lawns, designated CTP-CSL.

Retain first subparagraph below if retaining "Maintenance Service" Article.

5. Maintenance Proximity:  Not more than [two] <Insert number> hours' normal travel time from Installer's place of business to Project site.

6. Pesticide Applicator:  State licensed, commercial.

Retain first paragraph below if testing is required that involves Contractor's selecting soil-testing laboratory.  Revise to name laboratories or to insert other specific qualifications.

B. Soil-Testing Laboratory Qualifications:  An independent laboratory or university laboratory, recognized by the State Department of Agriculture, with the experience and capability to conduct the testing indicated and that specializes in types of tests to be performed.

Retain first paragraph below for existing topsoil or surface soil to be reused, or for imported or manufactured topsoil.  Insert other characteristics required in analysis.  Cation exchange capacity measures the ability of soil particles to hold and release nutrients; the higher the number, the more fertile the soil.  Sandy soils have a lower cation exchange capacity than clay soils.  Sodium absorption ratio levels below 4 do not interfere with plant growth.  Saline soils have a sodium absorption ratio level of 4 to 13; sodic soils, more than 13 and a pH greater than 8.5; saline-sodic soils, more than 13 and a pH less than 8.5.

C. Soil Analysis:  For each unamended soil type, furnish soil analysis and a written report by a qualified soil-testing laboratory stating percentages of organic matter; gradation of sand, silt, and clay content; cation exchange capacity; [sodium absorption ratio; ]deleterious material; pH; and mineral and plant-nutrient content of the soil.

1. Testing methods and written recommendations shall comply with USDA's Handbook No. 60.

2. The soil-testing laboratory shall oversee soil sampling, with depth, location, and number of samples to be taken per instructions from Architect.  A minimum of [three] <Insert number> representative samples shall be taken from varied locations for each soil to be used or amended for planting purposes.

3. Report suitability of tested soil for turf growth.

a. Based on the test results, state recommendations for soil treatments and soil amendments to be incorporated.  State recommendations in weight per 1000 sq. ft. (92.9 sq. m) or volume per cu. yd. (0.76 cu. m) for nitrogen, phosphorus, and potash nutrients and soil amendments to be added to produce satisfactory planting soil suitable for healthy, viable plants.

b. Report presence of problem salts, minerals, or heavy metals, including aluminum, arsenic, barium, cadmium, chromium, cobalt, lead, lithium, and vanadium.  If such problem materials are present, provide additional recommendations for corrective action.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

D. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.6 DELIVERY, STORAGE, AND HANDLING

Retain one or more paragraphs below to suit Project.  Limit inserts to only those unusual requirements not included in Division 01 Section "Product Requirements."

A. Seed and Other Packaged Materials:  Deliver packaged materials in original, unopened containers showing weight, certified analysis, name and address of manufacturer, and indication of conformance with state and federal laws, as applicable.

B. Sod:  Harvest, deliver, store, and handle sod according to requirements in "Specifications for Turfgrass Sod Materials" and "Specifications for Turfgrass Sod Transplanting and Installation" in TPI's "Guideline Specifications to Turfgrass Sodding."  Deliver sod in time for planting within 24 hours of harvesting.  Protect sod from breakage and drying.

C. Bulk Materials:

1. Do not dump or store bulk materials near structures, utilities, walkways and pavements, or on existing turf areas or plants.

2. Provide erosion-control measures to prevent erosion or displacement of bulk materials, discharge of soil-bearing water runoff, and airborne dust reaching adjacent properties, water conveyance systems, or walkways.

3. Accompany each delivery of bulk fertilizers[, lime,] and soil amendments with appropriate certificates.

1.7 PROJECT CONDITIONS

Retain first paragraph below for limited planting times.

A. Planting Restrictions:  Plant during one of the following periods.  Coordinate planting periods with initial maintenance periods to provide required maintenance from date of [planting completion] [Substantial Completion] <Insert starting time>.

In subparagraphs below, insert specific dates for spring and fall plantings of seed, sod, plugs, sprigs, and meadows if required.

1. Spring Planting:  <Insert dates>.

2. Fall Planting:  <Insert dates>.

B. Weather Limitations:  Proceed with planting only when existing and forecasted weather conditions permit planting to be performed when beneficial and optimum results may be obtained.  Apply products during favorable weather conditions according to manufacturer's written instructions.

1.8 MAINTENANCE SERVICE

Consider deleting this article for small-scale residential projects; usually retain for other projects.  Generally, a maintenance period should be long enough to ascertain the initial establishment of healthy turf.

A. Initial Turf Maintenance Service:  Provide full maintenance by skilled employees of landscape Installer.  Maintain as required in Part 3.  Begin maintenance immediately after each area is planted and continue until acceptable turf is established but for not less than the following periods:

Retain subparagraphs below to suit Project.  Revise minimum maintenance periods to suit local customs and growing conditions.

1. Seeded Turf:  [60] <Insert number> days from date of [planting completion] [Substantial Completion] <Insert starting time>.

a. When initial maintenance period has not elapsed before end of planting season, or if turf is not fully established, continue maintenance during next planting season.

2. Sodded Turf:  [30] <Insert number> days from date of [planting completion] [Substantial Completion] <Insert starting time>.

3. Plugged Turf:  [30] <Insert number> days from date of [planting completion] [Substantial Completion] <Insert starting time>.

4. Sprigged Turf:  [30] <Insert number> days from date of [planting completion] [Substantial Completion] <Insert starting time>.

Retain first paragraph below for meadows.  Revise minimum maintenance period to suit local customs and growing conditions.

B. Initial Meadow Maintenance Service:  Provide full maintenance by skilled employees of landscape Installer.  Maintain as required in Part 3.  Begin maintenance immediately after each area is planted and continue until acceptable meadow is established, but for not less than [40] <Insert number> days from date of [planting completion] [Substantial Completion] <Insert starting time>.

Retain paragraph below if needed.  Revise starting date if required.

C. Continuing Maintenance Proposal:  From Installer to Owner, in the form of a standard yearly (or other period) maintenance agreement, starting on date initial maintenance service is concluded.  State services, obligations, conditions, and terms for agreement period and for future renewal options.

PART 2 -  PRODUCTS

2.1 SEED

Retain this article if planting with seed.  Selection of turfgrass species depends on climate, exposure, durability, and soil conditions.

A. Grass Seed:  Fresh, clean, dry, new-crop seed complying with AOSA's "Journal of Seed Technology; Rules for Testing Seeds" for purity and germination tolerances.

Retain one of first two paragraphs below if specifying grass seed and mixes by species.  Retain first paragraph if grass seed is certified by the State Department of Agriculture.  Most states have seed-certification agencies.  Retain second paragraph if the State Department of Agriculture does not regulate seed germination, purity, and weed seed or if there is no state seed certification.  Delete both paragraphs if specifying proprietary grass seed mixes.

B. Seed Species:  State-certified seed of grass species as follows:

C. Seed Species:  Seed of grass species as follows, with not less than [95] <Insert number> percent germination, not less than [85] <Insert number> percent pure seed, and not more than [0.5] <Insert number> percent weed seed:

Subparagraphs below are examples only.  Retain with either of last two paragraphs above.  Determine if a single grass species or mixture of two or more grass species is required.  Insert specific cultivars to each grass species if required.  Consult university cooperative extension service or county extension agency for current recommendations.  Revise descriptions if preferred.  Indicate, here or on Drawings, areas of full sun, sun and partial shade, and shade.

Retain first subparagraph below for warm-season grass.

1. Full Sun:  Bermudagrass (Cynodon dactylon).

Retain one of three subparagraphs below for cool-season grass.  Revise grass species and assign mixture proportions if required for full-sun grass in first subparagraph below.

2. Full Sun:  Kentucky bluegrass (Poa pratensis), a minimum of three cultivars.

Retain first subparagraph below for grass in sun and partial shade.  Revise species and mixture proportions if required.

3. Sun and Partial Shade:  Proportioned by weight as follows:

a. 50 percent Kentucky bluegrass (Poa pratensis).

b. 30 percent chewings red fescue (Festuca rubra variety).

c. 10 percent perennial ryegrass (Lolium perenne).

d. 10 percent redtop (Agrostis alba).

Retain subparagraph below for shaded grass.  Revise species and mixture proportions if required.

4. Shade:  Proportioned by weight as follows:

a. 50 percent chewings red fescue (Festuca rubra variety).

b. 35 percent rough bluegrass (Poa trivialis).

c. 15 percent redtop (Agrostis alba).

Retain paragraph below if specifying proprietary grass seed mixes.

D. Grass Seed Mix:  Proprietary seed mix as follows:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert manufacturer's name; product name or designation>.

2.2 TURFGRASS SOD

Retain this article if planting with turfgrass sod.  Selection of turfgrass species for sod depends on climate, exposure, durability, and soil conditions.  To obtain either "Certified" or "Approved" designation, turfgrass sod must be inspected by official state certification agencies.  Consult local sod producers, a university cooperative extension service, or a county extension agency to determine if a certification is available for the Project's location.

A. Turfgrass Sod:  [Certified] [Approved] [Number 1 Quality/Premium, including limitations on thatch, weeds, diseases, nematodes, and insects], complying with "Specifications for Turfgrass Sod Materials" in TPI's "Guideline Specifications to Turfgrass Sodding."  Furnish viable sod of uniform density, color, and texture, strongly rooted, and capable of vigorous growth and development when planted.

B. Turfgrass Species:  [Bermudagrass (Cynodon dactylon)] [Carpetgrass (Axonopus affinis)] [Centipedegrass (Eremochloa ophiuroides)] [St. Augustinegrass (Stenotaphrum secundatum)] [Zoysiagrass (Zoysia japonica)] [Zoysiagrass (Zoysia matrella)] <Insert species>.

Retain paragraph above for warm-season grass or paragraph below for cool-season grass.  Turfgrass sod grown from a warm-season, single-species grass predominates in the South and southern transition zones.  Turfgrass sod grown from cool-season grass seed mixes or blends predominates in the North and northern transition zones.

C. Turfgrass Species:  Sod of grass species as follows, with not less than [95] <Insert number> percent germination, not less than [85] <Insert number> percent pure seed, and not more than [0.5] <Insert number> percent weed seed:

Subparagraphs below are examples only.  Determine if a single grass species or mixture of two or more grass species is required.  Insert specific cultivars to each grass species if required.  Consult university cooperative extension service or county extension agency for current recommendations.  Revise descriptions and insert proprietary seed mixes if preferred.  Indicate, here or on Drawings, areas of full sun, sun and partial shade, and shade.

1. Full Sun:  Kentucky bluegrass (Poa pratensis), a minimum of three cultivars.

Retain first subparagraph below for grass in sun and partial shade.  Revise species and mixture proportions if required.

2. Sun and Partial Shade:  Proportioned by weight as follows:

a. 50 percent Kentucky bluegrass (Poa pratensis).

b. 30 percent chewings red fescue (Festuca rubra variety).

c. 10 percent perennial ryegrass (Lolium perenne).

d. 10 percent redtop (Agrostis alba).

Retain subparagraph below for shaded grass.  Revise species and mixture proportions if required.

3. Shade:  Proportioned by weight as follows:

a. 50 percent chewings red fescue (Festuca rubra variety).

b. 35 percent rough bluegrass (Poa trivialis).

c. 15 percent redtop (Agrostis alba).

2.3 PLUGS

Plugs are derived from warm-season, southern grass species of turfgrass sod.

A. Plugs:  Turfgrass sod, [certified] [approved] [Number 1 Quality/Premium, including limitations on thatch, weeds, diseases, nematodes, and insects], complying with "Specifications for Turfgrass Sod Materials" in TPI's "Guideline Specifications to Turfgrass Sodding."  Furnish viable sod of uniform density, color, and texture, cut into square or round plugs, strongly rooted, and capable of vigorous growth and development when planted; of the following turfgrass species and plug size:

1. Turfgrass Species:  [Bermudagrass (Cynodon dactylon)] [Carpetgrass (Axonopus affinis)] [Centipedegrass (Eremochloa ophiuroides)] [St. Augustinegrass (Stenotaphrum secundatum)] [Zoysiagrass (Zoysia japonica)] [Zoysiagrass (Zoysia matrella)] <Insert species>.

2. Plug Size:  [2 inches (50 mm)] [3 inches (75 mm)] [4 inches (100 mm)] <Insert size>.

2.4 SPRIGS

Warm-season grasses can be planted as individual sprigs that spread belowground as rhizomes or aboveground as stolons.  Creeping bentgrass, although a cool-season grass, is an exception and is commonly sprig planted.

A. Sod Sprigs:  Healthy living stems, rhizomes, or stolons with a minimum of two nodes and attached roots free of soil, of the following turfgrass species:

Retain one of two subparagraphs below.  Retain one option in first subparagraph for warm-season grass species.  Retain second subparagraph for cool-season grass species.

1. Turfgrass Species:  [Bermudagrass (Cynodon dactylon)] [Carpetgrass (Axonopus affinis)] [Centipedegrass (Eremochloa ophiuroides)] [St. Augustinegrass (Stenotaphrum secundatum)] [Zoysiagrass (Zoysia japonica)] [Zoysiagrass (Zoysia matrella)] <Insert species>.

2. Turfgrass Species:  Creeping bentgrass (Agrostis palustris).

2.5 MEADOW GRASSES AND WILDFLOWERS

Retain this article if planting seed for meadow grasses or wildflowers.  Seed mix is usually governed by region of adaptation, plant height, flower color, and sun or shade exposure.  Insert percentage of each wildflower or native grass species in mix, or name acceptable proprietary mixes.

A. Wildflower Seed:  Fresh, clean, and dry new seed, of mixed species as follows:

1. <Insert mix of wildflower species>.

B. Native Grass Seed:  Fresh, clean, and dry new seed, of mixed species as follows:

1. <Insert mix of native grass species>.

C. Wildflower and Native Grass Seed:  Fresh, clean, and dry new seed, of mixed species as follows:

1. <Insert mix of wildflower and native grass species>.

Most seed vendors recommend mixing a carrier with seed.  Revise paragraph below if special requirements apply.

D. Seed Carrier:  Inert material, sharp clean sand or perlite, mixed with seed at a ratio of not less than two parts seed carrier to one part seed.

2.6 INORGANIC SOIL AMENDMENTS

Limestone is used to raise pH and neutralize acidic soils.  In first paragraph below, insert percentages of carbonates, calcium, and magnesium if required.  Revise to a pelleted form of limestone with a water-soluble binder that speeds breakdown if required.

A. Lime:  ASTM C 602, agricultural liming material containing a minimum of 80 percent calcium carbonate equivalent and as follows:

Retain one of first two subparagraphs below.  Class T is more finely ground and quicker acting but dustier than Class O.

1. Class:  T, with a minimum of 99 percent passing through No. 8 (2.36-mm) sieve and a minimum of 75 percent passing through No. 60 (0.25-mm) sieve.

2. Class:  O, with a minimum of 95 percent passing through No. 8 (2.36-mm) sieve and a minimum of 55 percent passing through No. 60 (0.25-mm) sieve.

Retain first option in subparagraph below if magnesium is required; retain second or third option if magnesium is already present in the soil.  See Evaluations.

3. Provide lime in form of ground [dolomitic limestone] [calcitic limestone] [mollusk shells] <Insert material>.

Retain one or more of first three paragraphs below.  Sulfur is used to lower pH and neutralize alkaline soils.  Revise descriptions and insert proprietary products if required.

B. Sulfur:  Granular, biodegradable, containing a minimum of 90 percent sulfur, and with a minimum of 99 percent passing through No. 6 (3.35-mm) sieve and a maximum of 10 percent passing through No. 40 (0.425-mm) sieve.

C. Iron Sulfate:  Granulated ferrous sulfate containing a minimum of 20 percent iron and 10 percent sulfur.

D. Aluminum Sulfate:  Commercial grade, unadulterated.

E. Perlite:  Horticultural perlite, soil amendment grade.

Gypsum is used to supply calcium-deficient soils, improve soil structure, and unlock or make available other nutrients to plant roots.  It is also used to reclaim highly alkaline sodic soils by replacing sodium with calcium.  Sodium is washed away by leaching the soil.

F. Agricultural Gypsum:  Minimum 90 percent calcium sulfate, finely ground with 90 percent passing through No. 50 (0.30-mm) sieve.

G. Sand:  Clean, washed, natural or manufactured, and free of toxic materials.

Retain one of two paragraphs below if soil conditioners that increase water retention and compaction resistance and enhance cation exchange capacity are required.  Applications are usually limited to golf-course greens and highly trafficked sports fields.  A typical soil mix for such use consists of 10 percent by volume of diatomaceous earth or zeolites with sand.  Calcined clay is another commercially available inorganic soil amendment.  Delete both paragraphs and insert description of calcined clay or other commercially available soil conditioner if required.

H. Diatomaceous Earth:  Calcined, 90 percent silica, with approximately 140 percent water absorption capacity by weight.

I. Zeolites:  Mineral clinoptilolite with at least 60 percent water absorption by weight.

2.7 ORGANIC SOIL AMENDMENTS

Compost is a widely used bulk organic soil amendment and a recycled product.  Because it is applied at much greater rates than fertilizer, compost has a significant cumulative effect on nutrient availability and may reduce or eliminate initial fertilization.  Consider each plant's pH and soluble salt requirements and how they relate to the compost being used and the resulting soil-compost mix.

A. Compost:  Well-composted, stable, and weed-free organic matter, pH range of 5.5 to 8; moisture content 35 to 55 percent by weight; 100 percent passing through [1-inch (25-mm)] [3/4-inch (19-mm)] [1/2-inch (12.5-mm)] sieve; soluble salt content of [5 to 10] <Insert range or value> decisiemens/m; not exceeding 0.5 percent inert contaminants and free of substances toxic to plantings; and as follows:

Retain first subparagraph below if required.  Organic matter content for compost affects application rate and may be as low as 30 or as high as 70 percent.  Insert subparagraphs for other characteristics such as soluble salt content, water-holding capacity, bulk density, and nutrient content if required.

1. Organic Matter Content:  [50 to 60] <Insert range> percent of dry weight.

Compost may be produced from several feedstocks or raw materials.  In subparagraph below, revise types of feedstocks if limiting sources.  Revise descriptions and insert product names if required.

2. Feedstock:  Agricultural, food, or industrial residuals; biosolids; yard trimmings; or source-separated or compostable mixed solid waste.

Retain one of first two paragraphs below, or retain both if applicable.  Retain first paragraph if sphagnum peat moss, an acidic peat, is required.  Retain second paragraph if peat types with a neutral pH are required.

B. Sphagnum Peat:  Partially decomposed sphagnum peat moss, finely divided or of granular texture, with a pH range of 3.4 to 4.8.

C. Muck Peat:  Partially decomposed moss peat, native peat, or reed-sedge peat, finely divided or of granular texture, with a pH range of 6 to 7.5, and having a water-absorbing capacity of 1100 to 2000 percent.

D. Wood Derivatives:  Decomposed, nitrogen-treated sawdust, ground bark, or wood waste; of uniform texture and free of chips, stones, sticks, soil, or toxic materials.

Retain subparagraph below if treatment of partially decomposed wood derivatives is acceptable.

1. In lieu of decomposed wood derivatives, mix partially decomposed wood derivatives with ammonium nitrate at a minimum rate of [0.15 lb/cu. ft. (2.4 kg/cu. m)] <Insert rate> of loose sawdust or ground bark, or with ammonium sulfate at a minimum rate of [0.25 lb/cu. ft. (4 kg/cu. m)] <Insert rate> of loose sawdust or ground bark.

E. Manure:  Well-rotted, unleached, stable or cattle manure containing not more than 25 percent by volume of straw, sawdust, or other bedding materials; free of toxic substances, stones, sticks, soil, weed seed, and material harmful to plant growth.

2.8 FERTILIZERS

Organic fertilizers are derived from several sources.  Bonemeal in first paragraph below is organic and primarily phosphorous, has an alkaline reaction, and is nonburning.  Other organic fertilizers include blood meal, cottonseed meal, seaweed meal, soybean meal, alfalfa meal, and blends of these materials.

Retain one or more of four paragraphs below; revise descriptions and name proprietary products if required.

A. Bonemeal:  Commercial, raw or steamed, finely ground; a minimum of [1] [4] percent nitrogen and [10] [20] percent phosphoric acid.

Types of synthetic fertilizers are too numerous to identify here.  Products range from those predominantly containing nitrogen, nitrogen/phosphates, nitrogen potash, phosphates, potash, and blends of these nutrients.  Superphosphate is an inorganic, neutral source of phosphorus useful in alkaline calcareous soils of arid areas.

Note that use of phosphate-containing fertilizers in remaining paragraphs may be limited or disallowed in some jurisdictions.  Before specifying, verify use with authorities having jurisdiction.  Revise fertilizer composition to suit Project.

B. Superphosphate:  Commercial, phosphate mixture, soluble; a minimum of 20 percent available phosphoric acid.

C. Commercial Fertilizer:  Commercial-grade complete fertilizer of neutral character, consisting of fast- and slow-release nitrogen, 50 percent derived from natural organic sources of urea formaldehyde, phosphorous, and potassium in the following composition:

Fertilizer compositions in subparagraphs below are examples only.  Revise to suit Project.  If using as a soil amendment, revise fertilizer mix to remedy deficiencies found in soil tests.

1. Composition:  1 lb/1000 sq. ft. (0.45 kg/92.9 sq. m) of actual nitrogen, 4 percent phosphorous, and 2 percent potassium, by weight.

2. Composition:  Nitrogen, phosphorous, and potassium in amounts recommended in soil reports from a qualified soil-testing laboratory.

D. Slow-Release Fertilizer:  Granular or pelleted fertilizer consisting of 50 percent water-insoluble nitrogen, phosphorus, and potassium in the following composition:

Slow-release fertilizer compositions in subparagraphs below are examples only.  Revise to suit Project.  If using as a soil amendment, revise fertilizer mix to remedy deficiencies found in soil tests.

1. Composition:  20 percent nitrogen, 10 percent phosphorous, and 10 percent potassium, by weight.

2. Composition:  Nitrogen, phosphorous, and potassium in amounts recommended in soil reports from a qualified soil-testing laboratory.

2.9 PLANTING SOILS

Copy paragraphs below and re-edit for each type of planting soil mix required to suit Project.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

Unamended topsoils rarely meet the requirements for "planting soils" that are best for plant growth.  Consult a soil expert or testing laboratory on how to modify and fertilize topsoil types to obtain acceptable planting soils for site conditions and each grass species.  See Evaluations.

Retain first paragraph below if standardized topsoil will be used.  ASTM D 5268 topsoil has a wide organic-material-content range of 2 to 20 percent.

A. Planting Soil <Insert drawing designation>:  ASTM D 5268 topsoil, with pH range of 5.5 to 7, a minimum of [2] [4] [6] <Insert number> percent organic material content; free of stones 1 inch (25 mm) or larger in any dimension and other extraneous materials harmful to plant growth.  Mix ASTM D 5268 topsoil with the following soil amendments[ and fertilizers] in the following quantities to produce planting soil:

Retain applicable subparagraphs below or revise to suit Project.

1. Ratio of Loose Compost to Topsoil by Volume:  [1:4] [1:3] [1:2] <Insert ratio>.

2. Ratio of Loose [Sphagnum] [Muck] Peat to Topsoil by Volume:  <Insert ratio>.

3. Ratio of Loose Wood Derivatives to Topsoil by Volume:  <Insert ratio>.

Revise first subparagraph below if a specific type of liming material (ground dolomitic limestone, calcitic limestone, mollusk shells, or other type) is required; coordinate with "Inorganic Soil Amendments" Article.

4. Weight of Lime per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

5. Weight of [Sulfur] [Iron Sulfate] [Aluminum Sulfate] per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

6. Weight of Agricultural Gypsum per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

7. Volume of Sand Plus 10 Percent [Diatomaceous Earth] [Zeolites] per 1000 Sq. Ft. (92.9 Sq. m):  <Insert volume>.

8. Weight of Bonemeal per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

9. Weight of Superphosphate per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

10. Weight of Commercial Fertilizer per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

11. Weight of Slow-Release Fertilizer per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

Unamended or raw topsoil and surface soil, including agricultural topsoil, in first three paragraphs below seldom contain more than 1 or 2 percent organic matter.

Retain first paragraph below if existing, on-site topsoil will be reused.

B. Planting Soil <Insert drawing designation>:  Existing, native surface topsoil formed under natural conditions with the duff layer retained during excavation process[ and stockpiled on-site].  Verify suitability of native surface topsoil to produce viable planting soil.  Clean soil of roots, plants, sod, stones, clay lumps, and other extraneous materials harmful to plant growth.

Retain first subparagraph below if quantity of native surface topsoil may be insufficient for Project needs.

1. Supplement with [another specified] <Insert drawing designation> planting soil when quantities are insufficient.

2. Mix existing, native surface topsoil with the following soil amendments[ and fertilizers] in the following quantities to produce planting soil:

Retain applicable subparagraphs below or revise to suit Project.

a. Ratio of Loose Compost to Topsoil by Volume:  [1:4] [1:3] [1:2] <Insert ratio>.

b. Ratio of Loose [Sphagnum] [Muck] Peat to Topsoil by Volume:  <Insert ratio>.

c. Ratio of Loose Wood Derivatives to Topsoil by Volume:  <Insert ratio>.

Revise first subparagraph below if a specific type of liming material (ground dolomitic limestone, calcitic limestone, mollusk shells, or other type) is required; coordinate with "Inorganic Soil Amendments" Article.

d. Weight of Lime per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

e. Weight of [Sulfur] [Iron Sulfate] [Aluminum Sulfate] per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

f. Weight of Agricultural Gypsum per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

g. Volume of Sand Plus 10 Percent [Diatomaceous Earth] [Zeolites] per 1000 Sq. Ft. (92.9 Sq. m):  <Insert volume>.

h. Weight of Bonemeal per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

i. Weight of Superphosphate per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

j. Weight of Commercial Fertilizer per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

k. Weight of Slow-Release Fertilizer per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

Retain first paragraph below if existing surface soil is not of topsoil quality or is of unknown quality and will be amended and used.

C. Planting Soil <Insert drawing designation>:  Existing, in-place surface soil.  Verify suitability of existing surface soil to produce viable planting soil.  Remove stones, roots, plants, sod, clods, clay lumps, pockets of coarse sand, concrete slurry, concrete layers or chunks, cement, plaster, building debris, and other extraneous materials harmful to plant growth.  Mix surface soil with the following soil amendments[ and fertilizers] in the following quantities to produce planting soil:

Retain applicable subparagraphs below or revise to suit Project.

1. Ratio of Loose Compost to Surface Soil by Volume:  [1:4] [1:3] [1:2] <Insert ratio>.

2. Ratio of Loose [Sphagnum] [Muck] Peat to Surface Soil by Volume:  <Insert ratio>.

3. Ratio of Loose Wood Derivatives to Surface Soil by Volume:  <Insert ratio>.

Revise first subparagraph below if a specific type of liming material (ground dolomitic limestone, calcitic limestone, mollusk shells, or other type) is required; coordinate with "Inorganic Soil Amendments" Article.

4. Weight of Lime per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

5. Weight of [Sulfur] [Iron Sulfate] [Aluminum Sulfate] per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

6. Weight of Agricultural Gypsum per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

7. Volume of Sand Plus 10 Percent [Diatomaceous Earth] [Zeolites] per 1000 Sq. Ft. (92.9 Sq. m):  <Insert volume>.

8. Weight of Bonemeal per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

9. Weight of Superphosphate per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

10. Weight of Commercial Fertilizer per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

11. Weight of Slow-Release Fertilizer per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

Retain first paragraph below if topsoil must be imported.

D. Planting Soil <Insert drawing designation>:  Imported topsoil or manufactured topsoil from off-site sources.  Obtain topsoil displaced from naturally well-drained construction or mining sites where topsoil occurs at least 4 inches (100 mm) deep; do not obtain from [agricultural land, ]bogs or marshes.

1. Additional Properties of Imported Topsoil or Manufactured Topsoil:  Screened and free of stones 1 inch (25 mm) or larger in any dimension; free of roots, plants, sod, clods, clay lumps, pockets of coarse sand, paint, paint washout, concrete slurry, concrete layers or chunks, cement, plaster, building debris, oils, gasoline, diesel fuel, paint thinner, turpentine, tar, roofing compound, acid, and other extraneous materials harmful to plant growth; free of obnoxious weeds and invasive plants including quackgrass, Johnsongrass, poison ivy, nutsedge, nimblewill, Canada thistle, bindweed, bentgrass, wild garlic, ground ivy, perennial sorrel, and bromegrass; not infested with nematodes, grubs, other pests, pest eggs, or other undesirable organisms and disease-causing plant pathogens; friable and with sufficient structure to give good tilth and aeration.  Continuous, air-filled, pore-space content on a volume/volume basis shall be at least 15 percent when moisture is present at field capacity.  Soil shall have a field capacity of at least 15 percent on a dry weight basis.

2. Mix imported topsoil or manufactured topsoil with the following soil amendments[ and fertilizers] in the following quantities to produce planting soil:

Retain applicable subparagraphs below or revise to suit Project.

a. Ratio of Loose Compost to Topsoil by Volume:  [1:4] [1:3] [1:2] <Insert ratio>.

b. Ratio of Loose [Sphagnum] [Muck] Peat to Topsoil by Volume:  <Insert ratio>.

c. Ratio of Loose Wood Derivatives to Topsoil by Volume:  <Insert ratio>.

Revise first subparagraph below if a specific type of liming material (ground dolomitic limestone, calcitic limestone, mollusk shells, or other type) is required; coordinate with "Inorganic Soil Amendments" Article.

d. Weight of Lime per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

e. Weight of [Sulfur] [Iron Sulfate] [Aluminum Sulfate] per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

f. Weight of Agricultural Gypsum per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

g. Volume of Sand Plus 10 Percent [Diatomaceous Earth] [Zeolites] per 1000 Sq. Ft. (92.9 Sq. m):  <Insert volume>.

h. Weight of Bonemeal per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

i. Weight of Superphosphate per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

j. Weight of Commercial Fertilizer per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

k. Weight of Slow-Release Fertilizer per 1000 Sq. Ft. (92.9 Sq. m):  <Insert weight>.

Retain paragraph below for turf areas on a structure where a lightweight planting soil is needed.  Soil mix is an example only; revise to suit Project.  Revise to specify a proprietary manufactured product if required.

E. Lightweight On-Structure Planting Soil <Insert drawing designation>:  Mix produced by modifying planting soil as follows:

1. Planting Soil <Insert drawing designation>:  [One] <Insert number> part(s), except replace [all] [half] <Insert amount> of sand content with perlite.

2. Additional Perlite:  [One] <Insert number> part(s).

3. Additional [Sphagnum] [Muck] Peat:  [One] <Insert number> part(s).

4. Additional Lime:  Ground [dolomitic limestone] [calcitic limestone] [mollusk shells] <Insert material> applied at the rate of [3 lb per cu. yd. (1.36 kg per cu. m)] <Insert rate>.

5. <Insert material and quantity>.

2.10 MULCHES

Retain one or more of first five paragraphs below.  Straw mulch in first paragraph may be required in areas where seeded turf is subject to wind or water erosion.

A. Straw Mulch:  Provide air-dry, clean, mildew- and seed-free, salt hay or threshed straw of wheat, rye, oats, or barley.

Peat mulch in first paragraph below may be required if seeded turf is subject to hot, dry weather or drying winds within 30 days of planting.

B. Sphagnum Peat Mulch:  Partially decomposed sphagnum peat moss, finely divided or of granular texture, and with a pH range of 3.4 to 4.8.

Retain paragraph above if sphagnum peat moss, an acidic peat, is required.  Retain first paragraph below if peat types with a neutral pH are required.

C. Muck Peat Mulch:  Partially decomposed moss peat, native peat, or reed-sedge peat, finely divided or of granular texture, with a pH range of 6 to 7.5, and having a water-absorbing capacity of 1100 to 2000 percent.

Compost is a widely used bulk organic mulch and a recycled product.  Because it is applied at much greater rates than fertilizer, compost has a significant cumulative effect on nutrient availability and may reduce or eliminate top-dressed fertilizing.  Consider each plant's pH and soluble salt requirements and how they relate to the compost being used.

D. Compost Mulch:  Well-composted, stable, and weed-free organic matter, pH range of 5.5 to 8; moisture content 35 to 55 percent by weight; 100 percent passing through 1-inch (25-mm) sieve; soluble salt content of [2 to 5] <Insert range or value> decisiemens/m; not exceeding 0.5 percent inert contaminants and free of substances toxic to plantings; and as follows:

Retain first subparagraph below if required.  Organic matter content for compost affects application rate and may be as low as 30 or as high as 70 percent.  Insert subparagraphs for other characteristics such as soluble salt content, water-holding capacity, bulk density, and nutrient content if required.

1. Organic Matter Content:  [50 to 60] <Insert range> percent of dry weight.

Compost may be produced from several feedstocks or raw materials.  In subparagraph below, revise types of feedstocks if limiting sources.  Revise descriptions and insert product names if required.

2. Feedstock:  Agricultural, food, or industrial residuals; biosolids; yard trimmings; or source-separated or compostable mixed solid waste.

E. Fiber Mulch:  Biodegradable, dyed-wood, cellulose-fiber mulch; nontoxic and free of plant-growth or germination inhibitors; with a maximum moisture content of 15 percent and a pH range of 4.5 to 6.5.

Fiber mulch in paragraph above and nonasphaltic tackifier in first paragraph below are primarily used to protect hydroseeded areas from wind and water erosion during establishment.

F. Nonasphaltic Tackifier:  Colloidal tackifier recommended by fiber-mulch manufacturer for slurry application; nontoxic and free of plant-growth or germination inhibitors.

Asphalt emulsion in paragraph below may be used as a tackifier in a hydroseeding slurry or to temporarily bond straw mulch in place.

G. Asphalt Emulsion:  ASTM D 977, Grade SS-1; nontoxic and free of plant-growth or germination inhibitors.

2.11 PESTICIDES

Retain applicable paragraphs in this article; revise to suit Project.

A. General:  Pesticide, registered and approved by EPA, acceptable to authorities having jurisdiction, and of type recommended by manufacturer for each specific problem and as required for Project conditions and application. Do not use restricted pesticides unless authorized in writing by authorities having jurisdiction.

B. Pre-Emergent Herbicide (Selective and Non-Selective):  Effective for controlling the germination or growth of weeds within planted areas at the soil level directly below the mulch layer.

C. Post-Emergent Herbicide (Selective and Non-Selective):  Effective for controlling weed growth that has already germinated.

2.12 EROSION-CONTROL MATERIALS

Retain applicable paragraphs below, or revise or insert other erosion-control materials.

A. Erosion-Control Blankets:  Biodegradable wood excelsior, straw, or coconut-fiber mat enclosed in a photodegradable plastic mesh.  Include manufacturer's recommended steel wire staples, 6 inches (150 mm) long.

B. Erosion-Control Fiber Mesh:  Biodegradable burlap or spun-coir mesh, a minimum of 0.92 lb/sq. yd. (0.5 kg/sq. m), with 50 to 65 percent open area.  Include manufacturer's recommended steel wire staples, 6 inches (150 mm) long.

C. Erosion-Control Mats:  Cellular, non-biodegradable slope-stabilization mats designed to isolate and contain small areas of soil over steeply sloped surface, of [3-inch (75-mm)] [4-inch (100-mm)] [6-inch (150-mm)] <Insert dimension> nominal mat thickness.  Include manufacturer's recommended anchorage system for slope conditions.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Invisible Structures, Inc.; Slopetame 2.

b. Presto Products Company, a business of Alcoa; Geoweb.

c. Tenax Corporation - USA; Tenweb.

d. <Insert manufacturer's name; product name or designation>.

2.13 GRASS-PAVING MATERIALS

A. Grass Paving:  Cellular, non-biodegradable plastic mats, designed to contain small areas of soil and enhance the ability of turf to support vehicular and pedestrian traffic, of [1-inch (25-mm)] [1-3/4-inch (45-mm)] [2-inch (50-mm)] [manufacturer's standard] <Insert dimension> nominal mat thickness.  Include manufacturer's recommended anchorage system for slope conditions.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Grid Technologies, Inc.; Netlon 50.

b. Invisible Structures, Inc.; Grasspave2.

c. NDS, Inc.; [Tufftrack] [Grassroad Paver8 Plus].

d. Presto Products Company, a business of Alcoa; Geoblock Porous Pavement System.

e. RK Manufacturing, Inc.; Grassy Pavers.

f. <Insert manufacturer's name; product name or designation>.

Retain one or both of first two paragraphs below if base course or sand, or both, is required as shown on Drawings.  Revise as recommended by paving-material manufacturer for site conditions and anticipated loading for Project.

B. Base Course:  Sound crushed stone or gravel complying with [ASTM D 448 for Size No. 8] [Division 31 Section "Earth Moving" for base-course material] <Insert requirements>.

C. Sand:  Sound, sharp, washed, natural sand or crushed stone complying with gradation requirements in ASTM C 33 for fine aggregate.

Retain one of three paragraphs below as recommended by paving-material manufacturer for site conditions, drainage requirements, and loading.  Revise requirements to suit Project.

Retain first paragraph below if paving-material manufacturer requires a special mix, other than planting soil mix, for site conditions and loading.

D. Proprietary Growing Mix:  As submitted and acceptable to Architect.

If retaining either of two paragraphs below, insert drawing designation if more than one type of planting soil mix is required.

E. Sandy Loam Soil Mix:  Sound, sharp, washed, natural sand or crushed stone complying with gradation requirements in ASTM C 33 for fine aggregate blended with planting soil <Insert drawing designation> as specified.  Use blend consisting of [1/2 sand and 1/2 planting soil] [2/3 sand and 1/3 planting soil] <Insert proportions>.

F. Soil for Paving Fill:  Planting soil <Insert drawing designation> as specified.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas to be planted for compliance with requirements and other conditions affecting performance.

1. Verify that no foreign or deleterious material or liquid such as paint, paint washout, concrete slurry, concrete layers or chunks, cement, plaster, oils, gasoline, diesel fuel, paint thinner, turpentine, tar, roofing compound, or acid has been deposited in soil within a planting area.

2. Do not mix or place soils and soil amendments in frozen, wet, or muddy conditions.

3. Suspend soil spreading, grading, and tilling operations during periods of excessive soil moisture until the moisture content reaches acceptable levels to attain the required results.

4. Uniformly moisten excessively dry soil that is not workable and which is too dusty.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

C. If contamination by foreign or deleterious material or liquid is present in soil within a planting area, remove the soil and contamination as directed by Architect and replace with new planting soil.

3.2 PREPARATION

A. Protect structures, utilities, sidewalks, pavements, and other facilities, trees, shrubs, and plantings from damage caused by planting operations.

Retain first subparagraph below for hydroseeding.

1. Protect adjacent and adjoining areas from hydroseeding and hydromulching overspray.

2. Protect grade stakes set by others until directed to remove them.

B. Install erosion-control measures to prevent erosion or displacement of soils and discharge of soil-bearing water runoff or airborne dust to adjacent properties and walkways.

3.3 TURF AREA PREPARATION

Insert site clearing and rough grading requirements in this article if subgrade preparation is not included in Division 31 Sections "Site Clearing" and "Earth Moving."

A. Limit turf subgrade preparation to areas to be planted.

Retain first paragraph below if turf subgrades are stripped of surface soil or regraded by excavating, filling, or backfilling.

B. Newly Graded Subgrades:  Loosen subgrade to a minimum depth of [4 inches (100 mm)] [6 inches (150 mm)] [8 inches (200 mm)] <Insert depth>.  Remove stones larger than [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (50 mm)] <Insert size> in any dimension and sticks, roots, rubbish, and other extraneous matter and legally dispose of them off Owner's property.

Retain first subparagraph below if required.  Coordinate with "Planting Soils" Article.

1. Apply [superphosphate] <Insert type> fertilizer directly to subgrade before loosening.

Retain one or more options in first subparagraph below.

2. [Thoroughly blend planting soil off-site before spreading] [or] [spread topsoil, apply soil amendments and fertilizer on surface, and thoroughly blend planting soil].

a. Delay mixing fertilizer with planting soil if planting will not proceed within a few days.

Retain first subparagraph below if liming is required.

b. Mix lime with dry soil before mixing fertilizer.

3. Spread planting soil to a depth of [4 inches (100 mm)] [6 inches (150 mm)] [8 inches (200 mm)] <Insert depth> but not less than required to meet finish grades after light rolling and natural settlement.  Do not spread if planting soil or subgrade is frozen, muddy, or excessively wet.

Retain first subparagraph below to knit planting soil to subsoil and to improve soil drainage.  Retain for caliche or hardpan subgrades, poorly drained subgrades, or subgrades that heavily compact during construction.  Usually delete if planting soil exceeds a depth of 8 inches (200 mm).

a. Spread approximately 1/2 the thickness of planting soil over loosened subgrade.  Mix thoroughly into top [2 inches (50 mm)] [4 inches (100 mm)] of subgrade.  Spread remainder of planting soil.

Retain subparagraph below for sodded turf.

b. Reduce elevation of planting soil to allow for soil thickness of sod.

Retain first paragraph below if surface soils are amended in place and reused.

C. Unchanged Subgrades:  If turf is to be planted in areas unaltered or undisturbed by excavating, grading, or surface-soil stripping operations, prepare surface soil as follows:

1. Remove existing grass, vegetation, and turf.  Do not mix into surface soil.

2. Loosen surface soil to a depth of at least [6 inches (150 mm)] [8 inches (200 mm)].  Apply soil amendments and fertilizers according to planting soil mix proportions and mix thoroughly into top [4 inches (100 mm)] [6 inches (150 mm)] of soil.  Till soil to a homogeneous mixture of fine texture.

Retain first subparagraph below if required.

a. Apply [superphosphate] <Insert type> fertilizer directly to surface soil before loosening.

3. Remove stones larger than [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (50 mm)] in any dimension and sticks, roots, trash, and other extraneous matter.

4. Legally dispose of waste material, including grass, vegetation, and turf, off Owner's property.

D. Finish Grading:  Grade planting areas to a smooth, uniform surface plane with loose, uniformly fine texture.  Grade to within plus or minus 1/2 inch (13 mm) of finish elevation.  Roll and rake, remove ridges, and fill depressions to meet finish grades.  Limit finish grading to areas that can be planted in the immediate future.

E. Moisten prepared area before planting if soil is dry.  Water thoroughly and allow surface to dry before planting.  Do not create muddy soil.

F. Before planting, obtain Architect's acceptance of finish grading; restore planting areas if eroded or otherwise disturbed after finish grading.

3.4 PREPARATION FOR EROSION-CONTROL MATERIALS

Retain this article for erosion-control materials.

A. Prepare area as specified in "Turf Area Preparation" Article.

Retain first two paragraphs below for erosion-control matting.

B. For erosion-control mats, install planting soil in two lifts, with second lift equal to thickness of erosion-control mats.  Install erosion-control mat and fasten as recommended by material manufacturer.

C. Fill cells of erosion-control mat with planting soil and compact before planting.

Retain first paragraph below for erosion-control blanket or mesh.

D. For erosion-control blanket or mesh, install from top of slope, working downward, and as recommended by material manufacturer for site conditions.  Fasten as recommended by material manufacturer.

E. Moisten prepared area before planting if surface is dry.  Water thoroughly and allow surface to dry before planting.  Do not create muddy soil.

3.5 PREPARATION FOR GRASS-PAVING MATERIALS

Retain this article for grass-paving materials.

A. Reduce subgrade elevation soil to allow for thickness of grass-paving system.  Grade planting areas to a smooth, uniform surface plane with loose, uniformly fine texture.  Grade so that installed paving is within plus or minus 1/2 inch (13 mm) of finish elevation.  Roll and rake, remove ridges, and fill depressions.

B. Install [base course] [and] [sand course] and [sandy loam soil mix] [proprietary growing mix] [soil for paving fill] as recommended by paving-material manufacturer for site conditions; comply with details shown on Drawings.  Compact according to paving-material manufacturer's written instructions.

C. Install paving mat and fasten according to paving-material manufacturer's written instructions.

D. Before planting, fill cells of paving mat with [planting soil] [sandy loam soil mix] [proprietary growing mix] [sand half full] and compact according to manufacturer's written instructions.

E. Moisten prepared area before planting if surface is dry.  Water thoroughly and allow surface to dry before planting.  Do not create muddy soil.

3.6 SEEDING

A. Sow seed with spreader or seeding machine.  Do not broadcast or drop seed when wind velocity exceeds 5 mph (8 km/h).  Evenly distribute seed by sowing equal quantities in two directions at right angles to each other.

1. Do not use wet seed or seed that is moldy or otherwise damaged.

2. Do not seed against existing trees.  Limit extent of seed to outside edge of planting saucer.

Revise first paragraph below to suit Project.  Sowing rates vary with grass species and mixtures.

B. Sow seed at a total rate of [2 lb/1000 sq. ft. (0.9 kg/92.9 sq. m)] [3 to 4 lb/1000 sq. ft. (1.4 to 1.8 kg/92.9 sq. m)] [5 to 8 lb/1000 sq. ft. (2.3 to 3.6 kg/92.9 sq. m)] <Insert rate>.

C. Rake seed lightly into top 1/8 inch (3 mm) of soil, roll lightly, and water with fine spray.

Retain one or all options in first paragraph below if specifying blankets or mesh.  Coordinate erosion-control materials with slope ratios and revise if required.

D. Protect seeded areas with slopes exceeding [1:4 with erosion-control blankets] [and] [1:6 with erosion-control fiber mesh] installed and stapled according to manufacturer's written instructions.

Retain first paragraph below if specifying erosion-control mats.

E. Protect seeded areas with erosion-control mats where shown on Drawings; install and anchor according to manufacturer's written instructions.

Retain first paragraph below if straw protection is required for seeded areas.

F. Protect seeded areas with slopes not exceeding 1:6 by spreading straw mulch.  Spread uniformly at a minimum rate of [2 tons/acre (42 kg/92.9 sq. m)] <Insert rate> to form a continuous blanket [1-1/2 inches (38 mm)] <Insert thickness> in loose thickness over seeded areas.  Spread by hand, blower, or other suitable equipment.

Retain one of two subparagraphs below for anchoring or bonding straw against erosion.

1. Anchor straw mulch by crimping into soil with suitable mechanical equipment.

2. Bond straw mulch by spraying with asphalt emulsion at a rate of [10 to 13 gal./1000 sq. ft. (38 to 49 L/92.9 sq. m)] <Insert rate>.  Take precautions to prevent damage or staining of structures or other plantings adjacent to mulched areas.  Immediately clean damaged or stained areas.

Protection in paragraph below is usually required in warm, dry climates.

G. Protect seeded areas from hot, dry weather or drying winds by applying [compost mulch] [peat mulch] [planting soil] within 24 hours after completing seeding operations.  Soak areas, scatter mulch uniformly to a thickness of [3/16 inch (4.8 mm)] <Insert thickness>, and roll surface smooth.

3.7 HYDROSEEDING

Retain this article if hydroseeding is permitted.

A. Hydroseeding:  Mix specified seed, fertilizer, and fiber mulch in water, using equipment specifically designed for hydroseed application.  Continue mixing until uniformly blended into homogeneous slurry suitable for hydraulic application.

Retain applicable option in first subparagraph below for improved erosion control.

1. Mix slurry with [nonasphaltic] [asphalt-emulsion] [fiber-mulch manufacturer's recommended] tackifier.

Retain one of two subparagraphs below.  See "Hydroseeding" Article in the Evaluations.

2. Apply slurry uniformly to all areas to be seeded in a one-step process.  Apply slurry at a rate so that mulch component is deposited at not less than [1500-lb/acre (15.6-kg/92.9 sq. m)] <Insert rate> dry weight, and seed component is deposited at not less than the specified seed-sowing rate.

Revise weight of fiber-mulch application in subparagraph below to suit Project.

3. Apply slurry uniformly to all areas to be seeded in a two-step process.  Apply first slurry coat at a rate so that mulch component is deposited at not less than [500-lb/acre (5.2-kg/92.9 sq. m)] <Insert rate> dry weight, and seed component is deposited at not less than the specified seed-sowing rate.  Apply slurry cover coat of fiber mulch (hydromulching) at a rate of [1000 lb/acre (10.4 kg/92.9 sq. m)] <Insert rate>.

3.8 SODDING

A. Lay sod within 24 hours of harvesting.  Do not lay sod if dormant or if ground is frozen or muddy.

B. Lay sod to form a solid mass with tightly fitted joints.  Butt ends and sides of sod; do not stretch or overlap.  Stagger sod strips or pads to offset joints in adjacent courses.  Avoid damage to subgrade or sod during installation.  Tamp and roll lightly to ensure contact with subgrade, eliminate air pockets, and form a smooth surface.  Work sifted soil or fine sand into minor cracks between pieces of sod; remove excess to avoid smothering sod and adjacent grass.

1. Lay sod across angle of slopes exceeding 1:3.

Retain subparagraph below if required.  Steel staple anchors are commonly used.

2. Anchor sod on slopes exceeding 1:6 with wood pegs[ or steel staples] spaced as recommended by sod manufacturer but not less than 2 anchors per sod strip to prevent slippage.

C. Saturate sod with fine water spray within two hours of planting.  During first week after planting, water daily or more frequently as necessary to maintain moist soil to a minimum depth of 1-1/2 inches (38 mm) below sod.

3.9 PLUGGING

Revise plug spacing in paragraph below to suit Project.  Zoysiagrass plugs may require spacing as close as 6 inches (150 mm) in northern areas to speed coverage.

A. Plant plugs in holes or furrows, spaced [12 inches (300 mm)] [18 inches (450 mm)] <Insert spacing> apart in both directions.  On slopes, contour furrows to near level.

3.10 SPRIGGING

Sprigs may be row planted in furrows or broadcast and roller pressed into planting soil.  Retain first paragraph below if planting sprigs in rows.  Retain spacings to suit Project.  Closer spacing will result in more rapid establishment of slower-growing species.

A. Plant freshly shredded sod sprigs in furrows [1 to 1-1/2 inches (25 to 38 mm)] [1-1/2 to 2 inches (38 to 50 mm)] [2-1/2 to 3 inches (64 to 75 mm)] deep.  Place individual sprigs with roots and portions of stem in moistened soil, [6 inches (150 mm)] [12 inches (300 mm)] <Insert spacing> apart in rows [10 inches (250 mm)] [18 inches (450 mm)] <Insert spacing> apart, and fill furrows without covering growing tips.  Lightly roll and firm soil around sprigs after planting.

Retain paragraph below if broadcast sprigging, also called "stolonizing," is required.  Retain broadcasting rate based on rate of grass establishment.

B. Broadcast sprigs uniformly over prepared surface at a rate of [10 cu. ft./1000 sq. ft. (0.28 cu. m/92.9 sq. m)] <Insert rate> and mechanically force sprigs into lightly moistened soil.

1. Spread a 1/4-inch- (6-mm-) thick layer of [compost mulch] [peat mulch] [planting soil] on sprigs.

2. Lightly roll and firm soil around sprigs after planting.

3. Water sprigs immediately after planting and keep moist by frequent watering until well rooted.

3.11 TURF RENOVATION

Retain this article if turf renovation is required or if Contractor is likely to damage existing turf.

A. Renovate existing turf.

B. Renovate existing turf damaged by Contractor's operations, such as storage of materials or equipment and movement of vehicles.

1. Reestablish turf where settlement or washouts occur or where minor regrading is required.

2. Install new planting soil as required.

C. Remove sod and vegetation from diseased or unsatisfactory turf areas; do not bury in soil.

D. Remove topsoil containing foreign materials such as oil drippings, fuel spills, stones, gravel, and other construction materials resulting from Contractor's operations, and replace with new planting soil.

E. Mow, dethatch, core aerate, and rake existing turf.

F. Remove weeds before seeding.  Where weeds are extensive, apply selective herbicides as required.  Do not use pre-emergence herbicides.

G. Remove waste and foreign materials, including weeds, soil cores, grass, vegetation, and turf, and legally dispose of them off Owner's property.

H. Till stripped, bare, and compacted areas thoroughly to a soil depth of 6 inches (150 mm).

I. Apply soil amendments and initial fertilizers required for establishing new turf and mix thoroughly into top 4 inches (100 mm) of existing soil.  Install new planting soil to fill low spots and meet finish grades.

Retain one of two options in first paragraph below.  Revise to include plugs or sprigs if required.

J. Apply [seed and protect with straw mulch] [sod] as required for new turf.

K. Water newly planted areas and keep moist until new turf is established.

3.12 TURF MAINTENANCE

A. Maintain and establish turf by watering, fertilizing, weeding, mowing, trimming, replanting, and performing other operations as required to establish healthy, viable turf.  Roll, regrade, and replant bare or eroded areas and remulch to produce a uniformly smooth turf.  Provide materials and installation the same as those used in the original installation.

1. Fill in as necessary soil subsidence that may occur because of settling or other processes.  Replace materials and turf damaged or lost in areas of subsidence.

Retain first subparagraph below if mulching is required.

2. In areas where mulch has been disturbed by wind or maintenance operations, add new mulch and anchor as required to prevent displacement.

3. Apply treatments as required to keep turf and soil free of pests and pathogens or disease.  Use integrated pest management practices whenever possible to minimize the use of pesticides and reduce hazards.

Revise first paragraph below and insert requirements for use of sprinkler or irrigation systems if available.  Also revise if water sources are distant or not available or if Contractor must pay for water.  Coordinate with Division 01 Section "Temporary Facilities and Controls."

B. Watering:  Install and maintain temporary piping, hoses, and turf-watering equipment to convey water from sources and to keep turf uniformly moist to a depth of 4 inches (100 mm).

1. Schedule watering to prevent wilting, puddling, erosion, and displacement of seed or mulch.  Lay out temporary watering system to avoid walking over muddy or newly planted areas.

Revise rate of watering in subparagraph below to suit Project.

2. Water turf with fine spray at a minimum rate of 1 inch (25 mm) per week unless rainfall precipitation is adequate.

C. Mow turf as soon as top growth is tall enough to cut.  Repeat mowing to maintain specified height without cutting more than 1/3 of grass height.  Remove no more than 1/3 of grass-leaf growth in initial or subsequent mowings.  Do not delay mowing until grass blades bend over and become matted.  Do not mow when grass is wet.  Schedule initial and subsequent mowings to maintain the following grass height:

Retain applicable subparagraphs below for mowing height.  For seed mixtures, base selection on predominant species to be established.

1. Mow [bentgrass] <Insert grass species> to a height of 1/2 inch (13 mm) or less.

2. Mow [bermudagrass] <Insert grass species> to a height of 1/2 to 1 inch (13 to 25 mm).

3. Mow [carpetgrass] [centipedegrass] [perennial ryegrass] [zoysiagrass] <Insert grass species> to a height of 1 to 2 inches (25 to 50 mm).

4. Mow [Kentucky bluegrass] [buffalograss] [annual ryegrass] [chewings red fescue] <Insert grass species> to a height of 1-1/2 to 2 inches (38 to 50 mm).

5. Mow [bahiagrass] [turf-type tall fescue] [St. Augustinegrass] <Insert grass species> to a height of 2 to 3 inches (50 to 75 mm).

Revise timing of fertilizer application in paragraph below if a slow-release fertilizer was initially applied.

D. Turf Postfertilization:  Apply fertilizer after initial mowing and when grass is dry.

Revise amount of nitrogen in subparagraph below to suit Project.  Halve the amount of nitrogen and apply twice during initial maintenance period if preferred.

1. Use fertilizer that will provide actual nitrogen of at least [1 lb/1000 sq. ft. (0.45 kg/92.9 sq. m)] <Insert rate> to turf area.

3.13 SATISFACTORY TURF

A. Turf installations shall meet the following criteria as determined by Architect:

Retain one or more of four subparagraphs below.  Revise descriptions or minimum acceptable coverage limits to suit Project.

1. Satisfactory Seeded Turf:  At end of maintenance period, a healthy, uniform, close stand of grass has been established, free of weeds and surface irregularities, with coverage exceeding [90 percent over any 10 sq. ft. (0.92 sq. m) and bare spots not exceeding 5 by 5 inches (125 by 125 mm)] <Insert coverage>.

2. Satisfactory Sodded Turf:  At end of maintenance period, a healthy, well-rooted, even-colored, viable turf has been established, free of weeds, open joints, bare areas, and surface irregularities.

3. Satisfactory Plugged Turf:  At end of maintenance period, the required number of plugs has been established as well-rooted, viable patches of grass, and areas between plugs are free of weeds and other undesirable vegetation.

4. Satisfactory Sprigged Turf:  At end of maintenance period, the required number of sprigs has been established as well-rooted, viable plants, and areas between sprigs are free of weeds and other undesirable vegetation.

B. Use specified materials to reestablish turf that does not comply with requirements and continue maintenance until turf is satisfactory.

3.14 MEADOW

Retain this article if planting seed for meadow grasses or wildflowers.

A. Sow seed with spreader or seeding machine.  Do not broadcast or drop seed when wind velocity exceeds 5 mph (8 km/h).  Evenly distribute seed by sowing equal quantities in two directions at right angles to each other.

1. Do not use wet seed or seed that is moldy or otherwise damaged.

Sowing rates vary with mix of species but are usually much lighter than turfgrass seed application rates.  Revise first paragraph below to suit Project.

B. Sow seed at a total rate of [4 oz./1000 sq. ft. (113 g/92.9 sq. m)] [5 oz./1000 sq. ft. (142 g/92.9 sq. m)] [6 oz./1000 sq. ft. (170 g/92.9 sq. m)] <Insert rate>.

C. Brush seed into top 1/16 inch (1.6 mm) of soil, roll lightly, and water with fine spray.

Protection in first paragraph below is usually required in warm, dry climates.

D. Protect seeded areas from hot, dry weather or drying winds by applying [peat] [or] [compost] mulch within 24 hours after completing seeding operations.  Soak areas, scatter mulch uniformly to a thickness of 3/16 inch (4.8 mm), and roll surface smooth.

E. Water newly planted areas and keep moist until meadow is established.

3.15 MEADOW MAINTENANCE

A. Maintain and establish meadow by watering, weeding, mowing, trimming, replanting, and performing other operations as required to establish a healthy, viable meadow.  Roll, regrade, and replant bare or eroded areas and remulch.  Provide materials and installation the same as those used in the original installation.

1. Fill in as necessary soil subsidence that may occur because of settling or other processes.  Replace materials and meadow damaged or lost in areas of subsidence.

Retain first subparagraph below if mulching is required.

2. In areas where mulch has been disturbed by wind or maintenance operations, add new mulch and anchor as required to prevent displacement.

3. Apply treatments as required to keep meadow and soil free of pests and pathogens or disease.  Use integrated pest management practices whenever possible to minimize the use of pesticides and reduce hazards.

Revise paragraph below and insert requirements for use of sprinkler or irrigation system if available.  Also revise if water sources are distant or not available or if Contractor must pay for water.  Coordinate with Division 01 Section "Temporary Facilities and Controls."

B. Watering:  Install and maintain temporary piping, hoses, and meadow-watering equipment to convey water from sources and to keep meadow uniformly moist.

1. Schedule watering to prevent wilting, puddling, erosion, and displacement of seed or mulch.  Lay out temporary watering system to avoid walking over muddy or newly planted areas.

Revise rate of watering in subparagraph below to suit Project.  Revise watering requirements according to meadow seed vendor's written recommendations.

2. Water meadow with fine spray at a minimum rate of 1/2 inch (13 mm) per week for [four] [six] [eight] weeks after planting unless rainfall precipitation is adequate.

Consider adding weed-control requirements during meadow establishment.  Also consider adding a single fall mowing to a height of 4 to 6 inches (100 to 150 mm) if landscape Installer is required to maintain meadow during fall season.

3.16 PESTICIDE APPLICATION

Revise paragraphs below to suit Project.

A. Apply pesticides and other chemical products and biological control agents in accordance with requirements of authorities having jurisdiction and manufacturer's written recommendations.  Coordinate applications with Owner's operations and others in proximity to the Work.  Notify Owner before each application is performed.

B. Post-Emergent Herbicides (Selective and Non-Selective):  Apply only as necessary to treat already-germinated weeds and in accordance with manufacturer's written recommendations.

3.17 CLEANUP AND PROTECTION

A. Promptly remove soil and debris created by turf work from paved areas.  Clean wheels of vehicles before leaving site to avoid tracking soil onto roads, walks, or other paved areas.

B. Erect temporary fencing or barricades and warning signs as required to protect newly planted areas from traffic.  Maintain fencing and barricades throughout initial maintenance period and remove after plantings are established.

C. Remove nondegradable erosion-control measures after grass establishment period.

END OF SECTION 329200

	TURF AND GRASSES
	329200 - 1



