Copyright 2002 AIA
MASTERSPEC Full Length
02/02 (R 05/06)

Copyright 2002 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 05500 - METAL FABRICATIONS
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

Delete three subparagraphs below if framing and supports are attached to steel frame.

1. Steel framing and supports for ceiling-hung toilet compartments.

2. Steel framing and supports for operable partitions.

3. Steel framing and supports for overhead doors.

Retain first subparagraph below if steel angles or other shapes are used to support countertops.

4. Steel framing and supports for countertops.

5. Steel framing and supports for mechanical and electrical equipment.

6. Steel framing and supports for applications where framing and supports are not specified in other Sections.

7. Steel framing and supports (outriggers) for window-washing equipment including [mounting brackets] [and] [anchorages].

Select subparagraph above or below, if required, and edit to describe provisions required for window-washing equipment.  Show details on Drawings.

8. [Mounting brackets] [and] [anchorages] for window-washing equipment.

Delete subparagraph below if building has a steel frame, because elevator machine beams, hoist beams, and divider beams would be included in Division 5 Section "Structural Steel."

9. Elevator machine beams[, hoist beams,] [and] [divider beams].

Delete first subparagraph below if sill supports are concrete, are attached to steel frame, or are specified in Division 14 Sections.

10. Support angles for elevator door sills.

11. Steel girders for supporting wood frame construction.

12. Steel pipe columns for supporting wood frame construction.

Delete first subparagraph below if prefabricated columns are specified in Division 5 Section "Structural Steel."

13. Prefabricated building columns.

14. Shelf angles.

Delete subparagraph below if bearing and leveling plates are specified with items that they support.

15. Loose bearing and leveling plates.

Delete subparagraph below if weld plates and angles are specified in same Section as work that is welded to them.

16. Steel weld plates and angles for casting into concrete not specified in other Sections.

Delete first subparagraph below if door frames are attached to steel building frame.

17. Structural-steel door frames.

18. Miscellaneous steel trim including [steel angle corner guards] [steel edgings] [and] [loading-dock edge angles].

Retain first subparagraph below for elevator pit ladders if not included in elevator Sections or if specified by referencing this Section.

19. Metal ladders.

20. Ladder safety cages.

21. Metal ships' ladders.

22. Metal bollards.

23. Pipe guards.

24. Bicycle racks.

25. Metal floor plate[ and supports].

Delete first subparagraph below if nosings and treads are specified with stairs, and cast-metal thresholds are specified with hardware.

26. Abrasive metal [nosings] [treads] [and] [thresholds].

27. Cast-iron wheel guards.

28. Metal downspout boots.

B. Products furnished, but not installed, under this Section include the following:

1. Loose steel lintels.

2. Anchor bolts, steel pipe sleeves, and wedge-type inserts indicated to be cast into concrete or built into unit masonry.

C. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Cast-in-Place Concrete" for installing anchor bolts, steel pipe sleeves, wedge-type inserts and other items indicated to be cast into concrete.

2. Division 4 Section "Unit Masonry Assemblies" for installing loose lintels, anchor bolts, and other items indicated to be built into unit masonry.

3. Division 5 Section "Structural Steel."

4. Division 5 Section "Metal Stairs."

5. Division 5 Section "Pipe and Tube Railings."

6. Division 5 Section "Gratings."

7. Division 5 Section "Ornamental Metal."

8. Division 5 Section "Ornamental Railings."

9. Division 6 Section "[Rough Carpentry] [Miscellaneous Carpentry]" for metal framing anchors.

10. Division 6 Section "Heavy Timber Construction" for timber connectors.

11. Division 6 Section "Structural Glued-Laminated Timber" for timber connectors.

12. Division 10 Section "Wire Mesh Partitions."

13. Division 14 Section "Electric Traction Elevators" for [elevator pit ladders] [and] [support angles for elevator door sills].

Delete subparagraph above and below if pit ladders and support angles for elevator door sills are in this Section.

14. Division 14 Section "Hydraulic Elevators" for [elevator pit ladders] [and] [support angles for elevator door sills].

1.3 PERFORMANCE REQUIREMENTS

Generally retain paragraph below for aluminum ladders unless Project's structural engineer is required to design building components.  Delete if sizes of ladder components are specified or shown on Drawings.

A. Structural Performance of Ladders:  Provide ladders capable of withstanding the effects of loads and stresses within limits and under conditions specified in ANSI A14.3.

Paragraph below is for exterior metalwork; revise to suit Project conditions and metalwork exposure.

B. Thermal Movements:  Provide exterior metal fabrications that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

1.4 SUBMITTALS

A. Product Data:  For the following:

Delete items below for which Product Data are not required.

1. Nonslip aggregates and nonslip-aggregate surface finishes.

2. Prefabricated building columns.

3. Metal nosings and treads.

4. Paint products.

5. Grout.

B. LEED Submittal:

Retain subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of complying with Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 4.1 and MR 4.2 requirements will be met.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

C. Shop Drawings:  Show fabrication and installation details for metal fabrications.

1. Include plans, elevations, sections, and details of metal fabrications and their connections.  Show anchorage and accessory items.

2. Provide templates for anchors and bolts specified for installation under other Sections.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify products' compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

3. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

D. Samples for Verification:  For each type and finish of extruded [nosing] [and] [tread].

Usually delete paragraph below unless increased corrosion resistance of Type 316 stainless steel is required.

E. Mill Certificates:  Signed by manufacturers of stainless-steel sheet certifying that products furnished comply with requirements.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

F. Welding certificates.

Coordinate paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For professional engineer.

1.5 QUALITY ASSURANCE

Delete paragraph below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

A. Welding:  Qualify procedures and personnel according to the following:

Retain applicable standards below.

1. AWS D1.1, "Structural Welding Code--Steel."

2. AWS D1.2, "Structural Welding Code--Aluminum."

3. AWS D1.3, "Structural Welding Code--Sheet Steel."

4. AWS D1.6, "Structural Welding Code--Stainless Steel."

1.6 PROJECT CONDITIONS

If possible, design metal fabrications so that they do not have to fit other construction, and delete this Article.

A. Field Measurements:  Verify actual locations of walls and other construction contiguous with metal fabrications by field measurements before fabrication and indicate measurements on Shop Drawings.

Delete first subparagraph below if not allowed.

1. Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating metal fabrications without field measurements.  Coordinate wall and other contiguous construction to ensure that actual dimensions correspond to established dimensions.

2. Provide allowance for trimming and fitting at site.

1.7 COORDINATION

A. Coordinate installation of anchorages for metal fabrications.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

Delete paragraph below if not required.

B. Coordinate installation of steel weld plates and angles for casting into concrete that are specified in this Section but required for work of another Section.  Deliver such items to Project site in time for installation.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products specified.

2. Products:  Subject to compliance with requirements, provide one of the products specified.

3. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

4. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

2.2 METALS, GENERAL

A. Metal Surfaces, General:  Provide materials with smooth, flat surfaces, unless otherwise indicated.  For metal fabrications exposed to view in the completed Work, provide materials without seam marks, roller marks, rolled trade names, or blemishes.

2.3 FERROUS METALS

Retain paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that hollow structural shapes and steel plates are made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content, and rolled structural shapes are made by the electric arc furnace method, which typically has 57.5 percent postconsumer recycled content and 6.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings for each fabrication type.  Add or delete items to suit Project.

B. Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

C. Stainless-Steel Sheet, Strip, Plate, and Flat Bars:  ASTM A 666, Type [304] [316L].

Usually select Type 304 in paragraph above and below; select Type 316L if required for corrosive environments.

D. Stainless-Steel Bars and Shapes:  ASTM A 276, Type [304] [316L].

First paragraph below specifies minimum yield point of 30 ksi (205 MPa); revise if higher strength is required.

E. Rolled-Steel Floor Plate:  ASTM A 786/A 786M, rolled from plate complying with ASTM A 36/A 36M or ASTM A 283/A 283M, Grade C or D.

F. Rolled-Stainless-Steel Floor Plate:  ASTM A 793.

G. Abrasive-Surface Floor Plate:  Steel plate [with abrasive granules rolled into surface] [or] [with abrasive material metallically bonded to steel by a proprietary process].

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

Products in list below have abrasive material metallically bonded to steel by a proprietary process.

a. IKG Industries, a Harsco company; Mebac.

b. W. S. Molnar Company; SlipNOT.

c. <Insert manufacturer's name; product.>

H. Steel Tubing:  ASTM A 500, cold-formed steel tubing.

Round steel tubing and pipe are sized differently.  Tubing is designated by OD and wall thickness.  Pipe is designated by nominal pipe size and weight or schedule number.  See Evaluations.

I. Steel Pipe:  ASTM A 53/A 53M, standard weight (Schedule 40), unless another weight is indicated or required by structural loads.

Paragraph below describes typical component of metal channel framing systems such as that manufactured by Unistrut Corporation.

J. Slotted Channel Framing:  Cold-formed metal channels with continuous slot complying with MFMA-3.

1. Size of Channels:  [1-5/8 by 1-5/8 inches (41 by 41 mm)] [As indicated].

2. Material:  Galvanized steel complying with ASTM A 653/A 653M, [commercial steel, Type B] [structural steel, Grade 33 (Grade 230)], with G90 (Z275) coating; [0.108-inch (2.8-mm)] [0.079-inch (2-mm)] [0.064-inch (1.6-mm)] nominal thickness.

Metal thicknesses in subparagraph above and below are 12, 14, and 16 gage, respectively.

3. Material:  Steel complying with ASTM A 1008/A 1008M, [commercial steel, Type B] [structural steel, Grade 33 (Grade 230)]; [0.0966-inch (2.5-mm)] [0.0677-inch (1.7-mm)] [0.0528-inch (1.35-mm)] minimum thickness; [unfinished] [coated with rust-inhibitive, baked-on, acrylic enamel] [hot-dip galvanized after fabrication].

Revise paragraph below after verifying availability if another class is required for structural reasons.  Insert ductile iron if needed for structural reasons.

K. Cast Iron:  ASTM A 48/A 48M, Class 30, unless another class is indicated or required by structural loads.

2.4 NONFERROUS METALS

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings for each fabrication type.  Add or delete items to suit Project.

A. Aluminum Plate and Sheet:  ASTM B 209 (ASTM B 209M), Alloy 6061-T6.

B. Aluminum Extrusions:  ASTM B 221 (ASTM B 221M), Alloy 6063-T6.

C. Aluminum-Alloy Rolled Tread Plate:  ASTM B 632/B 632M, Alloy 6061-T6.

D. Aluminum Castings:  ASTM B 26/B 26M, Alloy 443.0-F.

E. Bronze Plate, Sheet, Strip, and Bars:  ASTM B 36/B 36M, Alloy UNS No. C28000 (muntz metal, 60 percent copper).

F. Bronze Extrusions:  ASTM B 455, Alloy UNS No. C38500 (extruded architectural bronze).

G. Bronze Castings:  ASTM B 584, Alloy UNS No. C83600 (leaded red brass) or No. C84400 (leaded semired brass).

H. Nickel Silver Extrusions:  ASTM B 151/B 151M, Alloy UNS No. C74500.

I. Nickel Silver Castings:  ASTM B 584, Alloy UNS No. C97600 (20 percent leaded nickel bronze).

2.5 FASTENERS

Usually select Type 304 in paragraph below; select Type 316 if required for corrosive environments.

A. General:  Unless otherwise indicated, provide Type [304] [316] stainless-steel fasteners for exterior use and zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 5, at exterior walls.  Provide stainless-steel fasteners for fastening aluminum.  Select fasteners for type, grade, and class required.

Delete remainder of this Article unless there are specific requirements for these types of fasteners.  Revise paragraph below if ASTM A 325 bolts are required for connecting miscellaneous steel framing and supports.

B. Steel Bolts and Nuts:  Regular hexagon-head bolts, ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); with hex nuts, ASTM A 563 (ASTM A 563M); and, where indicated, flat washers.

Select Alloy Group 1 (A1) in first paragraph below for use with Type 304; select Alloy Group 2 (A4) for use with Type 316.

C. Stainless-Steel Bolts and Nuts:  Regular hexagon-head annealed stainless-steel bolts, nuts and, where indicated, flat washers; ASTM F 593 (ASTM F 738M) for bolts and ASTM F 594 (ASTM F 836M) for nuts, Alloy Group [1 (A1)] [2 (A4)].

D. Anchor Bolts:  ASTM F 1554, Grade 36.

1. Provide hot-dip or mechanically deposited, zinc-coated anchor bolts where item being fastened is indicated to be galvanized.

E. Eyebolts:  ASTM A 489.

F. Machine Screws:  ASME B18.6.3 (ASME B18.6.7M).

G. Lag Bolts:  ASME B18.2.1 (ASME B18.2.3.8M).

H. Wood Screws:  Flat head, ASME B18.6.1.

I. Plain Washers:  Round, ASME B18.22.1 (ASME B18.22M).

J. Lock Washers:  Helical, spring type, ASME B18.21.1 (ASME B18.21.2M).

Delete first paragraph and subparagraph below if not applicable.  If retaining, verify safety factor with Project's structural engineer.

K. Cast-in-Place Anchors in Concrete:  Anchors capable of sustaining, without failure, a load equal to four times the load imposed, as determined by testing according to ASTM E 488, conducted by a qualified independent testing agency.

1. Threaded or wedge type; galvanized ferrous castings, either ASTM A 47/A 47M malleable iron or ASTM A 27/A 27M cast steel.  Provide bolts, washers, and shims as needed, hot-dip galvanized per ASTM A 153/A 153M.

L. Expansion Anchors:  Anchor bolt and sleeve assembly with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and four times the load imposed when installed in concrete, as determined by testing according to ASTM E 488, conducted by a qualified independent testing agency.

1. Material for Anchors in Interior Locations:  Carbon-steel components zinc-plated to comply with ASTM B 633, Class Fe/Zn 5.

Subparagraph above and below are examples only.  Material above protects against corrosion in an indoor atmosphere; revise to suit other conditions after verifying availability of thicker coatings.  In subparagraph below, Alloy Group 1 (A1) refers to Type 304 and similar alloys, and Alloy Group 2 (A4) refers to Type 316 and similar alloys.

2. Material for Anchors in Exterior Locations:  Alloy Group [1 (A1)] [2 (A4)] stainless-steel bolts complying with ASTM F 593 (ASTM F 738M) and nuts complying with ASTM F 594 (ASTM F 836M).

2.6 MISCELLANEOUS MATERIALS

A. Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

B. Shop Primers:  Provide primers that comply with Division 9 [painting Sections.] [Section "High-Performance Coatings."]

Select paragraph above or one or both primer paragraphs and associated subparagraphs below.  First paragraph below specifies a typical primer for painted finishes that provides minimum protection to steel.  Second paragraph specifies a typical primer for high-performance coating.  If retaining both, indicate on Drawings or in a schedule where each is required.

C. Universal Shop Primer:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete subparagraph below if zinc-rich primer is not used.

2. Use primer containing pigments that make it easily distinguishable from zinc-rich primer.

D. Zinc-Rich Primer:  Complying with SSPC-Paint 20 or SSPC-Paint 29 and compatible with topcoat.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.  Edit list to suit local VOC regulations.

2. [Available ]Products:

a. Benjamin Moore & Co.; Epoxy Zinc-Rich Primer CM18/19.

b. Carboline Company; Carbozinc 621.

c. ICI Devoe Coatings; Catha-Coat 313.

d. International Coatings Limited; Interzinc 315 Epoxy Zinc-Rich Primer.

e. PPG Architectural Finishes, Inc.; Aquapon Zinc-Rich Primer 97-670.

f. Sherwin-Williams Company (The); Corothane I GalvaPac Zinc Primer.

g. Tnemec Company, Inc.; Tneme-Zinc 90-97.

h. <Insert manufacturer's name; product name or designation.>

Delete first paragraph below if no galvanized fabrications.

E. Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

F. Bituminous Paint:  Cold-applied asphalt emulsion complying with ASTM D 1187.

Retain paragraph below for heavy-duty grouting applications.  Do not use in wet areas or on exterior.

G. Nonshrink, Metallic Grout:  Factory-packaged, ferrous-aggregate grout complying with ASTM C 1107, specifically recommended by manufacturer for heavy-duty loading applications.

Retain paragraph below for grouting applications where nonstaining grout is required.

H. Nonshrink, Nonmetallic Grout:  Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout specifically recommended by manufacturer for interior and exterior applications.

Delete paragraph below if not required for concrete-filled bollards, footings for bollards, or wheel guards.

I. Concrete Materials and Properties:  Comply with requirements in Division 3 Section "Cast-in-Place Concrete" for normal-weight, air-entrained, ready-mix concrete with a minimum 28-day compressive strength of 3000 psi (20 MPa), unless otherwise indicated.

2.7 FABRICATION, GENERAL

A. Shop Assembly:  Preassemble items in the shop to greatest extent possible.  Disassemble units only as necessary for shipping and handling limitations.  Use connections that maintain structural value of joined pieces.  Clearly mark units for reassembly and coordinated installation.

B. Cut, drill, and punch metals cleanly and accurately.  Remove burrs and ease edges to a radius of approximately 1/32 inch (1 mm), unless otherwise indicated.  Remove sharp or rough areas on exposed surfaces.

C. Form bent-metal corners to smallest radius possible without causing grain separation or otherwise impairing work.

D. Form exposed work true to line and level with accurate angles and surfaces and straight edges.

E. Weld corners and seams continuously to comply with the following:

1. Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2. Obtain fusion without undercut or overlap.

3. Remove welding flux immediately.

4. At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

F. Form exposed connections with hairline joints, flush and smooth, using concealed fasteners where possible.  Where exposed fasteners are required, use Phillips flat-head (countersunk) screws or bolts, unless otherwise indicated.  Locate joints where least conspicuous.

G. Fabricate seams and other connections that will be exposed to weather in a manner to exclude water.  Provide weep holes where water may accumulate.

H. Cut, reinforce, drill, and tap metal fabrications as indicated to receive finish hardware, screws, and similar items.

I. Provide for anchorage of type indicated; coordinate with supporting structure.  Space anchoring devices to secure metal fabrications rigidly in place and to support indicated loads.

1. Where units are indicated to be cast into concrete or built into masonry, equip with integrally welded steel strap anchors, 1/8 by 1-1/2 inches (3.2 by 38 mm), with a minimum 6-inch (150-mm) embedment and 2-inch (50-mm) hook, not less than 8 inches (200 mm) from ends and corners of units and 24 inches (600 mm) o.c., unless otherwise indicated.

First 17 articles below specify fabrication requirements for typical metal fabrications; delete those not required, edit those retained to suit Project, and add others as required.

2.8 MISCELLANEOUS FRAMING AND SUPPORTS

A. General:  Provide steel framing and supports not specified in other Sections as needed to complete the Work.

B. Fabricate units from steel shapes, plates, and bars of welded construction, unless otherwise indicated.  Fabricate to sizes, shapes, and profiles indicated and as necessary to receive adjacent construction retained by framing and supports.  Cut, drill, and tap units to receive hardware, hangers, and similar items.

Delete two subparagraphs below if not required.

1. Fabricate units from slotted channel framing where indicated.

2. Furnish inserts if units are installed after concrete is placed.

Requirements below are examples only; revise to suit Project.  Add similar provisions for other supports, such as for ceiling-hung toilet compartments, overhead doors, etc.  Base support and bracing sizes on recommendations of manufacturer of item being supported.  Insert requirements for other specific applications.

C. Fabricate supports for operable partitions from continuous steel beams of sizes indicated with attached bearing plates, anchors, and braces as indicated.  Drill bottom flanges of beams to receive partition track hanger rods; locate holes where indicated on operable partition Shop Drawings.

Revise paragraph and subparagraphs below if girders are spliced.  Add ASTM A 325 bolts to "Fasteners" Article if required for splicing or for connecting to pipe columns.

D. Fabricate steel girders for wood frame construction from continuous steel shapes of sizes indicated.

1. Provide bearing plates welded to beams where indicated.

2. Drill girders and plates for field-bolted connections where indicated.

Delete subparagraph below if nailers are not used or are fastened with powder-actuated fasteners.

3. Where wood nailers are attached to girders with bolts or lag screws, drill holes at 24 inches (600 mm) o.c.

Revise first paragraph and subparagraphs below if tubing is used.  Revise default weld size requirement, or delete and detail welds on Drawings to suit Project.

E. Fabricate steel pipe columns for supporting wood frame construction from steel pipe with steel baseplates and top plates as indicated.  Drill baseplates and top plates for anchor and connection bolts and weld to pipe with fillet welds all around.  Make welds the same size as pipe wall thickness, unless otherwise indicated.

1. Unless otherwise indicated, fabricate from Schedule 40 steel pipe.

2. Unless otherwise indicated, provide 1/2-inch (12.7-mm) baseplates with four 5/8-inch (16-mm) anchor bolts and 1/4-inch (6.4-mm) top plates.

F. Galvanize miscellaneous framing and supports where indicated.

Select paragraph above or below if required.  If retaining either, indicate galvanized or zinc-rich primed items on Drawings.

G. Prime miscellaneous framing and supports with zinc-rich primer where indicated.

2.9 PREFABRICATED BUILDING COLUMNS

Delete this Article if prefabricated building columns are specified in Division 5 Section "Structural Steel."

A. General:  Provide prefabricated building columns consisting of load-bearing structural-steel members protected by insulating concrete fireproofing encased in an outer non-load-bearing steel shell.

B. Fire-Resistance Ratings:  Provide prefabricated building columns listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction for ratings indicated, based on testing according to ASTM E 119.

Insert UL design number here or indicate on Drawings if required.

1. Fire-Resistance Rating:  [4 hours] [3 hours] [2 hours] [As indicated].

C. Column Configuration:  Provide columns of sizes and shapes indicated.  Fabricate connections to comply with details shown or as needed to suit type of structure indicated.

1. Concrete Fill:  Manufacturer's standard structural concrete, with minimum compressive strength of 4200 psi (29 MPa), machine mixed and mechanically vibrated during placement to produce concrete core free of voids.

Coordinate paragraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

D. [Available ]Manufacturers:

1. Black Rock Column, Inc.

2. Dean, George H., Inc.

3. Firetrol Division; Dean Lally L. P.

4. <Insert manufacturer's name.>

2.10 LOOSE STEEL LINTELS

A. Fabricate loose steel lintels from steel angles and shapes of size indicated for openings and recesses in masonry walls and partitions at locations indicated.  Weld adjoining members together to form a single unit where indicated.

Delete first paragraph below if bearing lengths are indicated on Drawings or in schedules.

B. Size loose lintels to provide bearing length at each side of openings equal to 1/12 of clear span but not less than 8 inches (200 mm), unless otherwise indicated.

C. Galvanize loose steel lintels located in exterior walls.

Select paragraph above or below if required.

D. Prime loose steel lintels located in exterior walls with zinc-rich primer.

2.11 SHELF ANGLES

Retain this Article for angles supported from concrete frame.  Angles connected to structural-steel framing are specified with that work in another Division 5 Section.

A. Fabricate shelf angles from steel angles of sizes indicated and for attachment to concrete framing.  Provide horizontally slotted holes to receive 3/4-inch (19-mm) bolts, spaced not more than 6 inches (150 mm) from ends and 24 inches (600 mm) o.c., unless otherwise indicated.

1. Provide mitered and welded units at corners.

2. Provide open joints in shelf angles at expansion and control joints.  Make open joint approximately 2 inches (50 mm) larger than expansion or control joint.

B. For cavity walls, provide vertical channel brackets to support angles from backup masonry and concrete.

C. Galvanize shelf angles located in exterior walls.

Select paragraph above or below if required.

D. Prime shelf angles located in exterior walls with zinc-rich primer.

Delete paragraph below if inserts are specified in Division 3 Section "Cast-in-Place Concrete."

E. Furnish wedge-type concrete inserts, complete with fasteners, to attach shelf angles to cast-in-place concrete.

2.12 LOOSE BEARING AND LEVELING PLATES

A. Provide loose bearing and leveling plates for steel items bearing on masonry or concrete construction.  Drill plates to receive anchor bolts and for grouting.

B. Galvanize plates after fabrication.

Select paragraph above or below if required.

C. Prime plates with zinc-rich primer.

2.13 STEEL WELD PLATES AND ANGLES

A. Provide steel weld plates and angles not specified in other Sections, for items supported from concrete construction as needed to complete the Work.  Provide each unit with not less than two integrally welded steel strap anchors for embedding in concrete.

2.14 STRUCTURAL-STEEL DOOR FRAMES

Retain this Article for structural-steel door frames built into masonry or concrete walls and not attached to structural-steel building frame.  Door frames connected to structural-steel framing are specified with that work in another Division 5 Section.

A. Fabricate structural-steel door frames from steel shapes, plates, and bars of size and to dimensions indicated, fully welded together, with 5/8-by-1-1/2-inch (16-by-38-mm) steel channel stops, unless otherwise indicated.  Plug-weld built-up members and continuously weld exposed joints.  Secure removable stops to frame with countersunk machine screws, uniformly spaced at not more than 10 inches (250 mm) o.c.  Reinforce frames and drill and tap as necessary to accept finish hardware.

1. Provide with integrally welded steel strap anchors for securing door frames into adjoining concrete or masonry.

Delete first paragraph below if not required.

B. Extend bottom of frames to floor elevation indicated with steel angle clips welded to frames for anchoring frame to floor with expansion shields and bolts.

C. Galvanize [exterior steel frames] [and] [interior steel frames, where indicated].

Select paragraph above or below if required.  If retaining "interior steel frames" option in either, indicate galvanized or zinc-rich primed items on Drawings.

D. Prime [exterior steel frames] [and] [interior steel frames, where indicated] with zinc-rich primer.

2.15 MISCELLANEOUS STEEL TRIM

A. Unless otherwise indicated, fabricate units from steel shapes, plates, and bars of profiles shown with continuously welded joints and smooth exposed edges.  Miter corners and use concealed field splices where possible.

B. Provide cutouts, fittings, and anchorages as needed to coordinate assembly and installation with other work.

1. Provide with integrally welded steel strap anchors for embedding in concrete or masonry construction.

C. Galvanize [exterior miscellaneous steel trim] [and] [interior miscellaneous steel trim, where indicated].

Select paragraph above or below if required.  If retaining "interior miscellaneous steel trim" option in either, indicate galvanized or zinc-rich primed items on Drawings.

D. Prime [exterior miscellaneous steel trim] [and] [interior miscellaneous steel trim, where indicated] with zinc-rich primer.

2.16 METAL LADDERS

A. General:

ANSI A14.3 specifies minimum design requirements for ladders and safety cages.

1. Comply with ANSI A14.3, unless otherwise indicated.

2. For elevator pit ladders, comply with ASME A17.1.

Subparagraph below can be deleted if spacing is shown on Drawings.  ANSI A14.3 minimum siderail spacing is 16 inches (406 mm); minimum spacing per ASME A17.1 is 12 inches (305 mm).

3. Space siderails [16 inches (406 mm)] [18 inches (457 mm)] apart, unless otherwise indicated.

Option in subparagraph below can be deleted if supports are shown on Drawings.  ANSI A14.3 minimum support spacing is 10 feet (3 m).

4. Support each ladder[ at top and bottom and not more than 60 inches (1500 mm) o.c.] with welded or bolted brackets, made from same metal as ladder.

B. Steel Ladders:

Dimensions in first two subparagraphs below can be deleted if shown on Drawings.

First option in subparagraph below is ANSI A14.3 minimum dimension for normal atmospheric exposures; second is minimum for unusual atmospheric exposures.

1. Siderails:  Continuous, [3/8-by-2-1/2-inch (9.5-by-64-mm)] [1/2-by-2-1/2-inch (12.7-by-64-mm)] steel flat bars, with eased edges.

First option in first subparagraph below is ANSI A14.3 minimum dimension for normal atmospheric exposures; second is minimum for unusually corrosive atmospheric exposures.

2. Rungs:  [3/4-inch- (19-mm-) diameter] [3/4-inch- (19-mm-) square] [1-inch- (25-mm-) diameter] [1-inch- (25-mm-) square] steel bars.

3. Fit rungs in centerline of siderails; plug-weld and grind smooth on outer rail faces.

4. Provide nonslip surfaces on top of each rung, either by coating rung with aluminum-oxide granules set in epoxy-resin adhesive or by using a type of manufactured rung filled with aluminum-oxide grout.

Delete subparagraph above or below.  Products below are claimed to wear better than those above.

5. Provide nonslip surfaces on top of each rung by coating with abrasive material metallically bonded to rung by a proprietary process.

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

6. [Available ]Products:

a. IKG Industries, a Harsco company; Mebac.

b. W. S. Molnar Company; SlipNOT.

c. <Insert manufacturer's name; product name or designation.>

7. Galvanize [exterior ladders] [and] [interior ladders, where indicated], including brackets and fasteners.

Select subparagraph above or below if required If retaining "interior ladders" option in either, indicate galvanized or zinc-rich primed items on Drawings.

8. Prime [exterior ladders] [and] [interior ladders, where indicated], including brackets and fasteners, with zinc-rich primer.

C. Aluminum Ladders:

1. Siderails:  Continuous extruded-aluminum channels or tubes, not less than 2-1/2 inches (64 mm) deep, 3/4 inch (19 mm) wide, and 1/8 inch (3.2 mm) thick.

2. Rungs:  Extruded-aluminum tubes, not less than 3/4 inch (19 mm) deep and not less than 1/8 inch (3.2 mm) thick, with ribbed tread surfaces.

3. Fit rungs in centerline of siderails; fasten by welding or with stainless-steel fasteners or brackets and aluminum rivets.

2.17 LADDER SAFETY CAGES

ANSI A14.3 requires safety cages for ladders longer than 24 feet (7.3 m) unless a ladder safety system is provided.  1996 BOCA Code and OSHA regulations require cages for ladders longer than 20 feet (6 m).

A. General:

1. Fabricate ladder safety cages to comply with ANSI A14.3.  Assemble by welding or with stainless-steel fasteners.

2. Provide primary hoops at tops and bottoms of cages and spaced not more than 20 feet (6 m) o.c.  Provide secondary intermediate hoops spaced not more than 48 inches (1200 mm) o.c. between primary hoops.

3. Fasten assembled safety cage to ladder rails and adjacent construction by welding or with stainless-steel fasteners, unless otherwise indicated.

B. Steel Ladder Safety Cages:

1. Primary Hoops:  1/4-by-4-inch (6.4-by-100-mm) flat bar hoops.

2. Secondary Intermediate Hoops:  1/4-by-2-inch (6.4-by-50-mm) flat bar hoops.

3. Vertical Bars:  3/16-by-1-1/2-inch (4.8-by-38-mm) flat bars secured to each hoop.

4. Galvanize [exterior ladder cages] [and] [interior ladder cages, where indicated], including fasteners.

Select subparagraph above or below if required.  If retaining "interior ladder cages" option in either, indicate galvanized or zinc-rich primed items on Drawings.

5. Prime [exterior ladder cages] [and] [interior ladder cages, where indicated], including fasteners, with zinc-rich primer.

C. Aluminum Ladder Safety Cages:

1. Primary Hoops:  1/4-by-4-inch (6.4-by-100-mm) flat bar hoops.

2. Secondary Intermediate Hoops:  1/4-by-2-inch (6.4-by-50-mm) flat bar hoops.

3. Vertical Bars:  1/4-by-2-inch (6.4-by-50-mm) flat bars secured to each hoop.

2.18 METAL SHIPS' LADDERS

Delete this Article if no ships' ladders.  ANSI A14.3 and OSHA regulations discourage use of ships' ladders 60 degrees or steeper.  See Evaluations.

A. Provide metal ships' ladders where indicated.  Fabricate of open-type construction with channel or plate stringers, pipe and tube railings, and bar grating treads, unless otherwise indicated.  Provide brackets and fittings for installation.

1. Fabricate ships' ladders, including treads and railings from [steel] [aluminum] [stainless steel].

2. Comply with applicable requirements in Division 5 Section "[Metal Stairs] [Pipe and Tube Railings]" for railings.

B. Galvanize [exterior steel ships' ladders] [and] [interior steel ships' ladders, where indicated], including treads, railings, brackets, and fasteners.

Select paragraph above or below if required.  If retaining "interior steel ships' ladders" option in either, indicate galvanized or zinc-rich primed items on Drawings.

C. Prime [exterior steel ships' ladders] [and] [interior steel ships' ladders, where indicated], including treads, railings, brackets, and fasteners, with zinc-rich primer.

2.19 METAL BOLLARDS

Usually select Schedule 40 steel pipe in paragraph below.  Schedule 80 is suitable for security applications.

A. Fabricate metal bollards from [Schedule 40 steel pipe] [Schedule 80 steel pipe] [1/4-inch (6.4-mm) wall-thickness rectangular steel tubing] [steel shapes, as indicated].

Retain subparagraph below if required; delete if bollards are concrete filled.

1. Cap bollards with 1/4-inch- (6.4-mm-) thick steel plate.

Retain subparagraph below with rectangular steel tubing in paragraph above if bollards are required for housing door operator push-button controls.

2. Where bollards are indicated to receive push-button controls for door operators, provide necessary cutouts for push-button controls and hole for wire.

Retain paragraph below if required for mounting bollards on structural slab or on existing pavement.

B. Fabricate bollards with 3/8-inch- (9.5-mm-) thick steel baseplates for bolting to concrete slab.  Drill baseplates at all 4 corners for 3/4-inch (19-mm) anchor bolts.

Delete subparagraph below if not required.

1. Where bollards are to be anchored to sloping concrete slabs, angle baseplates for plumb alignment of bollards.

Delete paragraph below if sleeves are not used.

C. Fabricate sleeves for bollard anchorage from steel [pipe] [or] [tubing] with 1/4-inch- (6.4-mm-) thick steel plate welded to bottom of sleeve.  Make sleeves not less than 8 inches (200 mm) deep and 3/4 inch (19 mm) larger than OD of bollard.

Delete paragraph below if not required; revise if Schedule 80 pipe bollards, rectangular steel tube bollards, or bollards of other shapes are used.

D. Fabricate internal sleeves for removable bollards from Schedule 40 steel pipe or 1/4-inch (6.4-mm) wall-thickness steel tubing with an OD approximately 1/16 inch (1.5 mm) less than ID of bollards.  Match drill sleeve and bollard for 3/4 inch (19 mm) steel machine bolt.

2.20 PIPE GUARDS

Paragraph below is an example of pipe protection for parking garages and other locations where pipes are subject to damage by vehicles.

A. Fabricate pipe guards from 3/8-inch- (9.5-mm-) thick by 12-inch- (300-mm-) wide steel plate, bent to fit flat against the wall or column at both ends and to fit around pipe with 2-inch (50-mm) clearance between pipe and pipe guard.  Drill each end for two 3/4-inch (19-mm) anchor bolts.

Delete paragraph below if not required.

B. Galvanize pipe guards after fabrication.

2.21 BICYCLE RACKS

Delete this Article if bicycle racks are not required; if retaining, revise to suit Project.  A suitable means for securing bicycles, together with changing/shower facilities, is required for LEED-NC Credit SS 4.2 and LEED-CI and LEED-EB Credit SS 3.2.

A. Fabricate from Schedule 40 steel pipe, fully welded together, to lengths indicated.

B. Fabricate with NPS 3 (DN 80) top rails and end posts, NPS 1-1/2 (DN 40) bottom rails[ and intermediate posts not more than 72 inches (1800 mm) o.c.], and NPS 3/4 (DN 20) vertical separators at approximately 8 inches (200 mm) o.c.

C. Make top rails 36 inches (900 mm) above pavement/floor and bottom rails 4 inches (100 mm) above pavement/floor.

D. Fabricate end posts[ and intermediate posts] with 1/4-inch- (6.4-mm-) thick steel baseplates for bolting to concrete slab.  Drill end post baseplates at all 4 corners[ and intermediate-post baseplates at 2 opposite sides] for 1/2-inch (12.7-mm) anchor bolts.

E. Galvanize bicycle racks after fabrication.

Select paragraph above or below if required.

F. Prime bicycle racks with zinc-rich primer.

2.22 METAL FLOOR PLATE

A. Fabricate from [rolled-steel floor] [rolled-stainless-steel floor] [rolled-aluminum-alloy tread] [abrasive-surface floor] plate of thickness indicated below:

Retain one of six options in subparagraph below with any option above.  If retaining "As indicated" option, show thicknesses on Drawings.

1. Thickness:  [1/8 inch (3.2 mm)] [3/16 inch (4.8 mm)] [1/4 inch (6.4 mm)] [5/16 inch (8 mm)] [3/8 inch (9.5 mm)] [As indicated].

B. Provide [steel] [stainless-steel] [aluminum] angle supports as indicated.

C. Include [steel] [stainless-steel] [aluminum] angle stiffeners, and fixed and removable sections as indicated.

D. Provide flush [steel] [stainless-steel] [aluminum] bar drop handles for lifting removable sections, one at each end of each section.

2.23 ABRASIVE METAL [NOSINGS] [TREADS] [AND] [THRESHOLDS]

Coordinate this Article with Division 5 Section "Metal Stairs" and Division 8 Section "Door Hardware."

A. Cast-Metal Units:  Cast [gray iron, Class 20] [aluminum] [bronze (leaded red or semired brass)] [nickel silver (leaded nickel bronze)], with an integral abrasive finish consisting of aluminum oxide, silicon carbide, or a combination of both.  Fabricate units in sizes and configurations indicated and in lengths necessary to accurately fit openings or conditions.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. American Safety Tread Co., Inc.

b. Balco Inc.

c. Barry Pattern & Foundry Co., Inc.

d. Granite State Casting Co.

e. Safe-T-Metal Co.

f. Wooster Products Inc.

g. <Insert manufacturer's name.>

Six subparagraphs below are examples only; other types and sizes are available.  Select types required and revise to suit Project.  Delete all six if configurations are shown on Drawings.

2. Nosings:  Cross-hatched units, 4 inches (100 mm) wide with [1/4-inch (6-mm)] [1-inch (25-mm)] lip, for casting into concrete steps.

3. Nosings:  Cross-hatched units, 1-1/2 by 1-1/2 inches (38 by 38 mm), for casting into concrete curbs.

4. Treads:  Cross-hatched units, full depth of tread with 3/4-by-3/4-inch (19-by-19-mm) nosing, for application over bent plate treads or existing stairs.

Delete three subparagraphs below if thresholds are specified in Division 8 Section "Door Hardware."

5. Thresholds:  Fluted-saddle-type units, 5 inches (125 mm) wide by 1/2 inch (12 mm) high, with tapered edges.

6. Thresholds:  Fluted-interlocking- (hook-strip-) type units, 5 inches (125 mm) wide by 5/8 inch (16 mm) high, with tapered edge.

7. Thresholds:  Plain-stepped- (stop-) type units, 5 inches (125 mm) wide by 1/2 inch (12 mm) high, with 1/2-inch (12-mm) step.

B. Extruded Units:  [Aluminum] [Bronze], with abrasive filler consisting of aluminum oxide, silicon carbide, or a combination of both, in an epoxy-resin binder.  Fabricate units in sizes and configurations indicated and in lengths necessary to accurately fit openings or conditions.

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. ACL Industries, Inc.

b. American Safety Tread Co., Inc.

c. Amstep Products.

d. Armstrong Products, Inc.

e. Balco Inc.

f. Granite State Casting Co.

g. Wooster Products Inc.

h. <Insert manufacturer's name.>

2. Provide ribbed units, with abrasive filler strips projecting 1/16 inch (1.5 mm) above aluminum extrusion.

Select subparagraph above or below.

3. Provide solid-abrasive-type units without ribs.

Four subparagraphs below are examples only; other types and sizes are available.  Select types required and revise to suit Project.  Delete all four if configurations are shown on Drawings.

4. Nosings:  Square-back units, [1-7/8 inches (48 mm)] [3 inches (75 mm)] [4 inches (100 mm)] wide, for casting into concrete steps.

5. Nosings:  Beveled-back units, [3 inches (75 mm)] [4 inches (100 mm)] wide with 1-3/8-inch (35-mm) lip, for surface mounting on existing stairs.

6. Nosings:  Two-piece units, 3 inches (75 mm) wide, with subchannel for casting into concrete steps.

7. Treads:  [Square] [Beveled]-back units, full depth of tread with 1-3/8-inch (35-mm) lip, for application over existing stairs.

C. Provide anchors for embedding units in concrete, either integral or applied to units, as standard with manufacturer.

Delete paragraph above or below if not required.

D. Drill for mechanical anchors and countersink.  Locate not more than 4 inches (100 mm) from ends and not more than 12 inches (300 mm) o.c., evenly spaced between ends, unless otherwise indicated.  Provide closer spacing if recommended by manufacturer.

Delete subparagraph below if not required.

1. Provide 2 rows of holes for units more than 5 inches (125 mm) wide, with 2 holes aligned at ends and intermediate holes staggered.

E. Apply bituminous paint to concealed bottoms, sides, and edges of cast-metal units set into concrete.

F. Apply clear lacquer to concealed bottoms, sides, and edges of extruded units set into concrete.

2.24 CAST-IRON WHEEL GUARDS

A. Provide wheel guards of 3/4-inch- (19-mm-) thick, hollow-core, gray-iron castings; of size and shape indicated.  Provide holes for countersunk anchor bolts and grouting.

2.25 METAL DOWNSPOUT BOOTS

A. Provide downspout boots made from [cast gray iron] [cast aluminum] in heights indicated with inlets of size and shape to suit downspouts.

1. Outlet:  [Vertical, to discharge into pipe] [Horizontal, to discharge into pipe] [At 35 degrees from horizontal, to discharge onto splash block or pavement].

2.26 FINISHES, GENERAL

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Finish metal fabrications after assembly.

2.27 STEEL AND IRON FINISHES

A. Galvanizing:  Hot-dip galvanize items as indicated to comply with applicable standard listed below:

1. ASTM A 123/A 123M, for galvanizing steel and iron products.

2. ASTM A 153/A 153M, for galvanizing steel and iron hardware.

B. Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with minimum requirements indicated below for SSPC surface preparation specifications and environmental exposure conditions of installed metal fabrications:

Retain or revise both subparagraphs below to suit Project service conditions of installed work.  Insert other exposures and preparation requirements where applicable.  Refer to SSPC's painting manual.  Both subparagraphs apply to locations that would normally remain dry in service.

1. Exteriors (SSPC Zone 1B)[ and Items Indicated to Receive Zinc-Rich Primer]:  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

2. Interiors (SSPC Zone 1A):  SSPC-SP 3, "Power Tool Cleaning."

C. Shop Priming:  Apply shop primer to uncoated surfaces of metal fabrications, except those with galvanized finishes and those to be embedded in concrete, sprayed-on fireproofing, or masonry, unless otherwise indicated.  Comply with SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel," for shop painting.

Delete subparagraph below if not required.  Stripe painting adds cost but helps ensure that hard-to-reach areas, such as crevices, inside corners, and welds, are thoroughly coated and that sharp edges (which are vulnerable to chipping and are where the film may be thinner due to surface tension) receive adequate coverage.

1. Stripe paint corners, crevices, bolts, welds, and sharp edges.

2.28 STAINLESS-STEEL FINISHES

Delete this Article if no stainless steel.

A. Remove tool and die marks and stretch lines or blend into finish.

Delete paragraph below if no directionally textured finishes are retained.

B. Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.

First two paragraphs below specify typical stainless-steel finishes and reference standard sheet finish designations.  Revise if another finish is required.

C. Bright, Directional Satin Finish:  No. 4.

D. Dull Satin Finish:  No. 6.

E. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

2.29 ALUMINUM FINISHES

Delete this Article if no aluminum.

A. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes in two paragraphs below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.

B. As-Fabricated Finish:  AA-M10 (Mechanical Finish:  as fabricated, unspecified).

Finish in paragraph above is usually referred to as "mill finish." Finish below is heavy-anodized finish; before specifying, verify availability with manufacturers selected.

C. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte;  Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

2.30 COPPER-ALLOY FINISHES

Delete this Article if no copper alloys.  Insert other finishes if required.

A. Finish designations for copper alloys comply with the system established for designating copper-alloy finish systems defined in NAAMM's "Metal Finishes Manual for Architectural and Metal Products."

B. Cast-[Bronze] [Nickel Silver] Finish:  M12 (Mechanical Finish:  matte finish, as fabricated).

C. Extruded-[Bronze] [Nickel Silver] Finish:  M11 (Mechanical Finish:  specular, as fabricated).

D. Bronze Plate, Sheet, Strip, and Bar Finish:  M10 (Mechanical Finish:  unspecified, as fabricated).

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing metal fabrications.  Set metal fabrications accurately in location, alignment, and elevation; with edges and surfaces level, plumb, true, and free of rack; and measured from established lines and levels.

B. Fit exposed connections accurately together to form hairline joints.  Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Do not weld, cut, or abrade surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

C. Field Welding:  Comply with the following requirements:

1. Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2. Obtain fusion without undercut or overlap.

3. Remove welding flux immediately.

4. At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

D. Fastening to In-Place Construction:  Provide anchorage devices and fasteners where metal fabrications are required to be fastened to in-place construction.  Provide threaded fasteners for use with concrete and masonry inserts, toggle bolts, through bolts, lag bolts, wood screws, and other connectors.

E. Provide temporary bracing or anchors in formwork for items that are to be built into concrete, masonry, or similar construction.

Delete paragraph below if no aluminum.

F. Corrosion Protection:  Coat concealed surfaces of aluminum that will come into contact with grout, concrete, masonry, wood, or dissimilar metals with a heavy coat of bituminous paint.

Delete articles below not applicable to Project.  Insert others where needed to specify requirements applicable to a specific item not covered under general installation requirements above.

3.2 INSTALLING MISCELLANEOUS FRAMING AND SUPPORTS

A. General:  Install framing and supports to comply with requirements of items being supported, including manufacturers' written instructions and requirements indicated on Shop Drawings.

B. Anchor supports for operable partitions securely to and rigidly brace from building structure.

C. Support steel girders on solid grouted masonry, concrete, or steel pipe columns.  Secure girders with anchor bolts embedded in grouted masonry or concrete or with bolts through top plates of pipe columns.

Delete subparagraph below if not required.

1. Where grout space under bearing plates is indicated for girders supported on concrete or masonry, install as specified in "Installing Bearing and Leveling Plates" Article.

D. Install pipe columns on concrete footings with grouted baseplates.  Position and grout column baseplates as specified in "Installing Bearing and Leveling Plates" Article.

Delete subparagraph below if no pipe columns supporting steel girders.

1. Grout baseplates of columns supporting steel girders after girders are installed and leveled.

3.3 INSTALLING PREFABRICATED BUILDING COLUMNS

Delete this Article if prefabricated building columns are specified in Division 5 Section "Structural Steel."

A. Install prefabricated building columns to comply with AISC's "Specification for Structural Steel Buildings Allowable Stress Design and Plastic Design with Commentary" and with requirements applicable to listing and labeling for fire-resistance rating indicated.

3.4 INSTALLING BEARING AND LEVELING PLATES

A. Clean concrete and masonry bearing surfaces of bond-reducing materials, and roughen to improve bond to surfaces.  Clean bottom surface of plates.

B. Set bearing and leveling plates on wedges, shims, or leveling nuts.  After bearing members have been positioned and plumbed, tighten anchor bolts.  Do not remove wedges or shims but, if protruding, cut off flush with edge of bearing plate before packing with grout.

Revise subparagraph below if only metallic grout is used at concealed, protected locations.

1. Use nonshrink grout, either metallic or nonmetallic, in concealed locations where not exposed to moisture; use nonshrink, nonmetallic grout in exposed locations, unless otherwise indicated.

Delete subparagraph below if not required.

2. Pack grout solidly between bearing surfaces and plates to ensure that no voids remain.

3.5 INSTALLING METAL BOLLARDS

Select one or more of first three paragraphs and associated subparagraph below for anchoring bollards.

A. Anchor bollards to existing construction with [expansion anchors] [anchor bolts] [through bolts].  Provide four 3/4-inch (19-mm) bolts at each bollard, unless otherwise indicated.

Delete subparagraph below if expansion anchors or through bolts are used.

1. Embed anchor bolts at least 4 inches (100 mm) in concrete.

B. Anchor bollards in concrete [with pipe sleeves preset and anchored into concrete] [in formed or core-drilled holes not less than 8 inches (200 mm) deep and 3/4 inch (19 mm) larger than OD of bollard].  Fill annular space around bollard solidly with nonshrink, nonmetallic grout; mixed and placed to comply with grout manufacturer's written instructions.  Slope grout up approximately 1/8 inch (3 mm) toward bollard.

Paragraph below can be used for bollards located in landscaping, in unit pavers, etc.

C. Anchor bollards in place with concrete footings.  Center and align bollards in holes 3 inches (75 mm) above bottom of excavation.  Place concrete and vibrate or tamp for consolidation.  Support and brace bollards in position until concrete has cured.

Select one of first two paragraphs below for anchoring removable bollards, if any.

D. Anchor internal sleeves for removable bollards in [concrete by inserting into pipe sleeves preset into concrete] [formed or core-drilled holes not less than 8 inches (200 mm) deep and 3/4 inch (19 mm) larger than OD of sleeve].  Fill annular space around internal sleeves solidly with nonshrink, nonmetallic grout; mixed and placed to comply with grout manufacturer's written instructions.  Slope grout up approximately 1/8 inch (3 mm) toward internal sleeve.

E. Anchor internal sleeves for removable bollards in place with concrete footings.  Center and align sleeves in holes 3 inches (75 mm) above bottom of excavation.  Place concrete and vibrate or tamp for consolidation.  Support and brace sleeves in position until concrete has cured.

F. Place removable bollards over internal sleeves and secure with 3/4-inch (19-mm) machine bolts and nuts.  After tightening nuts, drill holes in bolts for inserting padlocks.  Owner will furnish padlocks.

Delete paragraph below if bollards have metal caps.

G. Fill bollards solidly with concrete, mounding top surface to shed water.

Delete subparagraph below if no removable bollards.

1. Do not fill removable bollards with concrete.

3.6 INSTALLING PIPE GUARDS

This Article is an example only; revise to suit Project or delete and show on Drawings.

A. Provide pipe guards at exposed vertical pipes in parking garage where not protected by curbs or other barriers.  Install by bolting to wall or column with expansion anchors.  Provide four 3/4-inch (19-mm) bolts at each pipe guard.  Mount pipe guards with top edge 26 inches (660 mm) above driving surface.

3.7 INSTALLING BICYCLE RACKS

A. Anchor bicycle racks to existing construction with expansion anchors.  Provide four 1/2-inch (12.7-mm) bolts at each end post[ and 2 at each intermediate post].

3.8 INSTALLING NOSINGS, TREADS, AND THRESHOLDS

A. Center nosings on tread widths.

B. For nosings embedded in concrete steps or curbs, align nosings flush with riser faces and level with tread surfaces.

C. Seal thresholds exposed to exterior with elastomeric sealant complying with Division 7 Section "Joint Sealants" to provide a watertight installation.

3.9 INSTALLING CAST-IRON WHEEL GUARDS

A. Anchor wheel guards to concrete or masonry construction to comply with manufacturer's written instructions.  Fill cores solidly with concrete.

3.10 ADJUSTING AND CLEANING

A. Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas.  Paint uncoated and abraded areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

1. Apply by brush or spray to provide a minimum 2.0-mil (0.05-mm) dry film thickness.

Retain paragraph and subparagraph above if touchup painting is included in this Section.  Retain first paragraph below if it is specified in Division 9 painting Sections.  Revise reference if another Division 9 Section, such as "High-Performance Coatings," is used.

B. Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 9 painting Sections.

C. Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

END OF SECTION 05500END OF SECTION 05500

METAL FABRICATIONS
05500 - 1

