Copyright 2002 AIA
MASTERSPEC
05/02 (R 08/03)

Copyright 2002 (R 08/03) by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 05700 - ORNAMENTAL METAL
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

See Evaluations for a list of typical ornamental metal products.  Either clearly indicate on Drawings which items are ornamental metal or insert a detailed list.  Below are examples of ornamental metal products that could be in this Section; adjust list to suit Project.

1. Ornamental window security bars.

2. Ornamental grilles and frames.

3. Ornamental-metal-clad, hollow-metal doors and frames.

4. Custom door pulls.

5. Combination hall push-button stations.

6. Metal reveals at wood paneling.

7. Cast-metal rosettes at marble joints.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 5 Section "Metal Fabrications" for non-ornamental metal fabrications.

2. Division 5 Section "Formed-Metal Fabrications" for ornamental metal items made from sheet metal.

3. Division 5 Section "Ornamental Railings" for ornamental metal railings.

4. Division 8 Section "Custom Steel Doors and Frames" for flush hollow-metal doors and frames receiving metal cladding.

5. Division 14 Sections for elevator signal equipment components installed in combination hall push-button stations.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated, including finishing materials.

B. Shop Drawings:  For ornamental metal.  Include plans, elevations, component details, and attachments to other work.  Indicate materials and profiles of each ornamental metal member, fittings, joinery, finishes, fasteners, anchorages, and accessory items.

1. Provide templates for anchors and bolts specified for installation under other Sections.

Delete paragraph below if no custom castings.

C. Patterns, Models, or Plaster Castings:  Made from proposed patterns for each design of custom casting required.

Delete paragraph below if colors, textures, and designs are preselected and specified or scheduled or if none are required.  Delete option if no bronze or stainless steel.

D. Samples for Initial Selection:  For products involving selection of color, texture, or design[ including mechanical finishes].

Retain paragraph above or paragraph and subparagraphs below, or all if required.

E. Samples for Verification:  For each type of exposed finish required.

Revise subparagraphs below to suit products specified.

1. Sections of linear shapes.

2. Full-size Samples of castings and forgings.

Delete subparagraph below if no custom castings.  Revise if copper alloys are not used.

a. For custom castings, submit finished Samples of similar previous work to show ability to reproduce detail, cast-metal color, and quality of finish.

Usually delete paragraph below unless increased corrosion resistance of Type 316 stainless steel is required.

F. Mill Certificates:  Signed by manufacturers of stainless-steel products certifying that products furnished comply with requirements.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

G. Welding certificates.

Coordinate paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

H. Qualification Data:  For [Installer] [fabricator] [organic-coating Applicator] [anodic finisher] [powder-coating Applicator].

1.4 QUALITY ASSURANCE

Delete first paragraph below if items specified do not require any field assembly or are easily installed by other trades that will need to coordinate their installation with other work.

A. Installer Qualifications:  Arrange for installation of ornamental metal specified in this Section by the same firm that fabricated it.

B. Fabricator Qualifications:  A firm experienced in producing ornamental metal similar to that indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

Delete paragraph below if no aluminum with organic coating.  Coating manufacturer may offer a list of applicators that, to the best of its knowledge, satisfies requirements specified in paragraph below; however, manufacturer will not be responsible for Applicator's performance.

C. Organic-Coating Applicator Qualifications:  A firm experienced in successfully applying organic coatings of type indicated to aluminum extrusions and employing competent control personnel to conduct continuing, effective quality-control program to ensure compliance with requirements.

Delete first paragraph below if no anodized aluminum.

D. Anodic Finisher Qualifications:  A firm experienced in successfully applying anodic finishes of type indicated and employing competent control personnel to conduct continuing, effective quality-control program to ensure compliance with requirements.

E. Powder-Coating Applicator Qualifications:  A firm experienced in successfully applying powder coatings of type indicated and employing competent control personnel to conduct continuing, effective quality-control program to ensure compliance with requirements.

Delete paragraph below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

F. Welding:  Qualify procedures and personnel according to the following:

Retain applicable standards below.

1. AWS D1.1, "Structural Welding Code--Steel."

2. AWS D1.2, "Structural Welding Code--Aluminum."

3. AWS D1.3, "Structural Welding Code--Sheet Steel."

4. AWS D1.6, "Structural Welding Code--Stainless Steel."

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

G. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

1. Build mockups for the following types of ornamental metal:

a. <Insert, in separate subparagraphs, description of each ornamental metal type including mockup size.>

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

2. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

H. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.5 DELIVERY, STORAGE, AND HANDLING

A. Store ornamental metal inside a well-ventilated area, away from uncured concrete and masonry, and protected from weather, moisture, soiling, abrasion, extreme temperatures, and humidity.

B. Deliver and store cast-metal products in wooden crates surrounded by sufficient packing material to ensure that products will not be cracked or otherwise damaged.

1.6 PROJECT CONDITIONS

A. Field Measurements:  Verify actual locations of walls and other construction contiguous with ornamental metal by field measurements before fabrication and indicate measurements on Shop Drawings.

Delete first subparagraph below if not allowed.

1. Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating railings without field measurements.  Coordinate wall and other contiguous construction to ensure that actual dimensions correspond to established dimensions.

2. If practical, provide allowance for trimming and fitting at site.

1.7 COORDINATION

A. Coordinate installation of anchorages for ornamental metal items.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

Delete this Article if only custom fabrications are required.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 2 in the Evaluations.

1. Ornamental Mechanical Grilles:

a. Architectural Grille; Div. of Giumenta Corporation.

b. Harrington & King Perforating Co.

c. Reggio Registers Co., Inc.

d. Register & Grille Manufacturing Co., Inc.

e. <Insert manufacturer's name.>

2. Metal-Clad Doors:

a. Dawson Metal Co., Inc.

b. InKan Limited.

c. Krieger Steel Products Co.

d. <Insert manufacturer's name.>

3. Ornamental Castings and Forgings:

a. Allen Architectural Metals.

b. Alloy Casting Co., Inc.

c. Architectural Iron Company, Inc.

d. Blum, Julius & Co., Inc.

e. Braun, J. G. Company; a division of the Wagner Companies.

f. Classic Iron Supply/Craft.

g. Colonial Castings, Inc.

h. Cullar/La Cuesta.

i. Dempsey, Inc.

j. Historical Arts & Casting, Inc.

k. Indital USA.

l. Lawler Foundry Corporation.

m. Morrow, Frank Company.

n. Olin Wrought Iron.

o. OMC Industries, Inc.

p. Robinson Iron.

q. Tennessee Fabricating Co.

r. Texas Metal Industries, Inc.

s. TT Triebenbacher - Bavarian Iron Works Co.

t. Universal Manufacturing Co., Inc.

u. <Insert manufacturer's name.>

4. Stainless-Steel Wire Rope and Fittings:

a. Cable Connection (The).

b. Esmet, Inc.

c. Feeney Wire Rope & Rigging.

d. Hayn Enterprises, LLC.

e. Johnson, C. Sherman, Co., Inc.

f. Loos & Co., Inc.; Cableware Division.

g. Ronstan International Inc.

h. SAVA Industries.

i. Seco South, Inc.

j. <Insert manufacturer's name.>

2.2 ORNAMENTAL METAL FABRICATORS

Retain this Article if list of preapproved metalworkers is used as quality-control procedure.  See Evaluations.

A. Available Fabricators:  Subject to compliance with requirements, fabricators offering ornamental metal work that may be incorporated into the Work include, but are not limited to, the following:

Retain paragraph above if additional firms will be considered; retain paragraph below if not.  If retaining above, include procedure for approving other firms in Instructions to Bidders.

B. Fabricators:  Subject to compliance with requirements, provide ornamental metal work by one of the following:

Retain list below with either paragraph above and insert names of preapproved fabricators.

1. <Insert, in separate subparagraphs, fabricator's name.>

2.3 METALS, GENERAL

A. Metal Surfaces, General:  Provide materials with smooth surfaces, without seam marks, roller marks, rolled trade names, stains, discolorations, or blemishes.

2.4 ALUMINUM

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.

A. Aluminum, General:  Provide alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with strength and durability properties for each aluminum form required not less than that of alloy and temper designated below.

Delete forms in six paragraphs below not required.  Revise alloy and temper designation to suit structural performance requirements if any.

Yield strength for Alloy 6063-T5/T52 is 15 to 16 ksi (105 to 110 MPa).

B. Extruded Bars and Shapes:  ASTM B 221 (ASTM B 221M), Alloy 6063-T5/T52.

C. Extruded Structural [Pipe] [and] [Round Tubing]:  ASTM B 429, Alloy 6063-T6.

Delete paragraph above or below.  Drawn tubes below have a yield strength of 35 to 36 ksi (240 to 250 MPa) compared to 25 ksi (172 MPa) for extruded pipe and tubing in paragraph above.

D. Drawn Seamless Tubing:  ASTM B 210 (ASTM B 210M) or ASTM B 483/B 483M, Alloy 6063-T832.

Select one of three alloys in first paragraph below; all have good corrosion resistance.  Alloy 3003 is relatively soft and low in strength but is easily formed and is commonly used for general sheet metal work; it anodizes well but is generally painted or finished with PVDF.  Alloy 5005 provides a smooth, high-quality finish and is a preferred choice for anodizing.  Alloy 6061 is preferred if high strength is important, but it is not suitable for bending and does not anodize as well as 5005.

E. Plate and Sheet:  ASTM B 209 (ASTM B 209M), Alloy [3003-H14] [5005-H32] [6061-T6].

F. Die and Hand Forgings:  ASTM B 247 (ASTM B 247M), Alloy 6061-T6.

G. Castings:  ASTM B 26/B 26M, Alloy A356.0-T6.

2.5 COPPER ALLOYS

A. Copper and Copper Alloys, General:  Provide alloys indicated and temper to suit application and forming methods but with strength and stiffness not less than H01 (quarter-hard) for plate, sheet, strip, and bars and H55 (light-drawn) for tube and pipe.

Select forms and alloys from remaining paragraphs.  In these paragraphs, the term "brass" refers to alloys that have a brassy-yellow color.  The term "bronze" refers to alloys that are darker in color, similar to "architectural bronze"; none are true tin-bronzes.  The term "nickel silver" refers to alloys that are silvery gold to white in color and are often called "German silver," "white bronze," or "nickel bronze."  Verify availability and color matching of alloys for intended purpose before retaining.  See Evaluations.

UNS No. C38500 below is alloy most conducive to extrusion process.  If another alloy is required, verify availability with manufacturers selected.  See Evaluations for discussion of copper alloys and colors.

B. Extruded Shapes, Bronze:  ASTM B 455, alloy UNS No. C38500 (architectural bronze).

C. Extruded Shapes, Brass:  ASTM B 249/B 249M, alloy UNS No. C36000 (free-cutting brass).

D. Extruded Shapes, Nickel Silver:  ASTM B 151/B 151M, alloy UNS No. C74500.

E. Seamless Pipe, Bronze:  ASTM B 43, alloy UNS No. C23000 (red brass, 85 percent copper).

F. Seamless Tube, Bronze:  ASTM B 135 (ASTM B 135M), alloy UNS No. C23000 (red brass, 85 percent copper).

G. Seamless Tube, Brass:  ASTM B 135 (ASTM B 135M), alloy UNS No. C26000 (cartridge brass, 70 percent copper).

H. Seamless Tube, Copper:  ASTM B 75 (ASTM B 75M), alloy UNS No. C12200 (phosphorous deoxidized, high residual phosphorous copper).

Select one or both options in first paragraph below.  Verify availability and color match with other copper-alloy forms.  See Evaluations.

I. Castings, Bronze:  [Composition bronze castings complying with ASTM B 62, alloy UNS No. C83600 (85-5-5-5 or No. 1 composition commercial red brass)] [or] [sand castings complying with ASTM B 584, alloy UNS No. C86500 (No. 1 manganese bronze)].

J. Castings, Brass:  Sand castings complying with ASTM B 584, alloy UNS No. C85200 (high-copper yellow brass).

K. Castings, Copper:  Sand castings or permanent mold castings complying with ASTM B 824, with a minimum of 99.9 percent copper.

L. Castings, Nickel Silver:  ASTM B 584, alloy UNS No. C97600 (20 percent leaded nickel bronze).

M. Plate, Sheet, Strip, and Bars; Bronze:  ASTM B 36/B 36M, alloy UNS No. C28000 (muntz metal, 60 percent copper).

N. Plate, Sheet, Strip, and Bars; Brass:  ASTM B 36/B 36M, alloy UNS No. C26000 (cartridge brass, 70 percent copper).

O. Plate, Sheet, Strip, and Bars; Copper:  ASTM B 152/B 152M, alloy UNS No. C11000 (electrolytic tough pitch copper) or UNS No. C12200 (phosphorous deoxidized, high residual phosphorous copper).

2.6 STAINLESS STEEL

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.  Type 304 stainless steel is usually standard; Type 316 or 316L gives better corrosion resistance in coastal environments.  If welding is required, and structural properties are critical, Type 316L should be used instead of Type 316.  See Evaluations.  Grade designations "MT," "TP," and "CF" below relate to the form of metal (tubing, pipe, or castings) being specified.

A. Tubing:  ASTM A 554, Grade MT [304] [316] [316L].

Primary difference between round stainless-steel tubing and stainless-steel pipe is in outside dimensions.  Pipe sizes are normally indicated by use of nominal pipe size designator and weight class or schedule number; for tubing, OD and wall thickness are used.

B. Pipe:  ASTM A 312/A 312M, Grade TP [304] [316] [316L].

Retain first option in first paragraph below with Type 304, second option with Type 316 or 316L.

C. Castings:  ASTM A 743/A 743M, Grade [CF 8 or CF 20] [CF 8M or CF 3M].

D. Sheet, Strip, Plate, and Flat Bar:  ASTM A 666, Type [304] [316] [316L].

E. Bars and Shapes:  ASTM A 276, Type [304] [316] [316L].

See Evaluations for explanation of configuration designations (1 by 19, etc.) and for advantages and disadvantages of various configurations.

F. Wire Rope:  [1-by-19] [7-by-7] [7-by-19] <Insert configuration> wire rope made from wire complying with ASTM A 492, Type 316.

2.7 STEEL AND IRON

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.

A. Tubing:  [ASTM A 500 (cold formed)] [or] [ASTM A 513, Type 5 (mandrel drawn)].

B. Bars:  Hot-rolled, carbon steel complying with ASTM A 29/A 29M, Grade 1010.

C. Plates, Shapes, and Bars:  ASTM A 36/A 36M.

D. Castings:  Either gray or malleable iron, unless otherwise indicated.

1. Gray Iron:  ASTM A 48/A 48M, Class 30, unless another class is indicated or required by structural loads.

2. Malleable Iron:  ASTM A 47/A 47M.

E. Steel Sheet, Cold Rolled:  ASTM A 1008/A 1008M, either commercial steel, Type B, or structural steel, Grade 25 (Grade 170), exposed.

2.8 TITANIUM

A. Titanium Strip, Sheet, and Plate:  ASTM B 265, Grade 1.

B. Titanium Bars:  ASTM B 348, Grade 1.

2.9 MANUFACTURED UNITS

Retain this Article and insert product-specific provisions if manufactured components are required for ornamental metal fabrications.

2.10 FASTENERS

A. Fastener Materials:  Unless otherwise indicated, provide the following:

Retain or revise applicable requirements in nine subparagraphs below.

1. Aluminum Items:  Aluminum fasteners.

Delete subparagraph above or first subparagraph below, or both.

2. Aluminum Items:  Type [304] [316] stainless-steel fasteners.

3. Copper-Alloy (Bronze) Items:  Silicon bronze (Alloy 651 or 655) fasteners[ where concealed, muntz metal (Alloy 280) fasteners where exposed].

Delete option in subparagraph above and first subparagraph below if color match is not critical or if exposed fasteners are not allowed.  Silicon bronze fasteners are more commonly available than fasteners of other alloys.

4. Copper-Alloy (Brass) Items:  Silicon bronze (Alloy 651 or 655) fasteners[ where concealed, brass (Alloy 260 or 360) fasteners where exposed].

5. Stainless-Steel Items:  Type [304] [316] stainless-steel fasteners.

6. Titanium Items:  Type [304] [316] stainless-steel fasteners.

7. Uncoated Steel Items:  Plated steel fasteners complying with ASTM B 633, Class Fe/Zn 25 for electrodeposited zinc coating where concealed, Type 304 stainless-steel fasteners where exposed.

8. Galvanized Steel Items:  Plated steel fasteners complying with ASTM B 633, Class Fe/Zn 25 for electrodeposited zinc coating.

9. Dissimilar Metals:  Type [304] [316] stainless-steel fasteners.

B. Fasteners for Anchoring to Other Construction:  Unless otherwise indicated, select fasteners of type, grade, and class required to produce connections suitable for anchoring indicated items to other types of construction indicated.

C. Provide concealed fasteners for interconnecting components and for attaching ornamental metal items to other work, unless [otherwise indicated] [exposed fasteners are unavoidable].

Delete or revise subparagraph below.  Revise if another type of head is required or is standard with system selected.

1. Provide [Phillips] [tamper-resistant] [square or hex socket] flat-head machine screws for exposed fasteners, unless otherwise indicated.

Delete first paragraph below if not applicable.  If retaining, select acceptable types and verify safety factors with Project's structural engineer.

D. Anchors:  Provide [cast-in-place] [chemical] [or] [torque-controlled expansion] anchors, fabricated from corrosion-resistant materials with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488 conducted by a qualified independent testing agency.

E. Stainless-Steel Wire-Rope Fittings:  Connectors of types indicated, fabricated from stainless steel, and with capability to sustain, without failure, a load equal to minimum breaking strength of wire rope with which they are used.

2.11 MISCELLANEOUS MATERIALS

A. Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

Delete subparagraph below if aluminum is not used or is not welded.

1. For aluminum, provide type and alloy as recommended by producer of metal to be welded and as required for color match, strength, and compatibility in fabricated items.

Delete first paragraph below if copper alloys are not used or are not brazed.

B. Brazing Rods:  For copper alloys, provide type and alloy as recommended by producer of metal to be brazed and as required for color match, strength, and compatibility in fabricated items.

C. Lacquer for Copper Alloys:  Clear, air-drying, acrylic lacquer specially developed for coating copper-alloy products.

1. Product:  Subject to compliance with requirements, provide "Incralac" developed by International Copper Research Corporation.

Retain paragraph and subparagraph above or first paragraph below if any lacquered copper-alloy finishes are required.

D. Lacquer for Copper Alloys:  Clear, waterborne acrylic lacquer specially developed for coating copper-alloy products.

E. Shop Primers:  Provide primers that comply with Division 9 [painting Sections.] [Section "High-Performance Coatings."]

Select paragraph above or one or more of three paragraphs and associated subparagraphs below if primers are required.  First paragraph below is a typical primer for painted finish on steel; provides minimum protection.  Second is a typical primer for high-performance coating on steel.  Third is a typical primer for galvanized steel.  If retaining both first and second paragraphs, indicate on Drawings or in a schedule where each is required.

F. Universal Shop Primer for Ferrous Metal:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79.

VOC limit in option in subparagraph below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete subparagraph below if zinc-rich primer is not also used.

2. Use primer containing pigments that make it easily distinguishable from zinc-rich primer.

G. Zinc-Rich Primer:  Complying with SSPC-Paint 20 or SSPC-Paint 29 and compatible with topcoat.

VOC limit in option in first subparagraph below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, provide one of the following:

Edit list below to suit local VOC regulations.

a. Benjamin Moore & Co.; Epoxy Zinc-Rich Primer CM18/19.

b. Carboline Company; Carbozinc 621.

c. ICI Devoe Coatings; Catha-Coat 313.

d. International Coatings Limited; Interzinc 315 Epoxy Zinc-Rich Primer.

e. PPG Architectural Finishes, Inc.; Aquapon Zinc-Rich Primer 97-670.

f. Sherwin-Williams Company (The); Corothane I GalvaPac Zinc Primer.

g. Tnemec Company, Inc.; Tneme-Zinc 90-97.

h. <Insert manufacturer's name; product name or designation.>

Delete paragraph below if no galvanized items are shop primed.

H. Shop Primer for Galvanized Steel:  Zinc-dust, zinc-oxide primer formulated for priming zinc-coated steel and for compatibility with finish paint systems indicated, and complying with SSPC-Paint 5.

Retain first paragraph below for galvanized items that are not shop primed.

I. Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

J. High-Performance Coating for Steel, Intermediate Coat:  High-build urethane or epoxy coating recommended by manufacturer for application over specified zinc-rich primer under specified polyurethane enamel.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

Edit list below to suit local VOC regulations.

a. Benjamin Moore & Co.; M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

b. Carboline Company; Carboguard890 2-Component Epoxy.

c. ICI Devoe Coatings; Devthane378 Aliphatic Urethane Semi-Gloss Enamel.

d. International Coatings Limited; Interthane 870.

e. PPG Architectural Finishes, Inc.; Aquapon 97-130 Epoxy.

f. Sherwin-Williams Company (The); Macropoxy HS High Solids Epoxy.

g. Tnemec Company, Inc.; Series 27 Hi-Build Epoxy.

h. <Insert manufacturer's name; product name or designation.>

K. High-Performance Coating for Steel, Topcoat:  High-build, semigloss ployurethane enamel.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

Edit list below to suit local VOC regulations.

a. Benjamin Moore & Co.; M73/M75 Aliphatic Acrylic Urethane Semi-Gloss.

b. Carboline Company; Carbothane 133 HB Aliphatic Polyurethane.

c. ICI Devoe Coatings; Devthane378 Aliphatic Urethane Semi-Gloss Enamel.

d. International Coatings Limited; Interthane870.

e. PPG Architectural Finishes, Inc.; Aquapon 95-612 Semi-Gloss Polyurethane.

f. Sherwin-Williams Company (The); Corothane II Satin B65-200 Series.

g. Tnemec Company, Inc.; Series 1075 Endura-Shield.

h. <Insert manufacturer's name; product name or designation.>

L. Bituminous Paint:  Cold-applied asphalt emulsion complying with ASTM D 1187.

2.12 FABRICATION, GENERAL

A. Assemble items in the shop to greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Clearly mark units for reassembly and coordinated installation.  Use connections that maintain structural value of joined pieces.

Delete first paragraph below if no wire-rope assemblies are used.

B. Make up wire-rope assemblies in the shop to field-measured dimensions with fittings machine swaged.  Minimize amount of turnbuckle take-up used for dimensional adjustment so maximum amount is available for tensioning wire ropes.  Tag wire-rope assemblies and fittings to identify installation locations and orientations for coordinated installation.

C. Form ornamental metal to required shapes and sizes, true to line and level with true curves and accurate angles and surfaces.  Finish exposed surfaces to smooth, sharp, well-defined lines and arris.

D. Form bent-metal corners to smallest radius possible without causing grain separation or otherwise impairing work.

E. Form simple and compound curves in bars and extruded shapes by bending members in jigs to produce uniform curvature for each configuration required; maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces.

F. Cut, drill, and punch metals cleanly and accurately.  Remove burrs and ease edges to a radius of approximately 1/32 inch (1 mm), unless otherwise indicated.  Remove sharp or rough areas on exposed surfaces.

G. Mill joints to a tight, hairline fit.  Cope or miter corner joints.  Fabricate connections that will be exposed to weather in a manner to exclude water.

H. Provide weep holes where water may accumulate.

I. Provide necessary rebates, lugs, and brackets to assemble units and to attach to other work.  Cut, reinforce, drill, and tap as indicated to receive finish hardware, screws, and similar items, unless otherwise indicated.

Delete paragraph below if welding or brazing is not used.

J. Comply with AWS for recommended practices in shop [welding] [and] [brazing].  [Weld] [and] [braze] behind finished surfaces without distorting or discoloring exposed side.  Clean exposed [welded] [and] [brazed] joints of flux, and dress exposed and contact surfaces.

Delete paragraph below if no castings are used.

K. Provide castings that are sound and free of warp, cracks, blowholes, or other defects that impair strength or appearance.  Grind, wire brush, sandblast, and buff castings to remove seams, gate marks, casting flash, and other casting marks.

Seven articles below are examples only.  Delete or revise to suit Project and insert others.

2.13 FABRICATING ORNAMENTAL WINDOW SECURITY BARS

A. General:  Fabricate ornamental window grilles to designs indicated from steel bars and shapes of sizes and profiles indicated.  Form steel bars by bending, forging, coping, mitering, and welding.

B. Welding:  Interconnect grille members with full-length, full-penetration welds, unless otherwise indicated.  Use welding method that is appropriate for metal and finish indicated and that develops full strength of members joined.  Finish exposed welds and surfaces smooth, flush, and blended to match adjoining surfaces.

C. Brackets, Fittings, and Anchors:  Provide wall brackets, fittings, and anchors to connect ornamental window grilles to other work, unless otherwise indicated.

1. Furnish inserts and other anchorage devices to connect ornamental window grilles to concrete and masonry work.  Coordinate anchorage devices with supporting structure.

Either retain subparagraph below and indicate loads on Drawings or delete and indicate sizes.

2. Fabricate anchorage devices that are capable of withstanding loads indicated.

2.14 FABRICATING ORNAMENTAL GRILLES AND FRAMES

A. Fabricate ornamental grilles from perforated [aluminum] [brass] [bronze] [stainless-steel] [steel] sheet or plate of thickness, size, and pattern indicated.  Form perforations by punching, cutting, or drilling to produce openings of sizes and shapes indicated.  Roll, press, and grind perforated metal to flatten and to remove burrs and deformations.

Delete either or both subparagraphs below if not applicable.

1. Form perforations to match existing grilles.

2. Drawings indicate perforated metal patterns required and are based on products of one manufacturer.  Perforated metal patterns produced by other manufacturers may be considered, provided deviations are minor and do not change design concept as judged solely by Architect.

Retain paragraph below if no frames.  If brass grilles are used in metal stud partitions, wood blocking and wood screws should be used because brass self-tapping screws may not work well with steel studs.

B. Drill and countersink grilles for mounting screws at 2 inches (50 mm) from corners and at 10 inches (250 mm) or less o.c.  Provide units with oval-head [wood] [self-tapping machine] screws made from metal matching grilles.

Delete paragraph below if no frames.

C. Fabricate grille frames from extruded [aluminum] [brass] [bronze] of profiles, and to sizes and shapes indicated.  Miter frame members at corners and connect with concealed splice plates [welded] [brazed] to back of frames.

Delete subparagraph below if grilles are installed loose in frame rabbet.

1. Secure grilles in frames with 0.5-inch- (12-mm-) long [welds] [brazing] along perimeter of grilles at 4 inches (100 mm) o.c.

Delete either or both subparagraphs below if not applicable.

2. Provide frame profiles to match existing frames.

3. Drawings indicate frame profiles required and are based on products of one manufacturer.  Similar frame profiles produced by other manufacturers may be considered, provided deviations are minor and do not change design concept as judged solely by Architect.

Delete paragraph below if no frames.  If brass frames are used in metal stud partitions, wood blocking and wood screws should be used because brass self-tapping screws may not work well with steel studs.

D. Drill and countersink frames for mounting screws at 4 inches (100 mm) from corners and at 16 inches (400 mm) or less o.c.  Provide units with oval-head [wood] [self-tapping machine] screws made from metal matching frames.

2.15 FABRICATING ORNAMENTAL-METAL-CLAD DOORS AND FRAMES

A. Laminate [0.0403-inch- (1.0-mm-) thick, muntz-metal] [0.0403-inch- (1.0-mm-) thick, brass] [0.0375-inch- (0.95-mm-) thick, stainless-steel] [0.024-inch- (0.6-mm-) thick, titanium] sheets to outside face of hollow-metal doors and frames at locations and to comply with details indicated.  Use adhesive recommended by metal fabricator that will fully bond metal to metal and that will prevent telegraphing and oil canning.

1. Hollow-metal doors and frames are specified in Division 8 Section "Custom Steel Doors and Frames."

2.16 FABRICATING CUSTOM DOOR PULLS

A. Fabricate custom door pulls from [brass] [bronze] [stainless-steel] bar stock of profile indicated, fabricated to shapes indicated.  Form curves by bending to produce uniform curvature of radii indicated; maintain profile of member throughout entire bend without buckling, twisting, or otherwise deforming exposed surfaces.  Where radii of bends are too small to avoid buckling, grind bars after bending to restore original profile.  Drill and tap door pulls to receive through bolts for attachment to doors.

B. Fabricate backing plates for custom door pulls from 1/8-inch (3.2-mm) [brass] [bronze] [stainless-steel] sheet.  Cut to shape indicated and bevel edges at a 45-degree angle for one-half thickness of metal.  Drill and countersink holes where indicated for screws and bolts.

C. Provide units with oval-head through bolts for mounting pulls and with oval-head wood screws for mounting backing plates.  Provide bolts and screws of metal to match that of door pulls.

2.17 FABRICATING COMBINATION HALL PUSH-BUTTON STATIONS

A. Fabricate units of [brass] [bronze] [stainless steel] to comply with details indicated.  Coordinate with requirements in Division 14 Section "Electric Traction Elevators" to provide integrated, closely fitted assemblies containing ashtray/trash receptacle insert, emergency sign, hall push-button station, and fireman's emergency return key switch.

1. Fabricate faceplates from 1/8-inch- (3.2-mm-) thick sheet with edges beveled at a 45-degree angle for one-half thickness of metal.

2. Provide units with rectangular, split-bowl ashtray/trash receptacle, designed for recess mounting in nominal 4-inch (100-mm) wall depth.  Fabricate recessed cabinets, top rings, and split bowls of same metal as face of units; fabricate removable receptacles of drawn aluminum.  Nominal dimensions of units are 10 by 10 by 3-1/2 inches (250 by 250 by 90 mm) in depth.

3. Provide units with emergency pictograph signs indicating that in case of fire, occupants shall not use elevators and that stairways are the approved method of exit.  Provide pictograph design matching the example in Appendix H of ASME A17.1 engraved into front surface of faceplates to a depth of 1/16 inch (1.6 mm) with engraving painted red.  Make signs 5 inches (125 mm) wide by 8 inches (200 mm) high.

4. Make cutouts in faceplates of units for push buttons of elevator hall push-button station and fireman's emergency return key switch.  Coordinate locations and sizes of cutouts so additional faceplate is not required and so faces of push buttons are flush with fronts of faceplates and key switches project beyond faceplate only by depth of bezel.

2.18 FABRICATING METAL REVEALS

A. Fabricate metal reveals for wood paneling from [3/4-by-3/4-by-1/16-inch (19-by-19-by-3-mm) extruded-bronze] [3/4-by-3/4-by-0.025-inch (19-by-19-by-0.6-mm) brake-formed, stainless-steel] [3/4-by-3/4-by-0.015-inch (19-by-19-by-0.4-mm) brake-formed titanium] channels.  Drill for mounting screws 6 inches (150 mm) from ends of channels and not more than 24 inches (600 mm) o.c.  Locate mounting screws at same heights for all channels.  Provide black-finished, hex-socket, [fillister] [wafer]-head screws for mounting reveals.

2.19 FABRICATING CAST-METAL ROSETTES

This Article can be modified for other applications of ornamental metal castings.

A. Fabricate cast-metal rosettes to design indicated from cast [aluminum] [brass] [bronze] [nickel silver].  Drill and tap castings for threaded mounting studs.

1. Provide custom castings to match design indicated.

Delete subparagraph below if not applicable or acceptable.

2. Manufacturer's stock castings may be considered, provided deviations are minor and do not change design concept as judged solely by Architect.

Retain subparagraph below if design is based on one manufacturer's stock product.

3. Drawings indicate cast-metal rosette designs required and are based on products of one manufacturer.  Castings produced by other manufacturers may be considered, provided deviations are minor and do not change design concept as judged solely by Architect.

Insert detailed requirements for other items of ornamental metal in form similar to examples above.

2.20 FINISHES, GENERAL

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

Delete paragraph below if no mechanical finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

2.21 ALUMINUM FINISHES

A. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

B. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Above is standard finish with many manufacturers; finish in first paragraph below is heavy anodized.  Verify availability with manufacturers selected.

C. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

D. Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

Delete paragraph above or first paragraph below.  Verify availability with manufacturers selected.

E. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Retain one color below with either class of color anodic finish retained above.

1. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

2. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

F. Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

First subparagraph below references AAMA standard for pigmented organic coating on extrusions and panels.

1. Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm), medium gloss.

2. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

G. Siliconized Polyester Finish:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels.  Revise if specific products are required.

H. High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with [AAMA 2604] [AAMA 2605] and with coating and resin manufacturers' written instructions.

Usually delete paragraph above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels.  Revise if specific products are required.  If selecting four-coat system, retain "barrier coat" option; delete for three-coat system.  See Evaluations.

I. High-Performance Organic Finish ([3] [4]-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coatings; Organic Coating:  manufacturer's standard [3] [4]-coat, thermocured system consisting of specially formulated inhibitive primer[, barrier coat], fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

Retain one color and gloss below with either paragraph above.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

For exact finish, insert names of coating manufacturers and products.

2.22 COPPER-ALLOY FINISHES

A. Finish designations for copper alloys comply with the system established for designating copper-alloy finish systems defined in NAAMM's "Metal Finishes Manual for Architectural and Metal Products."

Retain or revise finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

B. Buffed Finish:  M21 (Mechanical Finish:  buffed, smooth specular).

C. Hand-Rubbed Finish:  M31-M34 (Mechanical Finish:  directionally textured, fine satin; Mechanical Finish:  directionally textured, hand rubbed).

D. Medium-Satin Finish:  M32 (Mechanical Finish:  directionally textured, medium satin).

E. Fine-Matte Finish:  M42 (Mechanical Finish:  nondirectional finish, fine matte).

Select from four paragraphs above for mechanical finishes without lacquer; select from first four paragraphs below for lacquered mechanical finishes.

F. Buffed Finish, Lacquered:  M21-O6x (Mechanical Finish:  buffed, smooth specular; Coating:  clear organic, air drying, as specified below).

G. Hand-Rubbed Finish, Lacquered:  M31-M34-O6x (Mechanical Finish:  directionally textured, fine satin; Mechanical Finish:  directionally textured, hand rubbed; Coating:  clear organic, air drying, as specified below).

H. Medium-Satin Finish, Lacquered:  M32-O6x (Mechanical Finish:  directionally textured, medium satin; Coating:  clear organic, air drying, as specified below).

I. Fine-Matte Finish, Lacquered:  M42-O6x (Mechanical Finish:  nondirectional finish, fine matte; Coating:  clear organic, air drying, as specified below).

Retain subparagraph below with any of last four paragraphs above.

1. Clear, Organic Coating:  Lacquer specified for copper alloys, applied by air spray in 2 coats per manufacturer's written instructions, with interim drying, to a total thickness of 1 mil (0.025 mm).

J. Statuary Conversion Coating over Satin Finish:  M31-C55 (Mechanical Finish:  directionally textured, fine satin; Chemical Finish:  conversion coating, sulfide).

Subparagraph below is preferred method of specifying due to variations in color.

1. Color:  Match Architect's sample.

K. Patina Conversion Coating:  M36-C12-C52 (Mechanical Finish:  directionally textured, uniform; Chemical Finish:  nonetched cleaned, degreased; Chemical Finish:  conversion coating, ammonium sulfate).

1. Color:  Match Architect's sample.

Two paragraphs below are examples of more complex finishes that can be specified when a high level of craftsmanship is available.  First paragraph specifies finish for castings; revise for other forms of metal if required.  Revise second paragraph for castings by copying from first if required.

L. Statuary Conversion Coating, Bright Relieved and Lacquered:  M12-C55-M2x-O6x (Mechanical Finish:  matte finish, as cast; Chemical Finish:  conversion coating, sulfide; Mechanical Finish:  buffed, as specified; Coating:  clear, organic, air drying, as specified below):

First subparagraph below is preferred method of specifying due to variations in color and extent of bright relief (buffing).

1. Color and Buffing:  Match Architect's sample.

2. Clear, Organic Coating:  Lacquer specified for copper alloys, applied by air spray in 2 coats per manufacturer's written instructions, with interim drying, to a total thickness of 1 mil (0.025 mm).

M. Blackened, Bright Relieved, and Lacquered:  M33-O60-M2x-O6x (Mechanical Finish:  directionally textured, coarse satin; Coating:  black, air drying; Mechanical Finish:  buffed, as specified; Coating:  clear, organic, air drying, as specified below):

First subparagraph below is preferred method of specifying due to variations in extent of blackening and bright relief (buffing).

1. Blackening and Buffing:  Match Architect's sample.

2. Clear, Organic Coating:  Lacquer specified for copper alloys, applied by air spray in 2 coats per manufacturer's written instructions, with interim drying, to a total thickness of 1 mil (0.025 mm).

2.23 STAINLESS-STEEL FINISHES

A. Remove tool and die marks and stretch lines or blend into finish.

Retain paragraph below unless only No. 2B finish is retained.

B. Unless otherwise indicated, grind and polish surfaces to produce uniform finish indicated, free of cross scratches.

Delete subparagraph below if no directionally textured finishes.

1. Run grain of directionally textured finishes with long dimension of each piece.

Retain one finish from first five paragraphs below.  Designations are sheet finish designations, which are frequently used to specify finishes applied after fabrication.

Finish in paragraph below is a rolled finish applied to metal sheet before fabrication.  Rolled finishes require care during fabrication to avoid damage.  Verify suitability for intended use before retaining.  See Evaluations.

C. Bright, Cold-Rolled, Unpolished Finish:  No. 2B finish.

Finish in paragraph below is a 120- to 150-grit finish.

D. Directional Satin Finish:  No. 4 finish.

Finish in paragraph below is produced from a No. 4 finish by brushing with an extremely fine abrasive to remove grit lines without producing a reflective appearance.

E. Dull Satin Finish:  No. 6 finish.

Finish in paragraph below is produced from a No. 4 finish by buffing enough to provide a reflective surface but not enough to remove grit lines entirely.  A No. 7 finish will not show scratches as readily as a No. 8 finish will.

F. Reflective, Directional Polish:  No. 7 finish.

Finish in first paragraph below is easily damaged because minor scratches will be apparent.

G. Mirrorlike Reflective, Nondirectional Polish:  No. 8 finish.

H. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

First paragraph below describes a durable finish with appearance of yellow brass, similar to that used on door hardware and plumbing fittings.  This finish may be expensive and difficult to obtain, especially for larger items.  Before retaining, verify availability with fabricators selected.

I. Sputter-Coated Finish:  Titanium nitride coating deposited by magnetic sputter-coating process over indicated mechanical finish.

J. Colored, Oxide-Film Finish:  Clear, oxide interference film produced by degreasing and then immersing in a mixture of chromic and sulfuric acids.

1. Product:  Subject to compliance with requirements, provide INCO colored stainless-steel finish as developed and licensed by International Nickel Co., Ltd.

2. Color:  [Match Architect's sample] [As selected by Architect from finisher's full range].

2.24 STEEL AND IRON FINISHES

Delete paragraph below if galvanizing is not required.  Indicate on Drawings which units are galvanized.

A. Galvanizing:  Hot-dip galvanize products made from rolled, pressed, and forged steel shapes, castings, plates, bars, and strips indicated to be galvanized to comply with ASTM A 123/A 123M.

Delete subparagraph below if not required.

1. Hot-dip galvanize steel and iron hardware indicated to be galvanized to comply with ASTM A 153/A 153M.

Retain first paragraph below for hollow shapes hot-dip galvanized after fabrication if any.

B. Fill vent and drain holes that will be exposed in finished Work, unless indicated to remain as weep holes, by plugging with zinc solder and filing off smooth.

C. Preparation for Shop Priming:  After galvanizing, thoroughly clean ornamental metal of grease, dirt, oil, flux, and other foreign matter, and treat with metallic-phosphate pretreatment.

Retain paragraph above for shop-primed galvanized metal, first paragraph below for nongalvanized metal.

D. Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with minimum requirements indicated below for SSPC surface-preparation specifications and environmental exposure conditions of installed ornamental metal:

Retain or revise subparagraphs below to suit Project service conditions of installed work.  Refer to SSPC specification referenced.

1. Exteriors (SSPC Zone 1B):  SSPC-SP 6, "Commercial Blast Cleaning."

2. Interiors (SSPC Zone 1A):  SSPC-SP 7, "Brush-off Blast Cleaning."

E. Factory-Primed Finish:  Apply air-dried primer immediately after cleaning and pretreatment, to provide a minimum dry film thickness of 2 mils (0.05 mm) per applied coat, to surfaces that will be exposed after assembly and installation, and to concealed, nongalvanized surfaces.

F. Painted Finish:  Comply with Division 9 painting Sections.

G. High-Performance Coating Finish:  Comply with Division 9 Section "High-Performance Coatings."

H. High-Performance Coating Finish:  Apply intermediate and finish coats to surfaces of railings primed with zinc-rich primer.  Comply with coating manufacturer's written directions and with requirements in SSPC-PA 1, "Paint Application Specification No. 1:  Shop, Field, and Maintenance Painting of Steel," for shop painting.

1. Apply intermediate coat at spreading rate recommended by manufacturer to achieve a dry film thickness of 3.0 to 8.0 mils (0.076 to 0.203 mm) for epoxy intermediate coats and 1.5 to 4.0 mils (0.038 to 0.102 mm) for aliphatic urethane intermediate coats.

2. Apply topcoat at spreading rate recommended by manufacturer to achieve a dry film thickness of 1.5 to 4.0 mils (0.038 to 0.102 mm).

3. Match approved Samples for color, texture, and coverage.  Remove and refinish, or recoat work that does not comply with specified requirements.

I. Powder-Coat Finish:  Prepare, treat, and coat nongalvanized ferrous metal to comply with resin manufacturer's written instructions and as follows:

1. Prepare uncoated ferrous-metal surfaces to comply with SSPC-SP 6, "Commercial Blast Cleaning."

Revise first subparagraph below to zinc-phosphate pretreatment if required.

2. Treat prepared metal with iron-phosphate pretreatment, rinse, and seal surfaces.

3. Apply thermosetting polyester or acrylic urethane powder coating with cured-film thickness not less than 1.5 mils (0.04 mm).

4. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Retain paragraph and subparagraphs above for powder-coated nongalvanized ferrous metal, paragraph and subparagraphs below for powder-coated galvanized metal.  If retaining below, retain "Galvanizing" Paragraph in this Article.  Before specifying, verify availability of either with fabricators selected.

J. Powder-Coat Finish:  Prepare, treat, and coat galvanized metal to comply with resin manufacturer's written instructions and as follows:

1. Prepare galvanized metal by thoroughly removing grease, dirt, oil, flux, and other foreign matter.

2. Treat prepared metal with zinc-phosphate pretreatment, rinse, and seal surfaces.

3. Apply thermosetting polyester or acrylic urethane powder coating with cured-film thickness not less than 1.5 mils (0.04 mm).

4. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2.25 TITANIUM FINISHES

A. General:  Fabricate items from finished titanium stock, taking care not to damage finish during fabrication.  Protect finish as needed during fabrication by applying a strippable, temporary protective covering.

B. Dull Matte Finish:  Pickled and annealed.

C. Bright Matte Finish:  Vacuum annealed.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of ornamental metal.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION, GENERAL

A. Provide anchorage devices and fasteners where needed to secure ornamental metal to in-place construction.

B. Perform cutting, drilling, and fitting required to install ornamental metal.  Set products accurately in location, alignment, and elevation; measured from established lines and levels.  Provide temporary bracing or anchors in formwork for items to be built into concrete, masonry, or similar construction.

C. Fit exposed connections accurately together to form tight, hairline joints or, where indicated, with uniform reveals and spaces for sealants and joint fillers.  Where cutting, welding, and grinding are required for proper shop fitting and jointing of ornamental metal, restore finishes to eliminate evidence of such corrective work.

D. Do not cut or abrade finishes that cannot be completely restored in the field.  Return items with such finishes to the shop for required alterations, followed by complete refinishing, or provide new units as required.

Delete first paragraph below if not required.

E. Install concealed gaskets, joint fillers, insulation, and flashings as work progresses.

F. Restore protective coverings that have been damaged during shipment or installation.  Remove protective coverings only when there is no possibility of damage from other work yet to be performed at same location.

1. Retain protective coverings intact; remove coverings simultaneously from similarly finished items to preclude nonuniform oxidation and discoloration.

Delete paragraph below if no field welding.

G. Field Welding:  Comply with applicable AWS specification for procedures of manual shielded metal arc welding, for appearance and quality of welds, and for methods used in correcting welding work.  Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Grind exposed welded joints smooth and restore finish to match finish of adjacent surfaces.

Delete paragraph below if no field brazing.

H. Field Brazing:  Comply with applicable AWS specification for procedures, appearance and quality of brazing, and methods used in correcting brazing work.  Braze connections that are not to be left as exposed joints but cannot be shop brazed because of shipping size limitations.  Grind exposed brazed joints smooth and restore finish to match finish of adjacent surfaces.

Delete paragraph below if no aluminum.

I. Corrosion Protection:  Coat concealed surfaces of aluminum that will be in contact with grout, concrete, masonry, wood, or dissimilar metals, with a heavy coat of bituminous paint.

First seven articles below are examples of detailed requirements for installing some types of ornamental metal.  Insert others to suit Project.

3.3 INSTALLING ORNAMENTAL WINDOW SECURITY BARS

A. Fasten security bar frames to concrete and masonry walls with cast-in-place or postinstalled anchors.  Peen exposed threads of anchors to prevent removal of security bars.

3.4 INSTALLING ORNAMENTAL GRILLES

A. Mount ornamental grilles at heights and in positions indicated, adjusting ductwork to be centered on grilles if any.

1. Secure to framing and blocking with specified fasteners.

2. On marble, brick, and other solid surfaces, secure with wood screws in lead plugs.

3.5 INSTALLING ORNAMENTAL-METAL-CLAD, HOLLOW-METAL DOORS AND FRAMES

This Article is an example only and assumes that installation requirements in referenced Section are sufficient; revise to suit Project.

A. Install doors and frames to comply with requirements specified in Division 8 Section "Custom Steel Doors and Frames."

3.6 INSTALLING CUSTOM DOOR PULLS

A. Install at heights and locations shown.  Install with backing plates on both sides of doors.  Fasten backing plates to doors with oval-head [wood] [self-tapping metal] screws and secure pulls through doors and backing plates with oval-head machine screws.

3.7 INSTALLING COMBINATION HALL PUSH-BUTTON STATIONS

This Article assumes that details show units with faceplate overlapping surrounding finish; revise to suit Project.

A. Coordinate installation of combination hall push-button stations with installation of related elevator signal equipment components specified in Division 14 Section "Electric Traction Elevators."  Secure units in place with faceplate overlapping surrounding wall finish and drawn into contact with surrounding wall finish at entire perimeter of faceplate.

3.8 INSTALLING METAL REVEALS AT WOOD PANELING

A. Install metal reveals between wood panels as paneling is installed.  Secure to wood grounds with specified screws.

3.9 INSTALLING CAST-METAL ROSETTES AT MARBLE JOINTS

A. Install cast-metal rosettes at intersections of marble joints where indicated.  Install only after marble work is complete and joints are grouted.  Secure to wall by drilling a 3/4-inch- (19-mm-) round hole at intersection of marble joints and by filling hole with molding plaster into which threaded stud is embedded.  Angle drill and rotate so bottom of hole is larger than at surface.

1. Secure rosettes in place with masking tape until plaster sets.  After plaster has set, remove masking tape and adhesive residue.

3.10 CLEANING

A. Unless otherwise indicated, clean metals by washing thoroughly with clean water and soap, rinsing with clean water, and drying with soft cloths.

Revise first paragraph below to specify specific cleaning technique to suit type of finish selected.

B. Clean copper alloys according to metal finisher's written instructions in a manner that leaves an undamaged and uniform finish matching approved Sample.

C. Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with same material.

Delete paragraph above or below, or both if no painted finishes.

D. Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 9 painting Sections.

Delete paragraph below if no galvanized materials.

E. Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

3.11 PROTECTION

A. Protect finishes of ornamental metal from damage during construction period with temporary protective coverings approved by ornamental metal fabricator.  Remove protective covering at time of Substantial Completion.

B. Restore finishes damaged during installation and construction period so no evidence remains of correction work.  Return items that cannot be refinished in the field to the shop; make required alterations and refinish entire unit, or provide new units.

END OF SECTION 05700

ORNAMENTAL METAL
05700 - 1

