Copyright 2004 AIA
MASTERSPEC
05/04

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07132 - ELASTOMERIC SHEET WATERPROOFING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Butyl rubber sheet waterproofing.

2. EPDM rubber sheet waterproofing.

3. Molded-sheet drainage panels.

4. Insulation.

5. Plaza deck pavers[ and paver pedestals].

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 7 Section "Joint Sealants" for joint-sealant materials and installation.

1.3 SUBMITTALS

A. Product Data:  Include manufacturer's written instructions for evaluating, preparing, and treating substrate, technical data, and tested physical and performance properties of waterproofing.

B. Shop Drawings:  Show locations and extent of waterproofing.  Include details for substrate joints and cracks, sheet flashings, penetrations, inside and outside corners, tie-ins with adjoining waterproofing, and other termination conditions.

Retain subparagraph below if using pedestal-supported concrete pavers on plaza decks over waterproofing.

1. Include setting drawings showing layout, sizes, sections, profiles, and joint details of pedestal-supported concrete pavers.

C. Samples:  For the following products:

Delete Samples in subparagraphs below not required.  Add number or revise size of Samples if applicable.

1. 12-by-12-inch (300-by-300-mm) square of waterproofing.

2. 12-by-12-inch (300-by-300-mm) square of insulation.

3. 4-by-4-inch (100-by-100-mm) square of drainage panel.

4. Plaza deck paver, [4-by-4-inch (100-by-100-mm) square] [full sized], in each color and texture required.

5. Paver pedestal assembly.

Retain paragraph below if retaining "Installer Qualifications" Paragraph in "Quality Assurance" Article.

D. Installer Certificates:  Signed by manufacturers certifying that installers comply with requirements.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For Installer.

F. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for waterproofing.

G. Warranties:  Special warranties specified in this Section.

1.4 QUALITY ASSURANCE

Delete paragraph below if not applicable.  For warranty purposes, a manufacturer may qualify an installer.  Coordinate options in paragraph with qualifications that manufacturer requires of Installer.  Retain first option if manufacturer approves or licenses installers.  Retain second option if placing minimal restrictions on Installer.

A. Installer Qualifications:  A firm that is [approved or licensed by] [acceptable to] waterproofing manufacturer for installation of units required for this Project.

Select applicable products from options in paragraph below.

B. Source Limitations:  Obtain waterproofing materials[, protection course,] [and] [molded-sheet drainage panels] through one source from a single manufacturer.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.  If not using pavers, delete optional sentence in paragraph and option in subparagraph below.

C. Mockups:  Before beginning installation, install waterproofing to 100 sq. ft. (9.3 sq. m) <Insert area> of [deck] [wall] to demonstrate surface preparation, crack and joint treatment, corner treatment, and execution quality.[  Install pavers and paver supports to demonstrate aesthetic affects and set quality standards for materials and execution.]

1. If Architect determines mockups do not comply with requirements, reapply waterproofing[ and reinstall overlying construction] until mockups are approved.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

2. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph and subparagraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.

D. Preinstallation Conference:  Conduct conference at Project site.

1. Review waterproofing requirements including surface preparation, substrate condition and pretreatment, minimum curing period, forecasted weather conditions, special details and sheet flashings, installation procedures, testing and inspection procedures, and protection and repairs.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver liquid materials to Project site in original packages with seals unbroken, labeled with manufacturer's name, product brand name and type, date of manufacture, and directions for storing and mixing with other components.

B. Store liquid materials in their original undamaged packages in a clean, dry, protected location and within temperature range required by waterproofing manufacturer.

C. Remove and replace liquid materials that cannot be applied within their stated shelf life.

D. Store rolls according to manufacturer's written instructions.

E. Protect stored materials from direct sunlight.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  Apply waterproofing within the range of ambient and substrate temperatures recommended by waterproofing manufacturer.  Do not apply waterproofing to a damp or wet substrate.

1. Do not apply waterproofing in snow, rain, fog, or mist.

B. Maintain adequate ventilation during preparation and application of waterproofing materials.

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."  Waterproofing warranties for EPDM and butyl sheet waterproofing are limited to materials only.  Manufacturers' warranties customarily do not include costs of exposing the waterproofing membrane as well as installing replacement waterproofing material.  Manufacturers' warranties do not include costs of excavating, backfilling, and restoring affected construction in vertical applications.

A. Special Manufacturer's Warranty:  Manufacturer's standard form in which manufacturer agrees to replace waterproofing material that does not comply with requirements or that fails to remain watertight within specified warranty period.

Verify available warranties and insert number in subparagraph below.  Materials-only warranties of up to 20 years may be available.

1. Warranty Period:  [10] [20] <Insert number> years from date of Substantial Completion.

Retain paragraph and subparagraph below if a separate special installer's warranty is required and if this is an accepted practice locally.  Usually retain special manufacturer's warranty above with special Installer's warranty below.  Coordinate requirements of both special warranties to clarify responsibilities.  If a specific installer's warranty form is required, see Division 7 low-slope roofing Sections for examples that may be modified for waterproofing.

B. Special Installer's Warranty:  Specified form, [on warranty form at end of this Section, ]signed by Installer, covering Work of this Section, for warranty period of [two] <Insert number> years.

Retain subparagraph below, revised if necessary, for plaza decks.

1. Warranty includes removing and reinstalling protection board, drainage panels, insulation, pedestals, and pavers on plaza decks.

PART 2 -  PRODUCTS

2.1 SHEET WATERPROOFING

Revise thickness in first paragraph below to suit Project; 60-mil (1.5-mm) thickness is most common.  Distinguish thicknesses for vertical wall and plaza deck applications if applicable.

A. Butyl Rubber Sheet:  ASTM D 6134, Type II, [60-mil- (1.5-mm-)] [90-mil- (2.3-mm-)] [120-mil- (3.0-mm-)] thick flexible sheet, unreinforced, formed from isobutylene-isoprene rubber.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Carlisle Coatings & Waterproofing Inc.; Sure-Seal Butyl.

b. <Insert manufacturer's name; product name or designation.>

B. EPDM Rubber Sheet:  ASTM D 6134, Type I, 60-mil- (1.5-mm-) thick flexible sheet, unreinforced, formed from EPDM.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Carlisle Coatings & Waterproofing Inc.; Sure-Seal EPDM.

b. <Insert manufacturer's name; product name or designation.>

2.2 AUXILIARY MATERIALS

A. General:  Furnish auxiliary materials recommended by waterproofing manufacturer for intended use and compatible with sheet waterproofing.

1. Furnish liquid-type auxiliary materials that comply with VOC limits of authorities having jurisdiction.

B. Concealed Sheet Flashing:  Same material, construction, and thickness as sheet waterproofing or 60-mil- (1.5-mm-) thick, uncured EPDM as required by manufacturer.

Retain paragraph below if sheet flashings are exposed.

C. Exposed Sheet Flashing:  60-mil- (1.5-mm-) thick EPDM, cured or uncured, as required by manufacturer.

Retain paragraph below for sheets fully and partially adhered and for sheet flashings.

D. Bonding Adhesives:  Adhesive for bonding polymeric sheets and sheet flashings to substrates and projections.

Retain first paragraph below for splicing seams in EPDM and butyl.

E. Splicing Cement and Cleaner:  Single-component butyl splicing cement and solvent-based splice cleaner.

Retain subparagraph below with paragraph above if seams require splicing cement and butyl gum tape.

1. Butyl Gum Tape:  30-mil- (0.76-mm-) thick-by-6-1/4-inch- (160-mm-) wide, uncured butyl with polyethylene release film.

F. Lap Sealant:  Single-component sealant.

Retain first paragraph below if seams use splicing cement without butyl gum tape.

G. In-Seam Sealant:  Single-component sealant.

H. Water Cutoff Mastic:  Butyl mastic sealant.

I. Waterproofing and Sheet Flashing Accessories:  Provide sealants, pourable sealers, cone and vent flashings, inside and outside corner flashings, termination reglets, and other accessories recommended by waterproofing manufacturer for intended use.

J. Metal Termination Bars:  Manufacturer's standard aluminum bars, approximately 1 inch (25 mm) wide, prepunched, with zinc-alloy-body fasteners and stainless-steel pins.

Select type of protection course from five paragraphs and associated subparagraphs below if required.  Delete if molded-sheet drainage panels or insulation drainage panels will replace protection course.  Verify acceptability of type of protection course with waterproofing manufacturer.  Indicate locations, such as plaza deck and foundation walls, if more than one type of protection course is required.

Asphaltic protection course in first paragraph below is manufactured by W. R. Meadows and is also available from a number of other waterproofing manufacturers.

K. Protection Course:  ASTM D 6506, semirigid sheets of fiberglass or mineral-reinforced-asphaltic core, pressure laminated between two asphalt-saturated fibrous liners and as follows:

1. Thickness:  [1/8 inch (3 mm)] [1/4 inch (6 mm)], nominal.

2. Thickness:  1/8 inch (3 mm), nominal, for vertical applications; 1/4 inch (6 mm), nominal, elsewhere.

3. Adhesive:  Rubber-based solvent type recommended by waterproofing manufacturer for type of protection course.

L. Protection Course:  Faced, fan folded, with a core of extruded-polystyrene board insulation sandwiched between 2 sheets of plastic film, nominal thickness 1/4 inch (6 mm), with compressive strength of not less than 8 psi (55 kPa) per ASTM D 1621, and maximum water absorption by volume of 0.6 percent per ASTM C 272.

Unfaced, fan-folded, extruded-polystyrene protection course in paragraph below describes Owens Corning's "Fanfold DWB."

M. Protection Course:  Unfaced, fan-folded, extruded-polystyrene board insulation, nominal thickness 1/4 inch (6 mm) with compressive strength of not less than 8 psi (55 kPa) per ASTM D 1621.

Unfaced, extruded-polystyrene protection course in first paragraph below describes Owens Corning's "Foamular Half-Inch."

N. Protection Course:  Extruded-polystyrene board insulation, unfaced, ASTM C 578, Type X, 1/2 inch (13 mm) thick.

O. Protection Course:  Molded-polystyrene board insulation, ASTM C 578, Type I, 0.90-lb/cu. ft. (15-kg/cu. m) minimum density, 1-inch (25-mm) minimum thickness.

2.3 MOLDED-SHEET DRAINAGE PANELS

Retain this Article if molded-sheet drainage panels are required.  Retain paragraph below if molded-sheet drainage panel products are specified in another Section.

A. Molded-Sheet Drainage Panel:  Comply with Division 2 Section "Subdrainage."

Retain one or both paragraphs below if specifying drainage panels in this Section.  Retain first paragraph if specifying nonwoven-geotextile-faced drainage panels, usually for foundation walls.  Examples of products described below include Carlisle's "CCW MiraDRAIN 6200" and "CCW MiraDRAIN 6200XL" and W. R. Grace's "Hydroduct 220" and "Hydroduct 660" with a polymeric facing, and Carlisle's "CCW MiraDRAIN 6000" and "CCW MiraDRAIN 6000XL" without a polymeric facing.

B. Nonwoven-Geotextile-Faced, Molded-Sheet Drainage Panel:  Manufactured composite subsurface drainage panels consisting of a nonwoven, needle-punched geotextile facing with an apparent opening size not exceeding No. 70 (0.21-mm) sieve laminated to one side [with] [or] [without] a polymeric film bonded to the other side of a studded, nonbiodegradable, molded-plastic-sheet drainage core, with a vertical flow rate of 9 to 15 gpm per ft. (112 to 188 L/min. per m).

Retain paragraph below if specifying woven-geotextile-faced drainage panels, usually for plaza decks.  Examples of products described below include Grace's Hydroduct 225" with a polymeric film facing and Carlisle's "CCW MiraDRAIN 9000" and "CCW MiraDRAIN 9900" without a polymeric facing.

C. Woven-Geotextile-Faced, Molded-Sheet Drainage Panel:  Manufactured composite subsurface drainage panels consisting of a woven-geotextile facing with an apparent opening size not exceeding No. 40 (0.425-mm) sieve laminated to one side [with] [or] [without] a polymeric film bonded to the other side of a studded, nonbiodegradable, molded-plastic-sheet drainage core, with a horizontal flow rate not less than 2.8 gpm per ft. (35 L/min. per m).

2.4 INSULATION

Retain paragraph and subparagraphs below if board insulation is required over waterproofing and if board insulation forms the first layer beneath an insulation drainage panel.

A. Board Insulation:  Extruded-polystyrene board insulation complying with ASTM C 578, [square] [or] [shiplap] edged.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Diversifoam Products.

b. Dow Chemical Company (The).

c. Owens Corning.

d. Pactiv Building Products.

e. T. Clear Corporation.

f. <Insert manufacturer's name.>

Types IV and VI insulation are usually limited to vertical applications.  Types VII and V insulation, with higher compressive strengths, are used on plaza decks.

3. Type IV, 25-psi (173-kPa) minimum compressive strength.

4. Type VI, 40-psi (276-kPa) minimum compressive strength.

5. Type VII, 60-psi (414-kPa) minimum compressive strength.

6. Type V, 100-psi (690-kPa) minimum compressive strength.

Retain paragraph and subparagraphs below for unfaced insulation drainage panels for foundation wall applications.  Diversifoam's "CertiFoam 25 Drainage Board," Dow's "Perimate," and Pactiv's "Green-Guard-DC" are Type IV.  Diversifoam's "CertiFoam 40 Drainage Board" is Type VI.

B. Unfaced Wall Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type IV, 25-psi (173-kPa)] [or] [Type VI, 40-psi (276-kPa)] minimum compressive strength; unfaced; fabricated with shiplap or channel edges and with 1 side having grooved drainage channels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Diversifoam Products; CertiFoam [25] [40] Drainage Board.

b. Dow Chemical Company (The); Perimate.

c. Pactiv Building Products; Green-Guard-DC.

d. <Insert manufacturer's name; product name or designation.>

Retain paragraph and subparagraphs below for geotextile-faced insulation drainage panels for foundation wall applications.  Owens Corning's "Insul-Drain" is Type IV; T. Clear's "Thermadry 1250" is Type VI.

C. Geotextile-Faced Wall Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type IV, 25-psi (173-kPa)] [or] [Type VI, 40-psi (276-kPa)] minimum compressive strength; fabricated with tongue-and-groove edges and with 1 side having grooved drainage channels faced with nonwoven geotextile filter fabric.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Owens Corning; Insul-Drain.

b. T. Clear Corporation; Thermadry 1250.

c. <Insert manufacturer's name; product name or designation.>

Retain paragraph and subparagraphs below for plaza deck applications if unfaced insulation drainage panels with ribbed drainage channels are required.  Retain Type VI insulation for limited, intermittent pedestrian traffic or Type VII for heavier pedestrian traffic.  Dow's "Styrofoam Ribbed Roofmate" and Owens Corning's "Foamular 404 RB" are Type VI; Diversifoam's "CertiFoam Plaza Deck" and Owens Corning's "Foamular 604 RB" are Type VII.

D. Unfaced Plaza Deck Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, [Type VI, 40-psi (276-kPa)] [Type VII, 60-psi (414-kPa)] minimum compressive strength; unfaced; fabricated with shiplapped or channel edges and with 1 side having ribbed drainage channels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Diversifoam Products; CertiFoam Plaza Deck.

b. Dow Chemical Company (The); Styrofoam Ribbed Roofmate.

c. Owens Corning; Foamular [404 RB] [604 RB].

d. <Insert manufacturer's name; product name or designation.>

Retain paragraph below if Type VII geotextile-faced insulation is required for heavy pedestrian traffic.

E. Geotextile-Faced Plaza Deck Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C 578, Type VII, 60-psi (414-kPa) minimum compressive strength; fabricated with tongue-and-groove edges and with 1 side having grooved drainage channels faced with manufacturer's standard, nonwoven geotextile filter fabric.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. T. Clear Corporation; Thermadry 1750.

b. <Insert manufacturer's name; product name or designation.>

2.5 PLAZA DECK PAVERS

Retain this Article if plaza deck pavers are required.  Retain one of two paragraphs below if cross-referencing paver materials from other Sections.

A. Plaza Deck Pavers:  [Brick] [Concrete] [Asphalt-block] pavers specified in Division 2 Section "Unit Pavers."

B. Plaza Deck Pavers:  [Granite] [Limestone] [Marble] [Quartz-based stone] [Slate] pavers specified in Division 9 Section "Stone Paving and Flooring."

Delete both paragraphs above and retain paragraph below if plaza deck concrete pavers are required.  Verify availability of deck pavers with characteristics selected.  Paragraph below describes concrete pavers commonly used in pedestal set applications over insulation and waterproofing or for placing on a setting bed.  Limit pedestal systems to pedestrian plazas.

C. Plaza Deck Pavers:  Heavyweight, hydraulically pressed, concrete units, [square edged] [with top edges beveled 3/16 inch (5 mm)], manufactured for use as plaza deck pavers; minimum compressive strength [7500 psi (52 MPa)] [6500 psi (45 MPa)] <Insert value>, ASTM C 140; absorption not greater than 5 percent, ASTM C 140; no breakage and maximum 1 percent mass loss when tested for freeze-thaw resistance according to ASTM C 67.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

3. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. Hanover Architectural Products.

b. Hastings Pavement Co., Inc.

c. Roofblok Limited.

d. Sunny Brook Pressed Concrete Co.

e. Wausau Tile, Inc.; Terra-Paving Div.

f. Westile Roofing Products.

g. <Insert manufacturer's name.>

Select one thickness and one face size from options in first two subparagraphs below.  Include special paver sizes and add descriptions of custom pavers such as stair tread and riser units, coping or curbed termination pavers, and oversize pavers.

4. Thickness:  [1-5/8 inches (41 mm)] [1-3/4 inches (45 mm)] [2 inches (51 mm)] [2-3/8 inches (60 mm)] <Insert dimension>.

5. Face Size:  [8-7/8 inches (225 mm) square] [9 inches (229 mm) square] [9 by 18 inches (229 by 457 mm)] [12 inches (305 mm) square] [12 by 24 inches (305 by 610 mm)] [18 inches (457 mm) square] [24 inches (610 mm) square] [As indicated] <Insert dimensions and shape>.

6. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Delete paragraph below if using pedestal systems for paver supports.

D. Setting Bed:  Provide [aggregate] [mortar] [bituminous] setting-bed materials specified in Division 2 Section "Unit Pavers."

Delete paragraph and subparagraphs below if setting-bed systems are required.  Apart from paver producers, paver pedestal manufacturers include Envirospec and Bison ScrewJack Pedestals.

E. Paver Pedestals:  Paver manufacturer's standard SBR rubber, HDPE, or polyurethane paver support assembly, including [fixed-height] [adjustable or stackable] pedestals, shims, and spacer tabs for joint spacing of [1/8 inch (3 mm)] [3/16 inch (5 mm)] [1/8 to 3/16 inch (3 to 5 mm)].

Retain one of two subparagraphs and insert list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

Retain subparagraph below if specifying Wausau's tilting and telescoping pedestals.

3. Concrete Fill:  ACI 301, compressive strength of 5000 psi (34 MPa) at 28 days and air content of 6 percent.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements and other conditions affecting performance.

1. Do not proceed with installation until after the minimum concrete curing period recommended by waterproofing manufacturer.

2. Verify that substrate is visibly dry and free of moisture.  Test for capillary moisture by plastic sheet method according to ASTM D 4263.

3. Notify Architect in writing of anticipated problems using waterproofing over substrate.

4. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 SURFACE PREPARATION

A. Clean, prepare, and treat substrates according to manufacturer's written instructions.  Provide clean, dust-free, and dry substrates for waterproofing application.

B. Mask off adjoining surfaces not receiving waterproofing to prevent spillage and overspray affecting other construction.

C. Remove grease, oil, bitumen, form-release agents, paints, curing compounds, and other penetrating contaminants or film-forming coatings from concrete.

D. Remove fins, ridges, mortar, and other projections and fill honeycomb, aggregate pockets, holes, and other voids.

E. Prepare, fill, prime, and treat joints and cracks in substrates.  Remove dust and dirt from joints and cracks according to ASTM D 4258.

F. Prepare, treat, and seal vertical and horizontal surfaces at terminations and penetrations through waterproofing and at drains and protrusions.

3.3 FULLY ADHERED SHEET INSTALLATION

Retain this Article for fully adhered horizontal or vertical installations.

A. Install fully adhered sheets over entire area to receive waterproofing according to manufacturer's written instructions and recommendations in ASTM D 5843.

B. Accurately align sheets and maintain uniform side and end laps of minimum dimensions required.  Stagger end laps.

C. Apply bonding adhesive to substrates at required rate and allow to partially dry.

D. Apply bonding adhesive to sheets and firmly adhere sheets to substrates.  Do not apply bonding adhesive to splice area of sheet.

Retain first paragraph below if tie-ins to existing waterproofing are required.

E. Install fully adhered sheets and auxiliary materials to tie into existing waterproofing.

F. Repair tears, voids, and lapped seams in waterproofing not complying with requirements.  Slit and flatten fishmouths and blisters.  Patch with sheet waterproofing extending beyond repaired areas in all directions.

G. Horizontal Application:  Apply sheets with side laps shingled with slope of deck where possible.

1. Spread sealant bed over deck drain flange at deck drains and securely seal sheet waterproofing in place with clamping ring.

3.4 PARTIALLY ADHERED SHEET INSTALLATION

Retain this Article for partially adhered vertical installations.

A. Install partially adhered sheets over entire area to receive waterproofing according to manufacturer's written instructions.

B. Accurately align sheets and maintain uniform side and end laps of minimum dimensions required.  Stagger end laps.

C. Apply bonding adhesive to the following areas of substrates and to each sheet at required rate and allow to partially dry:

Subparagraph below is based on Carlisle's recommendations for partially adhered EPDM and butyl sheets.  Revise area to suit Project.

1. Upper 25 percent of length of each sheet and 18 inches (457 mm) around perimeter of each sheet.

D. Firmly adhere sheets to substrate.  Do not apply bonding adhesive to splice area of sheet.

Retain first paragraph below if tie-ins to existing waterproofing are required.

E. Install partially adhered sheets and auxiliary materials to tie into existing waterproofing.

F. Repair tears, voids, and lapped seams in waterproofing not complying with requirements.  Slit and flatten fishmouths and blisters.  Patch with sheet waterproofing extending beyond repaired areas in all directions.

3.5 COMPARTMENTED, LOOSELY LAID SHEET INSTALLATION

Retain this Article for compartmented, loosely laid horizontal installations.

A. Install compartmented, loosely laid sheets over entire area to receive waterproofing according to manufacturer's written instructions.

B. Accurately align sheets and maintain uniform side and end laps of minimum dimensions required.  Stagger end laps.

C. Apply continuous beads of water cutoff mastic, of size recommended by waterproofing manufacturer, to substrates in a 60-by-60-inch (1500-by-1500-mm) grid pattern before installing sheet.

D. Apply sheets with side laps shingled with slope of deck where possible.

E. Spread sealant bed over deck drain flange at deck drains and securely seal sheet waterproofing in place with clamping ring.

Retain first paragraph below if tie-ins to existing waterproofing are required.

F. Install compartmented, loosely laid sheets and auxiliary materials to tie into existing waterproofing.

G. Repair tears, voids, and lapped seams in waterproofing not complying with requirements.  Slit and flatten fishmouths and blisters.  Patch with sheet waterproofing extending beyond repaired areas in all directions.

3.6 SEAM INSTALLATION

Retain paragraph below for cement splicing EPDM or butyl sheet seams.

A. Cement Splice:  Clean splice areas, apply splicing cement and in-seam sealant, and firmly roll side and end laps of overlapping sheets according to manufacturer's written instructions to produce a splice not less than 6 inches (150 mm) wide and to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of sheet terminations.

Retain paragraph below for cement and butyl gum tape splicing of EPDM or butyl sheet seams.

B. Cement and Tape Splice:  Clean splice areas, apply splicing cement and butyl gum tape, and firmly roll side and end laps of overlapping sheets according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of sheet terminations.

3.7 SHEET FLASHING INSTALLATION

A. Install sheet flashings and preformed flashing accessories and adhere to substrates according to waterproofing manufacturer's written instructions.

B. Form wall flashings using exposed sheet flashing.

Retain paragraph above or paragraph and subparagraphs below.

C. Extend deck sheet waterproofing to form wall flashings.

1. Flash penetrations and field-formed inside and outside corners with uncured sheet flashing.

2. Clean splice areas, apply splicing cement, and firmly roll side and end laps of overlapping sheets to ensure a watertight installation.  Apply lap sealant and seal exposed edges of sheet flashing terminations.

Verify with manufacturer that first paragraph below applies to Project for EPDM or butyl sheet; revise if required.

D. Cover expansion joints and discontinuous deck-to-wall or deck-to-deck joints by extending deck sheet waterproofing over joints.

E. Terminate and seal top of sheet flashings[ with mechanically anchored termination bars].

3.8 PROTECTION COURSE INSTALLATION

A. Install protection course over waterproofing membrane according to manufacturer's written instructions and before beginning subsequent construction operations.  Minimize exposure of membrane.

Retain applicable options in subparagraph below if drainage panels or board insulation will be used and are permitted by waterproofing manufacturer to replace protection course.

1. [Molded-sheet drainage panels] [Insulation drainage panels] [Board insulation] may be used in place of a separate protection course to vertical applications when approved by waterproofing manufacturer.

3.9 MOLDED-SHEET DRAINAGE PANEL INSTALLATION

A. Place and secure molded-sheet drainage panels, with geotextile facing away from wall or deck substrate, according to manufacturer's written instructions.  Use adhesives[ or mechanical fasteners] that do not penetrate waterproofing.  Lap edges and ends of geotextile to maintain continuity.  Protect installed molded-sheet drainage panels during subsequent construction.

Retain subparagraph below if board insulation or protection course is installed before installing molded-sheet drainage panels.

1. For vertical applications, install [board insulation] [protection course] before installing drainage panels.

3.10 INSULATION INSTALLATION

A. Install [one or more layers of board insulation to achieve required thickness] [and] [insulation drainage panels] over waterproofed surfaces.  Cut and fit to within 3/4 inch (19 mm) of projections and penetrations.

Delete first paragraph below if support is not required during backfilling.

B. On vertical surfaces, place and secure insulation units according to manufacturer's written instructions.

C. On horizontal surfaces, loosely lay insulation units according to manufacturer's written instructions.  Stagger end joints and tightly abut insulation units.

3.11 PLAZA DECK PAVER INSTALLATION

Delete first paragraph below if using paver pedestal supports.

A. Setting Bed:  Install setting bed in locations and of thickness indicated to comply with requirements in Division [2 Section "Unit Pavers] [9 Section "Stone Paving and Flooring]."

B. Install concrete pavers in locations indicated according to manufacturer's written instructions.

Retain two paragraphs and associated subparagraph below if setting pavers on paving pedestals.

C. Accurately install [fixed] [adjustable]-height paver pedestals and accessories in locations and to elevations required.  Adjust for final level and slope with shims.

Delete concrete fill in subparagraph below unless using Wausau's tilting and telescoping paver pedestals.

1. Fill paver pedestal with concrete mix, strike smooth with top of pedestal, and cure according to ACI 301.

D. Loosely lay pavers on pedestals, maintaining a uniform open joint width.  Tightly seat pavers against spacers to eliminate lateral movement or drift of paving assembly.  Align joint patterns parallel in each direction.

Revise subparagraph below to suit Project.  Consider paved area layout, paver module, and construction tolerances when imposing limits.  Verify minimum dimensions with paver manufacturer.  Minimum pedestal dimensions may also govern.  Custom-dimensioned pavers or pavers scored to repeat module may be available.

1. Lay out pavers to avoid less-than-half-width pavers at perimeter or other terminations.

Add special installation requirements here.  Examples might include tread/riser units on tabs or treatment of pavers at plaza/building expansion joints.

E. Install pavers to not vary more than 1/16 inch (1.6 mm) in elevation between adjacent pavers or more than 1/16 inch (1.6 mm) from surface plane elevation of individual paver.

F. Maintain tolerances of paving installation within [1/4 inch in 10 feet (1:48)] <Insert surface tolerance> of surface plane in any direction.

3.12 FIELD QUALITY CONTROL

Retain paragraph below if a manufacturer's site representative is required.  Manufacturer may also require this as a warranty condition.

A. Engage a full-time site representative qualified by waterproofing membrane manufacturer to inspect substrate conditions; surface preparation; membrane application, flashings, protection, and drainage components; and to furnish daily reports to Architect.

Delete flood testing when waterproofing is limited to vertical applications.  Revise first paragraph and subparagraphs below by identifying particular areas on Project to flood test when preferred.  Limit water depth to not exceed load capacity of deck.

B. Flood Testing:  Flood test each deck area for leaks, according to recommendations in ASTM D 5957, after completing waterproofing but before overlying construction is placed.  Install temporary containment assemblies, plug or dam drains, and flood with potable water.

1. Flood to an average depth of 2-1/2 inches (65 mm) with a minimum depth of 1 inch (25 mm) and not exceeding a depth of 4 inches (100 mm).  Maintain 2 inches (51 mm) of clearance from top of sheet flashings.

ASTM D 5957 sets 24 hours as minimum and 72 hours as maximum duration for flood testing.

2. Flood each area for [24] [48] [72] hours.

3. After flood testing, repair leaks, repeat flood tests, and make further repairs until waterproofing installation is watertight.

C. [Owner will engage] [Engage] an independent testing agency to observe flood testing and examine underside of decks and terminations for evidence of leaks during flood testing.

3.13 PROTECTION AND CLEANING

Retain first paragraph below for horizontal applications.

A. Do not permit foot or vehicular traffic on unprotected membrane.

B. Protect waterproofing from damage and wear during remainder of construction period.

Retain first paragraph below when board insulation or insulation drainage panels are required and may be exposed for a period of time on plaza decks.

C. Protect installed [board insulation] [insulation drainage panels] from damage due to UV light, harmful weather exposures, physical abuse, and other causes.  Provide temporary coverings where insulation will be subject to abuse and cannot be concealed and protected by permanent construction immediately after installation.

D. Clean spillage and soiling from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

Add Special Installer's Warranty Form here if required.

END OF SECTION 07132

ELASTOMERIC SHEET WATERPROOFING
07132 - 1

