Copyright 2001 AIA
MASTERSPEC Full Length
02/01 (R 05/06)

Copyright 2001, The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07317 - WOOD SHINGLES AND SHAKES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Wood [shingle] [shake] roofing.

2. Wood [shingle] [shake] walls.

3. Wood shingle wall panels.

4. Felt underlayment.

5. Self-adhering sheet underlayment.

6. Ridge vents.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 6 Section "Rough Carpentry" for wood [roof battens] [roof furring strips] [roof sheathing] [wall furring strips].

2. Division 6 Section "Finish Carpentry" for wood [wall corner trim] [roof ridge and hip boards].

3. Division 6 Section "Exterior Architectural Woodwork" for wood wall corner trim.

Delete both subparagraphs below if these products are specified in this Section.

4. Division 7 Section "Sheet Metal Flashing and Trim" for metal [roof-penetration flashings] [counterflashings] [and] [flashings] not part of this Section.

5. Division 7 Section "Roof Accessories" for ridge vents.

1.3 DEFINITIONS

A. Roofing Terminology:  Refer to ASTM D 1079 and glossary of NRCA's "The NRCA Roofing and Waterproofing Manual" for definitions of terms related to roofing work in this Section.

1.4 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Samples for Initial Selection:  For each type of wood [shingle] [shake] [hip and ridge unit] [and] [ridge vent] indicated.

1. Include similar Samples of trim and accessories involving color selection.

Delete paragraph and subparagraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

C. Samples for Verification:  For the following products, of sizes indicated, to verify color selected.

1. Wood [Shingles] [Shakes]:  Full size.

2. Wood shingle panels.

3. Hip and Ridge Unit:  Full size.

4. Ridge Vent:  12-inch- (300-mm-) long Sample.

5. Self-Adhering Underlayment:  12 inches (300 mm) square.

Coordinate paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

Retain paragraph and subparagraphs below if wood used to produce shingles and shakes is required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

D. LEED Submittal:

1. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that [shingles] [and] [shakes] comply with forest certification requirements.  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

E. Qualification Data:  For Installer.

Insert specific model code organization in first paragraph below or revise if report must be from another source.

F. Research/Evaluation Reports:  For wood [shingles] [shakes].

G. Maintenance Data:  For wood [shingles] [shakes] to include in maintenance manuals.

Retain below if required.  Submittal of sample warranty provides Architect or Owner an opportunity to further verify that warranty coverage complies with requirements.

H. Warranties:  Special warranties specified in this Section.

1.5 QUALITY ASSURANCE

Retain first paragraph below if requiring CSSB's limited materials-and-installation warranty.

A. Installer Qualifications:  A qualified installer who is an approved affiliate member of CSSB.

B. Grading Agency Qualifications:  An independent testing and inspecting agency recognized by authorities having jurisdiction as qualified to label wood [shingles] [shakes] for compliance with referenced grading rules.

C. Source Limitations:  Obtain wood [shingles] [shakes] through one source from a single manufacturer.

Retain paragraph and subparagraph below if fire-test-exposure classification is required for roofing.  Fire-retardant pressure-impregnated treatment of wood shingles and shakes is required to obtain a classification.  Testing of other components in roofing assembly is also required.  Verify requirements with shingle and shake manufacturer and fire-retardant-treatment company.

D. Fire-Test-Response Characteristics:  Provide wood [shingles] [shakes] and related roofing materials with the fire-test-response characteristics indicated, as determined by testing identical products per test method indicated below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify materials with appropriate markings of applicable testing and inspecting agency.

Retain one of two options in subparagraph below based on fire classification of roof assembly with wood shingles or shakes as roof covering.  Revise to include other standards of authorities having jurisdiction if applicable.

1. Exterior Fire-Test Exposure:  Class [B] [C]; UL 790 or ASTM E 108 with ASTM D 2898, for application and roof slopes indicated.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

Retain first paragraph below if shingles and shakes are required to be made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  Verify availability of products that comply before retaining.  An alternative method of complying with Credit MR 7 requirement is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 7 requirement will be met.

E. Forest Certification:  Provide [shingles] [and] [shakes] produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

F. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Delete subparagraphs below if mockups are only for establishing appearance factors.

1. Approval of mockups is also for other material and construction qualities specifically approved by Architect in writing.

2. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless such deviations are specifically approved by Architect in writing.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete below if work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

G. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store underlayment rolls on end on pallets or other raised surfaces.  Do not double-stack rolls.

1. Handle, store, and place roofing materials in a manner to avoid significant or permanent damage to roof deck or structural supporting members.

B. Protect unused underlayment from weather, sunlight, and moisture when left overnight or when roofing work is not in progress.

1.7 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit roofing to be performed according to manufacturer's written instructions and warranty requirements.

1. Install self-adhering sheet underlayment within the range of ambient and substrate temperatures recommended by manufacturer.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements." See Evaluations for discussion of warranties.

A. Special Warranty:  CSSB's standard form in which CSSB agrees to repair or replace wood [shingles] [shakes] that fail in materials within specified warranty period.  Material failures include manufacturing defects that result in leaks.

CSSB offers a 20-year warranty period for No. 1 grade Certigrade shingles, No. 1 grade 1/2-inch- (13-mm-) thick Certi-Split shakes, No. 1 grade 5/8-inch- (16-mm-) thick Certi-Sawn shakes, and No. 1 grade Certi-Ridge hip and ridge units.  A 25-year warranty period is available for 3/4-inch- (19-mm-) thick, No. 1 grade Certi-Split and Certi-Sawn shakes.

1. Material Warranty Period:  [20] [25] years for [shingles] [shakes] [, and 20 years for manufactured hip and ridge units,] from date of Substantial Completion.

Retain paragraph and subparagraph below for roof shingles or shakes if applicable.  If retaining special Project warranty, use or revise sample roofing Installer's warranty form at end of this Section.  Alternatively, insert copy of local roofing contractor association's warranty form or use another form as advised by Owner's counsel.  Revise below to reflect scope of special Project warranty.

B. Special Project Warranty:  Roofing Installer's warranty, on warranty form at end of this Section, signed by roofing Installer, covering Work of this Section, in which roofing Installer agrees to repair or replace components of wood [shingle] [shake] roofing that fail in materials or workmanship within the following warranty period:

1. Warranty Period:  [Two] [Five] <Insert number> years from date of Substantial Completion.

1.9 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Wood [Shingles] [Shakes]:  [100 sq. ft (9.3 sq. m)] <Insert area> of each type, in unbroken bundles.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products, or manufacturers only, are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products specified.

2. Products:  Subject to compliance with requirements, provide one of the products specified.

3. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

4. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

2.2 ROOF SHINGLES

Paragraph and subparagraphs below correspond to CSSB's Certigrade shingles.

A. Cedar Roof Shingles:  Smooth-sawn western red cedar shingles.

Select applicable grading standard from options in subparagraph below.

1. Grading Standards: [UBC Standard 15-4.] [CSSB's "Grading Rules for Certigrade Red Cedar Shingles."]

Select starter course grade from options in subparagraph below.

2. Grade:  No. 1 and starter courses of No. [1] [2] [3].

Select shingle dimensions from options in subparagraph below.  Shingle thickness is customarily based on a composite thickness that is standard for each shingle length.  First option corresponds to 5 shingle butts/2 inches (51 mm), second to 5 shingle butts/2-1/4 inches (57 mm), and third to 4 shingle butts/2 inches (51 mm).

3. Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] [24 inches (610 mm) long; 0.50 inch (13 mm)] thick at butt.

If using roof shingle ridge and hip units, select applicable options from paragraph and subparagraphs below.  Manufactured units correspond to CSSB's Certi-Ridge products.

B. Ridge[ and Hip] Units:  [Manufactured] [Site-fabricated] units of same thickness as roof shingle, 7 inches (180 mm) wide; beveled, alternately overlapped, and nailed.

1. Grade:  No. 1.

2. Length:  [16 inches (405 mm)] [18 inches (455 mm)].

Paragraph and subparagraph below correspond to CSSB's Certi-Cut shingles.

C. Fancy-Butt Roof Shingles:  Clear heartwood red cedar, No. 1 grade, 18 inches (455 mm) long by 5 inches (125 mm) wide by 1/4-inch (6-mm) nominal thickness, with butt shape indicated.

Select butt style from options in subparagraph below or insert other standard or custom shapes.

1. Butt Style:  [Diagonal] [Half Cove] [Diamond] [Round] [Hexagonal] [Octagonal] [Arrow] [Square] [Fish Scale] <Insert style>.

Insert shingles of other species such as eastern white cedar if available.

2.3 ROOF SHAKES

Paragraph and subparagraphs below correspond to CSSB's Certi-Split shakes.

A. Cedar Roof Shakes:  Handsplit and resawn western red cedar shakes; split face and sawn back.

Select applicable grading standard from options in subparagraph below.

1. Grading Standard:  [UBC Standard 15-3.] [CSSB's "Grading Rules for Certi-Split Handsplit and Resawn Shakes."]

Select grade for exposed shakes and starter courses from options in subparagraph below.

2. Grade:  [Premium] [No. 1] and starter courses of [Premium] [No. 1].

Select shake length from options in subparagraph below.

3. Length:  [18 inches (455 mm)] [24 inches (610 mm)] with 15-inch- (380-mm-) long starter course.

Select shake thickness from options in subparagraph below.

4. Thickness:  [1/2 inch (13 mm)] [3/4 inch (19 mm)] at butt.

Paragraph and subparagraphs below correspond to CSSB's Certi-Sawn shakes.

B. Cedar Roof Shakes:  Tapersawn western red cedar shakes; sawn both sides.

Select applicable grading standard from options in subparagraph below.

1. Grading Standard:  [UBC Standard 15-3.] [CSSB's "Grading Rules for Certi-Sawn Tapersawn Cedar Shakes."]

Select grade for exposed shakes and starter courses from options in subparagraph below.

2. Grade:  [Premium] [No. 1] and starter courses of [Premium] [No. 1] [No. 2].

Select shake length from options in subparagraph below.

3. Length:  [18 inches (455 mm)] [24 inches (610 mm)] with 15-inch- (380-mm-) long starter course.

Select shake thickness from options in subparagraph below.

4. Thickness:  [5/8 inch (16 mm)] [3/4 inch (19 mm)] <Insert thickness> at butt.

Paragraph and subparagraphs below correspond to CSSB's tapersplit shakes.

C. Cedar Roof Shakes:  Tapersplit western red cedar shakes; handsplit.

Select applicable grading standard from options in first subparagraph below.

1. Grading Standard:  [UBC Standard 15-3.] [CSSB's "Grading Rules for Certi-Split Handsplit and Resawn Shakes."]

2. Grade:  No. 1 and starter courses of No. 1.

3. Length:  24 inches (610 mm) with 15-inch- (380-mm-) long starter course.

4. Thickness:  1/2 inch (13 mm) at butt.

Paragraph and subparagraphs below correspond to CSSB's straightsplit shakes.

D. Cedar Roof Shakes:  Straightsplit western red cedar shakes; machine split.

Select applicable grading standard from options in first subparagraph below.

1. Grading Standard:  [UBC Standard 15-3.] [CSSB's "Grading Rules for Certi-Split Handsplit and Resawn Shakes."]

2. Grade:  No. 1 and starter courses of No. 1.

Select shake length from options in first subparagraph below.

3. Length:  [18 inches (455 mm)] [24 inches (610 mm)] with 15-inch- (380-mm-) long starter course.

4. Thickness:  3/8 to 1/2 inch (10 to 13 mm) at butt.

If using roof shake ridge and hip units, select applicable options from paragraph and subparagraphs below.  Manufactured units correspond to CSSB's Certi-Ridge products.

E. Ridge[ and Hip] Units:  [Manufactured] [Site-fabricated] units of same grade as shake, 9 inches (230 mm) wide; beveled, alternately overlapped, and nailed.

1. Type:  [Handsplit and resawn] [Tapersawn].

2. Length:  [18 inches (455 mm)] [24 inches (610 mm)].

3. Thickness:  [5/8 inch (16 mm)] [3/4 inch (19 mm)] <Insert thickness> at butt.

Paragraph and subparagraphs below offer an example for specifying preservative-treated southern yellow pine roof shakes.  Shakes may be available in other species such as redwood, white spruce, or black spruce.

F. Southern Yellow Pine Roof Shakes:  No. 1 grade, tapersawn southern yellow pine, preservative treated, and graded according to TFS's "Grading Rules for Southern Yellow Pine No. 1 Taper-Sawn Shakes." Identify each bundle with a Timber Products Inspection tag noting the grade, preservative treatment, and retention.

1. Size:  [18 inches (455 mm)] [24 inches (610 mm)] long, 13/16 inch (20 mm) thick at butt.

2. Texture:  [Machine-grooved face] <Insert texture>.

3. Treatment:  [Water repellent] [Factory stained, brown].

2.4 WALL SHINGLES

Paragraph and subparagraphs below correspond to CSSB's Certigrade shingles.

A. Cedar Wall Shingles:  Smooth-sawn western red cedar shingles.

Select applicable grading standard from options in subparagraph below.

1. Grading Standards: [UBC Standard 15-4.] [CSSB's "Grading Rules for Certigrade Red Cedar Shingles."]

Select grade for exposed shingles and starter courses from options in subparagraph below.

2. Grade:  No. [1] [2] [3].

Select shingle dimensions from options in subparagraph below.  Shingle thickness is customarily based on a composite thickness that is standard for each shingle length.  First option corresponds to 5 shingle butts/2 inches (51 mm), second to 5 shingle butts/2-1/4 inches (57 mm), and third to 4 shingle butts/2 inches (51 mm).

3. Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] [24 inches (610 mm) long; 0.50 inch (13 mm)] thick at butt.

Select undercourse grade and size from options in two subparagraphs below for double-coursed wall shingles.

4. Undercourse Grade:  [No. 3] [Undercoursing].

5. Undercourse Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] thick at butt.

Paragraph and subparagraphs below correspond to CSSB's Certigrade rebutted and rejointed shingles.  Rebutted refers to squared butts, and rejointed to trimmed parallel edges.

B. Cedar Wall Shingles:  Rebutted and rejointed, [smooth-sawn] [sanded] western red cedar shingles.

Select applicable grading standard from options in subparagraph below.

1. Grading Standards: [UBC Standard 15-4.] [CSSB's "Grading Rules for Certigrade Red Cedar Shingles."]

Select grade for exposed shingles and starter courses from options in subparagraph below.

2. Grade:  No. [1] [2].

Select finish from options in subparagraph below.  CSSB states that rebutted and rejointed shingles may be factory-primed finished or left natural.

3. Finish:  [Natural] [Primed white] [Primed gray] <Insert finish>.

Select shingle dimensions from options in subparagraph below.  Shingle thickness is customarily based on a composite thickness that is standard for each shingle length.  First option corresponds to 5 shingle butts/2 inches (51 mm), second to 5 shingle butts/2-1/4 inches (57 mm), and third to 4 shingle butts/2 inches (51 mm).

4. Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] [24 inches (610 mm) long; 0.50 inch (13 mm)] thick at butt.

Select undercourse grade and size from options in two subparagraphs below for double-coursed wall shingles.

5. Undercourse Grade:  [No. 3] [Undercoursing].

6. Undercourse Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] thick at butt.

Paragraph and subparagraph below correspond to CSSB's Certi-Cut shingles.

C. Fancy-Butt Wall Shingles:  Clear heartwood red cedar, No. 1 grade, 18 inches (455 mm) long by 5 inches (125 mm) wide by 1/4-inch (6-mm) nominal thickness, with butt shape indicated.

Select butt style from options in subparagraph below or insert other standard or custom shapes.

1. Butt Style:  [Diagonal] [Half Cove] [Diamond] [Round] [Hexagonal] [Octagonal] [Arrow] [Square] [Fish Scale] <Insert shape>.

Paragraph and subparagraphs below are generic descriptions of fabricated cedar wall shingle panels offered by two manufacturers.  Other options may be available.  Revise to suit Project.

D. Cedar Shingle Panels:  Clear, vertical-grain, western red cedar shingles bonded with exterior-type adhesives or to 5/16-inch- (8-mm-) thick, 8-foot- (2.4-m-) long, DOC PS 1 Exterior C-D plywood panels.

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Cedar Valley Shingle Systems, Inc.

b. Shakertown 1992, Inc.

c. <Insert manufacturer's name.>

2. Number of Courses per Panel:  [One] [Two] [Three] [Four] <Insert number>.

3. Butt Style:  [Straight line] [Staggered] <Insert style>.

Select subparagraph above for regular-butt shingles or first subparagraph below for fancy-butt shingles.

4. Fancy-Butt Style:  [Diagonal] [Half Cove] [Diamond] [Round] [Hexagonal] [Octagonal] [Arrow] [Square] [Fish Scale] <Insert style>.

5. Exposure:  [7 inches (180 mm)] [5 inches (130 mm)] [4-1/2 inches (115 mm)] <Insert exposure> per course.

Revise below to suit Project.

6. Prefabricated Corners:  [Flush] [Flush, with staggered ends] [Add-on] type.

2.5 WALL SHAKES

Paragraph and subparagraphs below correspond to CSSB's Certigroove machine-grooved shakes.  Although classified as a shake, the underlying grading and size range are based on CSSB's Certigrade shingle.

A. Cedar Wall Shakes:  Machine-grooved, smooth-sawn western red cedar.

Select applicable grading standard from options in first subparagraph below.

1. Grading Standards: [UBC Standard 15-4.] [CSSB's "Grading Rules for Certigrade Red Cedar Shingles."]

2. Grade:  No. 1.

Select shake dimensions (based on shingle dimensions) from options in subparagraph below.  Thickness is customarily based on a composite thickness that is standard for each shingle length.  First option corresponds to 5 shingle butts/2 inches (51 mm), second to 5 shingle butts/2-1/4 inches (57 mm), and third to 4 shingle butts/2 inches (51 mm).

3. Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] [24 inches (610 mm) long; 0.50 inch (13 mm)] thick at butt.

Select finish from options in subparagraph below.

4. Finish:  [Natural] [Primed white] [Primed gray] <Insert finish>.

Select undercourse shingle grade and size from options in two subparagraphs below for double-coursed wall shakes.

5. Undercourse Shingle Grade:  [No. 3] [Undercoursing].

6. Undercourse Shingle Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] thick at butt.

Paragraph and subparagraphs below correspond to CSSB's Certi-Split shakes.

B. Cedar Wall Shakes:  Handsplit and resawn western red cedar shakes; split face and sawn back.

Select applicable grading standard from options in subparagraph below.

1. Grading Standard:  [UBC Standard 15-3.] [CSSB's "Grading Rules for Certi-Split Handsplit and Resawn Shakes."]

Select grade for outer course shakes from options in subparagraph below.

2. Outer Course Grade:  [Premium] [No. 1] [Standard].

Select first option in subparagraph below for a single-course wall or second option for a double-course wall.  CSSB permits a lower grade than outer course grade if undercourse is not exposed.

3. [Starter Course] [Undercourse] Grade:  [No. 1] [Standard].

Select shake length from options in subparagraph below.  Length of starter course for a single-course wall and undercourse of a double-course wall matches length of outer course.

4. Length:  [18 inches (455 mm)] [24 inches (610 mm)].

Select shake thickness from options in subparagraph below.  Butt thickness of UBC standard grade shake is 3/4 inch (19 mm).

5. Thickness:  [1/2 inch (13 mm)] [3/4 inch (19 mm)] at butt.

Paragraph and subparagraphs below correspond to CSSB's Certi-Sawn shakes.

C. Cedar Wall Shakes:  Tapersawn western red cedar shakes; sawn both sides.

Select applicable grading standard from options in subparagraph below.

1. Grading Standard:  [UBC Standard 15-3.] [CSSB's "Grading Rules for Certi-Sawn Tapersawn Cedar Shakes."]

Select grade for outer course shakes from options in subparagraph below.  CSSB recognizes premium-grade tapersawn shakes; UBC Standard 15-3 does not.

2. Outer Course Grade:  [Premium] [No. 1] [No. 2].

Select first option in subparagraph below for a single-course wall or second option for a double-course wall.  CSSB permits a lower grade than outer course grade if undercourse is not exposed.

3. [Starter Course] [Undercourse] Grade:  No. [1] [2].

Select shake length from options in subparagraph below.

4. Length:  [18 inches (455 mm)] [24 inches (610 mm)].

Select shake thickness from options in subparagraph below.

5. Thickness:  [5/8 inch (16 mm)] [3/4 inch (19 mm)] <Insert thickness> at butt.

Paragraph and subparagraphs below correspond to CSSB's Certi-Split tapersplit shakes.

D. Cedar Wall Shakes:  Tapersplit western red cedar shakes; handsplit.

Select applicable grading standard from options in first subparagraph below.

1. Grading Standard:  [UBC Standard 15-3.] [CSSB's "Grading Rules for Certi-Split Handsplit and Resawn Shakes."]

2. Grade:  No. 1.

3. Length:  24 inches (610 mm).

4. Thickness:  1/2 inch (13 mm) at butt.

Select undercourse grade and size from options in two subparagraphs below for double-coursed wall shakes.

5. Undercourse Shingle Grade:  [No. 3] [Undercoursing].

6. Undercourse Shingle Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] thick at butt.

Paragraph and subparagraphs below correspond to CSSB's Certi-Split straightsplit shakes.

E. Cedar Wall Shakes:  Straightsplit western red cedar shakes; machine split.

Select applicable grading standard from options in first subparagraph below.

1. Grading Standard:  [UBC Standard 15-3.] [CSSB's "Grading Rules for Certi-Split Handsplit and Resawn Shakes."]

2. Grade:  No. 1.

Select shake length from options in first subparagraph below.

3. Length:  [18 inches (455 mm)] [24 inches (610 mm)].

4. Thickness:  3/8 to 1/2 inch (10 to 13 mm) at butt.

Select undercourse grade and size from options in two subparagraphs below for double-coursed wall shakes.

5. Undercourse Shingle Grade:  [No. 3] [Undercoursing].

6. Undercourse Shingle Size:  [16 inches (405 mm) long; 0.40 inch (10 mm)] [18 inches (455 mm) long; 0.45 inch (11 mm)] thick at butt.

Paragraph and subparagraphs below offer an example for specifying preservative-treated southern yellow pine wall shakes.  Shakes may be available in other species such as redwood, white spruce, or black spruce.

F. Southern Yellow Pine Wall Shakes:  No. 1 grade, tapersawn southern yellow pine, preservative treated, and graded according to TFS's "Grading Rules for Southern Yellow Pine No. 1 Taper-Sawn Shakes." Identify each bundle with a Timber Products Inspection tag noting the grade, preservative treatment, and retention.

1. Size:  [18 inches (455 mm)] [24 inches (610 mm)] long, 13/16 inch (20 mm) thick at butt.

2. Treatment:  [Machine-grooved face] [Permanent water repellent] [Factory stained, brown].

2.6 WOOD TREATMENTS

Retain paragraph below only with Premium or No. 1 grade western red cedar shingles or shakes.  Delete if fire-retardant treatment is not required or if southern yellow pine shakes are selected.  Coordinate with requirements specified in Part 1.

A. Fire-Retardant Treatment:  Exterior type, pressure-treated units.

Retain first paragraph below if pressure-preservative treatment is required for western red cedar or if southern yellow pine shakes are selected.

B. Preservative Treatment:  AWPA C34, chromated copper arsenate pressure-treated units, minimum 0.40 lb/cu. ft (6.4 kg/cu. m).

C. Identification:  Attach a label to each bundle of shingles or shakes; identify manufacturer, references to model-code approval, type of product, grade, dimensions, and approved grading agency.

1. Include chemical treatment, method of application, purpose of treatment, and warranties available.

2.7 UNDERLAYMENT MATERIALS

Retain paragraph below for roof felt underlayment.  Retain one or both product standard options.  Type II felt predominates as roofing underlayment for wood shingles and shakes and is more than twice the weight of Type I felt.

A. Roof Felt Underlayment:  [ASTM D 226] [or] [ASTM D 4869], Type [I] [II], asphalt-saturated organic felt.

Retain paragraph below for felt interlayment used with roof shakes.

B. Roof Felt Interlayment:  [ASTM D 226] [or] [ASTM D 4869], Type II, asphalt-saturated organic felt.

Self-adhering, polymer-modified underlayment in two paragraphs below is used to resist leaks from roof areas forming ice dams and other roof areas vulnerable to leakage.

C. Self-Adhering Sheet Underlayment, Granular Surfaced:  ASTM D 1970, minimum of 55 mils (1.4 mm) thick; glass-fiber-mat-reinforced, SBS-modified asphalt; mineral-granule surfaced; with release-paper backing; cold applied.[ Provide primer for adjoining concrete or masonry surfaces to receive underlayment.]

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. ALCO-NVC, Inc.; ALCO Shield.

b. Atlas Roofing Corporation; StormMaster DG.

c. Carlisle Coatings & Waterproofing, Div. of Carlisle Companies Inc.; Dri-Start "G."

d. Celotex Corporation; Celo-Guard.

e. CertainTeed Corporation; WinterGuard.

f. GAF Materials Corporation; Weather Watch.

g. Henry Company; Eaveguard.

h. IKO; ArmourGuard.

i. Johns Manville International, Inc.; Roof Defender.

j. NEI Advanced Composite Technology; AC [Granular Ice and StormSeal] [Sand Ice and StormSeal].

k. Owens Corning; WeatherLock G.

l. <Insert manufacturer's name; product name or designation.>

Retain paragraph and subparagraphs below if polyethylene-faced sheet is required.  A polyester-fabric-faced, SBS-modified asphalt sheet, reinforced internally with polyester or glass-fiber mats, is also produced that may comply with ASTM D 1970; verify availability with manufacturers and add revised description of products to paragraph.  These products include Protecto Wrap Company's "Rainproof II" and "Rainproof-40," Royston Laboratories' "Ice and Water Gard," and SafSeal Innovations' "SafSeal 7740-R."

D. Self-Adhering Sheet Underlayment, Polyethylene Faced: ASTM D 1970, minimum of 40 mils (1.0 mm) thick; slip-resisting, polyethylene-film-reinforced top surface laminated to SBS-modified asphalt adhesive, with release-paper backing; cold applied.[ Provide primer for adjoining concrete or masonry surfaces to receive underlayment.]

Coordinate below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Carlisle Coatings & Waterproofing, Div. of Carlisle Companies Inc.; Dri-Start "A."

b. Grace, W. R. & Co.; Grace Ice and Water Shield.

c. Henry Company; Perma-Seal PE.

d. Johns Manville International, Inc.; Roof Defender.

e. NEI Advanced Composite Technology; AC Poly Ice and StormSeal.

f. Owens Corning; WeatherLock M.

g. Polyguard Products, Inc.; Polyguard Deck Guard.

h. Protecto Wrap Company; Rainproof TM.

i. SafSeal Innovations; SafSeal 7740.

j. <Insert manufacturer's name; product name or designation.>

2.8 RIDGE VENTS

Delete this Article if ridge venting is not required or is specified in Division 7 Section "Roof Accessories."

A. Rigid Ridge Vent:  Manufacturer's standard rigid section high-density polypropylene or other UV-stabilized plastic ridge vent [with nonwoven geotextile filter strips] [with external deflector baffles] [and] [end caps]; for use under ridge [shingles] [shakes].

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

Design and venting areas of rigid ridge vents vary widely.  Three broad product designs that are "shingled over" are included in list below.  Air Vent's "ShingleVent II-9" and Mid-America Building Products' "Ridgemaster Plus" are molded from copolymer plastic with ventilation openings and incorporate a nonwoven geotextile filter strip.  "ShingleVent II-9" also has integral deflector baffles.  Cor-A-Vent's "V-300CS," "V-400CS," and "V-600CS" and Trimline Building Products' "Trimline Shingle-Over Ridge Vent" are fabricated from high-density corrugated polyethylene built up from a stack of ventilating plies with a continuous hinged outer layer.  Ridglass Manufacturing Company's "Coolvent" is a roll product produced from a dimpled, molded thermoplastic strip with nonwoven geotextile filter strips.

a. Air Vent Inc., a CertainTeed Company; ShingleVent II-9.

b. Cor-A-Vent, Inc.; V-[300] [400] [600]CS.

c. Mid-America Building Products; RidgeMaster Plus.

d. Ridglass Manufacturing Company, Inc.; Coolvent.

e. Trimline Building Products; Trimline Shingle-Over Ridge Vent.

f. <Insert manufacturer's name; product name or designation.>

2. Minimum Net-Free Area:  <Insert area.>

3. Width:  <Insert width.>

4. Thickness:  <Insert thickness.>

B. Flexible Ridge Vent:  Manufacturer's standard compression-resisting, three-dimensional, open-nylon or polyester-mat filter[ bonded to a nonwoven, nonwicking geotextile fabric cover] for use under ridge [shingles] [shakes].

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. GAF Materials Corporation; Cobra.

b. Obdyke, Benjamin Incorporated; Roll Vent.

c. TAMKO Roofing Products, Inc.; Roll Vent.

d. <Insert manufacturer's name; product name or designation.>

2. Minimum Net-Free Area:  <Insert area.>

3. Width:  <Insert width.>

4. Thickness:  <Insert thickness.>

2.9 ACCESSORIES

A. Asphalt Roofing Cement:  ASTM D 4586, Type II, asbestos free.

Retain first paragraph below if a venting, moisture-relief drainage mat is required under shingles or shakes.

B. Drainage Mat:  Manufacturer's standard compression-resisting, three-dimensional, nonwoven, entangled filament, nylon mat designed to permit air movement and drain incidental moisture by gravity.

Retain subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Obdyke, Benjamin Incorporated; Cedar Breather.

b. <Insert manufacturer's name; product name or designation.>

C. Roofing Nails:  ASTM F 1667; [aluminum] [stainless-steel] [or] [hot-dip galvanized steel] wire nails, sharp-pointed, and of sufficient length to penetrate a minimum of 3/4 inch (19 mm) into sheathing.

Retain one or both subparagraphs below.

1. Use [box] [shingle]-type nails for wood shingles.

2. Use box-type nails for wood shakes.

Delete subparagraph below if not applicable, or revise.

3. Where nails are in contact with metal flashing, use nails made from same metal as flashing.

Before retaining first paragraph below, verify with authorities having jurisdiction whether staples are acceptable for roofing with shingles and shakes.

D. Roofing Staples:  Type 304 or 316 stainless-steel staples, 0.05-inch (1.3-mm) thick, with minimum 7/16-inch (11-mm) crown width, of sufficient length to penetrate a minimum of 3/4 inch (19 mm) into sheathing.

E. Felt Underlayment Nails:  Aluminum, stainless-steel, or hot-dip galvanized steel wire nails with low-profile capped heads or disc caps, 1-inch (25-mm) minimum diameter.

Retain below for double-coursed wall shingles and shakes.

F. Wood Lath Strip:  Western red cedar, clear heartwood, minimum width 1-1/2 inches (38 mm).

2.10 METAL FLASHING AND TRIM

A. Sheet Metal Flashing and Trim:  Comply with requirements in Division 7 Section "Sheet Metal Flashing and Trim."

1. Sheet Metal:  [Copper] [Lead-coated copper] [Stainless steel] [Zinc-tin alloy-coated stainless steel] [Coil-coated aluminum] [Anodized aluminum] [Aluminum, mill finished] [Zinc-coated (galvanized) steel] [Aluminum-zinc alloy-coated steel] [Prepainted, metallic-coated steel] <Insert sheet material>.

B. Fabricate sheet metal flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of item.

Retain detailed fabrication requirements for flashings from first four subparagraphs below.  Delete if Drawings fully detail these flashing conditions.  Dimensions of flashings are those recommended by CSSB or recommended in NRCA's "NRCA Steep Roofing Manual"; revise to suit Project.

1. Apron Flashings:  Fabricate with lower flange a minimum of [4 inches (100 mm)] [6 inches (150 mm)] over and [4 inches (100 mm)] beyond each side of downslope wood roofing and[ 6 inches (150 mm)] up the vertical surface.

Retain subparagraph below for interleaving metal step flashings between succeeding courses of shingles or shakes that abut vertical surfaces such as chimneys, sidewalls, and skylights.

2. Step Flashings:  Fabricate with a headlap of 3 inches (75 mm) and a minimum extension of [4 inches (100 mm)] [5 inches (125 mm)] over the underlying wood roofing and up the vertical surface.

Retain subparagraph below if cricket or backer flashings are required.  Revise dimensions to suit Project.

3. [Cricket] [Backer] Flashings:  Fabricate with concealed flange extending a minimum of [18 inches (450 mm)] [24 inches (600 mm)] beneath upslope wood roofing and[ 6 inches (150 mm)] beyond each side of [chimney] [skylight] and[ 6 inches (150 mm)] above the roof plane.

Retain subparagraph below if metal open-valley flashings are required.  Revise dimensions to suit Project.

4. Open-Valley Flashings:  Fabricate in lengths not exceeding [10 feet (3 m)] <Insert length> with 1-inch- (25-mm-) high, inverted-V profile at center of valley and equal flange widths of [10 inches (250 mm)] [12 inches (300 mm)] <Insert width>.

Retain subparagraph below if eaves or rake drip edges are required.

5. Drip Edges:  Fabricate in lengths not exceeding [10 feet (3 m)] <Insert length> with 2-inch (50-mm) roof-deck flange and 1-1/2-inch (38-mm) fascia flange with 3/8-inch (9.6-mm) drip at lower edge.

Delete below if no plumbing vents penetrate roof.  Revise to specify another flashing material or delete and include requirements in Division 7 Section "Sheet Metal Flashing and Trim" or Division 15 Section "Plumbing Specialties."

C. Vent-Pipe Flashings:  ASTM B 749, Type L51121, at least 1/16 inch (1.6 mm) thick.  Provide lead sleeve sized to slip over and turn down into pipe, soldered to skirt at slope of roof and extending at least 4 inches (100 mm) from pipe onto roof.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

1. Examine roof sheathing to verify that sheathing joints are supported by framing and blocking or metal clips and that installation is within flatness tolerances.

2. Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and completely anchored; and that provision has been made for flashings and penetrations through roofing.

Delete subparagraph below if not required.

3. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of work.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 ROOF UNDERLAYMENT INSTALLATION

Retain paragraph and subparagraph below if single layer of roof felt underlayment is required.

A. Single-Layer Roof Felt Underlayment:  Install single layer of roof felt underlayment on roof deck perpendicular to roof slope in parallel courses.  Lap sides a minimum of 2 inches (50 mm) over underlying course.  Lap ends a minimum of 4 inches (100 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).  Fasten with felt underlayment nails.

Retain subparagraph below if combining self-adhering sheet and roof felt underlayment.

1. Install felt underlayment on roof deck not covered by self-adhering sheet underlayment.  Lap sides of felt over self-adhering sheet underlayment not less than 3 inches (75 mm) in direction to shed water.  Lap ends of felt not less than 6 inches (150 mm) over self-adhering sheet underlayment.

Retain paragraph and subparagraphs below if double layers of roof felt underlayment are required.  Side lap and starter course dimensions are based on 36-inch- (914-mm-) wide rolls of roof felt underlayment.  Objective is to maintain double layer of coverage with 2 inches (50 mm) to spare.

B. Double-Layer Roof Felt Underlayment:  Install double layers of roof felt underlayment on roof deck perpendicular to roof slope in parallel courses.  Install a 19-inch- (485-mm-) wide starter course at eaves and completely cover with full-width second course.  Install succeeding courses lapping previous courses 19 inches (485 mm) in shingle fashion.  Lap ends a minimum of 6 inches (150 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).  Fasten with felt underlayment nails.

Retain subparagraph below if cemented double layers of roof felt underlayment serve as ice-dam membrane or if required for additional protection for low-slope underlayment.  Versatile self-adhering sheet underlayment has largely replaced cemented double layers of roof felt as ice-dam protection.

1. Apply a continuous layer of asphalt roofing cement over starter course and on roof felt underlayment surface to be concealed by succeeding courses as each roof felt course is installed.  Apply [over entire roof] [at locations indicated on Drawings].

Retain subparagraph below if applicable.

2. Install roof felt underlayment on roof sheathing not covered by self-adhering sheet underlayment.  Lap edges over self-adhering sheet underlayment not less than 3 inches (75 mm) in direction to shed water.

Retain first option in subparagraph below if felt is covered with self-adhering sheet underlayment against walls and other roof projections.

3. Terminate roof felt underlayment [flush] [extended up not less than 4 inches (100 mm)] against sidewalls, curbs, chimneys, and other roof projections.

Retain paragraph and subparagraphs below for installing single self-adhering sheet underlayment.

C. Self-Adhering Sheet Underlayment:  Install self-adhering sheet underlayment, wrinkle free, on roof deck.  Comply with low-temperature installation restrictions of underlayment manufacturer if applicable.  Install at locations indicated [below] [on Drawings], lapped in direction to shed water.  Lap sides not less than 3-1/2 inches (89 mm).  Lap ends not less than 6 inches (150 mm,) staggered 24 inches (600 mm) between courses.  Roll laps with roller.  Cover underlayment within seven days.

Retain subparagraph below if primer is required to enhance adhesion to concrete or masonry surfaces such as chimneys or walls.

1. Prime concrete and masonry surfaces to receive self-adhering sheet underlayment.

Edit subparagraphs below to suit Project or delete if indicated on Drawings.

2. Eaves:  Extend from edges of eaves [24 inches (600 mm)] [36 inches (914 mm)] <Insert dimension> beyond interior face of exterior wall.

3. Rakes:  Extend from edges of rake [24 inches (600 mm)] [36 inches (914 mm)] <Insert dimension> beyond interior face of exterior wall.

4. Valleys:  Extend from lowest to highest point [18 inches (450 mm)] <Insert dimension> on each side.

5. Hips:  Extend [18 inches (450 mm)] <Insert dimension> on each side.

6. Ridges:  Extend [36 inches (914 mm)] <Insert dimension> on each side[ without obstructing continuous ridge vent slot].

7. Sidewalls:  Extend beyond sidewall [18 inches (450 mm)] <Insert dimension> and return vertically against sidewall not less than [4 inches (100 mm)] <Insert dimension>.

8. Dormers, Chimneys, Skylights, and other Roof-Penetrating Elements:  Extend beyond penetrating element [18 inches (450 mm)] <Insert dimension> and return vertically against penetrating element not less than [4 inches (100 mm)] <Insert dimension>.

9. Roof Slope Transitions:  Extend [18 inches (450 mm)] <Insert dimension> on each roof slope.

Retain below for felt underlayment at open valleys to be covered with metal valley flashing.

D. Metal-Flashed Open-Valley Underlayment:  Install 2 layers of 36-inch- (914-mm-) wide roof felt underlayment centered in valley.  Stagger end laps between layers at least 72 inches (1830 mm).  Lap ends of each layer at least 12 inches (300 mm) in direction to shed water, and seal with asphalt roofing cement.  Fasten each layer to roof deck with felt underlayment nails.

1. Lap roof-deck roof felt underlayment over first layer of valley roof felt underlayment at least 6 inches (150 mm).

3.3 METAL FLASHING INSTALLATION

A. General:  Install metal flashings and other sheet metal to comply with requirements in Division 7 Section "Sheet Metal Flashing and Trim."

1. Install metal flashings according to wood roofing recommendations in NRCA's "The NRCA Roofing and Waterproofing Manual."

Retain paragraph below for apron flashings.

B. Apron Flashings:  Extend lower flange over and beyond each side of downslope wood roofing and up the vertical surface.

Retain paragraph below for interleaving metal step flashings between succeeding courses of wood roofing that abut vertical surfaces such as chimneys, sidewalls, and skylights.

C. Step Flashings:  Install with a headlap of 3 inches (75 mm) and extend over the underlying wood roofing and up the vertical surface.  Install with lower edge of flashing just upslope of, and concealed by, butt of overlying shingle or shake.  Fasten to roof deck only.

Retain paragraph below if cricket or backer flashings are required.

D. [Cricket] [Backer] Flashings:  Install against the roof-penetrating element extending concealed flange beneath upslope wood roofing and beyond each side.

Retain paragraph and subparagraphs below if metal open-valley flashings are required.  Revise dimensions to suit Project.  CSSB recognizes open valleys only, while NRCA also recognizes closed or mitered valleys and closed fanned or swept valleys.  All valley types require sheet metal flashings.

E. Open-Valley Flashings:  Install centrally in valleys, lapping ends at least 8 inches (200 mm) in direction to shed water.  Fasten upper end of each length to roof deck beneath overlap.

Retain subparagraph below if securing flange edges with cleats.

1. Secure hemmed flange edges into metal cleats spaced [12 inches (300 mm)] <Insert spacing> apart and fastened to roof deck.

NRCA advises stripping-in flashing at open valleys in areas subject to snow and ice accumulation and frequent freeze-thaw cycles.  Retain subparagraph below if applicable.

2. Adhere [9-inch- (225-mm-)] <Insert width> wide strip of self-adhering sheet to metal flanges and to self-adhering sheet underlayment.

Retain one or both of first two paragraphs below if applicable.

F. Rake Drip Edges:  Install rake drip edge flashings over underlayment and fasten to roof deck.

G. Eave Drip Edges:  Install eave drip edge flashings below underlayment and fasten to roof deck.

H. Pipe Flashings:  Form flashing around pipe penetrations and wood roofing.  Fasten and seal to wood roofing.

3.4 ROOF SHINGLE INSTALLATION

A. Install wood shingle roofing according to manufacturer's written instructions, recommendations in CSSB's "Design and Application Manual for New Roof Construction," and recommendations in NRCA's "The NRCA Roofing and Waterproofing Manual."

Retain first paragraph below if a venting, moisture-relief drainage mat is required over solid-sheathed roof deck with or without underlayment.

B. Install drainage mat perpendicular to roof slope in parallel courses, butting edges and ends to form a continuous layer, and fasten to roof deck.

C. Install [single] [double]-layer wood shingle starter course along lowest roof edge.  Extend starter course [1 inch (25 mm)] [1-1/2 inches (38 mm)] over fascia and [1 inch (25 mm)] [1-1/2 inches (38 mm)] over rake edge.

1. Offset joints of double-layer starter course a minimum of 1-1/2 inches (38 mm).

Revise or supplement continuous straight-line courses in paragraph below with random courses or ribbon courses, illustrated by NRCA, if applicable.

D. Install first course of wood shingles directly over starter course and in continuous straight-line courses across roof deck.  Install second and succeeding courses of wood shingles in continuous straight-line courses across roof deck.  Extend [1 inch (25 mm)] [1-1/2 inches (38 mm)] over rake edge.

1. Offset joints between shingles in succeeding courses a minimum of 1-1/2 inches (38 mm).

2. Space shingles a minimum of 1/4 inch (6 mm) and a maximum of 3/8 inch (10 mm) apart.  Limit alignment of vertical joints in every third course to not exceed 10 percent of joints.

3. Fasten each shingle with 2 [nails] [staples] spaced 3/4 to 1 inch (19 to 25 mm) from edge of shingle and 1-1/2 to 2 inches (38 to 50 mm) above butt line of subsequent course.  Drive fasteners flush with top surface of shingles without crushing wood.

Select exposure dimensions from options in subparagraph below.  Examples are maximum exposures recommended by CSSB and NRCA for No. 1 grade shingles on roof slopes 4:12 and steeper.  Decrease exposure dimension for lower roof slope.

4. Maintain weather exposure of [5 inches (125 mm) for 16-inch- (405-mm-)] [5-1/2 inches (140 mm) for 18-inch- (455-mm-)] [7-1/2 inches (190 mm) for 24-inch- (610-mm-)] <Insert exposure> long shingles.

Retain paragraph below if open valleys are required.  CSSB recognizes open valleys only, while NRCA also recognizes closed or mitered valleys and closed fanned or swept valleys.  Revise paragraph if specifying another valley type lined with sheet metal valley flashing.

E. Open Valleys:  Cut and fit wood shingles at open valleys, trimming upper concealed corners of shingles.  [Maintain uniform width of exposed open valley] [Widen exposed portion of open valley 1/8 inch in 12 inches (1:96)] from highest to lowest point.

Retain paragraph below for fancy-butt shingles, which are generally used as accent course(s) integrated into a standard shingle roof.  Revise to suit coursing patterns required for roof.

F. Fancy-Butt Shingles:  Install [one] [two] [three] <Insert number> courses of fancy-butt shingles in continuous straight-line courses across roof deck.  Center each shingle in succeeding courses between the 2 shingles below with 1/8-inch (3-mm) space between shingles.

1. Maintain weather exposure of 5 inches (125 mm).

Delete paragraph below if no ridge vents.

G. Ridge Vents:  Install continuous ridge vents over wood shingles according to manufacturer's written instructions.  Fasten with roofing nails of sufficient length to penetrate roof sheathing.

Retain paragraph and subparagraphs below if using ridge and hip units.

H. Ridge[ and Hip] Units:  Install units over wood shingles trimmed at apex.  Maintain same exposure dimension of units as roof shingle exposure.  Lap units at ridges to shed water away from direction of prevailing winds.  Alternate overlaps of units and fasten with concealed roofing nails of sufficient length to penetrate sheathing.

NRCA suggests installing a roof felt underlayment strip to hips and nonventilating ridges for added weather protection.

1. Install concealed strip of roof felt underlayment over apex shingles and fasten with felt underlayment nails.

Retain below if retaining ridge vents.

2. Fasten ridge units to cover ridge vent without obstructing airflow.

3.5 ROOF SHAKE INSTALLATION

A. Install wood shake roofing according to manufacturer's written instructions, recommendations in CSSB's "Design and Application Manual for New Roof Construction," and recommendations in NRCA's "The NRCA Roofing and Waterproofing Manual."

Retain first paragraph below if a venting, moisture-relief drainage mat is required over solid-sheathed roof deck with or without underlayment.

B. Install drainage mat perpendicular to roof slope in parallel courses, butting edges and ends to form a continuous layer, and fasten to roof deck.

C. Install [single] [double]-layer wood shake starter course along lowest roof edge.  Extend starter course [1 inch (25 mm)] [1-1/2 inches (38 mm)] over fascia and [1 inch (25 mm)] [1-1/2 inches (38 mm)] over rake edge.

1. Offset joints of double-layer starter course a minimum of 1-1/2 inches (38 mm).

Revise or supplement continuous straight-line courses in paragraph below with random courses or ribbon courses, illustrated by NRCA, if applicable.

D. Install first course of wood shakes directly over starter course and in continuous straight-line courses across roof deck.  Install second and succeeding courses of wood shakes in continuous straight-line courses across roof deck.  Extend [1 inch (25 mm)] [1-1/2 inches (38 mm)] over rake edge.

Roof felt interlayment is used with roof shakes to intercept and shed rain and snow driven up under the shakes.

1. Install 18-inch- (455-mm-) wide strip of roof felt interlayment over top portion of first and each succeeding course.  Set bottom edge of roof felt interlayment at a distance of twice the weather-exposure dimension above the shake butt.  Stagger fasten to roof deck with felt underlayment nails.

2. Offset joints between shakes in succeeding courses a minimum of 1-1/2 inches (38 mm).  Limit alignment of vertical joints in every third course to not exceed 10 percent of joints.

3. Space shakes a minimum of 3/8 inch (10 mm) and a maximum of 5/8 inch (16 mm) apart.

4. Fasten each shake with 2 [nails] [staples] spaced 3/4 to 1 inch (19 to 25 mm) from edge of shake and 1-1/2 to 2 inches (38 to 50 mm) above butt line of subsequent course.  Drive fasteners flush with top surface of shakes without crushing wood.

Select exposure dimensions from options in subparagraph below.  Examples are different exposures noted by CSSB and NRCA for shakes on roof slopes 4:12 and steeper.  The lesser of the two exposures for each shake length below results in a roof three layers thick.

5. Maintain weather exposure of [5-1/2 inches (140 mm) for 18-inch- (455-mm-)] [7-1/2 inches (190 mm) for 18-inch- (455-mm-)] [7-1/2 inches (190 mm) for 24-inch- (610-mm-)] [10 inches (255 mm) for 24-inch- (610-mm-)] <Insert exposure> long shakes.

Retain paragraph below if open valleys are required.  CSSB recognizes open valleys only, while NRCA also recognizes closed or mitered valleys and closed fanned or swept valleys.  Revise paragraph if specifying another valley type lined with sheet metal valley flashing.

E. Open Valleys:  Cut and fit wood shakes at open valleys, trimming upper concealed corners of shakes.  [Maintain uniform width of exposed open valley] [Widen exposed portion of open valley 1/8 inch in 12 inches (1:96)] from highest to lowest point.

Delete paragraph below if no ridge vents.

F. Ridge Vents:  Install continuous ridge vents over wood shakes according to manufacturer's written instructions.  Fasten with roofing nails of sufficient length to penetrate sheathing.

Retain paragraph and subparagraphs below if using ridge and hip units.

G. Ridge[ and Hip] Units:  Install units over wood shakes trimmed at apex.  Maintain same exposure dimension of units as roof shake exposure.  Lap units at ridges to shed water away from direction of prevailing winds.  Alternate overlaps of units and fasten with concealed roofing nails of sufficient length to penetrate sheathing.

NRCA suggests installing a roof felt underlayment strip to hips and nonventilating ridges for added weather protection.

1. Install concealed strip of roof felt underlayment over apex shakes and fasten with felt underlayment nails.

Retain below if retaining ridge vents.

2. Fasten ridge units to cover ridge vent without obstructing airflow.

3.6 WALL SHINGLE INSTALLATION, SINGLE COURSED

Delete this Article if no single-coursed wall shingles.

A. Install wood wall shingles according to manufacturer's written instructions and recommendations in CSSB's "Design and Application Manual for Exterior and Interior Walls."

Retain first paragraph below if a venting, moisture-relief drainage mat is required over wall sheathing and underlayment.

B. Install drainage mat horizontally over surface to receive wood shingles in parallel courses, butting edges and ends to form a continuous layer, and fasten to wall sheathing.

C. Install wood shingles, beginning at base of wall, with a double-layer starter course in a continuous straight line.  Offset joints of double-layer starter course a minimum of 1-1/2 inches (38 mm).

1. Extend starter course [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert dimension> below top of foundation wall.

D. Install first course of wood shingles over starter course.  Install second and succeeding courses of wood shingles, offsetting joints between shingles in succeeding courses a minimum of 1-1/2 inches (38 mm).

1. Install shingles in continuous straight-line courses.

Retain subparagraph above or first subparagraph below.

2. Install shingle courses with butt lines staggered [1 inch (25 mm)] [1-1/2 inches (38 mm)] from true butt line.

3. [Install primed shingles with sides abutting] [Space shingles 1/8 to 1/4 inch (3 to 6 mm) apart].

4. Fasten each shingle with 2 concealed [nails] [staples driven parallel to butt,] spaced 3/4 to 1 inch (19 to 25 mm) from edge of shingle and 1 inch (25 mm) above butt line of subsequent course.  For shingles wider than 8 inches (200 mm,) add 2 concealed fasteners to the center of shingle spaced 1 inch (25 mm) apart.  Drive fasteners flush with top surface of shingles without crushing wood.

Select exposure dimension from options in subparagraph below.  Examples are maximum exposures recommended by CSSB for No. 1 grade single-coursed shingles.  Wall exposure dimensions are greater than for roof exposures.

5. Maintain weather exposure of [7-1/2 inches (190 mm) for 16-inch- (405-mm-)] [8-1/2 inches (215 mm) for 18-inch- (455-mm-)] [11-1/2 inches (290 mm) for 24-inch- (610-mm-)] <Insert exposure> long shingles.

Select interior corner treatment from options in subparagraph below.

6. Interior Corner Treatment:  [Butted against wood stop] [Laced with flashing behind].

Select exterior corner treatment from options in subparagraph below.

7. Exterior Corner Treatment:  [Butted against corner boards] [Laced] [Mitered].

Retain paragraph and subparagraphs below for fancy-butt wall shingles.  Retain applicable paragraphs and subparagraphs above for general installation requirements.

E. Fancy-Butt Shingles:  Install fancy-butt shingles where indicated in continuous straight-line courses along wall.  Center each shingle in succeeding courses between the two shingles below with [primed shingles abutting] [1/8-inch (3-mm) space between shingles].

1. Maintain weather exposure of 7-1/2 inches (190 mm.)
Revise subparagraph below if applicable.

2. Interior Corner Treatment:  Butted against wood stop.

Select exterior corner treatment from options below.

3. Exterior Corner Treatment:  [Butted against corner boards] [Mitered].

3.7 WALL SHINGLE INSTALLATION, DOUBLE COURSED

Delete this Article if no double-coursed wall shingles.

A. Install wood wall shingles in continuous straight lines according to manufacturer's written instructions and recommendations in CSSB's "Design and Application Manual for Exterior and Interior Walls."

Retain first paragraph below if a venting, moisture-relief drainage mat is required over wall sheathing and underlayment.

B. Install drainage mat horizontally over surface to receive wood shingles in parallel courses, butting edges and ends to form a continuous layer, and fasten to wall sheathing.

C. Install double-layer undercourse of wood shingles beginning at base of wall.  Offset joints of each undercourse layer a minimum of 1-1/2 inches (38 mm).  Fasten with a single center-and-top [nail] [staple driven parallel to butt].

Retain subparagraph below for shingles installed on wood-based wall sheathing.

1. Extend undercourse [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert dimension> below top of foundation wall.

Retain subparagraph below for shingles installed on nonwood-based wall sheathing.

2. Fasten 2 layers of lath wood strips at base of undercourse to match thickness of double-layer undercourse.  Extend [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert dimension> below top of foundation wall.

Retain paragraph below, without option, for wood-based wall sheathing.  Retain option for undercourse installed on nonwood-based wall sheathing.

D. Install subsequent undercourse layers[ against wood lath strip].  Offsett joints between undercourse and outer course a minimum of 1-1/2 inches (38 mm).

1. Fasten with a single center-and-top [nail] [staple driven parallel to butt].

Retain paragraph below for undercourse installed on nonwood-based wall sheathing.

E. Install single wood lath strip on first and subsequent outer courses to match thickness of undercourse and at height that results in specified outer course weather exposure.

Retain first option in paragraph below for wood-based wall sheathing, second option for nonwood-based wall sheathing.

F. Install first and subsequent outer courses of wood shingles directly over undercourses, projecting 1/2 inch (13 mm) below [undercourse] [lath strips].  Offset joints between shingles and undercourse a minimum of 1-1/2 inches (38 mm).  Offset joints between shingles in succeeding outer courses a minimum of 1-1/2 inches (38 mm).

1. [Install primed outer shingles with sides abutting] [Space outer shingles 1/8 to 1/4 inch (3 to 6 mm) apart].

2. Fasten each shingle with 2 exposed [nails] [staples driven parallel to butt,] spaced 3/4 to 1 inch (19 to 25 mm) from edge of shingle and 2 inches (50 mm) above butt line of shingle.  For outer course shingles wider than 8 inches (200 mm,) add 2 concealed fasteners to the center of shingle spaced 1 inch (25 mm) apart.  Drive fasteners flush with top surface of shingles without crushing wood.

Select exposure dimension from options in subparagraph below.  Examples are maximum exposures recommended by CSSB for No. 1 grade double-coursed shingles.  Wall exposure dimensions are greater than for roof exposures.

3. Maintain weather exposure of [12 inches (305 mm) for 16-inch- (405-mm-)] [14 inches (355 mm) for 18-inch- (455-mm-)] [16 inches (405 mm) for 24-inch- (610-mm-)] <Insert exposure> long shingles.

Select interior corner treatment from options in subparagraph below.

4. Interior Corner Treatment:  [Butted against wood stop] [Laced with flashing behind].

Select exterior corner treatment from options in subparagraph below.

5. Exterior Corner Treatment:  [Butted against corner boards] [Laced] [Mitered].

3.8 WALL SHAKE INSTALLATION, SINGLE COURSED

Delete this Article if no single-coursed wall shakes.  Although shakes are not mentioned in the single-coursing description of CSSB's "Design and Application Manual for Exterior and Interior Walls," CSSB confirms that wall shake single coursing is common.

A. Install wood wall shakes according to manufacturer's written instructions and recommendations in CSSB's "Design and Application Manual for Exterior and Interior Walls."

Retain first paragraph below if a venting, moisture-relief drainage mat is required over wall sheathing and underlayment.

B. Install drainage mat horizontally over surface to receive wood shakes in parallel courses, butting edges and ends to form a continuous layer, and fasten to wall sheathing.

C. Install wood shakes, beginning at base of wall, with a double-layer starter course in a continuous straight line.  Offset joints of double-layer starter course a minimum of 1-1/2 inches (38 mm).

1. Extend starter course [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert dimension> below top of foundation wall.

D. Install first and succeeding course of wood shakes.  Offset joints between shakes in succeeding courses a minimum of 1-1/2 inches (38 mm).

1. Install shakes in continuous straight-line courses.

Retain subparagraph above or first subparagraph below.

2. Install shake courses with butt lines staggered [1 inch (25 mm)] [1-1/2 inches (38 mm)] from true butt line.

3. [Install primed shakes with sides abutting] [Space shingles 1/8 to 1/4 inch (3 to 6 mm) apart].

4. Fasten each shake with 2 concealed [nails] [staples driven parallel to butt,] spaced 3/4 to 1 inch (19 to 25 mm) from edge of shake and 1 inch (25 mm) above butt line of subsequent course.  For shakes wider than 8 inches (200 mm,) add 2 concealed fasteners to the center of shake spaced 1 inch (25 mm) apart.  Drive fasteners flush with top surface of shakes without crushing wood.

Select exposure dimension from options in subparagraph below.  Examples are maximum exposures recommended by CSSB for No. 1 grade single-coursed shakes.  Wall exposure dimensions are greater than for roof exposures.

5. Maintain maximum weather exposure of [7-1/2 inches (190 mm) for 16-inch- (405-mm-)] [8-1/2 inches (215 mm) for 18-inch- (455-mm-)] [11-1/2 inches (290 mm) for 24-inch- (610-mm-)] <Insert exposure> long shakes.

Select interior corner treatment from options in subparagraph below.

6. Interior Corner Treatment:  [Butted against wood stop] [Laced with flashing behind].

Select exterior corner treatment from options below.

7. Exterior Corner Treatment:  [Butted against corner boards] [Laced] [Mitered].

3.9 WALL SHAKE INSTALLATION, DOUBLE COURSED

Delete this Article if no double-coursed wall shakes.

A. Install wood wall shakes in continuous straight lines according to manufacturer's written instructions and recommendations in CSSB's "Design and Application Manual for Exterior and Interior Walls."

Retain paragraph below if a venting, moisture-relief drainage mat is required over wall sheathing and underlayment.

B. Install drainage mat horizontally over surface to receive wood shakes in parallel courses, butting edges and ends to form a continuous layer, and fasten to wall sheathing.

A shingle undercourse is used for double-coursed wall shakes in paragraph below.

C. Install double-layer undercourse of wood shingles beginning at base of wall.  Offset joints of each undercourse layer a minimum of 1-1/2 inches (38 mm).  Fasten with a single center-and-top [nail] [staple driven parallel to butt].

Retain subparagraph below for undercourse installed on wood-based wall sheathing.

1. Extend undercourse [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert dimension> below top of foundation wall.

Retain subparagraph below for undercourse installed on nonwood-based wall sheathing.

2. Fasten two layers of lath wood strips at base of undercourse to match thickness of double-layer undercourse.  Extend [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert dimension> below top of foundation wall.

Retain paragraph below, without option, for wood-based wall sheathing.  Retain option for undercourse installed on nonwood-based wall sheathing.

D. Install subsequent undercourse layers[ against wood lath strip].  Offset joints between undercourse and outer course a minimum of 1-1/2 inches (38 mm).

1. Fasten with a single center-and-top [nail] [staple driven parallel to butt].

Retain paragraph below for undercourse installed on nonwood-based wall sheathing.

E. Install single wood lath strip on first and subsequent outer courses to match thickness of undercourse and at height that results in specified outer course weather exposure.

Retain first option in paragraph below for wood-based wall sheathing, second option for nonwood-based wall sheathing.

F. Install first and subsequent outer courses of wood shakes directly over undercourses, projecting 1/2 inch (13 mm) below [undercourse] [lath strips].  Offset joints between shakes and undercourse shingles a minimum of 1-1/2 inches (38 mm).  Offset joints between shakes in succeeding outer courses a minimum of 1-1/2 inches (38 mm).

1. [Install primed shakes with sides abutting] [Space shakes 1/4 to 3/8 inch (6 to 10 mm) apart].

2. Fasten each shake with 2 exposed [nails] [staples driven parallel to butt,] spaced 3/4 to 1 inch (19 to 25 mm) from edge of shake and 2 inches (50 mm) above butt line of shake.  For shakes wider than 8 inches (200 mm,) add 2 concealed fasteners to the center of shake spaced 1 inch (25 mm) apart.  Drive fasteners flush with top surface of shake without crushing wood.

Select exposure dimension from options in subparagraph below.  Examples are maximum exposures recommended by CSSB for No. 1 grade double-coursed shakes.  Wall exposure dimensions are greater than for roof exposures.

3. Maintain maximum weather exposure of [12 inches (305 mm) for 16-inch- (405-mm-)] [14 inches (355 mm) for 18-inch- (455-mm-)] [18 inches (455 mm) for 24-inch- (610-mm-)] <Insert exposure> long shakes.

Select interior corner treatment from options in subparagraph below.

4. Interior Corner Treatment:  [Butted against wood stop] [Laced with flashing behind].

Select exterior corner treatment from options in subparagraph below.

5. Exterior Corner Treatment:  [Butted against corner boards] [Laced] [Mitered].

3.10 WOOD SHINGLE PANEL INSTALLATION

Delete this Article if no manufactured wood shingle panels.  Add special installation requirements not clarified in manufacturer's written instructions.

A. Install wood shingle panels[ and corner units] according to manufacturer's written instructions.

3.11 ROOFING INSTALLER'S WARRANTY

Delete this Article, retain this warranty, or include another roofing Installer's warranty form if required.  Coordinate with Part 1 "Warranty" Article.  Another sample layout of this warranty is included in the Evaluations.

A. WHEREAS <Insert name> of <Insert address>, herein called the "Roofing Installer," has performed roofing and associated work ("work") on the following project:

1. Owner:  <Insert name of Owner.>

2. Address:  <Insert address.>

3. Building Name/Type:  <Insert information.>

4. Address:  <Insert address.>

5. Area of Work:  <Insert information.>

6. Acceptance Date:  <Insert date.>

7. Warranty Period:  <Insert time.>

8. Expiration Date:  <Insert date.>

B. AND WHEREAS Roofing Installer has contracted (either directly with Owner or indirectly as a subcontractor) to warrant said work against leaks and faulty or defective materials and workmanship for designated Warranty Period,

C. NOW THEREFORE Roofing Installer hereby warrants, subject to terms and conditions herein set forth, that during Warranty Period he will, at his own cost and expense, make or cause to be made such repairs to or replacements of said work as are necessary to correct faulty and defective work and as are necessary to maintain said work in a watertight condition.

D. This Warranty is made subject to the following terms and conditions:

1. Specifically excluded from this Warranty are damages to work and other parts of the building, and to building contents, caused by:

a. lightning;

Insert required wind speed below.

b. peak gust wind speed exceeding <Insert wind speed> mph (m/sec);

c. fire;

d. failure of roofing system substrate, including cracking, settlement, excessive deflection, deterioration, and decomposition;

e. faulty construction of parapet walls, copings, chimneys, skylights, vents, equipment supports, and other edge conditions and penetrations of the work;

f. vapor condensation on bottom of roofing; and

g. activity on roofing by others, including construction contractors, maintenance personnel, other persons, and animals, whether authorized or unauthorized by Owner.

2. When work has been damaged by any of foregoing causes, Warranty shall be null and void until such damage has been repaired by Roofing Installer and until cost and expense thereof have been paid by Owner or by another responsible party so designated.

3. Roofing Installer is responsible for damage to work covered by this Warranty but is not liable for consequential damages to building or building contents resulting from leaks or faults or defects of work.

4. During Warranty Period, if Owner allows alteration of work by anyone other than Roofing Installer, including cutting, patching, and maintenance in connection with penetrations, attachment of other work, and positioning of anything on roof, this Warranty shall become null and void on date of said alterations, but only to the extent said alterations affect work covered by this Warranty.  If Owner engages Roofing Installer to perform said alterations, Warranty shall not become null and void unless Roofing Installer, before starting said work, shall have notified Owner in writing, showing reasonable cause for claim, that said alterations would likely damage or deteriorate work, thereby reasonably justifying a limitation or termination of this Warranty.

5. During Warranty Period, if original use of roof is changed, this Warranty shall become null and void on date of said change, but only to the extent said change affects work covered by this Warranty.

6. Owner shall promptly notify Roofing Installer of observed, known, or suspected leaks, defects, or deterioration and shall afford reasonable opportunity for Roofing Installer to inspect work and to examine evidence of such leaks, defects, or deterioration.

7. This Warranty is recognized to be the only warranty of Roofing Installer on said work and shall not operate to restrict or cut off Owner from other remedies and resources lawfully available to Owner in cases of roofing failure.  Specifically, this Warranty shall not operate to relieve Roofing Installer of responsibility for performance of original work according to requirements of the Contract Documents, regardless of whether Contract was a contract directly with Owner or a subcontract with Owner's General Contractor.

E. IN WITNESS THEREOF, this instrument has been duly executed this <Insert day> day of <Insert month>, <Insert year>.

1. Authorized Signature:  <Insert signature.>

2. Name:  <Insert name.>

3. Title:  <Insert title.>

END OF SECTION 07317END OF SECTION 07317

WOOD SHINGLES AND SHAKES
07317 - 1

